Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| --- | --- |
| Competency Standard | Measure Threads & Gears (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Place suitable sized wire in thread of work piece. - Take the dimensions. - Note pitch of thread and calculate depth of thread by using formula. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Measure the Threads and their types. - Clean the gauge and the threads of work piece. - Use the thread gauge suitable for the set of thread shape tips according to thread size which is to be measured. - Record the reading. Measure the Gears and their types. - Clean the gauge and the dia of work piece. - Use the gear tooth Vernier caliper and a suitable set of Gear shape according to Gear size which is to be measured. - Record the reading. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| Competency Standard | Measure Threads & Gears (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Place suitable sized wire in thread of work piece. - Take the dimensions. - Note pitch of thread and calculate depth of thread by using formula. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Set the pointer on zero properly |  |  |
| - Set the work piece correctly |  |  |
| - Read the dial scale accurately |  |  |
| - Record the results |  |  |
| - Remove zero error |  |  |
| - Set the work piece properly |  |  |
| - Measure the size accurately |  |  |
| - Record the results |  |  |
| - Set the Indicator on magnetic stand |  |  |
| - Set the pointer on zero |  |  |
| - Set the pointer on work piece |  |  |
| - Read the dial scale |  |  |
| - Adjust the Thread gauge block as per desired size |  |  |
| - Hold the specimen in position |  |  |
| - Measure the angle accurately sine bar and gauge blocks |  |  |
| - Prepare the microscope for examining the job |  | Represent tolerance in results |
| - Hold the job on anvil |  | Represent tolerance in results |
| - Observe the size and profile of the job by setting eye piece |  | Represent tolerance in results |
| - Record the observations |  | Represent tolerance in results |
| - Make complete setting of work piece on Profile Projector |  | Represent tolerance in results |
| - Set the axis |  | Represent tolerance in results |
| - Observe the size |  | Represent tolerance in results |
| - Select digital instrument and specimen for measurement. |  | Represent tolerance in results |
| - Take measurement of specimen with digital instrument |  | Represent tolerance in results |
| - Hold the job properly. |  | Represent tolerance in results |
| - Set and locate zero point. |  | Represent tolerance in results |
| - Take the dimensions for different coordinates properly. |  | Represent tolerance in results |
| - Take point to point/linear measurements. |  | Represent tolerance in results |
| - Take measurements profile in 2D and 3D. |  | Represent tolerance in results |
| - Measure the job for upper and lower limits. |  | Represent tolerance in results |
| - Calculate the maximum and minimum size. |  | Represent tolerance in results |
| - Calculate tolerance and allowance |  | Represent tolerance in results |
| - Represent tolerance in results |  | Represent tolerance in results |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| --- | --- |
| Competency Standard | Measure Threads & Gears (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Place suitable sized wire in thread of work piece. - Take the dimensions. - Note pitch of thread and calculate depth of thread by using formula. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Set the pointer on zero properly |  |  |  |  |  |
|  | Set the Gear / Thread piece correctly |  |  |  |  |  |
|  | Read the dial scale accurately |  |  |  |  |  |
|  | Record the results |  |  |  |  |  |
|  | Remove zero error |  |  |  |  |  |
|  | Set the work piece properly |  |  |  |  |  |
|  | Measure the size accurately |  |  |  |  |  |
|  | Record the results |  |  |  |  |  |
|  | Set the Indicator on magnetic stand |  |  |  |  |  |
|  | Set the pointer on zero |  |  |  |  |  |
|  | Set the pointer on work piece |  |  |  |  |  |
|  | Read the dial scale |  |  |  |  |  |
|  | Adjust the gauge block as per desired size |  |  |  |  |  |
|  | Hold the specimen in position |  |  |  |  |  |
|  | Measure the angle accurately sine bar and gauge blocks |  |  |  |  |  |
|  | Prepare the microscope for examining the job |  |  |  |  |  |
|  | Hold the job on anvil |  |  |  |  |  |
|  | Observe the size and profile of the job by setting eye piece |  |  |  |  |  |
|  | Record the observations |  |  |  |  |  |
|  | Make complete setting of work piece on Profile Projector |  |  |  |  |  |
|  | Set the axis |  |  |  |  |  |
|  | Observe the size |  |  |  |  |  |
|  | Select digital instrument and specimen for measurement. |  |  |  |  |  |
|  | Take measurement of specimen with digital instrument |  |  |  |  |  |
|  | Hold the job properly. |  |  |  |  |  |
|  | Set and locate zero point. |  |  |  |  |  |
|  | Take the dimensions for different coordinates properly. |  |  |  |  |  |
|  | Take point to point/linear measurements. |  |  |  |  |  |
|  | Take measurements profile in 2D and 3D. |  |  |  |  |  |
|  | Measure the job for upper and lower limits. |  |  |  |  |  |
|  | Calculate the maximum and minimum size. |  |  |  |  |  |
|  | Calculate tolerance and allowance |  |  |  |  |  |
|  | Represent tolerance in results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| --- | --- |
| Competency Standard | Measure Threads & Gears (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the 4 types of measurements of Gears can be used for? |  |  |
|  | What are the different Grades of gauge block? |  |  |
|  | What is an optical comparator used for? |  |  |
|  | Which of the following is attached to dial face for Rapid checking of parts? |  |  |
|  | - Tolerance Pointers - Contact Pointers - Special stems - Lever attachments |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________