Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| --- | --- |
| Competency Standard | Take measurements through various gauges (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Take measurement with fixed gauge and plug gauge - Take measurement with adjustable gauge - Take measurement with small hole gauge - Take measurement with telescope gauge |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Take measurement with fixed gauge and plug gauge - Check/Compare the dimension of provided work piece against reference standard with the help of fixed gauge. - Insert plug gauge into the work piece to determine either dimension is of acceptable size or over size Take measurement with adjustable gauge 1.Insert both “go” and “not go” gauges in the work piece. 2.Check the size and record the results Take measurement with small hole gauge - Insert the small hole gauge of require size into the work piece - Record the result. Take measurement with telescope gauge - Insert the telescope gauge into the work piece - Adjust the gauge and determine the size of work piece. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| Competency Standard | Take measurements through various gauges (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Take measurement with fixed gauge and plug gauge - Take measurement with adjustable gauge - Take measurement with small hole gauge - Take measurement with telescope gauge |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check/Compare the dimension of provided work piece against reference standard with the help of fixed gauge |  |  |
| - Insert plug gauge into the work piece to determine either dimension is of acceptable size or over size. |  |  |
| - Insert both “go” and “not go” gauges in the work piece |  |  |
| - Check the size and record the results |  |  |
| - Insert the small hole gauge of require size into the work piece |  |  |
| - Record the result |  |  |
| - Insert the telescope gauge into the work piece |  |  |
| - Adjust the gauge and determine the size of work piece. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| --- | --- |
| Competency Standard | Take measurements through various gauges (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Take Measurement with Square head - Perform leveling with square head as spirit level - Measure depth with square head as depth gauge - Measure height with square head as height gauge |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Checked/Compare the dimension of provided work piece against reference standard with the help of fixed gauge |  |  |  |  |  |
|  | Inserted plug gauge into the work piece to determine either dimension is of acceptable size or over size. |  |  |  |  |  |
|  | Inserted both “go” and “not go” gauges in the work piece |  |  |  |  |  |
|  | Checked the size and record the results |  |  |  |  |  |
|  | Inserted the small hole gauge of require size into the work piece |  |  |  |  |  |
|  | Recorded the result |  |  |  |  |  |
|  | Inserted the telescope gauge into the work piece |  |  |  |  |  |
|  | Adjusted the gauge and determine the size of work piece. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 3 in Automation & Process Control |
| --- | --- |
| Competency Standard | Take measurements through various gauges (Level 3) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to Insertthe telescope gauge into the work piece |  |  |
|  | How to Insert both “go” and “not go” gauges in the work piece |  |  |
|  | How to perform leveling |  |  |
|  | What is the function of plug gauge |  |  |
|  | Take measurement with Telescope gauge |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________