Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Analyse Dc Motors (Level4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Identify DC shunt motor - Identify DC series motor - Identify DC compound motor |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Identify DC shunt motor - Measure the terminal resistance of motors with ohm meter. - Identify DC shunt motor from measured value of resistance. - Disconnect both windings. - Identify field winding of shunt motor. - Identify armature of shunt motor. - Measure the resistance of both winding separately. - Record the resistance of armature winding and field winding. - Compare the resistance of armature winding and field winding to identify the difference between them. Identify DC series motor - Measure the terminal resistance of DC motors with ohm meter. - Identify DC series motor from measured value of resistance. - Disconnect both windings. - Identify the series field winding of series motor. - Identify armature of series motor. - Measure the resistance of both winding separately. - Record the resistance of armature winding and field winding. - Compare the resistance of armature winding and field winding to identify the difference between them. Identify DC compound motor - Measure the terminal resistance of DC motor with ohm meter. - Identify DC Compound motor from measured value of resistance. - Disconnect both windings. - Identify the series field winding of motor. - Identify the shunt field winding of motor. - Identify armature of compound motor. - Measure and record the resistance of both winding separately. - Record the resistance of armature winding. - Compare the resistance of armature winding, series field winding and shunt field winding to identify the difference between them. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | Analyse Dc Motors (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify DC shunt motor - Identify DC series motor - Identify DC compound motor |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Measure the terminal resistance of motors with ohm meter. |  |  |
| - Identify DC shunt motor from measured value of resistance. |  |  |
| - Disconnect both windings. |  |  |
| - Identify field winding of shunt motor. |  |  |
| - Identify armature of shunt motor. |  |  |
| - Measure the resistance of both winding separately. |  |  |
| - Record the resistance of armature winding and field winding. |  |  |
| - Compare the resistance of armature winding and field winding to identify the difference between them. |  |  |
| - Measure the terminal resistance of DC motors with ohm meter. |  |  |
| - Identify DC series motor from measured value of resistance. |  |  |
| - Disconnect both windings. |  |  |
| - Identify the series field winding of series motor. |  |  |
| - Identify armature of series motor. |  |  |
| - Measure the resistance of both winding separately. |  |  |
| - Record the resistance of armature winding and field winding. |  |  |
| - Compare the resistance of armature winding and field winding to identify the difference between them. |  |  |
| - Measure the terminal resistance of DC motor with ohm meter. |  |  |
| - Identify DC Compound motor from measured value of resistance. |  |  |
| - Disconnect both windings. |  |  |
| - Identify the series field winding of motor. |  |  |
| - Identify the shunt field winding of motor. |  |  |
| - Identify armature of compound motor. |  |  |
| - Measure and record the resistance of both winding separately. |  |  |
| - Record the resistance of armature winding. |  |  |
| - Compare the resistance of armature winding, series field winding and shunt field winding to identify the difference between them. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Analyse Dc Motors (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify DC shunt motor - Identify DC series motor - Identify DC compound motor |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Measure the terminal resistance of motors with ohm meter. |  |  |  |  |  |
|  | Identify DC shunt motor from measured value of resistance. |  |  |  |  |  |
|  | Disconnect both windings. |  |  |  |  |  |
|  | Identify field winding of shunt motor. |  |  |  |  |  |
|  | Identify armature of shunt motor. |  |  |  |  |  |
|  | Measure the resistance of both winding separately. |  |  |  |  |  |
|  | Record the resistance of armature winding and field winding. |  |  |  |  |  |
|  | Compare the resistance of armature winding and field winding to identify the difference between them. |  |  |  |  |  |
|  | Measure the terminal resistance of DC motors with ohm meter. |  |  |  |  |  |
|  | Identify DC series motor from measured value of resistance. |  |  |  |  |  |
|  | Disconnect both windings. |  |  |  |  |  |
|  | Identify the series field winding of series motor. |  |  |  |  |  |
|  | Identify armature of series motor. |  |  |  |  |  |
|  | Measure the resistance of both winding separately. |  |  |  |  |  |
|  | Record the resistance of armature winding and field winding. |  |  |  |  |  |
|  | Compare the resistance of armature winding and field winding to identify the difference between them. |  |  |  |  |  |
|  | Measure the terminal resistance of DC motor with ohm meter. |  |  |  |  |  |
|  | Identify DC Compound motor from measured value of resistance. |  |  |  |  |  |
|  | Disconnect both windings. |  |  |  |  |  |
|  | Identify the series field winding of motor. |  |  |  |  |  |
|  | Identify the shunt field winding of motor. |  |  |  |  |  |
|  | Identify armature of compound motor. |  |  |  |  |  |
|  | Measure and record the resistance of both winding separately. |  |  |  |  |  |
|  | Record the resistance of armature winding. |  |  |  |  |  |
|  | Compare the resistance of armature winding, series field winding and shunt field winding to identify the difference between them. |  |  |  |  |  |
| COMPETENT |  |  | NOT YETCOMPETENT |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Analyse Dc Motors (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe winding in series motor |  |  |
|  | Define the technique to identify the terminal polarity |  |  |
|  | Define winding ion shunt motors |  |  |
|  | State three types of DC Motors. |  |  |
|  | Draw the wiring diagram of a series wound motor |  |  |
|  | Define loop generator |  |  |
|  | What are the material used for brushes in DC Machines? |  |  |
|  | - Iron - Carbon - Aluminum - Steel |  |  |
|  | The direction of rotation of a DC motor can be reversed....... |  |  |
|  | - By reversing the connections of both armature and the field winding with the supply - By reversing the connections of either the armature or the field-winding connection with the supply - By reducing the field flux - By introducing an extra resistance in the armature circuit |  |  |
|  | The induced EMF in the armature conductors of a DC motor is Sinusoidal |  |  |
|  | - True - False |  |  |
|  | The maximum torque of DC motors is limited by Armature Current |  |  |
|  | - True - False |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________