Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Operate Digital Sensor Switches (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Electronic Temperature Switch - Pressure Switch - Proximity Switch - Limit Switch - Overload Relay |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Electronic Temperature Switch - Identify the pins of the unit. - Make connection to the temperature sensor as per diagram. - Power up the Electronic Temperature switch. - Adjust the parameters. Set the desired temperature ranges (higher and lower values). - Test the output of the switch (On and Off Condition) Pressure Switch - Identify the pins of the unit. - Make connection to the pressure sensor as per diagram. - Supply the pressure switch. - Adjust the parameters. Set the desired minimum and maximum working pressures - Test the output of the switch (On and Off Condition) Proximity Switch - Identify the type of proximity switch. - Identify the pins of the unit - Make connection to the controller and supply the switch. - Place the switch with the prescribed dimensions of diameter and length - Test the output of the switch (On and Off Condition) Limit Switch - Identify the pins of the unit - Make connection to the controller and supply the switch. - Set the distance or angle that the actuator must go through to trip the contacts - Test the output of the switch (On and Off Condition) Overload Relay - Identify the pins of the relay - Make connections of the coil to the controller. - Make connections of the contacts to the load. - Test the output of the switch (On and Off Condition) |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | Operate Digital Sensor Switches (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Electronic Temperature Switch - Pressure Switch - Proximity Switch - Limit Switch - Overload Relay |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the pins of the unit. |  |  |
| - Make connection to the temperature sensor as per diagram. |  |  |
| - Power up the Electronic Temperature switch. |  |  |
| - Adjust the parameters. Set the desired temperature ranges (higher and lower values). |  |  |
| - Test the output of the switch (On and Off Condition) |  |  |
| - Identify the pins of the unit. |  |  |
| - Make connection to the pressure sensor as per diagram. |  |  |
| - Supply the pressure switch. |  |  |
| - Adjust the parameters. Set the desired minimum and maximum working pressures |  |  |
| - Test the output of the switch (On and Off Condition) |  |  |
| - Identify the type of proximity switch. |  |  |
| - Identify the pins of the unit |  |  |
| - Make connection to the controller and supply the switch. |  |  |
| - Place the switch with the prescribed dimensions of diameter and length |  |  |
| - Test the output of the switch (On and Off Condition) |  |  |
| - Identify the pins of the unit |  |  |
| - Make connection to the controller and supply the switch. |  |  |
| - Set the distance or angle that the actuator must go through to trip the contacts |  |  |
| - Test the output of the switch (On and Off Condition) |  |  |
| - Identify the pins of the relay |  |  |
| - Make connections of the coil to the controller. |  |  |
| - Make connections of the contacts to the load. |  |  |
| - Test the output of the switch (On and Off Condition) |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Operate Digital Sensor Switches (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Electronic Temperature Switch - Pressure Switch - Proximity Switch - Limit Switch - Overload Relay |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the pins of the unit. |  |  |  |  |  |
|  | Make connection to the temperature sensor as per diagram. |  |  |  |  |  |
|  | Power up the Electronic Temperature switch. |  |  |  |  |  |
|  | Adjust the parameters. Set the desired temperature ranges (higher and lower values). |  |  |  |  |  |
|  | Test the output of the switch (On and Off Condition) |  |  |  |  |  |
|  | Identify the pins of the unit. |  |  |  |  |  |
|  | Make connection to the pressure sensor as per diagram. |  |  |  |  |  |
|  | Supply the pressure switch. |  |  |  |  |  |
|  | Adjust the parameters. Set the desired minimum and maximum working pressures |  |  |  |  |  |
|  | Test the output of the switch (On and Off Condition) |  |  |  |  |  |
|  | Identify the type of proximity switch. |  |  |  |  |  |
|  | Identify the pins of the unit |  |  |  |  |  |
|  | Make connection to the controller and supply the switch. |  |  |  |  |  |
|  | Place the switch with the prescribed dimensions of diameter and length |  |  |  |  |  |
|  | Test the output of the switch (On and Off Condition) |  |  |  |  |  |
|  | Identify the pins of the unit |  |  |  |  |  |
|  | Make connection to the controller and supply the switch. |  |  |  |  |  |
|  | Set the distance or angle that the actuator must go through to trip the contacts |  |  |  |  |  |
|  | Test the output of the switch (On and Off Condition) |  |  |  |  |  |
|  | Identify the pins of the relay |  |  |  |  |  |
|  | Make connections of the coil to the controller. |  |  |  |  |  |
|  | Make connections of the contacts to the load. |  |  |  |  |  |
|  | Test the output of the switch (On and Off Condition) |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Operate Digital Sensor Switches (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Which devices measures gases or liquid? |  |  |
|  | - Proximity sensor - Pressure sensor - Temperature sensor - Touch sensor |  |  |
|  | Barometer is which type of sensor________ |  |  |
|  | - Pressure sensor - Touch sensor - Temperature sensor - Humidity sensor |  |  |
|  | Pressure is the _________ |  |  |
|  | - force per unit area - mass per unit area - force per unit volume - mass per unit volume |  |  |
|  | Which proximity sensor detects metal objects? |  |  |
|  | - Capacitive Proximity Sensor b) Magnetic Proximity Sensor - Ultrasonic Proximity Sensor - Inductive Proximity Sensor |  |  |
|  | Which sensor can detect nearby objects? |  |  |
|  | - Proximity sensor - Humidity sensor - Touch sensor - Pressure sensor |  |  |
|  | _________ detects metals but along with it can also detect resins, liquids. |  |  |
|  | - Inductive proximity - Capacitive Proximity - Magnetic Proximity - d) Parallel Proximity |  |  |
|  | A limit switch is an ______________ device |  |  |
|  | - mechanical - electromechanical - electrical - photoelectric |  |  |
|  | A ______________ detects the physical movement of an object by direct contact with that object |  |  |
|  | - limit switch - Proximity switch - Humidity switch - Touch switch |  |  |
|  | A Overload Relay is an ______________ device |  |  |
|  | - mechanical - electromechanical - electrical - photoelectric |  |  |
|  | Overload Relay is used to protect the circuit from ____________ |  |  |
|  | over voltage over current low voltage low current |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________