Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Flow instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Installation of DP Transmitter and calibration. - Installation and Calibration of Flow indicators. - Implement the Piston & Gear Flow Meters |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Installation of DP Transmitter and calibration - Arrange test standard and calibrator. - Analyze the differential pressure flow meter. - Install the differential pressure flow meter as per installation guideline. - Check and calibrate the differential pressure flow meter. - Prepare Calibration reports - Installation and Calibration of Flow indicators - Analyze the type of flow indicator. - Check and calibrate the flow indicator. - Implement the Piston & Gear Flow Meters - Analyze the type of Piston& Gear flow meter. - Install the Piston& Gear flow meter as per installations guideline. - Check and calibrate the Piston& Gear flow meter. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | Calibrate Flow instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Installation of DP Transmitter and calibration. - Installation and Calibration of Flow indicators. - Implement the Piston & Gear Flow Meters. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Arrange test standard and calibrator. |  |  |
| - Analyze the differential pressure flow meter. |  |  |
| - Install the differential pressure flow meter as per installation guideline. |  |  |
| - Check and calibrate the differential pressure flow meter. |  |  |
| - Prepare Calibration reports |  |  |
| - Analyze the type of flow indicator. |  |  |
| - Check and calibrate the flow indicator. |  |  |
| - Analyze the type of Piston& Gear flow meter. |  |  |
| - Install the Piston& Gear flow meter as per installations guideline. |  |  |
| - Check and calibrate the Piston& Gear flow meter. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Flow instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Installation of DP Transmitter and calibration. - Installation and Calibration of Flow indicators. - Implement the Piston & Gear Flow Meters. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Arranged test standard and calibrator. |  |  |  |  |  |
|  | Analyzed the differential pressure flow meter. |  |  |  |  |  |
|  | Installed the differential pressure flow meter as per installation guideline. |  |  |  |  |  |
|  | Checked and calibrate the differential pressure flow meter. |  |  |  |  |  |
|  | Prepared Calibration reports |  |  |  |  |  |
|  | Analyzed the type of flow indicator. |  |  |  |  |  |
|  | Checked and calibrate the flow indicator. |  |  |  |  |  |
|  | Analyzed the type of Piston& Gear flow meter. |  |  |  |  |  |
|  | Installed the Piston& Gear flow meter as per installations guideline. |  |  |  |  |  |
|  | Checked and calibrate the Piston& Gear flow meter. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Flow instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name any THREE main parts of Piston Flow Meter. |  |  |
|  | What is the function of Gear Flow Meter? |  |  |
|  | State steps involved in installation of Flow indicators. |  |  |
|  | What is the importance of callibration of Flow Indicator? |  |  |
|  | Name important steps involved in Calibration of Flow indicators. |  |  |
|  | Name any THREE types of Flow Meters/Indicators? |  |  |
|  | What is the difference between Precision and Accuracy? |  |  |
|  | How many types of FLOW RATES? |  |  |
|  | What is the Formula of Volumetric flow rate? |  |  |
|  | What is the Formula of Mass flow rate? |  |  |
|  | What are the units of Volumetric Flow Rate? |  |  |
|  | What are the units of Mass Flow Rate? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________