Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Level Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install the Level instruments for Level measurement - Level measurement by Differential Pressure - Install the Ultrasonic Level measuring Instruments |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Install the Level instruments for Level measurement - Analyze the type of level measuring device. - Install the level measuring device as per installations manual. - Check & Calibrate the level measuring device - Level measurement by Differential Pressure - Arrange test standard and calibrator. - Analyze the differential pressure transmitter. - Install the differential pressure Level transmitter as per installations guideline. - Check and calibrate the differential pressure Level transmitter. - Prepare Calibration reports - Install the Ultrasonic Level measuring Instruments - Analyze the type of Ultrasonic instrument for level measurement. - Install the Ultrasonic instrument as per installations guidelines. - Test and calibrate the Ultrasonic instrument. - Prepare Calibration reports |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | CalibrateLevel Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install the Level instruments for Level measurement - Level measurement by Differential Pressure - Install the Ultrasonic Level measuring Instruments |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze the type of level measuring device. |  |  |
| - Install the level measuring device as per installations manual. |  |  |
| - Check & Calibrate the level measuring device |  |  |
| - Arrange test standard and calibrator. |  |  |
| - Analyze the differential pressure transmitter. |  |  |
| - Install the differential pressure Level transmitter as per installations guideline. |  |  |
| - Check and calibrate the differential pressure Level transmitter. |  |  |
| - Prepare Calibration reports |  |  |
| - Analyze the type of Ultrasonic instrument for level measurement. |  |  |
| - Install the Ultrasonic instrument as per installations guidelines. |  |  |
| - Test and calibrate the Ultrasonic instrument. |  |  |
| - Prepare Calibration reports |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | CalibrateLevel Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install the Level instruments for Level measurement - Level measurement by Differential Pressure - Install the Ultrasonic Level measuring Instruments |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyze the type of level measuring device. |  |  |  |  |  |
|  | Install the level measuring device as per installations manual. |  |  |  |  |  |
|  | Check & Calibrate the level measuring device |  |  |  |  |  |
|  | Arrange test standard and calibrator. |  |  |  |  |  |
|  | Analyze the differential pressure transmitter. |  |  |  |  |  |
|  | Install the differential pressure Level transmitter as per installations guideline. |  |  |  |  |  |
|  | Check and calibrate the differential pressure Level transmitter. |  |  |  |  |  |
|  | Prepare Calibration reports |  |  |  |  |  |
|  | Analyze the type of Ultrasonic instrument for level measurement. |  |  |  |  |  |
|  | Install the Ultrasonic instrument as per installations guidelines. |  |  |  |  |  |
|  | Test and calibrate the Ultrasonic instrument. |  |  |  |  |  |
|  | Prepare Calibration reports |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Level Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the functional parameters of Level Instruments. |  |  |
|  | Define Electrical and Electronic Circuit Theory. |  |  |
|  | Which of the following adjustments is usually adjusted first in an instrument requiring calibration? - Dead band - Span - Hysteresis - Zero |  |  |
|  | Describe a Process Control Loop. |  |  |
|  | #### Why Test and Calibration of the process equipment is essential? Enlist any two reasons. |  |  |
|  | #### Enlist the name of methods used to measure level. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________