Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | CalibratePressure Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install Pressure Transducer &Transmitters - Install Pressure gauge |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Install Pressure Transducer &Transmitters - Analyze the type of Pressure Transmitter/Transducer. - Install the Pressure Transducer as per the installation guidelines. - Test & Calibrate the installed pressure Transmitter/Transducer - Prepare Calibration reports - Install Pressure gauge - Analyze the type of Pressure gauge. - Install the pressure gauge as per Installation guidelines. - Test & Calibrate the installed pressure gauge. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | CalibratePressure Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install Pressure Transducer &Transmitters - Install Pressure gauge |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze the type of Pressure Transmitter/Transducer. |  |  |
| - Install the Pressure Transducer as per the installation guidelines. |  |  |
| - Test & Calibrate the installed pressure Transmitter/Transducer |  |  |
| - Prepare Calibration reports |  |  |
| - Analyze the type of Pressure gauge. |  |  |
| - Install the pressure gauge as per Installation guidelines. |  |  |
| - Test & Calibrate the installed pressure gauge. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Pressure Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Pressure Transducer &Transmitters - Install Pressure gauge |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyze the type of Pressure Transmitter/Transducer. |  |  |  |  |  |
|  | Install the Pressure Transducer as per the installation guidelines. |  |  |  |  |  |
|  | Test & Calibrate the installed pressure Transmitter/Transducer |  |  |  |  |  |
|  | Prepare Calibration reports |  |  |  |  |  |
|  | Analyze the type of Pressure gauge. |  |  |  |  |  |
|  | Install the pressure gauge as per Installation guidelines. |  |  |  |  |  |
|  | Test & Calibrate the installed pressure gauge. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Pressure Instrument (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name any TWOcommonly used types of Pressure Measuring Instruments? |  |  |
|  | Explain Leakage testing techniques of connections. |  |  |
|  | Which of the following adjustments is usually adjusted first in an instrument requiring calibration? - Dead band - Span - Hysteresis - Zero |  |  |
|  | #### How would you select a pressure gauge for a process? |  |  |
|  | #### What-test equipment is required to calibrate a pressure transmitter in the field? |  |  |
|  | #### Write any two pressure measuring test equipment name. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________