Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Temperature instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Measure the Temperature using Thermocouple. - Measure the Temperature using RTD (Resistance temperature detector). - Measure the Temperature using Bi-metallic Gauge. - Calibrate Temperature instrument. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Measure the Temperature using Thermocouple. - Analyze the type of thermocouple to be installed. - Install the required thermocouple as per installation manual. - Analyze accuracy, temperature range of thermocouples. - Plot the temperature graph as required. - Perform calibration using test standards. - Measure the Temperature using RTD (Resistance temperature detector) - Analyze the type of RTD to be installed. - Install the required RTD as per installation manual. - Analyze accuracy and flexibility of RTD. - Plot the temperature graph as required. - Perform calibration using test standards. - Measure the Temperature using Bi-metallic Gauge. - Check physical status of instrument. - Analyze the temperature range of Bi-metal temperature gauge to be installed. - Install the required Bi-metal gauge as per installation manual. - Perform calibration using test standards. - Perform adjustment if necessary. - Replace/Restore instrument to system. - Prepare Calibration report. - Calibrate Temperature instrument - Check physical status of instrument. - Arrange temperature calibrator and test standards. - Remove / Isolate instrument from process. - Perform calibration using test standards. - Perform adjustment if necessary. - Replace / Restore instrument to system. - Prepare Calibration report. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | Calibrate Temperature instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure the Temperature using Thermocouple. - Measure the Temperature using RTD (Resistance temperature detector). - Measure the Temperature using Bi-metallic Gauge. - Calibrate Temperature instrument. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze the type of thermocouple to be installed. |  |  |
| - Install the required thermocouple as per installation manual. |  |  |
| - Analyze accuracy, temperature range of thermocouples. |  |  |
| - Plot the temperature graph as required. |  |  |
| - Perform calibration using test standards. |  |  |
| - Analyze the type of RTD to be installed. |  |  |
| - Install the required RTD as per installation manual. |  |  |
| - Analyze accuracy and flexibility of RTD. |  |  |
| - Plot the temperature graph as required. |  |  |
| - Perform calibration using test standards. |  |  |
| - Check physical status of instrument. |  |  |
| - Analyze the temperature range of Bi-metal temperature gauge to be installed. |  |  |
| - Install the required Bi-metal gauge as per installation manual. |  |  |
| - Perform calibration using test standards. |  |  |
| - Perform adjustment if necessary. |  |  |
| - Replace/Restore instrument to system. |  |  |
| - Prepare Calibration report. |  |  |
| - Check physical status of instrument. |  |  |
| - Arrange temperature calibrator and test standards. |  |  |
| - Remove / Isolate instrument from process. |  |  |
| - Perform calibration using test standards. |  |  |
| - Perform adjustment if necessary. |  |  |
| - Replace / Restore instrument to system. |  |  |
| - Prepare Calibration report. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Temperature instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure the Temperature using Thermocouple. - Measure the Temperature using RTD (Resistance temperature detector). - Measure the Temperature using Bi-metallic Gauge. - Calibrate Temperature instrument. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Analyzed the type of thermocouple to be installed. |  |  |  |  |  |
|  | Installed the required thermocouple as per installation manual. |  |  |  |  |  |
|  | Analyzed accuracy, temperature range of thermocouples. |  |  |  |  |  |
|  | Plotted the temperature graph as required. |  |  |  |  |  |
|  | Performed calibration using test standards. |  |  |  |  |  |
|  | Analyzed the type of RTD to be installed. |  |  |  |  |  |
|  | Installed the required RTD as per installation manual. |  |  |  |  |  |
|  | Analyzed accuracy and flexibility of RTD. |  |  |  |  |  |
|  | Plotted the temperature graph as required. |  |  |  |  |  |
|  | Performed calibration using test standards. |  |  |  |  |  |
|  | Checked physical status of instrument. |  |  |  |  |  |
|  | Analyzed the temperature range of Bi-metal temperature gauge to be installed. |  |  |  |  |  |
|  | Installed the required Bi-metal gauge as per installation manual. |  |  |  |  |  |
|  | Performed calibration using test standards. |  |  |  |  |  |
|  | Performed adjustment if necessary. |  |  |  |  |  |
|  | Replaced/Restored instrument to system. |  |  |  |  |  |
|  | Prepared Calibration report. |  |  |  |  |  |
|  | Checked physical status of instrument. |  |  |  |  |  |
|  | Arranged temperature calibrator and test standards. |  |  |  |  |  |
|  | Removed / Isolated instrument from process. |  |  |  |  |  |
|  | Performed calibration using test standards. |  |  |  |  |  |
|  | Performed adjustment if necessary. |  |  |  |  |  |
|  | Replaced / Restored instrument to system. |  |  |  |  |  |
|  | Prepared Calibration report. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Calibrate Temperature instrument (level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name any THREE commonly used types of Temperature Measuring Instruments? |  |  |
|  | The working of Thermocouples is based on which principle? |  |  |
|  | State steps involved in installation of Flow indicators. |  |  |
|  | What is temperature measuring range of k-type thermocouple? |  |  |
|  | K-type thermocouple is made by the combination of which types of base-metals? |  |  |
|  | What is the difference between Hot/Measuring Junction and Cold/Reference Junction of Thermocouple(s)? |  |  |
|  | Tell any THREE main advantages of Resistance Temperature Detectors (RTDs) over Thermocouple(s)? |  |  |
|  | The electronic circuit used to measure resistance in Resistance Temperature Detectors (RTDs) is known as: |  |  |
|  | Tell any ONE advantage and ONE disadvantage of Bi-metal gauge? |  |  |
|  | What is the difference between PT-100 and PT-1000 types of Resistance Temperature Detectors (RTDs)? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________