Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Interface of Sensor(Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Identify type of sensor & its characteristic - Select calibration standards and calibrator - Calibrate sensor |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Identify type of sensor & its characteristic - Select the sensor to match with characteristics / impedance of point of connection. - Check the physical status of the sensor. - Connect to the supply. - Connect the output of sensor to the system input. - Check the output of Sensor. - Select calibration standards and calibrator - Identify the appropriate calibrator and calibration standards - Identify tools and equipment. - Calibrate sensor - Connect the sensor to the calibrator. - Perform calibration steps. - Perform adjustment if necessary - Prepare calibration report. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| Competency Standard | Interface of Sensor (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify type of sensor & its characteristic - Select calibration standards and calibrator - Calibrate sensor |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select the sensor to match with characteristics / impedance of point of connection. |  |  |
| - Check the physical status of the sensor. |  |  |
| - Connect to the supply. |  |  |
| - Connect the output of sensor to the system input. |  |  |
| - Check the output of Sensor. |  |  |
| - Identify the appropriate calibrator and calibration standards |  |  |
| - Identify tools and equipment. |  |  |
| - Connect the sensor to the calibrator. |  |  |
| - Perform calibration steps. |  |  |
| - Perform adjustment if necessary |  |  |
| - Prepare calibration report. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Interface of Sensor (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify type of sensor & its characteristic - Select calibration standards and calibrator - Calibrate sensor |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected the sensor to match with characteristics / impedance of point of connection. |  |  |  |  |  |
|  | Checked the physical status of the sensor. |  |  |  |  |  |
|  | Connected to the supply. |  |  |  |  |  |
|  | Connected the output of sensor to the system input. |  |  |  |  |  |
|  | Checked the output of Sensor. |  |  |  |  |  |
|  | Identified the appropriate calibrator and calibration standards |  |  |  |  |  |
|  | Identified tools and equipment. |  |  |  |  |  |
|  | Connected the sensor to the calibrator. |  |  |  |  |  |
|  | Performed calibration steps. |  |  |  |  |  |
|  | Performed adjustment if necessary |  |  |  |  |  |
|  | Prepared calibration report. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control |
| --- | --- |
| Competency Standard | Interface of Sensor (Level 4) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Differentiate between active and passive transducers? |  |  |
|  | State the working principle of Capacitive proximity sensor? |  |  |
|  | Enlist three different types of Proximity Sensors? |  |  |
|  | State the difference between NPN and PNP type sensor? |  |  |
|  | State four different types of transducers? |  |  |
|  | What is the temperature range of K-type thermocouple? |  |  |
|  | State difference between sensor and transducer? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________