Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Install the Boiler Control System(Level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install feed water control. - Install Drum level Control. - Install Boiler Combustion Control. - Install Gas air ratio control system. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Install feed water control - Select tools and raw material as per drawing standards. - Select appropriate feed water control system components as per drawing or process sheet. - Test feed water control. - Assemble and install feed water control system. - Install Drum level Control - Select tools and raw material as per drawing standards for drum level control. - Select appropriate drum level control system components as per drawing or process sheet. - Test Drum level Control. - Assemble and install drum level control. - Install Boiler Combustion Control - Select tools and raw material as per drawing standards for Boiler Combustion Control system. - Select appropriate Boiler Combustion Control system. components as per drawing or process sheet. - Test Boiler Combustion Control system. - Assemble and install Boiler Combustion Control system. - Perform fuel adjustment as per requirement. - Install Gas air ratio control system - Select tools and raw material as per drawing standards for Gas air ratio control system. - Select appropriate Gas air ratio control system components as per drawing or process sheet. - Test Gas air ratio control system. - Assemble and install Boiler Combustion Control system. - Perform gas air ratio as per fuel supply. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| Competency Standard | Install the Boiler Control System (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install feed water control - Install Drum level Control - Install Boiler Combustion Control - Install Gas air ratio control system |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select tools and raw material as per drawing standards. |  |  |
| - Select appropriate feed water control system components as per drawing or process sheet. |  |  |
| - Test feed water control. |  |  |
| - Assemble and install feed water control system. |  |  |
| - Select tools and raw material as per drawing standards for drum level control. |  |  |
| - Select appropriate drum level control system components as per drawing or process sheet. |  |  |
| - Test Drum level Control. |  |  |
| - Assemble and install drum level control. |  |  |
| - Select tools and raw material as per drawing standards for Boiler Combustion Control system. |  |  |
| - Select appropriate Boiler Combustion Control system components as per drawing or process sheet. |  |  |
| - Test Boiler Combustion Control system. |  |  |
| - Assemble and install Boiler Combustion Control system. |  |  |
| - Perform fuel adjustment as per requirement. |  |  |
| - Select tools and raw material as per drawing standards for Gas air ratio control system. |  |  |
| - Select appropriate Gas air ratio control system components as per drawing or process sheet. |  |  |
| - Test Gas air ratio control system. |  |  |
| - Assemble and install Boiler Combustion Control system. |  |  |
| - Perform gas air ratio as per fuel supply. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Install the Boiler Control System (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install feed water control - Install Drum level Control - Install Boiler Combustion Control - Install Gas air ratio control system |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected tools and raw material as per drawing standards. |  |  |  |  |  |
|  | Selected appropriate feed water control system components as per drawing or process sheet. |  |  |  |  |  |
|  | Tested feed water control. |  |  |  |  |  |
|  | Assembled and install feed water control system. |  |  |  |  |  |
|  | Selected tools and raw material as per drawing standards for drum level control. |  |  |  |  |  |
|  | Selected appropriate drum level control system components as per drawing or process sheet. |  |  |  |  |  |
|  | Tested Drum level Control. |  |  |  |  |  |
|  | Assembled and install drum level control. |  |  |  |  |  |
|  | Selected tools and raw material as per drawing standards for Boiler Combustion Control system. |  |  |  |  |  |
|  | Selected appropriate Boiler Combustion Control system components as per drawing or process sheet. |  |  |  |  |  |
|  | Tested Boiler Combustion Control system. |  |  |  |  |  |
|  | Assembled and install Boiler Combustion Control system. |  |  |  |  |  |
|  | Performed fuel adjustment as per requirement. |  |  |  |  |  |
|  | Selected tools and raw material as per drawing standards for Gas air ratio control system. |  |  |  |  |  |
|  | Selected appropriate Gas air ratio control system components as per drawing or process sheet. |  |  |  |  |  |
|  | Tested Gas air ratio control system. |  |  |  |  |  |
|  | Assembled and install Boiler Combustion Control system. |  |  |  |  |  |
|  | Performed gas air ratio as per fuel supply. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Install the Boiler Control System (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the steam trap? |  |  |
|  | Name techniques used to measure the level of water in Boiler feed tanks? |  |  |
|  | Name methods available to control ‘excess air’ in Boilers? |  |  |
|  | What is Air-to-Fuel Ratio? |  |  |
|  | Name any THREE various Boiler Mountings? |  |  |
|  | What is the function of Safety valve? |  |  |
|  | Name any THREE main parameters required to estimate the ‘Boiler Efficiency’ by Direct Method? |  |  |
|  | Why Boiler blow-down is required? |  |  |
|  | What is the effect of Boiler Loading on Boiler Efficiency? |  |  |
|  | What is the effect of Sulfur present in coal when used in boiler? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________