# Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Operate a Boiler Control System (level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Prepare the boiler for operation - Start and monitor boiler operation - Analyze and respond to abnormal performance - Handover the boiler operations - Carry out an operational shutdown - Prepare the boiler for an internal inspection |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Prepare the boiler for operation - Identify Health and safety hazards & report to responsible personnel. - Purge the boiler according to workplace procedure - Perform pre-operational checks & confirm operational status of boiler and related equipment Start and monitor boiler operation - Start the boiler safely as per manufacturer’s specifications - Operate the plant within limits of manufacturer’s specifications - Monitor the Equipment to confirm operating condition - Test the water quality and adjust as required - Ensure that the workplace meets housekeeping standards Analyze and respond to abnormal performance - Analyze operating data and plant operating conditions to identify causes of abnormal performance - Take corrective action in response to Hazards - Implement emergency procedures as required Handover the boiler operations - Maintain the workplace in accordance with statutory requirements and workplace procedures - Carry out Handing over according to workplace procedure Carry out an operational shutdown - Shut down the boiler according to workplace procedures - Identify the maintenance requirements & report according to workplace reporting procedure Prepare the boiler for an internal inspection - Shut down the boiler according to workplace procedures - Clean the boiler is internally and externally according to workplace procedures - Remove the valves and fittings - Place the boiler in the appropriate storage mode according to manufacturer’s recommendations - Generate a record report |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| Competency Standard | Operate a Boiler Control System (level 5) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare the boiler for operation - Start and monitor boiler operation - Analyze and respond to abnormal performance - Handover the boiler operations - Carry out an operational shutdown - Prepare the boiler for an internal inspection |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify Health and safety hazards & report to responsible personnel. |  |  |
| - Purge the boiler according to workplace procedure |  |  |
| - Perform pre-operational checks & confirm operational status of boiler and related equipment |  |  |
| - Start the boiler safely as per manufacturer’s specifications |  |  |
| - Operate the plant within limits of manufacturer’s specifications |  |  |
| - Monitor the Equipment to confirm operating condition |  |  |
| - Test the water quality and adjust as required |  |  |
| - Ensure that the workplace meets housekeeping standards |  |  |
| - Analyze operating data and plant operating conditions to identify causes of abnormal performance |  |  |
| - Take corrective action in response to Hazards |  |  |
| - Implement emergency procedures as required |  |  |
| - Maintain the workplace in accordance with statutory requirements and workplace procedures |  |  |
| - Carry out Handing over according to workplace procedure |  |  |
| - Shut down the boiler according to workplace procedures |  |  |
| - Identify the maintenance requirements & report according to workplace reporting procedure |  |  |
| - Shut down the boiler according to workplace procedures |  |  |
| - Clean the boiler is internally and externally according to workplace procedures |  |  |
| - Remove the valves and fittings |  |  |
| - Place the boiler in the appropriate storage mode according to manufacturer’s recommendations |  |  |
| - Generate a record report |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Operate a Boiler Control System (level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare the boiler for operation - Start and monitor boiler operation - Analyze and respond to abnormal performance - Handover the boiler operations - Carry out an operational shutdown - Prepare the boiler for an internal inspection |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify Health and safety hazards & report to responsible personnel. |  |  |  |  |  |
|  | Purge the boiler according to workplace procedure |  |  |  |  |  |
|  | Perform pre-operational checks & confirm operational status of boiler and related equipment |  |  |  |  |  |
|  | Start the boiler safely as per manufacturer’s specifications |  |  |  |  |  |
|  | Operate the plant within limits of manufacturer’s specifications |  |  |  |  |  |
|  | Monitor the Equipment to confirm operating condition |  |  |  |  |  |
|  | Test the water quality and adjust as required |  |  |  |  |  |
|  | Ensure that the workplace meets housekeeping standards |  |  |  |  |  |
|  | Analyse operating data and plant operating conditions to identify causes of abnormal performance |  |  |  |  |  |
|  | Take corrective action in response to Hazards |  |  |  |  |  |
|  | Implement emergency procedures as required |  |  |  |  |  |
|  | Maintain the workplace in accordance with statutory requirements and workplace procedures |  |  |  |  |  |
|  | Carry out Handing over according to workplace procedure |  |  |  |  |  |
|  | Shut down the boiler according to workplace procedures |  |  |  |  |  |
|  | Identify the maintenance requirements & report according to workplace reporting procedure |  |  |  |  |  |
|  | Shut down the boiler according to workplace procedures |  |  |  |  |  |
|  | Clean the boiler is internally and externally according to workplace procedures |  |  |  |  |  |
|  | Remove the valves and fittings |  |  |  |  |  |
|  | Place the boiler in the appropriate storage mode according to manufacturer’s recommendations |  |  |  |  |  |
|  | Generate a record report |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Operate a Boiler Control System (level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is saturated steam? |  |  |
|  | What is superheated steam? |  |  |
|  | Explain the pre-handover procedures |  |  |
|  | Name main types of Boilers? |  |  |
|  | What is the difference between Water-Tube-Boiler and Fire-Tube-Boiler? |  |  |
|  | Why the treatment of water fed to boiler is necessary? |  |  |
|  | Explain the procedure of ash removal |  |  |
|  | What is ppm? |  |  |
|  | What is BOILER LOAD? |  |  |
|  | What is efficiency of Boiler? |  |  |
|  | Which types of fuels may be used in Boilers? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________