Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Commissioning and Testing of PLC (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Prepare work plan - Program a PLC - Installation and Commissioning - Test the PLC |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare work plan - Identify sensors and actuators required. - Gather information from the process problem. - Summarize the user requirement. - Identify information required for operator station screens. - Calculate the time required for each stage. - Prepare a work plan with deliverables and timelines. - Program a PLC - Develop PLC application. - Apply approved engineering concepts, processes and principles in developing the PLC application. - Identify the requirement of indicators, switchgears and accessories. - Develop the control circuit drawing. - Prepare wiring plans. - Integrate the main process system with the sub-systems (e.g., using communication protocol) - Prepare a PLC program. - Prepare a SCADA Application. - Establish PLC-SCADA Communication. - Installation and Commissioning - Ensure that the panel is positioned as prescribed, following safety norms - Check the internal panel wiring and ensure that it is in accordance with the installation manual. - Carry out insulation check of internal panel wiring and devices within the panel - Test all control system interlocks. - Check each digital control point by comparing the command at the control panel and status of the device that it controls. - Ensure that fuses, switches and other protective devices are labeled correctly - Follow the grounding and earthling procedures while commissioning - Put danger and warning notices, (if necessary) - Test continuity, insulation resistance, functions of all devices, etc., after completion of installation. - Test the PLC - Locate field devices and their interface to PLC. - Test the system in off line mode using simulator. - Verify that the system conforms to all the specifications during testing. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| Competency Standard | Commissioning and Testing of PLC (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare work plan - Program a PLC - Installation and Commissioning - Test the PLC |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify sensors and actuators required. |  |  |
| - Gather information from the process problem. |  |  |
| - Summarize the user requirement. |  |  |
| - Identify information required for operator station screens. |  |  |
| - Calculate the time required for each stage. |  |  |
| - Prepare a work plan with deliverables and timelines. |  |  |
| - Develop PLC application. |  |  |
| - Apply approved engineering concepts, processes and principles in developing the PLC application. |  |  |
| - Identify the requirement of indicators, switchgears and accessories. |  |  |
| - Develop the control circuit drawing. |  |  |
| - Prepare wiring plans. |  |  |
| - Integrate the main process system with the sub-systems (e.g., using communication protocol) |  |  |
| - Prepare a PLC program. |  |  |
| - Prepare a SCADA Application. |  |  |
| - Establish PLC-SCADA Communication. |  |  |
| - Ensure that the panel is positioned as prescribed, following safety norms |  |  |
| - Check the internal panel wiring and ensure that it is in accordance with the installation manual. |  |  |
| - Carry out insulation check of internal panel wiring and devices within the panel |  |  |
| - Test all control system interlocks. |  |  |
| - Check each digital control point by comparing the command at the control panel and status of the device that it controls. |  |  |
| - Ensure that fuses, switches and other protective devices are labeled correctly |  |  |
| - Follow the grounding and earthling procedures while commissioning |  |  |
| - Put danger and warning notices, (if necessary) |  |  |
| - Test continuity, insulation resistance, functions of all devices, etc., after completion of installation. |  |  |
| - Locate field devices and their interface to PLC. |  |  |
| - Test the system in off line mode using simulator. |  |  |
| - Verify that the system conforms to all the specifications during testing. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Commissioning and Testing of PLC (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare work plan - Program a PLC - Installation and Commissioning - Test the PLC |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified sensors and actuators required. |  |  |  |  |  |
|  | Gathered information from the process problem. |  |  |  |  |  |
|  | Summarized the user requirement. |  |  |  |  |  |
|  | Identified information required for operator station screens. |  |  |  |  |  |
|  | Calculated the time required for each stage. |  |  |  |  |  |
|  | Prepared a work plan with deliverables and timelines. |  |  |  |  |  |
|  | Developed PLC application. |  |  |  |  |  |
|  | Applied approved engineering concepts, processes and principles in developing the PLC application. |  |  |  |  |  |
|  | Identified the requirement of indicators, switchgears and accessories. |  |  |  |  |  |
|  | Developed the control circuit drawing. |  |  |  |  |  |
|  | Prepared wiring plans. |  |  |  |  |  |
|  | Integrated the main process system with the sub-systems (e.g., using communication protocol) |  |  |  |  |  |
|  | Prepared a PLC program. |  |  |  |  |  |
|  | Prepared a SCADA Application. |  |  |  |  |  |
|  | Established PLC-SCADA Communication. |  |  |  |  |  |
|  | Ensured that the panel is positioned as prescribed, following safety norms |  |  |  |  |  |
|  | Checked the internal panel wiring and ensure that it is in accordance with the installation manual. |  |  |  |  |  |
|  | Carried out insulation check of internal panel wiring and devices within the panel |  |  |  |  |  |
|  | Tested all control system interlocks. |  |  |  |  |  |
|  | Checked each digital control point by comparing the command at the control panel and status of the device that it controls. |  |  |  |  |  |
|  | Ensured that fuses, switches and other protective devices are labeled correctly |  |  |  |  |  |
|  | Followed the grounding and earthling procedures while commissioning |  |  |  |  |  |
|  | Put danger and warning notices, (if necessary) |  |  |  |  |  |
|  | Tested continuity, insulation resistance, functions of all devices, etc., after completion of installation. |  |  |  |  |  |
|  | Located field devices and their interface to PLC. |  |  |  |  |  |
|  | Tested the system in off line mode using simulator. |  |  |  |  |  |
|  | Verified that the system conforms to all the specifications during testing. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control |
| --- | --- |
| Competency Standard | Commissioning and Testing of PLC (Level 5) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | e | Not Satisfactory |
| --- | --- | --- | --- |
|  | Where we write the program in the PLC software? |  |  |
|  | State the difference between rung and branch in Ladder diagram. |  |  |
|  | State the main blocks of CPU of PLC? |  |  |
|  | Which communication protocol used for PLC-SCADA communication? |  |  |
|  | What is the difference between Profibus&MODbus? |  |  |
|  | A good application for a timed interrupt in a PLC program would be: - A communications function block - A PID function block - A math function block - A motor start/stop rung - A “watchdog” time |  |  |
|  | Identify the problem in this motor control PLC program: - Coil - Start contact - Seal-in contact - Stop contact - Power source |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________