Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Process Variable Measurements (Level 4) |
| --- | --- |
| Competency Standard | - Calibrate Flow instrument - Calibrate Pressure Instrument - Calibrate Level Instrument - Calibrate Temperature Instrument |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): Task#1: - Calibrate Flow instrument To calibrate the differential pressureflow meter installed with a differential pressure (DP) transmitter under test with the master flow meter calibrator. Draw a graph between standard flow rate measured flow rate. Sr. No.; Standard Flow rate (m3/hr); Measured Flow rate (m3/hr); Error; % Accuracy. 1. 2. 3. 4. 5. Task#2: - Calibrate Pressure instrument To calibrate theBourdon type pressure gauge by using the calibration bench/Dead-Weight Pressure Calibrator and report its accuracy. Draw a graph between standard pressure and calibrated pressure. Sr. No.; Standard Pressure (bar); Calibrated Pressure (bar); Error; % Accuracy. 1. 2. 3. 4. 5. Task#3: - Calibrate Level instrument Standardize the differential pressure (DP)transmitter and report its accuracy by recording system parameters on the level control apparatus. Draw a graph between Standard level and Actual level of cylinder. Sr. No.; Standard Level of cylinder (cm); Actual Level of cylinder (cm); Error; % Accuracy. 1. 2. 3. 4. 5. Task#4: - Calibrate Temperature instrument Tocalibratedifferent types of thermocouple(s) by using mercury-filled thermometer. Also report the temperature at 2 mV, 2.75 mV and 3 mV etc. Draw a graph between emf and temperature. Sr. No.; emf (mV); Temperature (oC). 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Establish equipment start-up conditions. - Start-up process control equipment. - Setting up of flow level and pressure transmitters. - The connection and operation of feedback control loops for flow, level, temperature and pressure. - Commission, monitor and maintain process conditions. - Correct abnormal process conditions. - Document, Interpret and disseminate recorded information. - Implement safe working practices. - Assist in the planning and implementation of maintenance. - Respond to incidents, hazardous conditions or emergencies. - Start-up, run and shut down plant with flow control, pressure control, level control in vessel, and temperature control. - While running the equipment, do the followings: - Varying the control parameters. - Optimizing control parameters. - Recognizing operational faults. - Implementing corrective action. - Analyzing faults in the control systems. - Range setting and zeroing transmitters. - Removing, maintaining, calibrating and replacing transmitters, controllers and associated control equipment. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Process Variable Measurements (Level 4) |
| Competency Standard | - Calibrate Flow instrument - Calibrate Pressure Instrument - Calibrate Level Instrument - Calibrate Temperature Instrument |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | Task#1: - Calibrate Flow instrument To calibrate the differential pressure flow meter installed with a differential pressure (DP) transmitter under test with the master flow meter calibration method. Draw a graph between standard flow rate measured flow rate. Sr. No.; Standard Flow rate (m3/hr); Measured Flow rate (m3/hr); Error; % Accuracy. 1. 2. 3. 4. 5. Task#2: - Calibrate Pressure instrument To calibrate the Bourdon type pressure gauge by using the calibration bench/Dead-Weight Pressure Calibrator and report its accuracy. Draw a graph between standard pressure and calibrated pressure. Sr. No.; Standard Pressure (bar); Calibrated Pressure (bar); Error; % Accuracy. 1. 2. 3. 4. 5. Task#3: - Calibrate Level instrument Standardize the differential pressure (DP) transmitter and report its accuracy by recording system parameters on the level control apparatus. Draw a graph between Standard level and Actual level of cylinder. Sr. No.; Standard Level of cylinder (cm); Actual Level of cylinder (cm); Error; % Accuracy. 1. 2. 3. 4. 5. Task#4: - Calibrate Temperature instrument To calibrate different types of thermocouple(s) by using mercury-filled thermometer. Also report the temperature at 2 mV, 2.75 mV and 3 mV etc. Draw a graph between emf and temperature. Sr. No.; emf (mV); Temperature (oC). 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Arrange test standard and flow calibrator. |  |  |
| - Analyze the differential pressure flow meter. |  |  |
| - Install the differential pressure flow meter as per installation guideline. |  |  |
| - Check and calibrate the differential pressure flow meter. |  |  |
| - Analyze the type of flow indicator. |  |  |
| - Check and calibrate the flow indicator. |  |  |
| - Analyze the type of Piston& Gear flow meter. |  |  |
| - Install the Piston& Gear flow meter as per installations guideline. |  |  |
| - Check and calibrate the Piston& Gear flow meter. |  |  |
| - Analyze the type of Pressure Transmitter/Transducer. |  |  |
| - Install the Pressure Transducer as per the installation guidelines. |  |  |
| - Test & Calibrate the installed pressure Transmitter/Transducer |  |  |
| - Analyze the type of Pressure gauge. |  |  |
| - Install the pressure gauge as per Installation guidelines. |  |  |
| - Test & Calibrate the installed pressure gauge. |  |  |
| - Install the Level instruments for Level measurement. |  |  |
| - Level measurement by Differential Pressure. |  |  |
| - Install the Ultrasonic Level measuring Instruments. |  |  |
| - Arrange test standard and calibrator for level measuring Instruments. |  |  |
| - Analyze the differential pressure transmitter. |  |  |
| - Install the differential pressure Level transmitter as per installations guideline. |  |  |
| - Check and calibrate the differential pressure Level transmitter. |  |  |
| - Analyze the type of Ultrasonic instrument for level measurement. |  |  |
| - Install the Ultrasonic instrument as per installations guidelines. |  |  |
| - Test and calibrate the Ultrasonic instrument. |  |  |
| - Prepare Calibration reports. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Process Variable Measurements (Level 4) |
| --- | --- |
| Competency Standard | - Calibrate Flow instrument - Calibrate Pressure Instrument - Calibrate Level Instrument - Calibrate Temperature Instrument |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Task#1: - Calibrate Flow instrument To calibrate the differential pressure flow meter installed with a differential pressure (DP) transmitter under test with the master flow meter calibration method. Draw a graph between standard flow rate measured flow rate. Sr. No.; Standard Flow rate (m3/hr); Measured Flow rate (m3/hr); Error; % Accuracy. 1. 2. 3. 4. 5. Task#2: - Calibrate Pressure instrument To calibrate the Bourdon type pressure gauge by using the calibration bench/Dead-Weight Pressure Calibrator and report its accuracy. Draw a graph between standard pressure and calibrated pressure. Sr. No.; Standard Pressure (bar); Calibrated Pressure (bar); Error; % Accuracy. 1. 2. 3. 4. 5. Task#3: - Calibrate Level instrument Standardize the differential pressure (DP) transmitter and report its accuracy by recording system parameters on the level control apparatus. Draw a graph between Standard level and Actual level of cylinder. Sr. No.; Standard Level of cylinder (cm); Actual Level of cylinder (cm); Error; % Accuracy. 1. 2. 3. 4. 5. Task#4: - Calibrate Temperature instrument To calibrate different types of thermocouple(s) by using mercury-filled thermometer. Also report the temperature at 2 mV, 2.75 mV and 3 mV etc. Draw a graph between emf and temperature. Sr. No.; emf (mV); Temperature (oC). 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. |
| --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Arranged test standard and flow calibrator. |  |  |  |  |  |
|  | Analyzed the differential pressure flow meter. |  |  |  |  |  |
|  | Installed the differential pressure flow meter as per installation guideline. |  |  |  |  |  |
|  | Checked and calibrate the differential pressure flow meter. |  |  |  |  |  |
|  | Analyzed the type of flow indicator. |  |  |  |  |  |
|  | Checked and calibrate the flow indicator. |  |  |  |  |  |
|  | Analyzed the type of Piston& Gear flow meter. |  |  |  |  |  |
|  | Installed the Piston& Gear flow meter as per installations guideline. |  |  |  |  |  |
|  | Checked and calibrate the Piston& Gear flow meter. |  |  |  |  |  |
|  | Analyzed the type of Pressure Transmitter/Transducer. |  |  |  |  |  |
|  | Installed the Pressure Transducer as per the installation guidelines. |  |  |  |  |  |
|  | Tested& Calibrate the installed pressure Transmitter/Transducer |  |  |  |  |  |
|  | Analyzed the type of Pressure gauge. |  |  |  |  |  |
|  | Installed the pressure gauge as per Installation guidelines. |  |  |  |  |  |
|  | Tested& Calibrate the installed pressure gauge. |  |  |  |  |  |
|  | Installed the Level instruments for Level measurement. |  |  |  |  |  |
|  | Performed Level measurement by Differential Pressure. |  |  |  |  |  |
|  | Installed the Ultrasonic Level measuring Instruments. |  |  |  |  |  |
|  | Arranged test standard and calibrator for level measuring Instruments. |  |  |  |  |  |
|  | Analyzed the differential pressure transmitter. |  |  |  |  |  |
|  | Installed the differential pressure Level transmitter as per installations guideline. |  |  |  |  |  |
|  | Checked and calibrate the differential pressure Level transmitter. |  |  |  |  |  |
|  | Analyzed the type of Ultrasonic instrument for level measurement. |  |  |  |  |  |
|  | Installed the Ultrasonic instrument as per installations guidelines. |  |  |  |  |  |
|  | Tested and calibrate the Ultrasonic instrument. |  |  |  |  |  |
|  | Prepared Calibration reports. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Process Variable Measurements (Level 4) |
| --- | --- |
| Competency Standard | - Calibrate Flow instrument - Calibrate Pressure Instrument - Calibrate Level Instrument - Calibrate Temperature Instrument |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Highlight the importance of calibration of instruments. |  |  |
|  | Differentiate between Precision and Accuracy. |  |  |
|  | Name any THREE commonly used type of Level measuring instruments for liquids? |  |  |
|  | Name any THREE commonly used types of Differential Pressure flow meters? |  |  |
|  | What is the need for Zero Suppression Technique used for calibration of Level transmitter? |  |  |
|  | How a DP cell can be damaged from if it is not isolated correctly? |  |  |
|  | What are the effects of varying liquid temperature and pressure on level indication from a differential pressure transmitter? |  |  |
|  | How errors are introduced into the DP cell signal by abnormalities: leaking sensing lines, dirt or debris in the sensing lines? |  |  |
|  | Name any THREE commonly used type of thermocouples used for temperature measurement? |  |  |
|  | Mention conditions where the application(s) of Ultrasonic sensors is limited? |  |  |
|  | What is the range or span of an instrument? |  |  |
|  | Differentiate between reliability and repeatability. |  |  |
|  | Define the following termnologies: - Response Time - Rise Time - Settling Time |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________