Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Sensors and Actuators(Level4) |
| --- | --- |
| Competency Standard | - Interface of Sensor - Interface of Actuator |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Connect the sensor to supply. Adjust the sensors for optimum output varying sensing gap. Verify the output of sensors by electronic test equipment. - Mount the Proximity sensor at end position of double acting pneumatic/ hydraulic cylinder (actuator) operate the actuator and check the output of sensor. |
| Time: 04Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Connect the sensor to supply. Adjust the sensors for optimum output varying sensing gap. Verify the output of sensors by electronic test equipment. - Mount the Proximity sensor at end position of double acting pneumatic / hydraulic cylinder (actuator) operate the actuator and check the output of sensor. - Select the sensor according to specification in circuit diagram. - Select the tools and measuring / test equipment as per drawing. - Mount the sensor on the base using appropriate tools. - Connect the supply to the sensor. - Adjust the sensing gap / range of the sensor. - Mount the sensor on the double acting cylinder barrel. - Check the output of the sensor using electronic test/ measuring equipment. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Sensors and Actuators (Level 4) |
| Competency Standard | - Interface of Sensor - Interface of Actuator |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Connect the sensor to supply. Adjust the sensors for optimum output varying sensing gap. Verify the output of sensors by electronic test equipment. - Mount the Proximity sensor at end position of double acting pneumatic / hydraulic cylinder (actuator) operate the actuator and check the output of sensor. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select the sensor according to specification in circuit diagram. |  |  |
| - Select the tools and measuring / test equipment as per drawing. |  |  |
| - Mount the sensor on the base using appropriate tools. |  |  |
| - Connect the supply to the sensor. |  |  |
| - Adjust the sensing gap / range of the sensor. |  |  |
| - Mount the sensor on the double acting cylinder barrel. |  |  |
| - Check the output of the sensor using electronic test/ measuring equipment. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Sensors and Actuators (Level 4) |
| --- | --- |
| Competency Standard | - Interface of Sensor - Interface of Actuator |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Connect the sensor to supply. Adjust the sensors for optimum output varying sensing gap. Verify the output of sensors by electronic test equipment. - Mount the Proximity sensor at end position of double acting pneumatic / hydraulic cylinder (actuator) operate the actuator and check the output of sensor. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selectedthe sensor according to specification in circuit diagram. |  |  |  |  |  |
|  | Selected the tools and measuring / test equipment as per drawing. |  |  |  |  |  |
|  | Mounted the sensor on the base using appropriate tools. |  |  |  |  |  |
|  | Connected the supply to the sensor. |  |  |  |  |  |
|  | Adjusted the sensing gap / range of the sensor. |  |  |  |  |  |
|  | Mounted the sensor on the double acting cylinder barrel. |  |  |  |  |  |
|  | Checked the output of the sensor using electronic test/ measuring equipment. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 4 in Automation & Process Control Sensors and Actuators (Level 4) |
| --- | --- |
| Competency Standard | - Interface of Sensor - Interface of Actuator |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Differentiate between active and passive transducers? |  |  |
|  | State difference between sensor and transducer? |  |  |
|  | State three different types of Proximity Sensors? |  |  |
|  | State the name of two pressure transducers? |  |  |
|  | State the difference between single acting and double acting cylinder? |  |  |
|  | Draw the symbol of pneumatic single acting cylinder? |  |  |
|  | State whether the pressure control effects output force or speed of hydraulic actuator? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________