Instruction Sheet for the Candidate

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control Boiler Instrumentation (Level5) |
| --- | --- |
| Competency Standard | - Operate a Boiler Control System - Install the Boiler Control System |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): Install and operate a Boiler Control System in a configuration as shown in figure, given below: Figure: a Boiler Control System |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Install and operate a Boiler Control System - Setup connections in given configuration as shown in Figure. - Check the level of treatedwater inside boiler drum(s) with the help of level indicators. - Check the fuel/air inputsand startup the boiler. - Select different values of fuel burning rates and note down the corresponding output values of steam pressure. - Determine ambient air temperature in the boiler room and the stack temperature. - Repeat the same procedure for various fuel-to-air ratios and maintain the boiler temperature(s). - Tabulate reading(s) as shown in Table 1. - Observe the values of water level(s) in boiler drum, fuel temperature(s) and steam pressures(s). - Plot a graph between fuel temperature(s) and steam pressures(s). Table:1 Level of treated water inside boiler drum (in3); Air-to-Fuel Ratio; Burner Temperature (oF); Steam Pressure (psi). |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Diploma Level 5 in Automation & Process Control Boiler Instrumentation (Level 5) |
| Competency Standard | - Operate a Boiler Control System - Install the Boiler Control System |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | To Install and operate a Boiler Control System in a configuration as shown in figure, given below: - |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Setup connections in given configuration as shown in Figure. |  |  |
| - Check the level of treated water inside boiler drum(s) with the help of level indicators. |  |  |
| - Check the fuel/air inputs and startup the boiler. |  |  |
| - Select different values of fuel burning rates and note down the corresponding output values of steam pressure. |  |  |
| - Determine ambient air temperature in the boiler room and the stack temperature. |  |  |
| - Repeat the same procedure for various fuel-to-air ratios and maintain the boiler temperature(s). |  |  |
| - Tabulate reading(s) as shown in Table 1. |  |  |
| - Observe the values of water level(s) in boiler drum, fuel temperature(s) and steam pressures(s). |  |  |
| - Plot a graph between fuel temperature(s) and steam pressures(s). |  |  |
| - Setup connections in given configuration as shown in Figure. |  |  |
| - Check the level of treated water inside boiler drum(s) with the help of level indicators. |  |  |
| - Check the fuel/air inputs and startup the boiler. |  |  |
| - Select different values of fuel burning rates and note down the corresponding output values of steam pressure. |  |  |
| - Determine ambient air temperature in the boiler room and the stack temperature. |  |  |
| - Repeat the same procedure for various fuel-to-air ratios and maintain the boiler temperature(s). |  |  |
| - Tabulate reading(s) as shown in Table 1. |  |  |
| - Observe the values of water level(s) in boiler drum, fuel temperature(s) and steam pressures(s). |  |  |
| - Plot a graph between fuel temperature(s) and steam pressures(s). |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control Boiler Instrumentation (Level 5) |
| --- | --- |
| Competency Standard | - Operate a Boiler Control System - Install the Boiler Control System |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | To Install and operate a Boiler Control System in a configuration as shown in figure, given below: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Setup connections in given configuration as shown in Figure. |  |  |  |  |  |
|  | Check the level of treated water inside boiler drum(s) with the help of level indicators. |  |  |  |  |  |
|  | Check the fuel/air inputs and startup the boiler. |  |  |  |  |  |
|  | Select different values of fuel burning rates and note down the corresponding output values of steam pressure. |  |  |  |  |  |
|  | Determine ambient air temperature in the boiler room and the stack temperature. |  |  |  |  |  |
|  | Repeat the same procedure for various fuel-to-air ratios and maintain the boiler temperature(s). |  |  |  |  |  |
|  | Tabulate reading(s) as shown in Table 1. |  |  |  |  |  |
|  | Observe the values of water level(s) in boiler drum, fuel temperature(s) and steam pressures(s). |  |  |  |  |  |
|  | Plot a graph between fuel temperature(s) and steam pressures(s). |  |  |  |  |  |
|  | Setup connections in given configuration as shown in Figure. |  |  |  |  |  |
|  | Check the level of treated water inside boiler drum(s) with the help of level indicators. |  |  |  |  |  |
|  | Check the fuel/air inputs and startup the boiler. |  |  |  |  |  |
|  | Select different values of fuel burning rates and note down the corresponding output values of steam pressure. |  |  |  |  |  |
|  | Determine ambient air temperature in the boiler room and the stack temperature. |  |  |  |  |  |
|  | Repeat the same procedure for various fuel-to-air ratios and maintain the boiler temperature(s). |  |  |  |  |  |
|  | Tabulate reading(s) as shown in Table 1. |  |  |  |  |  |
|  | Observe the values of water level(s) in boiler drum, fuel temperature(s) and steam pressures(s). |  |  |  |  |  |
|  | Plot a graph between fuel temperature(s) and steam pressures(s). |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Diploma Level 5 in Automation & Process Control Boiler Instrumentation (Level 5) |
| --- | --- |
| Competency Standard | - Operate a Boiler Control System - Install the Boiler Control System |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name frequently used level indicators used to measure level in boiler feed tanks? |  |  |
|  | How the safety of boilers can be ensured during its operations? |  |  |
|  | Name water treatment methods used for the treatment of water in boilers? |  |  |
|  | Why periodic blow downs are necessary in boilers? |  |  |
|  | Name the type of boilers in which high pressure steam can be produced? |  |  |
|  | Differentiate between Saturated steam and Superheated steam. |  |  |
|  | Mentions important factors on which the efficiency of boilers depends? |  |  |
|  | What is the effect ofAir-to-Fuel ratio on overall performance of boilers? |  |  |
|  | What is condensate and why is it recycled? |  |  |
|  | The Shell and Tubes of boilers are made out of which materials of construction? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________