National Vocational Certificate level – 2 in

“Automation & Process Control”

Curriculum

Date of validation: 09/11/2020

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	1

1.1.	Purpose of the training program:	2

1.2.	Overall objectives of training program:	2

1.3.	Competencies to be gained after completion of course:	3

1.4.	Possible available job opportunities available immediately and later in the future	10

1.5.	Entry level of trainees:	10

1.6.	Minimum qualification of trainer/instructor:	11

1.7.	Recommended trainer: trainee ratio	11

1.8.	Medium of instruction i.e. language of instruction:	12

1.9.	Duration of the course (Total time, Theory & Practical time):	12

2.	Overview of the Curriculum for Automation & Process Control Technology:	14

A- Maintain Occupational Health and Safety	22

0714E&A1: Maintain Health and Safety	22

0714E&A2: Perform safety practices at workplace	33

0714E&A3: Develop professionalism.	41

B- Automation Workshop Practice	48

0714E&A4: Connect Tubing and Fittings	48

0714E&A5: Perform Basic Machining Operation.	53

0714E&A6: Perform Arc Welding.	57

C- Basic Electrical Wiring (Single Phase)	62

0714E&A7: Maintain Tools & Equipment.	62

0714E&A8: Make Cable/Wire Joints	64

0714E&A9: Prepare and Install Distribution Boards	67

0714E&A10: Carryout Basic Electrical Installation	69

0714E&A11: Install Simple Electrical Wiring	72

0714E&A12: Perform Testing of Electrical Wiring	77

0714E&A13: Repair/ Maintenance of Electrical Installations	82

0714E&A14: Carry Out Electrical Planning and Estimation	84

D- Basic Electrical Engineering	88

0714E&A31: Operate Measuring Instruments.	88

0714E&A32: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.	89

0714E&A33: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence	92

0714E&A35: Implement Electromagnet to See Various Effects & Verify Faradays Law	95

0714E&A36: Verify Series and Parallel Combination of Capacitors & Determine Break down Voltage of Capacitor	98

E-Engineering Drawing	100

0714E&A44: Perform Basic Manual Drawing.	100

0714E&A45: Construct different Engineering Curves	109

0714E&A46: Construct Multi-View Drawings.	120

0714E&A47: Perform CAD Software.	129

0714E&A48: Develop 2D using CAD software.	131

0714E&A49: Develop 3D drawing using CAD software.	133

0714E&A50: Identify Instrumentation Drawing	135

0714E&A51: Construct Instrumentation Drawing	141

0714E&A52: Construct Instrumentation Loop diagram or Loop sheet	145

G-Basic Electronics (Analog)	147

0714E&A37: Identify Basic Electronics Components	147

0714E&A38: Design Rectifier using Diode	149

0714E&A39: Carry out Diode Application	152

0714E&A40: Implement Bipolar Junction Transistor (BJT) in Different Applications	153

0714E&A41: Implement Field Effect Transistor (FET) in Different Applications	156

0714E&A42: Implement Thyristor Family in Various Application	160

0714E&A43: Application of Operational Amplifier	162

H- Metrology	165

0714E&A53: Take measurements with graduated tools	165

0714E&A54: Take measurements with combination set	168

0714E&A00: Perform Leveling.	171

0714E&A55: Take measurements with gauges	173

0714E&A56: Perform measurements through Micrometer	175

0714E&A57: Measure dimensions with Vernier tools	177

0714E&A58:  Measure angles with angle measuring Instruments.	179

0714E&A00: Measure Threads and Gears	181

J-Sensors & Actuators	183

0714E&A64: Interface of Sensor	183

0714E&A65: Interface of Actuator	188

K-Process Variable Measurements	190

0714E&A66: Calibrate Flow Instrument	190

0714E&A67: Calibrate Pressure Instrument	196

0714E&A68: Calibrate Level Instrument	199

0714E&A69: Calibrate Temperature Instrument	203

L-Digital Electronics	208

0714E&A70: Verify truth table using digital gates.	208

0714E&A71: Construct and verify combinational logic circuits.	212

0714E&A72: Construct and verify functions of flip flop.	217

0714E&A73: Use 555 Timer IC as Multivibrator	219

M- Industrial Electronics	221

0714E&A74: Implement diode and Thyristor in power control application.	221

0714E&A75: Construct single phase and Three phase Inverter	224

0714E&A76: Operate Digital Sensor Switches	226

0714E&A77: Control Speed of DC/AC Motors	228

N- Electrical instrumentation and Calibration	231

0714E&A78: Perform Test / Calibrate Flow Sensor	231

0714E&A79: Perform Test / Calibrate Level Sensor	235

0714E&A80: Perform Test / Calibrate Pressure Sensor	238

0714E&A81: Perform Test / Calibrate Temperature Sensor	241

O- Electrical Machines	245

0714E&A82: Verify Basic Laws of Electrical Machines	245

0714E&A83: Analyze DC Generator	250

0714E&A84: Analyze DC Motors	256

0714E&A85: Perform Tests On DC Motors	259

0714E&A86: Repair/ Maintenance and Service of Dc Motors and Dc Generators.	270

0714E&A87: Operate Single Phase Motors.	275

0714E&A88: Operate Special Purpose Motors	278

0714E&A89: Analyze Three Phase Motors	283

Q-Pneumatics & Hydraulics	298

0714E&A100: Install / service Compressed Air Generating Units	298

Objective: This Module covers the knowledge and skills required to install/operate and service compressed air generating units.	298

0714E&A101:  Install Pneumatic Circuit Elements.	300

0714E&A102:  Install / Service Hydraulic Power Pack	302

R-Programming	309

0714E&A103:  Programming- I	309

0714E&A104: Programming- II	311

0714E&A105: Programming- III	317

S-PLC Supervisor	326

0714E&A106:  Install PLC software and Simulator	326

0714E&A107: Interface PLC with system - I	331

0714E&A108: Program PLC using Ladder Logic	333

0714E&A109: Commissioning and Testing of PLC	336

0714E&A110: Install Relays and Switches in circuits	342

0714E&A111: Carry out Industrial Automation on PLC	345

0714E&A112:  Interface PLC with system-II	350

T-Industrial Instrumentation & Control	353

0714E&A113:  Install Transducers & Transmitters in Industrial Application	353

0714E&A114:  Install the Process regulators	357

0714E&A115:  Install the Variable Frequency Drive	360

0714E&A116:  Install Pneumatic & Hydraulic system in the Industry	361

0714E&A117:  Installation & Setup Procedure for Digital Pressure, Temperature, Level & Flow Controllers	364

U-Repair & Maintenance of Automation Equipment	369

0714E&A118:  Identify Fault in Automation/ Process Equipment Installation.	369

0714E&A119:  Perform Troubleshooting of equipment.	372

0714E&A120:  Perform Preventive Maintenance of Equipment.	373

V-Boiler Instrumentation	375

0714E&A121:  Operate Boiler Control system	375

0714E&A122:  Install the Boiler Control system	379

W-Application of Automation in daily life	383

0714E&A123:  Operate Product Counter	383

0714E&A124:  Operate ON / OFF / Delay Timers	385

0714E&A125:  Operate speed controller	387

0714E&A126:  Operate Level Detector	389

0714E&A127:  Operate Digital Weighing Scale	391

0714E&A128:  Operate Temperature Controller	393

0714E&A129:  Operate Pressure Controller	394

X-Building Automation System Supervisor	396

0714E&A130:  Designing of Building Automation System	396

0714E&A131:  Perform Security Automation	399

0714E&A132:  Perform Energy management and Monitoring	401

0714E&A133:  Perform HVAC inspection & Maintenance	404

0714E&A134:  Perform Elevator Maintenance	407

List of Tools and Equipment:	411

6.	Members of the Curriculum Development Committee	419

7.	Members of the Curriculum Review & Validation Committee	420

# 1. 	Introduction

This qualification introduces “Automation and Process Control” so that the student will have the competence to install and implement automated process control systems. This is done by presenting relevant topics from PLC, sensors, actuators, calibration of instruments and control systems, and computer vision. Python, Raspberry programming is an important part of the course is to ensure that the student acquires skills in kinematics and computer vision systems for automated process control by using computer vision and contact force sensors will be presented.

Students will gain hands on experience in automated process control system installation, calibration, repair & maintenance along with the some fabrication and machining work.

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

The National Competency Standards could be used as a referral document for the development of curriculum by training institutions.

## Purpose of the training program:

This qualification will help in the installation and calibration of automated process control systems. The candidate will be able to perform fundamental operations of automated process control functions, systems, understand the concepts of various process control systems, their functions and designs, grasp concepts of various process control systems and their integration with various digital system and there troubleshooting. This qualification will help candidate to assembling, synchronization and construct the automated process control system, identify and implement certain automation components, elaborate linkage between the components and their industrial workability & maintenance of various process equipment and devices.

This course enables the youth with greater employment opportunities and entrepreneurial skills.

  - Overall objectives of training program:

The overall objective of the Automation & Process Control program is to enable students to:

The Automation & Process Control technology qualification consists of level 2-5 theoretical and practical competences, which enabling trainee to learn operational techniques of Robotics technology.

The main objectives of the Automation & Process Control qualification are as follows:

- Maintain Occupational Health and Safety

- Automation Workshop Practice

- Basic Electrical Wiring (Single Phase)

- Basic Electrical Engineering

- Engineering Drawing

- Digital skills

- Basic Electronics (Analog)

- Metrology

- Manage IT Skills

- Sensors & Actuators

- Process Variable Measurements

- Digital Electronics

- Industrial Electronics

- Electrical instrumentation and Calibration

- Electrical Machines

- Manage Soft Skills

- Pneumatics & Hydraulics

- Programming

- PLC Supervisor

- Industrial Instrumentation & Control

- Repair & Maintenance of Automation Equipment

- Boiler Instrumentation

- Application of Automation in daily life

- Building Automation System Supervisor

- Develop Entrepreneur Skills

## Competencies to be gained after completion of course:

At the end of the course, the trainee has attained the following competencies:

National Qualification in Automation & Process Control level 2.

- Maintain Health and Safety

- Perform Safety Practices at Workplace

- Develop Professionalism.

- Connect Tubing and Fittings

- Perform Basic Machining Operations

- Perform Arc Welding

- Maintain Tools & Equipment.

- Make Cable/Wire Joints

- Prepare and Install Distribution Boards

- Carryout Basic Electrical Installation

- Install Simple Electrical Wiring

- Perform Testing of Electrical Wiring

- Repair/ Maintenance of Electrical Installations

- Carryout Estimation and Planning

- Operate Measuring Instruments.

- Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

- Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

- Implement Electromagnet to See Various Effects & Verify Faradays Laws.

- Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor.

- Perform Basic Manual Drawing

- Construct different Engineering Curves

- Construct multi-view drawings

- Install CAD Software

- Develop 2D CAD drawings

- Develop 3D CAD drawings

- Construct Instrumentation Drawing

- Construct Instrumentation loop diagram or loop sheet

National Qualification in Automation & Process Control level 3

- Install Computer Operating Systems and Hardware

- Operate Word-Processing Applications

- Operate Spreadsheet Applications

- Operate Presentation Packages

- Perform Writing and Editing Tasks

- Perform Computer Operations

- Use Computer Applications

- Create User Documentation

- Create Technical Documentation

- Create Basic Databases

- Operate Digital Media Technology

- Use Social Media Tools for Collaboration and Engagement

- E-Commerce

- Use Digital Devices

- Identify Basic Electronics Components

- Design a Rectifier using Diode

- Carry out Diode Application

- Implement Bipolar Junction Transistor (BJT) in Different Applications

- Implement Field Effect Transistor (FET) in Different Applications

- Implement Thyristor Family in Various Application

- Applications of Operation Amplifier

- Take measurements with graduated tools

- Take measurements with combination set

- Perform Levelling

- Take measurements with gauges

- Perform measurements through Micrometer

- Measure dimensions with Vernier tools

- Measure angles with angle measuring Instruments

- Measure Threads and Gears

National Qualification in Automation & Process Control level 4

- Operate Basic Computer Functions

- Perform Basic computer Application

- Develop computer application skills

- Develop advance computer application skills

- Explore computer application skills for careers

- Interface of Sensor

- Interface of Actuator

- Calibrate Flow instrument

- Calibrate Pressure Instrument

- Calibrate Level Instrument

- Calibrate Temperature Instrument

- Verify the Truth Tables for Logic Gates

- Construct & Verify the Logic Circuits

- Construct the Flip Flops

- Use 555 IC as a Multi-Vibrator

- Implement the Thyristors in Electronic Circuits

- Implement Single Phase and Three Phase Inverter

- Operate Digital Sensor Switches

- Control speed of DC/AC Motor

- Perform Test / Calibrate Flow Sensor

- Perform Test/Calibrate Level Sensor

- Perform Test / Calibrate Pressure Sensor

- Perform Test / Calibrate Temperature Sensor

- Verify Basic Laws of Electrical Machines

- Analyze Dc Generators

- Perform Tests on Dc Generators

- Analyze Dc Motors

- Perform Tests on Dc Motors

- Repair/ Maintenance and Service of Dc Motors and Dc Generators.

- Operate Single Phase Motors.

- Operate Special Purpose Motors

- Analyze Three Phase Motors

- Follow Basic Communication skills

- Perform Basic Communication

- Communicate at workplace

- Perform Advanced Communication

- Perform managerial Communication skills

National Qualification in Automation & Process Control level 5

- Install / Service Compressed Air Generating Units

- Install Pneumatic Circuit Elements

- Install / Service Hydraulic Power Pack

- Programming-I

- Programming-II

- Programming-III

- Install PLC software and Simulator

- Interface PLC with system-I

- Program PLC using Ladder Logic

- Commissioning and Testing of PLC

- Install Relays and Switches in circuits

- Carry out Industrial Automation on PLC

- Interface PLC with system-II

- Install Transducer & Transmitter in Industrial Application

- Install the process Regulators

- Install the Variable Frequency Drive ( VFD )

- Install Pneumatic & Hydraulic systems in industry

- Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers

- Identify Fault in Automation/ Process Equipment Installation

- Perform Troubleshooting

- Perform Preventive maintenance

- Operate a Boiler Control System

- Install the Boiler Control System

- Operate Product Counter

- Operate ON / OFF / Delay Timers

- Operate Speed Controller

- Operate Level Detector

- Operate Digital Weighing Scale

- Operate Temperature Controller

- Operate Pressure Controller

- Designing of Building Automation System

- Perform Security Automation

- Perform Energy management and Monitoring

- Perform HVAC inspection & Maintenance

- Perform Elevator Maintenance

- Investigate Microbusiness Opportunities

- Develop A Micro Business Proposal

- Develop A marketing Plan

- Develop And Review A Business Plan

- Organize Finances For The Micro Business

- Manage Human Resources

- Market Products And Services

- Monitor And Review Business Performance

- Negotiate For Resolving Business Issues

- Manage Personal Finances

- Coordinate A Work Team

- Lead Small Teams

## Possible available job opportunities available immediately and later in the future

Skilled personnel in the field of Automation & Process Control technology usually get hired in areas pertaining to the light, medium and heavy engineering sector. They can become:

- Maintenance Technician

- Industrial Automation Technician

- Process Control Technician

- Building Automation Technician

- Calibration Lab Technician

- Entrepreneur

- Instructor/trainer (Level 4)

- Associate Automation & Process Control Engineer

Some experienced personnel in the field of Automation & Process Control technology achieve a high level of salaries. There are good prospects for travel both within Pakistan and abroad. The employment outlook in this occupation will be influenced by a wide variety of factors including:

- Trends and events affecting overall employment (especially in the manufacturing industry)

- Location in Pakistan

- Employment turnover (work opportunities generated by people leaving existing positions)

- Occupational growth (work opportunities resulting from the creation of new positions that never existed before)

- Size of the industry

- Flexibility of the applicant (concerning location and schedule of work)

## Entry level of trainees:

The entry for National Vocational Certificate level 2-5, in “Automation & Process Contorol” are given below:

| Title | Entry requirements |
| --- | --- |
| National Vocational Certificate level 2, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Secondary level (8 grade) and or National Vocational Certificate level 1. |
| National Vocational Certificate level 3, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Secondary level (8 grade) and or National Vocational Certificate level 2. |
| National Vocational Certificate level 4, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Matriculation (Science) and or National Vocational Certificate level 3. |
| National Vocational Certificate level 5, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Matriculation (Science) and or National Vocational Certificate level 4. |

## Minimum qualification of trainer/instructor:

    - Must be a holder of Bachelor of Technology in Electronics/Electrical/Mechanical/Instrumentation or Automation & Process Control (With three years of experience) or Bachelor of Engineering in Electronics/Electrical/Mechanical/Instrumentation or Automation & Process Control (with one years of experience).

    - Must be able to communicate effectively both orally and in written form.

    - Must be able to perform all competences, given in Automation & Process Control Technology Level 5.

## Recommended trainer: trainee ratio

The recommended maximum trainer: trainee ratio for this program is 1 trainer for 20 to 25 trainees.

## Medium of instruction i.e. language of instruction:

Instructions will be in Urdu/ English/ Local language.

## Duration of the course (Total time, Theory & Practical time):

This curriculum comprises 24 modules. The recommended delivery time is 4070 hours. Delivery of the course could therefore be full time, 5or 6 days a week, for 3 years. Training providers are at liberty to develop other models of delivery, including part-time and evening delivery.

The distribution of contact hours is given below:

Total		-	3600 hours.

Theory	-	955 hours (26.5%)

Practical	-	2645 hours (73.5%)

Description and structure of the course

Following is the structure of the course:

| Level 3 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Digital Skills |  |  |  |  |  |  |
| Install Computer Operating Systems And Hardware | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Operate Word-Processing Applications | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Operate Spreadsheet Applications | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Operate Presentation Packages | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Perform Writing And Editing Tasks | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Perform Computer Operations | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Use Computer Applications | Level 3 | Generic | 6 | 24 | 30 | 3 |
| Identify Basic Electronics Components | Level 3 | Technical | 9 | 21 | 30 | 3 |
| Design a Rectifier using Diode | Level 3 | Technical | 7 | 33 | 40 | 4 |
| Carry out Diode Application | Level 3 | Technical | 7 | 33 | 40 | 4 |
| Implement Bipolar Junction Transistor (BJT) in Different Applications | Level 3 | Technical | 10 | 30 | 40 | 4 |
| Implement Field Effect Transistor (FET) in Different Applications | Level 3 | Technical | 10 | 30 | 40 | 4 |
| Implement Thyristor Family in Various Application | Level 3 | Technical | 10 | 30 | 40 | 4 |
| Applications of Operation Amplifier | Level 3 | Technical | 10 | 30 | 40 | 4 |
| Take measurements with graduated tools | Level 3 | Technical | 2 | 18 | 20 | 2 |
| Take measurements with combination set | Level 3 | Technical | 2 | 18 | 20 | 2 |
| Take measurements with gauges | Level 3 | Technical | 2 | 18 | 20 | 2 |
| Perform measurements through Micrometer | Level 3 | Technical | 2 | 18 | 20 | 2 |
| Measure dimensions with Vernier tools | Level 3 | Technical | 2 | 18 | 20 | 2 |
| Measure Threads and Gears | Level 3 | Technical | 2 | 18 | 20 | 2 |
| Level 3 Total Hours |  |  | 117 | 483 | 600 | 60 |
|  |  |  | 19.5 | 80.5 |  |  |

# 2.	Overview of the Curriculum for Automation & Process Control Technology:

| Module Title and Aim | Learning Units | Theory Days/hours | Workplace Days/hours | Timeframe of Modules |
| --- | --- | --- | --- | --- |
| Module A: Maintain Occupational Health and Safety Aim: The aim of this module is to develop knowledge, skills and understanding to establish and maintain the occupational health and safety system. | LU-1: Maintain Health and Safety LU-2: Perform Safety Practices at Workplace LU-3: Develop Professionalism. | 20 | 70 | 90 |
| Module B: Automation Workshop Practice Aim: The aim of this module is to develop knowledge, skills and understanding to carryout Automation Workshop Practice. | LU-1: Connect Tubing and Fittings LU-2: Perform Basic Machining Operations LU-3: Perform Arc Welding. | 15 | 60 | 75 |
| Module C: Basic Electrical Wiring (Single Phase) Aim: The aim of this module is to develop knowledge, skills and understanding to carryout electrical wiring (Single Phase). | LU-1: Maintain Tools & Equipment. LU-2: Make Cable/Wire Joints LU-3: Prepare and Install Distribution Boards LU-4: Carryout Basic Electrical Installation LU-5: Install Simple Electrical Wiring LU-6: Perform Testing of Electrical Wiring LU-7: Repair/ Maintenance of Electrical Installations LU-8: Carryout Electrical planning and Installation | 30 | 120 | 150 |
| Module D: Basic Electrical Engineering Aim: The aim of this module is to develop knowledge, skills and understanding to Measure and understand the various electrical measuring equipment. | LU1: Operate Measuring Instruments. LU2: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits. LU3: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence LU4: Implement Electromagnet to See Various Effects & Verify Faradays Laws. LU5: Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor. | 25 | 95 | 120 |
| Module E: Engineering Drawing Aim: The aim of this module is to develop knowledge, skills and understanding to perform manual drawing & CAD software operations. | LU-1: Perform Basic Manual Drawing LU-2: Construct different Engineering Curves LU-3: Construct multi-view drawings LU-4: Install CAD Software LU-5: Develop 2D CAD drawings LU-6: Develop 3D CAD drawings LU-7: Construct Instrumentation Drawing LU-8: Construct Instrumentation loop diagram or loop sheet | 35 | 130 | 165 |
| Module F: Digital Skills Aim: The aim of this module is to develop knowledge, skills and understanding to operate computer, use digital devices and computer applications. | LU-1: Install Computer Operating Systems and Hardware LU-2: Operate Word-Processing Applications LU-3: Operate Spreadsheet Applications LU-4: Operate Presentation Packages LU-5: Perform Writing And Editing Tasks LU-6: Perform Computer Operations LU-7: Use Computer Applications LU-8: Create User Documentation LU-9: Create Technical Documentation LU-10: Create Basic Databases LU-11: Operate Digital Media Technology LU-12: Use Social Media Tools For Collaboration And Engagement LU-13: E-Commerce LU-14: Use Digital Devices | 60 | 235 | 295 |
| Module G: Basic Electronics (Analog) Aim: The aim of this module is to develop knowledge, skills and understanding to identify electronic components & Thyrister family application. | LU1: Identify Basic Electronics Components LU2: Design a Rectifier using Diode LU3: Carry out Diode Application LU4: Implement Bipolar Junction Transistor (BJT) in Different Applications LU5: Implement Field Effect Transistor (FET) in Different Applications LU6: Implement Thyristor Family in Various Application LU7: Applications of Operation Amplifier | 35 | 125 | 160 |
| Module H: Metrology Aim: The aim of this module is to develop knowledge, skills and understanding to perform measurements through different measuring tools. | LU-1: Take measurements with graduated tools LU-2: Take measurements with combination set LU-3: Perform Levelling LU-4: Take measurements through various gauges LU-5: Perform measurements through Micrometer LU-6: Measure dimensions with Vernier tools LU-7: Measure angles with angle measuring Instruments LU-8: Measure Threads and Gears | 30 | 115 | 145 |
| Module I: Manage IT Skills Aim: The aim of this module is to develop knowledge, skills and understanding to manage IT Skills. | LU-1: Operate Basic Computer Functions LU-2: Perform Basic computer Application LU-3: Develop computer application skills LU-4: Develop advance computer application skills LU-5: Explore computer application skills for careers | 25 | 90 | 115 |
| Module J: Sensors & Actuators Aim: The aim of this module is to develop knowledge, skills and understanding to perform interfacing with Sensors & Actuators. | LU-1: Interface of Sensor LU-2: Interface of Actuator | 15 | 50 | 65 |
| Module K: Process Variable Measurements Aim: The aim of this module is to develop knowledge, skills and understanding to perform process variables measurements. | LU-1: Calibrate Flow instrument LU-2: Calibrate Pressure Instrument LU-3: Calibrate Level Instrument LU-4: Calibrate Temperature Instrument | 30 | 120 | 150 |
| Module L: Digital Electronics Aim: The aim of this module is to develop knowledge, skills and understanding to construct logic circuits, function of flip flops and design operation of amplifier. | LU-1: Verify truth tables of digital gates LU-2: Construct & Verify Combinational logic circuit LU-3: Construct and Verify function of Flip Flops LU-4: Use 555 IC as Multi vibrator | 30 | 120 | 150 |
| Module M: Industrial Electronics Aim: The aim of this module is to develop knowledge, skills and understanding to carryout industrial electronic devices. | LU-1: Implement Thyristor in power control application. LU-2: Implement single phase and Three phase Inverter LU-3: Operate Digital Sensor Switches LU-4: Control speed of DC/AC Motor | 35 | 130 | 165 |
| Module N: Electrical instrumentation and Calibration Aim: The aim of this module is to develop knowledge, skills and understanding to carryout calibration of Electrical process control instrumentation. | LU-1: Perform Test / Calibrate Flow Sensor LU-2: Perform Test/Calibrate Level Sensor LU-3: Perform Test / Calibrate Pressure Sensor LU-4: Perform Test / Calibrate Temperature Sensor | 35 | 120 | 155 |
| Module O: Electrical Machines Aim: The aim of this module is to develop knowledge, skills and understanding to perform test and analyze on DC generators & operate and test of stepper & servo motors. | LU-1: Verify Basic Laws of Electrical Machines LU-2: Analyze Dc Generators LU-3: Perform Tests On Dc Generators LU-4: Analyze Dc Motors LU-5: Perform Tests On Dc Motors LU-6: Repair/ Maintenance and Service of Dc Motors and Dc Generators. LU-7: Operate Single Phase Motors. LU-8: Operate Special Purpose Motors LU-9: Analyze Three Phase Motors | 50 | 200 | 250 |
| Module P: Soft Skills Aim: The aim of this module is to develop knowledge, skills and understanding to manage work planning and development of soft skills. | LU-1: Develop Workplace Policy and Procedures for Sustainability LU-2: Maintain Professionalism in the Workplace LU-3: Manage Personal Work Priorities and Professional Development LU-4: Manage Workforce Planning LU-5: Undertake Project Work LU-6: Prepare and Implement Negotiation LU-7: Manage Meetings LU-8: Organize Schedules LU-9: Identify and Communicate Trends in Career Development LU-10: Apply Specialist Interpersonal and Counseling Interview Skills | 30 | 120 | 150 |
| Module Q: Pneumatics & Hydraulics Aim: The aim of this module is to develop knowledge, skills and understanding to Install / Service of pneumatic & hydraulic units | LU-1: Install / Service Compressed Air Generating Units LU-2: Install Pneumatic Circuit Elements LU-3: Install / Service Hydraulic Power Pack | 20 | 40 | 60 |
| Module R: Programming Aim: The aim of this module is to develop knowledge, skills and understanding to carryout programming. | LU-1: Programming-I LU-2: Programming-II LU-3: Programming-III | 40 | 65 | 105 |
| Module S: PLC Supervisor Aim: The aim of this module is to develop knowledge, skills and understanding to manage PLC system. | LU-1: Install PLC software and Simulator LU-2: Interface PLC with system-I LU-3: Program PLC using Ladder Logic LU-4: Commissioning and Testing of PLC LU-5: Install Relays and Switches in circuits LU-6: Carry out Industrial Automation on PLC LU-7: Interface PLC with system-II | 100 | 180 | 280 |
| Module T: Industrial Instrumentation & Control Aim: The aim of this module is to develop knowledge, skills and understanding to perform to install and setup of various Industrial Instrumentation. | LU-1: Install Transducer & Transmitter in Industrial Application LU-2: Install the process Regulators LU-3: Install the Variable Frequency Drive ( VFD ) LU-4: Install Pneumatic & Hydraulic systems in industry LU-5: Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers | 45 | 75 | 120 |
| Module U: Repair & Maintenance of Automation Equipment Aim: The aim of this module is to develop knowledge; skills and understanding to carryout Repair & Maintenance of Automation Equipment. | LU-1: Identify Fault in Automation/ Process Equipment Installation LU-2: Perform Troubleshooting LU-3: Perform Preventive maintenance | 30 | 50 | 80 |
| Module V: Boiler Instrumentation Aim: The aim of this module is to develop knowledge, skills and understanding to Operate and Install a Boiler Control System. | LU-1: Operate a Boiler Control System LU-2: Install the Boiler Control System | 30 | 50 | 80 |
| Module W: Application of Automation in daily life Aim: The aim of this module is to develop knowledge, skills and understanding Application of Automation in daily life. | LU-1: Operate Product Counter LU-2: Operate ON / OFF / Delay Timers LU-3: Operate Speed Controller LU-4: Operate Level Detector LU-5: Operate Digital Weighing Scale LU-6: Operate Temperature Controller LU-7: Operate Pressure Controller | 40 | 60 | 100 |
| Module X: Building Automation System Supervisor Aim: The aim of this module is to develop knowledge, skills and understanding to carryout Building Automation System. | LU-1: Designing of Building Automation System LU-2: Perform Security Automation LU-3: Perform Energy management and Monitoring LU-4: Perform HVAC inspection & Maintenance LU-5: Perform Elevator Maintenance | 50 | 75 | 125 |
| Module Y: Develop Entrepreneur Skills Aim: The aim of this module is to develop knowledge, skills and understanding to perform entrepreneur ship. | LU-1: Investigate Microbusiness Opportunities LU-2: Develop A Micro Business Proposal LU-3: Develop A marketing Plan LU-4: Develop And Review A Business Plan LU-5: Organize Finances For The Micro Business LU-6: Manage Human Resources LU-7: Market Products And Services LU-8: Monitor And Review Business Performance LU-9: Negotiate For Resolving Business Issues LU-10: Manage Personal Finances LU-11: Coordinate A Work Team LU-12: Lead Small Teams | 100 | 150 | 250 |
| TOTAL |  | 955 | 2645 | 3600 |

## Digital Skills

### Install computer operating systems and hardware

Objective: This module describes the performance outcomes, skills and knowledge required to select, configure and use computer operating systems and basic computer hardware.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify operating system and hardware components | Trainee will be able to: - Determine ICT organizational requirements and specifications - Identify and select operating system - Identify appropriate external hardware components - Identify internal hardware components | - Basic knowledge of current industry-accepted operating system, hardware and software products Practical activity - Identify which operating system can be installed on the given hardware system | Theory-02 Hrs Practice-09 Hrs Total- 11 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Install and configure operating system and application software with hardware components | Trainee will be able to: - Install and configure operating system to meet organizational requirements - Identify the functions associated with the operating system and associated boot process - Configure power-management settings to minimize power consumption as an environmentally sustainable measure - Use both the graphical user interface and the command line interface to perform basic tasks - Install or upgrade application software onto the operating system and hardware configuration - Determine the relationship between an application program, the operating system and hardware - Identify general differences between the different computer platforms and their respective operating systems | - Compatibility of an operating system, in respect to other versions Practical activity - Install Microsoft office application in the given system. | Theory-02 Hrs Practice-09 Hrs Total- 11 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Optimize operating system and hardware components | - Optimize operating system using included tools or third-party utilities - Customize the graphical user interface - Use techniques unique to the command line interface - Set up and configure external hardware components and check functionality - Install drivers as appropriate and check functionality | - Function of single-user and multi-user operating systems - Interoperability between operating systems Practical activity Check compatibility of the required drivers, install and check their functionality. | Theory-02 Hrs Practice-06 Hrs Total- 08 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Operate Basics Computer Functions

Objective: This module covers the knowledge, skills and attitudes and values needed to perform basic computer operations which include inputting, accessing, producing and transferring data using the appropriate hardware and software.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes |  | Learning Elements |  |  | Duration | Materials Required |  |  | Learning Place |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Plan and prepare for task to be undertaken |  | Trainee will be able to: - Requirements of task are determined as per standard - operating procedures - Appropriate hardware and software is selected according to task assigned and required outcome - Task is planned to ensure |  | - Main types of computers and basic features of different operating systems - Main Parts of computer - Calculating computer capacity Practical activity - Select the appropriate hardware & software as per the requirement of task. | Theory-01 Hrs Practice-06 Hrs Total- 07 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Input data into computer |  | Trainee will be able to: - Data are entered into the computer using appropriate program/application in accordance with company procedures - Accuracy of information is checked and information is saved in accordance with standard operating procedures - Inputted data are stored in storage media according to requirements - Work is performed within ergonomic guidelines |  | - Storage devices and basic categories of memory - Basic ergonomics of computer use Practical activity - Select storage devices to store input data | Theory-01 Hrs Practice-06 Hrs Total- 07 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Access information using computer |  | Trainee will be able to: - Correct program/application is selected based on job requirements - Program/application containing the information required is accessed according to company procedures - Desktop icons are correctly selected, opened and closed for navigation purposes - Keyboard techniques are carried out in line with OH & S requirements for safe use of keyboards |  | - Relevant types of software - OH & S principles and responsibilities - Basic ergonomics of keyboard use Practical activity - Operate the computer and its different application | Theory-01 Hrs Practice-06 Hrs Total- 07 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Produce/output data using computer system |  | Trainee will be able to: - Entered data are processed using appropriate software commands - Data are printed out as required using computer hardware/peripheral devices in accordance with standard operating procedures - Files and data are transferred between compatible systems using computer software, hardware/ peripheral devices in accordance with standard operating procedures |  | - Relevant types of software Practical activity - Develop a required documents in MS word and take out print. | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Maintain computer equipment and systems |  | Trainee will be able to: - Systems for cleaning, minor maintenance and replacement of consumables are implemented - Procedures for ensuring security of data, including regular back-ups and virus checks are implemented in accordance with standard operating procedures - Basic file maintenance procedures are implemented in line with the standard operating procedures |  | - General security - Viruses Practical activity - Create a proper backup of computer data and install anti-virus software | Theory-2 Hrs Practice-3 Hrs Total- 5 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |

### Develop Computer Application skills

Objective: This module describes the performance outcomes, skills and knowledge required to identify, select and operate three commercial software packages, including a word-processing, a spreadsheet and presentation application package.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Use appropriate OHS office work practices | Trainee will be able to: - Use safe work practices to ensure ergonomic, work organization, energy and resource conservation requirements are addressed - Use wrist rests and document holders where appropriate - Use monitor anti-glare and radiation reduction screens where appropriate | - OHS principles and responsibilities for ergonomics, such as work periods and breaks Practical activity - Identify potential hazards in computer lab and use appropriate actions to mitigate them* | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Install and remove software | Trainee will be able to: - Select software to be installed - Follow installation instructions - Delete unrequired software | - Application software packages used by the organization - Basic knowledge of system usage - Basic knowledge of install and remove software - Import and export software functions Practical activity - Identify the required software, install and uninstall these software from the computer. | Theory-0.5 Hrs Practice-03 Hrs Total- 3.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Use appropriate word-processing software | Trainee will be able to: - Select word-processing software appropriate to perform activity - Identify document purpose, audience and presentation requirements, and clarify with personnel as required - Identify organizational requirements for text-based business documents and design document structure and layout to ensure consistency of style and image - Match document requirements with software functions to provide efficient production of documents - Use technical functions, other data and formatting to finalize documents - Ensure the naming and storing of documents in appropriate directories or folders and the printing of documents to the required specifications | - Current business practices related to Practical activity - using software to prepare reports - Functions and uses of word processing | Theory-0.5 Hrs Practice-03 Hrs Total- 3.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Use appropriate spreadsheet software | Trainee will be able to: - Select spreadsheet software appropriate to perform activity - Identify document purpose, audience and presentation requirements, and clarify with personnel as required - Enter simple formulas and functions using cell referencing where required - Customize spreadsheet settings and format documents to meet requirements - Ensure the naming and storing of documents in appropriate directories or folders and the printing of documents to the required specifications | - Functions and uses of Spreadsheet Practical activity - Prepare a spreadsheet using different functions and formulas. | Theory-0.5 Hrs Practice-03 Hrs Total- 3.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Use appropriate presentation software | Trainee will be able to: - Select software application package appropriate to perform activity - Identify purpose, audience and presentation requirements, and clarify with personnel as required - Use technical functions, other data and formatting to finalize documents - Ensure documents are named and stored in appropriate directories or folders and printed to required specifications - Make a presentation | - Functions and uses of presentation software Practical activity - Prepare a presentation using Microsoft power point application. | Theory-0.5 Hrs Practice-03 Hrs Total- 3.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Perform word-processing applications

Objective: This unit describes the skills and knowledge required to operate word- processing applications and perform basic operations, including creating and formatting documents, creating tables and printing labels. It applies to individuals in the workplace using fundamental knowledge of word-processing under direct supervision or with limited responsibility.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply workplace health and safety (WHS) practices | Trainee will be able to: - Use workplace ergonomic work practices and strategies - Organize work area to ensure an ergonomic work environment | - OHS principles and responsibilities for ergonomics, such as work periods and breaks Practical activity - Identify potential hazards in computer lab and use appropriate actions to mitigate them* | Theory-01 Hrs Practice-00 Hrs Total- 01 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Create documents | Trainee will be able to: - Open word-processing application, create document and add data according to information requirements - Use document templates as required - Use simple formatting tools when creating the document - Save document to directory | - Create and save new file - Use of appropriate template as required Practical activity - Develop a documents in MS word using format tools as per the requirement of the task. | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Customize basic settings to meet page layout conventions | Trainee will be able to: - Adjust page layout to meet information requirements - Open and view different toolbars - Change font format to suit document purpose - Change alignment and line spacing according to document information requirements - Modify margins to suit the document purpose - Open and switch between several documents | - Understand and edit page layout Practical activity - Open MS word and change select appropriate layout of the page as per the requirement adding header and footer in the document. | Theory-01 Hrs Practice-01 Hrs Total- 02 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Format documents | Trainee will be able to: - Use formatting features and styles as required - Highlight and copy text from another area in the document or from another active document - Insert headers and footers to incorporate necessary data - Save document in another file format - Save and close document to a storage device | Practical activity - Formatting word document | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Create tables | Trainee will be able to: - Insert standard table into document - Change cells to meet information requirements - Insert and delete columns and rows as necessary - Use formatting tools according to style requirements | Practical activity - Create and edit table | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Add images | Trainee will be able to: - Insert appropriate images into document and customize as necessary - Position and resize images to meet document formatting needs | Practical activity - Insert, position and resize images | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Print documents | Trainee will be able to: - Preview document in print preview mode - Select basic print settings - Print document or part of document from printer | Practical activity - Printing document according to organization need | Theory-00 Hrs Practice-01 Hrs Total- 01 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Operate Spreadsheet Application

Objective: This module describes the skills and knowledge required to operate Spreadsheet and perform basic operations, including creating and formatting spreadsheet, creating tables, incorporating chart and object in it, and printing labels.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Create spreadsheets | Trainee will be able to: - Open the spreadsheet application, create spreadsheet files and enter numbers, text and symbols into cells according to information requirements - Enter simple formulas and functions using cell referencing when required - Correct formulas when error messages occur - Use a range of common tools during spreadsheet development - Edit columns and rows within the spreadsheet - Use the auto-fill function to increment data where required - Save the spreadsheet to a folder on a storage device | Practical activity - basic technical terminology related to reading help files and prompts - purpose, use and function of spreadsheet applications - create, edit and save spread sheet | Theory-01 Hrs Practice-00 Hrs Total- 01 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Customize basic settings | - Adjust page layout to meet user requirements or special needs - Open and view different toolbars - Change font settings so they are appropriate for the document purpose - Change alignment options and line spacing according to spreadsheet formatting features - Format cell to display different styles as required - Modify margin sizes to suit the purpose of the spreadsheets - View multiple spreadsheets concurrently | Practical activity - Formatting spread sheet | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Format spreadsheet | Trainee will be able to: - Use formatting features as required - Copy selected formatting features from another cell in the spreadsheet or from another active spreadsheet - Use formatting tools as required within the spreadsheet - Align information in a selected cell as required - Insert headers and footers using formatting features - Save spreadsheet as another file type - Save to storage device and close spreadsheet | Practical activity - effect of formatting and appearance on the readability and usability of spreadsheets | Theory-01 Hrs Practice-01 Hrs Total- 02 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Incorporate object and chart in spreadsheet | - Import an object into an active spreadsheet - Manipulate imported object by using formatting features - Create a chart using selected data in the spreadsheet - Display selected data in a different chart - Modify chart using formatting features | Practical activity - Inserting and editing object in spread sheet - Inserting and modifying chart in spreadsheet | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Print spreadsheet | - Preview spreadsheet in print preview mode - Select basic printer options - Print spreadsheet or selected part of spreadsheet - Submit the spreadsheet to appropriate person for approval or feedback | Practical activity - Preview and Print spread sheet | Theory-0.5 Hrs Practice-01 Hrs Total- 1.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Operate Presentation Packages

Objective: This module describes the skills and knowledge required to operate power point processing applications and perform basic operations, including creating and formatting presentations, adding slide show effects and printing presentations and notes. It applies to individuals in the workplace using fundamental knowledge of PowerPoint processing under direct supervision or with limited responsibility.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Create Presentations | Trainee will be able to: - Open presentation package and create a simple design for a presentation according to organizational requirements - Open blank presentation and add text and graphics - Apply existing styles within a presentation - Use presentation template and slides to create a presentation - Use various tools to improve the look of the presentation - Save presentation to the appropriate storage device and folder | Practical activity - Basic technical terminology to read help files and prompts | Theory-01 Hrs Practice-3 Hrs Total- 4 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Customize basic settings | Trainee will be able to: - Adjust display to meet user requirements - Open and view different toolbars to view options - Ensure font settings are appropriate for the presentation purpose - View multiple slides at once | Practical activity - effect of formatting and appearance on the readability and usability of presentation | Theory-1 Hrs Practice-3 Hrs Total- 4 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Format presentations | Trainee will be able to: - Use and incorporate organizational charts and bulleted lists, and modify as required - Add objects and manipulate to meet presentation purposes - Import objects and modify for presentation purposes - Modify slide layout, including text and colors, to meet presentation requirements - Use formatting tools as required within the presentation - Duplicate slides within and across a presentation - Reorder sequence of slides and delete slides for presentation purposes - Save presentation in another format - Save to storage device and close presentation | Practical activity - Insert objects and charts | Theory-01 Hrs Practice-6 Hrs Total- 7Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Add slide show effects | Trainee will be able to: - Incorporate pre-set animation and multimedia effects into presentation as required to enhance the presentation - Add slide transition effects to presentation to ensure smooth progression through the presentation - Test presentation for overall effect - Use onscreen navigation tools to start and stop slide show or move between different slides as required | Practical activity - suitable presentation effects for different audiences | Theory-01 Hrs Practice-6 Hrs Total- 7Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Print presentation and notes | Trainee will be able to: - Select appropriate print format for presentation - Select preferred slide orientation - Add notes and slide numbers - Preview slides and run spell check before presentation - Print selected slides and submit presentation to appropriate person for feedback | Practical activity - Preview and print presentations | Theory-02 Hrs Practice-6 Hrs Total- 8Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Perform writing and editing skills

Objective: This module describes the skills and knowledge required to apply the conventions of plain English to writing and editing tasks of different forms. It also includes editing and proofreading techniques. It applies to individuals in various writing contexts who write and edit texts using appropriate language, style, grammar, spelling, and standard conventions for editing and proofreading.

Duration: 30 Hours							Theory: 06 Hours				Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply clear and appropriate language and style to writing and editing tasks | Trainee will be able to: - Use safe work practices including addressing ergonomic requirements when undertaking writing tasks - Use clear, concise and plain English in writing and editing tasks - Apply appropriate paragraph structure to written material to ensure clarity of meaning and ease of reading - Make clear and logical connections between sentences, paragraphs and sections - Determine and incorporate the language and style of the audience | Practical activity - Main features of clear, concise and plain English language for written material | Theory-1.5 Hrs Practice-6 Hrs Total- 7.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Apply the appropriate voice, tone and tense | Trainee will be able to: - Determine appropriate voice, tone and tense of the written materials according to audience requirements - Maintain consistent voice, tone and tense throughout written material | Practical activity - Appropriate use of tenses required in written material | Theory-1.5 Hrs Practice-6 Hrs Total- 7.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Apply appropriate grammar, spelling and punctuation | Trainee will be able to: - Apply appropriate grammar conventions to a range of written contexts including use of numbers, quotations, and tables - Apply appropriate spelling and punctuation conventions in writing and editing tasks. | Practical activity - Grammar, punctuation and spelling conventions that meet the task requirements | Theory-1.5 Hrs Practice-6 Hrs Total- 7.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Perform editing and proofreading tasks to meet requirements | Trainee will be able to: - Edit written material to ensure clear meaning through language and paragraphs, consistent voice, tone and tense - Copyedit written material by checking grammar, spelling and punctuation using standard editing conventions - Proofreading using style guides and by monitoring written material for errors | Practical activity - Editing conventions used in substantive editing and copyediting of written material - Basic software used to write and collect feedback | Theory-1.5 Hrs Practice-6 Hrs Total- 7.5 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

# G-Basic Electronics (Analog)

## 0714E&A37: Identify Basic Electronics Components

Objective: This module covers the skills and knowledge required to Identify Various Diodes, Resistors, Capacitors and Inductor in the circuit. After this competency standard the candidate will be able to identify variety of basic electronic components and their usage in industry.

Duration:  30 Hours							Theory: 9 Hours						Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify Various Diodes | Trainee would be able to - Identify the types of Diodes - Identify the polarities of diode. - Check the voltage across the diode in forward and reverse Biased | - Define diode. - Identify its various types, polarities approximations. - Explain various diode testing methods. Classify the diodes w.r.t application. - Define Multimeter and its different types. - Explain the uses of multimeter. - Explain the working and types of power Supply unit. - Explain the data sheets. - Explain diode applications. Practical Activity: Test the diode to identify its polarity and operation as per data sheet specification. | Total 05 Hrs. Theory: 01 Hrs. Practical: 04 Hrs | - Digital Multimeter - Power supply - Diode - Resistor - Bread board - Data sheets | Class Room and Workshop |
| - Identify Resistors in circuit | Trainee would be able to - Identify Resistor & its types - Recognize numeric coding & colour coding of resistor - Design series & Parallel circuit of Resistor - Use formulas for Series & parallel circuit of resistors | - Define Resistor & its types with respect to rating, tolerance and power. - Explain the colour coding reading technique. - Explain series & Parallel circuit. Practical Activity: Design R2R ladder network using various resistors. | Total 06 Hrs. Theory: 02Hrs. Practical: 04 Hrs | - Digital Multimeter - Power supply - Resistor - Bread board - Data sheets | Class Room and Workshop |
| - Identify Capacitor in circuit | Trainee would be able to - Identify Capacitor & its types - Recognize polarity & rating of Capacitor - Design Parallel and series circuit of Capacitor - Use formulas for Series & parallel circuit of Capacitor. | - Define Capacitor & its types with respect to rating, polarity and value. - Explain the capacitor codes to determine its value. - Explain series & Parallel circuit of capacitor. Practical Activity: Design a 6 volt battery using capacitors. | Total 06 Hrs. Theory: 02Hrs. Practical: 04 Hrs | - Digital Multimeter - Power supply - Resistor - Capacitor - Bread board - Data sheets | Class Room and Workshop |
| - Identify Inductor in circuit | Trainee would be able to - Identify an Inductor - Recognize Coding & Rating of Inductor - Use formulas for Series & Parallel circuit of Inductor - Analyze Circuit of Inductor | - Define Inductor & its types with respect to rating and value. - Explain the Inductor codes to determine its value. - Explain different applications of inductor. Practical Activity: Develop a frequency acceptor circuit using RLC combination. | Total 06 Hrs. Theory: 02Hrs. Practical: 04 Hrs | - Digital Multimeter - Power supply - Inductor - Bread board - Data sheets | Class Room and Workshop |
| - Identify transistor and its types | Trainee would be able to - Identify types of transistors - Analyze switching functions of transistor - Analyze transistors circuit | - Define transistor and its types with respect to application and design. - Describe transistor operation modes. - Explain V-I characteristic curve of transistor. Practical Activity: Test the transistor to verify its polarity and voltage current characteristics. | Total 07 Hrs. Theory: 02Hrs. Practical: 05 Hrs | - Multimeter - Power supply - Resistor - Transistors - Bread board - Data sheets | Class Room and Workshop |

## 0714E&A38: Design Rectifier using Diode

Objective: This module covers the skills and knowledge required to the parameter of Diode and characteristic curve of Diode, designing of Full Wave Rectifier (two diode rectifiers) and designing of Full Wave Rectifier using Diode Bridge. This competency standard will help the candidate in construction of Diode rectifier and its uses in industry.

Duration:  40 Hours							Theory: 7 Hours						Practical: 33 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify The parameter of Diode and Draw the characteristic curve of Diode | Trainee would be able to - Identify the Diodes and their terminal (Anode and Cathode) with the Help of Datasheet - Measure different parameters (Current, Voltage, and power rating) of Diode using digital multimeter - Implement the Diode in forward and Revers Configuration - Perform the forward and reveres biases operation - Monitor the Output waveform on oscilloscope - Draw the characteristic curves in forward and reverse Biased - Generate the Lab report | - Define the basic of diodes, & their applications in circuits - Define Diode Forward Biase / Reverse Biase operation. - Explain the diode configurations and its operation. - Explain the waveform of diode biasing behavior. Practical Activity: Test the forward bias and reverse bias operation using oscilloscope. | Total 15 Hrs. Theory: 03 Hrs. Practical: 12 Hrs | - Oscilloscope - Diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire stripper | Class Room and Workshop |
| - Design half wave and Full Wave Rectifier (two diode rectifier | Trainee would be able to - Select Full Wave and half wave Rectifier components - Draw circuit Diagram of half wave Rectifier - Draw circuit Diagram of Full Wave Rectifier - Observe the Input and Output wave form on oscilloscope and multimeter - Calculate the ripple Factor - Measure output voltage using proper formulas | - Define the rectifier. - Explain various circuit components used in half wave and full wave rectifier circuit. - Differentiate half wave and full wave rectifier circuit. Practical Activity: Develop a clipper circuit and observe its output waveform on oscilloscope | Total 15 Hrs. Theory: 03 Hrs. Practical: 12 Hrs | - Oscilloscope Diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire stripper | Class Room and Workshop |
| - Design Full Wave Bridge rectifier | Trainee would be able to - Select Full Wave Rectifier components - Draw circuit Diagram of Full Wave Rectifier - Observe the Input and Output wave form on oscilloscope - Calculate the ripple Factor - Measure output voltage | - Explain full wave bridge rectifier circuit - Explain the components of full wave bridge rectifier. - Explain waveform for full wave bridge rectifier Practical Activity: Develop a full wave bridge rectifier using 4 diodes. Display the output on oscilloscope. | Total 10 Hrs. Theory: 01 Hrs. Practical: 09 Hrs | - Oscilloscope Diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire stripper | Class Room and Workshop |

## 0714E&A39: Carry out Diode Application

Objective: This module covers the skills and knowledge required to make voltage regulator using Zener diode and make Seven Segment Using Light Emitting Diode. After completing this competency standard, the student will be able to design a voltage regulator circuit using a Zener diode to maintain a constant DC output voltage across the load in spite of variations in the input voltage or changes in the load current.

Duration:  40 Hours							Theory: 7 Hours						Practical: 33 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Make voltage regulator using Zener diode | Trainee would be able to - Draw the voltage Regulator circuit - Select the Zener diode and components as per requirement for voltage regulator - Placed the components on bread board for voltage regulator circuits. - Measure Input and outputs of the voltage regulator - Verify the required output - Generate the output report | - Define the term regulator. - Explain the characteristics and working of a zener regulator. - Discuss the reverse breakdown voltage. - Discuss the application of zener diodes with examples. - Define the output waveform of the zener voltage regulator. Practical Activity: Develop a circuit using zener diode to regulate the voltage at 6.8VDC. | Total 21 Hrs. Theory: 18 Hrs. Practical: 3 Hrs | - Oscilloscope - Zener diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Light Emitting diode - Multimeter | Class Room and Workshop |
| - Make Seven Segment Using Light Emitting Diode | Trainee would be able to - Draw the Seven Segment Display Circuit - Select required components for seven segment display - Placed the components for Seven Segment Display Circuit - Perform basic operations of Seven Segment Display and Verify the required output - Generate the output report | Describe the 7 segment display circuit. Discuss the driver circuit of seven segments. Discuss the control circuit associated with hardware. Explain uses of 7 segment display circuit Practical Activity: Design a display board using seven segment, displaying the word “ELECTRONICS” | Total 16 Hrs. Theory: 01 Hrs. Practical: 15 Hrs | - Oscilloscope - Resistor - Variable DC power supply - Soldering iron - Connecting wire - Breadboard - Light Emitting diodes - Digital Multimeter | Class Room and Workshop |

## 0714E&A40: Implement Bipolar Junction Transistor (BJT) in Different Applications

Objective: This module covers the skills and knowledge required to perform the Biasing of Transistors, Implement Transistor as an amplifier using CB Configuration, Implement Transistor as an amplifier using CC Configuration, Implement Transistor as an amplifier using CE Configuration, BJT as a switch, Design the circuit of Class A Power Amplifier and Implement After completion of this competency standard the student will be able to regulate the current or voltage flow and implement a switch for electronic signals.

Duration:  40 Hours							Theory: 10 Hours							Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform the Biasing of Transistors | Trainee would be able to: - Identify the Transistor & its types. - Identify the base collector & Emitter of transistors - Perform the standard Biasing of PNP & NPN Transistor. | - Define the transistor construction, its type & identification. - Introduce various transistor biasing methods. - Describe transistor operation. - Explain the purpose of transistor biasing. - Explain transistor operating regions. Practical Activity: Record the output current for forward biased and reverse biased regions of the transistors. | Total 8 Hrs. Theory: 2 Hrs. Practical: 5 Hrs | - Oscilloscope - Transistor - Resistor - Variable DC power supply, Multimeter - Connecting wire - Breadboard - Light Emitting diode | Class Room and Workshop |
| - Implement Transistor as an amplifier using CB Configuration. | Trainee would be able to: - Draw the Circuit of CB configuration of transistor - Select the components for CB configurations. - Place the components on breadboard for CB amplifier - Calculate the gain of transistor in CB mode - Draw VI characteristics curve for CB | - Define the term amplifier. - Explain the types of amplifier. - Explain CB amplifier configuration. - Explain the gain variation in amplifiers. - Discuss the Q point factor in amplifiers. - Explain VI characteristic curve for CB configuration Practical Activity: Develop a common base amplifier to verify the parameters. | Total 8 Hrs. Theory: 2 Hrs. Practical: 5 Hrs | - Oscilloscope - Transistor - Resistor - Variable DC power supply, Multimeter - Connecting wire - Breadboard - Light Emitting diode | Class Room and Workshop |
| - Implement Transistor as an amplifier using CC Configuration. | Trainee would be able to: - Draw the Circuit of CC configuration of transistor - Select the components for CC configurations. - Place the components on breadboard for CC amplifier - Calculate the gain of transistor in CC modes. - Draw VI characteristics curve for CC | - Define the term amplifier. - Explain the types of amplifier. - Explain CC amplifier configuration. - Describe the gain variation in amplifiers. - Explain the Q point factor in amplifiers. - Explain VI characteristic curve for CC configuration. Practical Activity: Develop a common collector amplifier to verify the parameters. | Total 8 Hrs. Theory: 2 Hrs. Practical: 5 Hrs | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |
| - Implement Transistor as an amplifier using CE Configuration. | Trainee would be able to: - Draw the Circuit of CE configuration of transistor - Select the components for CE configurations. - Place the components on breadboard for CE amplifier - Calculate the gain of transistor in CE modes. - Draw VI characteristics curve for CE | - Explain CE amplifier configuration. - Describe the gain variation in amplifiers. - Explain the Q point factor in amplifiers. - Explain VI characteristic curve for CE configuration Practical Activity: Develop a common emitter amplifier to verify the parameters. | Total 8 Hrs. Theory: 2 Hrs. Practical: 5 Hrs | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |
| - Implement BJT as a switch. | Trainee would be able to: - Draw the Circuit of transistor in switching configuration. - Select the components for switching circuits - Place the components on breadboard. - Operate an LED using transistor as a switch - Measure the output and generate the report | - Define the switch. - Explain the type of transistor used as switch. - Discuss the gain variation in BJT amplifier. - Discuss the Q point factor in BJT amplifiers. - Discuss the importance of Active and Cutoff regions operation in switching. Practical Activity: Develop a BJT transistor based controlled relay as switch. | Total 6 Hrs. Theory: 1 Hrs. Practical: 5 Hrs | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |
| - Design the circuit of Class A Power Amplifier | Trainee would be able to: - Identify the Class of a Power Amplifier - Select the component for Class A Power Amplifier - Implement the circuit of PNP OR NPN transistor in Class A Power Amplifier Configuration - Analyze the different parameter of Class A Power Amplifier - Monitor the Output waveform on oscilloscope - Draw the characteristic curves of Class A Power Amplifier - Calculate the Voltage gain and Power Gain of Class A Power Amplifier - Generate the Lab report | - Define the term Power Amplifier - Explain Class A power amplifier and its configuration in detail. - Describe voltage gain and power gain variation in amplifier. - Explain the Q point factor in amplifier. - Describe Characteristic curve of class A Power amplifier. - Explain amplifier stability. Practical Activity: Find the gain of a class A amplifier using small signal AC input using oscilloscope. | Total 6 Hrs. Theory: 1 Hrs. Practical: 5 Hrs | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |

## 0714E&A41: Implement Field Effect Transistor (FET) in Different Applications

Objective: This module covers the skills and knowledge required to perform the Biasing of FET, Implement MOSFET as a switch, Draw the VI characteristics curves for FETs, Design the circuit of Common Drain (CD) Amplifier, Design the circuit of Common Gate (CG) Amplifier. After completion of this competency standard the student will be able to implement the FET (Field Effect Transistor) to control the current flow through the device.

Duration:  40 Hours							Theory: 10 Hours							Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform the Biasing of FET | Trainee would be able to: - Identify the FET & its types. - Identify the Drain, Gate & Source terminal of FET - Perform the standard Biasing of MOSFET (N-channel, P-channel) - Measure the Gate-Source voltage (Vgs) & Threshold Voltage | - Define the FET transistor construction, its type & identification w.r.t design. - Introduce various FET transistor biasing methods. - Describe FET transistor operation. - Explain the purpose of FET transistor biasing. - Define the datasheet reading method for FET. - Define transistor operating regions. - Describe gate-source voltage - Explain threshold voltage Practical Activity: Design a voltage controlled FET amplifier and observe the I/O waveform using oscilloscope. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Oscilloscope - FET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Implement MOSFET as a switch. | Trainee would be able to: - Draw the Circuit of MOSFET in switching configuration. - Select the components for switching circuits - Place the components on breadboard - Operate an LED using MOSFET as a switch - Measure the output and generate the report | - Define the term transistor switching. - Define the term MOSFET. - Explain the MOSFET switch. Practical Activity: Design a relay using MOSFET and record its output. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Draw the VI characteristics curves for FETs | Trainee would be able to: - Construct an amplifier circuit using FET - Apply Vds &Vgs - Measure the drain current - Draw VI characteristic curves | - Define the term amplifier - Explain the basics of V I characteristic of MOSFET. - Describe the drain current Practical Activity: Design a circuit to analyze FET V I characteristic using oscilloscope. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Design the circuit of Common Drain (CD) Amplifier | Trainee would be able to: - Identify the FET and there terminal (gate, drain and Sources) whit the Help of Datasheet - Select the components for Common Drain (CD) amplifier - Implement the circuit of Common Drain (CD) amplifier - Analyse the different parameter of Common Drain (CD) amplifier - Monitor the Output waveform on oscilloscope - Draw the characteristic curves of Common Drain (CD) amplifier - Generate the Lab report | - Describe FET transistor operation. - Explain the purpose of FET transistor biasing. - Explain common drain (CD) configuration of FET - Discuss transistor operating regions and configuration. - Explain characteristic curve for CD amplifier Practical Activity: Design a voltage controlled FET amplifier in common gain configuration, and observe the I/O waveform using oscilloscope | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Design the circuit of Common Gate (CG) amplifier | Trainee would be able to: - Identify the FET and there terminal (gate, drain and Sources) whit the Help of Datasheet - Select the components for Common Gate (CG) amplifier - Implement the circuit of Common Gate (CG) amplifier - Analyze the different parameter of Common Gate (CG) amplifier - Monitor the Output waveform on oscilloscope - Draw the characteristic curves of Common Gate (CG) amplifier - Generate the Lab report | - Describe FET transistor operation. - Explain the purpose of FET transistor biasing. - Define the datasheet reading method for FET. - Discuss transistor operating regions and configuration. Practical Activity: Design a voltage controlled FET amplifier and observe the I/O waveform using oscilloscope | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |

## 0714E&A42: Implement Thyristor Family in Various Application

Objective: This module covers the skills and knowledge required to, Implement the SCR in electronic circuits as switch, Implement the UJT in electronic circuits as switch and Construct the dimmer circuit using DIAC & TRIAC. After the completion of this standard the candidate will be able to use Uni junction Transistor (UJT), Silicon-controlled rectifier (SCR) in power Control Application.

Duration:  40 Hours							Theory: 10 Hours							Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Implement the SCR in electronic circuits as switch | Trainee would be able to: - Identify the SCR terminals - Draw the circuit of switch using SCR. - Select the components for SCR switching circuits. - Construct the SCR switching circuit. - Apply the trigger Pulse and Check out the desired outputs | - Define SCR. - Explain SCR and its switching operation. - Explain the Thyristor unidirectional operation. - Explain usage of data sheet. - Discuss the 3 phase circuit applications of SCRs. Practical Activity: Design speed control circuit for a motor using SCR. | Total 13 Hrs. Theory: 04 Hrs. Practical: 09 Hrs | - Oscilloscope - UJT, - SCR - Variable DC power supply, - Multimeter - wire - Breadboard or trainer - Connecting wire - Wire Stripper - Wire Cutter | Class Room and Workshop |
| - Implement the UJT in electronic circuits as switch | Trainee would be able to: - Identify the UJT terminal - Draw the circuit of switch using UJT. - Select the components for the relaxation oscillator circuits - Construct the relaxation oscillator circuits using UJT - Measure the input and output voltage - Generate the lab report. | - Define term SCR. - Explain the UJT operation and working modes. - Differentiate UJT with SCR. - Explain usage of data sheet. - Explain working operation of relaxation oscillator circuit. Practical Activity: Design a light intensity controller using UJT | Total 13 Hrs. Theory: 04 Hrs. Practical: 09 Hrs | - Oscilloscope - UJT, - SCR - Variable DC power supply, - Multimeter - wire - Breadboard or trainer - Connecting wire - Wire Stripper - Wire Cutter | Class Room and Workshop |
| - Construct the dimmer circuit using Diac &Triac | Trainee would be able to: - Identify the terminals of Diac & Triac. - Draw the dimmer circuit using Diac & Triac. - Select the components for the dimmer circuit. - Construct the dimmer circuits. - Control the load using dimmer - Generate the lab report | - Explain the DIAC and TRIAC. - Explain data sheet usage. - Discuss the control circuits applications of DIAC and TRIAC - Explain dimmer circuit. Practical Activity: - Design chopper circuit using TRIAC. - Design furnace heat control circuit using diac. | Total 14 Hrs. Theory: 02 Hrs. Practical: 12 Hrs | - Oscilloscope - DIAC - TRIAC - Variable DC power supply, - Multimeter - wire - Breadboard or trainer - Connecting wire - Wire Stripper - Wire Cutter | Class Room and Workshop |

## 0714E&A43: Application of Operational Amplifier

Objective: This module covers the skills and knowledge required to construct a Non-inverting amplifier, an Inverting amplifier, differentiator and comparator circuit using operational amplifier.

Duration:  40 Hours							Theory: 10 Hours							Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct a Non-inverting amplifier using operational amplifier | Trainee would be able to: - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. - Draw the Schematic diagram of non-Inverting Op-Amp. - Select the components for Non-Inverting Op-Amp. - Implement Non-Inverting Op-Amp circuit. - Perform the operations of Non-Inverting Op-Amp circuit. - Measure the output voltage & gain. - Generate the Output report. | - Define term operational amplifier (OP-AMP). - Explain working construction & identification w.r.t design. - Explain pin configuration of OP-AMP. - Explain the mode of operation of Operational amplifier. - Describe Non-inverting amplifier with applications - Explain usage of data sheet of (OP-AMP) Practical Activity: Design a circuit using operational amplifier with non-inverting configuration to analyze its output signal behavior. Use an oscilloscope to read the waveform. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct an Inverting amplifier using operational amplifier | Trainee would be able to: - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. - Draw the Schematic diagram of Inverting Op-Amp. - Select the components for Inverting Op-Amp. - Implement Inverting Op-Amp circuit. - Perform the operations of Inverting Op-Amp circuit. - Measure the output voltage & gain - Generate the Output report. | - Define term operational amplifier (OP-AMP). - Explain working construction & identification w.r.t design. - Explain pin configuration of OP-AMP. - Explain the mode of operation of Operational amplifier. - Describe Inverting amplifier with applications - Explain usage of data sheet of (OP-AMP) Practical Activity: Design a circuit using operational amplifier with inverting input to analyze its output signal using an oscilloscope for signal analysis. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct a differentiator circuit using operational amplifier | Trainee would be able to: - Draw the Schematic diagram of differentiator circuit using Op-Amp. - Select the components for differentiator circuit. - Implement differentiator circuit. - Perform the operations of differentiator circuit. - Measure the output waveform - Draw the characteristic curves of differentiator circuit. - Generate the Output report | - Explain the operation of differentiator circuit. - Describe differentiator circuit with applications - Explain usage of data sheet of (OP-AMP) - Explain characteristic curve for differentiator circuit Practical Activity: Design a differentiator circuit using operational amplifier. Use an oscilloscope for signal analysis. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct a integrator circuit using operational amplifier | Trainee would be able to: - Draw the Schematic diagram of integrator circuit using Op-Amp. - Select the components for integrator circuit. - Implement integrator circuit. - Perform the operations of integrator circuit. - Measure the output waveform - Draw the characteristic curves of integrator circuit. - Generate the Output report | - Explain the operation of Integrator circuit. - Describe integrator circuit with applications - Explain usage of data sheet of (OP-AMP) - Explain characteristic curve for integrator circuit Practical Activity: Use an oscilloscope for signal analysis, design a voltage integrator using operational amplifier. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct a Comparator circuit using operational amplifier | Trainee would be able to: - Draw the Schematic diagram of Comparator circuit using Op-Amp. - Select the components for Comparator circuit. - Implement Comparator circuit. - Perform the operations of Comparator circuit. - Check the output for different input conditions. | - Explain the operation of Comparator circuit. - Describe Comparator circuit with applications - Explain usage of data sheet of (OP-AMP) - Explain the implementation procedure of comparator circuit. Practical Activity: Use an oscilloscope for signal analysis; design a voltage integrator using operational amplifier. | Total 08 Hrs. Theory: 02 Hrs. Practical: 06 Hrs | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |

# H- Metrology

## 0714E&A53: Take measurements with graduated tools

Objective: This module covers the skills and knowledge required to take measurements Steel rule, Take measurements Hook rule, Take measurements Folding rule and Take measurements with Trammels.

Duration: 20 Hours							Theory: 2 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Take measurements Steel rule. | Trainee would be able to - Place the ruler on various work pieces. - Take the dimension and record the multiple readings on each of work piece. - Take an average of readings. - Record the results. | - Explain basic terms in measurements. - Explain Dimensions and quantities. - Classify linear measurement tools. - Describe types of measurements and its units. - Explain the basic principles of design of linear measuring instruments. - Explain area and volume of geometric shapes. - Describe line, arc and circle measurements. Practical Activity: Measure the linear dimensions of work piece with the help of Steel rule. | Total 6.5 Hrs. Theory: 0.5 Hrs. Practical: 06 Hrs | - Steel rule. - Work piece. - Surface plate. - Steps and collars. | Class Room and Workshop |
| - Take measurements Hook rule. | Trainee would be able to - Place hook ruler at the given work piece. - Take the dimension and record multiple readings on each work piece. - Take averages of the recorded measurements or results. - Record the results. | - Explain measurements. - Explain Dimensions and quantities. - Explain linear measurement tools. - Describe types of measurements and its units. - Explain Measurement techniques. - Explain of area, volume of geometric shapes. - Describe line, arc and circle measurements. Practical Activity: Measure the linear dimensions of work piece with the help of Hook rule. | Total 6.5 Hrs. Theory: 0.5 Hrs. Practical: 06 Hrs | - Hook rule. - Work piece. - Surface plate. - Steps and collars. | Class Room and Workshop |
| - Take measurements Folding rule. | Trainee would be able to - Take the suitable work piece for measurement. - Measure the dimensions of work pieces. - Compute surface area, volume, of given work pieces. - Record the results in data table. | - Explain measurements. - Explain Dimensions and quantities. - Explain linear measurement tools. - Describe types of measurements and its units. - Explain Measurement techniques. - Explain of area, volume of geometric shapes. - Describe line, arc and circle measurements. Practical Activity: Measure the linear dimensions of work piece with the help of Hook rule and calculate and surface area & volume. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Work piece. - Surface plate. - Steps and collars. - Folding rule | Class Room and Workshop |
| - Take measurements with Trammels. | Trainee would be able to - Open the trammel according to required dimension. - Draw circle or arc by fixing one point in the dot and rotate. | - Explain measurements. - Explain Dimensions and quantities. - Explain linear measurement tools. - Describe types of measurements and its units. - Explain Measurement techniques. - Explain of area, volume of geometric shapes. - Describe line, arc and circle measurements. Practical Activity: Draw circle & arc by fixing one point in the dot and rotate trammels to bisect lines and angles as per required dimensions on a given work piece. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Trammel. - Work piece. - Surface plate. - Steps and collars. | Class Room and Workshop |

## 0714E&A54: Take measurements with combination set

Objective: This module covers the skills and knowledge required to Take Measurement with Square head, Perform levelling with square head as spirit level, Measure depth with square head as depth gauge, Measure height with square head as height gauge, Perform levelling /measure angle of surfaces with protractor Head, Perform cantering with centre head and Find diameter of round bar.

Duration: 20 Hours							Theory: 2 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Take Measurement with Square head. | Trainee would be able to - Place the combination set on given drawing sheet. - Draw layout of a component with the help of combination square. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Measurement techniques. - Explain procedures of dimensioning of drawings and layouts. - Explain Measurement techniques. Practical Activity: Measure depth and height with square head and draw layout of a component with the help of combination square. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Combination set. - Scriber. - Tri square. - Divider. | Class Room and Workshop |
| - Perform leveling with square head as spirit level. | Trainee would be able to - Place the spirit level on horizontal work piece. - Check the deviation of bubbles. - Level the surface by inserting shims. - Place square head on vertical work piece. - Note the deviation and correct the level. - Check the other geometrical shapes. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Explain Measurement techniques. - Explain procedures of dimensioning of drawings and layouts. Practical Activity: Correct the level of surfaces of a given work piece by using spirit level of combination sets. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Combination set. - Surface plate. - Scriber. - Tri square. - Divider. | Class Room and Workshop |
| - Measure depth with square head as depth gauge. | Trainee would be able to - Place the square head on work piece. - Apply force at the head to retain contact with the component. - Set square head and record the depth. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Explain Measurement techniques. - Explain procedure of dimensioning of drawings and layouts. Practical Activity: Measure depth of a given work piece with square head of combination set. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Combination set. - Surface plate. - Scriber. - Tri square. - Divider. - Round stock. | Class Room and Workshop |
| - Measure height with square head as height gauge. | Trainee would be able to - Place the square head on work piece. - Measure height of work piece with and without the help of height gauge attachment. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Explain Measurement techniques. - Explain procedure of dimensioning of drawings and layouts. Practical Activity: Measure height of a given work piece by using square head of combination set. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Combination set. - Surface plate. - Scriber. - Tri square. - Divider. - Round stock. | Class Room and Workshop |
| - Perform leveling /measure angle of surfaces with Protractor head. | Trainee would be able to - Place protractor head of combination set on work piece. - Loose screws of revolving circular disk and adjust the bubble of level to minimize deviation. - Study the angle between slopes of a component. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Explain Measurement techniques. - Explain procedure of dimensioning of drawings and layouts Practical Activity: Perform leveling of a given work piece and measure angle of surfaces with the help of Protractor head of combination set. | Total 3 Hrs. Theory: 00 Hrs. Practical: 3 Hrs | - Combination set. - Surface plate. - Scriber. - Tri square. - Divider. - Round stock. | Class Room and Workshop |
| - Perform centering with center head. | Trainee would be able to - Place the center head on round stock. - Trace the line with scriber. - Revolve the center head by 90o and draw another line. - Find center of round stock by bisecting point of lines. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Explain Measurement techniques. - Explain procedure of dimensioning of drawings and layouts Practical Activity: Locate centre of a bar stock or a circular job and perform centering of a given work piece by using center Head of combination set. | Total 1.5 Hrs. Theory: 00 Hrs. Practical: 1.5 Hrs | - Combination set. - Surface plate. - Scriber. - Tri square. - Divider. - Round stock. | Class Room and Workshop |
| - Find diameter of round bar. | Trainee would be able to - Place the center head on round stock. - Note the reference point and measure point by avoiding parallax. - Find the difference between reference point and measure point. | - Explain combination set. - Describe level, head, square, and gauge. - Explain deviation. - Explain Measurement techniques. - Explain procedure of dimensioning of drawings and layouts Practical Activity: Determine the diameter of round bar of a circular job held against the centre Head of combination set. | Total 1.5 Hrs. Theory: 00 Hrs. Practical: 1.5 Hrs | - Combination set. - Surface plate. - Scriber. - Tri square. - Divider. - Round stock. | Class Room and Workshop |

## 0714E&A55: Take measurements with gauges

Objective: This module covers the skills and knowledge required to take measurement with fixed gauge, plug gauge, adjustable gauge, small hole gauge and telescope gauge.

Duration: 20 Hours							Theory: 2 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Take measurement with fixed gauge and plug gauge. | Trainee would be able to - Check / Compare the dimension of provided work piece against the reference standard with the help of fixed gauge. - Insert the plug gauge into the work piece to determine either dimension is of acceptable size or over size. | - Explain procedure of dimensioning and measurement techniques. - Describe standards and references. - Explain inner dia. outer dia. and wall thickness. Practical Activity: Check the dimension of provided work piece against reference standard with the help of fixed gauge. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Fix gauge. - Surface plate. - Surface gauge. - Dial indicator. - Plug guage | Class Room and Workshop |
| - Take measurement with adjustable gauge. | Trainee would be able to - Insert both “go” and “not go” gauges in the work piece. - Check the size and record the results. | - Explain procedure of dimensioning and measurement techniques. - Explain go and not go gauges. - Describe standards and references. - Explain inner dia. outer dia. and wall thickness. Practical Activity: Check the size of a given work piece by using “go” and “not go” gauges and record the results. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs | - Surface plate. - Adjustable gauge. | Class Room and Workshop |
| - Take measurement with small hole gauge. | Trainee would be able to - Insert the small hole gauge of require size into the work piece. - Record the result. | - Explain procedure of dimensioning and measurement techniques. - Describe standards and references. - Explain inner dia. outer dia. and wall thickness. Practical Activity: Determine the dimensions of small holes of a given work piece with the help of with small hole gauge. | Total 6.5 Hrs. Theory: 0.5 Hrs. Practical: 06 Hrs | - Surface plate. - Hole gauge. | Class Room and Workshop |
| - Take measurement with telescope gauge. | Trainee would be able to - Insert the telescope gauge into the work piece. - Adjust the gauge and determine the size of work piece. | - Explain procedure of dimensioning and measurement techniques - Describe standards and references. - Explain inner dia. outer dia. and wall thickness. Practical Activity: Determine the size of a given work piece by taking measurements with the help of telescope gauge. | Total 6.5 Hrs. Theory: 0.5 Hrs. Practical: 06 Hrs | - Surface plate - Telescope gauge | Class Room and Workshop |

## 0714E&A56: Perform measurements through Micrometer

Objective: This module covers the skills and knowledge required to take measurement with outside micro-meter, inside micrometer, depth micrometer, Measure threads with micrometer and Vernier micrometer.

Duration: 20 Hours							Theory: 2 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Take measurement with outside micro-meter. | Trainee would be able to - Clean the gauge and surface of work piece. - Open slightly larger than the part to be measured. - Set anvil squarely against reference surface of part. - Using ratchet, slowly until it click once. - Record the reading and calculate the average. | - Describe how Abbe’s law applies to micrometer measurement. - Explain principle of design of outside micrometer. - Describe types of micrometers. - Classify measurement techniques. - Describe geometric shapes thickness. Practical Activity: Take measurements of a given work piece with outside micrometer. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs. | - Outside micrometer. | Class Room and Workshop |
| - Take measurement with inside micrometer. | Trainee would be able to - Clean the gauge and surface of work piece. - Open gauge slightly smaller than the part to be measured. - Set anvil squarely against reference surface of part with ratchet, slowly until it click once. - Record readings and calculate the average. | - Explain principle of design of inside micrometer. - Describe types of Micrometers. - Classify measurement techniques. - Geometric shapes thickness. Practical Activity: Take measurements of a given work piece with inside micrometer. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs. | - Inside Micrometer. | Class Room and Workshop |
| - Take measurement with depth micrometer. | Trainee would be able to - Clean the gauge and surface of work piece. - Access the depth of groove by steel rule. - Insert the suitable insertion Rod. - Place the depth micrometer gauge on the deeper groove and record the reading. | - Explain principle of design of depth micrometer. - Classify measurement techniques. - Describe geometric shapes thickness. Practical Activity: Access the depth of groove of a given work piece with depth micrometer gauge. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs. | - Depth micrometer. | Class Room and Workshop |
| - Measure threads with micrometer. | Trainee would be able to - Clean the gauge and the threads of work piece. - Use the suitable set of thread shape tips according to thread size which is to be measured. - Record the reading. | - Explain design and angles of screw threads. - Explain basic principles of measurement of screw threads. - Describe geometry of screw threads. - Explain measurement principles of major diameter, minor diameter, effective diameter, pitch, angle, and form of screw threads. - Explain tools usage. Practical Activity: Measure the dimensions of threads on a given work piece by using micrometer. | Total 3.5 Hrs. Theory: 0.5 Hrs. Practical: 03 Hrs. | - Inside Micrometer. - Outside micrometer. - Depth micrometer. | Class Room and Workshop |
| - Take measurement with Vernier micrometer. | Trainee would be able to - Clean the surface. - Place specimen on the surface plate. - Take reading accurately. - Calculate mean reading. | - Explain principle of measurement of a Vernier micrometer - Classify measurement techniques. - Geometric shapes thickness. - Explain tools usage. Practical Activity: Take measurements of a given specimen with Vernier micrometer. | Total 6.0 Hrs. Theory: 0.0 Hrs. Practical: 6.0 Hrs. | - Vernier micrometer. | Class Room and Workshop |

## 0714E&A57: Measure dimensions with Vernier tools

Objective: This module covers the skills and knowledge required to take measurement with Vernier calliper, height gauge and Vernier depth gauge.

Duration: 20 Hours							Theory: 2 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Take measurement with Vernier caliper | Trainee would be able to - Clean the gauge and surface of work piece. - Place the work piece on surface plate. - Open the lock screws. - Slide the jaws up to the width or size of jaws. - Open slightly larger than the part to be measured. - Set anvil squarely against reference surface of part. - Maintain the proper pressure on the jaws with screw. - Lock the movable jaw with knurled screw. - Measure and record the dimensions. | - Classification of Vernier instruments. - Design of linear measurement instruments. - Explain basic principles of design of Vernier calipers. - Understand dimensioning. Practical Activity: Take measurements on a given work piece with Vernier caliper. | Total 7.0 Hrs. Theory: 1.0 Hrs. Practical: 6.0 Hrs. | - Vernier Caliper. | Class Room and Workshop |
| - Take measurement with height gauge | Trainee would be able to - Clean the gauge and surface of work piece. - Hold the work piece on angle plate. - Open the lock screws. - Set the height gauge on stud to check it with fine adjusting screw. - Lock the measuring head. - Record the reading. | - Classification of Vernier instruments. - Design of linear measurement instruments. - Explain basic principles of design of Vernier height gauge. - Understand dimensioning. Practical Activity: Measure height on a given work piece by using Vernier depth gauge. | Total 7.0 Hrs. Theory: 1.0 Hrs. Practical: 6.0 Hrs . | - Height Vernier. | Class Room and Workshop |
| - Take measurement with Vernier depth gauge | Trainee would be able to - Clean the gauge and surface of work piece. - Hold the work piece on sample plate. - Open the lock screws. - Insert the gauge inside the work piece with fine adjusting screw. - Lock the measuring head. - Record the reading. | - Classification of Vernier instruments. - Design of linear measurement instruments. - Explain basic principles of design of Vernier depth gauge. - Understand dimensioning. Practical Activity: Measure depth on a given work piece by using Vernier depth gauge. | Total 6.0 Hrs. Theory: 0.0 Hrs. Practical: 6.0 Hrs. | - Depth Vernier. | Class Room and Workshop |

## 0714E&A00: Measure Threads and Gears

Objective: This module covers the skills and knowledge required to Measure threads with thread gauges, Measure gear dimensions with gear tooth calliper and Measure gear dimensions with gear testing machine.

Duration: 20 Hours							Theory: 2 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure threads with thread gauges. | Trainee would be able to - Place suitable sized wire in thread of work piece. - Take the dimensions. - Note pitch of thread and calculate depth of thread by using formula. | - Define Threads and their types. - Explain basic principles of measurement of screw threads. - Describe geometry of screw threads. - Explain measurement principles of major diameter, minor diameter, effective diameter, pitch, angle, and form of screw threads. - Describe thread-measuring instruments such as bench micrometer, floating carriage micrometer, and pitch-measuring machine. - Discuss types and use of thread gauges for screw thread inspection. - Explain formulas for thread depth Practical Activity: Inspect a metric screw thread by using two-wire method in order to measure its effective diameter, pitch, diameter of the best-size wire and distance over the wires. Determine the effective diameter of the screw thread. | Total 7.0 Hrs. Theory: 1.0 Hrs. Practical: 6.0 Hrs. | - Thread gauge. - Plug screw gauges. - Ring screw gauges. - Working gauges. - Inspection gauges. - Master gauges. | Class Room and Workshop |
| - Measure gear dimensions with gear tooth caliper. | Trainee would be able to - Adjust the jaws of caliper into the tooth of gear work piece. - Measure the tooth thickness, cordials addendum and cordials thickness. - Compare the measured values with theoretical results. | - Describe measurement of tooth thickness. - Explain basic principles of measurement of gears. - Describe geometry of spur gears. - Explain techniques used for the measurement of spur gears. - Classify gear-measuring instruments/ testers. - Explain Gears, terminologies related to gears and its types. Practical Activity: Determine chordal height of a gear for which number of teeth, addendum circle diameter, and pressure angle data is given by using gear tooth caliper during measurement. | Total 7.0 Hrs. Theory: 1.0 Hrs. Practical: 6.0 Hrs. | - Gear tooth calliper. | Class Room and Workshop |
| - Measure gear dimensions with gear testing machine. | Trainee would be able to - Identify components of gear inspection machines and draw schematic. - Measure the dimensions of spur, bevel, helical with gear testing machine. | - Describe geometry of gears. - Composite method of gear inspection. - Classify gear-measuring instruments/ testers. - Explain Gears, terminologies related to gears and its types. Practical Activity: Use The Parkinson gear tester (i.e. a composite gear testing machine) to measure the composite errors, such as: errors due to run out, tooth-to-tooth spacing, and profile variations. | Total 6.0 Hrs. Theory: 0.0 Hrs. Practical: 6.0 Hrs. | - Gear Inspection machine. - Gear testing machine. - Parkinson Gear Tester. | Class Room and Workshop |

# List of Tools and Equipment:

(FOR A CLASS OF 25 STUDENTS)

| Sr. # | Description | Quantity |
| --- | --- | --- |
| 1 | Steel-toed footwear, | 25 Nos. |
| 2 | hard hat, | 25 Nos. |
| 3 | safety gloves, | 25 Sets |
| 4 | appropriate safety glasses, | 25 Nos. |
| 5 | high visibility vest, | 25 Nos. |
| 6 | hearing protection, | 25 Nos. |
| 7 | respirators, masks, | 25 Nos. |
| 8 | De-electric boots and gloves for protection from electrical shock. | 25 Nos. |
| 9 | First Aid Box (Include all necessary bandages and medicines) | 02 Sets |
| 10 | fire extinguishers, | 04 Nos. |
| 11 | fire blankets, | 04 Nos. |
| 12 | Sand Bucket with stand | 02 Sets |
| 13 | basic tools, such as grease gun, air pump etc | 10 Sets |
| 14 | Allen Key | 10 Sets |
| 15 | Work Bench (able to hold 06 bench wises) | 05 Nos. |
| 16 | Bench Wise | 30 Nos. |
| 17 | hammer, | 05 each size |
| 18 | screwdrivers, | 05 each size |
| 19 | pliers, | 05 each size |
| 20 | self-locking pliers, | 05 each size |
| 21 | adjustable wrench, | 05 each size |
| 22 | Assorted other wrenches, measuring tape(100m) | 05 each size |
| 23 | Basic supplies, such as grease, oil, window cleaner, rags, ice scraper, whisk broom. | 05 each |
| 24 | Color-code cards, utility documentation. Logbooks Service Manuals, OHS Regulation, | 10 sets |
| 25 | Fix Safe guards | 04 Nos |
| 26 | Moveable Safe guards | 04 N0s. |
| 27 | Solder | 04 N0s. |
| 28 | Wire stripper | 04 N0s. |
| 29 | Nose plier | 04 N0s. |
| 30 | Solder wire | 04 N0s. |
| 31 | Insulation remover | 04 N0s. |
| 32 | Flat File | 25 Nos. |
| 33 | Half round file | 10 Nos. |
| 34 | Round File | 10 Nos. |
| 35 | Mild Steel Sheet (4 x 8 ft) | 02 Nos |
| 36 | Mild Steel round work piece (Dia 30) | 10 ft |
| 37 | Mild Steel flat bar (W:50xL:100xT:20mm) | 25 Nos. |
| 38 | GI pipe 1”, 2” | 20 Feet each |
| 39 | Lathe machine (5 ft) | 02 Nos |
| 40 | Revolving center | 02 Nos |
| 41 | Dead center | 02 Nos |
| 42 | Draw bar | 02 Nos |
| 43 | Face plate | 02 Nos |
| 44 | Knurling Tool | 02 Nos |
| 45 | HSS Tool bit | 10 Nos |
| 46 | Pedestal Drill machine | 02 Nos |
| 47 | Hand Grinder | 02 Nos |
| 48 | Drill bits | 02 Set |
| 49 | Drill shank | 02 Set |
| 50 | Drill chuck | 02 Nos |
| 51 | Counter sink tool | 02 Nos |
| 52 | Counter bore tool | 02 Nos |
| 53 | Machine reamer set | 02 Set |
| 54 | Hand Reamer set | 02 Set |
| 55 | Universal Milling machine | 01 Nos. |
| 56 | Machine wise | 01 Nos. |
| 57 | Tail stock with dead center | 01 Set |
| 58 | Portable welding machine 3 Phase 300 Amps. | 02 Nos, |
| 59 | Welding table | 03 Nos, |
| 60 | Toggle | 02 Nos, |
| 61 | Leather gloves | 01 Nos, |
| 62 | Welding apron | 05 Nos, |
| 63 | Oxygen Cylinder with protector cap | 01 Nos, |
| 64 | Acetylene Cylinder with protector cap | 01 Nos. |
| 65 | Welding Torch | 01 Nos. |
| 66 | Welding Tip (Nozzle) | 01 Set |
| 67 | Pressure Regulators | 01 Nos. |
| 68 | Hose & Hose fittings | 30 ft. |
| 69 | Filler Rod | 01 Box |
| 70 | Flux Material | 500 gm. |
| 71 | Surface Table | 01 Nos. |
| 72 | Surface plate. | 02 Nos. |
| 73 | Steps and collars. | 02 Set |
| 74 | Folding rule | 02 Nos. |
| 75 | Combination set. | 02 Nos. |
| 76 | Scriber. | 02 Nos. |
| 77 | Tri square. | 02 Nos. |
| 78 | Divider. | 02 Nos. |
| 79 | Spirit level | 02 Nos. |
| 80 | Radius gauge | 02 Nos. |
| 81 | Filler gauge | 02 Nos. |
| 82 | Plug gauge | 02 Set |
| 83 | Ring gauge | 02 Set |
| 84 | Outside micrometer | 02 Nos. |
| 85 | Inside micrometer | 02 Nos. |
| 86 | Depth micrometer. | 02 Nos. |
| 87 | Bevel protractor. | 02 Nos. |
| 88 | Vernier Bevel protractor. | 02 Nos. |
| 89 | Dial protractor. | 02 Nos. |
| 90 | Sine bar. | 02 Nos. |
| 91 | Sine block | 02 Nos. |
| 92 | Sine plate. | 02 Nos. |
| 93 | Sine table. | 02 Nos. |
| 94 | Sine center. | 02 Nos. |
| 95 | Gear tooth caliper | 02 Nos. |
| 96 | Gear Inspection machine. | 01 Nos. |
| 97 | Gear testing machine. | 01 Nos. |
| 98 | Parkinson Gear Tester. | 01 Nos. |
| 99 | Multi meters | 02 Nos. |
| 100 | Resistors of different values | 04 Nos. (Each) |
| 101 | Small pieces of copper wire | 01 roll |
| 102 | Small pieces of copper wire | 01 roll |
| 103 | Breadboard. | 04 Nos. |
| 104 | Connecting wires | 02 Rolls |
| 105 | Incandescent lamp of different watts. | 04 Nos. |
| 106 | Voltmeter | 04 Nos. |
| 107 | Ampere meter | 04 Nos. |
| 108 | Multimeter | 04 Nos. |
| 109 | Combination plier | 04 Nos. |
| 110 | Phase tester | 04 Nos. |
| 111 | Energy meter | 04 Nos. |
| 112 | Thin coated copper wire. | 02 Rolls |
| 113 | Dry cell battery | 04 Nos. |
| 114 | Horse shoe magnet. | 04 Nos. |
| 115 | Transformer. | 02 Nos. |
| 116 | Compass needle. | 02 Nos. |
| 117 | Bar Magnet. | 04 Nos. |
| 118 | Galvanometer. | 02 Nos. |
| 119 | Capacitors, 4.7 μF | 04 Nos. |
| 120 | Capacitors, 10, 100 & 8.2 μF. | 04 Nos. (each) |
| 121 | Voltmeter. | 04 Nos. |
| 122 | D.C. power supply unit. | 02 Nos. |
| 123 | Bridging plugs. | 04 Nos. |
| 124 | Connecting leads. | 4 |
| 125 | Multimeter. (With option of Capacitance measurement) | 04 Nos. |
| 126 | D.C. power supply unit | 02 Nos. |
| 127 | Variable D.C powers supply 0-30 Voltas | 2 |
| 128 | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) | 02 Nos. (each) |
| 129 | D.C Analog or Preferably Digital voltmeter Range 0-50V. | 02 Nos. (each) |
| 130 | Digital Multimeter | 04 Nos. |
| 131 | Oscilloscope Diode | 04 Nos. |
| 132 | Wire cutter | 04 Nos. |
| 133 | Wire stripper | 04 Nos. |
| 134 | White chart paper | 100 Nos. |
| 135 | Graphics and drawing sheets | 200 Nos. |
| 136 | Pencil | 30 Nos. |
| 137 | Eraser | 30 Nos. |
| 138 | Sharpener | 30 Nos. |
| 139 | Tee | 25 Nos. |
| 140 | Drawing Board | 25 Nos. |
| 141 | Set Square | 25 Nos. |
| 142 | Geometry set | 25 Nos. |
| 143 | French Curve | 25 Nos. |
| 144 | Printer | 01 Nos. |
| 145 | Multimedia projector | 01 Nos. |
| 146 | Computer | 25 Nos. |
| 147 | CAD software (Multi user) | 1 |
| 148 | IDE Software (C Language) | 1 |
| 149 | Digital clock | 04 Nos. |
| 150 | 555 IC | 2 |
| 151 | Connecting leads. | 02 Rolls |
| 152 | Coil | 02 Rolls |
| 153 | Armature | 02 Nos. |
| 154 | Winding machine | 02 Nos. |
| 155 | Insolating paper | 02 Nos. |
| 156 | Carbon brushes | 04 Nos. |
| 157 | Soldering wire | 02 Rolls |
| 158 | Stator frame | 02 Nos. |
| 159 | Spring balance | 02 Nos. |
| 160 | Ohm meter | 02 Nos. |
| 161 | DC compound motor | 02 Nos. |
| 162 | Electro dynamo meter | 02 Nos. |
| 163 | AC series motor | 02 Nos. |
| 164 | Reluctance motor | 02 Nos. |
| 165 | Hysteresis motor | 02 Nos. |
| 166 | Stepper motor | 02 Nos. |
| 167 | Servo motor | 02 Nos. |
| 168 | Control circuit | 02 Nos. |
| 169 | Temperature sensors. | 02 Nos. |
| 170 | IDE Software (C++ Language) | 1 |
| 171 | Nuts | 02 Dozen (each size) |
| 172 | Bolts | 02 Dozen (each size) |
| 173 | Screws | 02 Dozen (each size) |
| 174 | Grippers | 02 Nos. |
| 175 | Conveyor belt | 02 Nos. |
| 176 | Sensor | 02 Nos. |
| 177 | Actuator | 02 Nos. |
| 178 | Jumpers | 02 Nos. |
| 179 | SD card | 02 Nos. |
| 180 | LED | 02 Nos. |
| 181 | Power Adaptor | 02 Nos. |
| 182 | HDMI cable | 02 Rolls |
| 183 | Humidity sensor | 02 Nos. |
| 184 | Calculator | 02 Nos. |
| 185 | calibration standards measuring devices | 01 Nos. |
| 186 | calibration angles measuring devices | 01 Nos. |
| 187 | OHS Standard Manual | 1 |
| 188 | Capacitive pressure sensor | 02 Nos. |
| 189 | Electromagnetic pressure sensor | 02 Nos. |
| 190 | Optical pressure sensor | 02 Nos. |
| 191 | Force balancing | 02 Nos. |
| 192 | Pressure sensor | 02 Nos. |
| 193 | Lm35 ic solid state temperature sensor | 02 Nos. |
| 194 | Negative temperature coefficient (ntc) thermistor | 02 Nos. |
| 195 | Resistance temperature detector (rtd) | 02 Nos. |
| 196 | Thermocouple | 02 Nos. |
| 197 | Semiconductor-based sensors | 02 Nos. |
| 198 | Retro-reflective sensors | 02 Nos. |
| 199 | Diffuse reflection sensors | 02 Nos. |
| 200 | Hydraulic bench | 02 Nos. |
| 201 | Control Valve | 02 Nos. |
| 202 | Centrifugal pump | 02 Nos. |
| 203 | Sump tank | 02 Nos. |
| 204 | Vertical pipe | 02 Nos. |
| 205 | Channel | 02 Nos. |
| 206 | Drain Valve | 02 Nos. |

# 6.	Members of the Curriculum Development Committee

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Taufiq Ahmed | Automation Engineer | Dewan Cement |
| 2 | Mr. Aurangzeb Ansari | UIT | Usman Institute of Technology |
| 3 | Mr. Usama Khan | Assistant Manager, Maintenance | PCI, Automotive Pvt. Ltd. |
| 4 | Mr. Baber Sayeed | Chief Instructor. | Pak Swiss Training Center, Karachi |
| 5 | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
| 6 | Mr. Mustafa Mohiuddin | Lecturer | Dawood University of Engg. & Tech. |
| 7 | Mr. Syed Farhan Hamid Ali | Sr. Instructor. | Pak Swiss Training Center, Karachi |
| 8 | Mr. Safwan | Automation Engineer | Dewan Cement |
| 9 | Mr. Yasir Arafat | Assistant Director | NAVTTC |
| 10 | Mr. Shaikh Asim Qamar | Certified DACUM Expert | iCAT Transmission |

# 7.	Members of the Curriculum Review & Validation Committee

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Shaikh Asim Qamar | Certified DACUM Expert | iCAT Transmission |
| 2 | Engr. Rizwan Iqbal | Assistant Professor | Dawood University of Engineering & Technology, Karachi |
| 3 | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
| 4 | Mr. Mustafa Mohiuddin | Lecturer | Dawood University of Engg. & Tech. |
| 5 | Sohail Gull | Assistant Professor | GCT Peshawar |
| 6 | Mr. Muhammad Yasir | Deputy Director | NAVTTC |

Learning hours in training provider premises,

Training workshop, laboratory and on-the-job workplace