National Vocational Certificate Level – 4 in

“Automation & Process Control”

Curriculum

Date of validation: 09/11/2020

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	1

1.1.	Purpose of the training program:	2

1.2.	Overall objectives of training program:	2

1.3.	Competencies to be gained after completion of course:	3

1.4.	Possible available job opportunities available immediately and later in the future	10

1.5.	Entry level of trainees:	10

1.6.	Minimum qualification of trainer/instructor:	11

1.7.	Recommended trainer: trainee ratio	11

1.8.	Medium of instruction i.e. language of instruction:	12

1.9.	Duration of the course (Total time, Theory & Practical time):	12

2.	Overview of the Curriculum for Automation & Process Control Technology:	14

A- Maintain Occupational Health and Safety	22

0714E&A1: Maintain Health and Safety	22

0714E&A2: Perform safety practices at workplace	33

0714E&A3: Develop professionalism.	41

B- Automation Workshop Practice	48

0714E&A4: Connect Tubing and Fittings	48

0714E&A5: Perform Basic Machining Operation.	53

0714E&A6: Perform Arc Welding.	57

C- Basic Electrical Wiring (Single Phase)	62

0714E&A7: Maintain Tools & Equipment.	62

0714E&A8: Make Cable/Wire Joints	64

0714E&A9: Prepare and Install Distribution Boards	67

0714E&A10: Carryout Basic Electrical Installation	69

0714E&A11: Install Simple Electrical Wiring	72

0714E&A12: Perform Testing of Electrical Wiring	77

0714E&A13: Repair/ Maintenance of Electrical Installations	82

0714E&A14: Carry Out Electrical Planning and Estimation	84

D- Basic Electrical Engineering	88

0714E&A31: Operate Measuring Instruments.	88

0714E&A32: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.	89

0714E&A33: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence	92

0714E&A35: Implement Electromagnet to See Various Effects & Verify Faradays Law	95

0714E&A36: Verify Series and Parallel Combination of Capacitors & Determine Break down Voltage of Capacitor	98

E-Engineering Drawing	100

0714E&A44: Perform Basic Manual Drawing.	100

0714E&A45: Construct different Engineering Curves	109

0714E&A46: Construct Multi-View Drawings.	120

0714E&A47: Perform CAD Software.	129

0714E&A48: Develop 2D using CAD software.	131

0714E&A49: Develop 3D drawing using CAD software.	133

0714E&A50: Identify Instrumentation Drawing	135

0714E&A51: Construct Instrumentation Drawing	141

0714E&A52: Construct Instrumentation Loop diagram or Loop sheet	145

G-Basic Electronics (Analog)	147

0714E&A37: Identify Basic Electronics Components	147

0714E&A38: Design Rectifier using Diode	149

0714E&A39: Carry out Diode Application	152

0714E&A40: Implement Bipolar Junction Transistor (BJT) in Different Applications	153

0714E&A41: Implement Field Effect Transistor (FET) in Different Applications	156

0714E&A42: Implement Thyristor Family in Various Application	160

0714E&A43: Application of Operational Amplifier	162

H- Metrology	165

0714E&A53: Take measurements with graduated tools	165

0714E&A54: Take measurements with combination set	168

0714E&A00: Perform Leveling.	171

0714E&A55: Take measurements with gauges	173

0714E&A56: Perform measurements through Micrometer	175

0714E&A57: Measure dimensions with Vernier tools	177

0714E&A58:  Measure angles with angle measuring Instruments.	179

0714E&A00: Measure Threads and Gears	181

J-Sensors & Actuators	183

0714E&A64: Interface of Sensor	183

0714E&A65: Interface of Actuator	188

K-Process Variable Measurements	190

0714E&A66: Calibrate Flow Instrument	190

0714E&A67: Calibrate Pressure Instrument	196

0714E&A68: Calibrate Level Instrument	199

0714E&A69: Calibrate Temperature Instrument	203

L-Digital Electronics	208

0714E&A70: Verify truth table using digital gates.	208

0714E&A71: Construct and verify combinational logic circuits.	212

0714E&A72: Construct and verify functions of flip flop.	217

0714E&A73: Use 555 Timer IC as Multivibrator	219

M- Industrial Electronics	221

0714E&A74: Implement diode and Thyristor in power control application.	221

0714E&A75: Construct single phase and Three phase Inverter	224

0714E&A76: Operate Digital Sensor Switches	226

0714E&A77: Control Speed of DC/AC Motors	228

N- Electrical instrumentation and Calibration	231

0714E&A78: Perform Test / Calibrate Flow Sensor	231

0714E&A79: Perform Test / Calibrate Level Sensor	235

0714E&A80: Perform Test / Calibrate Pressure Sensor	238

0714E&A81: Perform Test / Calibrate Temperature Sensor	241

O- Electrical Machines	245

0714E&A82: Verify Basic Laws of Electrical Machines	245

0714E&A83: Analyze DC Generator	250

0714E&A84: Analyze DC Motors	256

0714E&A85: Perform Tests On DC Motors	259

0714E&A86: Repair/ Maintenance and Service of Dc Motors and Dc Generators.	270

0714E&A87: Operate Single Phase Motors.	275

0714E&A88: Operate Special Purpose Motors	278

0714E&A89: Analyze Three Phase Motors	283

Q-Pneumatics & Hydraulics	298

0714E&A100: Install / service Compressed Air Generating Units	298

Objective: This Module covers the knowledge and skills required to install/operate and service compressed air generating units.	298

0714E&A101:  Install Pneumatic Circuit Elements.	300

0714E&A102:  Install / Service Hydraulic Power Pack	302

R-Programming	309

0714E&A103:  Programming- I	309

0714E&A104: Programming- II	311

0714E&A105: Programming- III	317

S-PLC Supervisor	326

0714E&A106:  Install PLC software and Simulator	326

0714E&A107: Interface PLC with system - I	331

0714E&A108: Program PLC using Ladder Logic	333

0714E&A109: Commissioning and Testing of PLC	336

0714E&A110: Install Relays and Switches in circuits	342

0714E&A111: Carry out Industrial Automation on PLC	345

0714E&A112:  Interface PLC with system-II	350

T-Industrial Instrumentation & Control	353

0714E&A113:  Install Transducers & Transmitters in Industrial Application	353

0714E&A114:  Install the Process regulators	357

0714E&A115:  Install the Variable Frequency Drive	360

0714E&A116:  Install Pneumatic & Hydraulic system in the Industry	361

0714E&A117:  Installation & Setup Procedure for Digital Pressure, Temperature, Level & Flow Controllers	364

U-Repair & Maintenance of Automation Equipment	369

0714E&A118:  Identify Fault in Automation/ Process Equipment Installation.	369

0714E&A119:  Perform Troubleshooting of equipment.	372

0714E&A120:  Perform Preventive Maintenance of Equipment.	373

V-Boiler Instrumentation	375

0714E&A121:  Operate Boiler Control system	375

0714E&A122:  Install the Boiler Control system	379

W-Application of Automation in daily life	383

0714E&A123:  Operate Product Counter	383

0714E&A124:  Operate ON / OFF / Delay Timers	385

0714E&A125:  Operate speed controller	387

0714E&A126:  Operate Level Detector	389

0714E&A127:  Operate Digital Weighing Scale	391

0714E&A128:  Operate Temperature Controller	393

0714E&A129:  Operate Pressure Controller	394

X-Building Automation System Supervisor	396

0714E&A130:  Designing of Building Automation System	396

0714E&A131:  Perform Security Automation	399

0714E&A132:  Perform Energy management and Monitoring	401

0714E&A133:  Perform HVAC inspection & Maintenance	404

0714E&A134:  Perform Elevator Maintenance	407

List of Tools and Equipment:	411

6.	Members of the Curriculum Development Committee	419

7.	Members of the Curriculum Review & Validation Committee	420

# 1. 	Introduction

This qualification introduces “Automation and Process Control” so that the student will have the competence to install and implement automated process control systems. This is done by presenting relevant topics from PLC, sensors, actuators, calibration of instruments and control systems, and computer vision. Python, Raspberry programming is an important part of the course is to ensure that the student acquires skills in kinematics and computer vision systems for automated process control by using computer vision and contact force sensors will be presented.

Students will gain hands on experience in automated process control system installation, calibration, repair & maintenance along with the some fabrication and machining work.

The National Skills Strategy (NSS) aims at achieving a paradigm shift from time-bound   and supply led to competency-based and demand driven training in Pakistan. Competency-based training approach focuses on the demonstration of actual skills required in the workplace/industry. To achieve this strategy, NAVTTC in collaboration with GIZ is involved in the development process of CBT program to ensure competent skilled labor in demand driven vocational trades.

National Vocational Qualification Framework (NVQF) as designed in consultation with the stakeholders including academia, researchers, industry, chambers and TEVTAs. Its aim is to identify knowledge & skills required for a qualification, determine equivalence, provide guidelines for Recognition of Prior Learning (RPL) and assure quality of training. NVQF designed for the Vertical and horizontal progression for learners, recognition of qualification, meeting with the national and international standards, facilitate conversion of informal training to formal training through RPL, improvement in quality of training and increased options for learners for selecting training programs in different trades. Competency Standards are performance specification that identify the knowledge and competencies an individual need to succeed in the workplace.

The National Competency Standards could be used as a referral document for the development of curriculum by training institutions.

## Purpose of the training program:

This qualification will help in the installation and calibration of automated process control systems. The candidate will be able to perform fundamental operations of automated process control functions, systems, understand the concepts of various process control systems, their functions and designs, grasp concepts of various process control systems and their integration with various digital system and there troubleshooting. This qualification will help candidate to assembling, synchronization and construct the automated process control system, identify and implement certain automation components, elaborate linkage between the components and their industrial workability & maintenance of various process equipment and devices.

This course enables the youth with greater employment opportunities and entrepreneurial skills.

  - Overall objectives of training program:

The overall objective of the Automation & Process Control program is to enable students to:

The Automation & Process Control technology qualification consists of level 2-5 theoretical and practical competences, which enabling trainee to learn operational techniques of Robotics technology.

The main objectives of the Automation & Process Control qualification are as follows:

- Maintain Occupational Health and Safety

- Automation Workshop Practice

- Basic Electrical Wiring (Single Phase)

- Basic Electrical Engineering

- Engineering Drawing

- Digital skills

- Basic Electronics (Analog)

- Metrology

- Manage IT Skills

- Sensors & Actuators

- Process Variable Measurements

- Digital Electronics

- Industrial Electronics

- Electrical instrumentation and Calibration

- Electrical Machines

- Manage Soft Skills

- Pneumatics & Hydraulics

- Programming

- PLC Supervisor

- Industrial Instrumentation & Control

- Repair & Maintenance of Automation Equipment

- Boiler Instrumentation

- Application of Automation in daily life

- Building Automation System Supervisor

- Develop Entrepreneur Skills

## Competencies to be gained after completion of course:

At the end of the course, the trainee has attained the following competencies:

National Qualification in Automation & Process Control level 2.

- Maintain Health and Safety

- Perform Safety Practices at Workplace

- Develop Professionalism.

- Connect Tubing and Fittings

- Perform Basic Machining Operations

- Perform Arc Welding

- Maintain Tools & Equipment.

- Make Cable/Wire Joints

- Prepare and Install Distribution Boards

- Carryout Basic Electrical Installation

- Install Simple Electrical Wiring

- Perform Testing of Electrical Wiring

- Repair/ Maintenance of Electrical Installations

- Carryout Estimation and Planning

- Operate Measuring Instruments.

- Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

- Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

- Implement Electromagnet to See Various Effects & Verify Faradays Laws.

- Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor.

- Perform Basic Manual Drawing

- Construct different Engineering Curves

- Construct multi-view drawings

- Install CAD Software

- Develop 2D CAD drawings

- Develop 3D CAD drawings

- Construct Instrumentation Drawing

- Construct Instrumentation loop diagram or loop sheet

National Qualification in Automation & Process Control level 3

- Install Computer Operating Systems and Hardware

- Operate Word-Processing Applications

- Operate Spreadsheet Applications

- Operate Presentation Packages

- Perform Writing and Editing Tasks

- Perform Computer Operations

- Use Computer Applications

- Create User Documentation

- Create Technical Documentation

- Create Basic Databases

- Operate Digital Media Technology

- Use Social Media Tools for Collaboration and Engagement

- E-Commerce

- Use Digital Devices

- Identify Basic Electronics Components

- Design a Rectifier using Diode

- Carry out Diode Application

- Implement Bipolar Junction Transistor (BJT) in Different Applications

- Implement Field Effect Transistor (FET) in Different Applications

- Implement Thyristor Family in Various Application

- Applications of Operation Amplifier

- Take measurements with graduated tools

- Take measurements with combination set

- Perform Levelling

- Take measurements with gauges

- Perform measurements through Micrometer

- Measure dimensions with Vernier tools

- Measure angles with angle measuring Instruments

- Measure Threads and Gears

National Qualification in Automation & Process Control level 4

- Operate Basic Computer Functions

- Perform Basic computer Application

- Develop computer application skills

- Develop advance computer application skills

- Explore computer application skills for careers

- Interface of Sensor

- Interface of Actuator

- Calibrate Flow instrument

- Calibrate Pressure Instrument

- Calibrate Level Instrument

- Calibrate Temperature Instrument

- Verify the Truth Tables for Logic Gates

- Construct & Verify the Logic Circuits

- Construct the Flip Flops

- Use 555 IC as a Multi-Vibrator

- Implement the Thyristors in Electronic Circuits

- Implement Single Phase and Three Phase Inverter

- Operate Digital Sensor Switches

- Control speed of DC/AC Motor

- Perform Test / Calibrate Flow Sensor

- Perform Test/Calibrate Level Sensor

- Perform Test / Calibrate Pressure Sensor

- Perform Test / Calibrate Temperature Sensor

- Verify Basic Laws of Electrical Machines

- Analyze Dc Generators

- Perform Tests on Dc Generators

- Analyze Dc Motors

- Perform Tests on Dc Motors

- Repair/ Maintenance and Service of Dc Motors and Dc Generators.

- Operate Single Phase Motors.

- Operate Special Purpose Motors

- Analyze Three Phase Motors

- Follow Basic Communication skills

- Perform Basic Communication

- Communicate at workplace

- Perform Advanced Communication

- Perform managerial Communication skills

National Qualification in Automation & Process Control level 5

- Install / Service Compressed Air Generating Units

- Install Pneumatic Circuit Elements

- Install / Service Hydraulic Power Pack

- Programming-I

- Programming-II

- Programming-III

- Install PLC software and Simulator

- Interface PLC with system-I

- Program PLC using Ladder Logic

- Commissioning and Testing of PLC

- Install Relays and Switches in circuits

- Carry out Industrial Automation on PLC

- Interface PLC with system-II

- Install Transducer & Transmitter in Industrial Application

- Install the process Regulators

- Install the Variable Frequency Drive ( VFD )

- Install Pneumatic & Hydraulic systems in industry

- Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers

- Identify Fault in Automation/ Process Equipment Installation

- Perform Troubleshooting

- Perform Preventive maintenance

- Operate a Boiler Control System

- Install the Boiler Control System

- Operate Product Counter

- Operate ON / OFF / Delay Timers

- Operate Speed Controller

- Operate Level Detector

- Operate Digital Weighing Scale

- Operate Temperature Controller

- Operate Pressure Controller

- Designing of Building Automation System

- Perform Security Automation

- Perform Energy management and Monitoring

- Perform HVAC inspection & Maintenance

- Perform Elevator Maintenance

- Investigate Microbusiness Opportunities

- Develop A Micro Business Proposal

- Develop A marketing Plan

- Develop And Review A Business Plan

- Organize Finances For The Micro Business

- Manage Human Resources

- Market Products And Services

- Monitor And Review Business Performance

- Negotiate For Resolving Business Issues

- Manage Personal Finances

- Coordinate A Work Team

- Lead Small Teams

## Possible available job opportunities available immediately and later in the future

Skilled personnel in the field of Automation & Process Control technology usually get hired in areas pertaining to the light, medium and heavy engineering sector. They can become:

- Maintenance Technician

- Industrial Automation Technician

- Process Control Technician

- Building Automation Technician

- Calibration Lab Technician

- Entrepreneur

- Instructor/trainer (Level 4)

- Associate Automation & Process Control Engineer

Some experienced personnel in the field of Automation & Process Control technology achieve a high level of salaries. There are good prospects for travel both within Pakistan and abroad. The employment outlook in this occupation will be influenced by a wide variety of factors including:

- Trends and events affecting overall employment (especially in the manufacturing industry)

- Location in Pakistan

- Employment turnover (work opportunities generated by people leaving existing positions)

- Occupational growth (work opportunities resulting from the creation of new positions that never existed before)

- Size of the industry

- Flexibility of the applicant (concerning location and schedule of work)

## Entry level of trainees:

The entry for National Vocational Certificate level 2-5, in “Automation & Process Contorol” are given below:

| Title | Entry requirements |
| --- | --- |
| National Vocational Certificate level 2, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Secondary level (8 grade) and or National Vocational Certificate level 1. |
| National Vocational Certificate level 3, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Secondary level (8 grade) and or National Vocational Certificate level 2. |
| National Vocational Certificate level 4, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Matriculation (Science) and or National Vocational Certificate level 3. |
| National Vocational Certificate level 5, in Automation & Process Control Technology | Entry for assessment for this qualification is open. However, entry into formal training institutes, based on this qualification is candidate having Matriculation (Science) and or National Vocational Certificate level 4. |

## Minimum qualification of trainer/instructor:

    - Must be a holder of Bachelor of Technology in Electronics/Electrical/Mechanical/Instrumentation or Automation & Process Control (With three years of experience) or Bachelor of Engineering in Electronics/Electrical/Mechanical/Instrumentation or Automation & Process Control (with one years of experience).

    - Must be able to communicate effectively both orally and in written form.

    - Must be able to perform all competences, given in Automation & Process Control Technology Level 5.

## Recommended trainer: trainee ratio

The recommended maximum trainer: trainee ratio for this program is 1 trainer for 20 to 25 trainees.

## Medium of instruction i.e. language of instruction:

Instructions will be in Urdu/ English/ Local language.

## Duration of the course (Total time, Theory & Practical time):

This curriculum comprises 24 modules. The recommended delivery time is 4070 hours. Delivery of the course could therefore be full time, 5or 6 days a week, for 3 years. Training providers are at liberty to develop other models of delivery, including part-time and evening delivery.

The distribution of contact hours is given below:

Total		-	3600 hours.

Theory	-	955 hours (26.5%)

Practical	-	2645 hours (73.5%)

Description and structure of the course

Following is the structure of the course:

|  | Level 4 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Credit |
|  |  |  |  | Th | Pr | Total | Hours |
|  | Operate Basic Computer Functions | Level 4 | Functional | 5 | 15 | 20 | 2 |
|  | Develop computer application skills | Level 4 | Functional | 5 | 15 | 20 | 2 |
|  | Opearte Excel/spreadsheet package | Level 4 | Functional | 5 | 15 | 20 | 2 |
|  | Perform MS office Editing skills | Level 4 | Functional | 4 | 12 | 16 | 1.6 |
|  | Interface of Sensor | Level 4 | Technical | 9 | 18 | 27 | 2.7 |
|  | Interface of Actuator | Level 4 | Technical | 9 | 18 | 27 | 2.7 |
|  | Calibrate Flow instrument | Level 4 | Technical | 9 | 27 | 36 | 3.6 |
|  | Calibrate Pressure Instrument | Level 4 | Technical | 9 | 27 | 36 | 3.6 |
|  | Calibrate Level Instrument | Level 4 | Technical | 9 | 27 | 36 | 3.6 |
|  | Calibrate Temperature Instrument | Level 4 | Technical | 9 | 27 | 36 | 3.6 |
|  | Verify the Truth Tables for Logic Gates | Level 4 | Technical | 14 | 21 | 35 | 3.5 |
|  | Construct & Verify the Logic Circuits | Level 4 | Technical | 8 | 24 | 32 | 3.2 |
|  | Construct the Flip Flops | Level 4 | Technical | 9 | 21 | 30 | 3 |
|  | Use 555 iC as a Multi-Vibrator | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
|  | Implement the Thyristors in Electronic Circuits | Level 4 | Technical | 10 | 15 | 25 | 2.5 |
|  | Implement Single Phase and Three Phase Inverter | Level 4 | Technical | 9 | 18 | 27 | 2.7 |
|  | Operate Digital Sensor Switches | Level 4 | Technical | 10 | 15 | 25 | 2.5 |
|  | Control speed of DC/AC Motor | Level 4 | Technical | 10 | 15 | 25 | 2.5 |
|  | Perform Test / Calibrate Flow Sensor | Level 4 | Technical | 6 | 24 | 30 | 3 |
|  | Perform Test/Calibrate Level Sensor | Level 4 | Technical | 6 | 18 | 24 | 2.4 |
|  | Perform Test / Calibrate Pressure Sensor | Level 4 | Technical | 6 | 24 | 30 | 3 |
|  | Perform Test / Calibrate Temperature Sensor | Level 4 | Technical | 6 | 24 | 30 | 3 |
|  | Verify Basic Laws of Electrical Machines | Level 4 | Technical | 12 | 36 | 48 | 4.8 |
|  | Analyze DC Generators | Level 4 | Generic | 12 | 36 | 48 | 4.8 |
|  | Perform Tests On Dc Generators | Level 4 | Generic | 6 | 24 | 30 | 3 |
|  | Analyze Dc Motors | Level 4 | Generic | 6 | 18 | 24 | 2.4 |
|  | Perform Tests On Dc Motors | Level 4 | Generic | 10 | 30 | 40 | 4 |
|  | Repair/ Maintenance and Service of Dc Motors and Dc Generators. | Level 4 | Generic | 4 | 24 | 28 | 2.8 |
|  | Operate Single Phase Motors. | Level 4 | Technical | 6 | 18 | 24 | 2.4 |
|  | Operate Special Purpose Motors | Level 4 | Technical | 8 | 24 | 32 | 3.2 |
|  | Analyze Three Phase Motors | Level 4 | Technical | 30 | 45 | 75 | 7.5 |
|  | Maintain professionalism in the workplace | Level 4 | Generic | 20 | 21 | 41 | 4.1 |
|  | Work safely in an office environment | Level 4 | Generic | 20 | 21 | 41 | 4.1 |
|  | Identify and communicate trends in career development | Level 4 | Generic | 20 | 21 | 41 | 4.1 |
|  | Manage personal work priorities and professional development | Level 4 | Generic | 20 | 21 | 41 | 4.1 |
|  | Undertake a Project work | Level 5 | Generic | 50 | 24 | 74 | 7.4 |
|  |  |  |  | 400 | 801 | 1201 | 120.1 |

# 2.	Overview of the Curriculum for Automation & Process Control Technology:

| Module Title and Aim | Learning Units | Theory Days/hours | Workplace Days/hours | Timeframe of Modules |
| --- | --- | --- | --- | --- |
| Module A: Maintain Occupational Health and Safety Aim: The aim of this module is to develop knowledge, skills and understanding to establish and maintain the occupational health and safety system. | LU-1: Maintain Health and Safety LU-2: Perform Safety Practices at Workplace LU-3: Develop Professionalism. | 20 | 70 | 90 |
| Module B: Automation Workshop Practice Aim: The aim of this module is to develop knowledge, skills and understanding to carryout Automation Workshop Practice. | LU-1: Connect Tubing and Fittings LU-2: Perform Basic Machining Operations LU-3: Perform Arc Welding. | 15 | 60 | 75 |
| Module C: Basic Electrical Wiring (Single Phase) Aim: The aim of this module is to develop knowledge, skills and understanding to carryout electrical wiring (Single Phase). | LU-1: Maintain Tools & Equipment. LU-2: Make Cable/Wire Joints LU-3: Prepare and Install Distribution Boards LU-4: Carryout Basic Electrical Installation LU-5: Install Simple Electrical Wiring LU-6: Perform Testing of Electrical Wiring LU-7: Repair/ Maintenance of Electrical Installations LU-8: Carryout Electrical planning and Installation | 30 | 120 | 150 |
| Module D: Basic Electrical Engineering Aim: The aim of this module is to develop knowledge, skills and understanding to Measure and understand the various electrical measuring equipment. | LU1: Operate Measuring Instruments. LU2: Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits. LU3: Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence LU4: Implement Electromagnet to See Various Effects & Verify Faradays Laws. LU5: Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor. | 25 | 95 | 120 |
| Module E: Engineering Drawing Aim: The aim of this module is to develop knowledge, skills and understanding to perform manual drawing & CAD software operations. | LU-1: Perform Basic Manual Drawing LU-2: Construct different Engineering Curves LU-3: Construct multi-view drawings LU-4: Install CAD Software LU-5: Develop 2D CAD drawings LU-6: Develop 3D CAD drawings LU-7: Construct Instrumentation Drawing LU-8: Construct Instrumentation loop diagram or loop sheet | 35 | 130 | 165 |
| Module F: Digital Skills Aim: The aim of this module is to develop knowledge, skills and understanding to operate computer, use digital devices and computer applications. | LU-1: Install Computer Operating Systems and Hardware LU-2: Operate Word-Processing Applications LU-3: Operate Spreadsheet Applications LU-4: Operate Presentation Packages LU-5: Perform Writing And Editing Tasks LU-6: Perform Computer Operations LU-7: Use Computer Applications LU-8: Create User Documentation LU-9: Create Technical Documentation LU-10: Create Basic Databases LU-11: Operate Digital Media Technology LU-12: Use Social Media Tools For Collaboration And Engagement LU-13: E-Commerce LU-14: Use Digital Devices | 60 | 235 | 295 |
| Module G: Basic Electronics (Analog) Aim: The aim of this module is to develop knowledge, skills and understanding to identify electronic components & Thyrister family application. | LU1: Identify Basic Electronics Components LU2: Design a Rectifier using Diode LU3: Carry out Diode Application LU4: Implement Bipolar Junction Transistor (BJT) in Different Applications LU5: Implement Field Effect Transistor (FET) in Different Applications LU6: Implement Thyristor Family in Various Application LU7: Applications of Operation Amplifier | 35 | 125 | 160 |
| Module H: Metrology Aim: The aim of this module is to develop knowledge, skills and understanding to perform measurements through different measuring tools. | LU-1: Take measurements with graduated tools LU-2: Take measurements with combination set LU-3: Perform Levelling LU-4: Take measurements through various gauges LU-5: Perform measurements through Micrometer LU-6: Measure dimensions with Vernier tools LU-7: Measure angles with angle measuring Instruments LU-8: Measure Threads and Gears | 30 | 115 | 145 |
| Module I: Manage IT Skills Aim: The aim of this module is to develop knowledge, skills and understanding to manage IT Skills. | LU-1: Operate Basic Computer Functions LU-2: Perform Basic computer Application LU-3: Develop computer application skills LU-4: Develop advance computer application skills LU-5: Explore computer application skills for careers | 25 | 90 | 115 |
| Module J: Sensors & Actuators Aim: The aim of this module is to develop knowledge, skills and understanding to perform interfacing with Sensors & Actuators. | LU-1: Interface of Sensor LU-2: Interface of Actuator | 15 | 50 | 65 |
| Module K: Process Variable Measurements Aim: The aim of this module is to develop knowledge, skills and understanding to perform process variables measurements. | LU-1: Calibrate Flow instrument LU-2: Calibrate Pressure Instrument LU-3: Calibrate Level Instrument LU-4: Calibrate Temperature Instrument | 30 | 120 | 150 |
| Module L: Digital Electronics Aim: The aim of this module is to develop knowledge, skills and understanding to construct logic circuits, function of flip flops and design operation of amplifier. | LU-1: Verify truth tables of digital gates LU-2: Construct & Verify Combinational logic circuit LU-3: Construct and Verify function of Flip Flops LU-4: Use 555 IC as Multi vibrator | 30 | 120 | 150 |
| Module M: Industrial Electronics Aim: The aim of this module is to develop knowledge, skills and understanding to carryout industrial electronic devices. | LU-1: Implement Thyristor in power control application. LU-2: Implement single phase and Three phase Inverter LU-3: Operate Digital Sensor Switches LU-4: Control speed of DC/AC Motor | 35 | 130 | 165 |
| Module N: Electrical instrumentation and Calibration Aim: The aim of this module is to develop knowledge, skills and understanding to carryout calibration of Electrical process control instrumentation. | LU-1: Perform Test / Calibrate Flow Sensor LU-2: Perform Test/Calibrate Level Sensor LU-3: Perform Test / Calibrate Pressure Sensor LU-4: Perform Test / Calibrate Temperature Sensor | 35 | 120 | 155 |
| Module O: Electrical Machines Aim: The aim of this module is to develop knowledge, skills and understanding to perform test and analyze on DC generators & operate and test of stepper & servo motors. | LU-1: Verify Basic Laws of Electrical Machines LU-2: Analyze Dc Generators LU-3: Perform Tests On Dc Generators LU-4: Analyze Dc Motors LU-5: Perform Tests On Dc Motors LU-6: Repair/ Maintenance and Service of Dc Motors and Dc Generators. LU-7: Operate Single Phase Motors. LU-8: Operate Special Purpose Motors LU-9: Analyze Three Phase Motors | 50 | 200 | 250 |
| Module P: Soft Skills Aim: The aim of this module is to develop knowledge, skills and understanding to manage work planning and development of soft skills. | LU-1: Develop Workplace Policy and Procedures for Sustainability LU-2: Maintain Professionalism in the Workplace LU-3: Manage Personal Work Priorities and Professional Development LU-4: Manage Workforce Planning LU-5: Undertake Project Work LU-6: Prepare and Implement Negotiation LU-7: Manage Meetings LU-8: Organize Schedules LU-9: Identify and Communicate Trends in Career Development LU-10: Apply Specialist Interpersonal and Counseling Interview Skills | 30 | 120 | 150 |
| Module Q: Pneumatics & Hydraulics Aim: The aim of this module is to develop knowledge, skills and understanding to Install / Service of pneumatic & hydraulic units | LU-1: Install / Service Compressed Air Generating Units LU-2: Install Pneumatic Circuit Elements LU-3: Install / Service Hydraulic Power Pack | 20 | 40 | 60 |
| Module R: Programming Aim: The aim of this module is to develop knowledge, skills and understanding to carryout programming. | LU-1: Programming-I LU-2: Programming-II LU-3: Programming-III | 40 | 65 | 105 |
| Module S: PLC Supervisor Aim: The aim of this module is to develop knowledge, skills and understanding to manage PLC system. | LU-1: Install PLC software and Simulator LU-2: Interface PLC with system-I LU-3: Program PLC using Ladder Logic LU-4: Commissioning and Testing of PLC LU-5: Install Relays and Switches in circuits LU-6: Carry out Industrial Automation on PLC LU-7: Interface PLC with system-II | 100 | 180 | 280 |
| Module T: Industrial Instrumentation & Control Aim: The aim of this module is to develop knowledge, skills and understanding to perform to install and setup of various Industrial Instrumentation. | LU-1: Install Transducer & Transmitter in Industrial Application LU-2: Install the process Regulators LU-3: Install the Variable Frequency Drive ( VFD ) LU-4: Install Pneumatic & Hydraulic systems in industry LU-5: Installation and setup procedure for Digital Pressure, Temperature, Level and Flow Controllers | 45 | 75 | 120 |
| Module U: Repair & Maintenance of Automation Equipment Aim: The aim of this module is to develop knowledge; skills and understanding to carryout Repair & Maintenance of Automation Equipment. | LU-1: Identify Fault in Automation/ Process Equipment Installation LU-2: Perform Troubleshooting LU-3: Perform Preventive maintenance | 30 | 50 | 80 |
| Module V: Boiler Instrumentation Aim: The aim of this module is to develop knowledge, skills and understanding to Operate and Install a Boiler Control System. | LU-1: Operate a Boiler Control System LU-2: Install the Boiler Control System | 30 | 50 | 80 |
| Module W: Application of Automation in daily life Aim: The aim of this module is to develop knowledge, skills and understanding Application of Automation in daily life. | LU-1: Operate Product Counter LU-2: Operate ON / OFF / Delay Timers LU-3: Operate Speed Controller LU-4: Operate Level Detector LU-5: Operate Digital Weighing Scale LU-6: Operate Temperature Controller LU-7: Operate Pressure Controller | 40 | 60 | 100 |
| Module X: Building Automation System Supervisor Aim: The aim of this module is to develop knowledge, skills and understanding to carryout Building Automation System. | LU-1: Designing of Building Automation System LU-2: Perform Security Automation LU-3: Perform Energy management and Monitoring LU-4: Perform HVAC inspection & Maintenance LU-5: Perform Elevator Maintenance | 50 | 75 | 125 |
| Module Y: Develop Entrepreneur Skills Aim: The aim of this module is to develop knowledge, skills and understanding to perform entrepreneur ship. | LU-1: Investigate Microbusiness Opportunities LU-2: Develop A Micro Business Proposal LU-3: Develop A marketing Plan LU-4: Develop And Review A Business Plan LU-5: Organize Finances For The Micro Business LU-6: Manage Human Resources LU-7: Market Products And Services LU-8: Monitor And Review Business Performance LU-9: Negotiate For Resolving Business Issues LU-10: Manage Personal Finances LU-11: Coordinate A Work Team LU-12: Lead Small Teams | 100 | 150 | 250 |
| TOTAL |  | 955 | 2645 | 3600 |

## Digital Skills

### Operate Basics Computer Functions

Objective: This module covers the knowledge, skills and attitudes and values needed to perform basic computer operations which include inputting, accessing, producing and transferring data using the appropriate hardware and software.

Duration: 20 Hours							Theory: 05 Hours				Practice: 15 Hours

| Learning Unit | Learning Outcomes |  | Learning Elements |  |  | Duration | Materials Required |  |  | Learning Place |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Plan and prepare for task to be undertaken |  | Trainee will be able to: - Requirements of task are determined as per standard - operating procedures - Appropriate hardware and software is selected according to task assigned and required outcome - Task is planned to ensure |  | - Main types of computers and basic features of different operating systems - Main Parts of computer - Calculating computer capacity Practical activity - Select the appropriate hardware & software as per the requirement of task. | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Input data into computer |  | Trainee will be able to: - Data are entered into the computer using appropriate program/application in accordance with company procedures - Accuracy of information is checked and information is saved in accordance with standard operating procedures - Inputted data are stored in storage media according to requirements - Work is performed within ergonomic guidelines |  | - Storage devices and basic categories of memory - Basic ergonomics of computer use Practical activity - Select storage devices to store input data | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Access information using computer |  | Trainee will be able to: - Correct program/application is selected based on job requirements - Program/application containing the information required is accessed according to company procedures - Desktop icons are correctly selected, opened and closed for navigation purposes - Keyboard techniques are carried out in line with OH & S requirements for safe use of keyboards |  | - Relevant types of software - OH & S principles and responsibilities - Basic ergonomics of keyboard use Practical activity - Operate the computer and its different application | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Produce/output data using computer system |  | Trainee will be able to: - Entered data are processed using appropriate software commands - Data are printed out as required using computer hardware/peripheral devices in accordance with standard operating procedures - Files and data are transferred between compatible systems using computer software, hardware/ peripheral devices in accordance with standard operating procedures |  | - Relevant types of software Practical activity - Develop a required documents in MS word and take out print. | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |
| - Maintain computer equipment and systems |  | Trainee will be able to: - Systems for cleaning, minor maintenance and replacement of consumables are implemented - Procedures for ensuring security of data, including regular back-ups and virus checks are implemented in accordance with standard operating procedures - Basic file maintenance procedures are implemented in line with the standard operating procedures |  | - General security - Viruses Practical activity - Create a proper backup of computer data and install anti-virus software | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs |  |  | Desktop Computer/Laptop | Computer Lab Class room |  |

### Develop Computer Application skills

Objective: This module describes the performance outcomes, skills and knowledge required to identify, select and operate three commercial software packages, including a word-processing, a spreadsheet and presentation application package.

Duration: 20 Hours							Theory: 05 Hours				Practice: 15 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Use appropriate OHS office work practices | Trainee will be able to: - Use safe work practices to ensure ergonomic, work organization, energy and resource conservation requirements are addressed - Use wrist rests and document holders where appropriate - Use monitor anti-glare and radiation reduction screens where appropriate | - OHS principles and responsibilities for ergonomics, such as work periods and breaks Practical activity - Identify potential hazards in computer lab and use appropriate actions to mitigate them* | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Install and remove software | Trainee will be able to: - Select software to be installed - Follow installation instructions - Delete unrequired software | - Application software packages used by the organization - Basic knowledge of system usage - Basic knowledge of install and remove software - Import and export software functions Practical activity - Identify the required software, install and uninstall these software from the computer. | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Use appropriate word-processing software | Trainee will be able to: - Select word-processing software appropriate to perform activity - Identify document purpose, audience and presentation requirements, and clarify with personnel as required - Identify organizational requirements for text-based business documents and design document structure and layout to ensure consistency of style and image - Match document requirements with software functions to provide efficient production of documents - Use technical functions, other data and formatting to finalize documents - Ensure the naming and storing of documents in appropriate directories or folders and the printing of documents to the required specifications | - Current business practices related to Practical activity - using software to prepare reports - Functions and uses of word processing | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Use appropriate spreadsheet software | Trainee will be able to: - Select spreadsheet software appropriate to perform activity - Identify document purpose, audience and presentation requirements, and clarify with personnel as required - Enter simple formulas and functions using cell referencing where required - Customize spreadsheet settings and format documents to meet requirements - Ensure the naming and storing of documents in appropriate directories or folders and the printing of documents to the required specifications | - Functions and uses of Spreadsheet Practical activity - Prepare a spreadsheet using different functions and formulas. | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Use appropriate presentation software | Trainee will be able to: - Select software application package appropriate to perform activity - Identify purpose, audience and presentation requirements, and clarify with personnel as required - Use technical functions, other data and formatting to finalize documents - Ensure documents are named and stored in appropriate directories or folders and printed to required specifications - Make a presentation | - Functions and uses of presentation software Practical activity - Prepare a presentation using Microsoft power point application. | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Operate Excel/Spreadsheet Package

Objective: This module describes the skills and knowledge required to operate Spreadsheet and perform basic operations, including creating and formatting spreadsheet, creating tables, incorporating chart and object in it, and printing labels.

Duration: 20 Hours							Theory: 05 Hours				Practice: 15 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Create spreadsheets | Trainee will be able to: - Open the spreadsheet application, create spreadsheet files and enter numbers, text and symbols into cells according to information requirements - Enter simple formulas and functions using cell referencing when required - Correct formulas when error messages occur - Use a range of common tools during spreadsheet development - Edit columns and rows within the spreadsheet - Use the auto-fill function to increment data where required - Save the spreadsheet to a folder on a storage device | Practical activity - basic technical terminology related to reading help files and prompts - purpose, use and function of spreadsheet applications - create, edit and save spread sheet | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Customize basic settings | - Adjust page layout to meet user requirements or special needs - Open and view different toolbars - Change font settings so they are appropriate for the document purpose - Change alignment options and line spacing according to spreadsheet formatting features - Format cell to display different styles as required - Modify margin sizes to suit the purpose of the spreadsheets - View multiple spreadsheets concurrently | Practical activity - Formatting spread sheet | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Format spreadsheet | Trainee will be able to: - Use formatting features as required - Copy selected formatting features from another cell in the spreadsheet or from another active spreadsheet - Use formatting tools as required within the spreadsheet - Align information in a selected cell as required - Insert headers and footers using formatting features - Save spreadsheet as another file type - Save to storage device and close spreadsheet | Practical activity - effect of formatting and appearance on the readability and usability of spreadsheets | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Incorporate object and chart in spreadsheet | - Import an object into an active spreadsheet - Manipulate imported object by using formatting features - Create a chart using selected data in the spreadsheet - Display selected data in a different chart - Modify chart using formatting features | Practical activity - Inserting and editing object in spread sheet - Inserting and modifying chart in spreadsheet | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Print spreadsheet | - Preview spreadsheet in print preview mode - Select basic printer options - Print spreadsheet or selected part of spreadsheet - Submit the spreadsheet to appropriate person for approval or feedback | Practical activity - Preview and Print spread sheet | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

### Perform MS office editing skills

Objective: This module describes the skills and knowledge required to apply the conventions of plain English to writing and editing tasks of different forms. It also includes editing and proofreading techniques. It applies to individuals in various writing contexts who write and edit texts using appropriate language, style, grammar, spelling, and standard conventions for editing and proofreading.

Duration: 16 Hours							Theory: 04 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply clear and appropriate language and style to writing and editing tasks | Trainee will be able to: - Use safe work practices including addressing ergonomic requirements when undertaking writing tasks - Use clear, concise and plain English in writing and editing tasks - Apply appropriate paragraph structure to written material to ensure clarity of meaning and ease of reading - Make clear and logical connections between sentences, paragraphs and sections - Determine and incorporate the language and style of the audience | Practical activity - Main features of clear, concise and plain English language for written material | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Apply the appropriate voice, tone and tense | Trainee will be able to: - Determine appropriate voice, tone and tense of the written materials according to audience requirements - Maintain consistent voice, tone and tense throughout written material | Practical activity - Appropriate use of tenses required in written material | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Apply appropriate grammar, spelling and punctuation | Trainee will be able to: - Apply appropriate grammar conventions to a range of written contexts including use of numbers, quotations, and tables - Apply appropriate spelling and punctuation conventions in writing and editing tasks. | Practical activity - Grammar, punctuation and spelling conventions that meet the task requirements | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |
| - Perform editing and proofreading tasks to meet requirements | Trainee will be able to: - Edit written material to ensure clear meaning through language and paragraphs, consistent voice, tone and tense - Copyedit written material by checking grammar, spelling and punctuation using standard editing conventions - Proofreading using style guides and by monitoring written material for errors | Practical activity - Editing conventions used in substantive editing and copyediting of written material - Basic software used to write and collect feedback | Theory-01 Hrs Practice-03 Hrs Total- 04 Hrs | Desktop Computer/Laptop | Computer Lab Class room |

## Module: Maintain professionalism in the workplace

Objective: After the completion of this competency standard, the Trainee will be able to maintain a professional image in the
workplace, including behaving ethically, demonstrating motivation, respecting timeframes and maintaining personal appearance.

Duration:  4.1 Hours			Theory:  20 Hours			Practice:  21 Hours          	        Credit Hours:  4.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Respect work timeframes | Trainee will be able to: - Demonstrate punctuality in meeting, set working hours and times. - Utilize working hours only for working and follow company regulations. - Complete work tasks within deadlines according to order of priority - Supervisors are informed of any potential delays in work times or projects | - Explain application of good manners and right conduct - Outline the company code of conduct/values | Theory- 5 Hrs Practical- 06 Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Maintain personal appearance and hygiene | Trainee will be able to: - Clean hair, body and nails regularly. - Wear suitable cloths for the workplace, and respect local and cultural contexts - Meet specific company dress code requirements | - Describe common products used for oral and personal hygiene | Theory- 5 Hrs Practical- 06 Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain adequate distance with colleagues and clients | Trainee will be able to: - Respect personal space of colleagues and clients with reference to local customs and cultural contexts. - Keep sufficient distance from others - Avoid cross transmission of infections (especially through respiration) | - State workplace hygiene standards - Explain basic practices for oral and personal hygiene | Theory- 5 Hrs Practical- 06 Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Mulmediaprojector | Class Room |
| LU4. Work in an ethical manner | Trainee will be able to: - Follow company values/ethics codes of ethics and/or conduct, policies and guidelines. - Use company resources in accordance with company ethical standards. - Conduct personal behavior and relationships in accord with ethical standards and company policies. - Undertake work practices in compliance with company ethical standards, organizational policy and guidelines. - Instruct co-workers on ethical, lawful and reasonable directives. - Share company values /practices with co-workers using appropriate behavior and language. - Report work incidents /situations and/or resolved in accordance with company protocol /guidelines. | - Outline the Company regulations, performance and ethical standards - Explain work responsibilities/job functions - Describe communication skills | Theory- 5 Hrs Practical- 03Hrs Total- 8 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Work safely in an office environment

Objective: After the completion of this competency standard, the Trainee will be able to participate in workplace occupational health and safety (OHS) processes to protect workers own health and safety, and that of others.

Duration:  41 Hours			Theory:  20 Hours			Practice:  21 Hours          	        Credit Hours:  4.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Work safely | Trainee will be able to: - Follow established safety procedures when conducting work - Carry out pre-start systems and equipment checks in accordance with workplace procedures | - Explain responsibilities of employers and employees under relevant health and safety regulation | Theory- 5 Hrs Practical- 06Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Implement workplace safety requirement | Trainee will be able to: - Identify designated persons for reporting queries and concerns about safety in the workplace - Identify existing and potential hazards in the workplace, report them to designated persons and record them in accordance with workplace procedures - Identify and implement workplace procedures and work instructions for controlling risks - Report emergency incidents and injuries to designated persons | - Report of potential hazards at the workplace to designated persons and record at workplace - Workplace procedures and work instructions for controlling risks | Theory- 5 Hrs Practical- 06Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector - Safety signs - Safety procedures - Variety of forms, formats used within the organization | Class Room |
| LU3. Participate in OHS consultative processes | Trainee will be able to: - Contribute to workplace meetings, inspections or other consultative activities - Raise OHS issues with designated persons in accordance with organizational procedures - Take actions to eliminate workplace hazards or to reduce risks | - Describe emergency procedures including procedures for fires, accidents and evacuation | Theory- 5 Hrs Practical- 06Hrs Total- 11 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Follow safety procedures | Trainee will be able to: - Identify and report emergency incidents - Follow organizational procedures for responding to emergency incidents | - Outline commonly used hazard signs and safety symbols | Theory- 5 Hrs Practical- 03Hrs Total- 08 Hrs | - Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector - Safety signs - Safety procedures - Variety of forms, formats used within the organization | Class Room |

## Module: Identify and communicate trends in career development

Objective: After the completion of this competency standard, the Trainee will be able to conduct research to identify and communicate career trends. It establishes the need to interact professionally with others in assessing career needs, to effectively assist clients identify competencies they require for a career and employability in a given context. It also examines how to maintain quality of career development services and professional practice. It applies to individuals seeking to identify and communicate trends in career development.

Duration:  41 Hours			Theory:  20 Hours			Practice:  21 Hours          	        Credit Hours:  4.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Research and confirm career trends | Trainee will be able to: - Apply knowledge of changing organizational structures, lifespan of careers and methods of conducting work search, recruitment and selection processes - Analyze changing worker and employer issues, rights and responsibilities in context of changing work practices - Examine importance of quality careers development services - Maintain all research, documentation, sources and references (electronic or physical) to a high degree of currency and relevance - Analyze implications of relevant policy, legislation, professional codes of practice and national standards relating to worker and employer issues - Research changes and trends in theory of career development counseling and practice - Confirm clusters, levels and combinations of transferable employability skills and preferences that may open employment options spanning more than one occupation or career pathway | - Explain client care and counseling techniques and processes in the context of career development services - Describe diversity and its potential effects on career choices - Outline relevant policy, legislation, codes of practice and standards relevant to career development - Explain recruitment and selection processes in the context of career development services | Theory- 7 Hrs Practical- 09Hrs Total- 16 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Assess and confirm ongoing career development needs of target group | Trainee will be able to: - Analyze history and records in assessing needs of target group - Assess success of previous career development services and techniques used for individual or target group - Deploy other means to investigate appropriate care and counseling approaches as required - Maintain privacy, security of all data, research, personal records according to relevant policy, legislation, professional codes of practice & national standards - Establish existing work-life balance requirements, issues and needs | - Outline human psychological development and needs in relation to careers development | Theory- 7 Hrs Practical- 09Hrs Total- 16 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Maintain quality of career development services and professional practice | Trainee will be able to: - Analyze and review relevance of career theories, models, frameworks and research for target group - Incorporate into career development services and professional practice, major changes and trends influencing workplace and career-related options and choices - Comply with all relevant policy, legislation, professional codes of practice that influence delivery of career development services | - Describe a range of data gathering and research techniques - Explain techniques used to analyze trends. | Theory- 06 Hrs Practical- 03Hrs Total- 09 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Manage personal work priorities and professional development

Objective: After the completion of this competency standard, the Trainee will be able to create systems and process to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. The work ethic of individuals in this role has a significant impact on the work culture and patterns of behavior of others as managers at this level are role models in their work environment.

Duration:  47 Hours			Theory:  20 Hours			Practice:  21 Hours          	        Credit Hours:  4.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Establish personal work goals | Trainee will be able to: - Serve as a positive role model in the workplace through personal work planning - Ensure personal work goals, plans and activities reflect the organization s plans, and own responsibilities and accountabilities - Measure and maintain personal performance in varying work conditions, work contexts and when contingencies occur | Explain principles and techniques involved in the management and organization of: performance measurement personal behavior, self-awareness and personality traits identification a personal development plan personal goal setting time Discuss management development opportunities and options for self Outline organization s policies, plans and procedures | Theory- 7 Hrs Practical- 09Hrs Total- 16 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Set and meet own work priorities | Trainee will be able to: - Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives - Use technology efficiently and effectively to manage work priorities and commitments - Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to | Describe methods for achieving a healthy work-life balance | Theory- 7 Hrs Practical- 09Hrs Total- 16 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Develop and maintain professional competence | Trainee will be able to: - Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans - Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence - Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence - Participate in networks to enhance personal knowledge, skills and work relationships - Identify and develop new skills to achieve and maintain a competitive edge | Explain types of learning style/s and how they relate to the individual Describe types of work methods and practices that can improve personal performance. | Theory- 06 Hrs Practical- 03Hrs Total- 09 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

## Module: Undertake a Project work

Objective: After the completion of this competency standard, the Trainee will be able to undertake a straightforward project or
a section of a larger project. It covers developing a project plan, administering and monitoring the project, finalizing the project and reviewing the project to identify lessons learned for application to future projects. This unit applies to individuals who play a significant role in ensuring a project meets timelines, quality standards, budgetary limits and other requirements set for the project.

Duration:  74 Hours			Theory:  50 Hours			Practice:  24 Hours          	        Credit Hours:  7.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Define project | Trainee will be able to: - Access project scope and other relevant documentation - Define project stakeholders - Seek clarification from delegating authority of issues related to project and project parameters - Identify limits of own responsibility and reporting requirements - Clarify relationship of project to other projects and to the organization’s objectives - Determine and access available resources to undertake project | Give examples of project management tools and how they contribute to a project Explain the organization’s procedures and processes that are relevant to managing a project including: lines of authority and approvals quality assurance human resources budgets and finance recordkeeping reporting | Theory- 12 Hrs Practical-06 Hrs Total- 18 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU2. Develop project plan | Trainee will be able to: - Develop project plan in line with the project parameters - Identify and access appropriate project management tools - Formulate risk management plan for project, including Work Health and Safety (WHS) - Develop and approve project budget - Consult team members and take their views into account in planning the project - Finalize project plan and gain necessary approvals to commence project according to documented plan | - Outline types of documents and other sources of information commonly used in defining the parameters of a project | Theory- 12 Hrs Practical-06 Hrs Total- 18 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU3. Administer and monitor project | Trainee will be able to: - Take action to ensure project team members are clear about their responsibilities and the project requirements - Provide support for project team members, especially with regard to specific needs, to ensure that the quality of the expected outcomes of the project and document time lines are met - Establish and maintain required recordkeeping systems throughout the project - Implement and monitor plans for managing project finances, resources and quality - Complete and forward project reports as required to stakeholders - Undertake risk management as required to ensure project outcomes are met - Achieve project deliverables | - Outline the organization’s mission, goals, objectives and operations and how the project relates to them | Theory- 12 Hrs Practical-06 Hrs Total- 18 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |
| LU4. Finalize project | Trainee will be able to: - Complete financial recordkeeping associated with project and check for accuracy - Ensure transition of staff involved in project to new roles or reassignment to previous roles - Complete project documentation and obtain necessary sign-offs for concluding project | - Explain processes for identifying and managing risk in a project | Theory- 14 Hrs Practical-06 Hrs Total- 20 Hrs | Internet MS Office Smartphone Laptop / Computer Smartphone Printer White board Projector screen Multimedia projector | Class Room |

# J-Sensors & Actuators

## 0714E&A64: Interface of Sensor

Objective This modules covers the knowledge and skills  required to standard interfacing techniques of sensors to the system

Duration: 27 Hours				Theory: 09 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Identify type of sensor & its characteristic | Trainee will be able to: - Check the physical status of the sensor. - Match the supply type and output range of Sensor with the characteristics / impedance of point of connection. - Connect to the supply. - Connect the output of sensor to the system input. - Check the output of Sensor. | - Describe Safety Protocol at Work Station - Describe temperature, pressure, flow, level sensors working principles and types. - Demonstrate standard operating procedure - Demonstrate installation procedure Practical Activity: Identify and select type of sensor as per requirement of system. Connect the sensor to the system. Operate and check. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Temperature/Pressure/Flow/Level Sensors & Transducers - Multimmeter - Signal generator - Screw driver set - Electronic Work Bench - Oscilliscope - Allen key set - Logic Probe - Multimeter - Screw Driver Set - Watch Maker Screw driver set - Multimedia Projector - Desktop Compuetr - Computer Table with Chair - White Board with Markers - Stationary - Cotton Gloves - Safety Glasses - Safety Shoes | Class Room and Workshop |
| LU2: Arrange calibration standards and calibrator | Trainee will be able to: - Interpret job card. - Identify tools and equipment. - Prepare the list of tools and equipment as per requirement. - Collect tools and equipment from store | - Describe Safety Protocol at work station - Demonstrate calibrator for temperature - Demonstrate calibrator for pressure - Demonstrate calibrator for flow - Demonstrate calibrator for level Practical Activity Prepare calibrator for calibration of K- type thermocouple and verify the reading at different temperatures | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Temperature/pressure/flow/level sensors - Temperature/pressure/flow/level/flow transducers - Signal generator - Screw driver set - Electronic Work Bench - Oscilliscope - Allen key set - Logic Probe - Multimeter - Connecting Wire - Wire Cutter - Wire Stripper - Calibrator for Pressure - Calibrator for Temperature - Calibrator for Flow - Calibrator for level - Cotton Hand Gloves - Safety Glasses - Lugs and lugs punch - Multimedia Projector - Desktop Computer - Computer Table & Chair | Class Room and Workshop |
| LU3: Calibrate sensor | Trainee will be able to: - Connect the sensor to the calibrator. - Perform calibration steps. - Perform adjustment if necessary - Prepare calibration report. | - Describe calibration procedure for temperature/pressure. - Describe calibration procedure for level/flow. Practical Activity: Attach sensor to a calibrator, take readings in ascending directions and compare with standard value. Prepare a calibration report. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Temperature/pressure/flow/level sensors - Temperature/pressure/flow/level/flow transducers - Signal generator - Screw driver set - Electronic Work Bench - Oscilliscope - Allen key set - Logic Probe - Multimeter - Connecting Wire - Wire Cutter - Wire Stripper - Calibrator for Pressure - Calibrator for Temperature - Calibrator for Flow - Calibrator for level - Cotton Hand Gloves - Safety Glasses - Lugs and lugs punch - Multimedia Projector - Desktop Computer - Computer Table & Chair | Class Room and Workshop |

## 0714E&A65: Interface of Actuator

Objective This modules covers the knowledge and skills  required to interfacing techniques of Actuator to a system

Duration: 27 Hours				Theory: 09 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Interfacing Electrical / Electronic Actuators | Trainee will be able to: - Analyze the type of Actuator to be installed. - Select the appropriate type of Actuator - Install the desired Actuator type as per the installation instructions. - Perform a test run on the Actuator installed - Generate the installation Report | - Describe Safety Protocol at Work Station - Describe Electrical/Electronic actuator - Demonstrate standard operating procedure of actuator - Demonstrate installation procedure of actuator Practical Activity: Mount the Proximity sensor at end position of Electrical actuator. Operate the actuator and check the output of sensor. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Electrical Actuator - Air Compressor - Connecting Tube - Connecting Signal & power cable - Spanner Set - Screw Driver Set - Allen Key Set - Screw driver set - Multimeter - Oscilloscope - Signal Generator - Electronic Work Bench - Multimeter - Electrical Valve - Multimedia Projector - Desktop Computer - Computer Table & Chair | Class Room and Workshop |
| LU2: Interfacing Pneumatic Actuators | Trainee will be able to: - Analyze the type actuator to be installed. - Select the appropriate type of Actuator. - Install the desired Actuator type as per the installation instructions. - Perform a test run on the Actuator installed. - Generate the installation Report. | - Describe Safety Protocol at Work Station - Describe Pneumatic actuator - Demonstrate standard operating procedure of actuator - Demonstrate installation procedure of actuator Practical Activity: Mount the Proximity sensor at end position of Pneumatic actuator. Operate the actuator and check the output of sensor. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Pneumatic Actuator - Pneumatic DCV - Air Compressor - Multimeter - Screw driver set - Spanner Set - Allen key Set - Electronic Work Bench - Multimeter - Class Room Furniture - Stationary - White Board with Marker - Multimedia projector - Desktop Computer - Computer Table with chair - Cotton Hand Gloves - Safety Shoes - Safety Glasses | Class Room and Workshop |
| LU3: .Interfacing Hydraulic Actuators | Trainee will be able to: - Analyze the type of Actuator to be installed. - Select the appropriate type of Actuator . - Install the desired Actuator type as per the installation instructions. - Perform a test run on the Actuator installed. - Generate the installation Report. | - Describe Hydraulic actuator - Demonstrate standard operating procedure of actuator - Demonstrate installation procedure of actuator Practical Activity: Mount the Proximity sensor at end position of Hydraulic actuator. Operate the actuator and check the output of sensor. | Total- 09Hrs Theory- 03Hrs Practical- 06Hrs | - Hydraulic Actuator - Hydraulic DCV - Hydraulic Power Pack - Hydraulic Hose set - Screw driver set - Electronic Work Bench - Work Bench with Vice - Allen key set - Multimeter - Spanner set - Hydraulic Valve - Hydraulic power pack - Class Room Furniture - Stationary - White Board with Marker - Multimedia projector - Desktop Computer - Computer Table with chair - Cotton Hand Gloves - Safety Shoes - Safety Glasses | Class Room and Workshop |

# L-Digital Electronics

## 0714E&A70: Verify truth table using digital gates.

Objective: This module covers the skills and knowledge required to Verify the truth table of AND gate, Verify the truth table of OR gate, Verify the truth table of NOT gate, Verify the truth table of NAND gate, Verify the truth table of NOR gate, Verify the truth table of XOR gate and Verify the truth table of XNOR gate Verify the truth table of AND gate, OR gate, NOT gate, NAND gate, NOR gate, XOR gate and XNOR gate.

Duration:  35 Hours					Theory: 14 Hours						Practical: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Verify the truth table of AND gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (AND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain all types of gates. - Define truth table. - Define ICs. Practical Activity: Perform Verification of truth table of AND gate and verify by using LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room Training Workshop. Lab/ Field Visit. |
| - Verify the truth table of OR gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (OR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain all types of gates. - Define truth table. - Define LEDs. Practical Activity: Perform Verification of truth table of OR gate and verify by using LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |
| - Verify the truth table of NOT gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (NOT gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain logic gate ICs. Practical Activity: Perform to make NOT gate and verify by using LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |
| - Verify the truth table of NAND gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (NAND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain logic gate ICs. - Explain NAND Gate. Practical Activity: Construct and Prove NAND gate with the help of IC and LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |
| - Verify the truth table of NOR gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (NOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain logic gate ICs. - Explain NOR Gate. Practical Activity: Construct and Prove NOR gate with the help of IC and LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |
| - Verify the truth table of XOR gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain logic gate ICs. - Explain XOR Gate. Practical Activity: Construct and Prove XOR gate with the help of IC and LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |
| - Verify the truth table of XNOR gate | Trainee will be able to: - Identify the symbol of logic gate, IC & logic function. - Place (NOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Explain logic gate ICs. - Explain NOR gate. Practical Activity: Construct and Prove XNOR gate with the help of IC and LED. | Total: 05Hrs Theory: 02Hrs Practical:03Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |

## 0714E&A71: Construct and verify combinational logic circuits.

Objective: This competency standard covers the skills and knowledge required to Apply Karnaugh mapping & Boolean algebra to simplify logic expressions, Construct & verify the truth table of Half adder, Construct & verify the truth table of Full adder, Construct & verify the truth table of Half Subtraction,   Operate seven segment display with seven segment decoder, Construct & verify the truth table of Full Subtraction, Verify Encoder, Verify Encoder and Verify multiplexer and DE- multiplexer Construct & verify the truth table of Half adder, full adder and Half Subtraction.

Duration:  36 Hours					Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Apply Karnaugh mapping & Boolean algebra to simplify logic expressions | - Identify the SOP & POS - Apply Boolean algebra & Karnaugh mapping to simplify SOP & POS. - Construct logic circuits with simplified SOP & POS. | - Explain Karnaugh mapping & Boolean algebra to simplify logic expressions - Explain seven segment display with seven segment decoder - Explain truth table and logic circuit.. Practical Activity: Perform to Apply Karnaugh mapping & Boolean algebra to simplify logic expressions. | Theory- 01 Hrs Practical- 3Hrs Total- 04 Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Tool set - Bread board - Wire 0.5 mm |  | Class Room and workshop |
| - Construct & verify the truth table of Half adder | - Place (AND gate IC) & (XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input - Design, Construct, and test a half-adder circuit using one XOR gate and two NAND gates. | - Operate seven segment display with seven segment decoder - Define Adder circuits. Practical Activity: Construct an Inverting amplifier Construct a logic gates with the help of IC and LED. | Theory- 01 Hrs Practical- 3Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Construct & verify the truth table of Full adder | - Place (AND gate IC) & (XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input - Design, Construct, and test a full-adder circuit using two ICS, &7486 and &7400. | - Operate seven segment display with seven segment decoder Practical Activity Construct an adder circuits. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Construct & verify the truth table of Half Subtraction | - Place (AND, NOT&XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input | - Explain Karnaugh mapping & Boolean algebra to simplify logic expressions - Operate seven segment display with seven segment decoder - Define Adder circuits. Practical Activity Construct and verify the truth table of half subtraction. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Construct & verify the truth table of Full Subtraction | - Place (AND, NOT&XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input. | - Explain Karnaugh mapping & Boolean algebra to simplify logic expressions Practical Activity Construct and verify the truth table of full subtraction. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Verify Decoder | - Place (Decoder IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input. | - Explain Karnaugh mapping & Boolean algebra to simplify logic expressions - Demonstrate seven segment display with seven segment decoder Practical Activity Construct a decoder with the help of IC and LED. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Operate seven segment displays with seven segment decoder. | - Insert (7 segment decoder IC) and 7 segment display on bread board. - Identify the input, output, Vcc and ground pin. - Connect segment display with seven segment decoder input output pins. - Record & verify the output result against each given input. | - Explain Karnaugh mapping & Boolean algebra to simplify logic expressions - Operate seven segment display with seven segment decoder Practical Activity Construct a decoder with the help of IC and LED. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Verify Encoder | - Place (Encoder IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input. | - Explain Karnaugh mapping & Boolean algebra to simplify logic expressions - Operate seven segment display with seven segment decoders Practical Activity Construct and verify encoder circuits. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Class Room and workshop |
| - Verify multiplexer and DE- multiplexer | - Implement following function with multiplexer F(ABC)=∑ (0,2,3,4,5,6): - Implement 4-to-1 mux and one 2-to-1 mux. - Implement 1-to-4 dmux using 1-to-2 dmux. | - Explain DMUX. - Explain MUX. Practical Activity Construct DMUX circuit and verify. | Theory- 01 Hrs Practical- 03Hrs Total- 04 Hrs | - gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate |  | Classroom and workshop |

## 0714E&A72: Construct and verify functions of flip flop.

Objective: This module covers the skills and knowledge required to Demonstrate  work ethics, Aware of factors affecting personal health, Resolve problems or disagreements with others, Participate in professional development, Work with others, Work independently, Speak and listen effectively, Interpret documentation, Communicate with signals and Communicate with electronic equipment

Duration:  30 Hours					Theory: 08 Hours						Practical: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Construct and verify the truth table of RS latch | - Place (NAND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - Explain the truth table of RS latch using NAND gate - Explain the truth table of clocked RS latch using NAND gate - Explain the truth table of RS latch using NAND gate, clocked RS latch using NAND gate, D flips flop and JK flip flop. Practical Activity. Construct the truth table of clocked RS latch using NAND gate | Theory- 02 Hrs Practical- 06Hrs Total- 08 Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock |  | Classroom and workshop |
| - Construct and verify the truth table of clocked RS latch using NAND gat | - Place (NAND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - Explain the truth table of RS latch using NAND gate - Explain the truth table of clocked RS latch using NAND gate - Explain the truth table of RS latch using NAND gate, clocked RS latch using NAND gate, D flips flop and JK flip flop. Practical Activity. Construct the truth table of RS latch using NAND gate, clocked RS latch using NAND gate, D flips flop and JK flip flop. | Theory- 02 Hrs Practical- 06Hrs Total- 08 Hrs Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock |  | Class Room and workshop |
| - Verify function of D flip flop. | - Insert (D flip flop) IC on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs\ Scope to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - Explain the function of D flip flop. - Explain the functions of oscilloscope. Practical Activity. Construct the D flip flop and Verify the truth tables. | Theory- 02 Hrs Practical- 06Hrs Total- 08 Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock |  | Class Room and workshop |
| - Verify function of JK/T flip flop | - Insert 74112 (JK flip flop) IC on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs\ Scope to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - Explain the function of JK flip flop. - Explain all types of flip flop. Practical Activity. Construct the JK flip flop and Verify the truth tables. | Theory- 02 Hrs Practical- 06Hrs Total- 08 Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock |  | Class Room and workshop |

## 0714E&A73: Use 555 Timer IC as Multivibrator

Objective: This module covers the skills and knowledge required to Construct 555 IC as Actable Multivibrator, Construct 555 IC as Mono-stable Multivibrator, and Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction. Construct 555 IC as Actable, nonstable & beatable Multivibrator and observe their outputs.

Duration:  27 Hours					Theory: 09 Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- |
| - LU1. Construct Astable Multivibrator using 555 IC | - Draw circuit diagram for Actable Multivibrator - Place 555 IC on bread board/trainer - Make connection as per diagram. - Apply voltage to circuit. - Recode the output signal wave shape from oscilloscope. | - Explain all types of multivibrators. - Explain the operations of 555 IC. Practical Activity Construct 555 IC as Astable Multivibrator | Theory- 03Hrs Practical- 06Hrs Total- 09Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock - 555 IC |  | Class Room and workshop |
| - LU2. Construct Mono-stable Multivibrator using 555 IC | - Draw circuit diagram for Mono-stable Multivibrator - Place 555 IC on bread board/trainer. - Make connection as per diagram. - Apply voltage to circuit and give triggering pulse at input pin. - Recode the output signal wave shape from oscilloscope. | - Explain all types of multivibrators. - Explain the operations of 555 IC. - Explain the waveform of oscilloscope. Practical Activity Construct 555 IC as Mono-stable Multivibrator | Theory- 03Hrs Practical- 06Hrs Total- 09Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock - 555 IC |  | Class Room and workshop |
| - LU3. Construct Bi-stable Multivibrator using 555 IC and verify its set and reset conduction | - Draw circuit diagram for Bi-stable Multivibrator - Place 555 IC on bread board/trainer. - Make connection as per diagram. - Apply voltage to circuit and give triggering pulse at input pin. - Recode the output signal wave shape from oscilloscope. | - Explain all types of multivibrators. - Explain the operations of 555 IC. - Explain the waveform of oscilloscope. Practical Activity Construct Bi-stable Multivibrator using 555 IC and verify its set and reset conduction | Theory- 03Hrs Practical- 06Hrs Total- 09Hrs | - AND gate - OR gate - NAND gate - XOR gate - NOR gate - NOT gate - Digital clock - 555 IC |  | Class Room and workshop |

# M- Industrial Electronics

## 0714E&A74: Implement the Thyristor in Electronic circuits.

Objective: This module covers the skills and knowledge required to Build forward bias circuit of diode and observe its behaviour, Build reverse bias circuit of diode and observe its behaviour, Use SCR to build Phase control rectifier, Build force commutated circuit for SCR and Build full wave converter and observe natural commutation.

Duration: 25 Hours				Theory: 10 Hours						Practical: 15 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Build forward bias circuit of diode and observe its behavior. | Trainee will be able to: - Draw forward bias circuit diagram of diode. - Make connection as per diagram. - Connect volt meter parallel to diode and ampere meter in series - Turn on the supply and take readings of ampere meter as well as voltmeter. - Note the behavior of diode | - Define reverse biasing - Define Reverse breakdown voltage - Define junction potential - Explain how to identify forward and reverse bias of a diode. PRACTICAL ACTIVITY: Connect a 1N4001 diode (forward bias) in series with 5k potentiometer to a variable power supply (0 to 6V). Vary voltage from 0 to 5V. Record I & V. plot a V / I graph. | Theory- 02Hrs Practical- 03Hrs Total- 05Hrs | - Power diode - Resistor of 1 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Centre tapped transformer - Bread Board - Oscilloscope - SCR - Resistor of 10 K & 100 K ohms - Inductor 2mH | Class room/ Demonstration room/ workshop/ Computer lab |
| - Build reverse bias circuit of diode and observe its behavior. | Trainee will be able to: - Draw reverse bias circuit diagram of diode. - Make connection as per diagram. - Connect volt meter parallel to diode and ampere meter in series - Turn on the supply and take readings of ampere meter as well as voltmeter. - Note the behavior of diode. | - Define forward and reverse voltage. - Explain how diode works in forward and reverse bias. - Explain forward bias condition. - Define forward biasing - Describe forward biased pn junction. PRACTICAL ACTIVITY: - Connect volt meter parallel to diode and ampere meter in series | Theory- 02Hrs Practical- 03Hrs Total- 05Hrs | - Power diode - Resistor of 1 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Centre tapped transformer - Bread Board - Oscilloscope - SCR - Resistor of 10 K & 100 K ohms - Inductor 2mH | Class room/ Demonstration room/ workshop/ Computer lab |
| - Use SCR to build Phase control rectifier | - Trainee will be able to: - Draw circuit diagram of phase control rectifier. - Make connection as per diagram. - Switch on the power supply. - Vary the value of potentiometer to set the trigger level for the SCR - Recode the output signal wave shape from oscilloscope. | - Define SCR - Describe the operation of SCR - Define phase control rectifier - Define triggering of SCR - Describe the use of SCR PRACTICAL ACTIVITY: - Draw circuit diagram of phase control rectifier. | Theory- 02Hrs Practical- 03Hrs Total- 05Hrs | - Power diode - Resistor of 1 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Centre tapped transformer - Bread Board - Oscilloscope - SCR - Resistor of 10 K & 100 K ohms - Inductor 2mH | Class room/ Demonstration room/ workshop/ Computer lab |
| - Build force commutated circuit for SCR | Trainee will be able to: - Draw circuit diagram of force commutated circuit for SCR. - Make connection as per diagram. - Switch on the power supply and apply triggering pulse at the gate of SCR. - Connect oscilloscope across the load resistor and record the output wave shape | - Define turn on time of SCR. - Explain forced commutation in SCR. - Define line or natural commutation of an SCR. - Define commutation and its types PRACTICAL ACTIVITY: Connect oscilloscope across the load resistor and record the output wave shape | Theory- 02Hrs Practical- 03Hrs Total- 05Hrs | - Power diode - Resistor of 1 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Centre tapped transformer - Bread Board - Oscilloscope - SCR - Resistor of 10 K & 100 K ohms - Inductor 2mH | Class room/ Demonstration room/ workshop/ Computer lab |
| - Build full wave converter and observe natural commutation. | Trainee will be able to: - Draw circuit diagram of full wave converter. - Make connection as per diagram. - Switch on the power supply and apply triggering pulse at the gate of SCR - Connect oscilloscope across the load resistor and record the output wave shape the output wave shape | - Define natural commutation. - Explain natural or line commutation. - Describe self-commutation thyristor. - Explain the difference between natural commutation and forced commutation. PRACTICAL ACTIVITY: - Apply triggering pulse at the gate of SCR | Theory- 02Hrs Practical- 03Hrs Total- 05Hrs | - Power diode - Resistor of 1 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Centre tapped transformer - Bread Board - Oscilloscope - SCR - Resistor of 10 K & 100 K ohms - Inductor 2mH | Class room/ Demonstration room/ workshop/ Computer lab |

## 0714E&A75: Construct single phase and Three phase Inverter

Objective: This module covers the skills and knowledge required to Construct single phase half bridge inverter and observe its output, construct single phase full bridge inverter and observe its output and Construct three phase bridge inverter and observe its output Construct single phase half bridge inverter, single phase full bridge, three phase bridge inverter and observe their outputs

Duration: 27 Hours		                          		Theory: 09 Hours					Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct single phase half bridge inverter and observe its output | Trainee will be able to: - Draw circuit diagram of single-phase half bridge inverter. - Make connection as per diagram. - Apply triggering pulses to circuit with the help of signal generator. - Connect oscilloscope across the load resistor and record the output wave shape | - Define Inverter - Describe different types of inverter - Define half bridge inverter - Describe the working principle of inverter. - Explain the difference between DC inverter and inverter. PRACTICAL ACTIVITY Draw circuit diagram of single-phase half bridge inverter. | Theory- 03Hrs Practical- 06Hrs Total- 09Hrs | - Power MOSFET IRF 840 - Power Diode 1N4007 - DC Source 12V - Resistor 10K - Function Generator - IC 7404 - Controller IC - Oscilloscope - Connecting leads | Class room/ Demonstration room/ workshop/ Computer lab |
| - Construct single phase full bridge inverter and observe its output | Trainee will be able to: - Draw circuit diagram of single-phase full bridge inverter. - Make connection as per diagram. - Apply triggering pulses to circuit with the help of signal generator. - Connect oscilloscope across the load resistor and record the output wave shape | - Describe single-phase inverter. - Define single phase full bridge inverter. - Explain the difference between half bridge and full bridge inverter? PRACTICAL ACTIVITY Draw circuit diagram of single-phase full bridge inverter. | Theory- 03Hrs Practical- 06Hrs Total- 09Hrs | - Power MOSFET IRF 840 - Power Diode 1N4007 - DC Source 12V - Resistor 10K - Function Generator - IC 7404 - Controller IC - Oscilloscope - Connecting leads | Class room/ Demonstration room/ workshop/ Computer lab |
| - Construct three phase bridge inverter and observe its output | Trainee will be able to: - Draw circuit diagram of three-phase bridge inverter. - Make connection as per diagram. - Apply output of controller IC to the gates of MOSFET’s for triggering pulses. - Connect oscilloscope across the load resistor and record the output wave shape | - Define 3 phase bridge inverter - Describe the use of function generator. - Define use of controller IC - Describe the principle of operation of an inverter. - Define 3-phase inverter work. PRACTICAL ACTIVITY Draw circuit diagram of three-phase bridge inverter. | Theory- 03Hrs Practical- 06Hrs Total- 09Hrs | - Power MOSFET IRF 840 - Power Diode 1N4007 - DC Source 12V - Resistor 10K - Function Generator - IC 7404 - Controller IC - Oscilloscope - Connecting leads | Class room/ Demonstration room/ workshop/ Computer lab |

## 0714E&A76: Operate Digital Sensor Switches

Objective: This module covers the skills and knowledge required to operate the digitals sensors. Many types of sensors, detectors, and transducers are available including those for detecting a physical presence such as flame, metals, leaks, levels, or gas and chemicals, among others. Some are designed to sense physical properties such as temperature, pressure or radiation, while others can detect motion or proximity. Many applications over a wide range of industries use sensors, detectors, and transducers of many kinds to test, measure, and control various processes and machine functions.

Duration: 25 Hours				Theory: 10 Hours						Practical: 15 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required |  | Learning Place |
| --- | --- | --- | --- | --- | --- | --- |
| - Electronic Temperature Switch | Trainee will be able to: - Identify the pins of the unit. - Make connection to the temperature sensor as per diagram. - Power up the Electronic Temperature switch. - Adjust the parameters. Set the desired temperature ranges (higher and lower values). - Test the output of the switch (On and Off Condition) | - Define Sensors and Transducer - Define Digital and Analog Sensor - Define Working Principle and Construction of Electronic Temperature Switch PRACTICAL ACTIVITY Demonstrate to operate electronic temperature switch. | Theory- 02Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - DC Power supply - AC supply - Power Electronics Trainer Kit - Temperature switch - Plier - Tester - Screwdriver set - Spanner set - PPEs | Classroom/ Demonstration room/ workshop/ field visit |  |
| - Pressure Switch | Trainee will be able to: - Identify the pins of the unit. - Make connection to the pressure sensor as per diagram. - Supply the pressure switch. - Adjust the parameters. Set the desired minimum and maximum working pressures - Test the output of the switch (On and Off Condition) | - Define Sensors and Transducer - Define Digital and Analog Sensor - Define Working Principle and Construction of Pressure Switch PRACTICAL ACTIVITY Demonstrate to operate pressure switch. | Theory- 02Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - DC Power supply - AC supply - Power Electronics Trainer Kit - Pressure switch - Plier - Tester - Screw driver set - Spanner set - PPEs | Classroom/ Demonstration room/ workshop/ field visit |  |
| - Proximity Switch | Trainee will be able to: - Identify the type of proximity switch. - Identify the pins of the unit - Make connection to the controller and supply the switch. - Place the switch with the prescribed dimensions of diameter and length - Test the output of the switch (On and Off Condition) | - Define Sensors and Transducer - Define Digital and Analog Sensor - Define Working Principle and Construction of Proximity Switch PRACTICAL ACTIVITY Demonstrate to operate proximity switch. | Theory- 02Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - DC Power supply - AC supply - Power Electronics Trainer Kit - Proximity switch - Plier - Tester - Screw driver set - Spanner set - PPEs | Class room/ Demonstration room/ workshop/ field visit |  |
| - Limit Switch | Trainee will be able to: - Identify the pins of the unit - Make connection to the controller and supply the switch. - Set the distance or angle that the actuator must go through to trip the contacts - Test the output of the switch (On and Off Condition). | - Define Sensors and Transducer - Define Digital and Analog Sensor - Define Working Principle and Construction of Limit Switch PRACTICAL ACTIVITY Demonstrate to operate limit switch. | Theory- 02Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - DC Power supply - AC supply - Power Electronics Trainer Kit - Limit switch - Plier - Tester - Screw driver set - Spanner set - PPEs | Class room/ Demonstration room/ workshop/ field visit |  |
| - Overload Relay | Trainee will be able to: - Identify the Capacity of relay to be installed - Make connections of the contacts to the load. - Test the operation of relay with the help of test button to ensure safety properly | - Define Sensors and Transducer - Define Digital and Analog Sensor - Define Working Principle and Construction of Overload Relay PRACTICAL ACTIVITY Demonstrate to set overload relay. | Theory- 02Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - DC Power supply - AC supply - Power Electronics Trainer Kit - Overload relay - Plier - Tester - Screw driver set - Spanner set - PPEs | Class room/ Demonstration room/ workshop/ field visit |  |

## 0714E&A77: Control Speed of DC/AC Motors

Objective: This module covers the skills and knowledge required to control speed of DC/AC motor

Duration: 25 Hours				Theory: 10 Hours						Practical: 15 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required |  | Learning Place |
| --- | --- | --- | --- | --- | --- | --- |
| - LU1. Implement armature control method to control the speed of DC motor with 3 phase control bridge rectifier. | Trainee will be able to: - Draw circuit diagram of armature control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor. | - Define DC motor - Describe parts of DC motor - Explain the methods to control the speed of DC motor. - Define single phase cycle-converter. - Define three phase cycle-converter PRACTICAL ACTIVITY Draw circuit diagram of armature control method to control the speed of DC motor. | Theory- 02 Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Power supply - CRO - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Three phase supply | Class room/ Demonstration room/ workshop/ Computer lab |  |
| - LU2. Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier and control Bridge rectifier. | Trainee will be able to: - Draw circuit diagram of field control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now changes the triggering of SCR’s and record the effect on speed of DC motor. | - Describe field control method. - Describe the range of firing angle of SCR’s - Define use of controller IC. - Define AC to AC conversion - Define cycle-converter. PRACTICAL ACTIVITY Draw circuit diagram of field control method to control the speed of DC motor. | Theory- 02 Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Power supply - CRO - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Three phase supply | Class room/ Demonstration room/ workshop/ Computer lab |  |
| - LU3. Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifiers. | Trainee will be able to: - Draw circuit diagram of field control & armature control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now changes the triggering of SCR’s and record the effect on speed of DC motor. | - Describe armature control method - Describe field control method - Describe the range of firing angle of SCR’s PRACTICAL ACTIVITY Draw circuit diagram of field control & armature control method to control the speed of DC motor. | Theory- 02 Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Power supply - CRO - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Three phase supply | Class room/ Demonstration room/ workshop/ Computer lab |  |
| - LU4. Implement AC to AC converter to control the speed of 3 phase AC motor. | Trainee will be able to: - Draw circuit diagram of AC to AC converter to control the speed of AC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of AC motor. | - Define AC to AC conversion - Define cycle-converter. - Describe types of cycle-converter - Define use of controller IC. PRACTICAL ACTIVITY Draw circuit diagram of AC to AC converter to control the speed of AC motor. | Theory- 02 Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Power supply - CRO - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Three phase supply | Class room/ Demonstration room/ workshop/ Computer lab |  |
| - LU5. Implement synchs to transmit torque | Trainee will be able to: - Place synchrony transmitter and synchrony receiver at two different places. - With help of cord establish connection between corresponding terminal of TX& Rx i.e. S1 to S1, S2 to S2 and S3 to S3 respectively. - Give single phase AC supply to the rotor of both TX and Rx. - Rotate the rotor of TX in step to 30 degrees and observe the new position of rotor of Rx. - Enter the input angular position & output angular position in the table | - Define synchs. - Define synchrony generator or TX - Define synchrony receiver or Rx - How does a synchronizer work? PRACTICAL ACTIVITY Rotate the rotor of TX in step to 30 degrees and observe the new position of rotor of Rx. | Theory- 02 Hrs Practical-03Hrs Total- 05Hrs | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Power supply - CRO - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Three phase supply | Class room/ Demonstration room/ workshop/ Computer lab |  |

# N- Electrical instrumentation and Calibration

## 0714E&A78: Perform Test / Calibrate Flow Sensor

Objective: This Module covers the knowledge and skills required tostandard calibration procedures, calibration standards and setup of calibration process for Flow Sensors.

Duration: 36Hours							Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Test and calibrate Flow Sensor | Trainee will be able to: - Arrange test standard and calibrator for flow. - Checked physical status of flow sensor. - Disconnect the Flow sensor from the source. - Connect with Calibrator. - Perform Calibration Steps. - Repeat the steps between the source and sensor to isolate the problem. | - Describe Safety Protocols at Workstation. - Describe standard calibration procedure for flow sensor - Describe electrical & electronic test equipment - Describe safety regulations for flow in process. - Understanding a Process Control Loop. - Understanding of IFCD (Interface Control Diagram) - Define Operating principle of Flow Sensors. - Explain indicating, integrating and recording instruments. - Explain Electrical/ Electronic/Instrumentation symbols - Describe the functional parameters of Flow Sensors - Explain Tagging techniques of connections. - Describe assembling & dismantling techniques. - Explain testing techniques of connections· - Describe the Flow Sensor functional range. - Explain electronic fault diagnosis. - Define the documented data and data sheet for flow sensors - Define the component parameter, ratings and application of flow sensors - Describe calibration of Flow Sensors. - Describe faults in Process Loop related to Flow Sensors. Practical Activity: Demonstrate calibration process of a flow sensor as per SOP and fill calibration sheet. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Flow metering unit - Soldering / de soldering station - Calibrator for Flow. - Electronic Test Equipment. - Leakage Test Equipment - PU Tubes - PU Tube cutter. - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Safety gears - Stationary - PPE’s - Projector - Desktop Computer - Computer table - White Board - Board Marker | Class Room and Calibration Lab |
| LU2: Arrange Calibration Standards and Calibrator for Flow Sensor | Trainee will be able to: - Interpret job card. - Identify tools and equipment. - Prepare the list of tools and equipment as per requirement. - Collect tools and equipment from store. | - Describe Safety Protocols at Workstation. - Explain Job card issuance procedure for calibration. - Describe standard calibration procedure for flow sensor - Explain calibration standards. - Explain calibrator. - Define the documented data and data sheet for flow sensors - Define the component parameter, ratings and application of flow sensors - Describe tools required for calibration of flow sensor. - Explain procedure to get issue the tools required for calibration of flow sensor. Practical Activity: Demonstrate calibration process of a flow sensor as per SOP and fill calibration sheet. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Pneumatic Flow metering unit - Calibrator for Flow. - Calibration standards ISO & API - Stationary - Projector - Desktop Computer - Computer table - White Board - Board Marker | Class Room and Calibration Lab |
| LU3: Rectification for removal of calibration errors. | Trainee will be able to: - Check calibration status of the flow sensor. - Perform necessary adjustment if required. - Record calibration test results. | - Define how to check calibration status of flow sensor. - Explain calibration errors and its record keeping. - Describe procedure of error adjustment of flow meters. - Describe record keeping on calibration sheet and its tagging. Practical Activity: Perform and adjust calibration errors of flow meter & sensor. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Flow meter and sensor. - Soldering / de soldering station - Calibrator for Flow. - PU Tubes - PU Tube cutter. - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - White Board - Board Marker | Class Room and Calibration Lab |

## 0714E&A79: Perform Test / Calibrate Level Sensor

Objective: This Module covers the knowledge and skills required tostandard calibration procedures, calibration standards and setup of calibration process for Level Sensors.

Duration: 36 Hours				Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Test and calibrate Level Sensor | Trainee will be able to: - Arrange test standard and calibrator for Level. - Checked physical status of level sensor. - Disconnect the level sensor from the source. - Connect with Calibrator. - Perform Calibration Steps. - Repeat the steps between the source and sensor to isolate the problem. | - Describe Safety Protocols at Workstation. - Describe Standard calibration procedure for Level sensor - Describe Electrical & Electronic Test Equipment - Explain Process Control Loop. - Explain IFCD (Interface Control Diagram) - Define Operating principle of Level Sensors. - Describe the functional parameters of Level Sensors - Explain Tagging techniques of connections. - Describe assembling & dismantling techniques - Explain Testing techniques of connections· · - Describe the Level Sensor functional range. - Explain Electronic fault diagnosis. - Define the documented data and data sheet for Level sensors - Define calibrator. - Define source & sensor of leveling instrument. - Describe calibration procedure for level sensor. Practical Activity: Demonstrate calibration process of a level sensor as per SOP and fill calibration sheet. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Level sensing unit. - Soldering / de soldering station - Calibrator for Level Sensor. - Electronic Test Equipment. - Leakage Test Equipment - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - Stationary - PPE’s - White Board - Board Marker | Class Room and Calibration Lab |
| LU2: Arrange Calibration standards and Calibrator for Level Sensor | Trainee will be able to: - Interpret job card. - Identify tools and equipment. - Prepare the list of tools and equipment as per requirement. - Collect tools and equipment from store | - Explain Job card issuance procedure for calibration. - Describe standard calibration procedure for Level sensor - Explain calibration standards. - Explain calibrator. - Define the documented data and data sheet for Level sensors - Define the component parameter, ratings and application of Level sensors - Describe tools required for calibration of Level sensor. - Explain procedure to get issue the tools required for calibration of Level sensor Practical Activity: Demonstrate calibration process of a level sensor as per SOP and fill calibration sheet. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Calibrator for Level Sensor. - Calibration standards ISO & API - Stationary - Projector - Desktop Computer - Computer table - White Board - Board Marker | Class Room and Calibration Lab |
| LU3: Rectification for removal of calibration errors | Trainee will be able to: - Check calibration status of the level sensor. - Perform necessary adjustment if required. - Record calibration test results | - Describe Safety Protocols at Workstation. - Define how to check calibration status of Level sensor. - Explain calibration errors and its record keeping. - Describe procedure of error adjustment of Level instrument. - Describe record keeping on calibration sheet and its tagging. Practical Activity: Perform and adjust calibration errors of Level sensor. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Level sensor. - Soldering / de soldering station - Calibrator for Level Sensor. - Electronic Test Equipment. - Leakage Test Equipment - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - Stationary - PPE’s - Projector - White Board - Board Marker | Class Room and Calibration Lab |

## 0714E&A80: Perform Test / Calibrate Pressure Sensor

Objective: This Module covers the knowledge and skills required tostandard calibration procedures, calibration standards and setup of calibration process for Pressure Sensors.

Duration: 36 Hours				Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1: Test and Calibrate Pressure Sensor | Trainee will be able to: - Arrange test standard and calibrator for Pressure. - Checked physical status of Pressure sensor. - Disconnect the Pressure sensor from the source. - Connect with Calibrator. - Perform Calibration Steps. - Repeat the steps between the source and sensor to isolate the problem. | - Describe Safety Protocols at workstation. - Describe Standard calibration procedure for Pressure sensor - Describe Electrical & Electronic Test Equipment - Describe safety regulations for Pressures in Process. - Explain Process Control Loop. - Explain IFCD (Interface Control Diagram) - Describe Operating principle of Pressure Sensors. - Explain indicating, integrating and recording instruments. - Explain Electrical/ Electronic/Instrumentation symbols - Describe the functional parameters of Pressure Sensors - Explain Tagging techniques of connections. - Describe assembling & dismantling techniques - Explain Testing techniques of connections· · - Explain Electronic fault diagnosis. - Define the documented data and data sheet for Pressure sensors - Define the component parameter, ratings and application of Pressure sensors - Define Pressure calibrator. - Define source & sensor of Pressure gauge. - Describe calibration procedure for Pressure sensor. Practical Activity: Demonstrate calibration process of a pressure calibrator & calibrate bourdon tube pressure gauge. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Pressure Sensor. - Soldering / de soldering station - Calibrator for Pressure Sensor. - Electronic Test Equipment. - Leakage Test Equipment - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - Stationary - PPE’s - White Board - Board Marker | Class Room and Calibration Lab |
| LU2: Arrange Calibration standards and Calibrator for Pressure Sensor | Trainee will be able to: - Interpret job card. - Identify tools and equipment. - Prepare the list of tools and equipment as per requirement. - Collect tools and equipment from store | - Describe Safety Protocols at workstation. - Explain Job card issuance for calibration. - Describe standard calibration procedure for Pressure sensor - Explain calibration standards. - Explain calibrator. - Define the documented data and data sheet for Pressure sensors - Define Pressure calibrator. - Define source & sensor of Pressure sensing instrument. - Describe calibration procedure for Pressure sensor. Practical Activity: Perform calibration of Pressure sensors as per calibration standards. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Calibrator for Pressure Sensor. - Calibration standards ISO & API - Stationary - Projector - Desktop Computer - Computer table - White Board - Board Marker | Class Room and Calibration Lab |
| LU-3: Rectification for removal of calibration errors. | Trainee will be able to: - Check calibration status of the Pressure sensor. - Perform necessary adjustment if required. - Record calibration test results | - Describe Safety Protocols at workstation. - Define the documented data and data sheet for Pressure sensors - Define Pressure calibrator. - Define source & sensor of Pressure indicator. - Describe calibration procedure for Pressure sensor. - Define calibration error and its adjustment if applicable. - Define calibration sheet and its record keeping. Practical Activity: Perform and identify calibrator / adjust the calibration error and record keeping for Pressure sensor. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Soldering / de soldering station - Calibrator for Pressure Sensor. - Electronic Test Equipment. - Leakage Test Equipment - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - Stationary - PPE’s - Projector - White Board - Board Marker | Class Room and Calibration Lab |

## 0714E&A81: Perform Test / Calibrate Temperature Sensor

Objective: This Module covers the knowledge and skills required tostandard calibration procedures, calibration standards and setup of calibration process for Temperature Sensors.

Duration: 36 Hours				Theory: 09 Hours						Practical: 27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1: Test and Calibrate Temperature Sensor | Trainee will be able to: - Arrange test standard and calibrator for Temperature. - Checked physical status of Temperature sensor. - Disconnect the Temperature sensor from the source. - Connect with Calibrator. - Perform Calibration Steps. - Repeat the steps between the source and sensor to isolate the problem. | - Describe Safety Protocols at workstation. - Describe Standard calibration procedure for Temperature sensor - Describe Electrical & Electronic Test Equipment - Describe safety regulations for Temperatures in Process. - Explain Process Control Loop. - Explain IFCD (Interface Control Diagram) - Describe Operating principle of Temperature Sensors. - Explain indicating, integrating and recording instruments. - Explain Electrical/ Electronic/Instrumentation symbols - Describe the functional parameters of Temperature Sensors - Explain Tagging techniques of connections. - Describe assembling & dismantling techniques - Explain Testing techniques of connections· · - Explain Electronic fault diagnosis. - Define the documented data and data sheet for Temperature sensors - Define the component parameter, ratings and application of Temperature sensors - Define Temperature calibrator. - Define source & the sensor of Temperature Controller. - Describe calibration procedure for Temperature sensor. Practical Activity: Perform and calibrate the Temperature sensor with the calibrator and fill calibration sheet. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Temperature Controller. - Soldering / de soldering station - Calibrator for Temperature Sensor. - Electronic Test Equipment. - Leakage Test Equipment - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - Stationary - PPE’s - White Board - Board Marker | Class Room and Calibration Lab |
| LU2: Arrange Calibration standards and Calibrator for Temperature Sensor | Trainee will be able to: - Interpret job card. - Identify tools and equipment. - Prepare the list of tools and equipment as per requirement. - Collect tools and equipment from store | - Describe Safety Protocols at Workstation. - Explain Job card issuance for calibration. - Describe standard calibration procedure for Temperature sensor - Explain calibration standards. - Explain calibrator. - Define the documented data and data sheet for Temperature sensors - Define Temperature calibrator. - Define source & sensor of Temperature Controller. - Describe calibration procedure for Temperature sensor. Practical Activity: Perform & Identify calibrator and calibrate a temperature sensor as per calibration standards for Temperature sensor. | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Calibrator for Temperature Sensor. - Calibration standards ISO & API - Stationary - Projector - Desktop Computer - Computer table - White Board - Board Marker | Class Room and Calibration Lab |
| LU3: Rectification for removal of calibration errors. | Trainee will be able to: - Check calibration status of the Temperature sensor. - Perform necessary adjustment if required. - Record calibration test results | - Describe Safety Protocols at workstation. - Define the documented data and data sheet for Temperature sensors - Define Temperature calibrator. - Define source & sensor of Temperature controller. - Describe calibration procedure for Temperature sensor. - Define calibration error and its adjustment if applicable. - Define calibration sheet and its record keeping. Practical Activity: Perform and adjust the calibration error and record keeping for Temperature sensors | Total- 12 Hrs Theory- 03 Hrs Practical- 09 Hrs | - Temperature controller - Soldering / de soldering station - Calibrator for Temperature Sensor. - Electronic Test Equipment. - Leakage Test Equipment - Fix Spanner set - Ring Spanner Set - Screw Driver Set Phillips - Screw Driver set Flat - Plier set - Stationary - PPE’s - Projector - Desktop Computer - Computer table - Stationary - PPE’s - Projector - White Board - Board Marker | Class Room and Calibration Lab |

# O- Electrical Machines

## 0714E&A82: Verify Basic Laws of Electrical Machines

Objective: This Module covers the skills and knowledge required to verify Faraday’s law by moving permanent magnet inside the coil, verify Faraday’s law by moving coil near the magnet field, verify Faraday’s law using relative motion of coil and magnet, verify Faraday’s Law using simple loop generator, verify EMF through induction, verify Torque induce in a current carrying loop and verify Mutual induction.

Duration: 48 Hours						Theory: 12 Hours					Practical: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Verify Faraday’s law by moving permanent magnet inside the coil | Trainee will be able to: - Construct a coil. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow. - Record the effect of movement of magnet on reading of Galvanometer. - Hold the magnet inside the coil and do not move. - Record the effect on reading of Galvanometer again. | - Describe safety protocols at work station. - Define first law of Faraday - Define second law of Faraday - Define how to find the direction of induced e.m.f PRACTICAL ACTIVITY: Connect a galvanometer to a coil as shown in figure. Move a bar magnet to and from. Deflection in a galvanometer, shows the induce DMF the coil | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Coil - Galvanometer - Voltmeter - Connecting leads. - Permanent Magnet. - DC source (Power Supply Unit) - Rheostat - Loop | Class room/ Demonstration room/ workshop |
| - Verify Faraday’s law by moving coil near the magnet field | Trainee will be able to: - Construct a coil. - Connect Galvanometer with coil. - Fix permanent magnet and move the coil fast and slow on it. - Record the effect of movement of coil on reading of Galvanometer. - Hold the coil near the magnetic field and do not move. - Record the effect on reading of Galvanometer | - Describe safety protocols at work station - Demonstrate how to calculate emf induced in a coil. - Define the role of magnetic strength in Faraday’s Law - Define the role of conductor’s length or turns in Faraday’s Law - Describe Lenz law PRACTICAL ACTIVITY: Design relay mechanism and test it. | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Coil - Galvanometer - Voltmeter - Connecting leads. - Permanent Magnet. - DC source (Power Supply Unit) - Rheostat - Loop | Class room/ Demonstration room/ workshop |
| - Verify Faraday’s law using relative motion of coil and magnet. | - Trainee will be able to: - Construct a coil. - Connect Galvanometer with coil. - Make relative motion of coil and magnet. - Record the effect on reading of Galvanometer | - Describe safety protocols at workstation - Describe Lenz's law is considered as law of conservation of energy. - Define the formula for induced emf. - Demonstrate How to you make EMF. PRACTICAL ACTIVITY: Designs relay mechanism and test it. | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - White board - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Coil - Galvanometer - Voltmeter - Connecting leads. - Permanent Magnet. - DC source (Power Supply Unit) - Rheostat - Loop | Classroom/ Demonstration room/ workshop |
| - Verify Faraday’s Law using simple loop generator. | Trainee will be able to: - Identify single loop generator and its parts. - Select field winding. - Connect Galvanometer with single loop coil. - Rotate the single loop coil of generator in the field - Measures the voltage induces in loop generator. - Record the effect of movement on reading of Galvanometer. | - Describe safety protocols at work station - Demonstrate How EMF generated in a simple generator. - Define simple generator. PRACTICAL ACTIVITY: Assemble and run the generator and measure the output voltage. | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Coil - Galvanometer - Voltmeter - Connecting leads. - Permanent Magnet. - DC source (Power Supply Unit) - Rheostat - Loop | Class room/ Demonstration room/ workshop |
| - Verify Torque induce in a current carrying loop | Trainee will be able to: - Construct a coil. - Apply DC voltage to this coil. - Place a current carrying loop in this coil. - Check the direction of force to verify the torque produce | - Describe safety protocols at work station - Define torque - Define why force produce on current carrying conductor. - Define electromagnetic induction - Describe simple loop generator produce a steady direct current PRACTICAL ACTIVITY: Demonstrate torque in current carrying loop in a simple generator? | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Coil - Galvanometer - Voltmeter - Connecting leads. - Permanent Magnet. - DC source (Power Supply Unit) - Rheostat - Loop | Class room/ Demonstration room/ workshop |
| - Verify Mutual induction | Trainee will be able to: - Construct 2 coils on two different legs of single core. - Apply AC voltage to the any one coil. - Check the volts induce in another coil by voltmeter | - Describe safety protocols at work station - Demonstrate How to find the mutual inductance between two coils? - Define coefficient of mutual induction. - What is meant by self-induction and mutual induction. - Describe induction and inductance. PRACTICAL ACTIVITY: Perform the step down operation in transformer to verify mutual induction. | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - Multimeter - PPE - Electronics Trainer Kit - Coil - Galvanometer - Voltmeter - Connecting leads. - Permanent Magnet. - DC source (Power Supply Unit) - Rheostat - Loop | Class room/ Demonstration room/ workshop |

## @0714E&A83: Analyze DC Generator

Objective:  This Module covers the skills and knowledge required to calculate different terms used in armature winding of DC machines, develop Single Layer Lap Winding, develop Double Layer Wave Winding, measure the resistance of field winding, armature winding and terminal polarity, identify DC shunt generator, identify DC series generator and identify DC compound generator.

Duration:  48 Hours					Theory: 12Hours						Practical: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Calculate different terms used in armature winding of DC machines | - Trainee will be able to: - Count the number of slots (S) of armature. - Calculate pole pitch (Y). - Calculate Coil span/pitch. - Calculate Back pitch (Yb) - Calculate Front pitch (Yf) - Calculate Resultant Pitch (YR) - Calculate commentator pitch (Yc) | - Describe safety protocols at work station - Define difference between armature and field winding - Explain the term armature slots. - Define the pole pitch (Y). - Define the coil span/pitch - Define the Back pitch (Yb) - Define the Front pitch (Yf) - Define the Resultant Pitch (YR) - Define the commutation pitch (Yc) - PRACTICAL ACTIVITY: - Calculate Front pitch (Yf) used in armature winding of DC machines | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Sleeve - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Develop Single Layer Lap Winding | - Trainee will be able to: - Count the number of slots in armature core and numbering on it. - Calculate total number of conductors (Z) - Calculate average pitch, back pitch and commentator pitch. - Start winding from slot no 1. - Add the value of back pitch in conductor. - Connect conductor 1 from back side to the added value. - Subtract the value of back pitch from the added value. - Connect added value from front side to subtracted value. - Continue this process till completion of all conductors. - Connect armature segment with armature conductor. - Insert brushes in proper position. | - Describe safety protocols at work station. - Define the lap winding - Define, How many parallel paths in lap winding - Define the meaning by single layer winding - Define the wave winding - Define how many parallel paths in wave winding. - Define difference between lap winding and wave winding - PRACTICAL ACTIVITY: - Calculate average pitch, back pitch and commentator pitch Single Layer Lap Winding. | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Develop Double Layer Wave Winding | - Trainee will be able to: - Count the number of slot in armature core and numbering on it. - Calculate total number of conductors (Z) - Calculate average pitch, back pitch and commentator pitch. - Start winding from slot no 1. - Add the value of back pitch in conductor. - Connect conductor 1 from back side to the added value. - Add the value of front pitch in previous added value. - Continue this process till completion of all conductors. - Connect armature segment with armature conductor. - Insert brushes in proper position. | - Describe safety protocols at work station - Define the meaning by double layer winding - Demonstrate the reading on the scale of galvanometer - Define the difference between field winding and armature winding - Explain the technique to identify the terminal polarity - Define, Why short pitch winding is used - Explain, What is full pitch winding - PRACTICAL ACTIVITY: - Develop Double Layer Wave Winding Count the number of slot in armature core and numbering on it. - Calculate total number of conductors (Z) | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Armature - Winding machine - Insolating paper - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Measure the resistance of field winding, armature winding and terminal polarity | - Trainee will be able to: - Open the terminal box. - Connect the ohm meter with the terminal of both winding. - Read down ohm meter reading. - Connect the probe of galvanometer with any terminal and touch other probe to other terminals one by one. - Rotate the generator slowly by hand. - Touch the probe of galvanometer with each winding. - Identify armature with the deflection of galvanometer pointer. - Mark the polarity of terminals with the deflection of galvanometer. | - Describe safety protocols at work station. - Explain the technique to identify the terminal polarity - Explain the different between field winding and armature winding - Explain, which winding having low resistance and why. - Explain, Why is field winding resistance high - Define, Why is the series field winding wound with few turns of thick wire - Describe the types of armature winding - Explain, which winding having low resistance and why. - PRACTICAL ACTIVITY: - Connect the probe of galvanometer with any terminal and touch other probe to other terminals one by one. | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Sleeve - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Identify DC shunt generator | - Trainee will be able to: - Measure the terminal resistance of generator with ohm meter. - Identify DC shunt generator from measured value of resistance. - Disconnect both windings. - Identify the shunt field winding of shunt generator. - Identify armature of shunt generator. - Measure the resistance of both winding separately. - Record the resistance of armature winding and field winding. - Compare the resistance of armature winding and field winding to identify the difference between them. | - Describe safety protocols at work station - Explain the number of winding in shunt generator - Explain, how to disconnect both winding of shunt generator - Describe the characteristics of a DC generator - Define, How does a DC shunt generator work - Explain the different types of DC generators. - PRACTICAL ACTIVITY: - Measure the terminal resistance of DC shunt generator with ohm meter | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Sleeve - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Identify DC series generator | - Trainee will be able to: - Measure the terminal resistance of generator with ohm meter. - Identify DC series generator from measured value of resistance. - Disconnect both windings. - Identify the series field winding of series generator. - Identify armature of series generator. - Measure the resistance of both winding separately. - Record the resistance of armature winding and field winding. - Compare the resistance of armature winding and field winding to identify the difference between them. | - Describe safety protocols at work station - Define Series DC generator - Explain the different types of DC generators - Define the applications of DC series generator? - Explain, How does a DC generator work - Define the function of brushes in DC generator - Describe the main parts of a DC generator - Describe the function of armature in DC generator - Define the difference between a DC motor and a DC generator - PRACTICAL ACTIVITY: - Measure the terminal resistance of DC Series generator with ohm meter | Total – 8Hrs Theory – 02Hrs Practical –06Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Sleeve - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |

## 0714E&A84: Analyze DC Motors

Objective:  This Module covers the skills and knowledge required to calculate different terms used in armature winding of DC machines, develop Single Layer Lap Winding, develop Double Layer Wave Winding, measure the resistance of field winding, armature winding and terminal polarity, identify DC shunt generator, identify DC series generator and identify DC compound generator.

Duration:  24 Hours					Theory: 6Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify DC shunt motor | - Trainee will be able to: - Measure the terminal resistance of motors with ohm meter. - Identify DC shunt motor from measured value of resistance. - Disconnect both windings. - Identify field winding of shunt motor. - Identify armature of shunt motor. - Measure the resistance of both winding separately. - Record the resistance of armature winding and field winding. - Compare the resistance of armature winding and field winding to identify the difference between them. | - Define winding in shunt motor - Describe the technique to identify the terminal polarity. - Describe, how to disconnect both winding of shunt motor - Describe winding in series motor - PRACTICAL ACTIVITY: - Measure the terminal resistance of motors with ohm meter. - Measure the resistance of both winding separately. | - Total- 08Hrs - Theory-02Hrs - Practical-06Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Sleeve - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Identify DC series motor | - Trainee will be able to: - Measure the terminal resistance of DC motors with ohm meter. - Identify DC series motor from measured value of resistance. - Disconnect both windings. - Identify the series field winding of series motor. - Identify armature of series motor. - Measure the resistance of both winding separately. - Record the resistance of armature winding and field winding. - Compare the resistance of armature winding and field winding to identify the difference between them. | - Define difference between field winding and armature winding - Describe, which winding having low resistance and why. - Define the technique to identify the terminal polarity. - Describe how to disconnect both winding of series generator. - Define faraday’s law - PRACTICAL ACTIVITY: - Measure the resistance of both winding separately. - Measure the terminal resistance of DC motors with ohm meter. | - Total- 08Hrs - Theory-02Hrs - Practical-06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Armature - Winding machine - Insolating paper - Carbon brushes - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |
| - Identify DC compound motor | - Trainee will be able to: - Measure the terminal resistance of DC motor with ohm meter. - Identify DC Compound motor from measured value of resistance. - Disconnect both windings. - Identify the series field winding of motor. - Identify the shunt field winding of motor. - Identify armature of compound motor. - Measure and record the resistance of both winding separately. - Record the resistance of armature winding. - Compare the resistance of armature winding, series field winding and shunt field winding to identify the difference between them. | - Define Motors and generators - Define rules of generators - Define the Type of DC machines - Define Loop generator. - Define Basic DC Systems. - PRACTICAL ACTIVITY: - Develop Double Layer Wave Winding Count the number of slots in armature core and numbering on it. - Calculate total number of conductors (Z) | - Total- 08Hrs - Theory-02Hrs - Practical-06Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Galvanometer - DC machine - Connecting wires - Armature - Winding machine - Insolating paper - Soldering wire - Stator frame | - Class room/ Demonstration room/ workshop |

## @0714E&A85: Perform Tests On DC Motors

Objective: This Module covers the skills and knowledge required to Plot the load characteristics of D.C shunt motor, plot the load characteristics of D.C series motor, plot the load characteristics of D.C compound motor, control the speed of DC series motor, control the speed of DC shunt motor, start  DC shunt motor with 3 point starter, identify the effect of back EMF in DC motor, calculate BHP of motor by Brake test, calculate efficiency of the motor by Swinburne Test and perform Regenerative / Hopkinson/

Duration:  40 Hours					Theory: 10Hours						Practical: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plot the load characteristics of D.C shunt motor. | Trainee will be able to: - Couple electro dynamo meter to the DC motor with belt - Connect shunt motor according to the diagram. - Set the dynamo meter control knob in such position to produce a minimum starting load. - Turn on the power supply - Run the motor at rated RPM. - Apply a load to DC motor by varying the dynamo meter control knob. - Measure and calculate the current, speed and torque. - Plot the load characteristics on DC shunt motor. | - Describe safety protocols at work station - Describe why series winding having low turns and shunt winding having high number of turns. - Describe the techniques to control the speed of DC shunt motor - Describe the difference between a DC generator & DC motor. - Describe the load characteristics of dc generator. - PRACTICAL ACTIVITY: - Test the load condition of DC shunt motor. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Plot the load characteristics of D.C series motor | - Trainee will be able to: - Select DC series motor and achieve connection as per diagram. - Turn on DC power supply and increase the load to full value. - Record the value of speed and current on each load. - Draw the graph between load current and speed | - Describe safety protocols at work station. - Describe why we never start DC series motor without load. - Describe why series winding having low turns and shunt winding having high number of turns. - Describe why series winding having low turns - PRACTICAL ACTIVITY: Perform speed control operation of any one DC motor. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Plot the load characteristics of D.C compound motor | Trainee will be able to: - Couple electro dynamo meter to the DC motor with belt - Connect compound motor according to the diagram. - Set the dynamo meter control knob in such position to produce a minimum starting load. - Turn on the power supply - Run the motor at rated RPM. - Apply a load to DC motor by varying the dynamo meter control knob. - Measure and calculate the current, speed and torque. - Plot the load characteristics on DC compound motor | - Describe safety protocols at work station. - Describe how many winding in compound generator - Describe, what level compound DC generator is. - Define what is the different between shunt, series and compound motor load characteristics. - PRACTICAL ACTIVITY: - Test the load condition of DC Compound motor | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Control the speed of DC series motor. | Trainee will be able to: - Make the connection as per circuit diagram. - Insert external resistances in series to armature and field coil. - Switch on the supply and increase the voltage gradually to its rated voltage. - Record speed at different supply voltages. - Make graph between speed and applied voltage. | - Describe safety protocols at work station. - Define why we control the speed of DC motor. - Describe why we never start DC series motor without load. - Demonstrate How to you control the speed of a DC motor? - PRACTICAL ACTIVITY: - Test both the load condition of DC shunt and DC compound motor. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Control the speed of DC shunt motor. | Trainee will be able to: - Make the connection as per circuit diagram. - Switch on the supply and increase the voltage gradually to its rated voltage. - Record speed at different field current. - Make graph between speed and field current - Fixed the field current and very armature current - Record the speed at different armature current. - Make graph between speed and armature current | - Describe safety protocols at work station. - Demonstrate Why speed control of DC shunt motor is necessary? - Describe the techniques to control the speed of DC shunt motor. - Describe, what method are used to change the speed of DC shunt motor. - PRACTICAL ACTIVITY: - Measure the terminal resistance of DC shunt generator with ohm meter. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Start DC shunt motor with 3 point starter. | - Trainee will be able to: - Make the connection as per circuit diagram. - Switch on the supply and move starter handle from off position to position 1. - Move the starter arm from position 1 to position 2 and continue this process till starter arm reach at its extreme position | - Describe safety protocols at work station. - Define 3-point starter - Describe why we never start DC shunt motor without starter. - PRACTICAL ACTIVITY: - Use 3 point starter method to start DC shunt motor | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Identify the effect of back EMF in DC motor. | Trainee will be able to: - Select DC series motor and make connection as per diagram. - Turn on DC power supply and increase the load 0 to full value. - Record the value of speed and current on each load. - Calculate back EMF by using the recoded values and appropriate formula. - Make graph between speed and back EMF and interpret the result | - Describe safety protocols at work station. - Define what is back EMF. - Define the effect of motor - Define speed on back EMF - Describe how to measure the RPM of the motor - PRACTICAL ACTIVITY: Perform and measure the effect of back E.M.F in DC motor | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Calculate Brake Horse Power (BHP) of motor by Brake test. | Trainee will be able to: - Connect the spring balance with one end of the rope. - Connect other end of rope with weight (W1). - Measure the radius of the pulley. - Hang the weight on the pulley of the motor and fix the spring balance end with earth. - Run the motor. - Measured the RPM of the motor. - Adjust the weight to pass full load current from motor. - Calculate spring balance weight and hanged weight (W1) - Calculate shaft torque. - Calculate BHP of motor by shaft torque. | - Describe safety protocols at work station - Define what shaft torque is. - Define what BHP formula is. - Describe how to calculate BHP from shaft torque. - Describe what BHP is and how it is measured. - PRACTICAL ACTIVITY: Perform brake test and calculate the brake horse power and make report. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor Trainer | - Class room/ Demonstration room/ workshop |
| - Calculate efficiency of the motor by Swinburne Test | Trainee will be able to: - Perform DC test to find the value armature resistance and field resistance - Run the motor at rated voltage without load. - Adjust the value of shunt regulator to attain rated speed. - Measure Field current and No load current with ampere meter. - Calculate total copper losses and iron losses. - Calculate input and output power. - Calculate efficiency from calculated power. | - Describe safety protocols at work station. - Define, what is meant by Swinburne's test. - Define for what type of machine Swinburne's test is applicable. - Describe, How to calculate the efficiency of a DC generator. - Define iron loss. - Define copper loss. - Define copper loss at full load. - PRACTICAL ACTIVITY: Perform Swinburne test and calculate the efficiency of the motor. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor Trainer - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor | - Class room/ Demonstration room/ workshop |
| - Perform Regenerative / Hopkinson/ Back to back Test | Trainee will be able to: - Identify two shunt machines. - Couple the shafts of both machines. - Connect the machines electrically in such a way that one machine work as a motor and other as a generator. - Connect external power supply to the machines to overcome the machine losses. - Run the both machine at no load. - Reduce the field excitation of one machine which work as a motor. - Increase the field excitation of one machine which work as a generator. - Adjust the field winding so that voltage of generator becomes equal to the applied voltage which result the machines runs in parallel - Calculate the efficiency by using reading of voltmeter and ammeter. | - Describe, What is Hopkins test? - Define connect external source with motor generator set. - Define the mean by field excitation - Describe how we Can Hopkinson's test be performed on any two dc machines? - PRACTICAL ACTIVITY: Perform regenerative/Hopkins/back to back test. | - Total- 04Hrs - Theory-01Hrs - Practical-03Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - DC shunt motor - Tachometer - Voltmeter - Ammeter - Connecting wire - DC shunt generator - Wattmeter - Spring balance - Rope - DC series motor Trainer - Ohm meter - Belt - Electro dynamo meter - DC compound motor | - Class room/ Demonstration room/ workshop |

## 0714E&A86: Repair/ Maintenance and Service of Dc Motors and Dc Generators.

Objective: This Module covers the skills and knowledge required to Diagnose Fault in DC Motor, carry out Service/Repair in Electric Motor, and carry out Preventive Service / Maintenance of Generators and Diagnose and Repair Electric Generator carry out repair and maintenance of DC motors and generators in accordance with the manufacturer’s instructions. The underpinning knowledge regarding repair and maintenance of electrical DC motor & generators will be sufficient to provide the basis for your work.

Duration:  28 Hours							Theory: 04Hours						Practical: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Diagnose Fault in DC Motor. | Trainee will be able to: - Identify the type of electric motor from data / name plate or manual and motor ratting. - Perform Methods of dismantling and assembling DC motor - Inspect visual mechanical defect such as, tight bearings, bent shaft, noisy running, short circuit, and temperatures. - Check the motor by using specified test instruments to detect electrical defects such as loose/or burnt electrical connections, defective capacitors, burnt windings, low insulation resistance. - Test short circuit, circuit break, earth fault, wiring fault, bearing fault. - Perform replacing of bearing - Identify the faults of a DC motor and repair them according to procedures. - Rewind a DC motor - Check the tripping of protective device using specified test instruments, while the motor is running with power supply connected with suitable control and protective device, the difficulty in starting/low RPM/ unusual noises/ excessive heat/ / grounded winding etc. | - Define Type and Construction and working principal of DC motors, DC Series Motor, DC shunt Motor, D.C. compound motor - Explain Servicing of motors and standby generators. - Demonstrate the working principal of electrical Generator, D.C. series generator, D.C. shunt generator, D.C. compound generator - PRACTICAL ACTIVITY: - Checked the winding of DC motor - Detect the fault in DC motor | - Total-7Hrs - Theory-1Hrs - Practical-6Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Voltmeter - Wire Striper - Vernier Caliper - Torque Wrench - Test lamp - Soldering Lead - Soldering Iron - Set of Nose Plier - Set of Screw Drivers - Cable Knife DC generator - Earth Tester | - Class room/ Demonstration room/ workshop |
| - Carry out Service/Repair in DC Motor | Trainee will be able to: - Repair the DC motor as per diagnosed fault - Assemble the DC motor for internal tests/servicing/repairs according to manufacturer’s instructions - Clean the parts of the DC motor with specified cleaning agents/tools & material - Check the windings insulation resistance with insulation tester - Rewind the DC motor as per requirement - Check the insulation resistance of repaired motor as per standard - Carry out the No load and load tests as per standard practices | - Describe Servicing of motors and standby generators. - Describe Types of electrical measuring instruments used in testing electric motors & generators. - Define Fundamentals of electrical rotating machines - PRACTICAL ACTIVITY: - Check the winding of DC motor and make report. | - Total-7Hrs - Theory-1Hrs - Practical-6Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Voltmeter - Wire Striper - Vernier Caliper - Torque Wrench - Test lamp - Soldering Lead - Soldering Iron - Set of Nose Plier - Set of Screw Drivers - Cable Knife DC generator - Earth Tester | - Class room/ Demonstration room/ workshop |
| - Carry out Preventive Service/ Maintenance of Generators | Trainee will be able to: - Carry out routine maintenance of the DC generator as specified in the manufacturer’s manual - Check out the switch/ timer, relay, protective device and wire connection - Update the maintenance/service records | - Define Auto Transfer switch (ATS)/Auto Main Failure (AMF) module. - Describe Maintenance procedures on standby generators - Describe Preventive maintenance work on motors and stand by generators. - Define Record keeping and reporting. - PRACTICAL ACTIVITY: - Replace the filter and change the oil of Generator. - Perform troubleshooting of starting system of DC motor and generator | - Total-7Hrs - Theory-1Hrs - Practical-6Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Voltmeter - Wire Striper - Vernier Caliper - Torque Wrench - Test lamp - Soldering Lead - Soldering Iron - Set of Nose Plier - Set of Screw Drivers - Cable Knife DC generator - Earth Tester | - Class room/ Demonstration room/ workshop |
| - Diagnose and Repair Electric DC Generator | Trainee will be able to: - Dismantle the DC Generator for internal tests/servicing/repairs according to manufacturer’s instructions. - Clean the parts of the DC generator with specified cleaning agents/tools & material. - Check the control equipment of DC generators. - Find out the root cause of fault according to the signs of fault by applying the working principles of control equipment of DC generators: Speed controller, Magnetic field control circuit and equipment of the generator. - Check Load regulator of the DC generator and its control circuit. - Control circuit of the auxiliary generator. - Check Control circuit of the battery unit. - Check Circuit breaker and relay. - Repair the fault after finding out the faulty equipment or component. - Check the windings insulation resistance with insulation tester as per standard. - Repair the generator as per diagnosed fault. - Carry out the No load and load tests as per standard practices | - Describe safety protocols at work station. - Define Working principles of electric motors &generators - Define Common faults found in electric motors/generators and troubleshooting methods - Define Electrical legislation and regulations related to electric motors and allied motor control - PRACTICAL ACTIVITY: - Check the output voltage and frequency of DC generator. - Perform replacement of bearings of motor and generator. | - Total-7Hrs - Theory-1Hrs - Practical-6Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Voltmeter - Wire Striper - Vernier Caliper - Torque Wrench - Test lamp - Soldering Lead - Soldering Iron - Set of Nose Plier - Set of Screw Drivers - Cable Knife DC generator - Earth Tester | - Class room/ Demonstration room/ workshop |

## 0714E&A87: Operate Single Phase Motors.

Objective: This Module  covers the skills and knowledge required to operate split phase single phase AC motor, operate capacitor start and Capacitor run single phase AC motor and operate shaded pole single phase motor.

Duration:  24 Hours							Theory: 6Hours						Practical: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Operate split phase, single phase AC motor | Trainee will be able to: - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Measure RPM and direction of rotation. - Disconnect the auxiliary winding from centrifugal switch. - Check the effect of this change | - Describe, what is a split phase AC motor - Define, what are the three basic types of split phase motors - Describe how to rotate magnetic field in single phase motor. - Describe, what is the difference between split phase and single phase - PRACTICAL ACTIVITY: - Run the AC motor in Clock wise and Anti clock wise direction. | - Total-8 hrs - Theory-02hrs - Practical-4hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Single phase induction motor - Tachometer - Centrifugal switch - Connecting wires - Capacitor for motor - Multi-meter - Electric motor - Contactors - Timer - Main breaker | - Class room/ Demonstration room/ workshop |
| - Operate capacitor start and Capacitor run single phase AC motor. | Trainee will be able to: - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Measure the RPM - Remove the starting capacitor with centrifugal switch. - Measure the RPM again. - Check the effect of starting capacitor on motor torque. | - Describe safety protocols at work station. - Describe, what is capacitor start and capacitor run motor - Define why we connect capacitor with starting winding. - Define the effect of capacitor on starting torque. - Describe, which capacitor is used in capacitor start motor - Describe, How does a capacitor start a single phase motor - PRACTICAL ACTIVITY: - Perform the capacitor start and capacitor runs of single phase of AC motor. | - Total-8 hrs - Theory-02hrs - Practical-4hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Single phase induction motor - Tachometer - Centrifugal switch - Connecting wires - Capacitor for motor - Multi-meter - Electric motor - Contactors - Timer - Main braker | - Class room/ Demonstration room/ workshop |
| - Operate shaded pole single phase motor. | Trainee will be able to: - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Change the applied voltage to measure the effect on motor speed.. | - Describe safety protocols at work station - Define, how does a shaded pole motor operate - Describe ,What is a shading coil used for - Describe, why the shaded pole motor use a capacitor - Describe, how does a shaded pole motor operate - Describe a shaded pole motor be reversed - PRACTICAL ACTIVITY: - Run shaded pole of single phase motor. | - Total-8 hrs - Theory-02hrs - Practical-4hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Electronics Trainer Kit - Single phase induction motor - Tachometer - Centrifugal switch - Connecting wires - Capacitor for motor - Multi-meter - Electric motor - Contactors - Timer - Main braker | - Class room/ Demonstration room/ workshop |

## 0714E&A88: Operate Special Purpose Motors

Objective: This Module  covers the skills and knowledge required to operate and speed control of AC series motor, operate miniature (reluctance and hysteresis) single phase AC motors, construct and operate stepper motor and construct and operate and develop control circuit with the help of servo motor.

Duration: 32 Hours				Theory: 08 Hours					Practical: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Operate and speed control of AC series motor. | Trainee will be able to: - Connect the armature and field winding in series. - Apply rated voltage to the motor. - Measure the effect on motor speed by change in applied voltage Measure and calculate the current, speed and torque. - Plot the load characteristics on DC shunt motor. | - Define the working of AC series motor. - Describe the effect of applied voltage on speed of the motor. - Describe, a single phase AC motor work - Describe, what are the applications of AC motors - Define, what are the parts of AC motor PRACTICAL ACTIVITY: Design a Elevator using AC series motor. | - Total-8Hrs - Theory-2Hrs Practical-6Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - AC series motor - Tachometer - Connecting wires - Reluctance motor - Hysteresis motor - Arduino board - L298N,L293D motor driver module for small motors - Stepper motor - Stepper motor Control unit - Tachometer - Connecting wires - Servo motor - Servo Control circuit | Class room/ Demonstration room/ workshop |
| - Operate miniature (reluctance and hysteresis) single phase AC motors. | Trainee will be able to: - Connect the stator of motor with single phase supply. - Apply mechanical load by hand - Measure the effect of load change on motor speed. - Draw torque speed curves. | - Describe safety protocols at work station - Define the working of reluctance motor. - Define the working of hysteresis motor. - Describe, How do single phase AC motors work PRACTICAL ACTIVITY Draw circuit diagram of single/three-phase bridge inverter | - Total-8Hrs - Theory-2Hrs Practical-6Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - AC series motor - Tachometer - Connecting wires - Reluctance motor - Hysteresis motor - Arduino board - L298N,L293D motor driver module for small motors - Stepper motor - Stepper motor Control unit - Tachometer - Connecting wires - Servo motor - Servo Control circuit | Class room/ Demonstration room/ workshop |
| - Construct and operate stepper motor. | Trainee will be able to: - Identify the pin configuration of stepper motor driver circuit. - Wire the stepper motor and driver circuit with the help of wiring diagram. - Connect the stepper motor controller ( Arduino/micro controller based controller) - Connect the power source with driver circuit and controller circuit - upload the code in controller - Operate motor by given commands for specific controlled movement of motor shaft - Send command for directional control | - Describe safety protocols at work station - Define the working of stepper motor. - Define the working of control unit for stepper motor. - Define the working of servo motor. - Define Arduino and its application and coding PRACTICAL ACTIVITY: Perform position control using any one motor(servo motor/ stepper motor) . | - Total-8Hrs - Theory-2Hrs Practical-6Hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - AC series motor - Tachometer - Connecting wires - Reluctance motor - Hysteresis motor - Arduino board - L298N,L293D motor driver module for small motors - Stepper motor trainer - Control unit - Tachometer - Connecting wires - Servo motor - Servo Control circuit. - Servo drive | Class room/ Demonstration room/ workshop |
| - Construct, Operate and develop control circuit of servo motor. | Trainee will be able to: - Identify the pin configuration of DC servo motor driver circuit. - Wire the servo motor and driver circuit with the help of wiring diagram. - Connect the servo motor controller ( Arduino/microcontroller based controller) - Connect the power source with driver circuit and controller circuit - upload the code in controller to operate position servo control - Operate motor by given commands for specific controlled movement of motor shaft with the help of potentiometer | - Describe safety protocols at work station - Describe, how do you control a servo motor - Describe, What is the function of servo motor - Define, the procedure of program in Arduino servo motor PRACTICAL ACTIVITY: - Drive the servo motor by using Arduino controller and move forward and reverse. | - Total-8Hrs - Theory-2Hrs Practical-6Hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - AC series motor - Tachometer - Connecting wires - Reluctance motor - Hysteresis motor - Arduino board - L298N,L293D motor driver module for small motors - Stepper motor - Stepper motor Control unit - Tachometer - Connecting wires - Servo motor - Servo Control circuit | Class room/ Demonstration room/ workshop |

## @0714E&A89: Analyze Three Phase Motors

Objective: This Module covers the skills and knowledge required to identify and operate 3 phase Squirrel cage motor, verify rotating magnetic field , measure the starting and running current of three phase induction motor, draw torque slip curve of three phase induction motor, determine the slip of 3 phase induction motor by stroboscope, start 3 phase Induction motor with direct on line, start 3 phase Induction motor with Auto transformer starter, start 3 phase Induction motor with Star Delta starter, make connection to reverse the direction of induction motor, determine the efficiency of three phase induction motor, control the speed of three phase induction motor by changing primary voltage, control the speed of three phase induction motor by rotor resistance control method, operate two motors in cascade, start the synchronous motor using external prime mover and identify the effect of field current on three phase synchronous motor.

Duration: 75 Hours					Theory: 30 hours							Practical: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify and operate 3 phase Squirrel cage motor. | Trainee will be able to: - Identify and select 3 phase squirrel cage motor. - Make connection as per diagram. - Connect the supply and interpret the result. | - Describe safety protocols at work station. - Define, what is a squirrel cage induction motor - Define a 3 phase squirrel cage motor work - Define the difference between squirrel cage motor and induction motor - Describe how many types of three phase induction motor with respect to the rotor PRACTICAL ACTIVITY: Run the 3 phase Squirrel cage motor | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - Verify rotating magnetic field | Trainee will be able to: - Connect the three terminals of stator winding with each other and with ground. - Apply three phase supply to the other terminals. - Place a compass between the stator and note the direction of rotating magnetic field. - Change the two phases with each other. - Note the direction of rotating magnetic field. | - Define the term rotating magnetic field - Describe how to change the direction of rotation of motor. - Describe the speed of rotating magnetic field - Demonstrate, How rotating magnetic field is produced in the stator PRACTICAL ACTIVITY: - Run the induction motor to demonstrate the effect of induction motor | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor Trainer - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor trainer - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - Measure the starting and running current of three phase induction motor. | Trainee will be able to: - Connect the stator winding in star. - Connect an ammeter in series with stator. - Note the ammeter reading at instant of just starting. - Note the reading of ammeter at running condition. | - Describe why we initially start the motor in star connection. - Describe why motor take large current at the time of starting. - Explain the starting current of induction motor PRACTICAL ACTIVITY: Measure the starting and running current of three phase induction motor | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor Trainer. - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor Trainer. - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - Draw torque slip curve of three phase induction motor | Trainee will be able to: - Connect three phase induction motor with electro dynamo meter with Belt. - Start the motor and run at rated speed - Measure the RPM. - Change the torque with electro dynamo meter and note the speed - Calculate slip with given values of speed. - Draw graph between slip and torque. | - Describe safety protocols at work station. - Explain, What is Torque slip characteristics of induction motor - Define, What is Torque in 3 phase induction motor - Describe, What happens to torque when you increase speed - Define what is motor slip - Describe the effect of torque on motor slip. PRACTICAL ACTIVITY: - Perform to torque slip curve of three phase induction motor. | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU5. Determine the slip of 3 phase induction motor by stroboscope | Trainee will be able to: - Connect the stator of three phase induction motor in star. - Apply single phase AC supply to the stroboscope. - Mark dot on motor shaft with marker. - Apply three phase supply to the motor. - Note the RPM of the motor with the help of stroboscope. - Calculate slip. | - Define the working of stroboscope. - Describe how to calculate the slip from motor speed. - Explain, how do you calculate RPM on a 3 phase motor - Explain how many RPM is a 6 pole motor PRACTICAL ACTIVITY: Measure the RPM of the 3 phase induction motor with the help of stroboscope | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU6. Starts 3 phase Induction motor with direct online method. | Trainee will be able to: - Draw line diagram of direct-on 3-phase motor Starter. - Identify and select 3 phase Induction motor. - Make Connection of motor with DOL as per diagram. - Switch on the 3 phase breaker and interpret the result. | - Describe safety protocols at work station. - Explain a 3 phase induction motor need a starter - Describe the working of DOL - Describe the advantages of DOL starter - Describe, what are the applications of 3 phase induction motor - Explain, what is the difference between DOL and Star Delta starters PRACTICAL ACTIVITY: Run 3 phase Induction motor with direct online method. | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU7. Starts 3 phase Induction motor with Auto transformer starter. | Trainee will be able to: - Connect power circuit with the help of diagram. - Connect control circuit with the help of diagram. - Apply rated voltage to the motor. - Gradually reduce the taping of auto transformer with the help of control circuit. | - Describe safety protocols at work station. - Define what is auto transformer - Describe how to change the taping of auto transformer - Explain, what is difference between transformer and autotransformer - Explain, Describe why we never start motor without load - Describe, Why does a 3 phase induction motor need a starter - Describe, what happens if DC supply is given to a transformer PRACTICAL ACTIVITY: Start 3 phase Induction motor with Auto transformer starter | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU8. Starts 3 phase Induction motor with Star Delta starter. | Trainee will be able to: - Draw line diagram of a starter-delta starter. - Identify and select 3 phase Induction motor. - Make Connection of motor with star delta starter as per diagram. - Switch On the 3 phase breaker and interpret the result. | - Describe safety protocols at work station. - Define, What is the purpose of star delta starter - Describe, Why is star delta starter preferred with induction motor - Explain, Why Star and Delta connections are used - Explain, where is star delta starter used PRACTICAL ACTIVITY: Starts 3 phase Induction motor with Star Delta starter | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU9. Make connection to reverse the direction of 3 phase induction motor. | Trainee will be able to: - Draw line diagram to reverse the direction of induction motor - Identify and select 3 phase Induction motor. - Make Connection of motor through 3 pole 2 way switch as per diagram. - Move the handle of 3Pole 2 Way switch from off position to position 1. - Move the handle of 3 Pole 2 Way switch from Position 1 to off position and wait for stopping of motor - Move the handle of 3Pole 2 way switch from off position to position 2 and interpret the result. | - Describe safety protocols at work station. - Define, How do you reverse the direction of a 3 phase induction motor - Describe, what is meant by phase reversal - Explain, how to you determine the rotation of an electric motor PRACTICAL ACTIVITY: Reverse the direction of 3 phase induction motor by change any two phase | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU10. Determine the efficiency of three phase induction motor | Trainee will be able to: - Connect wattmeter, ammeter with the stator of three phase induction motor. - Run the motor at rated speed. - Measure the reading of wattmeter and voltmeter. - Stop the motor - Couple three phase induction motor and electro dynamo meter with belt. - Run the motor. - Supply single phase supply to the dynamo meter. - Adjust the supply of electro dynamo meter so that the maximum current passes through the motor. - Read the meters reading. - Calculate the efficiency of the motor by using these reading. | - Describe safety protocols at work station. - How the efficiency of induction motor is measured? - How can we calculate efficiency? - What are the losses in three phase induction motor? PRACTICAL ACTIVITY: Run the three-phase induction motor and measure the reading of wattmeter and voltmeter. | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor Trainer. - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU11. Control the speed of three phase induction motor by changing input voltage | Trainee will be able to: - Connect the stator of the motor in star connection. - Insert rheostat in series with stator of the motor. - Set the rheostat resistance to its max value. - Run the motor - Change rheostat resistance and note the effect of speed changes. | - Describe safety protocols at work station. - Describe how many techniques are used to control the speed of three phase induction motor - Define rheostat. - Define the effect of voltage changes on speed of motor - How do you control the speed of a synchronous motor? - Explain how Can you control the speed of a single phase motor? - How do you control the speed of a 3 phase motor PRACTICAL ACTIVITY: Change the speed of three phase induction motor by changing input voltage | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor trainer. - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU12. Control the speed of three phase induction motor by rotor resistance control method. | Trainee will be able to: - Select wound rotor induction motor. - Connect the stator of motor in star connection. - Connect a star connected starter with motor rotor. - Set rotor resistance to its max value. - Run the motor. - Change the rotor resistance and note the effect of speed change. | - Describe safety protocols at work station. - Describe why we connect the stator of motor in star. - Describe how to insert the resistance in rotor circuit. - Define Time of starting. - Describe how to insert the resistance in rotor circuit - escribe why we insert maximum resistance in rotor circuit at the time of starting. - Describe What is rotor resistance control? PRACTICAL ACTIVITY: Vary the speed of three phase induction motor by rotor resistance control method | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor trainer - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU13. Operate two motors in cascade | Trainee will be able to: - Select two wound rotor induction motor. - Couple shaft of the both motors. - Connect the stator of motor 2 with the rotor of motor 1. - Connect the motor 2 rotor in star connection. - Apply three phase voltage to the stator of motor 1. - Control the speed of both motors by changing the rotor resistance of motor 2. | - Describe safety protocols at work station. - Define what is mean by cascade - How does a VFD change motor speed? - Describe , what are the methods of speed control of 3 phase induction motor? PRACTICAL ACTIVITY: Run the two motor in series | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whitebord - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor trainer - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor trainer - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU14. Start the synchronous motor using external prime mover. | Trainee will be able to: - Couple the shaft of the synchronous motor with external prime mover (DC Shunt motor) - Connect the stator winding of synchronous motor in star connection. - Apply rated voltage to the stator. - Run the prime mover, which results in locking of rotor with stator magnetic field | - Explain, what is prime mover in synchronous motor - Explain, what is an example of a prime mover - Describe, Why do we give DC excitation to AC synchronous motor PRACTICAL ACTIVITY: Run the synchronous motor using external prime mover. | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor trainer. - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor trainer - Synchronous Motor | Class room/ Demonstration room/ workshop |
| - LU15. Identify the effect of field current on three phase synchronous motor. | Trainee will be able to: - Apply rated voltage to stator. - Excite the field winding. - Change the field winding voltage and measure the effect on Armature current. - Draw the V curve between Armature Current and Field current. | - Describe safety protocols at work station. - Describe Excitation of synchronous motor - Define over and under excitation. - Define V curve of synchronous motor. - Describe which type of supply voltage is applied to the synchronous motor rotor - Define how to change the field PRACTICAL ACTIVITY: Vary the field current and check its effect on three phase synchronous motor. | Total-5hrs Theory-2hrs Practical-3hrs | - Stationary - Projector - Whiteboard - Desktop computer - Computer table - PPE - Multimeter - Three phase squirrel cage induction motor trainer. - Connecting wires - Wires - Meter - Belt - Ammeter - Connecting - Wires - Tachometer - DOL starter - Auto transformer - Electro dynamo meter - Rotor start - DC shunt motor trainer - Synchronous Motor | Class room/ Demonstration room/ workshop |

# List of Tools and Equipment:

(FOR A CLASS OF 25 STUDENTS)

| Sr. # | Description | Quantity |
| --- | --- | --- |
| 1 | Steel-toed footwear, | 25 Nos. |
| 2 | hard hat, | 25 Nos. |
| 3 | safety gloves, | 25 Sets |
| 4 | appropriate safety glasses, | 25 Nos. |
| 5 | high visibility vest, | 25 Nos. |
| 6 | hearing protection, | 25 Nos. |
| 7 | respirators, masks, | 25 Nos. |
| 8 | De-electric boots and gloves for protection from electrical shock. | 25 Nos. |
| 9 | First Aid Box (Include all necessary bandages and medicines) | 02 Sets |
| 10 | fire extinguishers, | 04 Nos. |
| 11 | fire blankets, | 04 Nos. |
| 12 | Sand Bucket with stand | 02 Sets |
| 13 | basic tools, such as grease gun, air pump etc | 10 Sets |
| 14 | Allen Key | 10 Sets |
| 15 | Work Bench (able to hold 06 bench wises) | 05 Nos. |
| 16 | Bench Wise | 30 Nos. |
| 17 | hammer, | 05 each size |
| 18 | screwdrivers, | 05 each size |
| 19 | pliers, | 05 each size |
| 20 | self-locking pliers, | 05 each size |
| 21 | adjustable wrench, | 05 each size |
| 22 | Assorted other wrenches, measuring tape(100m) | 05 each size |
| 23 | Basic supplies, such as grease, oil, window cleaner, rags, ice scraper, whisk broom. | 05 each |
| 24 | Color-code cards, utility documentation. Logbooks Service Manuals, OHS Regulation, | 10 sets |
| 25 | Fix Safe guards | 04 Nos |
| 26 | Moveable Safe guards | 04 N0s. |
| 27 | Solder | 04 N0s. |
| 28 | Wire stripper | 04 N0s. |
| 29 | Nose plier | 04 N0s. |
| 30 | Solder wire | 04 N0s. |
| 31 | Insulation remover | 04 N0s. |
| 32 | Flat File | 25 Nos. |
| 33 | Half round file | 10 Nos. |
| 34 | Round File | 10 Nos. |
| 35 | Mild Steel Sheet (4 x 8 ft) | 02 Nos |
| 36 | Mild Steel round work piece (Dia 30) | 10 ft |
| 37 | Mild Steel flat bar (W:50xL:100xT:20mm) | 25 Nos. |
| 38 | GI pipe 1”, 2” | 20 Feet each |
| 39 | Lathe machine (5 ft) | 02 Nos |
| 40 | Revolving center | 02 Nos |
| 41 | Dead center | 02 Nos |
| 42 | Draw bar | 02 Nos |
| 43 | Face plate | 02 Nos |
| 44 | Knurling Tool | 02 Nos |
| 45 | HSS Tool bit | 10 Nos |
| 46 | Pedestal Drill machine | 02 Nos |
| 47 | Hand Grinder | 02 Nos |
| 48 | Drill bits | 02 Set |
| 49 | Drill shank | 02 Set |
| 50 | Drill chuck | 02 Nos |
| 51 | Counter sink tool | 02 Nos |
| 52 | Counter bore tool | 02 Nos |
| 53 | Machine reamer set | 02 Set |
| 54 | Hand Reamer set | 02 Set |
| 55 | Universal Milling machine | 01 Nos. |
| 56 | Machine wise | 01 Nos. |
| 57 | Tail stock with dead center | 01 Set |
| 58 | Portable welding machine 3 Phase 300 Amps. | 02 Nos, |
| 59 | Welding table | 03 Nos, |
| 60 | Toggle | 02 Nos, |
| 61 | Leather gloves | 01 Nos, |
| 62 | Welding apron | 05 Nos, |
| 63 | Oxygen Cylinder with protector cap | 01 Nos, |
| 64 | Acetylene Cylinder with protector cap | 01 Nos. |
| 65 | Welding Torch | 01 Nos. |
| 66 | Welding Tip (Nozzle) | 01 Set |
| 67 | Pressure Regulators | 01 Nos. |
| 68 | Hose & Hose fittings | 30 ft. |
| 69 | Filler Rod | 01 Box |
| 70 | Flux Material | 500 gm. |
| 71 | Surface Table | 01 Nos. |
| 72 | Surface plate. | 02 Nos. |
| 73 | Steps and collars. | 02 Set |
| 74 | Folding rule | 02 Nos. |
| 75 | Combination set. | 02 Nos. |
| 76 | Scriber. | 02 Nos. |
| 77 | Tri square. | 02 Nos. |
| 78 | Divider. | 02 Nos. |
| 79 | Spirit level | 02 Nos. |
| 80 | Radius gauge | 02 Nos. |
| 81 | Filler gauge | 02 Nos. |
| 82 | Plug gauge | 02 Set |
| 83 | Ring gauge | 02 Set |
| 84 | Outside micrometer | 02 Nos. |
| 85 | Inside micrometer | 02 Nos. |
| 86 | Depth micrometer. | 02 Nos. |
| 87 | Bevel protractor. | 02 Nos. |
| 88 | Vernier Bevel protractor. | 02 Nos. |
| 89 | Dial protractor. | 02 Nos. |
| 90 | Sine bar. | 02 Nos. |
| 91 | Sine block | 02 Nos. |
| 92 | Sine plate. | 02 Nos. |
| 93 | Sine table. | 02 Nos. |
| 94 | Sine center. | 02 Nos. |
| 95 | Gear tooth caliper | 02 Nos. |
| 96 | Gear Inspection machine. | 01 Nos. |
| 97 | Gear testing machine. | 01 Nos. |
| 98 | Parkinson Gear Tester. | 01 Nos. |
| 99 | Multi meters | 02 Nos. |
| 100 | Resistors of different values | 04 Nos. (Each) |
| 101 | Small pieces of copper wire | 01 roll |
| 102 | Small pieces of copper wire | 01 roll |
| 103 | Breadboard. | 04 Nos. |
| 104 | Connecting wires | 02 Rolls |
| 105 | Incandescent lamp of different watts. | 04 Nos. |
| 106 | Voltmeter | 04 Nos. |
| 107 | Ampere meter | 04 Nos. |
| 108 | Multimeter | 04 Nos. |
| 109 | Combination plier | 04 Nos. |
| 110 | Phase tester | 04 Nos. |
| 111 | Energy meter | 04 Nos. |
| 112 | Thin coated copper wire. | 02 Rolls |
| 113 | Dry cell battery | 04 Nos. |
| 114 | Horse shoe magnet. | 04 Nos. |
| 115 | Transformer. | 02 Nos. |
| 116 | Compass needle. | 02 Nos. |
| 117 | Bar Magnet. | 04 Nos. |
| 118 | Galvanometer. | 02 Nos. |
| 119 | Capacitors, 4.7 μF | 04 Nos. |
| 120 | Capacitors, 10, 100 & 8.2 μF. | 04 Nos. (each) |
| 121 | Voltmeter. | 04 Nos. |
| 122 | D.C. power supply unit. | 02 Nos. |
| 123 | Bridging plugs. | 04 Nos. |
| 124 | Connecting leads. | 4 |
| 125 | Multimeter. (With option of Capacitance measurement) | 04 Nos. |
| 126 | D.C. power supply unit | 02 Nos. |
| 127 | Variable D.C powers supply 0-30 Voltas | 2 |
| 128 | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) | 02 Nos. (each) |
| 129 | D.C Analog or Preferably Digital voltmeter Range 0-50V. | 02 Nos. (each) |
| 130 | Digital Multimeter | 04 Nos. |
| 131 | Oscilloscope Diode | 04 Nos. |
| 132 | Wire cutter | 04 Nos. |
| 133 | Wire stripper | 04 Nos. |
| 134 | White chart paper | 100 Nos. |
| 135 | Graphics and drawing sheets | 200 Nos. |
| 136 | Pencil | 30 Nos. |
| 137 | Eraser | 30 Nos. |
| 138 | Sharpener | 30 Nos. |
| 139 | Tee | 25 Nos. |
| 140 | Drawing Board | 25 Nos. |
| 141 | Set Square | 25 Nos. |
| 142 | Geometry set | 25 Nos. |
| 143 | French Curve | 25 Nos. |
| 144 | Printer | 01 Nos. |
| 145 | Multimedia projector | 01 Nos. |
| 146 | Computer | 25 Nos. |
| 147 | CAD software (Multi user) | 1 |
| 148 | IDE Software (C Language) | 1 |
| 149 | Digital clock | 04 Nos. |
| 150 | 555 IC | 2 |
| 151 | Connecting leads. | 02 Rolls |
| 152 | Coil | 02 Rolls |
| 153 | Armature | 02 Nos. |
| 154 | Winding machine | 02 Nos. |
| 155 | Insolating paper | 02 Nos. |
| 156 | Carbon brushes | 04 Nos. |
| 157 | Soldering wire | 02 Rolls |
| 158 | Stator frame | 02 Nos. |
| 159 | Spring balance | 02 Nos. |
| 160 | Ohm meter | 02 Nos. |
| 161 | DC compound motor | 02 Nos. |
| 162 | Electro dynamo meter | 02 Nos. |
| 163 | AC series motor | 02 Nos. |
| 164 | Reluctance motor | 02 Nos. |
| 165 | Hysteresis motor | 02 Nos. |
| 166 | Stepper motor | 02 Nos. |
| 167 | Servo motor | 02 Nos. |
| 168 | Control circuit | 02 Nos. |
| 169 | Temperature sensors. | 02 Nos. |
| 170 | IDE Software (C++ Language) | 1 |
| 171 | Nuts | 02 Dozen (each size) |
| 172 | Bolts | 02 Dozen (each size) |
| 173 | Screws | 02 Dozen (each size) |
| 174 | Grippers | 02 Nos. |
| 175 | Conveyor belt | 02 Nos. |
| 176 | Sensor | 02 Nos. |
| 177 | Actuator | 02 Nos. |
| 178 | Jumpers | 02 Nos. |
| 179 | SD card | 02 Nos. |
| 180 | LED | 02 Nos. |
| 181 | Power Adaptor | 02 Nos. |
| 182 | HDMI cable | 02 Rolls |
| 183 | Humidity sensor | 02 Nos. |
| 184 | Calculator | 02 Nos. |
| 185 | calibration standards measuring devices | 01 Nos. |
| 186 | calibration angles measuring devices | 01 Nos. |
| 187 | OHS Standard Manual | 1 |
| 188 | Capacitive pressure sensor | 02 Nos. |
| 189 | Electromagnetic pressure sensor | 02 Nos. |
| 190 | Optical pressure sensor | 02 Nos. |
| 191 | Force balancing | 02 Nos. |
| 192 | Pressure sensor | 02 Nos. |
| 193 | Lm35 ic solid state temperature sensor | 02 Nos. |
| 194 | Negative temperature coefficient (ntc) thermistor | 02 Nos. |
| 195 | Resistance temperature detector (rtd) | 02 Nos. |
| 196 | Thermocouple | 02 Nos. |
| 197 | Semiconductor-based sensors | 02 Nos. |
| 198 | Retro-reflective sensors | 02 Nos. |
| 199 | Diffuse reflection sensors | 02 Nos. |
| 200 | Hydraulic bench | 02 Nos. |
| 201 | Control Valve | 02 Nos. |
| 202 | Centrifugal pump | 02 Nos. |
| 203 | Sump tank | 02 Nos. |
| 204 | Vertical pipe | 02 Nos. |
| 205 | Channel | 02 Nos. |
| 206 | Drain Valve | 02 Nos. |

# 6.	Members of the Curriculum Development Committee

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Taufiq Ahmed | Automation Engineer | Dewan Cement |
| 2 | Mr. Aurangzeb Ansari | UIT | Usman Institute of Technology |
| 3 | Mr. Usama Khan | Assistant Manager, Maintenance | PCI, Automotive Pvt. Ltd. |
| 4 | Mr. Baber Sayeed | Chief Instructor. | Pak Swiss Training Center, Karachi |
| 5 | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
| 6 | Mr. Mustafa Mohiuddin | Lecturer | Dawood University of Engg. & Tech. |
| 7 | Mr. Syed Farhan Hamid Ali | Sr. Instructor. | Pak Swiss Training Center, Karachi |
| 8 | Mr. Safwan | Automation Engineer | Dewan Cement |
| 9 | Mr. Yasir Arafat | Assistant Director | NAVTTC |
| 10 | Mr. Shaikh Asim Qamar | Certified DACUM Expert | iCAT Transmission |

# 7.	Members of the Curriculum Review & Validation Committee

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Shaikh Asim Qamar | Certified DACUM Expert | iCAT Transmission |
| 2 | Engr. Rizwan Iqbal | Assistant Professor | Dawood University of Engineering & Technology, Karachi |
| 3 | Mr. Tariq Aziz | CEO | Megafactor Engineering, Karachi |
| 4 | Mr. Mustafa Mohiuddin | Lecturer | Dawood University of Engg. & Tech. |
| 5 | Sohail Gull | Assistant Professor | GCT Peshawar |
| 6 | Mr. Muhammad Yasir | Deputy Director | NAVTTC |

Learning hours in training provider premises,

Training workshop, laboratory and on-the-job workplace