|  | Assessment Evidence Guide For 13. Automotive Metrology Technician Level-5 (Part-I) Formative Assessment 107. Carry-Out Linear Measuring |
| --- | --- |
|  | Date 15-19 September, 2020 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| --- | --- |
| Competency Standard(s) | 107. Carry-Out Linear Measuring |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name____________________________________________________ Registration/Roll Number_______________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment) - Surface Plate - Toolmakers Surface Plate - Glass Surface Plate, - Angle Plate - Cast Iron cubes - Vee Block - Straight Edge - Spirit Level - Engineer’s level - Engineer's parallel |
| Time: 03 hrs. | During a practical assessment, under observation by an assessor, you are required to - Perform different kind of measurement with surface plate. - perform different kind of measuring tools adjust with surface plate - Perform different kind of measurement with Toolmaker surface plate. - Perform different kind of measuring tools adjust with Toolmaker surface plate - Perform different kind of measurement with Glass surface plate. - Perform different kind of measuring tools adjust with Glass surface plate - Perform different kind of measurement with Angle plate. - Perform/adjust Angle plate with surface plate for measurement. - Perform different kind of use OF cast iron Cubes. - Perform/adjust Cast Iron cubes other measurement tools. - Perform/uses of Vee Blocks. - Perform/adjust Vee Block with U-Clamp and work piece with operation. - Perform measurement different kind of Steel straight edge. - Perform/ adjust straight edge with surface plate and sprit level. - Perform / measure Horizontal surface with spirit level. - Perform / measure Angle or inclination surface with spirit level. - Perform / measure Vertical surface with spirit level. - Perform measurement with Engineer level. - Perform measurement with engineer parallel. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| Competency Standards | 107. Carry-Out Linear Measuring |
| Assessment Task | - Surface Plate. - Toolmakers Surface Plate - Glass Surface Plate, - Angle Plate - Cast Iron cubes - Vee Block - Straight Edge - Spirit Level - Engineer’s level. - Engineer's parallel |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform different kind of measurement with surface plate. |  |  |
| - perform different kind of measuring tools adjust with surface plate |  |  |
| - Perform different kind of measurement with Toolmaker surface plate. |  |  |
| - Perform different kind of measuring tools adjust with Toolmaker surface plate |  |  |
| - Perform different kind of measurement with Glass surface plate. |  |  |
| - Perform different kind of measuring tools adjust with Glass surface plate |  |  |
| - Perform different kind of measurement with Angle plate. |  |  |
| - Perform/adjust Angle plate with surface plate for measurement. |  |  |
| - Perform different kind of use OF cast iron Cubes. |  |  |
| - Perform/adjust Cast Iron cubes other measurement tools. |  |  |
| - Perform/uses of Vee Blocks. |  |  |
| - Perform/adjust Vee Block with U-Clamp and work piece with operation. |  |  |
| - Perform measurement different kind of Steel straight edge. |  |  |
| - Perform/ adjust straight edge with surface plate and sprit level. |  |  |
| - Perform / measure Horizontal surface with spirit level. |  |  |
| - Perform / measure Angle or inclination surface with spirit level. |  |  |
| - Perform / measure Vertical surface with spirit level. |  |  |
| - Perform measurement with Engineer level. |  |  |
| - Perform measurement with engineer parallel. |  |  |

Candidate’s Signature___________________	Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| --- | --- |
| Competency Standard(s) | 107. Carry-Out Linear Measuring |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code: ___________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Surface Plate. - Toolmakers Surface Plate - Glass Surface Plate, - Angle Plate - Cast Iron cubes - Vee Block - Straight Edge - Spirit Level - Engineer’s level. - Engineer's parallel |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform different kind of measurement with surface plate. |  |  |  |  |  |
|  | perform different kind of measuring tools adjust with surface plate |  |  |  |  |  |
|  | Perform different kind of measurement with Toolmaker surface plate. |  |  |  |  |  |
|  | Perform different kind of measuring tools adjust with Toolmaker surface plate |  |  |  |  |  |
|  | Perform different kind of measurement with Glass surface plate. |  |  |  |  |  |
|  | Perform different kind of measuring tools adjust with Glass surface plate |  |  |  |  |  |
|  | Perform different kind of measurement with Angle plate. |  |  |  |  |  |
|  | Perform/adjust Angle plate with surface plate for measurement. |  |  |  |  |  |
|  | Perform different kind of use OF cast iron Cubes. |  |  |  |  |  |
|  | Perform/adjust Cast Iron cubes other measurement tools. |  |  |  |  |  |
|  | Perform/uses of Vee Blocks. |  |  |  |  |  |
|  | Perform/adjust Vee Block with U-Clamp and work piece with operation. |  |  |  |  |  |
|  | Perform measurement different kind of Steel straight edge. |  |  |  |  |  |
|  | Perform/ adjust straight edge with surface plate and sprit level. |  |  |  |  |  |
|  | Perform / measure Horizontal surface with spirit level. |  |  |  |  |  |
|  | Perform / measure Angle or inclination surface with spirit level. |  |  |  |  |  |
|  | Perform / measure Vertical surface with spirit level. |  |  |  |  |  |
|  | Perform measurement with Engineer level. |  |  |  |  |  |
|  | Perform measurement with engineer parallel. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| --- | --- |
| Competency Standard(s) | 107. Carry-Out Linear Measuring |
| Candidate Details | Name: _____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Surface Plate? |  |  |
|  | What is a function of tool maker surface plate? |  |  |
|  | Define the purpose of glass surface plate? |  |  |
|  | What is a main function of spirit level? |  |  |
|  | Demonstrate vee block? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________