|  | Assessment Evidence Guide For 13. Automotive Metrology Technician Level-5 (Part-I) Formative Assessment 111. Identify Comparators Instrument |
| --- | --- |
|  | Date 15-19 September, 2020 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| --- | --- |
| Competency Standard(s) | 111. Identify Comparators Instrument |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name____________________________________________________ Registration/Roll Number_______________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment) - Electrical/Electronic comparators - Pneumatic comparators - Optical/Projection comparators - Mechanical comparators - Automatic gauging comparators - Gauge block comparators - Microscope (Tool Maker microscope) |
| Time: 03 hrs. | During a practical assessment, under observation by an assessor, you are required to - Understand the parts and principle of Electrical/Electronic comparators - Inspect and measurement with Electrical/Electronic comparators under the specified procedure. - Performs the use of AC wheat stone bridge circuit incorporating a galvanometer. - Understand the parts and principle Pneumatic comparators - Inspect and measurement with Pneumatic comparators under the specified procedure. - Inspect and measurement with Optical/Projection comparators under the specified procedure. - Adjust Optical/Projection comparators according to job condition under the specified procedure. - Inspect and measurement with rack and pinion comparators under the specified procedure. - Inspect and measurement with Cam and gear train comparators under the specified procedure. - Inspect and measurement with lever and tooth sector comparators under the specified procedure. - Inspect and measurement with compound comparators under the specified procedure. - Inspect and measurement with Twisted taut strip comparators under the specified procedure. - Understand the parts and principle Automatic gauging comparators - Inspect and measurement with Automatic gauging comparators under the specified procedure. - Inspect and measurement with Gauge block comparators under the specified procedure. - Understand the parts and principal Microscope (Tool Maker microscope). - Inspect and measurement with Microscope (Tool Maker microscope). |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| Competency Standards | 111. Identify Comparators Instrument |
| Assessment Task | - Electrical/Electronic comparators - Pneumatic comparators - Optical/Projection comparators - Mechanical comparators - Automatic gauging comparators - Gauge block comparators - Microscope (Tool Maker microscope) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |
| - Conversion different kind of measurement under specified procedure |  |  |
| - Inspect and measure different kind of measurement (mm and inches) under the specified procedure. |  |  |

Candidate’s Signature___________________	Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| --- | --- |
| Competency Standard(s) | 111. Identify Comparators Instrument |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code: ___________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Electrical/Electronic comparators - Pneumatic comparators - Optical/Projection comparators - Mechanical comparators - Automatic gauging comparators - Gauge block comparators - Microscope (Tool Maker microscope) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Understand the parts and principle of Electrical/Electronic comparators |  |  |  |  |  |
|  | Inspect and measurement with Electrical/Electronic comparators under the specified procedure. |  |  |  |  |  |
|  | Performs the use of AC wheat stone bridge circuit incorporating a galvanometer. |  |  |  |  |  |
|  | Understand the parts and principle Pneumatic comparators |  |  |  |  |  |
|  | Inspect and measurement with Pneumatic comparators under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with Optical/Projection comparators under the specified procedure. |  |  |  |  |  |
|  | Adjust Optical/Projection comparators according to job condition under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with rack and pinion comparators under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with Cam and gear train comparators under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with lever and tooth sector comparators under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with compound comparators under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with Twisted taut strip comparators under the specified procedure. |  |  |  |  |  |
|  | Understand the parts and principle Automatic gauging comparators |  |  |  |  |  |
|  | Inspect and measurement with Automatic gauging comparators under the specified procedure. |  |  |  |  |  |
|  | Inspect and measurement with Gauge block comparators under the specified procedure. |  |  |  |  |  |
|  | Understand the parts and principal Microscope (Tool Maker microscope). |  |  |  |  |  |
|  | Inspect and measurement with Microscope (Tool Maker microscope). |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Automobile Technology L-5 (P-I) (13. Automotive Metrology Technician) |
| --- | --- |
| Competency Standard(s) | 111. Identify Comparators Instrument |
| Candidate Details | Name: _____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Electrical comparator? |  |  |
|  | What are pneumatic comparators? |  |  |
|  | Describe optical comparators? |  |  |
|  | Define mechanical comparators? |  |  |
|  | Define Automatic gauging comparators? |  |  |
|  | What is microscope? |  |  |
|  | Describe Gauge block comparator? |  |  |
|  | What are the major principals of microscope? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________