|  | Assessment Evidence Guide For 14. Boiler Operator Level-5 (Part-I) Formative Assessment 113. Carry-out Smooth Boiler Operation |
| --- | --- |
|  | Date 15-19 September, 2020 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| --- | --- |
| Competency Standard(s) | 113. Carry-out Smooth Boiler Operation |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name____________________________________________________ Registration/Roll Number_______________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment) - Prepare the Boiler for Operation - Operate and Monitor Boiler - Shut down and Store Boiler - Analyze and Respond to Abnormal Performance (Trouble Shooting of Boiler) |
| Time: 3 hrs. | During a practical assessment, under observation by an assessor, you are required to - Review operational order and where required check with appropriate personal - Identify and report health and safety hazards / maintenance requirements to appropriate personnel according to workplace reporting procedures - Identify and set quantity of steam to be generated for allocated Process - Purge the boiler according to workplace procedure - Perform pre-operational checks to confirm operational status of boiler and related equipment - Use equipment in line with organizational safety procedures, manufacturer’s instructions and environmental protection practices. - Apply complete pre-operational safety and pre-start-up checks to ensure operational effectiveness - Start boiler and bring safely on line; communicate recent performance to appropriate personnel. - Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation. - Shut down boiler according to workplace procedures and manufacturer's recommendations - Clean boiler internally and externally according to workplace procedures and manufacturer's recommendations - Remove valves and fittings in preparation for maintenance - Store the boiler in the appropriate storage mode according to workplace procedures and manufacturer's recommendations - Store and record boiler house chemicals, in line with safety procedures and environmental protection practices. - Follow emergency shutdown procedures in cases of fire. - Complete operating log, record fuel efficiency and report to appropriate personnel - Analyze operating data and plant operating conditions to identify causes of abnormal performance |
| Minimum Evidence Required |  |

|  | - Implement emergency procedures as required according to workplace procedures and manufacturer's recommendations - Take action correctively in accordance with workplace procedures in response to Hazards, out-of-specification test results and/or plant performance |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| Competency Standards | 113. Carry-out Smooth Boiler Operation |
| Assessment Task | - Prepare the Boiler for Operation - Operate and Monitor Boiler - Shut down and Store Boiler - Analyze and Respond to Abnormal Performance (Trouble Shooting of Boiler) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Review operational order and where required check with appropriate personal |  |  |
| - Identify and report health and safety hazards / maintenance requirements to appropriate personnel according to workplace reporting procedures |  |  |
| - Identify and set quantity of steam to be generated for allocated Process |  |  |
| - Purge the boiler according to workplace procedure |  |  |
| - Perform pre-operational checks to confirm operational status of boiler and related equipment |  |  |
| - Use equipment in line with organizational safety procedures, manufacturer’s instructions and environmental protection practices. |  |  |
| - Apply complete pre-operational safety and pre-start-up checks to ensure operational effectiveness |  |  |
| - Start boiler and bring safely on line; communicate recent performance to appropriate personnel. |  |  |
| - Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation. |  |  |
| - Shut down boiler according to workplace procedures and manufacturer's recommendations |  |  |
| - Clean boiler internally and externally according to workplace procedures and manufacturer's recommendations |  |  |
| - Remove valves and fittings in preparation for maintenance |  |  |
| - Store the boiler in the appropriate storage mode according to workplace procedures and manufacturer's recommendations |  |  |
| - Store and record boiler house chemicals, in line with safety procedures and environmental protection practices. |  |  |
| - Follow emergency shutdown procedures in cases of fire. |  |  |
| - Complete operating log, record fuel efficiency and report to appropriate personnel |  |  |
| - Analyze operating data and plant operating conditions to identify causes of abnormal performance |  |  |
| - Implement emergency procedures as required according to workplace procedures and manufacturer's recommendations |  |  |
| - Take action correctively in accordance with workplace procedures in response to Hazards, out-of-specification test results and/or plant performance |  |  |

Candidate’s Signature___________________	Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| --- | --- |
| Competency Standard(s) | 113. Carry-out Smooth Boiler Operation |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code: ___________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare the Boiler for Operation - Operate and Monitor Boiler - Shut down and Store Boiler. - Analyze and Respond to Abnormal Performance |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes |  | No |  | Remarks |  |
|  | Review operational order and where required check with appropriate personal |  |  |  |  |  |  |  |  |
|  | Identify and report health and safety hazards / maintenance requirements to appropriate personnel according to workplace reporting procedures |  |  |  |  |  |  |  |  |
|  | Identify and set quantity of steam to be generated for allocated Process |  |  |  |  |  |  |  |  |
|  | Purge the boiler according to workplace procedure |  |  |  |  |  |  |  |  |
|  | Perform pre-operational checks to confirm operational status of boiler and related equipment |  |  |  |  |  |  |  |  |
|  | Use equipment in line with organizational safety procedures, manufacturer’s instructions and environmental protection practices. |  |  |  |  |  |  |  |  |
|  | Apply complete pre-operational safety and pre-start-up checks to ensure operational effectiveness |  |  |  |  |  |  |  |  |
|  | Start boiler and bring safely on line; communicate recent performance to appropriate personnel. |  |  |  |  |  |  |  |  |
|  | Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation. |  |  |  |  |  |  |  |  |
|  | Shut down boiler according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |  |  |  |
|  | Clean boiler internally and externally according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |  |  |  |
|  | Remove valves and fittings in preparation for maintenance |  |  |  |  |  |  |  |  |
|  | Store the boiler in the appropriate storage mode according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |  |  |  |
|  | Store and record boiler house chemicals, in line with safety procedures and environmental protection practices. |  |  |  |  |  |  |  |  |
|  | Follow emergency shutdown procedures in cases of fire. |  |  |  |  |  |  |  |  |
|  | Complete operating log, record fuel efficiency and report to appropriate personnel |  |  |  |  |  |  |  |  |
|  | Analyze operating data and plant operating conditions to identify causes of abnormal performance Implement emergency procedures as required according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |  |  |  |
|  | Take action correctively in accordance with workplace procedures in response to Hazards, out-of-specification test results and/or plant performance |  |  |  |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |  |  |  |

Knowledge Assessment

| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| --- | --- |
| Competency Standard(s) | 113. Carry-out Smooth Boiler Operation |
| Candidate Details | Name: _____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Boiler. |  |  |
|  | What is fire tube boiler |  |  |
|  | What is combustion chamber in boiler |  |  |
|  | Write down the function of steam stop valve |  |  |
|  | Write down the duty of daily inspection of boiler |  |  |
|  | Steam present at boiler steam space is _____ - Dry steam - Wet steam - Superheated steam |  |  |
|  | To remove the water from boiler is use______ - Blow off cock - Stop valve - Safety valve |  |  |
|  | Super heater is use to increase the pressure of steam - True - False |  |  |
|  | Economizer is use to increase the temperature of feed water through flue gasses - True - False |  |  |
|  | Explain the boiler shell |  |  |

Feedback to the Candidate

Candidate’s Signature______________________ Assessor’s Signature __________________