|  | Assessment Evidence Guide For 14. Boiler Operator Level-5 (Part-I) Formative Assessment 117. Analyze Reciprocating & Rotary Air Compressors Performance |
| --- | --- |
|  | Date 15-19 September, 2020 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| --- | --- |
| Competency Standard(s) | 117. Analyze Reciprocating & Rotary Air Compressors Performance |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name____________________________________________________ Registration/Roll Number_______________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame (for practical demonstration & assessment) - Inspect/Understand component of air compressor and their types - Derived the work done as per cycle. - Derive mathematical expression two stage reciprocating air problems. |
| Time: 03 hrs. | During a practical assessment, under observation by an assessor, you are required to - Identify Air Compressors, their types (Reciprocating & Rotary) and parts used in Air Compressor - Interpret construction and working of single stage reciprocating air compressor with the help of PV diagram and sketch - Drive and Describe the work done per cycle by a single stage reciprocating Air Compressor without and with clearance volume, considering the following laws of compression. - Isothermal Compression. - Isentropic compression. - Polytrophic compression - Solve the multistage compression and understand its advantages - Draw its mathematical Expression for the work done per cycle considering polytrophic law of compression. - Drive a single stage and two stages reciprocating Air compressors; also derive its formulae |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| Competency Standards | 117. Analyze Reciprocating & Rotary Air Compressors Performance |
| Assessment Task | - Inspect/Understand component of air compressor and their types - Derived the work done as per cycle. - Derive mathematical expression two stage reciprocating air problems. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify Air Compressors, their types (Reciprocating & Rotary) and parts used in Air Compressor |  |  |
| - Interpret construction and working of single stage reciprocating air compressor with the help of PV diagram and sketch |  |  |
| - Drive and Describe the work done per cycle by a single stage reciprocating Air Compressor without and with clearance volume, considering the following laws of compression. |  |  |
| - Isothermal Compression. |  |  |
| - Isentropic compression. |  |  |
| - Polytrophic compression |  |  |
| - Solve the multistage compression and understand its advantages |  |  |
| - Draw its mathematical Expression for the work done per cycle considering polytrophic law of compression. |  |  |
| - Drive a single stage and two stages reciprocating Air compressors; also derive its formulae |  |  |

Candidate’s Signature___________________	Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| --- | --- |
| Competency Standard(s) | 117. Analyze Reciprocating & Rotary Air Compressors Performance |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code: ___________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect/Understand component of air compressor and their types - Derived the work done as per cycle. - Derive mathematical expression two stage reciprocating air problems. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify Air Compressors, their types (Reciprocating & Rotary) and parts used in Air Compressor |  |  |  |  |  |
|  | Interpret construction and working of single stage reciprocating air compressor with the help of PV diagram and sketch |  |  |  |  |  |
|  | Drive and Describe the work done per cycle by a single stage reciprocating Air Compressor without and with clearance volume, considering the following laws of compression. - Isothermal Compression. - Isentropic compression. - Polytrophic compression |  |  |  |  |  |
|  | Solve the multistage compression and understand its advantages |  |  |  |  |  |
|  | Draw its mathematical Expression for the work done per cycle considering polytrophic law of compression. |  |  |  |  |  |
|  | Drive a single stage and two stages reciprocating Air compressors; also derive its formulae |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Automobile Technology L-5 (P-I) (14. Boiler Operator) |
| --- | --- |
| Competency Standard(s) | 117. Analyze Reciprocating & Rotary Air Compressors Performance |
| Candidate Details | Name: _____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: __________________________ Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define the compressor. |  |  |
|  | Write down the advantages of multistage compressor |  |  |
|  | Write down the assumptions of two stage compression with inter cooler |  |  |
|  | The volume of air discharge from compressor is called compressor capacity. - True - False |  |  |
|  | At the start of compression stroke the pressure in the cylinder is - Equal to atmospheric pressure - Less the atmospheric pressure - More than atmospheric pressure |  |  |
|  | Explain multistage compressor. |  |  |
|  | The work done during isothermal compression in single stage, single cylinder reciprocating air compressor without clearance volume is 2.3 mRT logr - True - False |  |  |
|  | The work done during isentropic compression in single stage, single cylinder reciprocating air compressor without clearance volume is - 2.3mRT logr - mCp (T2-T1) - none of these |  |  |
|  | Lubricating oil is use in multistage compressor - True - False |  |  |
|  | Write down the use of compressor in industries |  |  |

Feedback to the Candidate

Candidate’s Signature______________________ Assessor’s Signature _________________________