Assessors Judgment Guide

| Qualification | Workshop Practice-I (Electrical wiring) |
| --- | --- |
| Competency Standard(s) | Install Electrical System |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Interpret Electrical layout - Arrange Resources (e.g. Power Supply, Tools & Equipment) for electrical equipment installation/dismantling - Perform Electrical Panel Installation - Perform Cable Installation - Perform Cable Dismantling - Perform Electrical Appliances Installation - Perform Electrical equipment Dismantling - Perform Earthing - Provide Power Supply to machine |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Interpreted layout of the job for installations |  |  |  |  |  |
|  | Read/interpreted electrical drawing for electrical wirings |  |  |  |  |  |
|  | Followed drawing to connect components of equipment |  |  |  |  |  |
|  | Enlisted and arranged tools and material as per job |  |  |  |  |  |
|  | Arranged work permit for the wiring task |  |  |  |  |  |
|  | Arranged backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
|  | Extracted information from layout regarding panel installations |  |  |  |  |  |
|  | Placed the panel according to layout |  |  |  |  |  |
|  | Connected input and output of cables in relevant panels as per electrical layouts |  |  |  |  |  |
|  | Interpreted layouts for cable route |  |  |  |  |  |
|  | Handled cable for laying with the help of stacker |  |  |  |  |  |
|  | Tagged both ends of cables for cable tracing |  |  |  |  |  |
|  | Laid cables in cable trays according to route plan |  |  |  |  |  |
|  | Performed testing of cables e.g. insulation, continuity etc |  |  |  |  |  |
|  | Interpreted layouts for cable route |  |  |  |  |  |
|  | Disconnected electric supply from the job |  |  |  |  |  |
|  | Handled cable for laying with the help of stacker |  |  |  |  |  |
|  | Tagged both ends of cables for cable tracing |  |  |  |  |  |
|  | Removed cables in cable trays according to route plan |  |  |  |  |  |
|  | Interpreted vendor’s user manual for electrical installations |  |  |  |  |  |
|  | Coordinated with concerned departments before installations for feedback |  |  |  |  |  |
|  | Connected cables with machines as per operation manual |  |  |  |  |  |
|  | Verified the connections with respect to color coding/tagging/numbering |  |  |  |  |  |
|  | Extracted information from layouts regarding electrical equipment dismantling |  |  |  |  |  |
|  | Disconnected input/output cables of relevant equipment |  |  |  |  |  |
|  | Removed equipment from location as per SOPs |  |  |  |  |  |
|  | Handled removed equipment as per manufacturers’ instructions |  |  |  |  |  |
|  | Placed tags on dismantled items as per SOPs |  |  |  |  |  |
|  | Stored the dismantled equipment at designated place |  |  |  |  |  |
|  | Performed earthing of cables according to calculated load |  |  |  |  |  |
|  | Performed earthing of electrical appliances according to calculated load |  |  |  |  |  |
|  | Performed earth resistance test as per standards |  |  |  |  |  |
|  | Interpreted electrical drawings for power supply distribution |  |  |  |  |  |
|  | Performed power distribution according to drawings |  |  |  |  |  |
|  | Performed verification of electrical supply as per operations manual |  |  |  |  |  |
|  | Performed communication with all concerned persons for electrical appliance dry-run |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Install Electrical System |
| Candidate Details | Name:_________________________________________________________ Registration/Roll Number: ______Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ___________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define importance of electrical drawing? |  |  |
|  | Why symbols are used in electrical drawings? |  |  |
|  | What is the importance of work permit? |  |  |
|  | Why backup resources are arranged before start of work? |  |  |
|  | Why panels are installed in electrical wiring? |  |  |
|  | Why insulation test is performed? |  |  |
|  | What is the purpose of color coding and tagging during wiring? |  |  |
|  | What instrument is used to perform continuity test? |  |  |
|  | What is the importance of earthing? |  |  |
|  | Enlist the parts of earthing system? |  |  |
|  | What is maximum allowable resistance value of earthing? |  |  |
|  | What instrument is used to measure earthing resistance? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ____________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Workshop Practice-I (electrical wiring) |
| Competency Standards | Install Electrical System |
| Assessment Task | Interpret Electrical layout |
|  | Arrange Resources (e.g. Power Supply, Tools & Equipment) for electrical equipment installation/dismantling |
|  | Perform Electrical Panel Installation |
|  | Perform Cable Installation |
|  | Perform Cable Dismantling |
|  | Perform Electrical Appliances Installation |
|  | Perform Electrical equipment Dismantling |
|  | Perform Earthing |
|  | Provide Power Supply to machine |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Interpret layout of the job for installations |  |  |
| - Read/interpret electrical drawing for electrical wirings |  |  |
| - Follow drawing to connect components of equipment |  |  |
| - Enlist and arrange tools and material as per job |  |  |
| - Arrange work permit for the wiring task |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Extract information from layout regarding panel installations |  |  |
| - Place the panel according to layout |  |  |
| - Connect input and output of cables in relevant panels as per electrical layouts |  |  |
| - Interpret layouts for cable route |  |  |
| - Handle cable for laying with the help of stacker |  |  |
| - Tag both ends of cables for cable tracing |  |  |
| - Lay cables in cable trays according to route plan |  |  |
| - Perform testing of cables e.g. insulation, continuity etc |  |  |
| - Interpret layouts for cable route |  |  |
| - Disconnect electric supply from the job |  |  |
| - Handle cable for laying with the help of stacker |  |  |
| - Tag both ends of cables for cable tracing |  |  |
| - Remove cables in cable trays according to route plan |  |  |
| - Interpret vendor’s user manual for electrical installations |  |  |
| - Coordinate with concerned departments before installations for feedback |  |  |
| - Connect cables with machines as per operation manual |  |  |
| - Verify the connections with respect to color coding/tagging/numbering |  |  |
| - Extract information from layouts regarding electrical equipment dismantling |  |  |
| - Disconnect input/output cables of relevant equipment |  |  |
| - Remove equipment from location as per SOPs |  |  |
| - Handle removed equipment as per manufacturers’ instructions |  |  |
| - Place tags on dismantled items as per SOPs |  |  |
| - Store the dismantled equipment at designated place |  |  |
| - Perform earthing of cables according to calculated load |  |  |
| - Perform earthing of electrical appliances according to calculated load |  |  |
| - Perform earth resistance test as per standards |  |  |
| - Interpret electrical drawings for power supply distribution |  |  |
| - Perform power distribution according to drawings |  |  |
| - Perform verification of electrical supply as per operations manual |  |  |
| - Perform communication with all concerned persons for electrical appliance dry-run |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Install Electrical System |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Interpret Electrical layout - Arrange Resources (e.g. Power Supply, Tools & Equipment) for electrical equipment installation/dismantling - Perform Electrical Panel Installation - Perform Cable Installation - Perform Cable Dismantling - Perform Electrical Appliances Installation - Perform Electrical equipment Dismantling - Perform Earthing - Provide Power Supply to machine |
| Time: | During a practical assessment, under observation by an assessor, you are required to - Interpret layout of the job for installations - Read/interpret electrical drawing for electrical wirings - Follow drawing to connect components of equipment - Enlist and arrange tools and material as per job - Arrange work permit for the wiring task - Arrange backup resources for lighting, power and safety purposes as per job requirement - Extract information from layout regarding panel installations - Place the panel according to layout - Connect input and output of cables in relevant panels as per electrical layouts - Interpret layouts for cable route - Handle cable for laying with the help of stacker - Tag both ends of cables for cable tracing - Lay cables in cable trays according to route plan - Perform testing of cables e.g. insulation, continuity etc - Interpret layouts for cable route - Disconnect electric supply from the job - Handle cable for laying with the help of stacker - Tag both ends of cables for cable tracing - Remove cables in cable trays according to route plan - Interpret vendor’s user manual for electrical installations - Coordinate with concerned departments before installations for feedback - Connect cables with machines as per operation manual - Verify the connections with respect to color coding/tagging/numbering - Extract information from layouts regarding electrical equipment dismantling - Disconnect input/output cables of relevant equipment - Remove equipment from location as per SOPs - Handle removed equipment as per manufacturers’ instructions - Place tags on dismantled items as per SOPs - Store the dismantled equipment at designated place - Perform earthing of cables according to calculated load - Perform earthing of electrical appliances according to calculated load - Perform earth resistance test as per standards - Interpret electrical drawings for power supply distribution - Perform power distribution according to drawings - Perform verification of electrical supply as per operations manual - Perform communication with all concerned persons for electrical appliance dry-run |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of welding.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

- Take measurements

- Cut the material as per specifications

- Perform Welding of the material

- Perform Finishing of the object

- Perform fabrication/designing on object

TASK(S):

__________________________________________________________________________________