Assessors Judgment Guide

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Maintain Safety |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Use electricity safely - Treat against electric shock |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine safest supply and route for electrical supply |  |  |  |  |  |
|  | Support and place leads in accordance with regulations. |  |  |  |  |  |
|  | Conduct check on power board visually |  |  |  |  |  |
|  | Check leads and equipment for tags and visual damage |  |  |  |  |  |
|  | Identify and report electrical hazards |  |  |  |  |  |
|  | Turn off the source of electricity, if possible. If not, move the source away from you and the person, using a dry, non-conducting object made of cardboard, plastic or wood |  |  |  |  |  |
|  | Begin CPR if the person shows no signs of circulation, such as breathing, coughing or movement |  |  |  |  |  |
|  | Try to prevent the injured person from becoming chilled |  |  |  |  |  |
|  | Apply a bandage. Cover any burned areas with a sterile gauze bandage, if available, or a clean cloth. Don't use a blanket or towel, because loose fibers can stick to the burns. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Maintain Safety |
| Candidate Details | Name:_________________________________________________________ Registration/Roll Number: ______Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ___________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is power board? |  |  |
|  | What are electrical hazards in workshop? |  |  |
|  | Define the term CPR? |  |  |
|  | Define the term electrical route? |  |  |
|  | What is meant by non-conducting object? |  |  |
|  | Why towel is not used to bandage a burns worker? |  |  |
|  | Why it is tried to prevent the injured person from becoming chilled? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ____________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Workshop Practice-I (electrical wiring) |
| Competency Standards | Maintain Safety |
| Assessment Task | Use electricity safely |
|  | Treat against electric shock |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine safest supply and route for electrical supply |  |  |
| - Support and place leads in accordance with regulations. |  |  |
| - Conduct check on power board visually |  |  |
| - Check leads and equipment for tags and visual damage |  |  |
| - Identify and report electrical hazards |  |  |
| - Turn off the source of electricity, if possible. If not, move the source away from you and the person, using a dry, non-conducting object made of cardboard, plastic or wood |  |  |
| - Begin CPR if the person shows no signs of circulation, such as breathing, coughing or movement |  |  |
| - Try to prevent the injured person from becoming chilled |  |  |
| - Apply a bandage. Cover any burned areas with a sterile gauze bandage, if available, or a clean cloth. Don't use a blanket or towel, because loose fibers can stick to the burns. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Maintain Safety |
| Purpose of Assessment |  |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Use electricity safety - Treat against electric shock |
| Time: | During a practical assessment, under observation by an assessor, you are required to - Determine safest supply and route for electrical supply - Support and place leads in accordance with regulations. - Conduct check on power board visually - Check leads and equipment for tags and visual damage - Identify and report electrical hazards - Turn off the source of electricity, if possible. If not, move the source away from you and the person, using a dry, non-conducting object made of cardboard, plastic or wood - Begin CPR if the person shows no signs of circulation, such as breathing, coughing or movement - Try to prevent the injured person from becoming chilled - Apply a bandage. Cover any burned areas with a sterile gauze bandage, if available, or a clean cloth. Don't use a blanket or towel, because loose fibers can stick to the burns. |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of welding.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

- Take measurements

- Cut the material as per specifications

- Perform Welding of the material

- Perform Finishing of the object

- Perform fabrication/designing on object

TASK(S):

__________________________________________________________________________________