Assessors Judgment Guide

| Qualification | Workshop Practice-I (Electrical wiring) |
| --- | --- |
| Competency Standard(s) | Perform Electrical Wiring |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Interpret Drawing - Arrange Resources for electrical wiring - Perform Wiring (Domestic & Industrial), termination and tagging - Perform Wire Dressing - Perform Checking & Testing of electrical wiring |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Differentiated between control and power wiring as per job requirement |  |  |  |  |  |
|  | Performed preliminary marking before termination of cables |  |  |  |  |  |
|  | Followed drawing to perform wiring and for reporting/record purpose |  |  |  |  |  |
|  | Enlisted and arranged tools and material as per job |  |  |  |  |  |
|  | Arranged work permit for the wiring task |  |  |  |  |  |
|  | Arranged backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
|  | Performed Wiring using following methods: • Concealed • Conduit • Busway • Open • Duct |  |  |  |  |  |
|  | Followed procedure to remove insulation and to attach thimbles |  |  |  |  |  |
|  | Performed different types of terminations including • High tension (HT) • Low tension (LT) • Control shrouding • Sleeves |  |  |  |  |  |
|  | Performed different types of joints • High tension • Low tension • Water proof/underground • Open |  |  |  |  |  |
|  | Attached tags or numbers to wires for identification |  |  |  |  |  |
|  | Used personal protective equipment as per job requirement |  |  |  |  |  |
|  | Maintained distance between power, communication and control wires according to job requirements |  |  |  |  |  |
|  | Performed alignment of cables as per job requirement |  |  |  |  |  |
|  | Checked continuity using line of terminal |  |  |  |  |  |
|  | Performed test to identify open/close circuits |  |  |  |  |  |
|  | Performed live test for verification of wiring |  |  |  |  |  |
|  | Verified proper grounding / Panel Earthing (PE) on designated locations |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Perform Electrical Wiring |
| Candidate Details | Name:_________________________________________________________ Registration/Roll Number: ______Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ___________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name the two types of conduit wiring systems? |  |  |
|  | State the advantages of surface conduit wiring? |  |  |
|  | Enlist accessories used in wiring? |  |  |
|  | Define use of fish wire? |  |  |
|  | Define PVC? |  |  |
|  | What is the minimum size of cable used to supply electric power from control switch to ceiling fan? |  |  |
|  | Define importance of testing of wiring? |  |  |
|  | What instrument is used to perform wiring test? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Workshop Practice-I (electrical wiring) |
| Competency Standards | Perform Electrical Wiring |
| Assessment Task | Interpret Drawing |
|  | Arrange Resources for electrical wiring |
|  | Perform Wiring (Domestic & Industrial), termination and tagging |
|  | Perform Wire Dressing |
|  | Perform Checking & Testing of electrical wiring |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Differentiate between control and power wiring as per job requirement |  |  |
| - Perform preliminary marking before termination of cables |  |  |
| - Follow drawing to perform wiring and for reporting/record purpose |  |  |
| - Enlist and arrange tools and material as per job |  |  |
| - Arrange work permit for the wiring task |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Perform Wiring using following methods: • Concealed • Conduit • Busway • Open • Duct |  |  |
| - Follow procedure to remove insulation and to attach thimbles |  |  |
| - Perform different types of terminations including • High tension (HT) • Low tension (LT) • Control shrouding • Sleeves |  |  |
| - Perform different types of joints • High tension • Low tension • Water proof/underground • Open |  |  |
| - Attach tags or numbers to wires for identification |  |  |
| - Use personal protective equipment as per job requirement |  |  |
| - Maintain distance between power, communication and control wires according to job requirements |  |  |
| - Perform alignment of cables as per job requirement |  |  |
| - Check continuity using line of terminal |  |  |
| - Perform test to identify open/close circuits |  |  |
| - Perform live test for verification of wiring |  |  |
| - Verify proper grounding / Panel earthing (PE) on designated locations |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Workshop Practice-I (electrical wiring) |
| --- | --- |
| Competency Standard(s) | Perform Electrical Wiring |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Interpret Drawing - Arrange Resources for electrical wiring - Perform Wiring (Domestic & Industrial), termination and tagging - Perform Wire Dressing - Perform Checking & Testing of electrical wiring |
| Time: | During a practical assessment, under observation by an assessor, you are required to - Differentiate between control and power wiring as per job requirement - Perform preliminary marking before termination of cables - Follow drawing to perform wiring and for reporting/record purpose - Enlist and arrange tools and material as per job - Arrange work permit for the wiring task - Arrange backup resources for lighting, power and safety purposes as per job requirement - Perform Wiring using following methods: • Concealed • Conduit • Busway • Open • Duct - Follow procedure to remove insulation and to attach thimbles - Perform different types of terminations including • High tension (HT) • Low tension (LT) • Control shrouding • Sleeves - Perform different types of joints • High tension • Low tension • Water proof/underground • Open - Attach tags or numbers to wires for identification - Use personal protective equipment as per job requirement - Maintain distance between power, communication and control wires according to job requirements - Perform alignment of cables as per job requirement - Check continuity using line of terminal - Perform test to identify open/close circuits - Perform live test for verification of wiring - Verify proper grounding / Panel Earthing (PE) on designated locations |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of welding.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

- Take measurements

- Cut the material as per specifications

- Perform Welding of the material

- Perform Finishing of the object

- Perform fabrication/designing on object

TASK(S):

__________________________________________________________________________________