Assessors Judgment Guide

| Qualification | Building Materials & Construction Techniques |
| --- | --- |
| Competency Standard(s) | Install electrical systsem |
| Candidate Details | Name:_____________________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Interpret Electrical layout - Arrange Resources (e.g. Power Supply, Tools & Equipment) for electrical equipment installation/dismantling - Perform Electrical Panel Installation - Perform Cable Installation - Perform Cable Dismantling - Perform Electrical equipment Dismantling - Perform Electrical Appliances Installation - Perform Earthing - Provide Power Supply to machine |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Interpret layout of the job for installations Read/interpret electrical drawing for electrical wirings |  |  |  |  |  |
|  | Follow drawing to connect components of equipment |  |  |  |  |  |
|  | Enlist and arrange tools and material as per job |  |  |  |  |  |
|  | Arrange work permit for the wiring task |  |  |  |  |  |
|  | Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
|  | Extract information from layout regarding panel installations |  |  |  |  |  |
|  | Place the panel according to layout |  |  |  |  |  |
|  | Connect input and output of cables in relevant panels as per electrical layouts |  |  |  |  |  |
|  | Interpret layouts for cable route |  |  |  |  |  |
|  | Handle cable for laying with the help of stacker |  |  |  |  |  |
|  | Tag both ends of cables for cable tracing |  |  |  |  |  |
|  | Lay cables in cable trays according to route plan |  |  |  |  |  |
|  | Perform testing of cables e.g. insulation, continuity etc |  |  |  |  |  |
|  | Interpret layouts for cable route |  |  |  |  |  |
|  | Disconnect electric supply from the job |  |  |  |  |  |
|  | Handle cable for laying with the help of stacker . |  |  |  |  |  |
|  | Tag both ends of cables for cable tracing |  |  |  |  |  |
|  | Remove cables in cable trays according to route plan |  |  |  |  |  |
|  | Interpret vendor’s user manual for electrical installations |  |  |  |  |  |
|  | Coordinate with concerned departments before installations for feedback |  |  |  |  |  |
|  | Connect cables with machines as per operation manual |  |  |  |  |  |
|  | Verify the connections with respect to color coding/tagging/numbering |  |  |  |  |  |
|  | Extract information from layouts regarding electrical equipment dismantling |  |  |  |  |  |
|  | Disconnect input/output cables of relevant equipment |  |  |  |  |  |
|  | Remove equipment from location as per SOPs |  |  |  |  |  |
|  | Handle removed equipment as per manufacturers’ instructions |  |  |  |  |  |
|  | Place tags on dismantled items as per SOPs |  |  |  |  |  |
|  | Store the dismantled equipment at designated place |  |  |  |  |  |
|  | Perform earthing of cables according to calculated load |  |  |  |  |  |
|  | Perform earthing of electrical appliances according to calculated load |  |  |  |  |  |
|  | Perform earth resistance test as per standards |  |  |  |  |  |
|  | Interpret electrical drawings for power supply distribution |  |  |  |  |  |
|  | Perform power distribution according to drawings |  |  |  |  |  |
|  | Perform verification of electrical supply as per operations manual |  |  |  |  |  |
|  | Perform communication with all concerned persons for electrical appliance dry-run |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Knowledge Assessment

| Qualification | Building Materials & Construction Techniques |
| --- | --- |
| Competency Standard(s) | Assess construction faults in buildings |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are the types of drawing? |  |  |
|  | What are the types of connection scheme of job? |  |  |
|  | What are the quality standards of original products? |  |  |
|  | What are the public hazards associated with electrical system? |  |  |
|  | Name different methods of cable testing. |  |  |
|  | What are the safe handling techniques of cables? |  |  |
|  | What is purpose of taging? |  |  |
|  | Name different materials used for installing electrical applicances? |  |  |
|  | Name different types of coding? |  |  |
|  | Define earthing. |  |  |
|  | Define earth tester. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Building Materials & Construction Techniques |
| Competency Standards | Install electrical systsem |
| Assessment Task | - Interpret Electrical layout - Arrange Resources (e.g. Power Supply, Tools & Equipment) for electrical equipment installation/dismantling - Perform Electrical Panel Installation - Perform Cable Installation - Perform Cable Dismantling - Perform Electrical equipment Dismantling - Perform Electrical Appliances Installation - Perform Earthing - Provide Power Supply to machine |

I can……………….

| Interpret layout of the job for installations Read/interpret electrical drawing for electrical wirings | Yes | No |
| --- | --- | --- |
| Follow drawing to connect components of equipment |  |  |
| Enlist and arrange tools and material as per job |  |  |
| Arrange work permit for the wiring task |  |  |
| Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| Extract information from layout regarding panel installations |  |  |
| Place the panel according to layout |  |  |
| Connect input and output of cables in relevant panels as per electrical layouts |  |  |
| Interpret layouts for cable route |  |  |
| Handle cable for laying with the help of stacker |  |  |
| Tag both ends of cables for cable tracing |  |  |
| Lay cables in cable trays according to route plan |  |  |
| Perform testing of cables e.g. insulation, continuity etc |  |  |
| Interpret layouts for cable route |  |  |
| Disconnect electric supply from the job |  |  |
| Handle cable for laying with the help of stacker . |  |  |
| Tag both ends of cables for cable tracing |  |  |
| Remove cables in cable trays according to route plan |  |  |
| Interpret vendor’s user manual for electrical installations |  |  |
| Coordinate with concerned departments before installations for feedback |  |  |
| Connect cables with machines as per operation manual |  |  |
| Verify the connections with respect to color coding/tagging/numbering |  |  |
| Extract information from layouts regarding electrical equipment dismantling |  |  |
| Disconnect input/output cables of relevant equipment |  |  |
| Remove equipment from location as per SOPs |  |  |
| Handle removed equipment as per manufacturers’ instructions |  |  |
| Place tags on dismantled items as per SOPs |  |  |
| Store the dismantled equipment at designated place |  |  |
| Perform earthing of cables according to calculated load |  |  |
| Perform earthing of electrical appliances according to calculated load |  |  |
| Perform earth resistance test as per standards |  |  |
| Interpret electrical drawings for power supply distribution |  |  |
| Perform power distribution according to drawings |  |  |
| Perform verification of electrical supply as per operations manual |  |  |
| Perform communication with all concerned persons for electrical appliance dry-run |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________
Instruction Sheet for the Candidate

| Qualification | Building Materials & Construction Techniques |
| --- | --- |
| Competency Standard(s) | Install electrical systsem |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | - Interpret Electrical layout - Arrange Resources (e.g. Power Supply, Tools & Equipment) for electrical equipment installation/dismantling - Perform Electrical Panel Installation - Perform Cable Installation - Perform Cable Dismantling - Perform Electrical equipment Dismantling - Perform Electrical Appliances Installation - Perform Earthing - Provide Power Supply to machine |
| Time: 2 hour | During a practical assessment, under observation by an assessor, you are required to - Interpret layout of the job for installations - Read/interpret electrical drawing for electrical wirings - Follow drawing to connect components of equipment - Enlist and arrange tools and material as per job - Arrange work permit for the wiring task - Arrange backup resources for lighting, power and safety purposes as per job requirement - Extract information from layout regarding panel installations - Place the panel according to layout - Connect input and output of cables in relevant panels as per electrical layouts - Interpret layouts for cable route - Handle cable for laying with the help of stacker - Tag both ends of cables for cable tracing - Lay cables in cable trays according to route plan - Perform testing of cables e.g. insulation, continuity etc - Interpret layouts for cable route - Disconnect electric supply from the job - Handle cable for laying with the help of stacker - Tag both ends of cables for cable tracing - Remove cables in cable trays according to route plan - Interpret vendor’s user manual for electrical installations - Coordinate with concerned departments before installations for feedback - Connect cables with machines as per operation manual - Verify the connections with respect to color coding/tagging/numbering - Extract information from layouts regarding electrical equipment dismantling - Disconnect input/output cables of relevant equipment - Remove equipment from location as per SOPs - Handle removed equipment as per manufacturers’ instructions - Place tags on dismantled items as per SOPs - Store the dismantled equipment at designated place - Perform earthing of cables according to calculated load - Perform earthing of electrical appliances according to calculated load - Perform earth resistance test as per standards - Interpret electrical drawings for power supply distribution - Perform power distribution according to drawings - Perform verification of electrical supply as per operations manual - Perform communication with all concerned persons for electrical appliance dry-run |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of welding.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

- Take measurements

- Cut the material as per specifications

- Perform Welding of the material

- Perform Finishing of the object

- Perform fabrication/designing on object

TASK(S):

__________________________________________________________________________________