| Instruction Sheet for the Candidate |  |
| --- | --- |
| Qualification | Quantity Surveying |
| Competency Standard(s) | Produce Detailed Estimate of Wells. |
| Purpose of Assessment | Formative |
| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Calculate the quantities based on SMM /CSR for persian well. - Prepare abstract of cost using rates from MRS/ CSR for persian well - Calculate the quantities based on SMM /CSR for subhead No. 1 investigation of source. - Calculate the quantities based on SMM /CSR for subhead No. 2 Boring & lowering of pipe for tube well. - Calculate the quantities based on SMM /CSR for subhead No. 3 pump and pumping machinery for tube well. - Calculate the quantities based on SMM /CSR for subhead No. 4 pump room for tube well. - Calculate the quantities for subhead No. 5 external electrification for tube well. - Prepare abstract of cost using rates from MRS/ CSR for Tube well. |
| Time: | During a practical assessment, under observation by an assessor, you are required to - Calculate the quantities of excavation, cutting edge, well curb. - Calculate the quantities of sinking, surcharge weight/ false masonry. - Calculate the quantities of dry masonry, wet masonry & surrounding floor. - Put quantities of all items of work in Abstract of cost table and relevant rates for Persian well. - Calculate the amount of each item of work and Sum up the amounts for Persian well. - Add premium/ contractor’s profit on amounts of relevant rates for Persian well. - Calculate the quantities of Electric Resistivity Survey. - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. - Prepare Bill of Quantities for investigation of source. - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. - Calculate the quantities of bail plug, strainer, blind pipe, shrouding. - Prepare Bill of Quantities for boring. - Calculate the quantities of pump/ turbine with gear & motor, chlorination chamber, discharge gauge, chain pulley block. - Calculate the quantities of tool kit, steel tool cabinet, testing & development of tube well. - Prepare Bill of Quantities for pump and pumping machinery. - Draw the centre lines in plan of pump room. - Sum up the lengths of centre lines. - Apply the principle of centre line method. - Calculate the quantities of items of work for building. - Apply the principles of deduction for surface rendering. - Prepare Bill of Quantities for pump room. - Calculate the quantities of electric poles, bared twisted cables, and transformer. - Calculate the quantities of electric energy meter, main switch, starter and internal electrification. - Prepare Bill of Quantities for electrification. - Put quantities of all items of work in Abstract of cost table and relevant rates. - Calculate the amount of each item of work and Sum up the amounts. - Add premium/ contractor’s profit on amounts of relevant rates for tube well. - Prepare Summary of all the five sub heads of Tube well. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Quantity Surveying |
| Competency Standards | Produce Detailed Estimate of Wells. |
| Assessment Task | Calculate the quantities based on SMM /CSR for persian well. |
|  | Prepare abstract of cost using rates from MRS/ CSR for persian well |
|  | Calculate the quantities based on SMM /CSR for subhead No. 1 investigation of source. |
|  | Calculate the quantities based on SMM /CSR for subhead No. 2 Boring & lowering of pipe for tube well. |
|  | Calculate the quantities based on SMM /CSR for subhead No. 3 pump and pumping machinery for tube well. |
|  | Calculate the quantities based on SMM /CSR for subhead No. 4 pump room for tube well. |
|  | Calculate the quantities for subhead No. 5 external electrification for tube well. |
|  | Prepare abstract of cost using rates from MRS/ CSR for Tube well. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Calculate the quantities of excavation, cutting edge, well curb. |  |  |
| - Calculate the quantities of sinking, surcharge weight/ false masonry. |  |  |
| - Calculate the quantities of dry masonry, wet masonry & surrounding floor. |  |  |
| - Put quantities of all items of work in Abstract of cost table and relevant rates for Persian well. |  |  |
| - Calculate the amount of each item of work and Sum up the amounts for Persian well. |  |  |
| - Add premium/ contractor’s profit on amounts of relevant rates for Persian well. |  |  |
| - Calculate the quantities of Electric Resistivity Survey. |  |  |
| - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. |  |  |
| - Prepare Bill of Quantities for investigation of source. |  |  |
| - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. |  |  |
| - Calculate the quantities of bail plug, strainer, blind pipe, shrouding. |  |  |
| - Prepare Bill of Quantities for boring. |  |  |
| - Calculate the quantities of pump/ turbine with gear & motor, chlorination chamber, discharge gauge, chain pulley block. |  |  |
| - Calculate the quantities of tool kit, steel tool cabinet, testing & development of tube well. |  |  |
| - Prepare Bill of Quantities for pump and pumping machinery. |  |  |
| - Draw the centre lines in plan of pump room. |  |  |
| - Sum up the lengths of centre lines. |  |  |
| - Apply the principle of centre line method. |  |  |
| - Calculate the quantities of items of work for building. |  |  |
| - Apply the principles of deduction for surface rendering. |  |  |
| - Prepare Bill of Quantities for pump room. |  |  |
| - Calculate the quantities of electric poles, bared twisted cables, and transformer. |  |  |
| - Calculate the quantities of electric energy meter, main switch, starter and internal electrification. |  |  |
| - Prepare Bill of Quantities for electrification. |  |  |
| - Put quantities of all items of work in Abstract of cost table and relevant rates. |  |  |
| - Calculate the amount of each item of work and Sum up the amounts. |  |  |
| - Add premium/ contractor’s profit on amounts of relevant rates for tube well. |  |  |
| - Prepare Summary of all the five sub heads of Tube well. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Quantity Surveying |
| --- | --- |
| Competency Standard(s) | Produce Detailed Estimate of Wells. |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Calculate the quantities based on SMM /CSR for persian well. - Prepare abstract of cost using rates from MRS/ CSR for persian well - Calculate the quantities based on SMM /CSR for subhead No. 1 investigation of source. - Calculate the quantities based on SMM /CSR for subhead No. 2 Boring & lowering of pipe for tube well. - Calculate the quantities based on SMM /CSR for subhead No. 3 pump and pumping machinery for tube well. - Calculate the quantities based on SMM /CSR for subhead No. 4 pump room for tube well. - Calculate the quantities for subhead No. 5 external electrification for tube well. - Prepare abstract of cost using rates from MRS/ CSR for Tube well. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Calculated the quantities of excavation, cutting edge, well curb. |  |  |  |  |  |
|  | Calculated the quantities of sinking, surcharge weight/ false masonry. |  |  |  |  |  |
|  | Calculated the quantities of dry masonry, wet masonry & surrounding floor. |  |  |  |  |  |
|  | Putted quantities of all items of work in Abstract of cost table and relevant rates for Persian well. |  |  |  |  |  |
|  | Calculated the amount of each item of work and Summed up the amounts for Persian well. |  |  |  |  |  |
|  | Added premium/ contractor’s profit on amounts of relevant rates for Persian well. |  |  |  |  |  |
|  | Calculated the quantities of Electric Resistivity Survey. |  |  |  |  |  |
|  | Calculated the quantities of Boring, Collection of samples, Built Box and Testing of samples. |  |  |  |  |  |
|  | Prepared Bill of Quantities for investigation of source. |  |  |  |  |  |
|  | Calculated the quantities of Boring, Collection of samples, Built Box and Testing of samples. |  |  |  |  |  |
|  | Calculated the quantities of bail plug, strainer, blind pipe, shrouding. |  |  |  |  |  |
|  | Prepared Bill of Quantities for boring. |  |  |  |  |  |
|  | Calculated the quantities of pump/ turbine with gear & motor, chlorination chamber, discharge gauge, chain pulley block. |  |  |  |  |  |
|  | Calculated the quantities of tool kit, steel tool cabinet, testing & development of tube well. |  |  |  |  |  |
|  | Prepared Bill of Quantities for pump and pumping machinery. |  |  |  |  |  |
|  | Drew the centre lines in plan of pump room. |  |  |  |  |  |
|  | Summed up the lengths of centre lines. |  |  |  |  |  |
|  | Applied the principle of centre line method. |  |  |  |  |  |
|  | Calculated the quantities of items of work for building. |  |  |  |  |  |
|  | Applied the principles of deduction for surface rendering. |  |  |  |  |  |
|  | Prepared Bill of Quantities for pump room. |  |  |  |  |  |
|  | Calculated the quantities of electric poles, bared twisted cables, and transformer. |  |  |  |  |  |
|  | Calculated the quantities of electric energy meter, main switch, starter and internal electrification. |  |  |  |  |  |
|  | Prepared Bill of Quantities for electrification. |  |  |  |  |  |
|  | Putted quantities of all items of work in Abstract of cost table and relevant rates. |  |  |  |  |  |
|  | Calculated the amount of each item of work and Summed up the amounts. |  |  |  |  |  |
|  | Added premium/ contractor’s profit on amounts of relevant rates for tube well. |  |  |  |  |  |
|  | Prepared Summary of all the five sub heads of Tube well. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Quantity Surveying |
| --- | --- |
| Competency Standard(s) | Produce Detailed Estimate of Wells. |
| Candidate Details | Name:_________________________________________________________ Registration/Roll Number: ______Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ___________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define well, Persian well and tube well? |  |  |
|  | State the different parts of Persian well? |  |  |
|  | Enlist the items of work for estimation of Persian well? |  |  |
|  | Enlist the items unit of measurement and units of rate for Persian well? |  |  |
|  | State the different subheads wise parts of tube well? |  |  |
|  | What should be the dia of bore hole for 6” dia pipe? |  |  |
|  | State the items of work with measuring for estimation of tube well- investigation of source? |  |  |
|  | State the items of work with measuring for estimation of tube well- Boring & lowering of pipe? |  |  |
|  | What is meant by percussion boring? |  |  |
|  | What is meant by shrouding? |  |  |
|  | Define a bail plug? |  |  |
|  | Define blind pipe? |  |  |
|  | What is meant by strainer? |  |  |
|  | State the items of work with measuring for estimation of tube well- pump and pumping machinery? |  |  |
|  | State the items of work with measuring for estimation of tube well- pump room? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ____________________