| Instruction Sheet for the Candidate |  |
| --- | --- |
| Qualification | Quantity Surveying |
| Competency Standard(s) | Produce of rough cost estimate of water supply scheme. |
| Purpose of Assessment | Formative |
| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Prepare Rough cost Estimate of pipe lines - Prepare Rough cost Estimate of water tank - Prepare Rough cost Estimate of tube well - Prepare hydraulic statement for pipe lines. |
| Time: | During a practical assessment, under observation by an assessor, you are required to - Take out lengths of each diameter pipe. - Prepare analysis of rate for pipe line. - Calculate amount of pipe line. - Collect population of area. - Calculate capacity of tank in gallons. - Calculate cost of construction of tank. - Calculate the cost for investigation of source. - Calculate the cost for Boring & lowering of pipe. - Calculate the cost for pump and pumping machinery. - Calculate the cost for pump room. - Calculate the cost for external electrification - Note the name of water supply pipe lines and their lengths. - Calculate population based Area to be served for each pipe line (own, other & Total). - Calculate the discharge (@ 10 gals/head) required for each pipe line and during peak hours (starting from source of water). - Propose the dia of pipe, velocity. - Calculate head losses in each pipe line. - Calculate levels of Ground & Hydraulic line for each pipe line. - Calculate Terminal Level Difference. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Quantity Surveying |
| Competency Standards | Produce of rough cost estimate of water supply scheme. |
| Assessment Task | Prepare Rough cost Estimate of pipe lines |
|  | Prepare Rough cost Estimate of water tank |
|  | Prepare Rough cost Estimate of tube well |
|  | Prepare hydraulic statement for pipe lines. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Take out lengths of each diameter pipe. |  |  |
| - Prepare analysis of rate for pipe line. |  |  |
| - Calculate amount of pipe line. |  |  |
| - Collect population of area. |  |  |
| - Calculate capacity of tank in gallons. |  |  |
| - Calculate cost of construction of tank. |  |  |
| - Calculate the cost for investigation of source. |  |  |
| - Calculate the cost for Boring & lowering of pipe. |  |  |
| - Calculate the cost for pump and pumping machinery. |  |  |
| - Calculate the cost for pump room. |  |  |
| - Calculate the cost for external electrification |  |  |
| - Note the name of water supply pipe lines and their lengths. |  |  |
| - Calculate population based Area to be served for each pipe line (own, other & Total). |  |  |
| - Calculate the discharge (@ 10 gals/head) required for each pipe line and during peak hours (starting from source of water). |  |  |
| - Propose the dia of pipe, velocity. |  |  |
| - Calculate head losses in each pipe line. |  |  |
| - Calculate levels of Ground & Hydraulic line for each pipe line. |  |  |
| - Calculate Terminal Level Difference. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Quantity Surveying |
| --- | --- |
| Competency Standard(s) | Produce of rough cost estimate of water supply scheme. |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare Rough cost Estimate of pipe lines - Prepare Rough cost Estimate of water tank - Prepare Rough cost Estimate of tube well - Prepare hydraulic statement for pipe lines. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Took out lengths of each diameter pipe. |  |  |  |  |  |
|  | Prepared analysis of rate for pipe line. |  |  |  |  |  |
|  | Calculated amount of pipe line. |  |  |  |  |  |
|  | Collected population of area. |  |  |  |  |  |
|  | Calculated capacity of tank in gallons. |  |  |  |  |  |
|  | Calculated cost of construction of tank. |  |  |  |  |  |
|  | Calculated the cost for investigation of source. |  |  |  |  |  |
|  | Calculated the cost for Boring & lowering of pipe. |  |  |  |  |  |
|  | Calculated the cost for pump and pumping machinery. |  |  |  |  |  |
|  | Calculated the cost for pump room. |  |  |  |  |  |
|  | Calculated the cost for external electrification |  |  |  |  |  |
|  | Noted the name of water supply pipe lines and their lengths. |  |  |  |  |  |
|  | Calculated population based Area to be served for each pipe line (own, other & Total). |  |  |  |  |  |
|  | Calculated the discharge (@ 10 gals/head) required for each pipe line and during peak hours (starting from source of water). |  |  |  |  |  |
|  | Proposed the dia of pipe, velocity. |  |  |  |  |  |
|  | Calculated head losses in each pipe line. |  |  |  |  |  |
|  | Calculated levels of Ground & Hydraulic line for each pipe line. |  |  |  |  |  |
|  | Calculated Terminal Level Difference. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Quantity Surveying |
| --- | --- |
| Competency Standard(s) | Produce of rough cost estimate of water supply scheme. |
| Candidate Details | Name:_________________________________________________________ Registration/Roll Number: ______Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ___________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Hydraulic Statement? |  |  |
|  | Enlist sub heads for water supply scheme? |  |  |
|  | List all items of works for pipe line and their measurement units? |  |  |
|  | Draw table of hydraulic Statement? |  |  |
|  | State the elements of hydraulic statement for water supply scheme? |  |  |
|  | What is meant by investigation of source? |  |  |
|  | What is meant by standard demand? |  |  |
|  | What is meant by peak demand? |  |  |
|  | What is the value of velocity for flow in pipeline? |  |  |
|  | State the formula to calculate the head losses in pipes? |  |  |
|  | Why ground and hydraulic line levels are calculated? |  |  |
|  | State items of work for pump and pumping machinery? |  |  |
|  | State items of work for boring and lowering of pipes? |  |  |
|  | What is meant by chlorination chamber? |  |  |
|  | What is meant by hydraulic line? |  |  |
|  | What filtering media is placed around strainer pipe? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ____________________