Instruction Sheet for the Candidate

| Qualification | Plumbing/Public Health & water supply |
| --- | --- |
| Competency Standard(s) | 9.8.7 Install & repair water pumps |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Install Air ejector Pump - Install Centrfugal Pump - Install Rotary Pump - Carry out repair of Pump |
| Time: | During a practical assessment, under observation by an assessor, you are required to 1. Mark out Installation point 2. Measure Pipes with fitting 3. Measure Pipes with fittings 4. Fix flanges with suction & delivery pipes 5. Perform leakage test 6. Perform Safety Precaution 7. Disconnect electricity and pump 8. Check for Fault 9. Repair it 10. Refit with suction & delivery pipes 11. Connect with electricity 12. Perform leakage test 13. Use PPEs |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Plumbing/Public Health & water supply |
| Competency Standards | 9.8.7 Install & repair water pumps |
| Assessment Task | - Install Air ejector Pump - Install Centrfugal Pump - Install Rotary Pump - Carry out repair of Pump |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Mark out Installation point |  |  |
| - Perform Safety Precaution |  |  |
| - Measure Pipes with fittings |  |  |
| - Fix pump with suction & delivery pump |  |  |
| - Connect with electricity |  |  |
| - Perform leakage test |  |  |
| - Use PPEs |  |  |
| - Mark out Installation point |  |  |
| - Perform Safety Precaution |  |  |
| - Measure Pipes with fittings |  |  |
| - Fix flanges with suction & delivery pipes |  |  |
| - Connect with electricity |  |  |
| - Perform leakage test |  |  |
| - Use PPEs |  |  |
| - Mark out Installation point |  |  |
| - Perform Safety Precaution |  |  |
| - Measure Pipes with fittings |  |  |
| - Fix flanges with suction & delivery pipes |  |  |
| - Connect with electricity |  |  |
| - Perform leakage test |  |  |
| - Use PPEs |  |  |
| - Perform Safety Precaution |  |  |
| - Disconnect electricity and pump |  |  |
| - Use PPEs |  |  |
| - Check for Fault |  |  |
| - Repair it |  |  |
| - Refit with suction & delivery pipes |  |  |
| - Connect with electricity |  |  |
| - Perform leakage test |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Plumbing/Public Health & water supply |
| --- | --- |
| Competency Standard(s) | 9.8.7 Install & repair water pumps |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Air ejector Pump - Install Centrfugal Pump - Install Rotary Pump - Carry out repair of Pump |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Marked out Installation point |  |  |  |  |  |
|  | Performed Safety Precaution |  |  |  |  |  |
|  | Measured Pipes with fittings |  |  |  |  |  |
|  | Fixed pump with suction & delivery pump |  |  |  |  |  |
|  | Connected with electricity |  |  |  |  |  |
|  | Performed leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Marked out Installation point |  |  |  |  |  |
|  | Performed Safety Precaution |  |  |  |  |  |
|  | Measured Pipes with fittings |  |  |  |  |  |
|  | Fixed flanges with suction & delivery pipes |  |  |  |  |  |
|  | Connected with electricity |  |  |  |  |  |
|  | Performed leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Marked out Installation point |  |  |  |  |  |
|  | Performed Safety Precaution |  |  |  |  |  |
|  | Measured Pipes with fittings |  |  |  |  |  |
|  | Fixed flanges with suction & delivery pipes |  |  |  |  |  |
|  | Connected with electricity |  |  |  |  |  |
|  | Performed leakage test |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Performed Safety Precaution |  |  |  |  |  |
|  | Disconnected electricity and pump |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Checked for Fault |  |  |  |  |  |
|  | Repaired it |  |  |  |  |  |
|  | Refitted with suction & delivery pipes |  |  |  |  |  |
|  | Connected with electricity |  |  |  |  |  |
|  | Performed leakage test |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Plumbing/Public Health & water supply |
| --- | --- |
| Competency Standard(s) | Install & repair water pumps |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define leakage in pipes |  |  |
|  | Define leakage in pumps |  |  |
|  | Interpret working of different pumps |  |  |
|  | State repairing of different pumps. |  |  |
|  | Name the equipment’s used for installing pumps |  |  |
|  | Name safety measures while performing repair of works |  |  |
|  | Define centrifugal pump |  |  |
|  | Define rotatory pump |  |  |
|  | How pipes and pumps are joined together |  |  |
|  | Interpret leakage checking with its methods |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ______________________