Instruction Sheet for the Candidate

| Qualification | Plumbing/Public Health & water supply |
| --- | --- |
| Competency Standard(s) | 9.8.8 Install turbine pumps |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): 1. Install turbine |
| Time: | During a practical assessment, under observation by an assessor, you are required to 1. Mark out Installation point 2. Use PPEs 3. Check depth of bore 4. Adopt Safety Measures 5. Measure turbine Pipes with fittings 6. Fix Turbine with flange & Pipes 7. Insert turbine into bore with tripod & chain pulley 8. Connect Motor with shaft fittings 9. Connect electricity and start 10. Remove tripod 11. Check discharge |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Plumbing/Public Health & water supply |
| Competency Standards | 9.8.8 Install turbine pumps |
| Assessment Task | - Install turbine |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Mark out Installation point |  |  |
| - Use PPEs |  |  |
| - Check depth of bore |  |  |
| - Adopt Safety Measures |  |  |
| - Measure turbine Pipes with fittings |  |  |
| - Fix Turbine with flange & Pipes |  |  |
| - Insert turbine into bore with tripod & chain pulley |  |  |
| - Connect Motor with shaft fittings |  |  |
| - Connect electricity and start |  |  |
| - Remove tripod |  |  |
| - Check discharge |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Plumbing/Public Health & water supply |
| --- | --- |
| Competency Standard(s) | 9.8.8 Install turbine pumps |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Install turbine |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Marked out Installation point |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Checked depth of bore |  |  |  |  |  |
|  | Adopted Safety Measures |  |  |  |  |  |
|  | Measured turbine Pipes with fittings |  |  |  |  |  |
|  | Fixed Turbine with flange & Pipes |  |  |  |  |  |
|  | Inserted turbine into bore with tripod & chain pulley |  |  |  |  |  |
|  | Connected Motor with shaft fittings |  |  |  |  |  |
|  | Connected electricity and start |  |  |  |  |  |
|  | Removed tripod |  |  |  |  |  |
|  | Checked discharge |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Plumbing/Public Health & water supply |
| --- | --- |
| Competency Standard(s) | Install turbine pumps |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Define turbine |  |  |  |
|  | State working of turbine |  |  |  |
|  | State use of tools and equipment’s for turbine fitting |  |  |  |
|  | Name different joining techniques and pipe fittings |  |  |  |
|  | What is leakage testing |  |  |  |
|  | Interpret turbine impellers with its fittings |  |  |  |
|  | What are installation method into bore? |  |  |  |
|  | Define tripod function |  |  |  |
|  | Define chain pulley function |  |  |  |
|  | Define rotating of impellers. |  |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _____________________ |  |  |  |