Instruction Sheet for the Candidate

| Qualification | Sanitary Engineering |
| --- | --- |
| Competency Standard(s) | Design sanitary sewers |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): 1. Evaluate sanitary sewer 2. Perform Preliminary Investigations to design sanitary sewer 3. Design Hydraulic Equation for sewer |
| Time: 2 hours | During a practical assessment, under observation by an assessor, you are required to - Identify sanitary sewer - Calculate quantity of sewage - Identify population - Identify rate of water supply - Check temperature. - Apply and compare by different formulas - Decide pumping station (If required) - Check results - Identify Area to design sanitary sewer - Obtain pertinent maps - Identify structures and utilities - Determine groundwater conditions - Show Gradient for sewer - Determine characteristics/subsurface of soil in which sewers are to be constructed - Identify Manning equation - Identify Manning “n” value (not less than 0.013) - Suggest type of construction - Suggest length of sewer pipe - Suggest Gradient for sewer - Identify Manholes distances or connections from buildings |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Sanitary Engineering |
| Competency Standards | Design sanitary sewers |
| Assessment Task | 1. Evaluate sanitary sewer 2. Perform Preliminary Investigations to design sanitary sewer 3. Design Hydraulic Equation for sewer |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Identify sanitary sewer |  |  |
| Calculate quantity of sewage |  |  |
| Identify population |  |  |
| Identify rate of water supply |  |  |
| Check temperature. |  |  |
| Apply and compare by different formulas |  |  |
| Decide pumping station (If required) |  |  |
| Check results |  |  |
| Identify Area to design sanitary sewer |  |  |
| Obtain pertinent maps |  |  |
| Identify structures and utilities |  |  |
| Determine groundwater conditions |  |  |
| Show Gradient for sewer |  |  |
| Determine characteristics/subsurface of soil in which sewers are to be constructed |  |  |
| Identify Manning equation |  |  |
| Identify Manning “n” value (not less than 0.013) |  |  |
| Suggest type of construction |  |  |
| Suggest length of sewer pipe |  |  |
| Suggest Gradient for sewer |  |  |
| Identify Manholes distances or connections from buildings |  |  |

Candidate’s Signature__________________ Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Sanitary Engineering |
| --- | --- |
| Competency Standard(s) | Design sanitary sewers |
| Candidate Details | Name:_______Arslan _______________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Evaluate sanitary sewer 2. Perform Preliminary Investigations to design sanitary sewer 3. Design Hydraulic Equation for sewer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified sanitary sewer |  |  |  |  |  |
|  | Calculated quantity of sewage |  |  |  |  |  |
|  | Identified population |  |  |  |  |  |
|  | Identified rate of water supply |  |  |  |  |  |
|  | Checked temperature. |  |  |  |  |  |
|  | Applied and compare by different formulas |  |  |  |  |  |
|  | Decided pumping station (If required) |  |  |  |  |  |
|  | Checked results |  |  |  |  |  |
|  | Identified Area to design sanitary sewer |  |  |  |  |  |
|  | Obtained pertinent maps |  |  |  |  |  |
|  | Identified structures and utilities |  |  |  |  |  |
|  | Determined groundwater conditions |  |  |  |  |  |
|  | Showed Gradient for sewer |  |  |  |  |  |
|  | Determined characteristics/subsurface of soil in which sewers are to be constructed |  |  |  |  |  |
|  | Identified Manning equation |  |  |  |  |  |
|  | Identified Manning “n” value (not less than 0.013) |  |  |  |  |  |
|  | Suggested type of construction |  |  |  |  |  |
|  | Suggested length of sewer pipe |  |  |  |  |  |
|  | Suggested Gradient for sewer |  |  |  |  |  |
|  | Identified Manholes distances or connections from buildings |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Sanitary Engineering |
| --- | --- |
| Competency Standard(s) | Design sanitary sewers |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define sanitary sewer |  |  |
|  | Name graphical methods to solve hydrological problems to design for sewer. |  |  |
|  | Name the essential features for sewerage system. |  |  |
|  | Name essential features of installations for the sanitary sewers. |  |  |
|  | Define the “Self Cleaning Velocity” for sewage |  |  |
|  | What is optimizing quality of sewage |  |  |
|  | Enlist safety precautions for laying sewers in plain area |  |  |
|  | Enlist safety precautions for laying sewers in hilly area |  |  |
|  | What is manholes c/c distance for different sewers |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________