Instruction Sheet for the Candidate

| Qualification | Sanitary Engineering |
| --- | --- |
| Competency Standard(s) | Install Sewage Pumps |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | - Interpret plan sewage pump (Existing scheme) - Interpret plan sewage pump (New scheme) |
| Time: 2 hours | During a practical assessment, under observation by an assessor, you are required to - Identify sewage to pumping - Investigate problem - Identify pump - Plan site selection for sewage pumping - Prepare drawing with dimension - Plan well pipes measurements and directions - Construct dry & wet well - Install pump - Switched with power - Check pumping capacity of sewage pump - Demonstrate pump maintenance system requirements - Perform pumping |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Sanitary Engineering |
| Competency Standards | Install Sewage Pumps |
| Assessment Task | - Interpret plan sewage pump (Existing scheme) - Interpret plan sewage pump (New scheme) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Identify sewage to pumping |  |  |
| Investigate problem |  |  |
| Install pump (Fixed or Mobile) |  |  |
| Switch on with power |  |  |
| Perform pumping |  |  |
| Identify pump |  |  |
| Prepare Drawing with dimension |  |  |
| Construct dry & wet well |  |  |
| Install pump |  |  |
| Switched with power |  |  |
| Check pumping capacity of sewage pump |  |  |
| Perform pumping |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Sanitary Engineering |
| --- | --- |
| Competency Standard(s) | Install Sewage Pumps |
| Candidate Details | Name:______________ Arslan _______________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Interpret plan sewage pump (Existing scheme) - Interpret plan sewage pump (New scheme) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified sewage to pumping |  |  |  |  |  |
|  | Investigated problem |  |  |  |  |  |
|  | Installed pump (Fixed or Mobile) |  |  |  |  |  |
|  | Switched on with power |  |  |  |  |  |
|  | Performed pumping |  |  |  |  |  |
|  | Identified pump |  |  |  |  |  |
|  | Prepared Drawing with dimension |  |  |  |  |  |
|  | Constructed dry & wet well |  |  |  |  |  |
|  | Installed pump |  |  |  |  |  |
|  | Switched with power |  |  |  |  |  |
|  | Checked pumping capacity of sewage pump |  |  |  |  |  |
|  | Performed pumping |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Sanitary Engineering |
| --- | --- |
| Competency Standard(s) | Install Sewage Pumps |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How sewage pumping is carried out |  |  |
|  | Name tools and equipments used to pump sewage |  |  |
|  | Name different type of pumps use for sewage pumping |  |  |
|  | Define wet well |  |  |
|  | Define dry well |  |  |
|  | Name components of wet well |  |  |
|  | Name components of dry well |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________