Instruction Sheet for the Candidate

| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment – WATER SUPPLY |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Estimate demand for water supply and plan water distribution system. - Knowledge Assessment |
| Time: 05 Hrs | - During a practical assessment, under observation by an assessor, you are required to “Estimate demand for water supply and plan water distribution system” demonstrating the following criteria: |
| Minimum Evidence Required | - Calculate number of people - Calculate per capita consumption. - Check temperature. - Identify Losses - Identify quality & quantity of water - Identify rate of water supply - Identify number of hydrants - Suggest Spacing between Hydrants - Select supply of water by (gravity / pumping) - Mark out distribution network points - Identify dead end system, Radial system or Ring System - Identify Grid Iron System - Mark out place for reservoir - Identify surface reservoir or elevated reservoir - Identify quantity of water for reservoir - Calculate Fire demand storage - Evaluate methodology of distribution system - Develop pipe networks into sub networks - Recognize Data - Prepare hydraulic model - Analyze Results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| Purpose of Assessment | Summative Assessment – WATER SUPPLY |
| Assessment Task | Estimate demand for water supply and plan water distribution system. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Calculate number of people |  |  |
| - Calculate per capita consumption. |  |  |
| - Check temperature. |  |  |
| - Identify Losses |  |  |
| - Identify quality & quantity of water |  |  |
| - Identify rate of water supply |  |  |
| - Identify number of hydrants |  |  |
| - Suggest Spacing between Hydrants |  |  |
| - Select supply of water by (gravity / pumping) |  |  |
| - Mark out distribution network points |  |  |
| - Identify dead end system, Radial system or Ring System |  |  |
| - Identify Grid Iron System |  |  |
| - Mark out place for reservoir |  |  |
| - Identify surface reservoir or elevated reservoir |  |  |
| - Identify quantity of water for reservoir |  |  |
| - Calculate Fire demand storage |  |  |
| - Evaluate methodology of distribution system |  |  |
| - Develop pipe networks into sub networks |  |  |
| - Recognize Data |  |  |
| - Prepare hydraulic model |  |  |
| - Analyze Results |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment – WATER SUPPLY |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Calculated number of people |  |  |  |  |  |
|  | Calculated per capita consumption. |  |  |  |  |  |
|  | Checked temperature. |  |  |  |  |  |
|  | Identified Losses |  |  |  |  |  |
|  | Identified quality & quantity of water |  |  |  |  |  |
|  | Identified rate of water supply |  |  |  |  |  |
|  | Identified number of hydrants |  |  |  |  |  |
|  | Suggested Spacing between Hydrants |  |  |  |  |  |
|  | Selected supply of water by (gravity / pumping) |  |  |  |  |  |
|  | Marked out distribution network points |  |  |  |  |  |
|  | Identified dead end system, Radial system or Ring System |  |  |  |  |  |
|  | Identified Grid Iron System |  |  |  |  |  |
|  | Marked out place for reservoir |  |  |  |  |  |
|  | Identified surface reservoir or elevated reservoir |  |  |  |  |  |
|  | Identified quantity of water for reservoir |  |  |  |  |  |
|  | Calculated Fire demand storage |  |  |  |  |  |
|  | Evaluated methodology of distribution system |  |  |  |  |  |
|  | Developed pipe networks into sub networks |  |  |  |  |  |
|  | Recognized Data |  |  |  |  |  |
|  | Prepared hydraulic model |  |  |  |  |  |
|  | Analyzed Results |  |  |  |  |  |
| Competent |  |  | Not competent |  |  |  |

Knowledge Assessment

| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment – WATER SUPPLY |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name different water treatment processes |  |  |
|  | Enlist different stages for water treatment process |  |  |
|  | Define filter media and it types |  |  |
|  | Name different type of screens used for treatment of water |  |  |
|  | Interpret the purpose and application of aqueduct |  |  |
|  | Name different type of pipes use in water supply system |  |  |
|  | Define PPRC pipes with it joining methods |  |  |
|  | Define intakes and its type. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________

HYDRAULIC STATEMENT FOR WATER SUPPLY

| Line | Length (m) | Discharge m3/sec | Gradient | Total Population | Velocity m/sec | Dia (cm) | Head Loss (m) | Total Population Head (h) | h/Q |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AB | 750 | 0.46 | 1:1000 | 16240 | 2.5 |  |  |  |  |
| AC | 650 | 0.38 | 1:1000 | 18000 | 2.5 |  |  |  |  |
| CD | 750 | 0.26 | 1:1000 | 18500 | 2.5 |  |  |  |  |
| BC | 650 | 0.35 | 1:1000 | 19200 | 2.5 |  |  |  |  |

FORMULA’S TO BE USED:

Head Loss = 10.65[Q1.85/C1.85][L/d4.87]

C=100

For dia; Q= AV