Instruction Sheet for the Candidate

| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment - Plumbing |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Install and repair pumps (water pump and turbine pump) - Knowledge Assessment |
| Time: 04 Hrs | - During a practical assessment, under observation by an assessor, you are required to “ Install and repair pumps (water pump and turbine pump) ” demonstrating the following criteria: |
| Minimum Evidence Required | - Mark out Installation point - Perform Safety Precaution - Measure Pipes with fittings - Fix pump with suction & delivery pump - Install flanges with pumps and pipes - Disconnect electricity and pump - Use PPEs - Check for Fault - Repair it - Refit with suction & delivery pipes - Connect with electricity - Perform leakage test - Measure turbine Pipes with fittings - Fix Turbine with flange & Pipes - Insert turbine into bore with tripod & chain pulley - Connect Motor with shaft fittings - Connect electricity and start - Remove tripod - Check discharge |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| Purpose of Assessment | Summative Assessment - PLUMBING |
| Assessment Task | Install and repair pumps (water pump and turbine pump) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Mark out Installation point |  |  |
| - Perform Safety Precaution |  |  |
| - Measure Pipes with fittings |  |  |
| - Fix pump with suction & delivery pump |  |  |
| - Install flanges with pumps and pipes |  |  |
| - Disconnect electricity and pump |  |  |
| - Use PPEs |  |  |
| - Check for Fault |  |  |
| - Repair it |  |  |
| - Refit with suction & delivery pipes |  |  |
| - Connect with electricity |  |  |
| - Perform leakage test |  |  |
| - Measure turbine Pipes with fittings |  |  |
| - Fix Turbine with flange & Pipes |  |  |
| - Insert turbine into bore with tripod & chain pulley |  |  |
| - Connect Motor with shaft fittings |  |  |
| - Connect electricity and start |  |  |
| - Remove tripod |  |  |
| - Check discharge |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment - PLUMBING |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Marked out Installation point |  |  |  |  |  |
|  | Performed Safety Precaution |  |  |  |  |  |
|  | Measured Pipes with fittings |  |  |  |  |  |
|  | Fixed pump with suction & delivery pump |  |  |  |  |  |
|  | Installed flanges with pumps and pipes |  |  |  |  |  |
|  | Disconnected electricity and pump |  |  |  |  |  |
|  | Used PPEs |  |  |  |  |  |
|  | Checked for Fault |  |  |  |  |  |
|  | Repaired it |  |  |  |  |  |
|  | Refitted with suction & delivery pipes |  |  |  |  |  |
|  | Connected with electricity |  |  |  |  |  |
|  | Performed leakage test |  |  |  |  |  |
|  | Measured turbine Pipes with fittings |  |  |  |  |  |
|  | Fixed Turbine with flange & Pipes |  |  |  |  |  |
|  | Inserted turbine into bore with tripod & chain pulley |  |  |  |  |  |
|  | Connected Motor with shaft fittings |  |  |  |  |  |
|  | Connected electricity and start |  |  |  |  |  |
|  | Removed tripod |  |  |  |  |  |
|  | Checked discharge |  |  |  |  |  |
| Competent |  |  | Not competent |  |  |  |

Knowledge Assessment

| Qualification | 0611ICT09 National Vocational Certificate Level-3 in Civil Technology ( Plumbing Public Health and Water Supply ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment - PLUMBING |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define turbine impellers |  |  |
|  | What is the function of tripod and chain pulley |  |  |
|  | Interpret working of different pumps |  |  |
|  | What safety measures are considered while performing repair of works |  |  |
|  | Interpret installation method into bore. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________