Instruction Sheet for the Candidate

| Qualification | 0611ICT09 National Vocational Certificate Level-2 in civil technology ( building materials and construction technique ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment – ( Construction techniques II) |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Apply plaster to wall of area (2’x2’) with 1:3 cement sand mortar and 0.6 water cement ratio and also apply water proofing of internal area. Use Chenab sand and tap water in construction - Knowledge Assessment |
| Time: 05 Hrs | During a practical assessment, under observation by an assessor, you are required to “Apply plaster to wall of area (2’x2’) with 1:3 cement sand mortar and 0.6 water cement ratio and also apply water proofing of internal area. Use Chenab sand and tap water in construction “ demonstrating the following criteria: |
| Minimum Evidence Required | - Obtain, confirm and apply work instructions, including specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Select tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with specifications and quality requirements. - Prepare the surface to be plastered as per the job requirement following standard. - Prepare and apply cement slurry as per the job requirement following standard practices. - Apply mortar mix as per the job requirement to the required specifications following standard procedures. - Cure the plastered surfaces as per the job requirement following standard practices. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyze and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions - Check internal area and wet area fitment or fixtures for specific measurements and set out in accordance with specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required. - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure where applicable. - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required - Apply waterproofing membrane . - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements. - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | 0611ICT09 National Vocational Certificate Level-2 in civil technology ( building materials and construction technique ) |
| Purpose of Assessment | Summative Assessment – ( Construction techniques II ) |
| Assessment Task | Apply plaster to wall of area (2’x2’) with 1:3 cement sand mortar and 0.6 water cement ratio and also apply water proofing of internal area. Use Chenab sand and tap water in construction |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Obtain, confirm and apply work instructions, including specifications, quality requirements and operational details from relevant information for planning and preparation purposes. |  |  |
| Follow safety (OHS) requirements in accordance with safety plans and policies. |  |  |
| Select tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. |  |  |
| Calculate material quantity in accordance with specifications and quality requirements. |  |  |
| Prepare the surface to be plastered as per the job requirement following standard. |  |  |
| Prepare and apply cement slurry as per the job requirement following standard practices. |  |  |
| Apply mortar mix as per the job requirement to the required specifications following standard procedures. |  |  |
| Cure the plastered surfaces as per the job requirement following standard practices. |  |  |
| Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. |  |  |
| Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. |  |  |
| Identify, analyze and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. |  |  |
| Determine termination detailing. |  |  |
| Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions |  |  |
| Check internal area and wet area fitment or fixtures for specific measurements and set out in accordance with specifications. |  |  |
| Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. |  |  |
| Check flooring installation levels and falls to waste outlets for conformity to specification. |  |  |
| Install corner flashing in accordance with manufacturer recommendations. |  |  |
| Check points of connection, termination detailing and over flashings as required. |  |  |
| Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. |  |  |
| Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. |  |  |
| Install water stops and hobs in required location in compliance with standards and good building practice. |  |  |
| Perform priming coat on prepared surface of structure where applicable. |  |  |
| Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. |  |  |
| Apply appropriate bond breakers and fillets as required |  |  |
| Apply waterproofing membrane . |  |  |
| Conduct flood testing of installation if required. |  |  |
| Select brush to suit specified surface profile, size of area, type of paint and finish specified. |  |  |
| Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. |  |  |
| Under take final inspection of site in accordance with certifying authority's requirements. |  |  |
| Clean Work area and disposed of, reused or recycled waste in accordance with work specifications. |  |  |
| Clean Tools plant and equipment ,check for faults and maintained and store in accordance with workplace practices |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | 0611ICT09 National Vocational Certificate Level-2 in civil technology ( building materials and construction technique ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment – ( Construction techniques II) |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________ Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Apply plaster to wall of area (2’x2’) with 1:3 cement sand mortar and 0.6 water cement ratio and also apply water proofing of internal area. Use Chenab sand and tap water in construction |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Obtain, confirm and apply work instructions, including specifications, quality requirements and operational details from relevant information for planning and preparation purposes. |  |  |  |  |  |
|  | Follow safety (OHS) requirements in accordance with safety plans and policies. |  |  |  |  |  |
|  | Select tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. |  |  |  |  |  |
|  | Calculate material quantity in accordance with specifications and quality requirements. |  |  |  |  |  |
|  | Prepare the surface to be plastered as per the job requirement following standard. |  |  |  |  |  |
|  | Prepare and apply cement slurry as per the job requirement following standard practices. |  |  |  |  |  |
|  | Apply mortar mix as per the job requirement to the required specifications following standard procedures. |  |  |  |  |  |
|  | Cure the plastered surfaces as per the job requirement following standard practices. |  |  |  |  |  |
|  | Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. |  |  |  |  |  |
|  | Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. |  |  |  |  |  |
|  | Identify, analyze and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. |  |  |  |  |  |
|  | Determine termination detailing. |  |  |  |  |  |
|  | Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions |  |  |  |  |  |
|  | Check internal area and wet area fitment or fixtures for specific measurements and set out in accordance with specifications. |  |  |  |  |  |
|  | Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. |  |  |  |  |  |
|  | Check flooring installation levels and falls to waste outlets for conformity to specification. |  |  |  |  |  |
|  | Install corner flashing in accordance with manufacturer recommendations. |  |  |  |  |  |
|  | Check points of connection, termination detailing and over flashings as required. |  |  |  |  |  |
|  | Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. |  |  |  |  |  |
|  | Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. |  |  |  |  |  |
|  | Install water stops and hobs in required location in compliance with standards and good building practice. |  |  |  |  |  |
|  | Perform priming coat on prepared surface of structure where applicable. |  |  |  |  |  |
|  | Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. |  |  |  |  |  |
|  | Apply appropriate bond breakers and fillets as required |  |  |  |  |  |
|  | Apply waterproofing membrane. |  |  |  |  |  |
|  | Conduct flood testing of installation if required. |  |  |  |  |  |
|  | Select brush to suit specified surface profile, size of area, type of paint and finish specified. |  |  |  |  |  |
|  | Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. |  |  |  |  |  |
|  | Under take final inspection of site in accordance with certifying authority's requirements. |  |  |  |  |  |
|  | Clean Work area and disposed of, reused or recycled waste in accordance with work specifications. |  |  |  |  |  |
|  | Clean Tools plant and equipment ,check for faults and maintained and store in accordance with workplace practices |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | 0611ICT09 National Vocational Certificate Level-2 in civil technology ( building materials and construction technique ) |
| --- | --- |
| Purpose of Assessment | Summative Assessment – ( Construction techniques II ) |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define riser. |  |  |
|  | What is the purpose of CBR test? |  |  |
|  | Define slurry. |  |  |
|  | Define sealant. |  |  |
|  | Define slip formwork. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________