Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Building Materials & Construction Techniques |
| Competency Standards | Install roof drainage |
| Assessment Task | - Plan and prepare - Identify installation requirements - Fabricate roof drainage components - Set out and install roof drainage components - Clean-up work site area |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Select tools and equipment as per specifications, |  |  |
| Check for serviceability and any faults |  |  |
| Calculate material quantity requirements in accordance with specifications |  |  |
| Obtain needed materials and check for compliance |  |  |
| Identify roof drainage components required for installation from drawings and specifications. |  |  |
| Draw fabrication patterns based on design and drawing of roof drainage. |  |  |
| Calculate quantity, type and sizing of drainage components, rain water materials and accessories required from drawings and specifications. |  |  |
| Install gutter support system to comply with engineering advice for the building. |  |  |
| Mark out materials for fabricating drainage components, as specified in drawings |  |  |
| Determine methods of fabrication, tools and materials requirements based on drawings and job requirement |  |  |
| Fabricate roof drainage components in compliance with drawings and specifications |  |  |
| Arrange roof drainage components in order of installation and to comply with and site measurements. |  |  |
| Install structural supports and join roof drainage components securely and watertight. |  |  |
| Install flashing and waterproofing to comply with the plans |  |  |
| Test the performance of the roof-drainage system to determine satisfactory installation and remedy any faults or leaks |  |  |
| Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations |  |  |
| Clean, check, maintain and store tools and equipment according to requirement |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________
Instruction Sheet for the Candidate

| Qualification | Building Materials & Construction Techniques |
| --- | --- |
| Competency Standard(s) | Install roof drainage |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | - Plan and prepare - Identify installation requirements - Fabricate roof drainage components - Set out and install roof drainage components - Clean-up work site area |
| Time: 2 hour | During a practical assessment, under observation by an assessor, you are required to - Select tools and equipment as per specifications, - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance - Identify roof drainage components required for installation from drawings and specifications. - Draw fabrication patterns based on design and drawing of roof drainage. - Calculate quantity, type and sizing of drainage components, rain water materials and accessories required from drawings and specifications. - Install gutter support system to comply with engineering advice for the building. - Mark out materials for fabricating drainage components, as specified in drawings - Determine methods of fabrication, tools and materials requirements based on drawings and job requirement - Fabricate roof drainage components in compliance with drawings and specifications. - Arrange roof drainage components in order of installation and to comply with and site measurements. - Install structural supports and join roof drainage components securely and watertight. - Install flashing and waterproofing to comply with the plans - Test the performance of the roof-drainage system to determine satisfactory installation and remedy any faults or leaks - Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement |
| Minimum Evidence Required |  |

Assessors Judgment Guide

| Qualification | Building Materials & Construction Techniques |
| --- | --- |
| Competency Standard(s) | Install roof drainage |
| Candidate Details | Name:______________ _______________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Plan and prepare - Identify installation requirements - Fabricate roof drainage components - Set out and install roof drainage components - Clean-up work site area |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected tools and equipment as per specifications, |  |  |  |  |  |
|  | Checked for serviceability and any faults |  |  |  |  |  |
|  | Calculated material quantity requirements in accordance with specifications |  |  |  |  |  |
|  | Obtained needed materials and checked for compliance |  |  |  |  |  |
|  | Identified roof drainage components required for installation from drawings and specifications. |  |  |  |  |  |
|  | Drawn fabrication patterns based on design and drawing of roof drainage. |  |  |  |  |  |
|  | Calculated quantity, type and sizing of drainage components, rain water materials and accessories required from drawings and specifications. |  |  |  |  |  |
|  | Installed gutter support system to comply with engineering advice for the building. |  |  |  |  |  |
|  | Marked out materials for fabricating drainage components, as specified in drawings |  |  |  |  |  |
|  | Determined methods of fabrication, tools and materials requirements based on drawings and job requirement |  |  |  |  |  |
|  | Fabricated roof drainage components in compliance with drawings and specifications |  |  |  |  |  |
|  | Arranged roof drainage components in order of installation and to comply with and site measurements. |  |  |  |  |  |
|  | Installed structural supports and join roof drainage components securely and watertight. |  |  |  |  |  |
|  | Installed flashing and waterproofing to comply with the plans |  |  |  |  |  |
|  | Tested the performance of the roof-drainage system to determine satisfactory installation and remedy any faults or leaks |  |  |  |  |  |
|  | Cleared work are by disposing of materials (reused or recycled) in accordance to legislation and regulations |  |  |  |  |  |
|  | Cleaned, checked, maintained and stored tools and equipment according to requirement |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Building Materials & Construction Techniques |
| --- | --- |
| Competency Standard(s) | Install roof drainage |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of roof drains? |  |  |
|  | What types of metal are used in roof covering? |  |  |
|  | Name different finishing methods of roof. |  |  |
|  | Name different types of fasteners. |  |  |
|  | Define capillary action. |  |  |
|  | Define thermal expansion. |  |  |
|  | What fall equipements are used? |  |  |
|  | What is the purpose of crane? |  |  |
|  | What are corrosion prevention treatments? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Integrated Approach of Assessment

Following are the competencies in the qualification of welding.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

- Take measurements

- Cut the material as per specifications

- Perform Welding of the material

- Perform Finishing of the object

- Perform fabrication/designing on object

TASK(S):

__________________________________________________________________________________