Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level-4 Supervisor in Civil Technology (Sanitary Engineering) |
| --- | --- |
| Purpose of Assessment | Summative Assessment - Sanitary Engineering |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |
| Guidance for Candidate | To meet this standard you are required to complete the following within 03 Hrs. time frame (for practical demonstration & assessment): - Produce sketches of sewage treatment plant according to given sample (Annexure-A) and take the printout of the sketch from different views. - Knowledge Assessment |
| Time: 03 Hrs | During a practical assessment, under observation by an assessor, you are required to “ Produce sketches of sewage treatment plant according to given sample (Annexure-A)” demonstrating the following criteria: |
| Minimum Evidence Required | - Identify sanitary sewer - Calculate quantity of sewage - Show Gradient for sewer - Identify Manning equation - Identify Manning “n” value (not less than 0.013) - Select appropriate sewer appurtenances - Spread & fix sheet - Draw sewer scheme showing components - Suggest specifications for sewers - Draw sewer scheme showing components - Draw sewer appurtenances - Draw parts for treatment plant |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level-4 Supervisor in Civil Technology (Sanitary Engineering) |
| Purpose of Assessment | Summative Assessment - Sanitary Engineering |
| Assessment Task | Produce sketches of sewage treatment plant according to given sample (Annexure-A) and take the printout of the sketch from different views. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify sanitary sewer |  |  |
| - Calculate quantity of sewage |  |  |
| - Show Gradient for sewer |  |  |
| - Identify Manning equation |  |  |
| - Identify Manning “n” value (not less than 0.013) |  |  |
| - Select appropriate sewer appurtenances |  |  |
| - Spread & fix sheet |  |  |
| - Draw sewer scheme showing components |  |  |
| - Suggest specifications for sewers |  |  |
| - Draw sewer scheme showing components |  |  |
| - Draw sewer appurtenances |  |  |
| - Draw parts for treatment plant |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

ANNUXURE-A

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level-4 Supervisor in Civil Technology (Sanitary Engineering) |
| --- | --- |
| Purpose of Assessment | Summative Assessment - Sanitary Engineering |
| Candidate Details | Name:______________________________________________________________ Registration Number: ________________________Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:___________________Signature:________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Produce sketches of sewage treatment plant according to given sample (Annexure-A) and take the printout of the sketch from different views. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified sanitary sewer |  |  |  |  |  |
|  | Calculated quantity of sewage |  |  |  |  |  |
|  | Showed Gradient for sewer |  |  |  |  |  |
|  | Identified Manning equation |  |  |  |  |  |
|  | Identified Manning “n” value (not less than 0.013) |  |  |  |  |  |
|  | Selected appropriate sewer appurtenances |  |  |  |  |  |
|  | Spread & fixed sheet |  |  |  |  |  |
|  | Drawn sewer scheme showing components |  |  |  |  |  |
|  | Suggested specifications for sewers |  |  |  |  |  |
|  | Drawn sewer scheme showing components |  |  |  |  |  |
|  | Drawn sewer appurtenances |  |  |  |  |  |
|  | Drawn parts for sewage treatment plant |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level-4 Supervisor in Civil Technology (Sanitary Engineering) |
| --- | --- |
| Purpose of Assessment | Summative Assessment - Sanitary Engineering |
| Candidate Details | Name:______________________________________________________________ Registration Number: __________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________Signature of the Assessor:_______________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Sanitary sewer |  |  |
|  | What is gradient of sewer |  |  |
|  | Why manning’s equation is used |  |  |
|  | Define sewer appurtenances |  |  |
|  | Name some components of sewer |  |  |
|  | Enlist specifications of sewer |  |  |
|  | Name some components of sewer appurtenances |  |  |
|  | Name processes of sewage treatment plant |  |  |
|  | Name components of sewage treatment plant |  |  |
|  | What are the use of sewage pumping stations |  |  |

Feedback to the Candidate

Candidate’s Signature__________________Assessor’s Signature ___________________