National Competency Standards Level-4 for “Civil Technology”

Competency Standards

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

ACKNOWLEDGEMENTS

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to many representatives of business, industry, academia, government agencies, Provincial TEVTAs, Sector Skill Councils and trade associations who speared their time and expertise to the development and validation of these National Vocational Qualifications (Competency Standards, Curricula, Assessments Packs and related material). This work would not have been possible without the financial and technical support of the TVET Sector Support Programme co-funded by European Union, Norwegian and German Governments implemented by GIZ Pakistan. NAVTTC is especially indebted to Dr. Muqeem ul Islam, who lead the project from the front. The core team was comprised on:

- Dr. Muqeem ul Islam, Director General (Skills, Standards and Curricula) NAVTTC

- Mr. Muhammad Naeem Akhtar, Senior Technical Advisor TSSP-GIZ

- Mr. Muhammad Yasir, Deputy Director (SS&C Wing) NAVTTC

- Mr. Muhammad Ishaq, Deputy Director (SS&C Wing) NAVTTC

- Mr. Muhammad Fayaz Soomro, Deputy Director (SS&C Wing) NAVTTC

NAVTTC team under the leadership of Dr. Muqeem ul Islam initiated development of CBT & A based qualifications of diploma level-5 as a reform project of TVET sector in November 2018 and completed 27 NVQF diplomas of Level-5 in September, 2019. It seems worth highlighting that during this endeavor apart from developing competency standards/curricula in conventional trades new dimensions containing high-tech trades in TVET sector in the context of generation IR 4.0 trades have also been developed which inter alia includes Robotics, Mechatronics, artificial intelligence, industrial automation, instrumentation and process control. Moreover, trades like entrepreneurship, green/environmental skills and variety of soft/digital skill have also been developed to equip the Pakistani youth with skills set as per requirement of the global trends. These skills have been made integral part of all the 27 diplomas.

Nobody has been more important in the pursuit of this project than Dr. Nasir Khan, Executive Director, NAVTTC, whose patronage and support remain there throughout the development process and lastly to thanks specially to Syed Javed Hassan, Chairman NAVTTC and Raja Saad Khan, Deputy Team Lead TSSP-GIZ who made it happened in this challenging time.

Contents

1. Introduction	6

2. Purpose of the Qualification	6

3.  Core competencies of the Qualification	6

4. Date of Validation	23

5. Codes of Qualifications	23

6. Members of Qualifications Development Committee	24

7. Members of Qualifications Validation Committee	24

8. Entry Requirements	25

9. Proposed Scheme of Studies	25

9. A- Occupation Packaging of Civil Technology	27

9.	B- Qualification Packaging of Civil Technology	28

10.	Detail of Qualifications and its Competency Standards Level Wise	28

11c Certificate in Civil Technology Level 4	30

10.1.	Construction II	30

0732B&CE-131	Prepare subgrade, base, and bedding course for paving	30

0732B&CE-132	Lay paving	33

0732B&CE-133	Perform concrete, tiles and mosaic flooring	36

0732B&CE-134	Perform marble/granite flooring	39

0732B&CE-135	Apply water proofing remedial processes	41

0732B&CE-136	Apply and install sealants	44

0732B&CE-137	Perform water proofing works	46

0732B&CE-138	Apply water proofing tools and equipment	50

0732B&CE-139	Perform water proofing of basements	54

0732B&CE-140	Apply water proofing to internal wet areas	59

0732B&CE-141	Install Physical termite barriers	63

0732B&CE-142	Erect and dismantle slip formwork	67

0732B&CE-143	Install trench support	70

0732B&CE-144	Construct underpinning	73

0732B&CE-145	Carry out reinforced concrete work	76

0732B&CE-146	Work safely on roofs	79

0732B&CE-147	Install roof components	81

0732B&CE-148	Install roof drainage	84

0732B&CE-149	Lay roof tiles	86

0732B&CE-150	Erect roof trusses	89

10.2.	Basic Quantity Surveying	92

0732B&CE-151	Produce rough cost estimates of buildings	92

0732B&CE-152	Evaluate items of work for straight wall, T, L, H, U shaped and circular walls.	94

0732B&CE-153	Produce detailed estimate of a single storey building.	96

0732B&CE-154	Produce Annual/Special repair estimates-Building and Road.	97

0732B&CE-155	Evaluate Earth work for Civil Engineering structures	98

0732B&CE-156	Produce detailed estimate of Arterial roads	100

0732B&CE-157	Produce material statements	102

0732B&CE-158	Analyse Rates of different items of work for building	104

0732B&CE-159	Produce of rough cost estimate of water supply scheme.	106

0732B&CE-160	Produce of rough cost estimate of Sewerage scheme.	109

0732B&CE-161	Evaluate value & standard rent of an existing building	111

0732B&CE-162	Produce Detailed Estimate of Culverts.	113

0732B&CE-163	Produce Detailed Estimate of Bridge.	115

10.3.	Water Supply	117

0732B&CE-164	Layout for domestic water supply	117

0732B&CE-165	Prepare sketches of aqueducts & water pipes	118

0732B&CE-166	Draw sketches of intakes	120

0732B&CE-167	Estimate demand for Water Supply	122

0732B&CE-168	Plan water treatment (Clarification)	124

0732B&CE-169	Plan water treatment (Filtration)	127

0732B&CE-170	Plan water distribution system	129

10.4.	Strength of Materials	131

0732B&CE-171	Locate centroid of different sections	131

0732B&CE-172	Find out moment of inertia of different sections	133

0732B&CE-173	Produce Shear Force and Bending Moment Diagrams	135

0732B&CE-174	Find hardness of metals	138

0732B&CE-175	Conduct Tensile Strength Test	140

10.5.	Soft Skills	142

0732B&CE-176	Manage meetings	142

0732B&CE-177	Manage recruitment selection and induction processes	144

0732B&CE-178	Manage personal work priorities and professional development	146

0732B&CE-179	Manage workforce planning	148

0732B&CE-180	Undertake project work	150

0732B&CE-181	Identify and communicate trends in career development	153

0732B&CE-182	Apply specialist interpersonal and counseling interview skills	155

0732B&CE-183	Work safely in an office environment	159

0732B&CE-184	Develop workplace documents	161

0732B&CE-185	Prepare and implement negotiation	164

0732B&CE-186	Maintain professionalism in the workplace	167

0732B&CE-187	Maintain professional development and career professionalism	169

0732B&CE-188	Organize schedules	171

10.6.	Construction III	174

0732B&CE-189	Erect and dismantle formwork to suspended slabs, columns, beams and walls	174

0732B&CE-190	Operate elevated platforms	177

0732B&CE-191	Construct, erect and dismantle formwork for stairs and ramps	180

0732B&CE-192	Evaluate materials for multi-storey buildings	185

0732B&CE-193	Apply structural principles to the construction of large, high rise and complex buildings	188

0732B&CE-194	Install fire and smoke containment systems	191

0732B&CE-195	Inform clients about thermal performance of residential buildings	196

0732B&CE-196	Design air conditioning and ventilation system	200

0732B&CE-197	Design acoustic of an auditorium	204

0732B&CE-198	Insulate sound insulation products in building	206

0732B&CE-199	Install ceiling insulation	208

0732B&CE-200	Design an earthquake resistant building	213

0732B&CE-201	Coordinate maintenance and repair of buildings	216

0732B&CE-202	Assess construction faults in buildings	219

0732B&CE-203	Repair and rectify concrete	222

0732B&CE-204	Repair wall and floor tiles	226

0732B&CE-205	Apply building codes and standards to building projects	230

10.7.	Concrete Technology	233

0732B&CE-206	Test the Properties of Cement	233

0732B&CE-207	Find out Strength of Cement	235

0732B&CE-208	Test the Properties of Aggregate	237

0732B&CE-209	Test the Properties of Fresh Concrete	239

0732B&CE-210	Perform Destructive Tests on Hardened Concrete	241

0732B&CE-211	Perform Non-Destructive Tests on Hardened Concrete	243

10.8.	Advanced Quantity Surveying	244

0732B&CE-212	Produce Detailed Estimate of Water Tanks.	244

0732B&CE-213	Produce Detailed Estimate of Wells.	248

0732B&CE-214	Produce Detailed Estimate of Steel Structures	250

0732B&CE-215	Produce Detailed Estimate of RCC Framed Structure	252

0732B&CE-216	Produce Detailed Estimate of Building Services.	254

0732B&CE-217	Produce Detailed Estimates Using Computer Software -Excel.	256

0732B&CE-218	Produce Project of Road in AutoCAD Civil 3D software	261

10.9.	Contract Management	264

0732B&CE-219	Produce Pre-Qualification Documents & collect expression of interest	264

0732B&CE-220	Perform Evaluation Criteria for the assessment	267

0732B&CE-221	Produce Tender Documents & Collect Proposals	269

0732B&CE-222	Perform Tender Evaluation & Award of Contract	273

0732B&CE-223	Perform Post-Award  Legal/Contract Requirements and Finance.	275

0732B&CE-224	Maintain record of Stores.	278

0732B&CE-225	Perform Variation Orders, Claims and Dispute Adjudication Board	281

10.10.	Sanitary Engineering	283

0732B&CE-226	Design sanitary sewers	283

0732B&CE-227	Design storm water sewers	285

0732B&CE-228	Layout of sewers	287

0732B&CE-229	Prepare sketches of sewer appurtenance	289

0732B&CE-230	Construct Sewers	292

0732B&CE-231	Maintain Sewers	294

0732B&CE-232	Install Sewage Pumps	296

0732B&CE-233	Produce sketches of sewage treatment plant	298

0732B&CE-234	Dispose sewage	300

10.11.	Engineering Mechanics	302

0732B&CE-235	Design Homogeneous Beam	302

0732B&CE-236	Determine Deflection of Beams	305

0732B&CE-237	Determine load carrying capacity of columns	307

0732B&CE-238	Evaluate Efficiency of Joints-riveted and welded	309

0732B&CE-239	Analyze forces in truss members	311

0732B&CE-240	Determine stability of retaining wall	313

# 1. Introduction

Civil engineering is considered as the first discipline of the various branches of engineering after military engineering, and includes the designing, planning, construction, and maintenance of the infrastructure. The works include roads, bridges, buildings, dams, canals, water supply and numerous other facilities that affect the life of human beings. Civil engineering is intimately associated with the private and public sectors, including the individual homeowners and international enterprises. It is one of the oldest engineering professions, and ancient engineering achievements due to civil engineering include the pyramids of Egypt and road systems developed by the Romans.

Civil engineering has a significant role in the life of every human being, though one may not truly sense its importance in our daily routine. The function of civil engineering commences with the start of the day when we take a shower, since the water is delivered through a water supply system including a well-designed network of pipes, water treatment plant and other numerous associated services. The network of roads on which we drive while proceeding to school or work, the huge structural bridges we come across and the tall buildings where we work, all have been designed and constructed by civil engineers. Even the benefits of electricity we use are available to us through the contribution of civil engineers who constructed the towers for the transmission lines. In fact, no sphere of life may be identified that does not include the contribution of civil engineering. Thus, the importance of civil engineering may be determined according to its usefulness in our daily life. Therefore, industry expectations for skilled workforce are also dynamic which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for Civil Technology under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representation from the leading Construction, Real States & Builder industry of the country.

# 2. Purpose of the Qualification

The purpose of this qualifications is to set high professional standards for civil technology sector. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees

- Provide opportunities for recognition of skills attained through non-formal or informal pathways

- Improve the quality and effectiveness of training and assessment for civil technology industry

- Enable the existing workforce to capacitate themselves in new technologies and methods

# 3.  Core competencies of the Qualification

The proposed curriculum is composed of 306 competencies that will be covered in 3600 Learning hours. Duration of the course is proposed to be Three years. The total weightage for technical competencies is 3600 hours. A total of 1200 hours have been reserved for allied subjects i.e. Islamic studies, English, Mathematics, Physics and Chemistry.

The details of technical modules are given as under:

Level 1 & 2 = 6 months. (Single Semester)

Level - 3 = 6 months. (Single Semester)

Level - 4 = 1 Year. (Two Semesters)

Level - 5 = 1 Year. (Two Semesters)

The overall distribution of contact hours and Credit Hours is given below:

Total.		3600 hours. & 360 Credits

Theory.	976 hours (27.11 %)

Practical.	2624 hours (72.89 %)

The distribution of contact hours and credit hours in each level is given below:

Level 1 & 2 = 6 months (16 weeks)

Total.		592 hours. & 59.2 Credits

Theory.	128 hours (22 %)

Practical.	464 hours (78 %)

Level - 3 = 6 months (16 weeks)

Total.		608 hours. & 60.8 Credits

Theory.	128 hours (21 %)

Practical.	480 hours (79 %)

Level - 4 = 1 Year (16 weeks + 16 Weeks)

Total.		1200 hours. & 120 Credits

Theory.	240 hours (20 %)

Practical.	960 hours (80 %)

Level - 5 = 1 Year (16 weeks + 16 Weeks)

Total.		1200 hours. & 120 Credits

Theory.	480 hours (40 %)

Practical.	720 hours (60 %)

National Vocational Certificate Level 1 & 2 Site assistant in Civil Technology

| S# | Competency Standard | Category | Level | Theory | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 11.01 Basic Engineering Surveying |  |  | 32 | 160 | 192 | 19.2 |
| 0732B&CE001 | Perform Chain Survey | Core | 2 | 4 | 9 | 13 | 1.3 |
| 0732B&CE002 | Perform Compass Traversing | Core | 2 | 4 | 15 | 19 | 1.9 |
| 0732B&CE003 | Carry out Plane Table Survey | Core | 2 | 4 | 12 | 16 | 1.6 |
| 0732B&CE004 | Perform Levelling | Core | 2 | 4 | 27 | 31 | 3.1 |
| 0732B&CE005 | Perform Reciprocal Levelling | Core | 2 | 2 | 21 | 23 | 2.3 |
| 0732B&CE006 | Perform Long & Cross Sectioning | Core | 2 | 2 | 22 | 24 | 2.4 |
| 0732B&CE007 | Perform Tacheometry | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE008 | Perform Contouring | Core | 2 | 2 | 18 | 20 | 2 |
| 0732B&CE009 | Perform Hydrographic Survey | Core | 2 | 6 | 15 | 21 | 2.1 |
| 0732B&CE010 | Compute Volume by Contouring | Core | 2 | 2 | 12 | 14 | 1.4 |
|  | 11.02 Civil Engineering Drawing |  |  | 32 | 160 | 192 | 19.2 |
| 0732B&CE011 | Produce Templates, Title Block/ Strip & Draw Lines | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE012 | Perform Lettering and Printing on Sheet. | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE013 | Construct Scales for Drawing | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE014 | Construct Geometrical Figures | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE015 | Produce Orthographic Projections | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE016 | Perform Sectioning | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE017 | Perform Dimensioning On Drawings | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE018 | Produce Pictorial Drawings | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE019 | Develop Symbols of Engineering Drawings | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE020 | Produce Cross Section of Wall. | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE021 | Develop Building Drawings | Core | 2 | 6 | 34 | 40 | 4 |
| 0732B&CE022 | Perform House Planning | Core | 2 | 2 | 9 | 11 | 1.1 |
| 0732B&CE023 | Produce Layout Plans for Building Services. | Core | 2 | 2 | 18 | 20 | 2 |
| 0732B&CE024 | Produce Drawings of Sanitary Structures | Core | 2 | 2 | 9 | 11 | 1.1 |
|  | 11.03 Building Materials |  |  | 32 | 48 | 80 | 8 |
| 0732B&CE025 | Identify bricks | Core | 2 | 4 | 6 | 10 | 1 |
| 0732B&CE026 | Dress stone for masonry | Core | 2 | 4 | 6 | 10 | 1 |
| 0732B&CE027 | Prepare slaked lime | Core | 2 | 2 | 2 | 4 | 0.5 |
| 0732B&CE028 | Identify and store cement for construction | Core | 2 | 4 | 6 | 10 | 1 |
| 0732B&CE029 | Select sand for construction | Core | 2 | 2 | 3 | 5 | 0.5 |
| 0732B&CE030 | Identify ferrous and non-ferrous metals | Core | 2 | 2 | 6 | 8 | 1 |
| 0732B&CE031 | Identify advanced construction materials | Core | 2 | 4 | 9 | 13 | 1 |
| 0732B&CE032 | Work Safely in Construction Industry | Generic | 2 | 4 | 1 | 5 | 0.5 |
| 0732B&CE033 | Interpret Simple Building Plans | Core | 2 | 2 | 3 | 5 | 0.5 |
| 0732B&CE034 | Read and Interpret plans and Specifications | Core | 2 | 2 | 3 | 5 | 0.5 |
| 0732B&CE035 | Apply power and hand tools in construction. | Core | 2 | 2 | 3 | 5 | 0.5 |
|  | 11.04 Workshop Practice (Wood Work) |  |  | 16 | 48 | 64 | 6.4 |
| 0732B&CE036 | Carry out OH & S requirement in workshop | Generic | 2 | 2 | 3 | 5 | 0.5 |
| 0732B&CE037 | Determine properties and types of locally manufactured timber | Generic | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE038 | Sharpen carpentry tools | Core | 2 | 1 | 6 | 7 | 0.7 |
| 0732B&CE039 | Apply hand tools | Core | 2 | 1 | 6 | 7 | 0.7 |
| 0732B&CE040 | Perform wooden joinery work | Core | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE041 | Apply fastenings | Core | 2 | 1 | 3 | 4 | 0.4 |
| 0732B&CE042 | Apply traditional spirits polishing techniques | Core | 2 | 2 | 3 | 5 | 0.5 |
| 0732B&CE043 | Apply portable power tools | Core | 2 | 1 | 3 | 4 | 0.4 |
| 0732B&CE044 | Make simple calculations of timber | Core | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE045 | Construct a basic timber product | Core | 2 | 2 | 6 | 8 | 0.8 |
|  | 11.05 Workshop Practice (Electrical Wiring) |  |  | 16 | 48 | 64 | 6.4 |
| 0732B&CE046 | Carry out OH & S requirement in workshop | Generic | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE047 | Maintain safety | Generic | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE048 | Perform electrical wiring | Core | 2 | 3 | 9 | 12 | 1.2 |
| 0732B&CE049 | Install electrical system | Core | 2 | 3 | 9 | 12 | 1.2 |
| 0732B&CE050 | Construct Circuits | Core | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE051 | Measure properties of electricity | Core | 2 | 2 | 6 | 8 | 0.8 |
| 0732B&CE052 | Perform electrical wiring of a single room | Core | 2 | 2 | 6 | 8 | 0.8 |

National Vocational Certificate Level 3 Assistant surveyor in Civil Technology

| S# | Competency Standard | Category | Level | Theory | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 11.06 Advanced Surveying |  |  | 48 | 192 | 240 | 24 |
| 0732B&CE053 | Measure Angles by Theodolite | Core | 3 | 4 | 18 | 22 | 2.2 |
| 0732B&CE054 | Perform Trigonometric Levelling by Theodolite | Core | 3 | 3 | 9 | 12 | 1.2 |
| 0732B&CE055 | Perform Traversing by Theodolite | Core | 3 | 4 | 15 | 19 | 1.9 |
| 0732B&CE056 | Set Out Horizontal Curves by Theodolite | Core | 3 | 4 | 18 | 22 | 2.2 |
| 0732B&CE057 | Set out Vertical Curves by Theodolite | Core | 3 | 3 | 9 | 12 | 1.2 |
| 0732B&CE058 | Carry out Triangulation by Theodolite | Core | 3 | 3 | 21 | 24 | 2.4 |
| 0732B&CE059 | Perform Temporary Adjustment of Total Station | Core | 3 | 4 | 9 | 13 | 1.3 |
| 0732B&CE060 | Measure Distance by Total Station | Core | 3 | 4 | 12 | 16 | 1.6 |
| 0732B&CE061 | Measure Angles by Total Station | Core | 3 | 4 | 18 | 22 | 2.2 |
| 0732B&CE062 | Measure Area by Total Station | Core | 3 | 3 | 18 | 21 | 2.1 |
| 0732B&CE063 | Set out Curves by Total Station | Core | 3 | 4 | 9 | 13 | 1.3 |
| 0732B&CE064 | Perform Integration of GPS | Core | 3 | 2 | 6 | 8 | 0.8 |
| 0732B&CE065 | Measure Co-ordinates by GPS | Core | 3 | 2 | 6 | 8 | 0.8 |
| 0732B&CE066 | Set out Civil Engineering Structures by GPS | Core | 3 | 4 | 24 | 28 | 2.8 |
|  | 11.07 AutoCAD |  |  | 32 | 128 | 160 | 16 |
| 0732B&CE067 | Perform Basic Computer Operations | Core | 3 | 3 | 6 | 9 | 0.9 |
| 0732B&CE068 | Perform Drafting Settings and Formatting | Core | 3 | 2 | 6 | 8 | 0.8 |
| 0732B&CE069 | Perform Dimensioning, Lettering & Plotting | Core | 3 | 2 | 6 | 8 | 0.8 |
| 0732B&CE070 | Develop 2d Drawings of Structures | Core | 3 | 3 | 15 | 18 | 1.8 |
| 0732B&CE071 | Produce Drawing of Framed Structure Building | Core | 3 | 3 | 18 | 21 | 2.1 |
| 0732B&CE072 | Develop Sectioning Drawing for foundations | Core | 3 | 3 | 18 | 21 | 2.1 |
| 0732B&CE073 | Develop Drawings for Doors & Windows | Core | 3 | 2 | 9 | 11 | 1.1 |
| 0732B&CE074 | Produce Drawings of Stairs and Stair Cases | Core | 3 | 2 | 9 | 11 | 1.1 |
| 0732B&CE075 | Produce Drawings of Water Tanks | Core | 3 | 3 | 18 | 21 | 2.1 |
| 0732B&CE076 | Produce Drawings Of Cross Drainage Works | Core | 3 | 2 | 6 | 8 | 0.8 |
| 0732B&CE077 | Develop 3d Drawings | Core | 3 | 4 | 6 | 10 | 1 |
| 0732B&CE078 | Produce Civil Technology Drawings | Core | 3 | 3 | 11 | 14 | 1.4 |
|  | 11.08 Construction I |  |  | 16 | 112 | 128 | 12.8 |
| 0732B&CE079 | Perform Simple Levelling | Core | 2 | 0.5 | 3 | 3.5 | 0.35 |
| 0732B&CE080 | Lay out Building plans | Core | 2 | 0.5 | 5 | 5.5 | 0.55 |
| 0732B&CE081 | Carryout excavation and install supports | Core | 2 | 1 | 5 | 6 | 0.6 |
| 0732B&CE082 | Place Concrete in Foundations | Core | 2 | 0.5 | 3 | 3.5 | 0.35 |
| 0732B&CE083 | Prepare for construction Process (Brick/ block laying) | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE084 | Mix Cementitious materials (Mortar & Concrete) | Core | 3 | 1 | 3 | 4 | 0.4 |
| 0732B&CE085 | Install flashing and damp proof course | Core | 3 | 1 | 3 | 4 | 0.4 |
| 0732B&CE086 | Carry out brick work | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE087 | Construct Cavity Wall | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE088 | Construct Curved Wall | Core | 3 | 1 | 6 | 7 | 0.7 |
| 0732B&CE089 | Construct Masonry arches (semi-circular and segmental) | Core | 3 | 1 | 6 | 7 | 0.7 |
| 0732B&CE090 | Construct Scaffolding | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE091 | Install doors and window frames | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE092 | Prepare Surface and fix tiles | Core | 3 | 1 | 3 | 4 | 0.4 |
| 0732B&CE093 | Prepare Surface for Painting | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE094 | Paint by spray, brush and roller | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE095 | Apply stains and clear timber finishes | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE096 | Prepare site layout of civil engineering projects | Core | 3 | 0.5 | 6 | 6.5 | 0.65 |
| 0732B&CE097 | Construct masonry steps and stairs | Core | 3 | 1 | 6 | 7 | 0.7 |
| 0732B&CE098 | Install stairs | Core | 3 | 1 | 9 | 10 | 1 |
| 0732B&CE099 | Prepare for solid dry wall plastering | Core | 3 | 1 | 3 | 4 | 0.4 |
| 0732B&CE100 | Apply plaster | Core | 3 | 1 | 3 | 4 | 0.4 |
|  | 11.09 Plumbing |  |  | 16 | 32 | 48 | 4.8 |
| 0732B&CE101 | Identify plumbing tools & equipment | Core | 3 | 4 | 2 | 6 | 0.6 |
| 0732B&CE102 | Perform cutting, threading & reaming | Core | 3 | 2 | 4 | 6 | 0.6 |
| 0732B&CE103 | Make water connection | Core | 3 | 1 | 4 | 5 | 0.5 |
| 0732B&CE104 | Layout for domestic water supply | Core | 3 | 1 | 4 | 5 | 0.5 |
| 0732B&CE105 | Join pipes & fittings | Core | 3 | 3 | 5 | 8 | 0.8 |
| 0732B&CE106 | Install plumbing fixtures | Core | 3 | 2 | 4 | 6 | 0.6 |
| 0732B&CE107 | Install & repair water pumps | Core | 3 | 1 | 4 | 5 | 0.5 |
| 0732B&CE108 | Install turbine pumps | Core | 3 | 2 | 5 | 7 | 0.7 |
|  | 11.10 Digital Skills | 32 |  | 16 | 16 | 32 | 3.2 |
| 0732B&CE109 | Install computer operating systems and hardware | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE110 | Operate digital media technology | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE111 | Perform computer operations | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE112 | Use computer applications | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE113 | Create user documentation | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE114 | Create technical documentation | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE115 | Create basic databases | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE116 | Use social media tools for collaboration and engagement | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE117 | E-Commerce- SEO (Search Engine Optimization) | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE118 | E-Commerce- SCM (Supply Chain Management) | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE119 | E-Commerce- Social Media Marketing | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE120 | Use digital devices | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE121 | Operate word-processing applications | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE122 | Operate spreadsheet applications | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE123 | Operate presentation packages | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE124 | Perform writing and editing tasks | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE125 | Write and Edit Copy | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE126 | Build Java applets | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE127 | Manipulate Images (Illustrator) | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE128 | Manipulate Images (Photoshop) | Generic | 3 | 0.5 | 0.5 | 1 | 0.1 |
| 0732B&CE129 | Design simple web page layouts | Generic | 3 | 1 | 1 | 2 | 0.2 |
| 0732B&CE130 | Apply introductory programming techniques | Generic | 3 | 1 | 1 | 2 | 0.2 |

National Vocational Certificate Level 4 Part-1 Site Supervisor in Civil Technology

| S# | Competency Standard | Category | Level | Theory | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 11.11 Construction Techniques II |  |  | 32 | 128 | 160 | 16 |
| 0732B&CE131 | Prepare subgrade, base, and bedding course for paving | Core | 4 | 3 | 10 | 13 | 1.3 |
| 0732B&CE132 | Lay paving | Core | 4 | 1 | 5 | 6 | 0.6 |
| 0732B&CE133 | Perform concrete, tiles and mosaic flooring | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE134 | Perform marble/granite flooring | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE135 | Apply water proofing remedial processes | Core | 4 | 2 | 5 | 7 | 0.7 |
| 0732B&CE136 | Apply and install sealants | Core | 4 | 1 | 5 | 6 | 0.6 |
| 0732B&CE137 | Perform water proofing works | Core | 4 | 2 | 5 | 7 | 0.7 |
| 0732B&CE138 | Apply water proofing tools and equipment | Core | 4 | 3 | 5 | 8 | 0.8 |
| 0732B&CE139 | Perform water proofing of basements | Core | 4 | 2 | 5 | 7 | 0.7 |
| 0732B&CE140 | Apply water proofing to internal wet areas | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE141 | Install Physical termite barriers | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE142 | Erect and dismantle slip formwork | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE143 | Install trench support | Core | 4 | 1 | 7 | 8 | 0.8 |
| 0732B&CE144 | Construct underpinning | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE145 | Carry out reinforced concrete work | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE146 | Work safely on roofs | Generic | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE147 | Install roof components | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE148 | Install roof drainage | Core | 4 | 2 | 7 | 9 | 0.9 |
| 0732B&CE149 | Lay roof tiles | Core | 4 | 1 | 7 | 8 | 0.8 |
| 0732B&CE150 | Erect roof trusses | Core | 4 | 1 | 7 | 8 | 0.8 |
|  | 11.12 Basic Quantity Surveying |  |  | 16 | 176 | 192 | 19.2 |
| 0732B&CE151 | Produce rough cost estimates of buildings | Core | 4 | 1 | 15 | 16 | 1.6 |
| 0732B&CE152 | Evaluate items of work for straight wall, T, L, H, U shaped and circular walls. | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE153 | Produce detailed estimate of a single storey building. | Core | 4 | 1 | 15 | 16 | 1.6 |
| 0732B&CE154 | Produce Annual/special repair estimates-Building and Road. | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE155 | Evaluate Earth work for Civil Engineering structures | Core | 4 | 1 | 18 | 19 | 1.9 |
| 0732B&CE156 | Produce detailed estimate of Arterial roads | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE157 | Produce material statements | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE158 | Analyze Rates of different items of work for building | Core | 4 | 2 | 16 | 18 | 1.8 |
| 0732B&CE159 | Produce of rough cost estimate of water supply scheme. | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE160 | Produce of rough cost estimate of Sewerage scheme. | Core | 4 | 2 | 15 | 17 | 1.7 |
| 0732B&CE161 | Evaluate Value & Standard Rent of Buildings | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE162 | Produce Detailed Estimate of Culverts | Core | 4 | 1 | 13 | 14 | 1.4 |
| 0732B&CE163 | Produce Detailed Estimate of Bridges. | Core | 4 | 1 | 12 | 13 | 1.3 |
|  | 11.13 Water Supply |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE164 | Estimate demand for Water Supply | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE165 | Prepare sketches of aqueducts & water pipes | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE166 | Draw sketches of intakes | Core | 4 | 2 | 7 | 9 | 0.9 |
| 0732B&CE167 | Plan water treatment (Clarification) | Core | 4 | 4 | 12 | 16 | 1.6 |
| 0732B&CE168 | Plan water treatment (Filtration) | Core | 4 | 4 | 9 | 13 | 1.3 |
| 0732B&CE169 | Plan water distribution system | Core | 4 | 2 | 12 | 14 | 1.4 |
|  | 11.14 Strength of Materials |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE170 | Locate centroid of different sections | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE171 | Find out moment of inertia of different sections | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE172 | Produce Shear Force and Bending Moment Diagrams | Core | 4 | 4 | 16 | 20 | 2 |
| 0732B&CE173 | Find hardness of metals | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE174 | Conduct Tensile Strength Test | Core | 4 | 3 | 12 | 15 | 1.5 |
|  | 11.15. Soft Skills |  |  | 32 | 64 | 96 | 9.6 |
| 0732B&CE175 | Develop workplace policy and procedures for sustainability | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE176 | Manage meetings | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE177 | Manage recruitment selection and induction processes | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE178 | Manage personal work priorities and professional development | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE179 | Manage workforce planning | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE180 | Undertake project work | Generic | 4 | 3 | 6 | 9 | 0.9 |
| 0732B&CE181 | Identify and communicate trends in career development | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE182 | Apply specialist interpersonal and counselling interview skills | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE183 | Work safely in an office environment | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE184 | Develop workplace documents | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE185 | Prepare and implement negotiation | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE186 | Maintain professionalism in the workplace | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE187 | Maintain professional development and career professionalism | Generic | 4 | 4 | 8 | 12 | 1.2 |
| 0732B&CE188 | Organize schedules | Generic | 4 | 3 | 6 | 9 | 0.9 |

National Vocational Certificate Level 4 Part-2 Site Supervisor in Civil Technology

| S# | Competency Standard | Category | Level | Theory | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 11.16 Construction Techniques III |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE189 | Erect and dismantle formwork to suspended slabs, columns, beams and walls | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE190 | Operate elevated platforms | Core | 4 | 1 | 7 | 8 | 0.8 |
| 0732B&CE191 | Construct, erect and dismantle formwork for stairs and ramps | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE192 | Evaluate materials for multi-storey buildings | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE193 | Apply structural principles to the construction of large, high rise and complex buildings | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE194 | Install fire and smoke containment systems | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE195 | Inform clients about thermal performance of residential buildings | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE196 | Design air conditioning and ventilation system | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE197 | Design acoustic of an auditorium | Core | 4 | 0.5 | 4 | 4.5 | 0.45 |
| 0732B&CE198 | Insulate sound insulation products in building | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE199 | Install ceiling insulation | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE200 | Design an earthquake resistant building | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE201 | Coordinate maintenance and repair of buildings | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE202 | Assess construction faults in buildings | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE203 | Repair and rectify concrete | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE204 | Repair wall and floor tiles | Core | 4 | 0.5 | 3 | 3.5 | 0.35 |
| 0732B&CE205 | Apply building codes and standards to building projects | Core | 4 | 1 | 3 | 4 | 0.4 |
|  | 11.17 Concrete Technology |  |  | 32 | 64 | 96 | 9.6 |
| 0732B&CE206 | Test the Properties of Cement | Core | 4 | 6 | 12 | 18 | 1.8 |
| 0732B&CE207 | Find Out Strength of Cement | Core | 4 | 4 | 9 | 13 | 1.3 |
| 0732B&CE208 | Test the Properties of Aggregate | Core | 4 | 6 | 12 | 18 | 1.8 |
| 0732B&CE209 | Test the Properties of Fresh Concrete | Core | 4 | 6 | 10 | 16 | 1.6 |
| 0732B&CE210 | Destructive Tests on Hardened Concrete | Core | 4 | 6 | 9 | 15 | 1.5 |
| 0732B&CE211 | Perform Non-Destructive Tests on Hardened Concrete | Core | 4 | 4 | 12 | 16 | 1.6 |
|  | 11.18 Advanced Quantity Surveying |  |  | 16 | 144 | 160 | 16 |
| 0732B&CE212 | Produce Detailed Estimate of Water Tanks. | Core | 4 | 2 | 18 | 20 | 2 |
| 0732B&CE213 | Produce Detailed Esti mate of Wells. | Core | 4 | 2 | 18 | 20 | 2 |
| 0732B&CE214 | Produce Detailed Estimate of Steel Structures | Core | 4 | 2 | 18 | 20 | 2 |
| 0732B&CE215 | Produce Detailed Estimate of RCC Framed Structure | Core | 4 | 2 | 21 | 23 | 2.3 |
| 0732B&CE216 | Produce Detailed Estimate of Building Services. | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE217 | Produce Detailed Estimates Using Computer Software -Excel. | Core | 4 | 3 | 27 | 30 | 3 |
| 0732B&CE218 | Produce Project of Road in AutoCAD Civil 3D software | Core | 4 | 3 | 30 | 33 | 3.3 |
|  | 11.19 Contract Management |  |  | 32 | 64 | 96 | 9.6 |
| 0732B&CE219 | Produce Prequalification documents and collect EOI | Core | 4 | 6 | 8 | 14 | 1.4 |
| 0732B&CE220 | Set Evaluation Criteria for Assessment | Core | 4 | 3 | 3 | 6 | 0.6 |
| 0732B&CE221 | Produce Tender Documents & Collect Proposals | Core | 4 | 6 | 18 | 24 | 2.4 |
| 0732B&CE222 | Perform Tender Evaluation & Award of Contract | Core | 4 | 5 | 17 | 22 | 2.2 |
| 0732B&CE223 | Perform Post Award Legal/ Contract Requirements and Finance | Core | 4 | 5 | 5 | 10 | 1 |
| 0732B&CE224 | Maintain record of Stores. | Core | 4 | 3 | 4 | 7 | 0.7 |
| 0732B&CE225 | Perform Variation orders, claims and Dispute Adjudication Board | Core | 4 | 4 | 9 | 13 | 1.3 |
|  | 11.20 Sanitary Engineering |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE226 | Design sanitary sewers | Core | 4 | 2 | 9 | 11 | 1.1 |
| 0732B&CE227 | Design storm water sewers | Core | 4 | 1.5 | 7 | 8.5 | 0.85 |
| 0732B&CE228 | Layout of sewers | Core | 4 | 2 | 6 | 8 | 0.8 |
| 0732B&CE229 | Prepare sketches of sewer appurtenance | Core | 4 | 2 | 6 | 8 | 0.8 |
| 0732B&CE230 | Construct Sewers | Core | 4 | 1.5 | 9 | 10.5 | 1.05 |
| 0732B&CE231 | Maintain Sewers | Core | 4 | 1.5 | 6 | 7.5 | 0.75 |
| 0732B&CE232 | Install Sewage Pumps | Core | 4 | 2 | 6 | 8 | 0.8 |
| 0732B&CE233 | Produce sketches of sewage treatment plant | Core | 4 | 1.5 | 9 | 10.5 | 1.05 |
| 0732B&CE234 | Dispose sewage | Core | 4 | 2 | 6 | 8 | 0.8 |
|  | 11.21 Engineering Mechanics |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE235 | Design Homogeneous Beam | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE236 | Determine Deflection of Beams | Core | 4 | 2 | 9 | 11 | 1.1 |
| 0732B&CE237 | Determine load carrying capacity of columns | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE238 | Evaluate Efficiency of Joints-riveted and welded | Core | 4 | 2 | 9 | 11 | 1.1 |
| 0732B&CE239 | Analyse forces in truss members | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE240 | Determine stability of retaining wall | Core | 4 | 3 | 10 | 13 | 1.3 |

National Diploma in Civil Technology Level 5 Part-1

| S# | Competency Standard | Category | Level | Th | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 11.22 Transportation Engineering I |  |  | 64 | 48 | 112 | 11.2 |
| 0732B&CE241 | Develop construction plan of Tunnels | Core | 5 | 8 | 3 | 11 | 1.1 |
| 0732B&CE242 | Produce sketches of an airport | Core | 5 | 8 | 3 | 11 | 1.1 |
| 0732B&CE243 | Produce sketches of permanent Way | Core | 5 | 12 | 12 | 24 | 2.4 |
| 0732B&CE244 | Produce sketches of points and crossings | Core | 5 | 12 | 9 | 21 | 2.1 |
| 0732B&CE245 | Produce sketches of station yards and signals | Core | 5 | 12 | 9 | 21 | 2.1 |
| 0732B&CE246 | Produce sketches of harbour | Core | 5 | 12 | 12 | 24 | 2.4 |
|  | 11.23 Hydraulics Engineering |  |  | 32 | 48 | 80 | 8 |
| 0732B&CE247 | Determine Hydrostatic pressure | Core | 5 | 16 | 21 | 37 | 3.7 |
| 0732B&CE248 | Apply Hydro kinematic Principles | Core | 5 | 16 | 27 | 43 | 4.3 |
|  | 11.24 Soil Mechanics |  |  | 32 | 48 | 80 | 8 |
| 0732B&CE249 | Determine moisture content and specific gravity of soil | Core | 5 | 4 | 6 | 10 | 1 |
| 0732B&CE250 | Determine Atterberg’s Limits | Core | 5 | 4 | 6 | 10 | 1 |
| 0732B&CE251 | Identify type of soil | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE252 | Conduct soil compaction tests | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE253 | Determine permeability of soil | Core | 5 | 4 | 6 | 10 | 1 |
| 0732B&CE254 | Investigate shear strength of soil | Core | 5 | 4 | 6 | 10 | 1 |
| 0732B&CE255 | Find out bearing capacity of soil | Core | 5 | 4 | 6 | 10 | 1 |
|  | 11.25 Bridge Engineering |  |  | 32 | 48 | 80 | 8 |
| 0732B&CE256 | Produce sketches of bridges w.r.t. functions | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE257 | Produce sketches of bridges w.r.t. material of construction | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE258 | Produce sketches of bridges w.r.t. type of super structure | Core | 5 | 8 | 12 | 20 | 2 |
| 0732B&CE259 | Produce sketches of bridges w.r.t. floor type | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE260 | Produce sketches of culverts, low level and high level causeway | Core | 5 | 6 | 9 | 15 | 1.5 |
|  | 11.26 Environmental Technology |  |  | 32 | 48 | 80 | 8 |
| 0732B&CE261 | Determine Water Pollution | Core | 5 | 6 | 12 | 18 | 1.8 |
| 0732B&CE262 | Evaluate Air Pollution | Core | 5 | 6 | 12 | 18 | 1.8 |
| 0732B&CE263 | Determine Noise Pollution | Core | 5 | 3 | 5 | 8 | 0.8 |
| 0732B&CE264 | Evaluate Solid Waste Pollution | Core | 5 | 4 | 3 | 7 | 0.7 |
| 0732B&CE265 | Adopt occupational health and safety | Generic | 5 | 9 | 9 | 18 | 1.8 |
| 0732B&CE266 | Respond to Natural Disaster | Core | 5 | 4 | 7 | 11 | 1.1 |
|  | 11.27. Construction Project Planning & Management |  |  | 64 | 96 | 160 | 16 |
| 0732B&CE267 | Develop Project Management Life Cycle | Core | 5 | 4 | 6 | 10 | 1 |
| 0732B&CE268 | Develop Preliminary Project Plan | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE269 | Develop Construction Project Plan | Core | 5 | 6 | 9 | 15 | 1.5 |
| 0732B&CE270 | Conduct on-site supervision of construction projects | Core | 5 | 5 | 12 | 17 | 1.7 |
| 0732B&CE271 | Perform Basic operation in Primavera P6 | Core | 5 | 8 | 12 | 20 | 2 |
| 0732B&CE272 | Perform road Project Activities Scheduling in Primavera P6 | Core | 5 | 8 | 12 | 20 | 2 |
| 0732B&CE273 | Perform road Project Resources Costing &Planning in Primavera P6 | Core | 5 | 8 | 12 | 20 | 2 |
| 0732B&CE274 | Manage construction Project in Primavera P6 | Core | 5 | 8 | 12 | 20 | 2 |
| 0732B&CE275 | Identify Project Risk and Consequences on Project life cycle | Core | 5 | 5 | 6 | 11 | 1.1 |
| 0732B&CE276 | Perform Evaluation to assess the severity of Risk and formulate the strategy to manage the risk | Core | 5 | 6 | 6 | 12 | 1.2 |

National Diploma in Civil Technology Level 5 Part-2

| S# | Competency Standard | Category | Level | Th | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 11.28 Transportation Engineering I |  |  | 42 | 48 | 90 | 9.0 |
| 0732B&CE277 | Plan Route Alignment of Highway | Core | 5 | 4 | 6 | 10 | 1.0 |
| 0732B&CE278 | Design Highway Geometrics | Core | 5 | 4 | 6 | 10 | 1.0 |
| 0732B&CE279 | Perform tests on stone metal for pavement construction | Core | 5 | 4 | 6 | 10 | 1.0 |
| 0732B&CE280 | Perform tests on bitumen | Core | 5 | 12 | 21 | 33 | 3.3 |
| 0732B&CE281 | Prepare drawings of flexible/rigid pavement | Core | 5 | 6 | 3 | 9 | 0.9 |
| 0732B&CE282 | Plan highway drainage | Core | 5 | 6 | 3 | 9 | 0.9 |
| 0732B&CE283 | Develop maintenance plan for roads | Core | 5 | 6 | 3 | 9 | 0.9 |
|  | 11.29. Irrigation Engineering |  |  | 64 | 48 | 112 | 11 |
| 0732B&CE284 | Produce sketches of canals and head works | Core | 5 | 21 | 18 | 39 | 3.9 |
| 0732B&CE285 | Design Canals | Core | 5 | 22 | 15 | 37 | 3.7 |
| 0732B&CE286 | Produce sketches of Hydraulic structures | Core | 5 | 21 | 15 | 36 | 3.6 |
|  | 11.30. RCC Design |  |  | 80 | 63 | 144 | 14 |
| 0732B&CE287 | Design and Draw Reinforcement for Beams | Core | 5 | 14 | 12 | 26 | 2.6 |
| 0732B&CE288 | Design and Draw Reinforcement for Slabs | Core | 5 | 24 | 15 | 39 | 3.9 |
| 0732B&CE289 | Design and Draw Reinforcement for Columns | Core | 5 | 19 | 11 | 30 | 3 |
| 0732B&CE290 | Design and Draw Reinforcement for Footings | Core | 5 | 8 | 10 | 18 | 1.8 |
| 0732B&CE291 | Design and Draw Reinforcement for Stairs | Core | 5 | 15 | 15 | 30 | 3 |
|  | 11.31. Civil Engineering Project (Any one project to a group of 8 students |  |  | 0 | 138 | 138 | 13.8 |
| 0732B&CE292 | Develop Project for construction of RCC framed Structure Class Room. | Core | 5 | 0 | 138 | 138 | 13.8 |
| 0732B&CE293 | Develop Project plan for construction of RCC OHR of 10000 gal (UK) capacity. | Core | 5 | 0 | 138 | 138 | 13.8 |
| 0732B&CE294 | Develop Project plan for construction of Water Supply Scheme. | Core | 5 | 0 | 138 | 138 | 13.8 |
| 0732B&CE295 | Develop Project plan for construction of sewerage scheme | Core | 5 | 0 | 138 | 138 | 13.8 |
| 0732B&CE296 | Develop Project plan for construction of Highway | Core | 5 | 0 | 138 | 138 | 13.8 |
| 0732B&CE297 | Develop Project plan for construction of Irrigation Canal | Core | 5 | 0 | 138 | 138 | 13.8 |
|  | 11.32. Entrepreneurial Skills |  |  | 32 | 63 | 95 | 9.5 |
| 0732B&CE298 | Investigate micro business opportunities | Generic | 5 | 3 | 6 | 9 | 0.9 |
| 0732B&CE299 | Develop a micro business proposal | Generic | 5 | 4 | 8 | 12 | 1.2 |
| 0732B&CE300 | Develop a marketing plan and business plan. | Generic | 5 | 7 | 15 | 22 | 2.2 |
| 0732B&CE301 | Organize finances for the micro business | Generic | 5 | 4 | 8 | 12 | 1.2 |
| 0732B&CE302 | Manage human resources | Generic | 5 | 3 | 6 | 9 | 0.9 |
| 0732B&CE303 | Market products and services | Generic | 5 | 4 | 8 | 12 | 1.2 |
| 0732B&CE304 | Monitor and review business performance | Generic | 5 | 4 | 8 | 12 | 1.2 |
| 0732B&CE305 | Negotiate for resolving business issues | Generic | 5 | 3 | 4 | 7 | 0.7 |
|  | 11.33. Green Skills |  |  | 6 | 24 | 30 | 3 |
| 0732B&CE306 | Perform green skills in construction | Generic | 5 | 6 | 24 | 30 | 3 |

# 4. Date of Validation

The level 5 of National DAE qualification on Civil Technology has been validated by the Qualifications Development Committee (QDC) members on 27-29 May 2019 and will remain in currency until May, 2022

# 5. Codes of Qualifications

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| ISCED Classification for Civil Technology level-5 |  |
| --- | --- |
| Code | Description |
| 000000000 | National Vocational Certificate of level1& 2, Site assistant in “Civil Technology” |
| 000000000 | National Vocational Certificate of level-3,Assistant surveyor in “Civil Technology” |
| 000000000 | National Vocational Certificate of level-4 Part-I, Supervisor in “Civil Technology” |
| 000000000 | National Vocational Certificate of level-4 Part-II, Supervisor in “Civil Technology” |
| 000000000 | National Diploma in Cicil Technology Level-5 Part-I |
| 000000000 | National Diploma in Civil Technology Level-5 Part-II |

# 6. Members of Qualifications Development Committee

The following members participated in the qualification’s development and validation of these qualifications:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Engr. Azhar Iqbal Shad | Chief Instructor (Civil) | GCT Raiwnd Road, LHR |
| 2 | Engr. Mazhar Abbas Naqvi | Principal | GSTC, Faisalabad |
| 3 | Engr. Naveed Ahmad Ajmal | Sr. Instructor (Civil) | GCT Bahalpur |
| 4 | Imtiaz Ahmad Awan | Sr. Instructor (Civil) | GCT Rasul (M.B.Din) |
| 5 | Muhammad Amjad Rafique | Sr. Instructor (Civil) | GCT Rasul (M.B.Din) |
| 6 | Engr.Zuneera Ashfaq | Asstt Director | PITAC Lahore |
| 7 | Engr Rehan Younis | Asstt Director | FWO- Rawalpindi |
| 8 | Engr. Mohsin Jahanzeb | Instructor (Civil) | GSTC, Faisalabad |
| 9 | Muhammad Asad Mahmood | Contractor | G.Five Construction Co. Faisal Abad |
| 10 | Engr. Norheen Amina | Consultant | Allied Engg. Services Lahore |
| 11 | Hira Ishtiaq | Coordinator Engr. | Allied Engg. Services Lahore |
| 12 | Engr. Hafsah Khalid | Project Manager | ANS Associates Lahore |
| 13 | Engr. Habiba Mohsin | Project Manager | Jers Engg. Co. Lahore |
| 14 | Mian Muhammad Naeem | Consultant Engr. | Mian Associates Lahore |
| 15 | Engr. Rana Haroon Mujahid | SDO, Bridges & Roads | C&W Faisalabad |
| 16 | Bushra Asghar | Instructor | GCT (w) Lahore |
| 17 | Engr. Inayet ur Rehman | DACUM, Facilitator | Peshawar |
| 18 | Muhammad Ishaq | QDC Coordinator | NAVTTC, Islamabad |

# 7. Members of Qualifications Validation Committee

The following members participated in the qualification development and validation of these qualifications:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Engr. Azhar Iqbal Shad | Chief Instructor (Civil) | GCT Raiwnd Road, LHR |
| 2 | Engr. Mazhar Abbas Naqvi | Principal | GSTC, Faisalabad |
| 3 | Mr. Imtiaz Ahmad Awan | Sr. Instructor (Civil) | GCT Rasul (M.B.Din) |
| 4 | Mr. Tariq Ali | A / Professor (Civil) | GPI Batkhela KP-TEVTA |
| 5 | Mr. Fida Hussain Mirjat | Principal | GMI Matli Hyderabad |
| 5 | Mr. Muhammad Khurram Murad | DCE PBTE | Lahore |
| 6 | Engr. Inayat ur Rehmen | DACUM Facilitator | Ex. KP-TEVTA |
| 7 | Mr. Sikander Masood | Director SS & C. | NAVTTC Islamabad |

# 8. Entry Requirements

| National Vocational Certificate Level 1 & 2, Site assistant in Civil Technology | Middle |
| --- | --- |
| National Vocational Certificate Level 3, Assistant Surveyor in Civil Technology | Level 1 & 2 |
| National Vocational Certificate Level 4, Site technology in Civil Technology | Level 3 |
| National Diploma in Civil Technology Level 5, | Level 4 |

# 9. Proposed Scheme of Studies

(000000000) National Vocational Certificate Level 1 & 2 (Site assistant in Civil Technology)

| Code | Name of Subjects | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Basic Engineering Surveying | Technical | 32 | 160 | 192 | 19.2 | 2 | 10 | 12 |
| 000000000 | Civil Engineering Drawing | Technical | 32 | 160 | 192 | 19.2 | 2 | 10 | 12 |
| 000000000 | Building Materials | Technical | 32 | 48 | 80 | 8 | 2 | 3 | 05 |
| 000000000 | Workshop Practice-I (Wood Working) | Technical | 16 | 48 | 64 | 6.4 | 1 | 3 | 4 |
| 000000000 | Workshop Practice-II (Electrical Wiring) | Technical | 16 | 48 | 64 | 6.4 | 1 | 3 | 4 |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| Total |  |  | 128 | 464 | 592 | 59.2 | 8 | 29 | 37 |

(00000000) National Vocational Certificate Level 3 (Assistant Surveyor in Civil Technology)

| Code | Name of Subjects | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Advanced Surveying | Technical | 48 | 192 | 240 | 24 | 3 | 12 | 15 |
| 000000000 | AutoCAD | Technical | 32 | 128 | 160 | 16 | 2 | 8 | 10 |
| 000000000 | Construction Techniques I | Technical | 16 | 112 | 128 | 12.8 | 1 | 7 | 8 |
| 000000000 | Plumbing | Technical | 16 | 32 | 48 | 4.8 | 1 | 2 | 3 |
| 000000000 | Digital Skills | Technical | 16 | 16 | 32 | 3.2 | 1 | 1 | 2 |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| Total |  |  | 128 | 480 | 608 | 60.8 | 8 | 30 | 38 |

(000000) National Vocational Certificate Level 4 (Site supervisor in Civil Technology) Part 1

| Code | Name of Subjects | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Construction Techniques II | Technical | 32 | 128 | 160 | 16 | 2 | 8 | 10 |
| 000000000 | Basic Quantity Surveying | Technical | 16 | 176 | 192 | 19.2 | 1 | 11 | 12 |
| 000000000 | Water Supply | Technical | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Strength of Materials | Technical | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Soft Skills | Technical | 32 | 64 | 96 | 9.6 | 2 | 4 | 6 |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| Total |  |  | 112 | 496 | 608 | 60.8 | 7 | 31 | 38 |

(000000) National Vocational Certificate Level 4 (Site supervisor in Civil Technology) Part-2

| Code | Name of Subjects | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Construction Techniques III | Technical | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Concrete Technology | Technical | 32 | 64 | 96 | 9.6 | 2 | 4 | 6 |
| 000000000 | Advanced Quantity Surveying | Technical | 16 | 144 | 160 | 16 | 1 | 9 | 10 |
| 000000000 | Contract Management | Technical | 32 | 64 | 96 | 9.6 | 2 | 4 | 6 |
| 000000000 | Sanitary Engineering | Technical | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Engineering Mechanics | Technical | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| Total |  |  | 128 | 464 | 592 | 59.2 | 8 | 29 | 37 |

(000000) National Diploma in Civil Technology Level 5 (Part 1)

| Code | Name of Subjects | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Transportation Engineering-I | Technical | 64 | 48 | 112 | 11.2 | 4 | 3 | 7 |
| 000000000 | Hydraulics Engineering | Technical | 32 | 48 | 80 | 8 | 2 | 3 | 5 |
| 000000000 | Soil Mechanics | Technical | 32 | 48 | 80 | 8 | 2 | 3 | 5 |
| 000000000 | Bridge Engineering | Technical | 32 | 48 | 80 | 8 | 2 | 3 | 5 |
| 000000000 | Environmental Technology | Technical | 32 | 48 | 80 | 8 | 2 | 3 | 5 |
| 000000000 | Construction Project Planning and Management | Technical | 64 | 96 | 160 | 16 | 4 | 6 | 10 |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| Total |  |  | 256 | 336 | 592 | 59.2 | 16 | 21 | 37 |

(000000) National Diploma in Civil Technology Level 5 (Part-2)

| Code | Name of Subjects | Category | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Transportation Engineering-II | Technical | 42 | 48 | 90 | 9.0 | 3 | 3 | 6 |
| 000000000 | Irrigation Engineering | Technical | 64 | 48 | 112 | 11.2 | 4 | 3 | 7 |
| 000000000 | R.C.C. Design | Technical | 80 | 63 | 143 | 14.3 | 5 | 4 | 9 |
| 000000000 | Civil Engineering Project | Technical | 0 | 138 | 138 | 13.8 | 0 | 10 | 10 |
| 000000000 | Entrepreneurial Skill | Generic | 32 | 63 | 95 | 9.5 | 2 | 4 | 6 |
| 00000000 | Green Skills in construction | Generic | 6 | 24 | 30 | 3 | 1 | 3 | 4 |
| 00000000 |  | Allied |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |
| Total |  |  | 224 | 384 | 608 | 60.8 | 15 | 27 | 42 |

# 9. A- Occupation Packaging of Civil Technology

| S.# | Name of Occupation | Level | Digital Skills | Soft Skills | Technical Skills |
| --- | --- | --- | --- | --- | --- |
|  | Civil Surveyor | 3 | 0732B&CE- 109 to 130 | 0732B&CE-175 to 188 | 0732B&CE-1 to 21, 53 to 66 |
|  | Draftsman | 3 | 0732B&CE-109 to 130 | 0732B&CE-175 to 188 | 0732B&CE-11 to 24, 67 to 78 |
|  | Quantity Surveyor | 5 | 0732B&CE- 109 to 130 | 0732B&CE-175 to 188 | 0732B&CE-6, 8, 10, 11 to 25, 67 to 78, 151 to 169, 206 to 218, 219 to 234, 241 to 246, 256 to 260, 277 to 286 |
|  | Quantity Surveyor after Draftsman | 5 | ----- | ----- | 0732B&CE-6, 8, 10, 25 to 35, 151 to 169, 206 to 218, 219 to 234, 241 to 246, 256 to 260, 277 to 286 |
|  | Materials Technician | 5 | 0732B&CE- 109 to 130 | 0732B&CE-175 to 188 | 0732B&CE-25, 173, 174, 206 to 211, 249 to 255, 261 to 265, 279, 280. |
|  | Construction Quality control Supervisor | 5 | 0732B&CE-109 to 130 | 0732B&CE-175 to 188 | 0732B&CE-1 to 21, 25 to 35, 53 to 66, 173, 174, 206 to 211, 249 to 255, 261 to 265, 267 to 274, 279, 280 |
|  | Mason | 2 | ------ | ------ | 0732B&CE-25 to 35, 79 to 100, 131 to 150, 189 to 194, 199, 203, 204. |
|  | Plumber | 2 | ----- | --- | 0732B&CE-101 to 108, 164, 228, 230, 231 |
|  | Domestic Electrician | 2 | ------ | ------ | 0732B&CE-46 to 52 |

# B- Qualification Packaging of Civil Technology

| S.# | Name of Qualification | Level | Digital Skills | Soft Skills | Technical Skills |
| --- | --- | --- | --- | --- | --- |
| 1 | Site supervisor | 4 | 0732B&CE- 109 to 130 | 0732B&CE-175 to 188 | 0732B&CE-1 to 24, 25 to 35, 36 to 45, 46 to 52, 53 to 66, 67 to 78, 79 to 100, 101 to 108, 131 to 150, 164 to 169, 189 to 205, 206 to 209, 226 to 234, 241 to 246, 256 to 260, 277 to 286 |

# Detail of Qualifications and its Competency Standards Level Wise

# 11c Certificate in Civil Technology Level 4

  - Construction II

    - Prepare subgrade, base, and bedding course for paving

Overview: This competency standard covers the skills and knowledge required to prepare subgrade, base andbedding course in preparation for laying paving.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Prepare for work | P1 Confirm work instructions with supervisor. P2. Select required tools and equipment, check for serviceability and any faults. P3. Calculate materials quantity requirements in accordance with specifications. P4. Obtain materials needed and check for compliance |
| CU2. Identify soil | P1 Identify class of soil used as per soil classification charts. P2. Determine properties of soil assessed to its class. P3.Determine subgrade requirements of penetration tests. |
| CU3.Prepare subgrade | - Identify drainage and other features are within the area to be paved. - Identify drains put in place where required - Identify services in work area - Identify damp proof courses and paving is constructed so that it does not compromise them. - Components are cleaned, stacked and stored for reuse or bundled for removal. |
| CU4. Install base course materials | P1. Calculate quantity of base course materials is based upon the subgrade type and purpose of the paved area. P2. Distribute material over area, allowing for compaction. P3. Perform compaction on area taking care not to over-compact base materials. |
| CU5. Install bedding course materials | P1. Select bedding course material P2. Calculate quantity of layer course materials P3. Distribute material over the area to be paved within tolerances stipulated by relevant standards. P4. Handle compacting machinery correctly. P5. Screed base materials to levels as determined, and set out by string lines or other mechanisms. P6. Clean the work area. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain principles of California bearing ratio (CBR)

- Explain properties of bedding course materials

- Explain properties of geotextile materials

- Explain relevant Australian standards

- Explain stabilizing bedding sand

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Locate, interpret and apply relevant information, standards and specifications

- Comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations

- Comply with organizational policies and procedures including quality requirements

- Safely and effectively operate and use tools, plant and equipment

- Communicate and work effectively and safely with others.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Tools and equipment: compactors concrete mixer levelling devices rakes screed shovels string lines Wheelbarrows. |
|  | Materials required: aggregates bedding sand cement concrete crushed rock road base sand. |

    - Lay paving

Overview: This competency standard covers the skills and knowledge required to plan for work, set out work area and lay paving.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan for work | P1. Confirm work instructions with supervisor. P2. Select tools and equipment are selected as required, check for serviceability and any faults P3. Calculate material quantity requirements in accordance with specifications. P4. Obtain and prepare materials needed for compliance |
| CU2 Set out work area | P1. Identify location and area of paved area from plans and specifications. P2. Identify sub-soil and footing types according to standards. P3. Locate underground services P4. Set out location and shape of paving area to dimensions from plans and specifications. |
| CU3. Lay paving | P1. Excavate area is to required depth, allowing for base and thickness of unit and specified finish level. P2. Position drainage pipes in sub soil in accordance with plans and specifications. P3. Mix mortar for masonry paving to specifications and standards. P4. Spread substrate base material and compact to specifications. P5. Spread and screed bedding material is spread to designed level and alignment. P6. Position edge boards to set out and specifications. P7. Grade paving surface to fall evenly, without ponding, to outlets or surface run-off system. P8. Determine initial starting line is and lay pavers to line conforming to specified pattern. P9. Cut paving units and segments and lay to designed pattern and specifications, with joints to specifications and surface finish aligned. P10. Maintain finished level is across junctions between different finishes. P11. Complete paving installation with joints finished to specifications. P12. Clean paving surface according to specifications. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain characteristics and applications of materials for laying pavers

- Define corner geometry

- Explain paving bonds and patterns, joints and finishing

- Draw plans, specifications and drawings

- Explain techniques for laying pavers

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Pave a level area of 3m x 5m with clay pavers, using sand as a bedding material on compacted crushed rock (closed finish with sand brushed in); and

- Pave an area of 3m x 5m over a fall with clay bricks, incorporating control joints and using mortar as a bedding material on concrete (mortar joints finish).

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment: - Bolsters - Brick buggies - Buckets - Builders' lines - Builders squares - Concrete mixers - Forklifts - Hammers - Hoses - Line blocks - Line pins - Masonry saws - Mason's squares measuring tapes and rules - Mortar boards - Pallet trolleys - Rakes and brooms - Rubber mallets - Screed boards - Shovels - Small petrol or diesel engines - Compressors or mixers - Spirit levels - Straight edges - String lines - Trowels - Vibrating plates - Wheelbarrows |

    - Perform concrete, tiles and mosaic flooring

Overview: This competency standard covers the skills and knowledge required to supervising construction works using concrete. It requires candidates to be able to prepare concrete mixture, perform concrete flooring, perform tiles flooring and perform mosaic flooring.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1 Prepare concrete mixture | P1. Read, and interpret drawing / layout and specification according to the job requirements. P2. Select materials according to job requirements. P3. Select and use PPE as per the job requirements. P4. Select and use required tools and equipment as per the job requirements P5. Prepare materials as per the job requirement following standard procedures. P6. Mix materials as per the job requirement following standard procedures. Transport concrete mix as per the job requirement following standard procedures. |
| CU2 Perform concrete flooring | P1. Prepare surfaces as per the job requirement following standard procedure P2. Lay the concrete mixtures as per the job requirement following standard procedure P3. Compact the concrete mixtures/surfaces following standard procedures. P4. Plaster the floor surfaces following standard practices P5. Prepare and apply cement slurry to the surfaces as per the job requirement following standard procedures. P6. Cure the floor surfaces following standard practices. |
| CU3 Perform tiles flooring | P1. Prepare surfaces as per the job requirement following standard procedures. P2. Prepare tiles as per the job requirement following standard procedures. P3. Plaster the floor surfaces as per the job requirement following standard procedures. P4. Prepare and apply cement slurry as per the job requirement following standard procedures. P5. Lay floor tiles as per the job requirement following standard procedures. P6. Cure the floor surfaces following standard practices. P7. Finish the floor surfaces as per the job requirement following standard procedures. |
| CU4 Perform mosaic flooring | P1. Prepare surfaces as per the job requirement following standard procedure. P2. Place the stripes as per the job requirement following standard practices. P3. Pour the concrete mixtures as per the job requirement following standard procedure. P4. Compact the concrete mixtures/surfaces of following standard procedures. P5. Prepare mosaic mix as per the job requirement following standard practices. P6. Pour and compact mosaic mix as per the job requirement following standard procedures. P7. Finish the floor surfaces as per the job requirement following standard procedures. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Demonstrate occupational Health and Safety (OHS) Regulations

- Explain composition, properties and specifications of flooring mixtures

- Explain economic use of materials

- Describe the procedure for estimation of materials

- Explain repair and maintenance work

- Explain tiles design and decorations

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate compliance with hygiene and safety regulations applicable to work operations at all times.

- Prepare the flooring materials as per the job requirements.

- Finish the floor surfaces as per the job requirement following standard procedures

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment: - Mason hammer - Trowel - Chisel - Measuring tape - Try square - Mason thread - Sprite level - Bucket - Mortar pan Sponge/form - Wooden/steel float - Shovel - Spade - Wire brush - Screeds(wooden/steel) - Grinder - Wooden/steel edge |

    - Perform marble/granite flooring

Overview: This competency standard covers the skills and knowledge required to prepare concrete, mixture and lay marbles/granite

| Competency Units | Performance Criteria |
| --- | --- |
| CU1 Prepare concrete mixture | P1 Read, and interpret drawing / layout and Specification according to the job requirements. P2 Select materials according to job requirements. P3 Select and use PPE as per the job requirements. P4 Select and use required tools and equipment as per job requirements P5 Prepare materials as per the job requirement following standard procedures. P6 Mix materials as per the job requirement P7 Transport concrete mix as per the job requirement following standard procedures. |
| CU2. Lay marbles/granite | P1. Prepare surfaces as per the job requirement following standard procedure P2. Prepare marble/granite slabs as per the Standard procedure. P3 Plaster the floor surfaces as per the standard P4. Prepare and apply cement slurry as per the job requirement standard procedure. P5. Lay marble/granite tiles as per the job requirement following standard procedure. P6. Finish the floor surfaces as per the job requirement following standard procedures. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of: Fundamentals of masonry.

- Enlist types of flooring

- Enlist types of bondage

- Explain safe use of tools and equipment

- Estimation and costing.

- Curing procedures

- Explain economic use of materials

- Describe grinding and molding procedures

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate compliance with hygiene and safety regulations applicable to work operations at all times.

- Demonstrate compliance with occupational health and safety regulations applicable to work operations at all times.

- Interpret drawings and layouts.

- Lay marble/granite tiles as per the job requirement following standard procedure.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment: - Straight edge - Plumb bob - Sprite level - Grinding tools - Trowel - Pans shovels - Molding tools - Cutter - Float |

    - Apply water proofing remedial processes

Overview: This competency standard covers the skills and knowledge required to apply remedial waterproofing processes to external and below ground level wet areas, using injection epoxy, cement crystallisation or hydrostatic coating methods. It includes identification of the waterproofing system to be used, its preparation and its application.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Plan and prepare | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. |
| CU2. Identify waterproofing system. | P1. Identify area to be waterproofed from a technical report or diagnosed damp fault area and inspected for defects and soundness in accordance with job and manufacturer specifications. P2. Inspect area of structure for waterproofing surface application for defects and soundness in accordance with job and manufacturer specifications. P3. Identify, analyze and select appropriate remedial waterproofing systems and products in accordance with job and manufacturer specifications P4. Check range of waterproofing materials for product suitability, conformity to specification and compatibility with surface material, preparation and waterproofing installation technique. P5. Select type of waterproofing material is identified in accordance with type of substrate, job specification, state of structure and job safety requirements. |
| CU3. Prepare for waterproofing process. | P1. Confirm site to be repaired in accordance with drawings, specifications and manufacturers' specification. P2. Set out construction/installation site to specified location, structure and dimensions in accordance with drawings and specifications. |
| CU4. Apply waterproofing using injection. | P1. Determine and measure Injection hole set-out spacing and in accordance with manufacturer recommendations. P2. Apply materials prepared for injection method application in accordance with manufacturer recommendations. P3. Prepare and set up Injection equipment for injection process in accordance with manufacturer recommendations. P4. Test and flush injection system in accordance with manufacturer specifications. P5. Make damp course water resistant and capped using injection method in accordance with manufacturer recommendations and to specifications. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of: characteristics and applications of remedial waterproofing materials

- Explain construction systems and waterproofing considerations

- Explain general construction terminology

- Explain job safety analysis (JSA) and safe work method statements

- Explain materials storage and environmentally friendly waste management

- Draw plans, drawings and specifications

- Explain plant, tools and equipment types, characteristics, uses and limitations

- Explain principles and considerations of water exclusion

- Explain processes for the calculation of material requirements

- Explain quality requirements

- Describe remedial waterproofing materials, processes and testing techniques

- Explain workplace and equipment safety requirements.

Critical Evidence(s) Required

The candidate needs must be able to provide evidence of the ability to:

- Locate, interpret and apply relevant information, standards and specifications

- Comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations

- Comply with organizational policies and procedures including quality requirements

- Safely and effectively operate and use tools, plant and equipment

- Communicate and work effectively and safely with others as a minimum:

- Repair a crack in a concrete basement wall or a suspended car park slab, identifying remedial waterproofing method to be used, determining the type of material to be used and the repair requirement (e.g. spacing of injection ports/packers if using an injection method), and testing the application

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment: - Angle grinders - Chisels - Electric drills and screwdrivers - Hammers - Impact drills - Measuring tapes and rules - Mixing equipment - Pressure injection equipment, including: - Cartridge applications - Compressors - Hoses - Pumps - Vacuum pumps - Spirit levels - Straight edges. |

    - Apply and install sealants

Overview: This competency standard covers the skills and knowledge required to apply and install sealants.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare for work | P1. Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details, for planning and preparation purposes P2. Follow safety (OHS) requirements in Accordance with safety plans and policies. P3. Identify and implement signage and barricade requirements. P4. Select plant, tools and equipment to carry out tasks consistent with job requirements, check for serviceability, and any faults P5. Calculate sealant material quantity in accordance with plans, specifications and quality requirements. P6. Identify, obtain, prepare, safely handle and locate materials appropriate to the work application |
| - Prepare surface to receive sealants. | P1. Clean surface free of contaminants such as oil, grease, dust or moisture. P2. Surface is prepared by sanding and/or cleaning in accordance with preparation specifications. |
| CU3. Apply sealant. | P1. Apply sealant materials to manufacturer recommendations and specifications. P2. Take care to ensure no air is trapped within applied sealant |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1. Explain safe materials handling techniques and requirements, including hazardous materials relevant to sealant application work

K2. Explain safe use of scaffolding and working platforms

K3. Enlist types and performance of sealants used in buildings

K4. Explain types and use of hand tools and equipment relevant to sealant application and installation work

K5. Explain workplace and equipment safety requirements.

Critical Evidence(s) Required

The candidate who demonstrates competency in this unit must be able to handle and use all the sealant materials and application devices listed in the range statement, providing evidence of the ability to:

- Comply with OHS regulations and state and territory legislation applicable to workplace operations

- Comply with organizational policies and procedures, including quality assurance requirements

- Select and use appropriate processes, tools and equipment to carry out tasks

- Adopt and carry out correct procedures prior to and during handling and application of materials

- Demonstrate safe and effective operational use of tools and equipment

- Demonstrate safe application in the process of cleaning up application area and cleaning equipment

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment: Brooms Brushes Cartridge applicators Putty knives and paring knives Rollers Sanders Spray equipment. |

    - Perform water proofing works

Overview: This competency standard covers the skills and knowledge required to safely and effectively use tools and equipment used in waterproofing. It includes identification, selection and use of hand and power tools, plant and equipment used in masonry work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare for work. | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. |
| - Identify waterproofing system. | - Identify basement, water tank area to be waterproofed from job drawings and specifications. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyses and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Check range of waterproofing materials for product suitability; conformity to specification; and compatibility with surface material, preparation and waterproofing installation technique. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements |
| - Prepare water proofing installation. | - Check basement, tank and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required to be in place and secure. - Check rebates for baths and basins for compliance with standards. |
| - Prepare substrate | - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure to manufacturers' specification, where applicable. |
| - Identify and select plant and equipment | - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required in accordance with manufacturer specifications. - Cure waterproofing membrane in accordance with manufacturers' specification and workplace requirements. - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements and sign-off and handover of work is carried out in accordance with workplace requirements. |
| - Clean up. | - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, and codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe applications, limitations and method of operation and maintenance of hand and power tools, plant and equipment applicable to waterproofing tasks

- State communication processes - verbal and signaling

- State general construction terminology

- Recognize and observe job safety analysis (JSA) and safe work method statements

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

A person who demonstrates competency in this unit must be able to provide evidence of the ability to:

Water proofing of water tank

Curing of waterproofing  membrane

Installation of corner flashing

Application of bond breakers and fillets.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment Angle grinders Brooms, brushes Buckets Caulking guns Chisels, including cold chisels Cutting blades Electric drills and screwdrivers Fans Floor scrapers Hammers Heat welders, hot air welders, lights Measuring tapes and rules Moisture meters Nylon rollers Pressure rollers Fusion rollers Scissors Seam probes Solvent applicators Spirit levels Straight edges Vacuum cleaners. |

    - Apply water proofing tools and equipment

Overview: This competency standard covers the skills and knowledge required to safely and effectively use tools and equipment used in waterproofing. It includes identification, selection and use of hand and power tools, plant and equipment used in masonry work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare for work. | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. |
| - Identify hand and power tools. | - Identify type and function of hand and power tools to be used in the waterproofing work. - Identify methods of operation of hand and power tools from specifications, standards and manufacturers' instructions. - Identify specific OHS requirements for specific hand and power tools. - Identify personal protective equipment (PPE) required for operation of the tools in accordance with regulatory and workplace requirements. |
| - Select Tools for work | - Select tools and equipment consistent with job requirements. - Check tools, including leads and hoses, for tags, serviceability and report safety and any faults to supervisor. - Check power tools guards, guides and controls and maintained in accordance with manufacturer recommendations. - Check equipment to hold or support material during operation and inspect for faults. - Complete pre-operational checks, including lubricants, hydraulic fluid and water, in accordance with manufacturer recommendations. |
| - Use Tools | - Connect power and compressed air supply to work area to the area of work in accordance with regulatory and workplace requirements and codes of practice. - Observe start-up and shut-down procedures. - Use tools safely and effectively according to manufacturer recommendations and regulatory requirements. - Switch off tools safely and locate when not in use. |
| - Identify and select plant and equipment | - Identify function and limitations of waterproofing hand and power tools, plant and equipment used for waterproofing systems and waterproofing tasks. - Identify method of operation of plant and equipment from specifications, standards and manufacturers' instructions. - Identify and apply OHS requirements for specific plant and equipment, including requirements for guarding, guiding and controls. - Identify PPE required for the operation of plant and equipment in accordance with regulatory and workplace requirements. - Select items of plant and equipment consistent with hazard minimization and needs of the job. - Check plant and equipment for safety, and report faults to supervisor in accordance with workplace procedures. - Recognize and adhere to OHS requirements for operating and using plant and equipment |
| - Use plant and equipment | - Observe start-up and shut-down procedures - Use plant and equipment safely and effectively according to manufacturer recommendations and regulatory requirements. - Switch off plant and equipment safely and locate when not in use. |
| - Clean up. | - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, and codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe applications, limitations and method of operation and maintenance of hand and power tools, plant and equipment applicable to waterproofing tasks

- State communication processes - verbal and signaling

- State general construction terminology

- Recognize and observe job safety analysis (JSA) and safe work method statements

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard. A person who demonstrates competency in this unit must be able to provide evidence of the ability to:

Locate, interpret and apply relevant information, standards and specifications

Comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations

Comply with organizational policies and procedures including quality requirements

Safely and effectively operate and use tools, plant and equipment

Communicate and work effectively and safely with others as a minimum, follow work instructions and operating procedures to safely and effectively use appropriate tools, plant and equipment for the preparation of the substrate for waterproofing and the application of at least one of the following applications:- an internal wet area, an external wet area, a below ground level wet area, a remedial waterproofing project ensuring:

Correct selection- and use of appropriate processes, tools and equipment

No damage to tools, plant and equipment, completing all work to specification

•	Compliance with regulations, standards and organizational quality procedures and processes.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment Angle grinders Brooms, brushes Buckets Caulking guns Chisels, including cold chisels Cutting blades Electric drills and screwdrivers Fans Floor scrapers Hammers Heat welders, hot air welders, lights Measuring tapes and rules Moisture meters Nylon rollers Pressure rollers Fusion rollers Scissors Seam probes Solvent applicators Spirit levels Straight edges Vacuum cleaners. |

    - Perform water proofing of basements

Overview: This competency standard covers the skills and knowledge required to identify of the waterproofing system to be used, prepare water proofing system and perform water proofing system in basements.

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan and prepare. | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Select plant, tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. |
| - Identify water proofing system. | - Identify basement area to be waterproofed from job drawings and specifications. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyze and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Check range of waterproofing materials for product suitability; conformity to specification; and compatibility with surface material, preparation and waterproofing installation technique. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions |
| - Prepare for water proofing installation | - Check basement area and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required to be in place and secure. - Check rebates for baths and basins for compliance with standards. |
| - Apply water proofing to basement. | - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure to manufacturers' specification, where applicable. - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required in accordance with manufacturer specifications. - Cure waterproofing membrane in accordance with manufacturers' specification and workplace requirements. - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements and sign-off and handover of work is carried out in accordance with workplace requirements. |
| - Clean up. | - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, and codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe assessment and appreciation of moisture content in substrate materials

- State characteristics and applications of waterproofing materials and adhesives

- Describe construction systems and waterproofing considerations

- Define general construction terminology

- Describe internal waterproofing materials, processes and techniques

- Describe job safety analysis (JSA) and safe work method statements

- State materials storage and environmentally friendly waste management

- Describe MSDS

- Read and interpret plans, drawings and specifications

- Describe plant, tools and equipment types, characteristics, uses and limitations

- Describe principles and considerations of water exclusion

- State processes for the calculation of material requirements

- Describe quality requirements

- Explain termination and flashing principals

- Describe workplace and equipment safety requirements.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

Locate, interpret and apply relevant information, standards and specifications

Comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations

Comply with organizational policies and procedures including quality requirements

Safely and effectively operate and use tools, plant and equipment

Communicate and work effectively and safely with others as a minimum:

Waterproof a bathroom incorporating: lap up a wall, appropriate penetrations, wastes and hobs

Install and detail a hob less frame shower enclosure and a bath that abuts a masonry connection wall, ensuring: correct identification of requirement and installation of the waterproofing

Correct selection and use of appropriate processes, tools and equipment

•    Completing all work to specification, correct termination and over flashing.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab equipment Angle grinders Brooms, brushes Buckets Caulking guns Chisels, including cold chisels Cutting blades Electric drills and screwdrivers Fans Floor scrapers Hammers Heat welders, hot air welders, lights Measuring tapes and rules Moisture meters Nylon rollers Pressure rollers Fusion rollers Scissors Seam probes Solvent applicators Spirit levels Straight edges Vacuum cleaners. |

    - Apply water proofing to internal wet areas

Overview: This competency standard covers the skills and knowledge required to identify of the waterproofing system to be used, prepare water proofing system and apply water proofing system.

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan and prepare. | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Select plant, tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. |
| - Identify water proofing system. | - Identify internal area to be waterproofed from job drawings and specifications. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyze and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Check range of waterproofing materials for product suitability; conformity to specification; and compatibility with surface material, preparation and waterproofing installation technique. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions |
| - Prepare water proofing installation | - Check internal wet area and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required to be in place and secure. - Check rebates for baths and basins for compliance with standards. |
| - Prepare substrate | - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure to manufacturers' specification, where applicable. |
| - Apply water proofing. | - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required in accordance with manufacturer specifications. - Cure waterproofing membrane in accordance with manufacturers' specification and workplace requirements. - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements and sign-off and handover of work is carried out in accordance with workplace requirements. |
| - Clean up. | - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, and codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe assessment and appreciation of moisture content in substrate materials

- State characteristics and applications of waterproofing materials and adhesives

- Describe construction systems and waterproofing considerations

- Define general construction terminology

- Describe internal waterproofing materials, processes and techniques

- Describe job safety analysis (JSA) and safe work method statements

- State materials storage and environmentally friendly waste management

- Describe MSDS

- Read and interpret plans, drawings and specifications

- Describe plant, tools and equipment types, characteristics, uses and limitations

- Describe principles and considerations of water exclusion

- State processes for the calculation of material requirements

- Describe quality requirements

- Explain termination and flashing principals

- Describe workplace and equipment safety requirements.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

Locate, interpret and apply relevant information, standards and specifications

Comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations

Comply with organizational policies and procedures including quality requirements

Safely and effectively operate and use tools, plant and equipment

Communicate and work effectively and safely with others as a minimum:

Waterproof a bathroom incorporating: lap up a wall, appropriate penetrations, wastes and hobs

Install and detail a hob less frame shower enclosure and a bath that abuts a masonry connection wall, ensuring: correct identification of requirement and installation of the waterproofing

Correct selection and use of appropriate processes, tools and equipment

•     Completing all work to specification, correct termination and over flashing.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab Equipment Angle grinders Brooms, brushes Buckets Caulking guns Chisels, including cold chisels Cutting blades Electric drills and screwdrivers Fans Floor scrapers Hammers Heat welders, hot air welders, lights Measuring tapes and rules Moisture meters Nylon rollers Pressure rollers Fusion rollers Scissors Seam probes Solvent applicators Spirit levels Straight edges |

    - Install Physical termite barriers

Overview: This competency standard covers the skills and knowledge required to install physical termite barriers, including barriers that combine physical and chemical characteristics. The unit requires the ability to assess techniques and methods of construction, as well as techniques required to prevent termites gaining concealed access to a completed construction. It requires a thorough understanding of client requirements, and the application of company information in order to perform the task. The selection of appropriate equipment, materials and methods is essential for performing the task safely and efficiently.

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan for construction process | - Identify installation requirements for termite barrier from work order, drawings and supervisor’s instructions. - Review work site plan and select installation specification to prevent concealed termite access according to work order and legislative, occupational health and safety (OHS) and company requirements. - Advise client of installation procedure according to work order and company requirements. - Recognise and adhere to quality assurance requirements according to company requirements. - Select and locate materials in readiness for installation according to manufacturer specifications and OHS and company requirements. - Select equipment and tools consistent with installation requirements, check serviceability, and report faults to appropriate persons according to manufacturer specifications and OHS and company requirements. |
| - Access and assess site. | - Access work site according to client and company requirements. - Review installation method according to work order and company requirements, and clarify issues with appropriate persons. - Check previous trades work for possible effect on proposed installation of termite barrier according to company requirements. - Check previous trades work for possible effect on proposed installation of termite barrier according to company requirements. - Assess work site for access and safety issues according to legislative, OHS and company requirements. |
| - Prepare site for installation | - Identify hazards and control risks at the work site according to company, legislative, OHS and public health and safety requirements. - Determine usage pattern of work site to ensure safety of personnel and efficient use of equipment and tools. - Identify factors affecting completion of work order and advise appropriate persons promptly. |
| - Prepare equipment | - Select suitable personal protective equipment (PPE) and use according to manufacturer specifications and legislative, OHS and company requirements. - Select equipment and tools and check operational effectiveness according to manufacturer specifications and legislative, OHS and company requirements. - Set up equipment and tools according to manufacturer specifications and legislative, OHS and company requirements. - Adjust equipment and tools according to manufacturer specifications to suit operator’s requirements. |
| - Install physical barrier | - Install termite barrier to concealed termite access points according to work order, manufacturer specifications and company requirements. - Check installation of termite barrier according to company requirements. - Conduct work using safe operating practices according to manufacturer specifications and environmental, legislative, OHS and company requirements. |
| - Restore work site and complete documentation | - Clean equipment, tools and PPE according to manufacturer specifications and environmental, OHS and company requirements. - Check equipment, tools and PPE safely and record required maintenance according to manufacturer specifications and OHS and company requirements. - Store cleaned equipment, tools and PPE according to company requirements. - Dispose of collected waste according to work order, manufacturer specifications and environmental, legislative, OHS and company requirements. - Update client records regulatory and complete company documentation and distribute according to legislative and company requirements. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe legislation, regulations, codes of practice and industry advisory standards that apply to the installation of physical termite barriers, including: -OHS legislation, relevant Australian standards and relevant license requirements

- State company management structure and procedures, including: - emergency response procedures, manual-handling techniques, OHS procedures, and reporting channels

- Describe construction methods and materials, such as:- concrete slabs, footings and wall frame materials

- State hazardous substances in the workplace

- State installation equipment

- Describe product knowledge, including manufacturer specifications for equipment and products being used

- Describe subterranean termite ecology as related to termite barrier installation

- Explain work order specifications

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

Carry out correct procedures prior to and during installation of physical termite barrier

Communicate to support team and ensure safe and effective workplace operations

Comply with:- company policies and procedures, including quality assurance, legislative and regulatory requirements, product installation specifications

Identify hazards and risks associated with the installation

Safely and effectively use hand and power tools, plant and equipment

Achieve outcomes in relation to work order.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab equipment - Adhesive applicators - Angle grinders - Bolsters - Brushes and brooms - Drills - Power - Rechargeable - Generators - Hammers - Hoses - Knives - Measuring tapes or rules - Power leads - Rollers - Safety switch equipment - Screwdrivers - Sheet metal or utility cutters or snips - Shovels. |

    - Erect and dismantle slip formwork

Overview: This competency standard covers the skills and knowledge required to plan and prepare, set out formwork, assemble core form system, locate and install penetrations conduct slip system and clean up.

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan and prepare. | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Select plant, tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. |
| - Set out formwork. | - Locate set out points and lines according to engineer's drawings, survey datum points and site plan for formwork erection. - Locate slip form formwork positioning to predetermine set out. |
| - Assemble core form system. | - Erect and fix internal prefabricated system wall form shutters into location according to engineer's drawings. - Fit system to concrete nib walls to heights consistent with engineer's requirements. - Install shear key feet to manufacturer specifications. - Fit platforms and assembly into core to manufacturer specifications. - Fit structural steel system grid work and hydraulic hose lines to manufacturer specifications. - Suspend wall form shutters and fit & complete system cladding and platforms to manufacturer specifications and engineer's requirements. |
| - Locate and install penetrations. | - Set out locations and dimensions of penetrations in accordance with designated tolerance from engineering drawings. - Construct penetrations, block-outs and cast-in services where required to engineering drawings. - Install penetrations to requirements of engineering drawings. |
| - Conduct slip system. | - Erect and fix external prefabricated system wall shutters to engineers and manufacturer specifications. - Loose and strip shutters according to manufacturer's and OHS requirements. - Communicate with rigger to activate electrical/ hydraulic jacking of the system to the new position. - Install trailing platforms to engineer's specifications. - Dismantle formwork in accordance with manufacturer and engineer's specifications. |
| - Clean up | - Clear work area and dispose of or recycle materials in accordance with project environmental management plan - Clean, check, maintain and store plant, tools and equipment |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of: common formwork faults, problems and suitable rectifications

- Describe common formwork faults, problems and suitable rectifications

- State concrete properties

- Define construction terminology

- Describe electrical/hydraulic jacking systems

- Describe formwork materials and techniques

- Describe hydraulic pressures applied to formwork

- Explain job safety analysis (JSA) and safe work method statements

- State material safety data sheets (MSDS)

- Describe materials storage and environmentally friendly waste management

- Read, Interpret plans, specifications and drawings

- Describe plant, tools and equipment types, characteristics, uses and limitation

- Describe processes for the calculation of material requirements

- State quality requirements for slip form formwork

- Describe workplace and equipment safety requirements.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Locate, interpret and apply relevant information, standards and specifications

- Comply with site safety plan, OHS regulations and state and territory legislation applicable to workplace operations

- Comply with organizational policies and procedures, including quality requirements

- Safely and effectively use tools, plant and equipment

- Communicate and work effectively and safely with others

- Complete, as part of a team, the erection and dismantling of the slip form formwork for one operation.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab equipment - Air compressors and hoses - Chisels - Hammers - Levelling equipment - Measuring tapes and rules - Nail bags - Pneumatic wrenches - Power drills - Power leads - Proprietary slip form formwork - Spanners - Spirit levels. |

    - Install trench support

Overview: This competency standard covers the skills and knowledge required to install trench and excavation support on a new or existing site

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan and prepare for installing trench support | - Access, interpret and apply trench support documentation, and ensure the work activity is compliant - Obtain, read, interpret, clarify and confirm work requirements - Identify and address potential risks, hazards and environmental issues, and implement control measures - Select and wear personal protective equipment appropriate for work activities - Identify, obtain and implement traffic signage requirements - Select, and check for faults, equipment and/or attachments for work activities - Obtain and interpret emergency procedures, and be prepared for fire/accident/emergency |
| - Install trench shoring | - Communicate with plant operator and ensure the excavation of trenches complies with site plan, line and depth - Determine and prepare shoring method - Set out positioning of shoring - Position/erect shoring within the trench - Secure shoring in position and ensure structural conformity with regulations - Clean out excavation - Locate ladders for safe access and egress |
| - Remove trench shoring | - Release jacking mechanisms and remove ladders - Check shoring and prepare it for lifting from the trench - Remove shoring from trench and store it |
| - Conduct housekeeping activities | - Clear work area and dispose of or recycle materials - Clean and maintain condition of equipment, ensure suitability for use, and address/report issues - Manage/report hazards, and maintain a safe working environment - Process written records |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Describe excavation techniques

- Interpret Plans, specifications and drawings

- Define Shoring

- Describe types & components of shoring

- Workplace and equipment safety requirements.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Effectively use tools, plant and equipment; and

- Mark out and excavate site as to without damaging services.

- Support trench – timbering in trenches.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab equipment Battens, props, planks for shoring Sheet piling Trench shields Timber sets |

    - Construct underpinning

Overview: This competency standard covers the skills and knowledge required to It includes planning and preparing, setting out and preparing sections, excavating sections, constructing underpinnings, and cleaning up. Licensing, legislative, regulatory and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Relevant information must be sourced prior to application of the unit.

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan and prepare | - Access, interpret and apply compliance documentation relevant to the work activity - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details to the allotted task - Obtain and confirm safety requirements from the site safety plan and organizational policies and procedures, and apply to the allotted task - Identify, obtain and implement signage requirements from the project traffic management plan - Select tools and equipment to carry out tasks consistent with the requirements of the job, check for serviceability and rectify or report any faults - Identify environmental protection requirements from the project environmental management plan, and confirm and apply to the allotted task |
| - Set out and prepare sections | - Identify and record underpinning requirements for adjoining properties and roadways from site drawings and surveys of the surrounding construction - Identify and implement sections and sequence of excavations from the planned schedule for underpinning - Check existing shoring system for soundness and conformation to specifications and design requirements - Set out sections for excavation to underpinning specifications and schedule - Identify and protect areas for excavation and surrounding working space requirements to provide a safe working area - Erect barricades and signage, where required, in accordance with the site safety plan - Position plant and equipment for excavations |
| - Excavate sections | - Excavate designated sections to the designed depth of footings - Install trench and excavation support in accordance with soil characteristics, safety considerations and the job safety analysis |
| - Construct underpinning | - Construct underpinning in accordance with job specifications - Backfill excavated sections - Underpin alternate sections in sequence according to underpinning schedule |
| - Clean up | - Clear work area and disposed of or recycled materials in accordance with project environmental management plan - Clean, check, maintain and store plant, tools and equipment |

Knowledge & Understanding

- Demonstrate site and equipment safety requirements

- Explain foundation work

- Explain civil construction terminology

- Enlist underpinning techniques

- Explain construction principles

- Explain processes for interpreting engineering drawings

- Explain soil, sand, rock, clay, shale, gravel and silt types and characteristics

- Define water erosion

- Explain equipment types, characteristics, technical capabilities and limitations

- Explain operational, maintenance and basic diagnostic procedures

- Explain site isolation and traffic control responsibilities and authorities

- Explain materials safety data sheets and materials handling methods

- Describe project quality requirements

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Knowledge of the requirements, procedures and instructions for constructing underpinnings

- Implementation of requirements, procedures and techniques for the safe, effective and efficient completion of underpinning construction

- Working with others to undertake and complete the construction of underpinnings that meets all of the required outcomes

- Consistent timely completion of underpinning construction that safely, effectively and efficiently meets the required outcomes

- Construction of underpinning for a minimum of two projects, one using drilling techniques and one using excavation techniques to the required job specifications

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Personal protective equipment for construction industry. |
| 2 | Construction Lab equipment Compressors Fittings and hoses Pneumatic picks and jack hammers Pumps Winches Sheet piling Trench shields Timber sets |

    - Carry out reinforced concrete work

Overview: tThis competency standard covers the skills and knowledge required to plan and prepare work, place and fix reinforcement, carry out concrete placement and clean-up work site area.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Plan and prepare work | - Recognize quality assurance requirements of construction operations and adhered to. - Recognize OH&S requirements for application tasks and workplace environment adhered to. - Identify reinforcement, type of fixing and locations from instructions/reinforcement schedule, job drawings and specifications. - Check formwork/excavation for completion and conformity to receive reinforcement. - Select, fit and use appropriate personal protective equipment correctly. - Select tools and equipment consistent with job requirements - Check delivered reinforcement for correct size type and quantities against reinforcement schedule/details shown in job detail drawings |
| CU2.Place and fix reinforcement | - Cut and bend reinforcement bars to required set -out and drawing details. - Tie bars to designed configuration from drawings. - Cut reinforcement sheets to required sizes, where applicable. - Attach stiffening rods to panels to instructions as required to facilitate handling processes - Locate bar chairs/spacers to requirements of reinforcement schedule and job drawings. |
| CU3.Carry out concrete placement | - Provide assistance provide with the undertaking of relevant concrete tests. - Transport concrete correctly and safely with wheelbarrow and discharge into formwork using correct manual handling techniques. - Place concrete to instruction, minimizing spillage. - Compact concrete to specification and instruction using immersion vibrator or other specified method. - Screed concrete to specified levels/grades as per instructions. - Finish concrete to instruction to specified surface finish. - Identify and apply curing process. - Cover concrete surface adequately with appropriate material to support curing process and protect it from damage. |
| CU4.Clean-up work site area | P1. Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding to plan and prepare work, place and fix reinforcement, carry out concrete placement and clean-up work site area required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain workplace and equipment safety requirements

- Describe formwork for concrete

- Enlist portable power tools, hand tools

- Define plant and equipment

- Enlist materials relevant to steel-fixing

- Describe materials handling

- Knowledge of drawings and specifications

- Describe reinforcement schedule

- Describe appropriate steel-fixing procedures and legislative requirements

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate compliance with Occupational Health and Safety regulations applicable to workplace operations

- Select and use appropriate processes, tools and equipment

- Apply quality procedures and processes within the context of fixing steel reinforcing

- Check materials for conformity with specifications and job requirements

- Identify and follow assembly location and placement sequence

- Demonstrate safe and effective use of tools and equipment and handling of materials

- Place and tie/weld reinforcement to specification

- Interactively communicate with others to ensure safe and effective operations in fixing the reinforcing

Tools and Equipment

- Shovels and rakes

- Wooden floats

- Steel floats

- Bull floats

- Immersion vibrator or vibrating table

- Tarpaulins/covers

- Curing agent applicator

- Steam generator

- Wheelbarrow

- Tamping rods

- Screed boards

- Edging tool

- Brooms

- Bolt cutters

- Hacksaw

- Wire nippers

- Tie wire spool

- Measuring tape/rule

- Reinforcement bender

    - Work safely on roofs

Overview: This competency standard covers the skills and knowledge required to plan and prepare, prepare for work, perform work on roof and clean-up work site area

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Plan and prepare | - Select tools and equipment as required, - Check for serviceability and fix/report any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials needed and check for compliance |
| CU2.Prepare for work | - Verify suitability of the roof structure to support the roof safety system. - Inspect and install fall protection and perimeter protection equipment for conformance |
| CU3.Perform work on roof | - Check access from ground to the roofing work area to ensure it is safe and clear of obstructions and hazards - Secure roof materials and equipment safely on roof and distribute to eliminate risk of distorting or collapsing the building framework. - Check roof safety system is checked periodically for optimum performance, and correct/report faults |
| CU4.Clean-up work site area | P1. Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding to plan and prepare, prepare for work, perform work on roof and clean-up work site area required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain the safe working on roofs

- Explain procedure of installation of fall protection

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Erect, maintain and dismantle, for a roof corner area, fall and perimeter protection,
incorporating handrails and foot walk or harnesses and harness fixing points for safe access
to the roof, stores and equipment locations

Tools and Equipment

- Fall protection

- Ladders

- Chain blocks, cranes

- Elevated work platforms

- Forklifts

- Hand trolleys, hoists and jacks

- Rollers

- Scaffolds

- Perimeter protection

    - Install roof components

Overview: This competency standard covers the skills and knowledge required to install roof components. Site location for work application may be either domestic or commercial and may be a new work site or an existing structure being renovated, extended, restored or maintained.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Prepare for work | - Obtain plans and specifications - Select and install industrial roof components according to Work health and safety (WHS) and environmental - requirements - Identified and adhere quality assurance requirements to according to workplace requirements. - Plan and sequence tasks in conjunction with others involved in or work. - Select and check tools and equipment, including personal protective equipment for serviceability. - Prepare work area to support efficient selection and installation of industrial roof components. |
| CU2.Identify Installation requirements. | - Identify Industrial roof components from plans and specifications and are compatible with adjacent materials and other relevant information. - Select and check proposed sealant, fixing materials, and roofing and flashing materials for compliance with plans, specifications and relevant standards. - Identify, order and collect Materials according to workplace procedures. - Check materials and equipment for compliance with docket and order form and for acceptable condition, and report faults - Observe sustainability principles and concepts when preparing for and undertaking work process. - Identify location of installation and opening size from plans and manufacturer specifications. - Check location for obstructions that may affect installation. |
| CU3.Install roof components. | - Erect industrial component to comply with manufacturer recommendations. - Set out industrial roof component to comply with plans, specifications and site measurements - Install structural supports to comply with plans and specifications. - Prepare openings to comply with plans. - Locate and fix Mullions, frames, baffles, sheeting and louver blades to comply with manufacturer recommendations. - Install flashing and waterproofing to comply with relevant standards, plans, specifications, manufacturer recommendations and regulatory authorities' requirements. - Test installation performance. |
| CU4.Clean-up work site area | P1. Clear work are by disposing of materials. P2. Clean, check, maintain and store tools and equipment’s according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain capillary action, thermal expansion and fabrication techniques to prevent leaking

- Explain corrosion prevention treatment requirements of cut sheets

- Explain job safety analysis (JSA) and safe work method statements (SWMS)

- Describe processes of erecting and installing industrial roof components

- Describe relevant WHS regulations and fall protection codes and requirements

- Explain relevant statutory requirements related to installing roof components

- Define SI system of measurement

- Explain types of fasteners, fixings and sealants and their application to the installation of roof components.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Locating interpreting and applying relevant information, relevant  standards and  specifications to determine requirements, plan and install industrial components in roofs

- Applying safety requirements throughout the work sequence, including electrical safety requirements and the use of personal protective clothing and equipment

- Given the plans and specifications of an industrial roof, determine the material requirements, selecting and installing two of the following components in aroof (one on a ridge line and another in roof sheeting, which may include insulation):

- Thermal vent or a skylight

- Non-mechanised ventilator unit

- Manual box-type louvre unit

- Continuous roof ventilator (ridge or slope mounted), ensuring:

- Application of sustainability principles and concepts

- Correct identification of requirements and details of proposed installations

- Completed installation must fit

- Correct selection and use of appropriate processes, tools and equipment

- Completing all work to specification

- Compliance with regulations, relevant standards and organizational quality procedures and processes

- Communicating and working effectively and safely with others

Tools and Equipment

- Cranes

- Fall protection equipment

- Hand and power tools

- Ladders

- Levelling equipment

- Lifting and load shifting equipment, including:

- Chain blocks

- Elevated work platforms

- Forklifts

- Hand trolleys

- Hoists and jacks

- Restricted height scaffolds

- Rollers

- Measuring equipment

- Perimeter guard rails.

    - Install roof drainage

Overview: This competency standard covers the skills and knowledge required to install roof drainage components and rainwater goods for commercial and residential roof systems

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Plan and prepare | - Select tools and equipment as per specifications, - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance |
| CU2.Identify installation requirements | - Identify roof drainage components required for installation from drawings and specifications. - Draw fabrication patterns based on design and drawing of roof drainage. - Calculate quantity, type and sizing of drainage components, rain water materials and accessories required from drawings and specifications. - Install gutter support system to comply with engineering advice for the building. - Mark out materials for fabricating drainage components, as specified in drawings |
| CU3.Fabricate roof drainage components | - Determine methods of fabrication, tools and materials requirements based on drawings and job requirement - Fabricate roof drainage components in compliance with drawings and specifications |
| CU4. Set out and install roof drainage components | - Arrange roof drainage components in order of installation and to comply with and site measurements. - Install structural supports and join roof drainage components securely and watertight. - Install flashing and waterproofing to comply with the plans - Test the performance of the roof-drainage system to determine satisfactory installation and remedy any faults or leaks |
| CU5.Clean-up work site area | P1. Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain capillary action, thermal expansion and fabrication techniques to prevent leaking
installations

- Explain characteristics of various metals and finishes

- Describe corrosion prevention treatment requirements of cut sheets

- Explain procedure of joining of materials

- Describe processes of fabricating, jointing and fixing roof drainage components

- Explain types of fasteners, fixings and sealants and their application to the fabrication and installation of roof coverings

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- For a roofed area of at least 4 square metres, determine requirements, select, fabricate and install valley gutter, box gutter, eaves gutter and downpipe system, with gutter supports, expansion joints and caps.

Tools and Equipment

- Drawing equipment

- Fall protection equipment

- Hand and power tools

- Ladders

- Lifting and load shifting equipment, including:

- Chain blocks

- Cranes

- Elevated work platforms

- Forklifts

- Hand trolleys

- Hoists and jacks

- Restricted height scaffolds

- Rollers

    - Lay roof tiles

Overview: This competency standard covers the skills and knowledge required to Plan and prepare for work, prepare roof face, Cut and fix battens, Install tiles and Clean-up work site area.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for work. | - Select tools and equipment as per requirement. - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance |
| CU2. Prepare roof face | - Install fall arrest system to roof perimeter and roof surface and structure and check for stability and safe access - Assemble tile elevator and operate in accordance with site conditions and the manufacturer’s instructions. - Remove existing roofing material without damage to the roof frame - Clean areas already tiled with high-pressure water cleaners to the new installation’s condition. - Obtain required materials and calculate required tiles minimizing quantity by planning efficient cuts at the hip and valley joints. - Set out roof surface to manufacturer recommendations for specified tile. |
| CU3.Cut and fix battens | - Measure battens, cut and fixe using selected fasteners at specified centres. - Check completed sarking and batten work for correct alignment and fixing |
| CU4. Install tiles | - Load tiles onto roof, support and distribute evenly. - Spread, cut, secure and install roof tiles to manufacturer specifications. - Install flashing and waterproofing to comply with the plans and manufacturers’ recommendations. - Bed roof tiles using correct mortar mix, maintaining alignment. - Point roof tiles with mortar to a flush, smooth finish and install to manufacturer specifications |
| CU4.Clean-up work site area | P1. Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe characteristics and applications of roof tiling materials

- Explain roof construction systems and structures and tiling considerations

- Explain roof tiling techniques and procedures

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Use of sarking, battens, tile cutting, bedding and pointing in roof tiling

- Prepare space for entire work

- Installation of different tiles for roof system

- Adopt safety measures for entire job

Tools and Equipment

- Air compressors and hoses

- Bedding frames, brooms, buckets

- Calculators, chalk lines, chisels, concrete mixers

- Elevators

- Fall safety devices

- Gutter protectors

- Hammers, hand saws, high pressure water cleaners

- Ladders

- Measuring tapes and rules

- Nail guns

- Pinchers, power drills, power saws

- Shovels, squares, string lines

- Tile cutters, trowels

    - Erect roof trusses

Overview: This competency standard covers the skills and knowledge required to Plan and prepare for work, Locate roof trusses and Clean-up work site area.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for work | - Select tools and equipment as per requirement. - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance |
| CU2. Locate roof trusses | - Set out location of roof trusses for hip and valley roofs on wall top plates to plan layout and specifications. - Perform earthing of steel frames temporarily during erection and connect to permanent earthlings system upon completion. - Erect and fix roof trusses including temporary bracing, to set out positions in correct sequence to line at apex and plumb. - Install top chord above wall plate to be constant height above wall plate. - Fix ceiling trimming and creeper rafter member to specifications. - Use bottom chord of truss to provide lateral support for internal walls. - Provide roof bracing through construction, valley construction, diagonal metal tension or timber bracing or a combination of these, and fixed to specification. - Fix lateral restraints to truss chords in position to manufacturer specifications. |
| CU3.Clean-up work site area | P1. Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Knowledge of plans, specifications and drawings for roof trusses and roof bevels

- Knowledge of roof calculations for lengths, quantities and pitch

- Explain roof load transfer

- Describe roof shape and geometry

- Explain roof truss erection and construction techniques

- Describe roof truss materials and installation, including fire control and separation materials

- Define roof types and truss components

- Describe techniques for lifting and positioning of trusses

- Define Temporary and permanent bracing

- Explain Truss set out

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare standard trusses to incorporate bracing for a full size roof in timber and metal.

- Prepare space for entire work

- Plan for relevant job

- Adopt safety measures

Tools and Equipment

- Air compressors and hoses

- Clamps

- Hammers

- Marking equipment, measuring tapes and rules

- Nail bags, nail guns

- Power drills Power leads Power saws

- Saw stools, scaffolding, screwdrivers, spanners, spirit levels

- Squares (combination/tri), string lines

- Welding equipment.

  - Basic Quantity Surveying

    - Produce rough cost estimates of buildings

Overview: This competency standard covers the skills and knowledge required to Prepare Rough Cost by unit rate method, Prepare rough cost by plinth area method, Specify items of work for according to categories of Buildings and Specify items of work in detial for Buildings

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare rough cost estimate by unit rate method. | P1. Read line plan. P2. Calculate number of units. P3. Calculate unit rate from existing building. P4. Compile results of estimate. |
| - Prepare Rough Cost estimate by plinth area method. | P1. Calculate covered area of building P2. Calculate cost per square foot from existing buildings P3. Calculate cost estimate |
| - Identify items of work in accordance with categories of Building. | P1. Prepare General specifications for first class building. P2. Prepare General specifications for second class building. P3. Prepare General specifications for third class building. P4. Prepare General specifications for fourth class building. |
| - Identify items of work to draft specifications. | P1. Identify material, product (size of crush, type of sand,) P2. Draft standards of materials P3. Draft execution of item of work. P4. Draft units of measurement and rate. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- State formulae for area, perimeters and volumes of various plane and solid geometrical figures.

- State the units of measurements in FPS, MKS and SI.

- Convert the units.

- Describe the importance of estimates.

- State the data required for preparation of estimates.

- State the types of estimate.

- Define specifications.

- Explain the purpose and types of specification.

- State general specifications of buildings &Road.

- Describe the detailed specifications of important items of works.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Rough cost Estimate of building.

- Draft of General and Detailed Specification.

Instruments & Consumables

- Calculator

- Ruler

- Pencil

    - Evaluate items of work for straight wall, T, L, H, U shaped and circular walls.

Overview: This competency standard covers the skills and knowledge required to calculate quantities for walls by long & short wall method and calculate quantities for walls by center line method

| Competency Unit | Performance Criteria |
| --- | --- |
| - Calculate quantities of walls by long & short wall method | P1. Identify the types of wall technical i.e. I-wall, H-Wall, Tee Wall. P2. Implement the principles of I-wall, H-Wall, Tee Wall. P3. Calculate the quantities of items of work for straight wall. P4. Calculate the quantities of items of work for T walls P5. Calculate the quantities of items of work for L walls P6. Calculate the quantities of items of work for H walls. |
| - Calculate quantities for walls by center line method | P1. Identify the types of wall technical i.e. I-wall, H-Wall, Tee Wall. P2. Mark the center line in the wall and calculate length of center line. P3. Calculate quantities of items of work for circular walls. P4. Calculate quantities of items of work for U walls. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Terms used in quantity surveying (provisional sum, prime cost, input rates, MRS, CSR, SMM, CESMM, Premium, rebate, contingencies, petty   establishment charges, cost, value, bill, FIDIC and Bo Qs).

- Prepare rough cost estimate of a building from given line plan or covered area.

- Distinguish between P.W.D and English method of recording measurements.

- List the all items of works for walls.

- Determine quantities of all items of works for straight; D, F, H, T shaped walls by long and short wall method.

- Explain center line method and determine quantities for U shaped walls and circular walls.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measurement sheets for all the above walls.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce detailed estimate of a single storey building.

Overview: This competency standard covers the skills and knowledge required to calculate quantities for single storey building, prepare Abstract of Cost for single

| Competency Unit | Performance Criteria |
| --- | --- |
| - Work out quantities for a single room, two roomed quarter and C-type building by Centre Line method | P1. Draw the center lines in plan. P2. Sum up the lengths of center lines. P3. Implement the principle of center line method. P4. Calculate the quantities of items of work for building P5. Implement the principles of deduction for surface rendering. |
| - Prepare Abstract of Cost for a single room, two roomed quarter and C-type building | P1. Draw Abstract of Cost table. P2. Incorporate quantities of all items of work and relevant rates. P3. Calculate the amount of each items of work. P4. Sum up the amounts. P5. Add premium/ contractor’s profit on amounts of relevant rates. P6. Sum up the amounts and add contingencies. P7. Add building Services charges for the building. P8. Add other centage charges for the building. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- List the all items of works for a residential building (only building position except public health and electrification installation).

- Workout quantities of all items of works for a single storey building (building portion only) from given drawings.

- Prepare bill of quantities and abstract of cost with the help of composite schedule of rates.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Detailed estimate of a single storey buildings.

Instruments & Consumables

1	Calculator, 2	Ruler, 3	Pencil

    - Produce Annual/Special repair estimates-Building and Road.

Overview: This competency standard covers the skills and knowledge required to prepare of annual repair and special repair estimates for building, prepare of annual repair/ special repair estimates of roads.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare Annual repair estimate for Building | - Identify the items of work for Annual Repair of building. - Calculate quantities of items of work for Annual Repair. - Prepare Abstract of Cost for Annual Repair for building |
| - Prepare Special repair estimate for Building | - Identify the items of work for special repair of building. - Calculate quantities items of work for special Repair. - Prepare Abstract of Cost for Special Repair for building |
| - Prepare Annual Repair estimate of Roads. | - Identify the items of work for Annual Repair of road. - Calculate quantities of items of work for Annual Repair. - Prepare Abstract of Cost for Annual Repair for road. |
| - Prepare Special Repair estimate of Roads. | - Identify the items of work for special repair of road. - Calculate quantities items of work for special Repair. - Prepare Abstract of Cost for Special Repair for road. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Enlist items of work for annual and special repair estimate for a given building.

- Prepare annual repair estimate for a given building.

- Prepare special repair estimate for a given building.

- Prepare special repair for bituminous road.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Annual Repair Estimate of Building.

- Special Repair Estimate of Building.

- Annual and Special Repair Estimate of Bituminous Road.

Instruments & Consumables

1	Calculator, 2	Ruler, 3	Pencil

    - Evaluate Earth work for Civil Engineering structures

Overview: This competency standard covers the skills and knowledge required to calculate earth work of earthen embankment by given design and data using mean area method, using mid sectional area method, Prismoidal formula Method for road in plane areas, in hilly areas and for irrigation channel

| Competency Unit | Performance Criteria |
| --- | --- |
| - Calculate earth work of earthen embankment by given design and data using mean area method. | P1. Draw table for calculation by mean area method. P2. Incorporate the data of NSL, FL and calculate depth of filling. P3. Calculate the x-sectional area at each RD. P4. Calculate mean area and length for this mean area. P5. Calculate the volume of earth work for filling. |
| - Calculate earth work of earthen embankment by given design and data using mid sectional area method. | P1. Draw table for calculation by Mid Sectional area method. P2. Incorporate the data of NSL, FL, and calculate mean depth of filling. P3. Calculate the mid x-sectional area for consecutive RDs. and length for this mid x-sectional area. P4. Calculate the volume of earth work for filling. |
| - Calculate earth work of earthen embankment by given design and data using Prismoidal formula Method. | P1. Draw table for calculation by Prismoidal Formula method. P2. Calculate the x-sectional area at each RD. P3. Calculate the mid x-sectional area for consecutive RDs. and length for this mid x-sectional area. P4. Calculate volume by Prismoidal Formula |
| - Calculate earth work of road in plane areas | P1. Draw table for calculation for the specified method. P2. Incorporate the data of NSL, FL, and calculate depth of filling or and cutting as the case. P3. Calculate the areas and length. P5. Calculate the volume of earth work. |
| - Calculate earth work for road in hilly areas. | P1. Draw table for calculation for the specified method. P2. Incorporate the data of NSL, FL, and calculate depth of filling or and cutting as the case. P3. Calculate the areas and length. P5. Calculate the volume of earth work. |
| - Calculate earth work for irrigation channel. | P1. Draw table for calculation as per section of channel. P2. Incorporate the data of NSL, FL, and calculate depth of filling or and cutting as the case. P3. Calculate the areas and length. P5. Calculate the volume of earth work. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define various terms used for earthwork.

- State data required for computation of earth works. (Intermediate point-IMP)

- Explainmethodstodeterminequantityofearthworkandtheirrespectiveproforma (mid area, mean area, coordinates Prismoidal & Graphical).

- Workout (determine) quantity of earthwork for embankments, roads and irrigation channels.

- Explain remodeling of irrigations channels.

- Workoutquantityofearthworkforremodelingofachannelfromgivenx-sections of channels.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Earth work of calculations by mean area method.

- Earth work of calculations by mid sectional area method.

- Earth work of calculations by Prismoidal formula Method.

- Earth work of calculations for road in plane area.

- Earth work of calculations for road in hilly area.

- Earth work of calculations for irrigation channels.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce detailed estimate of Arterial roads

Overview: This competency standard covers the skills and knowledge required to prepare estimate of arterial bituminous road, prepare estimate of concrete road and Plan estimate for special repair of bituminous road

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare estimate of arterial bituminous road. | P1. Calculate the quantities of Jungle clearance, clearing & Grubbing and Uprooting of trees as per requirement of site. P2. Calculate area of site for surveying and levelling. P3. Calculate area of permanent land. P4. Calculate the volume of earth work. P5. Calculate area of temporary land. P6. Calculate volume of sub-base and base course of road. P7. Calculate area of surfacing (TST or carpet). P8. Measure items of boundary pillar, km post, ¼ km posts, sign boards. |
| - Prepare estimate of concrete road. | P1. Calculate the quantities of Jungle clearance, clearing & Grubbing and Uprooting of trees as per requirement of site. P2. Calculate area of site for surveying and levelling. P3. Calculate area of permanent land. P4. Calculate the volume of earth work. P5. Calculate area of temporary land. P6. Calculate volume of sub-base and concrete of road. P7. Measure quantity of expansion joints. P8. Measure quantity of dowel bars. P9. Measure items of boundary pillar, km post, ¼ km posts, sign boards. |
| - Prepare estimate of Crete road. | - Calculate the quantities of Jungle clearance, clearing & Grubbing and Uprooting of trees as per requirement of site. - Calculate area of site for surveying and levelling. - Calculate area of permanent land. - Calculate the volume of earth work. - Calculate area of temporary land. - Calculate volume of sub-base and concrete of road. - Measure items of boundary pillar, km post, ¼ km posts, sign boards. |
| - Prepare estimate for special repair of bituminous road. | P1. Take the manual measurements from site. P2. Calculate the volume of dismantling base & sub-base. P3. Calculate volume of sub-base and base course of road. P4. Calculate area of surfacing (TST or carpet). P5. Prepare abstract of cost |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Describe parts of road structure and their specifications.

- State the units and method of measurement of all items of works for a road.

- Prepare detailed & repair estimate for bitumen and cement concrete road.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of bituminous arterial road.

- Detailed estimate of concrete road.

- Detailed estimate of Crete road.

- Detailed special repair estimate of bituminous road.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce material statements

Overview: This competency standard covers the skills and knowledge required to Prepare material statements for Brick work in C/S (1:6), Prepare material statements for foundation concrete (1:6:12). Prepare material statements for RCC work of CC (1:2:4), Prepare material statements for Cement plaster in C/S 1:6), Prepare material statements for DPC 1.5” thick of CC (1:2:4), Prepare material statements for Cement pointing with C/S (1:3), Prepare material statements for whitewashing 3 coats.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare material statements for Brick work in C/S (1:6) | P1. Identify materials required for work P2. Evaluate the proportion required for mortar P3. Calculate the number of bricks P4. Calculate proportional quantity of cement and sand P5. Fill the quantities in schedule of materials table. |
| - Prepare material statements for foundation concrete (1:6:12) | P1. Identify materials required for work P2. Evaluate the proportion required for work P3. Evaluate the setting time required for work P4. Evaluate the curing time required for work |
| - Prepare material statements for RCC work of CC (1:2:4). | P1. Identify materials required for work P2. Evaluate the proportion required for work P3. Evaluate the setting time required for work P4. Evaluate the curing time required for work |
| - Prepare material statements for Cement plaster in C/S 1:6). | P1. Identify materials required for work P2. Evaluate the proportion required for work P3. Evaluate the setting time required for work P4. Evaluate the curing time required for work |
| - Prepare material statements for DPC 1.5” thick of CC (1:2:4) | P1. Identify materials required for work P2. Evaluate the proportion required for work P3. Evaluate the setting time required for work P4. Evaluate the curing time required for work |
| - Prepare material statements for Cement pointing with C/S (1:3). | P1. Identify materials required for work P2. Evaluate the proportion required for work P3. Evaluate the setting time required for work P4. Evaluate the curing time required for work |
| - Prepare material statements for whitewashing 3 coats. | P1. Identify materials required for work P2. Evaluate the proportion required for work P3. Evaluate the setting time required for work P4. Evaluate the curing time required for work |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Materials Statement.

- Know the dry materials required for different items of buildings.

- Determine quantity of materials required for various items of building works.

- Prepare material statement for various items of building works.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Material statements for Brick work in C/S (1:6)

- Material statements for foundation concrete (1:6:12).

- Material statements for RCC work of CC (1:2:4).

- Material statements for Cement plaster in C/S 1:6).

- Material statements for DPC 1.5” thick of CC (1:2:4).

- Material statements for Cement pointing with C/S (1:3).

- Material statements for whitewashing 3 coats.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Analyse Rates of different items of work for building

Overview: This competency standard covers the skills and knowledge required to evaluate rates cement concrete of different ratios, Brick work in cement mortar in foundation and plinth and superstructure, dry brick paving, cement plaster of ratios, cement pointing, white washing.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare Rate analysis of Cement concrete (1:2:4) | - Identify materials, their ratio and unit of rate. - Calculate materials and their cost by input rates (MRS). - Calculate the labour charges for the concrete (1:2:4). - Calculate the carriage charges for the ingredients. - Add sundries lump sum charges (tools plant, overheads, taxes etc.). - Sum up the amounts and add contractor’s profit. - Add water charges. |
| - Prepare Rate analysis of Cement concrete (1:6:12) | - Identify materials, their ratio and unit of rate. - Calculate materials and their cost by input rates (MRS). - Calculate the labour charges for the concrete (1:6:12). - Calculate the carriage charges for the ingredients. - Add sundries lump sum charges (tools plant, overheads, taxes etc.). - Sum up the amounts and add contractor’s profit. - Add water charges. |
| - Prepare Rate analysis of Brick work in cement mortar (1:6) in foundation and plinth | - Identify materials, their ratio and unit of rate. - Calculate materials and their cost by input rates (MRS). - Calculate the labour charges for the brick work in foundations & plinth. - Calculate the carriage charges for the ingredients. - Add sundries lump sum charges (tools plant, overheads, taxes etc.). - Sum up the amounts and add contractor’s profit. - Add water charges. |
| - Prepare Rate analysis of Brick work in cement mortar (1:6) in superstructure. | - Identify materials, their ratio and unit of rate. - Calculate materials and their cost by input rates (MRS). - Calculate the labour charges for the brick work in superstructure. - Calculate the carriage charges for the ingredients. - Add sundries lump sum charges (tools plant, overheads, taxes etc.). - Sum up the amounts and add contractor’s profit. - Add water charges. |
| - Prepare Rate analysis of dry brick paving sand grouted on edge. | - Identify materials and unit of rate. - Calculate materials and their cost by input rates (MRS). - Calculate the labour charges for the brick paving on edge. - Calculate the carriage charges for the ingredients. - Add sundries lump sum charges (tools plant, overheads, taxes etc.). - Sum up the amounts and add contractor’s profit. - Add water charges. |
| - Prepare Rate analysis of cement plaster with Cement sand (1:6) up to 20 ft height on brick walls. | P1. Identify materials, thickness of plaster and unit of rate. P2. Calculate materials and their cost by input rates (MRS). P3. Calculate the labour charges for cement plaster. P4. Calculate the carriage charges for the ingredients. P5. Add sundries lump sum charges (tools plant, overheads, taxes etc.). P6. Sum up the amounts and add contractor’s profit. P7. Add water charges. |
| - Prepare Rate analysis of cement pointing with Cement sand (1:2) upto 20 ft height on brick walls. | P1. Identify materials, type of pointing and unit of rate. P2. Calculate materials and their cost by input rates (MRS). P3. Calculate the labour charges for cement pointing. P4. Calculate the carriage charges for the ingredients. P5. Add sundries lump sum charges (tools plant, overheads, taxes etc.). P6. Sum up the amounts and add contractor’s profit. P7. Add water charges. |
| - Prepare Rate analysis of white washing 3 coats on new plane surface of plaster. | P1. Identify materials, number of coats and unit of rate. P2. Calculate materials and their cost by input rates (MRS). P3. Calculate the labour charges for white washing. P4. Calculate the carriage charges for the ingredients. P5. Add sundries lump sum charges (tools plant, overheads, taxes etc.). P6. Sum up the amounts and add contractor’s profit. P7. Add water charges. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Describe the purpose of rate analysis.

- Explain prerequisites for analysis of rate of items of works, i.e. market rates of materials and labour, carriage, out-turn of labour, specifications, overhead costs etc  labour  required  for  different  constructional  works  output  of machinery.

- Prepare analysis of rates for important items of work- concrete, RCC, brick work, DPC, brick paving, cement plaster, and cement pointing.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Analysis of rate for cement concrete (1:6:12).

- Analysis of rate for cement concrete (1:2:4).

- Analysis of rate for Brick work in cement mortar (1:6) in foundation and plinth.

- Analysis of rate for Brick work in cement mortar (1:6) in superstructure.

- Analysis of rate for dry brick paving on edge.

- Analysis of rate for cement plaster in C/S (1:6) on walls.

- Analysis of rate for cement pointing in C/S (1:6) on walls.

- Analysis of rate for white washing 3 coats on new surface.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce of rough cost estimate of water supply scheme.

Overview: This competency standard covers the skills and knowledge required to prepare rough cost estimate and hydraulic statement for water supply scheme.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare Rough cost Estimate of pipe lines | P1. Take out lengths of each diameter pipe. P2. Prepare analysis of rate for pipe line. P3. Calculate amount of pipe line. |
| - Prepare Rough cost Estimate of water tank | P1. Collect population of area. P2. Calculate capacity of tank in gallons. P3. Calculate cost of construction of tank. |
| - Prepare Rough cost Estimate of tube well | P1. Calculate the cost for investigation of source. P2. Calculate the cost for Boring & lowering of pipe. P3. Calculate the cost for pump and pumping machinery. P4. Calculate the cost for pump room. P5. Calculate the cost for external electrification |
| - Prepare hydraulic statement for pipe lines. | P1. Calculate population based on Area to be served for each pipe line. P2. Calculate the discharge required for each pipe line during peak hours (starting from source of water). P3. Calculate head losses in each pipe line. P4. Calculate Ground level & Hydraulic levels in each pipe line. P5. Calculate Terminal Level Difference |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Hydraulic Statement.

- Enlist components of water supply scheme.

- List all item of works for pipe line and their measurement units.

- Draw table of hydraulic Statement.

- Describe the elements of hydraulic statement.

- Explain the procedure for the preparation of hydraulic statement.

- Explain the procedure for the preparation of rough cost estimate of water supply.

- Describe working out quantities of each item of work for pipe line and pump room,

- Prepare bill of quantities and abstract of cost.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of pipe line.

- Detailed estimate of pump room.

- Detailed estimate of tube well.

- Hydraulic statement of Water Supply Scheme.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce of rough cost estimate of Sewerage scheme.

Overview: This competency standard covers the skills and knowledge required to prepare rough cost estimate and hydraulic statement for sewerage scheme.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare Rough cost Estimate of sewer lines | P1. Take out lengths of each dia pipe. P2. Prepare analysis of rate for sewer line. P3. Calculate amount of sewer line. |
| - Prepare Rough cost Estimate of manhole | P1. Calculate quantities of excavation & foundation concrete. P2. Calculate the quantities of brick work & RCC work. P3. Calculate the quantities of flooring concrete & plaster. P4. Calculate the quantities of iron steps, manhole cover. P5. Prepare abstract of cost. |
| - Prepare Rough cost Estimate of Septic Tank. | P1. Calculate quantities of excavation & foundation concrete. P2. Calculate the quantities of brick work & RCC work. P3. Calculate the quantities of flooring concrete & plaster. P4. Calculate the quantities of iron steps, manhole cover vent pipe, inlet and outlet pipes. P5. Prepare abstract of cost. |
| - Prepare hydraulic statement for pipe lines. | P1. Calculate population based on Area to be served for each pipe line. P2. Calculate the discharge required for each pipe line during peak hours (starting from source of water). P3. Calculate head losses in each pipe line. P4. Calculate Ground level & Hydraulic levels in each pipe line. P5. Calculate Terminal Level Difference |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Hydraulic Statement.

- Enlist components of sewerage scheme.

- Draw table of hydraulic Statement.

- Describe the elements of hydraulic statement.

- Explain the procedure for the preparation of hydraulic statement.

- List all item of works for a manhole, septic tank & sewer line and their measurement units.

- Explain the procedure for the preparation of rough cost estimate of water supply and sewerage schemes.

- Work out quantities of each item of work for sewer line and manhole from given drawing.

- Prepare bill of quantities and abstract of cost.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of Manhole.

- Detailed estimate of Sewer line.

- Detailed estimate of septic Tank.

- Hydraulic statement of Sewerage Scheme.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Evaluate value & standard rent of an existing building

Overview: This competency standard covers the skills and knowledge required to evaluate value & standard rent of an existing building.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Calculate present market value of an existing building by standard rent method | P1. Calculate the gross rent from monthly rent. P2. Calculate the gross out goings (taxes, loss, running expenditures, maintenance charge, sinking fund, Insurance). P3. Calculate the net rent. P4. Calculate the capitalised value (Present value). |
| - Find out standard rent of government buildings. | P1. Calculate the plinth area of building. P2. Calculate plinth area rate considering all factors. P3. Calculate value of building. P4. Calculate the annual rent on construction cost. P5. Calculate the monthly rent. |
| - Find out standard rent of private buildings. | P1. Calculate the plinth area of building. P2. Calculate plinth area rate considering all factors. P3. Calculate value of building. P4. Calculate the annual rent on construction cost and for cost of land. P5. Calculate the monthly rent. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- State the purpose of valuation.

- Explain terms, book value, market value, salvage value, scrap value, sinking fund, year’s purchase, annuity, capitalized value, depreciation and price variation.

- Determine the depreciation of a building by straight line method, constant percentage method and sinking fund method.

- Determine the depreciation of machinery.

- Determine the value of a building by rental method, valuation based on profit and depreciation method.

- Determine rent for government and private building

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Calculation sheet for valuation by standard rent method.

- Calculation sheet for valuation by Depreciation method.

- Calculation sheet for rent of Government buildings.

- Calculation sheet for rent of private buildings.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce Detailed Estimate of Culverts.

Overview: This competency standard covers the skills and knowledge required to Prepare Estimate of slab and arched Culverts.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Undertake the measurement based on SMM /CSR for single span RCC slab road culvert. | - Calculate the quantities of all items of work for substructure for RCC Slab culvert. - Calculate the quantities of all items of work for superstructure RCC Slab culvert. - Calculate the quantities of all items of work for road structure RCC Slab culvert. |
| - Prepare abstract of cost using MRS/ CSR for single span RCC slab culvert | P1. Incorporate quantities of all items of work and relevant rates Abstract of Quantities table. P2. Calculate the amount of each items of work and Sum up the amounts. P3. Add premium/ contractor’s profit on amounts of relevant rates. |
| - Undertake the measurement based on SMM /CSR two span segmental arch culvert | P1. Calculate the quantities of all items of work for substructure. P2. Calculate the quantities of all items of work for superstructure. P3. Calculate the quantities of all items of work for road structure. |
| - Prepare abstract of cost using MRS/ CSR for two span segmental arch culvert | P1. Incorporate quantities of all items of work and relevant rates in Abstract of Quantities table. P2. Calculate the amount of each items of work and Sum up the amounts. P3. Add premium/ contractor’s profit on amounts of relevant rates. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required:

- Define culvert.

- State the different parts of RCC Slab culvert and segmental arch culvert.

- Enlist the items of work for estimation of RCC Slab culvert and segmental arch culvert.

- Enlist the items unit of measurement and units of rate for both culverts.

- Apply principles of geometry and mensuration to calculate quantities.

- Apply the procedure for preparation of abstract of cost.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed Estimate for single Span RCC Slab Culvert.

- Detailed Estimate for two Span Segmental arched Culvert

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce Detailed Estimate of Bridge.

Overview: This competency standard covers the skills and knowledge required to prepare detailed estimate of R.C. C. Bridge.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Measure quantities of R. C. C. Deck of Bridge with masonary supports, 2 spans, 25 ft each, based on SMM /CSR/MRS. | - Draw abstract of quantities table. - Calculate quantities of items of for work below bed level of bridge. - Calculate quantities of items of work for above bed level of abutments, wing walls & pier of bridge. - Calculate quantities of super structure of bridge. - Calculate the quantities for TST Surfacing. - Prepare Bill of Quantities. |
| - Prepare bar bending schedule for RCC structures of Bridge. | - Calculate number of bars for each structure. - Calculate length of bars for each structure. - Calculate unit length weight for each dia. of bar. - Draw table of bar bending schedule. - Insert calculations in the table of schedule of bar. - Perform calculations to calculate weight for each type of bar and total weight. |
| - Prepare Abstract of cost of R. C. C. Bridge | - Draw Abstract of cost table. - Put quantities of all items of work and relevant rates. - Calculate amount of each item of work by incorporation of rates from MRS. - Sum up the amounts. - Add premium/ contractor’s profit on amounts of relevant rates. - Sum up the amounts and add contingencies. - Add petty establishment charges. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Describe technical terms used in bridges.

- Enlist & describe parts of Bridge (substructure and superstructure)

- Enlist different items of work for RCC Over Head Deck Bridge.

- Instructions on calculation of quantities of different items of work.

- Instructions on preparation of Abstract of Cost.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of R. C. C. Bridge.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

  - Water Supply

    - Layout for domestic water supply

Overview: This competency standard covers the skills and knowledge required for layout domestic water supply in residence and residential schemes.

| Competency Units | Performance Criteria |
| --- | --- |
| CS-1. Prepare for works | P1. Interpret work instructions P2. Plan according to job requirements P3. Organise duties P4. Select appropriate tools & equipment P5. Select PPEs |
| CS-2. Lay out for water supply scheme | P1. Mark North Point on drawing sheet P2. Measure the Scheme area. P3. Interpret layout plan by scale P4. Identify sources of water supply P5. Indicate Water Conveyance System. P6. Show storage Reservoirs P7. Locate Main, sub main and branches |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Define water Layout system.

K2- Define fundamentals of water reservoirs

K3- Explain Types of water sources

K4- Describe applications of water connections with main to branches

K5- Knowledge to prepare work or task.

K6- Knowledge of safety measures.

K7. Explain gravity and pressure supply of water

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Study of different water supply system

- Installation of water supply scheme layout

- Indicate water reservoir

- Indicate gravity and pumping system

- Clarity to organise duties to perform task

TOOLS AND EQUIPMENT’S

- Pencil

- Eraser

- Sharpner

- Calculator

- Measuring scale

- Drawing sheet

- Drawing board

- Tee Square

- Set Square

- Measuring Tape

- Computer

- AutoCAD

- PPEs

    - Prepare sketches of aqueducts & water pipes

Overview: This competency standard covers the skills and knowledge required to prepare an aqueduct / watercourse constructed to carry water from a source to a distribution point far away. In modern engineering, the term aqueduct is used for any system of pipes, ditches, canals, tunnels, and other structures used for this purpose.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Prepare Sketch for aqueduct | P1. Identify aqueduct. P2. Spread & fix sheet P3. Apply scale P4. Draw aqueduct according to scale |
| CU-2. Prepare Sketch for water pipes | P1. Identify pipes ( G.I, concrete pipes, PPRC pipes) P2. Calculate pipe length and height for adequate fall P3. Identify pipe diameter P4. Spread and fix sheet P5. Select scale P6. Label the calculated dimension on sheet |

Knowledge & Understanding.

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1.Comprehend the purpose and application of aqueduct

K2 Knowledge of aqueduct parts

K3. Explain design procedure for aqueduct

K4- Describe working of Aqueduct.

K5.  Explain different type of pipes use in water supply system

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Define Pipes and Aqueduct.

- Draw sketch of aqueduct for different sizes.

- Plan safety procedure during design and drawing

TOOLS AND EQUIPMENT’S

- Calculator

- Spirit level

- PPEs

- Drawing sheet

- Drawing board

- Tee Square

- Set Square

- Measuring Tape

- Computer

- AutoCAD

- Pencil

- Eraser

- Sharpner

    - Draw sketches of intakes

Overview: This competency standard covers the skills and knowledge required to Collection and Distribution of Water By providing a structure on the bank of River and Canals. The basic function of intake structure is to help in safely withdrawing water from the source and then to discharge this water in to the withdrawal conduit, through which it reaches the water treatment plant.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Draw Intake | P1. Identify source of water P2. Identify type of intake structure P3. Measure the Scheme area. P4. Fix sheet P5. Select scale P6. Mark North Point on drawing sheet P7. Draw proposed sketch P8. Use proper PPE’s |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1-Describe intakes and its type.

K2- Explain Marking out intakes.

K3- Explain procedure to take out water from intakes.

K4. Explain safety precaution for task

K5. Explain PPEs

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Study of intake and its types

- Draw sketch for different intakes

TOOLS AND EQUIPMENT’S

- Drawing sheet

- Drawing board

- Tee Square

- Set Square

- Measuring Tape

- Pencil

- Eraser

- Sharpner

- Calculator

- Measuring scale

- Computer

- AutoCAD

- PPE’s

    - Estimate demand for Water Supply

Overview: This competency standard covers the skills and knowledge required to interpret Demand estimation in a water distribution network provides crucial data for monitoring and controlling systems. There is a need to estimate water demand from a limited number of sensor measurements. The demand estimation problem is underdetermined because of the limited sensor data and the implicit relationships between Demands and pressure heads.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Evaluate demand of water supply | P1. Identify amount of water. P2. Calculate number of people P3. Identify people habits. P4. Calculate per capita consumption. P5. Check temperature. P6. Identify Losses P7. Identify quality & quantity of water P8. Identify rate of water supply |
| CU-2. Identify Water Layout Standards | P1. Calculate quantity of water P2. Identify number of hydrants P3. Suggest Spacing between Hydrants P4. Select supply of water by (gravity / pumping) P5. Suggest spacing between main line valves P6. Check flushing and maintenance procedures P7. Identify Standard Construction Specification P8. Install treatment plant (if necessary) |
| CU-3. Identify Rate of Demand for water | P1. Identify Seasonal variation P2. Calculate daily variation P3. Identify hourly variation |
| CU-4. Optimizing water supply network | P1. Identify Single-objective optimization P2. Identify Multi-objective optimization P3. Identify Sensitivity analysis P4. Check Operational constraints |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1.  Describe use of graphical methods to solve hydrological problems such as hydrographs, flood prediction and extreme events.

K2.  Describe and explain the essential features of installations for the abstraction of water for Public consumption.

K3.  Describe and explain the essential features of installations for the treatment of water for public Consumption.

K4.  Describe and explain the essential features of installations for the distribution of water for Public consumption.

K5. Explain demand of water per capita rate

K6. Explain variation in demand of water

K7. Describe optimization of water supply network

K8. Explain safety precautions

K9. Explain demand of water for hilly & plain area

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare layout of water standards

- Preparation is done according to area and standards

- Supply water procedures continuations

- Apply water maintenance procedures.

- Check construction specification for residential and commercial areas.

- Apply variation in demand of water supply

- Apply safety precautions

TOOLS AND EQUIPMENT’S

- Pipes

- Calculator

- Thermometer

- Valves

- Pipe repairs,

- Plungers,

- Pressure testing kits,

- Radiator tools

- Spirit level

- Previous population data

- PPEs

    - Plan water treatment (Clarification)

Overview: This competency standard covers the skills and knowledge required for basics of water Clarifiers and settling tanks built with mechanical means for continuous removal of solids being deposited by sedimentation. A clarifier is generally used to remove solid particulates or suspended solids from liquid.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Draw water treatment Plan | P1. Identify quantity of water P2. Show Grits removal chamber P3. Indicate Screens P4. Show pumping P5. Identify settling tank P6. Identify filtration stage |
| CU-2. Plan Screening for water treatment | P1. Identify quantity of water P2. Identify quality of water. P3. Identify screens and grit removal |
| CU-3. Plan Clarifier for water treatment | P1. Identify quantity of water P2. Identify Primary Clarifier. P3. Identify secondary Clarifier P4. Indicate filtration and disinfection |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Define water treatment process

K2- Define fundamentals steps for water treatment

K3- Explain sources of water

K4- Describe applications stages for water treatment

K6- Knowledge of Market requirements of domestic and commercial water supply

K7. Explain filtration process in water treatment

K8. Explain different type of screens used for treatment of water

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Study of different stages of water treatment

- Knowledge for the Installation of water treatment plant

- Plan a water treatment plant

- Plan stages for treatment plant

- Study of screens in treatment plant

- Identify clarifier in water treatment plant

TOOLS AND EQUIPMENT’S

- Drawing sheet

- Drawing instruments

- Pencils

- Eraser

- Compass

- Sprit level

- Calculator

- Umbrella (Optional)

- PPEs

    - Plan water treatment (Filtration)

Overview: This competency standard covers the skills and knowledge required to prepare for water flows through a filter designed to remove particles in the water. The filters are made of layers of sand and gravel, and in some cases, crushed anthracite. Filtration collects the suspended impurities from water and enhances the effectiveness of disinfection work.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Draw Plan water filtration process | P1. Identify source of water P2. Calculate quantity of water P3. Identify sand beds P4. Check filtration Rate P5. Select reducing Factor P6. Identify inlet & outlet |
| CU-2. Interpret Plan (Slow Sand Filter) at water treatment plant | P1. Identify water treatment plant P2. Indicate sand beds P3. Identify slow sand filters P4. Identify filter media P5. Identify sand removal need |
| CU-3. Interpret Plan (Pressure Sand Filter) at water treatment plant | P1. Identify source of water P2. Indicate sand beds P3. Identify Rapid / Pressure filters P4. Identify filter media P5. Identify back wash results P6. Check associated symptoms |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of Safety requirements for drinking water after treatment

K2- Knowledge of water treatment process

K3- Explain different stages for water treatment process

K4- Explain filter media and it types

K5. Explain change of filter media at water treatment plant

K6. Describe slow and rapid sand filters at water treatment plant

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform safety requirements at water treatment plant

- Prepare plan for installation of filtration pumps at water treatment plant

- Performing repair and maintenance at plant

- Preform media replacement at water treatment plant

- Identify rapid & slow sand filters

- Identify working of sand filters

- Use of PPEs

TOOLS AND EQUIPMENT’S

- Drawing sheet

- Drawing instruments

- Pencils

- Eraser

- Compass

- Sprit level

- Calculator

- Umbrella (Optional)

- PPEs

    - Plan water distribution system

Overview: This competency standard covers the skills and knowledge required to prepare for work of water supply system or water supply network. It consist of engineered hydrologic and hydraulic components which provide water supply and install water closet OR flushing cistern.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Interpret water distribution system | P1. Identify safety requirements for installation P2. Identify Gravity system P3. Identify Pumping system P4. Identify partly gravity & pumping system |
| CU-2. Interpret layout for water distribution network | P1. Mark out distribution network points P2. Identify dead end system P3. Identify Radial system P4. Identify Ring System P5. Identify Grid Iron System |
| CU-3. Interpret layout for water Storage Reservoir | P1. Identify reservoir P2. Identify surface reservoir P3. Identify elevated reservoir P4. Monitor difference in working both reservoir |
| CU-4. Interpret storage capacity of Reservoir | P1. Identify quantity of water for reservoir P2. Identify balancing storage P3. Identify breakdown storage P4. Calculate Fire demand storage P5. Identify dead storage |
| CU-5. Accumulate Hydraulic model | P1. Evaluate methodology of distribution system P2. Develop pipe networks into sub networks P3. Recognize Data P4. Prepare hydraulic model P5. Analyze Results |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of water storage reservoir

K2- Explain Uses of tools and equipment to clean and repair of water reservoir

K3. Explain different system for water supply in housing scheme

K4. Explain different system for water supply Pipe laying network in housing scheme

K5- Knowledge of joining techniques and pipe fittings to reservoir

K6- Knowledge of levelling and leakage repairing in water supply system

K7. Explain type of reservoir according to shapes, material and design

K8. Explain reservoir storage parts frequently

K9. Explain hydraulic model

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Plan a storage reservoir

- Plan site selection for reservoir

- Demonstrate the installation of reservoir pipes

- Demonstrate pipe laying & distribution system

- Plan storage capacity for water reservoir

- Plan distribution of pipe in residential scheme

- Plan hydraulic model with its working

TOOLS AND EQUIPMENT’S

- Drawing sheet

- Drawing instruments

- Pencils

- Eraser

- Compass

- Sprit level

- Calculator

- Umbrella (Optional)

- Computer

- PPEs

  - Strength of Materials

    - Locate centroid of different sections

. Overview: This competency standard covers the skills and knowledge required to locate centeroid of regular and irregular shape

| Competency Units | Performance Criteria |
| --- | --- |
| - Locate centeroid of a regular shape | - Fix the graph paper on the given object of any shape - Hang the figure through its hole - Hang plumb bob with nail - Draw lines of action of the plumb bob - Locate centeroid |
| - Locate centeriod of symmtrical I section 2x6cm | - Draw figure according to given dimensions - Join diagonally - Mark centroid on the figure |
| - Locate centeriod of un- Symmitercal L (6x4x1cm) | - Segment the section in to simple geometrical shape rectangles - Draw reference axis - Calculate area of each section - Segment the section in to simple geometrical shape - Draw reference axis - Find Area of each re rectangles - Find centeriodal distances - Apply formula to calculate distance ( X’ & Y’) from reference axis. - Mark centeroid in section. |
| - Locate centeroid of hollow sections cosisting of 6x10cm solid And a hollow circle 2cm dia at x’=3cm ,y’=6cm | - Segment the section in to simple geometrical shape - Draw reference axis - Calculate area of each section - Draw reference axis - Find Area of each geometrical shape - Find centeriodal distances - Apply formula to calculate distance ( X’ & Y’) from reference axis. - Mark centroid in section. |
| - Locate centeroid of a irregular shape | - Fix the graph paper on the given object of any shape - Hang the figure through its hole - plumb bob with nail - Draw lines of action of the plumb bob. - Locate centroid |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define and explain the terms: Center of gravity, Centroid, first moment of area, reference axes, centeriodal axes and symmetrical axes.

- Describe the methods of finding center of gravity.

  - By geometrical consideration

  - By the method of moments

- Explain the steps for the calculation of centroid of composite sections

- Determine position of C. G. for various structural sections i.e. I-section, H-section, T-section, channel section, angle section, Z-section and composite sections by method of moments

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Locate centroid of triangles, square, rectangle, circular and semicircular sections

- Locate centroid of irregular shapes

- Locate centroid of composite sections I ,H,T, channel section , angle section,             Z-section and composite sections by method of moments

Tools and Equipment

Calculator

Graph Paper

Lead Pencil

Rubber

    - Find out moment of inertia of different sections

. Overview: This competency standard covers the skills and knowledge required to regular and irregular shapes calculate moment of inertia of regular shapes, moment of inertia for composite section and calculate polar moment of inertia for circular section.

| Competency Units | Performance Criteria |
| --- | --- |
| - Find moment of Interia of given T secion 8x4x2cm | - Draw figure according to dimensions - Segment section into simple rectangles - Find centroid of figure - Calculate centeriodal distances of areas - Apply formula of parallel axis theorem - Calculate moment of inertia |
| - Find moment of Interia of given I secion 8x4x2cm | - Draw figure according to dimensions - Segment the section into simple rectangles - Find centroid of figure - Calculate centeriodal distances of areas - Apply formula of parallel axis theorem - Calculate moment of inertia. |
| - Find Polar moment of Interia of given Circular secion of 5cm diameter | - Draw figure according to dimensions - Draw reference axis - Apply formula to find Ixx. And Iyy. - Calculate Polar Moment of Inertia. |
| - Find moment of Interia of given Hollow section Comprising of I secion 8x4x2cm & a hollow circle 2cm dia at x’=3cm ,y’=5cm | - Draw correct figure according to given dimensions and mark reference axis - Calculate area of each section - Find Area of each geometrical shape - Find centeriodal distances - Apply formula to calculate distance ( X’ & Y’) from reference axis. - Mark centroid in section. - Apply parallel axis theorem to find Ixx. , Iyy. by deducting circular section. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define moment of inertia, second moment of area, polar moment of inertia, radius of gyration and their units

- State moment of inertia of simple geometrical shapes; rectangle, triangle and circle etc. (their formulae).

- State perpendicular and parallel axes theorems.

- Determine moment of inertia of simple and composite sections by applying parallel axes theorem with sketches

- Determine polar moment of inertia for circular section applying perpendicular axes theorem Define and explain the terms: Center of gravity, Centroid, first moment of area, reference axes, centeriodal axes and symmetrical axes.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Find out second moment of Area  of triangles, square, rectangle, circular and semicircular sections

- Find out second moment of Area  of composite sections I ,H,T, channel section , angle section, Z-section and composite sections by method of moments

- Find out second moment of Area  of  hollow composite sections section , comprising of different shapes

Tools and Equipment

- Calculator

- Paper

- pencil

    - Produce Shear Force and Bending Moment Diagrams

Overview: This competency standard covers the skills and knowledge required to Produce Shear Force and Bending Moment Diagrams in case of simply supported, cantilever and over hanging beam under point load, uniformly distributed loads and Uniformly Varying loads.

| Competency Units | Performance Criteria |
| --- | --- |
| - Draw Shear Force and Bending Moment Diagrams of simply supported beam having 3m span and two point loads at 1and 1.5 m from right support | - Draw load diagram according to given Data - Compute reactions - Compute shear force at different sections of beam - Compute bending moment at different sections of beam - Draw Shear Force and Bending Moment Diagrams |
| - Draw Shear Force and Bending Moment Diagrams of simply supported beam having 2m span with of uniformly distributed loads 100kg/m on half span | - Draw load diagram according to given Data - Compute reactions by taking moments - Compute shear force at different sections of beam - Compute bending moment at different sections of beam - Draw Shear Force and Bending Moment Diagrams |
| - Draw Shear Force and Bending Moment Diagrams of simply supported beam under uniformly varying load | - Draw load diagram according to given Data - Compute reactions by taking moments - Compute shear force at different sections of beam - Compute bending moment at different sections of beam - Compute point of maximum Bending moment - Draw Shear Force and Bending Moment Diagrams |
| - Draw Shear Force and Bending Moment Diagrams cantilever beam Having 2.5m span and two point loads 50Kg and 75Kg 1m and 2m from fixed respectively | - Draw load diagram according to given Data - Calculate shear force at different sections of beam - Compute bending moment at different sections of beam - Draw Shear Force and Bending Moment Diagram. |
| - Draw Shear Force and Bending Moment Draw cantilever beam having combined loading | - Identify cantilever beam - Compute shear force at different sections of beam - Compute bending moment at different sections of beam - Draw S.F.D and B.M.D |
| - Draw Shear Force and Bending Moment Diagrams in for overhanging beam under point load and uniformly distributed load and also find point of contra flexure if any | - Identify over hanging beam - Draw load diagram - Compute reactions - Compute shear force at different sections of beam - Draw shear force diagram - Locate the point of Zero shear force - Compute bending moment at different sections of beam - Locate point of maximum Bending moment at zero Shear force - Draw bending moment diagram and locate zero bending moment (point of contra flexure) |
| - Draw Shear Force and Bending Moment in case of overhanging beam under uniformly varying load | - Identify over hanging beam - Compute reactions - Compute shear force at different sections of beam - Compute bending moment at different sections of beam - Draw S.F.D and B.M.D |

Knowledge & Understanding

The candidate must be able to develop understanding to draw shear force and bending moment diagram in case of simply supported beam, over hanging beam and cantilever beam under point   load, uniformly distributed load and uniformly varying load, Define beam, support and load.

- State difference between statically determinate and indeterminate structures

- Calculate reactions for simply supported, overhanging and cantilever beams under various loading conditions (Point loads-U.D.L & Combined loading).

- Explain shear force & Bending Moment in beams and their significance.

- Shear force and Bending Moment diagrams of beams (simply supported beam, over hanging beam & cantilever beam).

- Calculate maximum and minimum shear force and bending moment and determine their positions.

- Explain Point of zero shears, point of contra flexure and their significance and calculations.

- State standard formulas for shear force and bending moments for:

- Simply supported beam subjected to a central point load and U.D.L on a whole span.

- Cantilever beam subjected to a point load at free end and U.D.L on whole span

- Shear forces and Bending Moments at various sections of different types of beam, under different loading conditions (Point loads-U.D.L & Combined loadings).

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Calculate shear force of simply supported beam for different spans and loads, including point, uniformly distributed load, uniformly varying load and mix loading.

- Draw shear force diagram of simply supported beam for different spans and loads, including point, uniformly distributed load and mix loading.

- Calculate bending moment of cantilever beams for different spans and loads, including point, uniformly distributed, uniformly varying and mix loading.

- Draw shear force diagram of cantilever beam for different spans and loads, including point, uniformly distributed load and mix loading.

- Calculate shear force of overhanging beam for different spans and loads, including point, uniformly distributed load and mix loading.

- Draw shear force diagram of overhanging beam for different spans and loads, including point, uniformly distributed load and mix loading.

Tools and Equipment

- Paper

- Pencil

- Eraser

    - Find hardness of metals

Overview: This competency standard covers the skills and knowledge required find hardness of different metals i.e. Aluminium, copper, mild steel by using (a) Brunel’s Hardness test  (b) Rockwell Hardness test , comparison of Brunel & Rockwell hardness tests  and limitations of Brunel’s hardness test

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform hardness test of aluminum by using Rockwell Hardness Testers | - Identify the Brunel’s Hardness test apparatus - Select specimen - Fix suitable indenter - Place specimen on the platform. - Raise the platform - Set position against the indenter - Apply the load by loading lever and wait for specified time - Remove the load from the specimen with help of loading lever - Note reading of pointer on the corresponding scale of the dial gauge. - Repeat the test and tabulate the readings. - Lower the platform and remove the indenter. - Tabulate the result in desired format |
| CU2 Perform hardness test of aluminum by using Brinell’s Hardness Test to find its hardness. | - Identify the Brinell’s Hardness test apparatus - Fix suitable indenter - Place specimen on the anvil plate. - Set position against the indenter and apply the load by loading lever - Note reading of pointer on the corresponding scale of the dial gauge. - Remove the load from the specimen with help of loading lever - Tabulate the result in desired format |

Knowledge & Understanding

The candidate must be able to develop understanding to and strain of mild steel and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define Hardness Tension, compression, hardness, Toughness, Brittleness, ductility, Resilience, Flexural

- Explain Brinell`s hardness test, limitations of Brinell’s hardness test

- Explain Rockwell Hardness test;

- Define and explain the terms stress, and its types (tensile, compressive and shear)

- Define and explain strain, its types (tensile, compressive, shear, linear, lateral and volumetric) and poisson’s ratio

- Define Hardness Tension, compression, hardness, Toughness, Brittleness, ductility, Resilience, Flexural

  - Explain Hardness tests;

- Explain mechanical properties of materials like elasticity, plasticity, ductility, brittleness and hardness, etc

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform hardness test Brunel’s Hardness test

Tools and Equipment

- Rockwell hardness testing machine with accessories,

- Brinnel’s hardness testing machine with accessories,

- Specimen,

- Allen key,

- Indenter.

    - Conduct Tensile Strength Test

Overview: This competency standard covers the skills and knowledge required to evaluate relation between stress and strain of a copper wire, evaluate Young's modulus of the material of the wire, determine tensile strength of mild steel and plot a graph between stress and strain of mild steel

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Evaluate relation between stress and strain of a copper wire | P1. Identify the Young's modulus apparatus P2. Measure the diameter d of the piece of wire P3. Set up the apparatus P4. Measure the un-stretched length P5. Add a mass to the end of the wire P6.Continue to increase the load P7. Record the extension P8. Calculate the cross-sectional area P9. Compile the results of stress and strain in tabular form |
| CU2. Evaluate Young's modulus of the material of copper wire | P1.Plot a graph of stress (y-axis) against strain (x-axis) P2.Calculate the gradient of your graph. P3.Calculate the Young's modulus |
| CU3.Determine tensile strength of mild steel | - Identify testing machine P2. Measure original length and diameter of specimen. P3. Fix metal piece into machine. P4. Apply load on work piece P5. Record load on Load against elongation. P6. Take readings till yield point. P7. Measure elongation values P8. Repeat test till fracture occurs. P9 Compile results. |
| CU4.Plot a graph between stress and strain of mild steel | P1.Compile the data in tabular form P2. Plot a graph of stress (y-axis) against strain (x-axis) |

Knowledge & Understanding

The candidate must be able to develop understanding to evaluate relation between stress and strain of a copper wire, evaluate Young's modulus of the material of the wire, determine tensile strength of mild steel and plot a graph between stress and strain of mild steel and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define Tension, compression, hardness, Toughness, Brittleness, ductility, Resilience, Flexural

- Explain Hardness tests; (a) Brinell`s Hardness test (b) Rockwell Hardness test (c) limitations of Brinell’s hardness test (d) comparison of Brinell & Rockwall hardness tests

- Define and explain the terms stress, and its types (tensile, compressive and shear)

- Define and explain strain, its types (linear, lateral and volumetric) and poisson’s ratio.

- Define and explain Hook’s Law.

- State Young’s modulus of elasticity, modulus of rigidity and bulk modulus.

- Explain mechanical properties of materials like elasticity, plasticity, ductility, brittleness and hardness, etc.

- Identify parts and attachments of U.T.M for tensile and compression tests. Also explain the salient points in stress strain curve for ductile material

- Numerical problems relating to simple stress, strain, Poisson‟s ratio and Hook‟s Law

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Observations and calculations statement showing relation between stress and strain of a copper wire

- Calculation sheet for Young's modulus of copper wire

- Observations and calculations statement showing tensile strength of mild steel

- graph sheet for stress and strain of mild steel

Tools and Equipment

- Universal testing machine,

- Vernier  calipers,

- Mild Steel Rod of given dimension

- Steel rule.

- Strain gauge

- Young Modulus apparatus along with accessories

  - Soft Skills

    - Manage meetings

Overview: This unit describes the skills and knowledge required to manage a range of meetings including overseeing the meeting preparation processes, chairing meetings, organizing the minutes and reporting meeting outcomes. It applies to individuals employed in a range of work environments who are required to organize and manage meetings within their workplace, including conducting or managing administrative tasks in providing agendas and meeting material. They may work as senior administrative staff or may be individuals with responsibility for conducting and chairing meetings in the workplace.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Prepare for meetings | P1 Develop agenda in line with stated meeting purpose P2 Ensure style and structure of meeting are appropriate to its purpose P3 Identify meeting participants and notify them in accordance with organizational procedures P4 Confirm meeting arrangements in accordance with requirements of meeting P5 Dispatch meeting papers to participants within designated timelines |
| 2. Conduct meetings | P1 Chair meetings in accordance with organizational requirements, agreed conventions for type of meeting and legal and ethical requirements P2 Conduct meetings to ensure they are focused, time efficient and achieve the required outcomes P3 Ensure meeting facilitation enables participation, discussion, problem-solving and resolution of issues P4 Brief minute-taker on method for recording meeting notes in accordance with organizational requirements and conventions for type of meeting |
| 3. Follow up meetings | P1 Check transcribed meeting notes to ensure they reflect a true and accurate record of the meeting and are formatted in accordance with organizational procedures and meeting conventions P2 Distribute and store minutes and other follow-up documentation within designated timelines, and according to organizational requirements P3 Report outcomes of meetings as required, within designated timelines |

Knowledge & Understanding

K1: outline meeting terminology, structures, arrangements

K2: outline responsibilities of the chairperson and explain group dynamics in relation to managing meetings

K3: describe options for meetings including face-to-face, teleconferencing, web-conferencing and using webcams

K4: identify the relevant organizational procedures and policies regarding meetings, chairing and minutes including identifying organizational formats for minutes and agendas.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage meetings. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- apply conventions and procedures for formal and informal meetings including:

  - developing and distributing agendas and papers

  - identifying and inviting meeting participants

  - organizing and confirming meeting arrangements

  - running the meeting and following up

- organize, take part in and chair a meeting

- record and store meeting documentation

- Follow organizational policies and procedures.

    - Manage recruitment selection and induction processes

Overview: This unit describes the skills and knowledge required to manage all aspects of recruitment selection and induction processes in accordance with organizational policies and procedures. It applies to individuals or human resource personnel who take responsibility for managing aspects of selecting new staff and orientating those staff in their new positions. It is not assumed that the individual will be directly involved in the selection processes themselves, although this may well be the case.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Develop recruitment, selection and induction policies and procedures | P1 Analyze strategic and operational plans and policies to identify relevant policies and objectives P2 Develop recruitment, selection and induction policies and procedures and supporting documents P3 Review options for technology to improve efficiency and effectiveness of recruitment and selection process P4 Obtain support for policies and procedures from senior managers P5 Trial forms and documents supporting policies and procedures and make necessary adjustments P6 Communicate policies and procedures to relevant staff and provide training if required |
| 2. Recruit and select staff | P1 Determine future human resource needs in collaboration with relevant managers and sections P2 Ensure current position descriptors and person specifications for vacancies are used by managers and others involved in recruitment, selection and induction processes P3 Provide access to training and other forms of support to all persons involved in recruitment and selection process P4 Ensure advertising of vacant positions complies with organizational policy and legal requirements P5 Utilize specialists where necessary P6 Ensure selection procedures are in accordance with organizational policy and legal requirements P7 Ensure processes for advising applicants of selection outcome are followed P8 Ensure job offers and contracts of employment are executed promptly, and new appointments are provided with advice about salary, terms and conditions |
| 3. Manage staff induction | P1 Provide access to training and ongoing support for all persons engaged in staff induction P2 Check induction processes are followed across the organization P3 Oversee management of probationary employees and provide them with feedback until their employment is confirmed or terminated P4 Obtain feedback from participants and relevant managers on extent induction process is meeting its objectives P5 Make refinements to induction policies and procedures |

Knowledge & Understanding

K1: describe recruitment and selection methods, including assessment centers

K2: explain the concept of outsourcing

K3: describe the purpose of employee contracts and industrial relations

K4: summarize relevant legislation, regulations, standards and codes of practice that may affect recruitment, selection and induction

K5: explain why terms and conditions of employment are an important aspect of recruitment

K6: explain the relevance of psychometric and skills testing programs to recruitment.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage recruitment selection and induction processes. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- develop or critically analyze a policy and procedures framework for recruitment, selection and induction

- identify the need for recruitment

- prepare and oversee appropriate documentation required for recruitment

- select and advise job applicants appropriately

- manage the induction process

- Comply with relevant legislation and organizational requirements.

    - Manage personal work priorities and professional development

Overview: This unit describes the skills and knowledge required to create systems and process to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. The work ethic of individuals in this role has a significant impact on the work culture and patterns of behavior of others as managers at this level are role models in their work environment.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Establish personal work goals | P1 Serve as a positive role model in the workplace through personal work planning P2 Ensure personal work goals, plans and activities reflect the organization s plans, and own responsibilities and accountabilities P3 Measure and maintain personal performance in varying work conditions, work contexts and when contingencies occur |
| 2. Set and meet own work priorities | P1 Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives P2 Use technology efficiently and effectively to manage work priorities and commitments P3 Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to |
| 3. Develop and maintain professional competence | P1 Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans P2 Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence P3 Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence P4 Participate in networks to enhance personal knowledge, skills and work relationships P5 Identify and develop new skills to achieve and maintain a competitive edge |

Knowledge & Understanding

K1: explain principles and techniques involved in the management and organization of:

- performance measurement

- personal behavior, self-awareness and personality traits identification

- a personal development plan

- personal goal setting

- time

K2: discuss management development opportunities and options for self

K3: describe methods for achieving a healthy work-life balance

K4: outline organization s policies, plans and procedures

K5: explain types of learning style/s and how they relate to the individual

K6: describe types of work methods and practices that can improve personal performance.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage personal work priorities and professional development. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- use business technology to create and use systems and processes to organize and priorities tasks and commitments

- measure and maintain personal work performance including assessing competency against competency standards and seeking feedback

- maintain an appropriate work-life balance to manage personal health and stress

- participate in networks

- develop a personal development plan which includes career objectives and an action plan

- Develop new skills.

    - Manage workforce planning

Overview: This unit describes the skills and knowledge required to manage planning in relation to an organization’s workforce including researching requirements, developing objectives and strategies, implementing initiatives and monitoring and evaluating trends. It applies to individuals who are human resource managers or staff members with a role in a policy or planning unit that focuses on workforce planning.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Research workforce requirements | P1 Review current data on staff turnover and demographics P2 Assess factors that may affect workforce supply P3 Establish the organization’s requirements for a skilled and diverse workforce |
| 2. Develop workforce objectives and strategies | P1 Review organizational strategy and establish aligned objectives for modification or retention of the workforce P2 Consider strategies to address unacceptable staff turnover, if required P3 Define objectives to retain required skilled labor P4 Define objectives for workforce diversity and cross-cultural management P5 Define strategies to source skilled labor P6 Communicate objectives and rationale to relevant stakeholders P7 Obtain agreement and endorsement for objectives and establish targets P8 Develop contingency plans to cope with extreme situations |
| 3. Implement initiatives to support workforce planning objectives | P1 Implement action to support agreed objectives for recruitment, training, redeployment and redundancy P2 Develop and implement strategies to assist workforce to deal with organizational change P3 Develop and implement strategies to assist in meeting the organization’s workforce diversity goals P4 Implement succession planning system to ensure desirable workers are developed and retained P5 Implement programs to ensure workplace is an employer of choice |
| 4. Monitor and evaluate workforce trends | P1 Review workforce plan against patterns in exiting employee and workforce changes P2 Monitor labor supply trends for areas of over- or under-supply in the external environment P3 Monitor effects of labor trends on demand for labor P4 Survey organizational climate to gauge worker satisfaction P5 Refine objectives and strategies in response to internal and external changes and make recommendations in response to global trends and incidents P6 Regularly review government policy on labor demand and supply P7 Evaluate effectiveness of change processes against agreed objectives |

Knowledge & Understanding

K1: explain current information about external labor supply relevant to the specific industry or skill requirements of the organization

K2: outline industrial relations relevant to the specific industry

K3: describe labor force analysis and forecasting techniques

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to manage workforce planning. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- review and interpret information from a range of internal and external sources to identify:

  - current staff turnover and demographics

  - labor supply trends factors that may affect workforce supply

  - organization’s workforce requirements objectives and strategies

- manage workforce planning including developing, implementing, monitoring and reviewing strategies to meet workforce needs

- review relevant trends and supply and demand factors that will impact on an organization’s workforce

- Develop a workforce plan that includes relevant research and specific strategies to ensure access to a skilled and diverse workforce.

    - Undertake project work

Overview: This unit describes the skills and knowledge required to undertake a straightforward project or a section of a larger project. It covers developing a project plan, administering and monitoring the project, finalizing the project and reviewing the project to identify lessons learned for application to future projects. This unit applies to individuals who play a significant role in ensuring a project meets timelines, quality standards, budgetary limits and other requirements set for the project.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Define project | P1 Access project scope and other relevant documentation P2 Define project stakeholders P3 Seek clarification from delegating authority of issues related to project and project parameters P4 Identify limits of own responsibility and reporting requirements P5 Clarify relationship of project to other projects and to the organization’s objectives P6 Determine and access available resources to undertake project |
| 2. Develop project plan | P1 Develop project plan in line with the project parameters P2 Identify and access appropriate project management tools P3 Formulate risk management plan for project, including Work Health and Safety (WHS) P4 Develop and approve project budget P5 Consult team members and take their views into account in planning the project P6 Finalize project plan and gain necessary approvals to commence project according to documented plan |
| 3. Administer and monitor project | P1 Take action to ensure project team members are clear about their responsibilities and the project requirements P2 Provide support for project team members, especially with regard to specific needs, to ensure that the quality of the expected outcomes of the project and documented time lines are met P3 Establish and maintain required recordkeeping systems throughout the project P4 Implement and monitor plans for managing project finances, resources and quality P5 Complete and forward project reports as required to stakeholders P6 Undertake risk management as required to ensure project outcomes are met P7 Achieve project deliverables |
| 4. Finalize project | P1 Complete financial recordkeeping associated with project and check for accuracy P2 Ensure transition of staff involved in project to new roles or reassignment to previous roles P3 Complete project documentation and obtain necessary sign-offs for concluding project |

Knowledge & Understanding

K1: give examples of project management tools and how they contribute to a project

K2: outline types of documents and other sources of information commonly used in defining the parameters of a project

K3: explain processes for identifying and managing risk in a project

K4: outline the organization’s mission, goals, objectives and operations and how the project relates to them

K5: explain the organization’s procedures and processes that are relevant to managing a project including:

- lines of authority and approvals

- quality assurance

- human resources

- budgets and finance

- recordkeeping

- reporting

Outline the legislative and regulatory context of the organization in relation to project work, including work health and safety (WHS) requirements.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to undertake project work. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- define the parameters of the project including:

  - project scope

  - project stakeholders, including own responsibilities

  - relationship of project to organizational objectives and other projects

  - reporting requirements

  - resource requirements

- use project management tools to develop and implement a project plan including:

  - deliverables

  - work breakdown

  - budget and allocation of resources

  - timelines

  - risk management

  - recordkeeping and reporting

- consult and communicate with relevant stakeholders to generate input and engagement in planning, implementing and reviewing the project

- provide support to team members to enable them to achieve deliverables and to transition them as appropriate at completion of the project

- finalize the project including documentation, sign-offs and reporting Review and document the project outcomes.

    - Identify and communicate trends in career development

Overview: This unit describes the skills and knowledge required to conduct research to identify and communicate career trends. It establishes the need to interact professionally with others in assessing career needs, to effectively assist clients identify competencies they require for a career and employability in a given context. It also examines how to maintain quality of career development services and professional practice. It applies to individuals seeking to identify and communicate trends in career development.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Research and confirm career trends | P1 Apply knowledge of changing organizational structures, lifespan of careers and methods of conducting work search, recruitment and selection processes P2 Analyze changing worker and employer issues, rights and responsibilities in context of changing work practices P3 Examine importance of quality careers development services P4 Maintain all research, documentation, sources and references (electronic or physical) to a high degree of currency and relevance P5 Analyze implications of relevant policy, legislation, professional codes of practice and national standards relating to worker and employer issues P6 Research changes and trends in theory of career development counseling and practice P7 Confirm clusters, levels and combinations of transferable employability skills and preferences that may open employment options spanning more than one occupation or career pathway |
| 2. Assess and confirm ongoing career development needs of target group | P1 Analyze history and records in assessing needs of target group P2 Assess success of previous career development services and techniques used for individual or target group P3 Deploy other means to investigate appropriate care and counseling approaches as required P4 Maintain privacy and security of all data, research and personal records according to relevant policy, legislation, professional codes of practice and national standards P5 Establish existing work-life balance requirements, issues and needs |
| 3. Maintain quality of career development services and professional practice | P1 Analyze and review relevance of career theories, models, frameworks and research for target group P2 Incorporate into career development services and professional practice, major changes and trends influencing workplace and career-related options and choices P3 Comply with all relevant policy, legislation, professional codes of practice and national standards that influence delivery of career development services |

Knowledge & Understanding

K1: explain client care and counseling techniques and processes in the context of career development services

K2: describe diversity and its potential effects on career choices

K3: outline human psychological development and needs in relation to careers development

K4: outline relevant policy, legislation, codes of practice and standards relevant to career development

K5: explain recruitment and selection processes in the context of career development services

K6: describe a range of data gathering and research techniques

K7: explain techniques used to analyze trends.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to identify and communicate trends in career development. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- research and analyze current economic, labor market, employment, career and vocational, educational and training trends

- identify choices and career development needs for individuals and target groups within a given context

- report and document management of research and career development materials

- Comply with all relevant local, state/territory and national legislation, policies and practices.

    - Apply specialist interpersonal and counseling interview skills

Overview: This unit describes the skills and knowledge required to use advanced and specialized communication skills in the client-counselor relationship. This unit applies to individuals whose job role involves working with clients on personal and psychological issues within established policies, procedures and guidelines.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Communicate effectively | P1 Identify communication barriers and use strategies to overcome these barriers in the client-counselor relationship P2 Facilitate the client-counselor relationship through selection and use of micro skills P3 Integrate the principles of effective communication into work practices P4 Observe and respond to non-verbal communication cues P5 Consider and respond to the impacts of different communication techniques on the client-counselor relationship in the context of individual clients P6 Integrate case note taking with minimum distraction |
| 2. Use specialized counseling interviewing skills | P1 Select and use communication skills according to the sequence of a counseling interview P2 Identify points at which specialized counseling interviewing skills are appropriate for inclusion P3 Use specialized counseling communication techniques based on their impacts and potential to enhance client development and growth P4 Identify and respond appropriately to strong client emotional reactions |
| 3. Evaluate own communication | P1 Reflect on and evaluate own communication with clients P2 Recognize the effect of own values and beliefs on communication with clients P3 Identify and respond to the need for development of own skills and knowledge |

Knowledge & Understanding

K1: legal and ethical considerations for communication in counseling practice, and how these are applied in individual practice:

- codes of conduct/practice

- discrimination

- duty of care

- human rights

- practitioner/client boundaries

- privacy, confidentiality and disclosure

- rights and responsibilities of workers, employers and clients

- work role boundaries responsibilities and limitations of the counselor role

- work health and safety

K2: principles of person-centered practice

K3: key objectives of counseling interviewing

K4: stages of a counseling interview

K5: potential impacts of using different communication skills and techniques in counseling contexts

K6: communication techniques and micro-skills including:

- attending behaviors active listening, reflection of content feeling, summarizing

- questioning skills open, closed, simple and compound questions

- client observation skills

- noting and reflecting skills

- providing client feedback

K7: specialized counseling communication techniques, and how they are used, including:

- challenging

- reframing

- focusing

K8: components of the communication process including:

- encoder

- decoder

K9: primary factors that impact on the communication process including:

- context

- participants

- rules

- messages

- channels

- noise

- feedback

K10: communication barriers and resolution strategies, including:

- environmental

- physical

- individual perceptions

- cultural issues

- language

- age issues

- disability

K11: observational techniques including:

- facial expressions

- non-verbal behavior

- posture

- silence

K12: ways in which different people absorb information, including:

- visual

- auditory

- kinesthetic

K13: obstacles to the counseling process

K14: impacts of trauma and stress on the communication process, including on:

- concentration and attention

- memory

- use of verbal and written language

- use of body language

- challenging within the counseling session

K15: self-evaluation practices, including:

- how to recognize own biases

- Impact of own values on the counseling relationship.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to apply specialist interpersonal and counseling interview skills. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- interviewed at least 3 different clients using specialized interpersonal communication and counseling interviewing skills, including:

- micro-skills and communication techniques, including:

  - attending behaviors active listening,

  - reflection of content, summarizing

  - questioning skills open, closed, simple and compound questions

  - client observation skills

  - noting and reflecting skills

  - providing client feedback

- specialized counseling interviewing skills, including:

  - challenging

  - reframing

  - focusing

- integrated clear case note taking into the interview process

- Completed a structured process of self-reflection and evaluation of own communication used during the 3 interviews.

    - Work safely in an office environment

Overview: This unit describes the performance outcomes, skills and knowledge required to participate in workplace occupational health and safety (OHS) processes to protect workers own health and safety, and that of others.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Work safely | P1 Follow established safety procedures when conducting work P2 Carry out pre-start systems and equipment checks in accordance with workplace procedures |
| 2. Implement workplace safety requirements | P1 Identify designated persons for reporting queries and concerns about safety in the workplace P2 Identify existing and potential hazards in the workplace, report them to designated persons and record them in accordance with workplace procedures P3 Identify and implement workplace procedures and work instructions for controlling risks P4 Report emergency incidents and injuries to designated persons |
| 3. Participate in OHS consultative processes | P1 Contribute to workplace meetings, inspections or other consultative activities P2 Raise OHS issues with designated persons in accordance with organizational procedures P3 Take actions to eliminate workplace hazards or to reduce risks |
| 4. Follow safety procedures | P1 Identify and report emergency incidents P2 Follow organizational procedures for responding to emergency incidents |

Knowledge & Understanding

K1: Explain responsibilities of employers and employees under relevant health and safety regulation

K2: describe emergency procedures including procedures for fires, accidents and evacuation

K3: outline commonly used hazard signs and safety symbols

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to participate in workplace OHS processes. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. The unit assessment must ensure the safety processes; hazards and risk are relevant to the area of work. Evidence of the following is essential:

- Accurately following all relevant safety procedures

- Identifying and reporting hazards to designated personnel

- Knowledge of relevant health and safety regulations

- Knowledge of relevant materials, equipment and work processes.

    - Develop workplace documents

Overview: This unit covers interpreting and composing a range of workplace documents from a number of sources. It includes interpreting written information for workplace purposes as well as planning, drafting and reviewing a basic document before writing the final version. The focus is on the content and structure of written materials and not on the use of computer technology

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Interpret written information | P1 Read workplace materials to identify the subject and key information for using or reporting to others. P2 Read procedural manuals and codes of practice to locate specific information to carry out work functions in accordance with policy and standards. P3 Read a range of written materials to locate and select required information for summaries, short reports and responses to requests. P4 Identify the cultural context and prior knowledge required to interpret workplace information and obtain assistance when required. P5. Determine audience and purpose for the document P6 Seek assistance with interpretation of complex materials in accordance with organizational procedures. |
| 2. Develop written materials | P1 Identify and comply with established requirements for a range of written materials in accordance with organizational procedures and standard templates. P2. Determine format and structure P3. Establish key points for inclusion P4. Identify organizational requirements P5. Establish method of communication P6. Establish means of communication |
| 3. Draft document | P1 Develop draft document to communicate key points P2. Obtain and include any required additional information P3 Prepare written information in an accurate, concise and unambiguous manner that meets intended audience and organizational requirements. |
| 4. Review document | P1 Check draft for suitability of tone for audience, purpose, format and communication style P2. Check draft for readability, grammar, spelling, sentence and paragraph construction and correct any inaccuracies or gaps in content. P3. Check draft for sequencing and structure P4. Check draft to ensure it meets organizational requirements P5. Ensure draft is proofread, where appropriate, by supervisor or colleague |
| 5. Write final document | P1 Make and proofread necessary changes P2. Ensure document is sent to intended recipient within required time frames P3. File copy of document in accordance with organizational policies and procedures |

Knowledge & Understanding

K1: Explain the reading and writing procedures at a level to cope with a range of workplace materials

K2: Explain the integration of information from a number of sources in order to generate meaning

K3: Describe the ways to write and sequence paragraphs according to the required purpose of written material

K4: Outline the linking ideas in written material through selection and use of words, grammatical structures, headings and punctuation appropriate to the purpose

K5: Elaborate spelling, punctuation and grammar for workplace documents at an experienced level

K6: Explain the response to diversity, including gender and disability

K7: Explain the implementation of ergonomic requirements for office work

K8: Explain the environmental policies such as those relating to paper use/wastage/recycling

K9: Describe the preparation of general information and papers according to target audience

K10: Elaborate the ways of proofreading and editing documents to ensure clarity of meaning and conformity to organizational requirements

K11: Describe the problem-solving skills to determine document design and production processes

K12: Explain the usage of resources to assist in document production, such as dictionary, thesaurus, templates, style sheets

K13: Describe the ways to produce business letters, memos, job applications, resumes, meeting agendas and minutes

K14: Explain the ways to fold and insert letters into a standard and window faced envelope.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to interpret written information for workplace purposes and plan, draft and review a basic document before writing the final version. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Evidence of the following is essential:

- Producing a range of documents that accurately convey required information including single and multipage business letters, memos, job applications, resumes, meeting agendas and minutes.

- Using formatting suitable for intended audience

- Knowledge of organizational policies and procedures for document production

    - Prepare and implement negotiation

Overview: This unit covers the skills, knowledge and attitudes required to prepare for and participate in a process of negotiation.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Prepare for the negotiation | P1 Identify objectives and preferred outcome of the negotiation and determine minimum acceptable outcome P2 Understand in relation to what can be offered and what is needed from the other party P3 Gather information regarding the other party – objectives, needs, preferences, resources, what they want to achieve - in order to determine best negotiating points P4 List and rank the issues to consider concessions that may be made. P5 Find examples and refine negotiation argument. P6 Check information to ensure it is correct and up-to-date. P7 Develop a negotiation plan that includes information about the other party and its interests and a set of responses and strategies to the anticipated tactics. P8 Prepare an agenda in advance, which includes discussion topics, participants, location and schedule |
| 2. Participate in negotiations | P1 Analyze all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies P2 Analyze and determine strategies and priorities on the incident sought from a range of sources P3 Assess long term objectives against resources and priorities P4 Apply a range of communication techniques to make and maintain contact with the key people P5 Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions P6 Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits P7 Reassess points of disagreements for common positive positions |
| 3. Coordinate support services | P1 Assess the need for support services in terms of the determined strategies and priorities P2 Negotiate the resources of support services according to established procedures and availability P3 Provide information on strategies to support services and maintain the communication P4 Delegate roles and responsibilities according to expertise and resources |
| 4. Restore order | P1 Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order P2 Take action designed to minimize risk and the preserve the safety and security of all involved P3 Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. P4 Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. P5 Complete reports accurately and clearly provided to the appropriate authority promptly P6 Review, evaluate and analyze the incident and the organizational response to it and report it promptly and accurately. |
| 5. Provide leadership. direction and guidance to the work group | P1 Link between the function of the group and the goals of the organization P2 Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate P3 Give opportunities and encouragement to others to develop new and innovative work practices and strategies P4 Identify conflict and resolve with minimum disruption to work group function P5 Provide staff with the support and supervision necessary to perform work safely and without risk to health P6 Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training P7 Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task |

Knowledge & Understanding

K1: Explain organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables.

K2: Explain organization’s management and accountability systems

K3: Describe teamwork principles and strategies

K4: Outline the principles of effective communication

K5: Outline the guidelines for use of equipment and technology

K6: Explain code of conduct

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to solve problems which jeopardize safety and security. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Evidence of the following is essential:

- evidence of effective communication strategies including negotiation, counseling, mediation, advocacy demonstrated under pressure working effectively in a team environment

- evidence of knowledge and application of organizations policies, procedures and

- guidelines for critical incidents

- evidence of accurate and safe use of all emergency equipment

- evidence of managing effective outcomes using strategic planning, team

Leadership and situational analysis

    - Maintain professionalism in the workplace

Overview: This unit of competency describes the outcomes required maintain a professional image in the workplace, including behaving ethically, demonstrating motivation, respecting timeframes and maintaining personal appearance.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Respect work timeframes | P1 Demonstrate punctuality in meeting, set working hours and times. P2 Utilize working hours only for working and follow company regulations. P3 Complete work tasks within deadlines according to order of priority P4 Supervisors are informed of any potential delays in work times or projects. |
| 2. Maintain personal appearance and hygiene | P1 Clean hair, body and nails regularly. P2 Wear suitable cloths for the workplace, and respect local and cultural contexts P3 Meet specific company dress code requirements |
| 3. Maintain adequate distance with colleagues and clients | P1 Respect personal space of colleagues and clients with reference to local customs and cultural contexts. P2 Keep sufficient distance from others P3 Avoid cross transmission of infections (especially through respiration). |
| 4. Work in an ethical manner | P1 Follow company values/ethics codes of ethics and/or conduct, policies and guidelines. P2 Use company resources in accordance with company ethical standards. P3 Conduct personal behavior and relationships in accord with ethical standards and company policies. P4 Undertake work practices in compliance with company ethical standards, organizational policy and guidelines. P5 Instruct co-workers on ethical, lawful and reasonable directives. P6 Share company values/practices with co-workers using appropriate behavior and language. P7 Report work incidents/situations and/or resolved in accordance with company protocol/guidelines. |

Knowledge & Understanding

K1: Explain application of good manners and right conduct

K2: Explain basic practices for oral and personal hygiene

K3: Describe common products used for oral and personal hygiene

K4: Outline the company code of conduct/values

K5: Outline the Company regulations, performance and ethical standards

K6: Explain work responsibilities/job functions

K7: Describe communication skills

K8: State workplace hygiene standards

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to maintain professionalism in the workplace .The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Evidence of the following is essential:

- clarify and affirm work values/ethics/concepts consistently in the workplace;

- comply with required working times;

- conduct work practices satisfactorily and consistently, in compliance with work ethical standards, organizational policy and guidelines;

- Develop suitable hygiene

Keep adequate distance while interacting with colleagues and clients.

    - Maintain professional development and career professionalism

Overview: This unit describes the outcomes required to promote own learning career growth and advancement.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Identify own learning needs | P1 Identify earning needs through evaluation of existing skills and knowledge against job and career progression requirements. P2 Gather feedback and appraisal is gathered from supervisors, colleagues and clients and used to identify learning needs and skill gaps. P3 Give advice to relevant personnel regarding identified professional needs. |
| 2. Motivate and build the team | P1 Sought opportunities are sought for undertaking skill-development activities and are planned in liaison with work group and relevant personnel. P2 Follow and apply advice on the job coaching/mentoring P3 Undertake formal training programs where available. P4 Utilize knowledge and skills gained through professional development activities in the workplace and for career development. P5 Collect constructive assessment and feedback on work performance from colleagues and supervisor to identify ongoing learning needs and opportunities. |
| 3. Maintain professional growth and development | P1 Sought recognitions as evidence of career advancement. P2 Obtain licenses and/or certifications relevant to job and career P3 Lay down professional goals and strategies to develop the required skills and knowledge through professional development |

Knowledge & Understanding

K1: Explain all possible learning and development tools: training, mentoring, coaching, networking, seminars, project assignments

K2: Explain education, qualification and certification systems in the country

K3: Describe fundamental rights at work including gender sensitivity

K4: Outline methodology to identify own learning needs and preferred learning style

K5: Elaborate methods of obtaining feedback

K6: Explain Range of options for undertaking personal skill development

K7: Describe Workplace policies and procedures

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to lead small teams. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Evidence of the following is essential:

- determine areas for skills and knowledge improvement;

- identify job skill and knowledge requirements; and

Seek and implement feedback on own learning needs

    - Organize schedules

Overview: This unit describes the skills and knowledge required to manage appointments and diaries for personnel within an organization, using manual and electronic diaries, schedules and other appointment systems. It applies to individuals employed in a range of work environments who provide administrative support to teams and individuals.

| Unit of Competency | Performance Criteria |
| --- | --- |
| 1. Establish schedule requirements | P1 Identify organizational requirements and protocols for diaries and staff planning tools P2 Identify organizational procedures for different types of appointments P3 Determine personal requirements for diary and schedule items for individual personnel P4 Establish appointment priorities and clarify in discussion with individual personnel |
| 2. Manage schedules | P1 Identify recurring appointments and deadlines, and schedule these in accordance with individual and organizational requirements P2 Establish availability of attendees, and schedule new appointments in accordance with required timelines and diary commitments P3 Negotiate alternative arrangements and confirm when established appointments are changed P4 Record appointments and manage schedules in accordance with organizational policy and procedures |

Knowledge & Understanding

K1: identify the key provisions of relevant legislation, standards and codes that affect aspects of business operations or the achievement of team goals

K2: describe organizational requirements for managing appointments for personnel within the organization

K3: summarize the range of appointment systems that could be used

K4: outline important considerations when managing the schedules of others.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to organize schedules. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Appropriately manage the schedules of various individuals through a process of careful planning and negotiation.

  - Construction III

    - Erect and dismantle formwork to suspended slabs, columns, beams and walls

Overview: This competency standard covers the skills and knowledge required to Plan and prepare for work, erect formwork, dismantle formwork and Clean-up work site area

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for work | - Select tools and equipment as per requirement. - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance |
| CU2. Erect formwork | - Clear work area and prepare surface for safe erection of form work for suspended slabs, piers and shutters. - Set out formwork to requirements of plans and specifications. - Assemble formwork according to plans, specifications and class of surface finish, with support system set to correct height level and line. - Place bracing of formwork according to support plans and specifications to maintain rigidity and stability. - Erect formwork support system sequentially according to initial set out. - Construct formwork shutters form requirements and specified dimensions. - Install Block-outs and cast-in services to specified locations. - Remove debris, sawdust and other waste materials from completed formwork in accordance with waste management policy for the site. - Apply release agent to formwork face to manufacturer specifications where specified. |
| CU3. Dismantle formwork | - Remove formwork and bracing/strutting support sequentially and safely. - De-nail, clean and store or stack timber components safely for reuse or removal from site. - Clean, oil and store or stack steel components to manufacturers' maintenance recommendations. - Discard damaged formwork components safely after stripping. |
| CU4.Clean-up work site area | P1. Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe formwork materials and techniques

- Explain hydraulic pressures applied to formwork

- Describe Plans, specifications and drawings for relevant job

- Explain purpose, application and properties of commonly used release agents

- Describe dismantling of formwork

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Set out and erect suspended slab formwork (slab size a minimum of 30 square metres), incorporating a beam and two different types of columns with a specified formwork system at a minimum height of 2.4 metres.

- Prepare space for entire work

- Plan for relevant job

- Adopt safety measures

- Installation and removal of formwork

Tools and Equipment

- Air compressors and hoses, automatic levels

- Chisels

- Formwork equipment

- Hammers, hand saws

- Ladders and scaffolding

- Marking equipment, measuring tapes and rules

- Nail bags, nail guns

- Pinch bars, power drills power grinders, power leads, power saws

- Saw stools, shovels, spanners spirit levels, squares (combination/tri)

- Steel squares, string lines

    - Operate elevated platforms

Overview: This competency standard covers the skills and knowledge required to Plan and prepare for work, Conduct routine checks of Plat form, Locate equipment in place for work application, Elevate platform to work location, Lower platform and shut down and Clean-up work site area

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for work | - Recognize OH&S requirements associated with operating elevating work platforms and workplace environment - Identify workplace operations plan in accordance with job requirements and surrounding activities and environment - Select appropriate personal protective equipment. - Select equipment consistent with job requirements and check for serviceability - Identify safety hazards and use procedures correctly to minimize risks to self and others. - Select materials in accordance with job drawings and/or from specifications/supervisor’s instructions |
| CU2. Conduct routine checks of Platform | - Determine power source where applicable and connect platform equipment to manufacturer's specifications. - Carry out routine pre-operational equipment checks in accordance with checklist from operator's manual. - Switch equipment on, in accordance with start-up procedures and check controls for correct operation and ease of movement. - Check emergency safety devices to instructions from operator's manual. - Check work location for level ground and floor surface to determine stabilizing and safe working area requirements. |
| CU3. Locate equipment in place for work application | - Locate platform in position for work application and engage stabilizers to set equipment base level into place. - Erect barricades and signage to isolate safe working area where applicable. - Place tools, equipment and materials into bucket/platform to job application requirements |
| CU4. Elevate platform to work location | - Operate controls to manufacturer’s recommendations and elevate platform to work position. - Switch power off and engage locking devices to operator's manual. - Carry out work to job specification and safety requirements of operator's manual. |
| CU5. Lower platform and shut down | - Operate controls to manufacturer's recommendations and lower platform to down position. - Carry out shut down procedures to operator's manual and switch off equipment |
| CU6.Clean-up work site area | - Remove and dispose of waste material safely - Seal and store/stack unused materials - Remove, clean, maintain and store tools and equipment - Disengage stabilizers, store and secure equipment and remove unit from location - Carry out routine post-operational checks in accordance with checklist from operator's manual and report any faults |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe workplace and equipment safety

- Explain requirements relative to EWP’s

- Explain operation and maintenance of equipment

- Describe use of hand and power tools

- Knowledge of communication processes – verbal and signalling

- Knowledge of materials and material fixing

- Describe OHS for elevated platforms

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate compliance with Occupational Health and Safety regulations applicable to workplace operations

- Show compliance with organizational policies and procedures including Quality Assurance requirements

- Carry out correct procedures prior to, during and after use of elevating work platform

- Demonstrate safe and effective operational use of plant, tools and equipment

- Demonstrate safe and effective work application while in set elevated position

- Interactively communicate with others to ensure safe and effective workplace operations

Tools and Equipment

- Elevated Platforms (scissor type extending arm [cherry picker])

- Personal protective equipment (coveralls, safety boots, hard hat/cap, gloves, safety glasses/goggles, ear plugs/muffs, dust masks/respirator)

    - Construct, erect and dismantle formwork for stairs and ramps

Overview: This competency standard covers the skills and knowledge required to Plan and prepare for work, set out formwork, Assemble and erect formwork, dismantle formwork and Clean up

| Competency Units | Performance Criteria |
| --- | --- |
| CU1.Plan and prepare for work | - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details, from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements - Select plant, tools and equipment to carry out tasks consistent with job requirements, check for serviceability, and rectify any faults or report prior to commencement. - Calculate material quantity requirements in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, handle safely and locate materials appropriate to the work application ready for use. - Identify and apply environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations |
| CU2. Set out formwork | - Identify design of stairs and/or ramps and method of joining formwork from job drawings and specifications, and check to be in accordance with legislation, regulations and codes of practice. - Determine exit and ground finish levels from plans, specifications and site inspection. - Determine rise, going and pitch of stairs and ramp from plans, specifications, site inspection, rise measurements and requirements of Building Code. - Calculate full size set out of stairs and ramp and make to determine rise, going and pitch of stairs to provide location of landings, stringers, treads and posts where specified. - Determine location of stair, ramp and newels from plans, specifications and pitch of stairs. - Set out location of footings to layout of designed stairs and ramp from plans, specifications - Select and set out materials for formwork, including stringers, to pitch of stairs with rises not exceeding specified space between treads |
| CU3. Assemble and erect formwork | - Place, fix and brace landing bearers and joists according to plans and specifications, where specified. - Check footings for accuracy to requirements of plans and specifications. - Erect and brace stairs and/or ramp formwork soffit is in accordance with plans and specifications. - Cut square formwork stringers to length and shape in accordance with set out and junction with newel posts, and install and brace. - Screw/bolt metal angle brackets to formwork strings to set out locations of tread support. - Locate and fix formwork strings for stairs and ramps according to plans and specifications. - Set out, cut square material for face of treads length and fix to metal angle bracket according to plans and specifications. - Brace risers at mid-span to prevent deflection under the load of wet concrete. - Erect and brace newels temporarily to plumb position, where specified. - Locate and Secure formwork tie bolts to plans and specifications to maintain stair width where specified |
| CU4. Dismantle formwork. | - Remove formwork and bracing/strutting support sequentially and safely. - De-nail, clean and store or stack timber components safely for reuse or removal from site. - Clean, oil and store or stack steel components to manufacturers' maintenance recommendations. - Discard damaged formwork components safely after stripping. |
| CU5.Clean up | P1. Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain application and requirements for line, level and plumb in construction projects

- Define various construction terminology

- Describe formwork materials and techniques

- Describe job safety analysis (JSA) and safe work method statements

- Explain material safety data sheets (MSDS)

- Describe material storage and environmental friendly waste management

- Knowledge of plans, specifications and drawings for relevant job.

- Explain use and limitation of plant, tools and equipment and their types

- Explain processes for setting out and measuring

- Explain processes for calculating material requirements

- Describe quality requirements for formwork for stairs and ramps

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Locate, interpret and apply relevant information, standards and specifications

- Comply with site safety plan, OHS regulations and state and territory legislation applicable to workplace operations

- Comply with organizational policies and procedures, including quality requirements

- Safely and effectively use tools, plant and equipment

- Communicate and work effectively and safely with others

- Complete a site assessment to determine levels and stair dimensions

- Apply the height and going of stairs to construct, erect and dismantle the form work for a flight of stairs (free standing or against a wall), including a landing, with a minimum rise of flight of 1800mm

- Complete the construction, erection and dismantling of a ramp with a rise of 400mm.

Tools and Equipment

- Air Compressors And Hoses

- Automatic Levels

- Chisels

- Explosive Power Tools

- Grinders

- Hammers

- Hand Saws

- Laser Levels

- Marking Equipment

- Measuring Tapes And Rules

- Nail Bags

- Nail Guns

- Optical Levelling Equipment

- Pinch Bars

- Power Drills

- Power Leads

- Power Saws

- Props

- Saw Stools

- Scaffolding

- Shovels

- Spanners

- Spirit Levels

- Squares (Combination/Tri)

- Steel Squares And Bevels

- String Lines

    - Evaluate materials for multi-storey buildings

Overview: This competency standard covers the skills and knowledge required to assess the nature and performance of concrete for use in Multi-storey buildings, Assess application of concrete used in multi-storey buildings, Evaluate methods undertaken to repair concrete, Evaluate effects of fire and heat on concrete used in multi-storey buildings and Monitor Environmental impacts of building materials used

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Assess the nature and performance of concrete for use in Multi-storey buildings. | - Identify and record plastic and hardened concrete properties for building types. - Indicate sources of aggregate and properties of each described. - Identify effects of impurities - Conduct manufacture and testing of concrete in accordance with relevant standards. |
| CU2. Assess application of concrete used in Multi-storey buildings. | - Determine selection and distribution methods of concrete following analysis of site access. - Maintain correct distribution and placement methods of concrete - Identify reasons and effects of compaction on both plastic and hardened concrete - Compare immersion, surface and form vibration - Maintain accurate records relating to the application of concrete - Identify and record types of curing methods and detrimental effects of poor or no curing |
| CU3. Evaluate methods undertaken to repair concrete | - Identify live and dormant cracks - Identify and record repair methods and causes of cracked concrete and concrete cancer in accordance with organizational procedures. - Record faults in concrete in accordance with organizational procedures. |
| CU4. Evaluate effects of fire and heat on concrete used in multi-storey buildings. | - Test reinforced concrete for effects of fire and heat. - Identify and apply methods of fire protection for concrete elements |
| CU5. Monitor environmental impacts of building materials used | - Monitor and apply new technologies in concrete for construction of multi-storey buildings in accordance with organizational policies and guidelines. - Identify and apply performance requirements of concrete in fire resistance construction in accordance with acceptable standard construction practices. - Identify cost-effectiveness of using recycled materials in accordance with acceptable standard construction practices. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain application of Building Code and standards

- Describe applications of structural principles in buildings

- Define design principles and behaviour of structural members undergoing stress, strain, compression, bending or combined actions

- Explain OHS requirements, legislative codes and practices

- Describe types and nature of materials and effect of their performance, including properties and uses of cement and types of hydraulic cement

- Knowledge of work drawings and specifications.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Documentation, including design brief drawings, specifications, codes, design concepts, construction schedules and other necessary supporting documents

- Research resources, including timber product information and samples

- Access to relevant legislation, regulations and codes of practice

- Relevant computer software package and suitable hardware.

    - Apply structural principles to the construction of large, high rise and complex buildings

Overview: This competency standard covers the skills and knowledge required to apply structural principles to the construction of large, high rise and complex buildings

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Apply structural principles to the planning of the erection or demolition of a structure. | - Identify main structural principles that apply to the erection of large, high rise and complex structures - Identify, analyse and apply performance characteristics of the structural elements, including materials identified in the building plan, to the planning of the construction work. - Undertake demolition of existing structures in accordance with legislative and planning requirements and safe work practices. |
| CU2. Coordinate and manage the site assessment and job set-up | - Put processes in place to analyse stability of soils and capacity of the site to support the construction loads. - Identify requirements for retaining walls in conjunction with related industry professionals and apply to the planning process. - Analyse and apply structural function and requirements for temporary structural elements to the planning process. |
| CU3. Coordinate and manage construction of footing systems | - Undertake coordination of the set-out of the building in accordance with documented building plans, following the full assessment of the site. - Assess structural performance of the footings specified in the building plan for compliance with relevant codes and accepted industry construction principles. - Lay and check footings, as specified in the building plan, are for compliance with standards and accepted industry construction principles. - Plan, implement and check damp coursing and the provision of termite barriers and other relevant techniques in accordance with codes, standards and industry practice |
| CU4. Coordinate and manage structural elements of the construction process. | - Identify and analyse technical construction principles and performance characteristics of construction materials in the planning of project. - Identify, implement and check processes for construction of all structural elements for compliance with manufacturer specifications and relevant standards and codes. - Identify and implement building plans and relevant standards and codes to ensure appropriate allowances have been made for plumbing, electrical conduits and other services to be installed. |
| CU5. Analyse and plan for Structural integrity of buildings. | - Consult relevant industry professional to provide advice regarding the structural integrity of proposed building. - Assess structural requirements and loads of the building design. - Conduct analysis of the effects of force and movements on structural elements. - Conduct analysis of properties and behaviours of structural materials is conducted. - Conduct analysis of section properties of structural elements using standard industry formulas and performance comparisons. - Evaluate performance characteristics of columns using standard industry techniques. - Assess methods used for stress distribution in connections between structural elements - Assess impact of various loads on the building structure - Identify design impact of high performance structural elements |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe applications of structural principles in buildings

- Knowledge on Building Code and standards

- Explain design principles and behaviour of structural members undergoing stress, strain, compression, bending or combined actions

- Describe interpretation and analysis of work drawings and specifications

- Explain Nature of materials and effect of performance.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Coordinate professional input to evaluate structural integrity of large and complex buildings

- Clearly analyse structural impact of design decisions

- Comply with OHS and organisational quality procedures and processes

- Apply and interpret relevant documentation and codes

- Apply design principles relating to performance

- Identify typical faults and problems and the action required to rectify such faults.

    - Install fire and smoke containment systems

Overview: This competency standard covers the skills and knowledge required to install fire and smoke containment systems

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Apply rules and regulations to installation operations | - Confirm and apply requirements of relevant rules and regulations to work procedures. - Check compliance requirements and take action according to organisational policies and procedures. |
| CU2. Prepare for system installation | - Obtain work permits are prior to entering customer premises. - Discuss customer requirements and select a suitable fire and smoke containment system according to organisational and customer requirements. - Apply relevant measurement processes to installation site and passive fire and smoke containment system components. - Identify and assemble components, tools, equipment and materials required for installation - Identify and assemble fireproofing or fire-stopping materials required for installation of system |
| CU3. Prepare fire proofing substrate or fire stopping opening for the system | - Check structural or penetrated elements for compliance with required smoke resistance or fire resistance level. - Prepare fire proofing substrate or fire stopping opening - Measure and prepare Materials for installation of fireproofing or fire stopping system |
| CU4. Install passive fire and smoke containment system | - Install fireproofing material or fire stopping system according to manufacturers’ installation instructions. - Inspect and test passive fire and smoke containment system for defects and check to ensure that installation is sound and aesthetically pleasing, according to standard testing procedures and acceptable workmanship - Rectify and report impediments according to organisational requirements. |
| CU5. Label and certify passive fire and smoke containment system | - Assess and label or mark installation according to provisions of relevant standard and manufacturer, Building Code and organisational requirements. - Complete relevant schedule of evidence of compliance set out in relevant standard or logbook is completed according to relevant standard, and organisational and customer requirements. |
| CU6. Complete installation. | - Clean customer premises on completion of installation functions. - Complete and distribute documentation according to organisational and customer requirements. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe action to take when a breach of health, safety or other policy occurs

- Define common technical terminology used in the installation of passive fire and smoke containment systems, including: plumb, level, mix ratio, density, wet film thickness, dry film thickness, section factor (Hp/A), exposed surface to mass (ESM) ratio and critical temperature

- Define fire-rated walls, masonry, concrete, plasterboard and shaft wall

- Explain fire-rated floors and floor ceiling systems

- Describe penetration dimensions, i.e. width, height, depth and orientation

- Define ambient and cold smoke, medium smoke and elevated and hot smoke

- Define intumescent products and ablative products, fire resistance levels, incipient spread of fire, spread of flame indices, fire test report, assessments and letters of opinion.

- Describe dangers of incorrect installation of passive fire and smoke containment systems

- Explain key features of legislation, and building code requirements relating to:

- Describe installation of passive fire and smoke containment systems

- Define passive fire and smoke containment

- Describe implications of not applying legislative requirements to job functions

- Explain methods of converting imperial units of measurement to metric

- Describe organisational requirements for labelling and certifying passive fire and smoke containment system installations

- Define passive fire and smoke containment labelling types

- Explain principles of passive fire protection related to overall fire safety and containment systems specific to passive fire and smoke containment systems

- Describe procedures for determining fire resistance levels and smoke resistance levels

- Explain purpose and interpretation of standards and technical documentation relating to passive fire and smoke containment systems

- Knowledge of technical terms relating to passive fire and smoke containment system installation

- Describe fireproofing and fire stopping variables, including types, components and fire barrier types.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Install different types of fireproofing to structural steel and ductwork:

  - spray,

  - intumescent paint

  - board

- Install fire stopping systems comply with the requirements of:

- Standards identified as relevant to work procedures

- Building Acts, regulations and codes

- Environmental regulations

- Manufacturers’ specifications

- OHS legislation, codes and regulations

- Organisational requirements, including OHS policies and procedures

Tools and Equipment

Fire and smoke containment products, including:

- Fabric and timber protection, impregnated or sprayed

- Fire-rated air transfer grilles fire-rated sealants, caulks and putties:

- Acrylic

- Polyurethane

- Silicone

- Fire resistant boards:

- Calcium silicate

- Vermiculite fire resistant mortars and grouts:

- Load bearing

- Non-load bearing fire resistant pillows:

- Non-intumescent fire stop collars:

- Intumescent paints and coatings (other than those used for fireproofing structural steel)linear gaps seals:

- Impregnated foams

- Tapes

- Intumescent gaskets

- Sealants materials into or onto which passive fire and smoke containment products are installed, including:

- Concrete

- Fire resistant board

- Masonry

- Plasterboard

- Steel

- Timber

- UPVC

- Mechanical and intumescent fire dampers

- Smoke dampers passive fire and smoke containment solutions, including:

- Access panels and hatches

- Ceiling and partition systems

- Control joints and expansion joints

- Duct fireproofing and protection

- Duct and damper penetration protection

- Fire-rated sealants

- Industrial fire protection

- Structural steel fireproofing and protection

- UPVC and plumbing penetrations

    - Inform clients about thermal performance of residential buildings

Overview: This competency standard covers the skills and knowledge required to inform clients about thermal performance of residential buildings

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Explain thermal performance to clients | - Explain building thermal performance to clients in line with organisational procedures. - Identify impact of building design and materials on thermal performance of building and communicate to clients in line with organisational procedures. - Explain relationship between building thermal performance, heating and cooling, and energy consumption to clients in line with organisational procedures. - Explain main uses of energy in buildings and the proportion attributed to heating and cooling to clients in line with organisational procedures. - Apply correct industry terminology for energy use when communicating with clients. - Apply correct units of measurement when describing power and energy. - Explain environmental and social impacts of energy use to clients in line with organisational procedures. |
| CU2. Explain the process of heat transfer in residential buildings to clients | - Explain heat transfer to clients in line with organisational procedures. - Explain meanings of key terms used to describe heat transfer to clients in line with organisational procedures. - Explain ways in which residential buildings lose and gain heat to clients in line with organizational procedures |
| CU3. Explain factors that impact on thermal comfort to clients. | - Explain thermal comfort and its use in building thermal performance assessments to clients in line with organisational procedures. - Explain physical factors that influence thermal comfort to clients in line with organisational procedures. - Establish requirements for thermal comfort based on occupant needs and explain to clients in line with organisational requirements |
| CU4. Explain how climatic conditions influence thermal Performance of residential buildings to clients. | - Identify major climatic zones and explain their key characteristics relevant to thermal performance assessments - Explain types and uses of climate data used in carrying out thermal performance assessments to clients in line with organisational procedures - Explain impact of local climatic conditions on building thermal performance to clients in line with organisational procedures - Explain ways of improving thermal performance appropriate to the relevant climatic zone to clients in line with organisational procedures |
| CU5. Explain principles of passive design to clients. | - Explain principles of passive design to clients in line with organisational requirements. - Explain application of principles of passive design to plan and existing residential buildings to clients in line with client and organisational requirements. - Explain factors that diminish the thermal performance of buildings to clients in line with organisational procedures |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain different climatic zones and characteristics of climatic zones

- Describe climate data used in thermal performance assessment: diurnal temperature range, humidity,  irradiance, maximum and minimum temperature, solar geometry, wind speed and direction and impact of climate on thermal performance of residential buildings

- Explain environmental and social impacts of energy use: climate change, energy cost, energy security, global warming, greenhouse gas emissions, operational costs and resource depletion

- Explain heat transfer in residential buildings: impact on heating and cooling mechanisms: radiation, convection, conduction, modelling

- Describe U and R-values of building materials

- Describe R-values of wall constructions

- Knowledge on passive building design principles: building envelope, construction materials, construction methods, glazing, house plan ratio, insulation, orientation, thermal mass, ventilation, zoning, sources of information on climate

- Define thermal comfort and its importance

- Explain influences on thermal comfort: air movement, humidity, radiation, temperature, models of thermal comfort, requirements for thermal comfort, role of thermal comfort in building thermal performance assessments, thermal sensitivity of individuals

- Knowledge on thermal performance: factors that diminish and enhance the thermal performance of buildings,  impact of local climatic conditions on building thermal performance principles, relationship between building thermal performance, heating and cooling and energy consumption

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Explain Thermal Performance To Clients Using Correct Terminology

- Explain The Process Of Heat Transfer In Residential Buildings To Clients, Including The Ways In Which Residential Buildings Loose And Gain Heat

- Explain Factors That Impact On Thermal Comfort To Clients

- Explain How Climatic Conditions Influence Thermal Performance Of Residential Buildings To Clients, Including The Ways Of Improving Thermal Performance Appropriate To Particular Climatic Zones

- Explain Principles Of Passive Design To Clients, Their Application In Planned And Existing Residences, And The Factors That Diminish Thermal Performance.

    - Design air conditioning and ventilation system

Overview: This competency standard covers the skills and knowledge required to design air conditioning and ventilation system

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Evaluate design parameters. | - Determine client requirements from plans, specifications and client briefs to determine work scope. - Evaluate user comfort conditions and specific use conditions and calculate psychometric evaluation and heat loads - Evaluate building heat losses. - Specify distribution requirements for air conditioning and ventilation system applications - Evaluate range of air conditioning and ventilation systems in accordance with given applications. - Evaluate mechanical services drawings and interpret. - Evaluate health risks that may arise due to poor maintenance of air conditioning and ventilation systems - Specify minimum performance requirements for several different air conditioning and ventilation systems. - Evaluate manufacturer specifications and technical manuals for suitability for a range of design applications. |
| CU2. Plan system components | - Plan appropriate zoning of air conditioning and ventilation systems to comply with given specific performance objectives. - Specify air conditioning units for optimum performance with reference to legislation, standards and other relevant documentation. - Specify fan types for a range of applications with reference to legislation, standards and other relevant documentation. - Plan air diversion systems, including registers, to ensure a balanced system with reference to legislation, standards and other relevant documentation. - Plan required ventilation and duct work components and specify locations with reference to legislation, standards and other relevant documentation. - Specify approved materials for air conditioning and ventilation systems are specified. - Complete plans and drawings using standard drawing symbols related to air conditioning and ventilation in accordance with legislation, standards and other relevant documentation. |
| CU3. Design and size systems | - Calculate volume air changes per hour from given floor plans and details. - Specify methods for eliminating health risks from existing or proposed systems with reference to legislation, standards and other relevant documentation. - Design and size range of air conditioning and ventilation systems for given applications. |
| CU4. Test systems. | - Evaluate test procedures for air conditioning and ventilation systems are evaluated. - Conduct tests using appropriate testing equipment, record results and prepare report. - Plan, design and specify adjustments required as a result of testing. |
| CU5. Prepare documentation. | - Develop appropriate checklist, including formulas required to carry out an air balance to a given specification. - Prepare plans for a range of air conditioning and ventilation systems. - Prepare specification for an air conditioning and ventilation system. - Prepare testing and commissioning schedule. - Produce operation and maintenance manual. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe air psychometrics and the use of psychometric charts

- Explain standards, manufacturer specifications, Building Code and other applicable codes or standard operating procedures relevant to the sector

- Describe OHS and organisational quality procedures and processes

- Explain hazards associated with devices and systems used in the hydraulic sector

- Calculate heat load

- Describe installation methods used in hydraulic systems

- Define various terminology and definitions used in hydraulic design

- Knowledge on work drawings and specifications.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Establishing And Evaluating Design Parameters For A Range Of Air Conditioning And Ventilation Systems

- Planning System Components For A Range Of Air-Conditioning And Ventilation Systems, Including:

  - Air Conditioning Units

  - Ducting Systems

  - Fans

  - Designing And Sizing A Range Of Air Conditioning And Ventilation Systems For Given Applications

- Developing An Appropriate Checklist For Tests Tube Carried Out On The System, Including Formulas Required To Carry Out An Air Balance

- Conducting Tests, Recording And Evaluating Test Results And Preparing A Report

- Preparing Plans For A Range Of Air Conditioning And Ventilation Systems

- Preparing Specifications For Air Conditioning And Ventilation Systems

- Preparing Testing And Commissioning Schedules For Air Conditioning And Ventilation Systems

- Preparing Operation And Maintenance Manuals For Air Conditioning And Ventilation Systems

Tools and Equipment

- Air Pressure Gauge

- Air Velocity Gauge

- Air Volume Gauge

- Humidity Gauge

- Pitot Tubes

- Sound Power Levels

- Temperature.

    - Design acoustic of an auditorium

Overview: This competency standard covers the skills and knowledge required to design acoustic of an auditorium

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify dimensions of hall for acoustic design | - Identify site of hall. - Make orientation, layout and structural design to keep noise within specification. - Set floor area and height to get volume of hall as per specification. - Set the floor plan as per use of hall |
| CU2. Design the seating plan | P1. Identify the distance of first line as per specified angle. P2. Set the width of seat and distance between two seats P3. Set the distance of last line from curtain line. P4. Set the height of adjacent seats. |
| CU2. Design surfaces of hall | P1. Design internal surface of roof false ceiling as per specification. P2. Design internal surfaces of walls as per specifications. P3. Set the reverberation as per use of hall according to specifications. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define terms: sound, pitch, loudness, tone, intensity of sound, reflection of sound, reverberation, line of reverberation, transmission of sound, and absorption of sound.

- Describe factors to be considered in acoustics of building

- Describe characteristics of various types of sound absorbing materials

- Describe design requirements of an auditorium

- Describe principles to be observed in the acoustics design of an auditorium

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Drawing of acoustically designed hall

Tools and Equipment:

- Drawing tools

- Drawing sheets

    - Insulate sound insulation products in building

Overview: This competency standard covers the skills and knowledge required to insulate sound insulation products in building

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for installing insulation material | P1. Obtain and confirm work instructions and relevant information for planning and preparation purposes. P2. Undertake risk assessment to identify existing risks and hazards in the work area, including electrical risks and hazards. P3. Document identified risks and undertake appropriate response according to safety requirements. P4. Confirm insulating material and insulation requirements in accordance with work specifications. P5. Identify appropriate personal protective equipment (PPE) and clothing according to organisational policies and procedures. P6. Select tools and equipment appropriate to the requirements of the work, confirm for serviceability, and report for repair or replacement where not serviceable. P7. Determine associated material and organise ready for use according to quality requirements and work plans and specifications |
| CU2. Install insulation | - Measure insulation material accurately - Install insulation using approved processes and handling techniques - Install insulation safely without damage or distortion of the surrounding environment, electrical and other services and in a manner that maximises safety of self and others. |
| CU3. Complete installation | - Conduct final inspections to ensure installed ceiling insulation conforms to job and manufacturer specifications. - Clean work area and disposed of materials, reused or recycled according to organisational, safety and environmental requirements. - Clean, check, maintain and store tools and equipment according to manufacturer specifications and organisational procedures. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define sound insulation

- Explain physical measurement of sound

- Define reverberation of echo

- Describe use of ray diagram and echo

- Explain common acoustical defects and remedies of conference hall

- Define acoustic materials

- Explain methods of sound insulation of buildings

- Recommend different types of buildings for good acoustics

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Sound insulated building designed as per specifications

Tools and Equipment

- Sound insulation material according to job

- PPE’s

    - Install ceiling insulation

Overview: This competency standard covers the skills and knowledge required to install ceiling insulation

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify legislative, regulatory, and organisational requirements. | - Identify and comply with safety and applicable legislative requirements - Identify and comply with organisational environmental and safety plans and policies according to organisational requirements. - Identify and apply safe work methods and practices according to organisational safety plans and policies. - Identify and apply environmental requirements are according to organisational environmental plans and regulatory requirements. - Identify and carry out emergency response and evacuation procedures when required. |
| CU2. Plan and prepare for installing insulation | - Obtain and confirm work instructions and relevant information for planning and preparation purposes. - Undertake risk assessment to identify existing risks and hazards in the work area, including electrical risks and hazards. - Document identified risks and undertake appropriate response according to safety requirements. - Confirm ceiling insulating material and insulation requirements in accordance with work specifications. - Identify, fit correctly and use appropriate personal protective equipment (PPE) and clothing according to organisational policies and procedures. - Select tools and equipment appropriate to the requirements of the work, confirm for serviceability, and report for repair or replacement where not serviceable. - Determine associated material and organise ready for use according to quality requirements and work plans and specifications |
| CU3. Install ceiling insulation | - Measure insulation material accurately to minimise waste. - Install insulation using approved processes and handling techniques according to manufacturer specifications and relevant electrical and building regulations - Use dust-suppression procedures to minimise health risk in work area to self and others. - Install insulation safely without damage or distortion of the surrounding environment, electrical and other services and in a manner that maximises safety of self and others. - Identify and report variations and difficulties affecting performance or quality requirements of own work. |
| CU4. Complete installation. | - Conduct final inspections to ensure installed ceiling insulation conforms to job and manufacturer specifications. - Make notification of work completion to designated personnel according to organisational procedures. - Clean work area and disposed of materials, reused or recycled according to organisational, safety and environmental requirements. - Clean, check, maintain and store tools and equipment according to manufacturer specifications and organisational procedures. - Document and report malfunctions, faults, wear or damage to tools, equipment and site accurately for repair or replacement according to organisational procedures |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe appropriate PPE and their use to reduce injury and electric shock

- Explain ceiling insulation material types and quality requirements

- Define common health and safety risks associated with handling ceiling insulation

- Explain common workplace safety hazards and risks, and procedures for reporting these to designated personnel

- Describe emergency response and evacuation procedures

- Define hierarchy of hazard control legislation, regulation and building codes related to ceiling insulation and safe work method statements

- Explain methods for calculating insulation material quantities

- Describe organisational requirements and procedures relating to ceiling insulation installation, including requirements for a systematic approach to planning own work

- Explain procedures to safely use equipment, shift and handle products and materials, and work at heights and in enclosed areas

- Describe tools and equipment prohibited for use near identified asbestos-containing materials (ACM)

- Define type and purpose of tags and logs of use for equipment

- Describe reason for the operating temperature limit of electrical cables

- Explain effect on cables partially surrounded by thermal insulation and fully surrounded by thermal insulation

- Describe common wiring systems used in domestic premises indicating the age of the installation

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Apply knowledge of industry products to identify:

- Common Faults And Problems

- Manufacturer Specifications In Relation To Insulation

- Properties Of The Available Product

- Manufacturer Components And Materials

Apply Knowledge for the Safe Installation of Thermal Insulation In Relation To Electrical Equipment, Including:

- Effects Of Thermal Insulation On Cables

- Wiring Likely To Be Adversely Affected By The

- Retrospective Installation Of Thermal Insulation

- Clearance Of Thermal Insulation From Recessed Own Lights And Ancillary Equipment Complete A Risk Assessment Sheet For Each Installation Which Documents:

  - Whether The Wiring System Is Compatible With Thermal Insulation

  - Number Of Recess Luminaires In Ceiling And How The Clearances Are To Be Met

  - Electrical Hazards, And Measures Taken To Eliminate Them

  - Relevant Work Instructions

  - Communicate And Work Effectively And Safely With Others

  - Comply With Organisational Policies And Procedures, Including Quality Requirements

  - Comply With Site Safety Plan And Ohs Legislation, Regulations And Codes Of Practice Applicable To Workplace Operations

  - Follow Work Instructions, Operating Procedures And Inspection Practices To:

  - Maintain Workplace Records In Relation To Materials, Plant And Equipment Use

  - Modify Work Activities To Cater For Variations In Workplace Procedures, Personnel, Contexts And Environment Prevent Damage To The Environment, Equipment, Products, Or Site Select And Use Appropriate Ppe

  - Work Effectively Alone Or With Others And Operate With Minimal Supervision

  - Select And Use Non-Conductive And Insulated Tools And Materials To Minimise Electrical Hazards

  - Locate, Interpret And Apply Relevant Information, Standards And Specifications

  - Select And Install Ceiling Insulation On At Least Two Occasions Within Agreed Timeframes And Standards Using Safe Handling Methods For Materials And Equipment.

Tools and Equipment

- Broad Knives

- Brooms

- Caulking Guns

- Electric Screw Guns

- Hammers

- Hand Saws

- Keyhole Saws

- Ladders

- Manual Levelling Devices

- Measuring Tapes And Rules

- Nail Bags

- Power Drills

- Power Leads

- Power Saws

- Spanners

- Spirit Levels

- T Squares

- Taping Knives

- Tin Snips

- Trestles

- Trowels

Non-Conductive And Insulated Tools May Include:

- Air Compressors And Hoses

- Clamps

- Docking Saw And Drop Saws

- Laser Levelling Devices

- Masonry Drills

- Nail Guns

- Pop Riveters

- Scaffolding & Planks.

    - Design an earthquake resistant building

Overview: This competency standard covers the skills and knowledge required to design of earthquake resistant building

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify principles of earthquake resistant buildings | P1. Obtain plans and specifications P2. Identify building configuration like lightness standards, symmetry, projections and size of building P3. Identify enclosed area P4. Design slopes, foundation and ductility |
| CU2. Identify seismic strengthening arrangements in building | P1. Obtain plans and specifications P2. Identify building material as per specifications P3. Identify horizontal reinforcement at lintel, plinth, gable and roof level P4. Identify vertical reinforcement as per specification P5. Prepare drawing |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- State Reid’s elastic theory, theory of plate tectonics, seismic waves, earthquake size local site effects, internal structure of earth, classification of earth quake tsunami

- Describe different seismic zones.

- Explain seismic design parameters.

- Explain seism resistant building architecture.

- State ductility consideration in earthquake resistant design of building.

- Explain construction of project in different seismic zones

- Describe methods and materials of construction.

- Describe principles to be observed while planning, designing and construction of earthquake resisting buildings.

- Describe precautions to be taken in planning, designing and construction of buildings in seismic zones.

Critical Evidence(s) Required

- The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

  - Drawing of seismic resistant building designed as per specifications

Tools and Equipment

- Drawing tools

- Drawing sheets

    - Coordinate maintenance and repair of buildings

Overview: This competency standard covers the skills and knowledge required to coordinate maintenance and repair of buildings

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan repair or maintenance operation | - Review and confirm repair or maintenance requirements with relevant people according to organisational requirements. - Determine and arrange repair or maintenance resource requirements according to work order and budgetary requirements. - Identify site access and specific site requirements are identified and make appropriate arrangements according to client, organisational and legislative requirements. - Prepare work order and plan contingencies to ensure client and organisational requirements are met in an efficient and effective manner. - Recognise and satisfy client and tenant safety and security requirements in provision of services. - Establish communication channels and processes and agree with relevant people according to organisational requirements. |
| CU2. Coordinate repair or maintenance operation. | - Repair or maintenance operation is monitored against work schedules to ensure completion occurs within designated timeframes. - Identify factors affecting achievement of scheduled work are identified and required variations to schedules are negotiated and agreed with relevant people. - Establish communication channels and processes are used to ensure accurate exchange of information throughout operation. - Identify situations requiring specialist advice are identified and assistance is sought as required according to organisational requirements. |
| CU3. Check and record completed operation. | - Receive notification of completed repair or maintenance and check against client and organisational requirements. - Arrange inspection to confirm repair or maintenance is fully operational and meets performance specifications and industry standards. - Verify faults, errors or omissions and determine and arrange prompt remedial action with relevant people according to organisational requirements. - Use business equipment and technology to maintain relevant documentation according to applicable OHS, legislative and organisational requirements. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Basic knowledge of property contracts and administrative requirements

- Describe building codes and relevant standards

- Explain building control legislation

- Describe common hazards to personal and public safety associated with particular types of maintenance work in buildings

- Explain limitations of work role, responsibility and professional abilities

- Explain OHS issues and requirements

- Describe organisational and professional procedures, ethical practices and business standards

- Define points of contact with emergency service agencies

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Inspecting completed work against work order and ensuring remedial action for faults, errors or omissions

- Monitoring maintenance and repair work ensuring effective communication exchange and identification of factors requiring variations to work schedules

- Knowledge of organisation's practices, ethical standards and legislative requirements associated with planning and coordinating the repair, maintenance and modification of properties and facilities

- Planning maintenance and repair work ensuring client and tenant safety and security, and resource requirements are according to budgetary parameters

- Responding appropriately to requests for maintenance and repair work and maintaining adequate records and reports.

    - Assess construction faults in buildings

Overview: This competency standard covers the skills and knowledge required to assess construction faults in buildings

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify and analyse construction faults on building sites up to three storeys | - Collect information relating to the specific building construction problem. - Identify construction problem for the type of construction relative to original specifications and building material. - Communicate construction faults to appropriate personnel and document in accordance with standard work practices. - Use problem solving techniques, identify typical faults and problems and action to rectify is deemed to be in accordance with the Building codes. |
| CU2. Identify construction techniques, methods and materials nominated in relevant legislation in the Building codes and standard | - Use building terminology accurately in the communication of issues. - Examine working drawings and specifications and identify and evaluate existing or designed construction problems - Prepare alternative methods and materials to meet construction aims and objectives to the specification nominated in relevant legislation in the Building codes and standards. - Prepare detailed sketches of available alternative methods and materials available to meet the construction aims and objectives to specification. |
| CU3. Resolve construction faults in construction techniques and methods | - Evaluate project working drawings and specifications identifying existing or designed construction problems. - Prepare report identifying available alternative methods and materials to meet the construction aims and objectives to specification. - Prepare detailed sketches of available alternative methods and materials available to meet the construction aims and objectives to specification. |
| CU4. Resolve construction faults using alternative construction methods. | - Evaluate suitable methods from available alternative solutions and recommend to resolve the problem in accordance with project aims and objectives. - Integrate selected methods into the project in order to resolve the construction problems in accordance with project aims. - Carry out evaluation of available alternative forms of construction is carried out in accordance with project aims. |
| CU5. Resolve common on-site faults with building materials. | - Evaluate commonly occurring on-site problems with building materials and their causes. - Identify and implement corrective and preventative measures. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Enlist authorities and powers of a building surveyor

- Describe design and construction principles of buildings

- Explain nature of materials and effect on performance

- Describe processes for the administration and preparation of documentation

- Describe processes for the interpretation of reports, working drawings and specifications

- Explain relevant federal, state or territory legislation and local government policy and procedures

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Comply with OHS regulations applicable to workplace operations

- Apply organisational management policies and procedures, including quality assurance requirements where appropriate

- Assess construction faults in buildings, determine a rectification strategy and consider alternative construction methods; and the associated reporting of data, findings, recommendations and strategies for at least one residential building project and one commercial building project or equivalent in compliance with relevant legislation

- Provide reports to appropriate body/individual as determined by the project brief.

    - Repair and rectify concrete

Overview: This competency standard covers the skills and knowledge required to repair and rectify concrete

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for work | - Identify, confirm and apply work instructions, work health and safety (WHS) requirements and other information relevant to the work for planning and preparation purposes. - Select plant, tools and equipment consistent with job - Requirements check for serviceability, and rectify faults and report before work begins. - Identify and calculate material quantity requirements according to plans, specifications and quality requirements. - Obtain, prepare, handle safely and locate materials appropriate to the work application ready for use. - Identify environmental requirements for the project according to environmental plans and regulatory requirements. |
| CU2. Carry out minor repairs. | - Identify Types of surfaces that may require repair and categorise repair work as major repairs or minor repairs. - Repair colour variations by applying a concrete staining agent. - Repair effects of dusting by applying an appropriate surface hardener/dust inhibiting agent or removing the weak top layer. - Repair damaged or blistered concrete either by grinding or topping. - Apply repair mortars and self-levelling floor compounds according to manufacturer specifications. - Apply sealers and coloured paints to concrete surfaces according to manufacturer specifications. |
| CU3. Repair cracks and other major defects. | - Determine and rectify root cause of defect. - Prepare concrete and apply flexible epoxy resins to manufacturer specification. - Apply toppings to concrete using correct materials and techniques. - Apply acid etching and cleaning safely according to manufacturer requirements |
| CU4. Clean-up work site area | P1. Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe types, location and use of relevant safety resources and information:

- Explain job safety analyses (JSA) and safe work method statements (SWMS)

- Describe safety data sheets (SDS)

- Define signage and barricades

- Describe principles and processes for general concreting work:

- Describe materials and techniques for repairing concrete

- Explain preparation and placement of formwork and reinforcement

- Describe use of control joints

- Explain levelling techniques

- Define mortar mix composition and additives

- Describe placing and finishing of concrete to ensure timely completion of job within quality requirements and specifications

- Define general construction terminology

- Explain processes for material storage and environmentally friendly waste management

- Describe processes for calculating material requirements

- Explain quality requirements relevant to the repair and rectification of concrete

- Describe operational, maintenance and basic diagnostic procedures

- Knowledge on workplace and equipment safety requirements

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Identify and apply the correct repair method and top coat to a minimum of one square metre of affected area for three minor repairs and one major repair listed in the range statement

- Remove a section or whole defective area of concrete, cleaning and preparing the affected area and applying the necessary bonding

- Locate, interpret and apply relevant information, standards and specifications relating to repairing and rectifying concrete

- Comply with site safety plans and procedures

- Comply with organisational policies and procedures relating to repairing and rectifying concrete while maintaining quality requirements

- Safely and effectively operate and use plant, tools and equipment required to repair and rectify concrete

- Communicate and work effectively and safely with others at each stage of the process to repair concrete.

Tools and Equipment

- Brooms

- Concrete Mixers

- Floats

- Grinders

- Hoses

- Polishers

- Rollers

- Screeds

- Shovels

- Trowels, Including Power Trowels

- Water Blasters

- Wheel Barrows.

    - Repair wall and floor tiles

Overview: This competency standard covers the skills and knowledge required to repair wall and floor tiles

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and prepare for work | - Identify, confirm and apply work instructions, work health and safety (WHS) requirements and other information relevant to the work for planning and preparation purposes. - Select plant, tools and equipment consistent with job - Requirements check for serviceability, and rectify faults and report before work begins. - Identify and calculate material quantity requirements according to plans, specifications and quality requirements. - Obtain, prepare, handle safely and locate materials appropriate to the work application ready for use. - Identify environmental requirements for the project according to environmental plans and regulatory requirements. |
| CU2. Repair damaged Tile work | - Remove damaged or defective tiles avoiding damage to surrounding tiles. - Clean old bedding and clear to allow placement of replacement tile. - Select replacement tiles and cut where applicable to match existing face, size, colour and pattern. - Fit tiles are fit and fix to maintain alignment with joints to uniform spacing. - Carry out grouting and clean tile face to specified finish. |
| CU4. Clean-up work site area | P1. Clear work are by disposing of materials (reused or recycled) in accordance to legislation and regulations P2. Clean, check, maintain and store tools and equipment according to requirement |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain job safety analysis (JSA) and safe work method statements

- Describe material safety data sheets (MSDS) and hazards associated with solvents, adhesives and cement or epoxy-based grouts

- Describe materials storage and environmentally friendly waste management

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Locate, interpret and apply relevant information, standards and specifications

- Comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations

- Comply with organisational policies and procedures including quality requirements

- Safely and effectively operate and use tools, plant and equipment

- Communicate and work effectively and safely with others

- As a minimum remove and replace a quantity of damaged wall tiles, which are fixed with adhesive bedding; and remove and replace a quantity of damaged floor tiles, which are fixed with mortar bedding, ensuring:

  - Correct identification of requirement and replacement of the tiles

  - Correct selection and use of appropriate processes, tools and equipment

  - Completing all work to specification

  - Compliance with regulations, standards and organisational quality procedures and processes.

Tools and Equipment

- Broom

- Brushes

- Buckets

- Caulking Guns

- Cement Sheet Cutters

- Hammers

- Hose And Water Sprays

- Ladders

- Levelling Equipment

- Lump Hammers

- Measuring Tapes And Rules

- Mortar Boards

- Nippers

- Pointed Grouters

- Power Drills

- Power Leads

- Rags

- Rubber Mallets

- Sanding Blocks

- Saws

- Scrapers

- Shovels

- Spacers And Wedges

- Spatulas

- Sponges

- Squares

- Squeegees

- Straight Edges

- String Lines

- Tile Cutters And Scribes

- Trowels

- Wet And Dry Diamond Saws

- Wheelbarrows

- Wire Brushes

- Wooden Floats May Include:

- Concrete Mixers

- Masonry Drill Bits

- Power Grinders

- Power Sander

    - Apply building codes and standards to building projects

Overview: This competency standard covers the skills and knowledge required to apply building codes and standards to building projects

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Access and interpret relevant codes and standard requirements | - Identify relevant performance requirements from the Building codes that apply to individual projects (described as low rise). - Determine requirements of relevant Building codes deemed-to-satisfy (DTS) provisions. - Assess and interpret requirements of relevant standards referenced in the Building codes accordingly. |
| CU2.2. Classify buildings | - Determine nature of a building according to its use and arrangement. - Apply building codes criteria to determine the defined classification - Identify and interpret building codes requirements for multiple classification |
| CU3. Analyse and apply a Range of solutions to a construction problem for compliance with the building codes. | - Determine range of criteria that will ensure that construction methods comply with building codes performance requirements. - Discuss and propose alternative solutions to a design or construction problem that will comply with building codes requirements in accordance with company policies and procedures. - Identify performance-based solutions and document in accordance with Building codes requirements. - Analyse and apply assessment methods referenced in the building codes to determine whether a building solution complies with performance requirements or DTS provision of the building codes - Identify and complete relevant documentation in accordance with building codes requirements. |
| CU4. Apply fire protection Requirements. | - Identify and apply passive and active fire control elements for low rise building required by the building codes and other legislation - Determine level of fire resistance required for the construction of various low rise buildings. - Carry out check of existing buildings for compliance with passive and active fire protection requirements in accordance with building codes requirements. |

Knowledge & Understanding

The candidate must be able to develop skills and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe basic design principles and the behaviour of structures under stress, strain, compression, bending or combined actions

- Knowledge on Building codes performance hierarchy

- Define technical terms  specified under general provisions of building codes

- Explain general nature of materials and the effects of performance

- Knowledge on relevant LDA and other development authorities standards

- Explain relevant legislative and OHS requirements, codes and practices

- Knowledge on working drawings and specifications

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Comply with organisational quality procedures and processes

- Apply and interpret relevant documentation and codes

- Accurately apply building codes performance requirements relating to the design and construction of a building

- Understand assessment methods available to determine compliance with the BCA

- Identify faults and problems and proposed action to rectify.

Tools and Equipment

Different building codes like LDA, and other development authorities standards.

  - Concrete Technology

    - Test the Properties of Cement

Overview: This competency standard covers the skills and knowledge required to check fineness of cement, prepare cement paste of standard consistence, find out Initial setting time, final setting time, and soundness of cement,

| Competency Units | Performance Criteria |
| --- | --- |
| - Check fineness of cement | - Take standard weigh of cement sample - Sieve the sample on standard sieve. - Weigh residue retained - Find fineness by formula |
| - Prepare cement paste of standard consistence | - Identify the apparatus - Clean the tools - Weigh cement sample - Prepare cement paste and fill moulds. - Place the mould under Vicat apparatus. - Adjust zero reading - Drop the plunger and note reading till final value - Record the value of consistence |
| - Find out Initial setting time | - Weigh cement sample - Prepare paste of cement. - Start the stop watch. - Fill the moulds - Put the mould under vicat apparatus. - Drop the needle and note reading till final value is attained. - Record initial setting time. |
| - Find out final setting time | - Replace the needle with the needle having circular attachment - Note the time when needle leave the impression only. Record final setting time |
| - Find soundness of cement | P1. Take sample. P2. Make paste with standard %age of water. P3. Fill the split cylinder in specified manner. P4. Measure distance between legs of apparatus after 24 hrs. P5. Put the sample in water and boil it for 3 hrs. P6. Find soundness by formula |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge to,

- Explain the properties of Cement

- Explain the role of chemicals in setting process and effects on strength due to variance in quantity in cement

- Explain the various properties (i.e. initial and final setting time. Soundness of cement, Compression strength of cement and Tensile strength of cement etc.

Critical Evidence(s) required

The candidate needs to produce following critical evidence(s) in order to be competent in
this competency standard:

- Observation and calculation sheet to determine fineness of cement.

- Capable to check the consistence of cement sample.

- Capable to check soundness of cement.

- Capable to check initial and final setting time.

List of Tools and Equipment

- BS-170  Sieve

- Sieve shaker

- Vicat Apparatus

- Le-chatlier Apparatus.

- Briquet Apparatus.

- Briquet Mould

- Digital Balance

- GI Tray

- Spatula

- Knife edge

- Digital Stop Watch

    - Find out Strength of Cement

Overview: This competency standard covers the skills and knowledge required to check compressive strength of cement and tensile strength of cement with Briquette apparatus

| Competency Units | Performance Criteria |
| --- | --- |
| - Find compressive strength of cement | - Measure the cement and sand by weight. - Mix the material thoroughly. - Add specified %age of water - Mix it for specific time. - Fill cube mould in specific manner. - Place the sample in atmosphere for specific time and then dip in fresh water. - Test the samples after 3,7, and 28 days - Record readings. - Plot the graph. |
| - Find tensile strength of cement with Briquette test | P1. Prepare cement paste with standard quantities. P2. Fill the moulds for 3 and 7 days. P3. Perform test on samples. P4. Record readings. P5. Plot the graph. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge to,

- Explain the properties of Cement

- Explain the role of chemicals in setting process and effects on strength due to  variance     in quantity  in cement

- Explain the various properties (i.e. initial and final setting time. Soundness of cement, compression strength of cement and tensile strength of cement etc.

Critical Evidence(s) required

The candidate needs to produce following critical evidence(s) in order to be competent in
this competency standard:

- Capable to determine fineness of cement.

- Capable to check the consistence of cement sample.

- Capable to check soundness of cement.

- Capable to check initial and final setting time.

- Capable to check compressive and tensile strength.

List of Tools and Equipment

- BS-170  Sieve

- Sieve shaker

- Vicat Apparatus

- Le-chatlier Apparatus.

- Briquet Apparatus.

- Briquet Mould

- Digital Balance

- GI Tray

- Spatula

- Knife edge

- Digital Stop Watch

    - Test the Properties of Aggregate

Overview: This competency standard covers the skills and knowledge required to find clay percentage in sand, particle size distribution of fine and coarse aggregates with sieve analysis, bulk density of aggregates, flakiness index of coarse aggregates, Elongation index of coarse aggregates and specific gravity of aggregates

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Find out clay percentage in sand. | - Collect sample of sand. - Prepare the solution in cylinder and add sand. - Take the reading and tabulate the percentage |
| CU2. Find out particle size distribution of fine and coarse aggregates with sieve analysis | - Arrange the sieve. - Put sample on sieve and shake it. - Weigh material retained on each sieve. - Draw grading curve with cumulative percentage retained. |
| CU3. Find out bulk density of aggregates | - Take the appropriate cylinder. - Put material in cylinder and weigh it. - Apply formula. |
| CU 4. Find out flakiness index of coarse aggregates | - Identify the apparatus. - Collect sample and sieve it. - Collect the retained material from two consecutive sieves. - Calculate the index. |
| CU5. Find out elongation index of coarse aggregates | - Identify the apparatus - Arrange the apparatus. - Collect sample and sieve it. - Collect the retained material from two consecutive sieves. - Calculate the index. |
| CU6. Find out of specific gravity of aggregates | - Collect the required sample and pour it in pycnometer. - Remove the entrapped air. - Perform the weighing procedure. - Oven dry the sample. - Use formula to calculate specific gravity |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge to:

- State classification of aggregates according to nature of formation, size and shape

- State the characteristics of good fine and course aggregates

- Explain the fine aggregates (Fineness, impurities) and on coarse aggregates (sieve analysis, Flakiness, elongation and Specific gravity).

K4   Explain the effects of bulking of sand.

K5   Define importance of gradation of aggregated.

Critical Evidence(s) required

The candidate needs to produce following critical evidence(s) in order to be competent in
this competency standard:

- Capable to determine clay percentage in sand.

- Capable to determine particle size distribution of fine and coarse aggregates with sieve analysis.

- Capable to check flakiness and  elongation index of fine and coarse aggregates

- Capable to check out bulk density of  aggregates

- Capable to check out of specific gravity   of aggregates.

List of Tools and Equipment

- Flakiness index gauge.

- Elongation index gauge.

- Specific gravity bottle.

- Moulds.

- Rod

- Sieves set

    - Test the Properties of Fresh Concrete

Overview: This competency standard covers the skills and knowledge required to check workability by slump cone, Check workability by compacting factor apparatus, prepare concrete cubes and cylinders vibrated and hand compacted hand mixed and machine mixed and with different water cement ratio.

| Competency Units | Performance Criteria |
| --- | --- |
| - Check workability by slump cone apparatus. | - Identify the apparatus - Weigh cement, sand, and aggregate according to ratio. - Mix the material properly - Add water for W/C. ratio - 0.4, 0.5, 0.55 and 0.6. - Oil the inner surface of cone - Fill it in 4 layers. - Remove the cone and measured the slump. |
| - Check workability by compacting factor apparatus | - Identify the apparatus. - Pour the concrete mix in Hooper’s in proper sequence. - Weigh the concrete. - Fill the cylinder in specified layers - Weigh compacted concrete. - Calculate the compacting factor by using formula. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain Ingredients of Concrete

- Explain difference between good and bad concrete.

- Explain the factor influencing concrete properties

- State different factors affecting the workability of concrete.

- State the different recommended values of slumps for various conditions of placements.

- Explain different methods of mix design, transportation of fresh concrete it’s placing and compaction.

Tool and equipment

- Concrete Drum Mixer

- Platform scale

- Slump Test Apparatus

- Compacting Factor Apparatus

- Mechanical Sieve Shaker

- Wheel Barrow

- Bucket

- Straight Edge

- Shovels with handle

- Spirit Level

- Mortar Pan

- Mixing Spoon Set

- Weigh balance

- Straight Edge

- Metallic Tape

    - Perform Destructive Tests on Hardened Concrete

Overview: This competency standard covers the skills and knowledge required to check find out compression strength of concrete using cubes and cylinders, Perform modules of rupture test on standard size beams, Perform Split cylinder test,

| Competency Units | Performance Criteria |
| --- | --- |
| - Calculate compressive strength of concrete (1:2:4) using cubes and cylinders | - Measure the cement and sand by weight. - Mix the material thoroughly. - Add specified %age of water - Fill mould in specific manner. - Place the sample in atmosphere for specific time, then dip in fresh water. - Test the samples after 3,7,14, and 28 days - Record readings. - Plot the graph. |
| - Perform modules of rupture test on standard size beams. | - Prepare the sample of concrete beam as per specification - Place the specimen on loading points. - Apply load at a constant rate. - Measure the cross section of the tested specimen at each end and at center to calculate average depth and height. - Calculate Flexural strength by using formula. |
| - Perform Split cylinder test | - Prepare the sample of concrete cylinder as per specifications. - Record the weight and dimensions of sample. - Place the specimen on compression testing machine With ply wood strips above and below. - Apply the continuous load within the range of 0.72 to 1.4 Mpa / Min. - Observed the failure pattern - Record the Flexural strength. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain Ingredients of Concrete

- Explain difference between good and bad concrete.

- Explain the factor influencing concrete properties

- State different factors affecting the workability of concrete.

- State the different recommended values of slumps for various conditions of placements.

- Describe the compressive strength of cube and Cylinder ,

- Explain the Tensile strength (split cylinder test), and Flexural strength  (Beam test),

- Describe non-destructive tests

- Explain different methods of mix design, transportation of fresh concrete its placing and compaction.

Tool and equipment

- Concrete Drum Mixer

- Platform scale

- Moulds 4”, 6”

- Concrete cylinder 6” dia

- Vibrating Table

- Wheel Barrow

- Bucket

- Straight Edge

- Shovels with handle

- Spirit Level

- Mortar Pan

- Mixing Spoon Set

- Weigh balance

- Straight Edge

- Metallic Tape

- Compression testing machine

    - Perform Non-Destructive Tests on Hardened Concrete

Overview: This competency standard covers the skills and knowledge required to perform non-destructive test by rebound hammer and Perform Rebar Detector test (NDT) for steel reinforcement

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform non-destructive test by rebound hammer | - Calibrate rebound hammer. - Set Rebound Hammer vertical to the surface. - Push hammer on surface. - Release the hammer and record the rebound number. - Find the compressive strength from graph. |
| CU 2. Perform Rebar Detector test (NDT) for steel reinforcement | - Identify the apparatus. - Operate the instrument on required surface. - Detect the steel its spacing and position. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain the factor influencing concrete properties

- Describe non-destructive tests

- Explain different methods of mix design, transportation of fresh concrete it’s placing and compaction.

Tool and equipment

- Rebound hammer.

- Rebar locator

  - Advanced Quantity Surveying

    - Produce Detailed Estimate of Water Tanks.

Overview: This competency standard covers the skills and knowledge required to prepare rough cost estimate and hydraulic statement for sewerage scheme. Detailed estimate of Rectangular masonary underground & surface tank, Detailed estimate of hexagonal masonary underground & surface tank, Detailed estimate of circular masonary & RCC underground tank and Detailed estimate of Rectangular RCC Over Head Water Reservoir.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare detailed estimate of masonary rectangular 8’ x 6’ underground water tank. | - Calculate quantities of excavation & foundation concrete for rectangular underground masonary tank. - Calculate the quantities of brick work & RCC work for rectangular underground masonary tank.. - Calculate the quantities of flooring concrete & plaster for rectangular underground masonary tank.. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes for rectangular underground masonary tank.. - Prepare abstract of cost for rectangular underground masonary tank.. |
| - Prepare detailed estimate of masonary hexagonal underground water tank internal side length=5 ft. | - Calculate quantities of excavation & foundation concrete masonary hexagonal underground water tank. - Calculate the quantities of brick work & RCC work masonary hexagonal underground water tank. - Calculate the quantities of flooring concrete & plaster masonary hexagonal underground water tank. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes masonary hexagonal underground water tank. - Prepare abstract of cost masonary hexagonal underground water tank. |
| - Prepare detailed estimate of masonary circular underground water tank 8 ft dia. | - Calculate quantities of excavation & foundation concrete masonary circular underground water tank. - Calculate the quantities of brick work & RCC work masonary circular underground water tank. - Calculate the quantities of flooring concrete & plaster masonary circular underground water tank. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes masonary circular underground water tank. - Prepare abstract of cost masonary circular underground water tank. |
| - Prepare detailed estimate of masonary rectangular surface water tank 4m X 2 m. | - Calculate quantities of excavation & foundation concrete masonary rectangular surface water tank. - Calculate the quantities of brick work & RCC work masonary rectangular surface water tank. - Calculate the quantities of flooring concrete & plaster masonary rectangular surface water tank. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes masonary rectangular surface water tank. - Prepare abstract of cost masonary rectangular surface water tank. |
| - Prepare detailed Estimate of masonary hexagonal surface water tank internal side length=1.7 m.. | - Calculate quantities of excavation & foundation concrete masonary hexagonal surface water tank. - Calculate the quantities of brick work & RCC work masonary hexagonal surface water tank. - Calculate the quantities of flooring concrete & plaster masonary hexagonal surface water tank. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes masonary hexagonal surface water tank. - Prepare abstract of cost masonary hexagonal surface water tank. |
| - Prepare detailed estimate of masonary circular surface water tank 2 m i/d. | - Calculate quantities of excavation & foundation concrete masonary circular surface water tank. - Calculate the quantities of brick work & RCC work masonary circular surface water tank. - Calculate the quantities of flooring concrete & plaster masonary circular surface water tank. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes masonary circular surface water tank. - Prepare abstract of cost masonary circular surface water tank. |
| - Prepare detailed estimate of RCC circular water tank 4m i/d. | - Calculate quantities of excavation & foundation concrete RCC circular water tank. - Calculate the quantities of RCC work RCC circular water tank. - Calculate the quantities of flooring concrete & plaster RCC circular water tank. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes RCC circular water tank. - Prepare abstract of cost RCC circular water tank. |
| - Prepare detailed Estimate of RCC square Overhead water tank14’ x 14’ x 9’ elevated at 40 ft height. | - Calculate quantities of excavation & foundation concrete of RCC square Overhead water tank. - Calculate the quantities of RCC work for footing of RCC square Overhead water tank. - Calculate the quantities of RCC work for columns, ring beams, landing slabs, base slab, top slab based on MRS of RCC square Overhead water tank. - Calculate the quantities of steel reinforcement & plaster of RCC square Overhead water tank. - Calculate the quantities inlet pipe, wash out pipe, over flow pipe, outlet pipes and valves of RCC square Overhead water tank. - Calculate the quantities of of iron steps/ ladder, manhole cover of RCC square Overhead water tank - Prepare abstract of cost of RCC square Overhead water tank. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Technical terms used in water tanks.

- Parts of tanks (Underground, surface, overhead water reservoir)

- Enlist different items of work for RCC & masonry Underground water tank.

- Enlist different items of work for masonary surface water tank.

- Enlist different items of work for RCC Over Head Reservoir.

- Instructions on calculation of quantities of different items of work.

- Instructions on preparation of Abstract of Cost.

- Enlist different works for RCC Over Head and Under Ground Water (polygonal with flat slab and Circular with segmental top slabs)

- Prepare bill of quantities and abstract of cost.

Critical evidence required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Detailed estimate of Rectangular masonary underground & surface tank.

Detailed estimate of hexagonal masonary underground & surface tank.

Detailed estimate of circular masonary & RCC underground tank.

Detailed estimate of Rectangular RCC Over Head Water Reservoir.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce Detailed Estimate of Wells.

Overview: This competency standard covers the skills and knowledge required to prepare detailed estimates of Persian well and tube well.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Calculate the quantities based on SMM /CSR for persian well. | - Calculate the quantities of excavation, cutting edge, well curb. - Calculate the quantities of masonary in steining of well, flooring surrounding of well and PCC on top of well. - Calculate the quantities of all items of sinking of well and surcharge weight. |  |
| - Prepare abstract of cost using rates from MRS/ CSR for persian well | - Put quantities of all items of work for Persian well in Abstract of Cost table and relevant rates. - Calculate the amount of each items of work and Sum up the amounts for Persian well. - Add premium/ contractor’s profit on amounts of relevant rates for Persian well. |  |
| - Calculate the quantities based on SMM /CSR for subhead No. 1 investigation of source. | - Calculate the quantities of Electric Resistivity Survey. - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples for investigation of source. - Prepare Abstract of cost for investigation of source. |  |
| - Calculate the quantities based on SMM /CSR for subhead No. 2 Boring & lowering of pipe for tube well. | - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. - Calculate the quantities of bail plug, strainer, blind pipe, shrouding. - Prepare Abstract of cost for lowering of pipe. |  |
| - Calculate the quantities based on SMM /CSR for subhead No. 3 pump and pumping machinery for tube well. | - Calculate the quantities of pump/ turbine with gear & motor, chlorination chamber, discharge gauge, chain pulley block. - Calculate the quantities of tool kit, steel tool cabinet, testing & development of tube well. - Prepare Abstract of cost for pump. |  |
| - Calculate the quantities based on SMM /CSR for subhead No. 4 pump room for tube well. | - Draw the centre lines in plan for pump room. - Sum up the lengths of centre lines. - Apply the principle of centre line method. - Calculate the quantities of items of work for building - Apply the principles of deduction for surface rendering. - Prepare Abstract of cost for pump. |  |
| - Calculate the quantities for subhead No. 5 external electrification for tube well. | - Calculate the quantities of electric poles, bared twisted cables, and transformer. - Calculate the quantities of electric energy meter, main switch, starter and internal electrification. - Prepare Abstract of cost for external electrification. |  |
| - Prepare Summary for abstract of costs for Tube well. | - Put all costs for five sub-heads of tube well. - Sum up the amounts of tube well. |  |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required:

- Define well, Persian well and tube well.

- State the different parts of Persian well.

- Enlist the items of work for estimation of Persian well.

- Enlist the items unit of measurement and units of rate for Persian well.

- Apply principles of geometry and mensuration to calculate quantities.

- Apply the procedure for preparation of abstract of cost Persian well.

- State the different subheads wise parts of tube well.

- Enlist the items of work with measuring for estimation of tube well- investigation of source, Boring & lowering of pipe, pump and pumping machinery, pump room and external electrification

- Apply principles of geometry and mensuration to calculate quantities.

- Apply the procedure for preparation of abstract of cost for all subheads and summary of abstract of cost for tube well.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of Persian well.

- Detailed estimate of tube well.

Instruments & Consumables 1	Calculator, 2	Ruler, 3	Pencil.

    - Produce Detailed Estimate of Steel Structures

Overview: This competency standard covers the skills and knowledge required to prepare detailed estimate of Steel Trussed Shed and steel plate Girder Bridge.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Measure quantities for construction of Steel Trussed Shed 60 ft x 40’. | - Draw the abstract of quantities table for shed. - Calculate quantities of Structural Steel. - Calculate the quantities for painting. - Calculate the quantities for Roofing. - Calculate the quantities for Ridging & Gutter. - Calculate the quantities for Rain water down pipes & Bottom khurra. - Prepare Bill of Quantities for shed. |
| - Prepare Abstract of Cost of Steel Trussed Shed 60 ft x 40ft. | - Put quantities of all items of work and relevant rates in abstract of cost table for shed. - Calculate the amount of each items of work and sum up the amounts for shed. - Add premium/ contractor’s profit on amounts of relevant rates for shed. - Sum up the amounts and add contingencies for shed. - Add building Services charges for the building for shed. |
| - Measure quantities for construction of 16 ft Steel Plate Girder Bridge. | - Draw the abstract of quantities table for steel plate girder. - Calculate unit length weights of iron sections. - Calculate quantities of Structural Steel and plates. - Calculate the quantities for painting to bridge. - Calculate quantities of, plates, sheets, spout. - Prepare Bill of Quantities for bridge. |
| - Measure quantities for construction of 16 ft Steel Plate Girder Bridge. | - Put quantities of all items of work and relevant rates in abstract of cost table for bridge. - Calculate the amount of each items of work and sum up the amounts for shed. - Add premium/ contractor’s profit on amounts of relevant rates for bridge. - Sum up the amounts and add contingencies for bridge. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Truss and parts of Truss.

- Enlist and define parts of shed (roofing only).

- Describe the procedure of calculating unit weight of iron sections and plates.

- Describe the procedure of calculating of items of work of steel trussed shed.

- Workout quantities and cost of steel roof trussed shed of size 60ft x 100 ft.

- Define steel plate girder and steel plate Girder Bridge.

- Enlist and define parts of steel plate Girder Bridge.

- Estimation of single span plate girder steel bridge 16’ span

- Describe the procedure of calculating of items of work of steel plate Girder Bridge.

- Working out of quantities of different items of work for steel plate Girder Bridge.

- Detailed Estimate of Steel plate girder bridge

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of a small two storeyed R. C. C. frame structure building.

- Detailed estimate of Steel Trussed Shed.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce Detailed Estimate of RCC Framed Structure

Overview: This competency standard covers the skills and knowledge required to prepare estimate of a small two storeyed R. C. C. frame structure building.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Measure quantities of a small two storeyed R. C. C. frame structure building having 2 rooms, 1 kitchen and 1 bath at each floor. | - Draw the abstract of quantities table. - Calculate quantities of RCC concrete for the frame. - Calculate the quantities for Brick work and DPC. - Calculate the quantities for Roofing. - Calculate the quantities for Surface Rendering. - Calculate the quantities for flooring. - Calculate the quantities for Doors & Windows. - Prepare Bill of Quantities. |
| - Prepare bar bending schedule for RCC structures of small two storeyed R. C. C. frame structure building. | - Calculate number of bars for each structure. - Calculate length of bars for each structure. - Calculate unit length weight for each dia. of bar. - Draw table of bar bending schedule. - Put the calculations in the table of schedule of bar. - Perform calculations to calculate weight for each type of bar and total weight. |
| - Prepare Abstract of cost of small two storeyed R. C. C. frame structure building | - Put quantities of all items of work and relevant rates in Abstract of cost table. - Calculate the amount of each items of work and sum up the amounts. - Add premium/ contractor’s profit on amounts of relevant rates. - Sum up the amounts and add contingencies. - Add building Services charges for the building. - Add other centage charges for the building. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Framed Structure building.

- Describe components of framed structure.

- Enlist different items of work for RCC Framed Structure Buildings along with unit of measurement and unit of rate.

- Know procedure on Calculation of quantities of different items of work. including steel reinforcement

- Prepare schedule of bars for RCC column bases, columns, beams, slabs, lintels and stairs.

- Prepare of Abstract of Cost & Bar schedule.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate of a small two storeyed R. C. C. frame structure building.

- Schedule of bars for RCC column bases, columns, beams, slabs, lintels and stairs.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce Detailed Estimate of Building Services.

Overview: This competency standard covers the skills and knowledge required to prepare detailed estimate of Water supply installations, sanitary installation, Electrification, Telephone and cable and Gas installations.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare detailed estimate of water supply installations in C class building. | - Calculate quantities of pipes for water supply. - Calculate the quantities of valves, cocks & showers. - Calculate the quantities of mixers, taps, water filter system. - Calculate the quantities of tank & taps. - Prepare abstract of cost for water supply. |
| - Prepare detailed estimate of sanitary installations in C class building. | - Calculate quantities of sewer pipes for sanitary installations. - Calculate the quantities of W.C., Basin, Urinal, Tub. - Calculate the quantities of Sink, Toilet paper holder, towel rail, soap dish, shelf, gulley trap & vent pipe. - Calculate the quantities of tooth brush stand. - Prepare abstract of cost for sanitary installations. |
| - Prepare detailed estimate of internal electrification installations in C class building. | - Calculate quantities of cables & wires, conduits, duct. - Calculate the quantities of switches, sockets, plugs, bulb holders, ceiling rose, boards, & main switch. - Calculate the quantities of Circuit breaker, voltmeter, hooks, fans, fancy lights, water tight set, energy meter. - Calculate the quantities of panel box, indicator. - Prepare abstract of cost for electric installations. |
| - Prepare detailed estimate of gas installations in C class building. | - Calculate quantities of pipes for gas. - Calculate the quantities of valves, gas meter. - Calculate the quantities of burner, geezer, heater - Prepare abstract of cost for gas. |
| - Prepare detailed estimate of telephone & cable installations in C class building. | - Calculate quantities of cables & wires, conduits, duct for telephone and cable. - Calculate the quantities of socket, boards, & connectors. - Prepare abstract of cost for phone and cable. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define building services.

- State different types of building services- Water supply installations, Sanitary installation, Electrification, Telephone and cable and Gas installations.

- Enlist items of work with measuring unit for Water supply installations, Sanitary installation, Electrification, Telephone and cable and Gas installations.

- Instruction regarding preparation of detailed estimate for Water supply installations, Sanitary installation, Electrification, Telephone and cable and Gas installations.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed Estimate of Water supply installations for C class building.

- Detailed Estimate of Sanitary installation for C class building.

- Detailed Estimate of Electrification for C class building.

- Detailed Estimate of Telephone and cable for C class building.

- Detailed Estimate of Gas installations for C class building.

Instruments & Consumables

1	Calculator

2	Ruler

3	Pencil

    - Produce Detailed Estimates Using Computer Software -Excel.

Overview: This competency standard covers the skills and knowledge required to Prepare Estimate of framed structure building, detailed estimate for rectangular masonry underground water tank, detailed estimate for Segmental arch masonry bridge, detailed estimate for Building Services, detailed estimate for Tube well and Persian well, hydraulic statement of water supply and sewerage schemes, Earthwork calculations, Bituminous Road, materials statement and Rate analysis of brick work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare detailed estimate for framed structure class room in MS EXCEL | - Load the EXCEL and prepare abstract of quantities table. - Type the measurements in number, length, breadth & height for each item of work for framed structure class room. - Type relevant formula for area, volume and other elements. - Type the formula for quantities and format the measurements & quantities. - Take out totals and net totals of quantities. - Prepare schedule of bars for columns, beams, slabs and lintels for framed structure class room. - Put quantity of each item of work and type relevant rates from the MRS/ CSR in abstract of cost table. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. |
| - Prepare detailed estimate for rectangular masonary underground water tank in MS EXCEL. | - Load the EXCEL and prepare abstract of quantities table. - Type the measurements in number, length, breadth & height for each item of work for rectangular masonary underground water tank. - Type relevant formula for area, volume and other elements. - Type the formula for quantities and format the measurements & quantities. - Take out totals and net totals of quantities. - Prepare schedule of bars for slab of rectangular masonary underground water tank. - Put quantity of each item of work and type relevant rates from the MRS/ CSR in abstract of cost table. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. |
| - Prepare detailed estimate for Segmental arch masonary bridge in MS EXCEL. | - Load the EXCEL and prepare abstract of quantities table. - Type the measurements in number, length, breadth & height for each item of work for Segmental arch masonary bridge. - Type relevant formula for area, volume and other elements. - Type the formula for quantities and format the measurements & quantities. - Take out totals and net totals of quantities. - Put quantity of each item of work and type relevant rates from the MRS/ CSR in abstract of cost table. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. |
| - Prepare detailed estimate for Building Services in MS EXCEL. | - Prepare Detailed Estimate of Water supply installations for C class building. - Prepare Detailed Estimate of Sanitary installation for C class building. - Prepare Detailed Estimate of Electrification for C class building. - Prepare Detailed Estimate of Telephone and cable for C class building. - Prepare Detailed Estimate of Gas installations for C class building. |
| - Prepare detailed estimate for Tube well and Persian well in MS EXCEL. | - Type the measurements of subheads 1 to 5 for tube well and Persian well and type formula for quantities. - Put quantity of each item of work and type relevant rates from the MRS/ CSR in abstract of cost. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. |
| - Prepare hydraulic statement of water supply and sewerage schemes in MS EXCEL | - Draw the table and prepare Hydraulic statement of water supply in MS EXCEL having column headings Sr.#. Name of line (1-2), Length of Line (Rft), Area to be served(Own Area, Other Area, Total Area), Density of Population @34 persons, Discharge @ 8 gal/head/ hour for 9 hours, Peak Demand @ 2.25 times, Proposed dia of Pipe, Velocity ft'/sec, Loss of head (1000 ft), Total loss of head in line, Ground Level (Upper Lower), Hydraulic Level (Upper, Lower), Terminal - Draw the table and prepare Hydraulic statement of sewerage schemes in MS EXCEL having column headings Sr.#, Name of line (1-2), Length of Line (Rft), Area (Own, Acre, Other Area, Total Area), Density of Population, Total Line at line(6*7), Domestic Sewage Flow, Peak Factor, Peak Flow=9*10, Storm Water Flow= 50% of peak flow (11/2), Total Discharge =(11+12), Proposed size of Pipe, Capacity of Sewage pipe 9" =1.1 cusec, 12"=1.96 cusec, Slope as per size of pipe + natural slope available at site, Velocity when running full 2.5'/sec, Q max. or Q full (13/15), V max. or V full =(18/x-area of pipe or Q max/ x-area of pipe, Velocity at max (17*19), Fall due to gradient (length/ slope), Fall due to change of size 9"/12", Total fall (21+22), Ground Level upper, Ground Level lower, Invert Level upper, Invert Level lower, Thickness of wall bedding, Bed Level upper, Bed Level lower, Depth of cutting upper, Depth of cutting lower, Mean depth, No. of Manholes (size of pipe), Name of Line, Length of pipe, Size of Pipe, Remarks. |
| - Earthwork calculations, Bituminous Road, materials statement and Rate analysis of brick work in MS EXCEL. | - Type the heading of table for earthwork, enter values and type formula for quantities. - Prepare abstract of quantities for bituminous road, enter values and type formula for quantities. - Type the heading of table for materials statement, calculate materials by typing formula for amounts. - Type the heading of table for rate analysis, calculate materials charges, labour charges, carriage charges and sundries for brick work. Sum up and add contractor’s profit by typing formula for amounts. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required:

MS EXCEL

- Instructions regarding use of MS EXCEL software.

- State the operators & functions along with their purpose.

- Describe syntax of formula in geometry and mensuration.

- Explain how to give formation to the measurements and quantities.

- State how to give references of cells in the same sheet, amongst sheets and amongst files.

- Prepare detailed estimate for framed structure building in MS EXCEL.

- Prepare detailed estimate for water tanks in MS EXCEL.

- Prepare detailed estimate for Bridge in MS EXCEL.

- Prepare detailed estimate for Building Services in MS EXCEL.

- Prepare detailed estimate for Tube well and Persian well in MS EXCEL.

- Prepare hydraulic statement of water supply and sewerage schemes in MS EXCEL.

- Earthwork calculations, Bituminous Road, materials statement and Rate analysis, in MS EXCEL.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate for framed structure building in MS EXCEL.

- Detailed estimate for water tanks in MS EXCEL.

- Detailed estimate for Bridge in MS EXCEL.

- Detailed estimate for Building Services in MS EXCEL.

- Detailed estimate for Tube well and Persian well in MS EXCEL.

- Hydraulic statement of water supply and sewerage schemes in MS EXCEL.

- Earthwork calculations, Bituminous Road, Rate analysis, materials statement in MS EXCEL.

Instruments & Consumables

  - Computer latest model with Server

  - Computer latest model work stations

  - Laptop computer

  - Net working

  - UPS 2000 Watt with batteries

  - Multimedia Projector

  - Scanner for A-3 paper

  - Printer LaserJet

  - USB Sticks

  - Computer Chair (will be added in furniture portion) without arm rest – 5 legs base

  - Computer Table (will be added in furniture portion) 2½ x 2 x 2½

  - License software for education Latest Versions: Auto CAD Civil 3D M.S Office Antivirus Microsoft windows

    - Produce Project of Road in AutoCAD Civil 3D software

Overview: This competency standard covers the skills and knowledge required to Prepare Estimate of slab and arched Culverts.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Import Survey data from excel file *.csv | - Create new dwg file in desired units-feet or meters for road project. - Save excel file in *.csv file format - Create formats for data import. - Import *.csv file in CAD file. |
| - Perform Surface modeling | - Create parcels for project. - Edit parcels for project. - Print parcel reports for project. - Create points and point groups and work with survey figures for project. - Create surfaces for project. - Edit surfaces of project. - View surfaces for project. - Analyze surfaces for project. |
| - Mark horizontal & vertical Alignment | - Create horizontal and vertical alignments for project. - Edit horizontal and vertical alignments for project. - Create data shortcuts for project. |
| - Create sites, profiles, and cross-sections | - Create sites for project. - Create profiles for project. - Create cross-sections for project. |
| - Create assemblies, corridors, intersections and Grading solutions | - Create assemblies for project. - Create corridors for project. - Create intersections for project. - Create Grading solutions for project. |
| - Create gravity fed and pressure pipe networks | - Create gravity fed pipe networks for project. - Create pressure pipe networks for project. |
| - Perform quantity takeoff and volume calculations | - Perform quantity takeoff for project. - Perform volume calculations for project. |
| - Use plan production tools to create plan and profile sheets | - Create plan and profile sheets by use of plan production tools for project. - Create plan and profile sheets by use of plan production tools for project. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required:

AutoCAD Civil 3D

- Describe Loading and unloading of AutoCAD Civil 3D.

- State Interface and Workspaces of AutoCAD Civil 3D,

- Describe Toolspace, panorama, Templates, Settings, and Styles

- Describe AutoCAD  Civil  3D  Projects,  Sharing  Data,  Using  Data  Shortcuts  for  Project Management

- Describe how to Create and edit parcels and print parcel reports

- Describe how to	Create points and point groups and work with survey figures

- Describe how to	Create, edit, view, and analyze surfaces

- Describe how to	Create and edit alignments

- Describe how to	Create data shortcuts

- Describe how to Create sites, profiles, and cross-sections

- Describe how to Create assemblies, corridors, and intersections

- Describe how to Create grading solutions

- Describe how to Create gravity fed and pressure pipe networks

- Describe how to Perform quantity takeoff and volume calculations

- Describe how to Use plan production tools to create plan and profile sheets

- State Steps in designing a project in AutoCAD Civil 3D.

- Describe how to design a road project for 1 km length as per data collected from the civil engineering project.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Complete Design and Bill of Quantities of a road project for 1 km length as per data collected from the civil engineering project.

Tools and Equipment

  - Computer latest model with Server

  - Computer latest model work stations

  - Laptop computer

  - Net working

  - UPS 2000 Watt with batteries

  - Multimedia Projector

  - Scanner for A-3 paper

  - Printer LaserJet

  - USB Sticks

  - Computer Chair (will be added in furniture portion) without arm rest – 5 legs base

  - Computer Table (will be added in furniture portion) 2½ x 2 x 2½

  - License software for education Latest Versions: Auto CAD Civil 3D M.S Office Antivirus Microsoft windows

  - Contract Management

- Produce Pre-Qualification Documents & collect expression of interest

Overview: This competency standard covers the skills and knowledge required to prepare flow chart for pre-qualification process, prepare pre-qualification documents, notice for expression of intrest and evaluation criteria to pre-qualify the Contractor/Consultant/Vendor.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare flow chart for Prequalification process as per PEC specifications. | - Identify Qualification criteria to comply with the specific requirements. - Get Sanction from the authorities pertaining to Qualification criteria. - Identify Prequalification process for Civil works. - Prepare Flow chart- Form Procurement Team, Develop Evaluation Criteria to qualify, Issue Notice for the EOI, Evaluation of applicants, Data attachments, Applicant short list, Selection, Completion of the process and record keeping. |
| - Preparation of Pre-Qualification Document as per PEC Specification. | - Process for sanction of administrative approval- Budget provision - Process for technical sanction- allocation of funds. - Identify & get formed procurement team. - Download latest Pre-Qualification documents from PEC web site. - Identify & Prepare Pre-qualification document observing PEC directions. Instructions to applicant, Qualification Criteria, Annexures. |
| - Prepare Standared proceedure and Features of Pre-qualification Document. | - Identify the standard procedure and features of Pre-Qualification document as per PEC directions. - Draft features of Instructions to Applicant. - Draft features of technical and financial capability assessment of applicants. - Draft features to assess the capability of joint venture - Draft features of evaluation criteria |
| - Prepare Pre-Qualification document for works & invite to applicants. | - Prepare Draft of Qualification Criteria. P1.1. Prepare Draft of General information of applicant P1.2. Prepare Draft to assess General experience of the Applicant. P1.3. Prepare Draft to assess Personnel Capabilities of the Applicant. P1.4. Prepare Draft to assess Equipment Capabilities of the Applicant. P1.5. Prepare Draft to assess financial position of the Applicant. - Prepare the Features and draft to assess the Joint venture. - Prepare (EOI) notice as per PEC & PPRA rules. - Get published in the print and digital media as per PPRA rules. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Contractor, Consultant and Vendor, Procurement, Contract, types of Contract.

- Establish type of Contract.

- Define Prequalification, Types of prequalification.

- Enlist steps of pre-qualification process and Documents, forms, evaluation forms.

- Define Notice of invitation (EOI).

- Describe Pre-requisite for prequalification administrative approval, technical sanction, Budget provision and allocation of funds to carry out the whole process.

- State the Procurement Team formation.

- Define financial capabilities and technical capabilities.

- Define instruction to applicant.

- Understanding the forms of Technical and Financial capability as per the PCE/PPRA.

- Define the Technical features in the forms of prequalification.

- Define the assessment criteria and procedure of assessment.

- Define Joint venture and the features to assess the capabilities of Joint venture.

- Define the procedure to advertise the notice of invitation of prequalification.

- Enlist the pre-requisite attachments, along with Notice of EOI

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepared flow chart for Pre-Qualification process

- Prepared Pre-Qualification documents.

- Prepared Evaluation Criteria Scoring procedure.

- Prepared Notice of EOI and advertisement

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |
| 4 | Drawing Lab equipment |

- Perform Evaluation Criteria for the assessment

Overview: This competency standard covers the skills and knowledge required to Collect (EOI) for civil works, Opening and initial evaluation of Applicants, prepare comparative statement, Shortlisting of applicants to meet the requirements.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Collect Expression of Interest for civil works. | - Issue Pre-Qualification documents to the applicants. - Conduct Meeting to understand scope of work. - Collect the EOI of the applicants with duly coding formalities and entered on register. |
| - Opening and Perform evaluation | - Open the Applications as per PPRA rules. - Perform the evaluation assessment as per the approved criteria for the particular works. - Prepare evaluation report. - Short list Applicants as per PEC/ PPRA rules. - Prepare List of Qualified Applicants. - Prepare report to get approval by authorities. |
| - Shortlisting and declaration successful Applicants. | - Short list Applicants as per PEC/PPRA rules. - Prepare List of Qualified Applicants. - Prepare report for authorities. - Prepare and notice to successful applicants. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- State to keep the records and codifying the responses for the future activity reference.

- Explain Knowledge of PEC & PPRA rules- standard procedure for evaluation of technical and Financial aspects.

- Describe Background Factors influenced on evaluation process and conflict of interest.

- Describe annexures and principles for evaluation.

- Define the Capability assessment of Joint venture.

- Prepare comparative statement and selection of successful applicants

- Explain the procedure to declare the successful applicants.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepared the record register to enter the record of responses and Coding.

- Prepared the marking/evaluation pertaining to technical and financial capabilities and comparison report of the applicants.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |

- Produce Tender Documents & Collect Proposals

Overview: This competency standard covers the skills and knowledge required to prepare flow chart for tendering process, prepare tender documents, tender notice and collect proposals.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare flow chart for tendering process as per PEC specifications. | - Identify tendering pre-requisites for works. - Identify tender processing for works. - Prepare Flow chart- Form Procurement Team, Develop Tender & Evaluation Criteria, Pre-qualified tenderer’s List, Issue Tender, Tender Briefing meeting, Presentations visits, Submission of Tenders, opening of Tenders, Initial evaluation, Bidder short list, Selection, Officially declaration of Lowest bidders, Letter of acceptance, Contract agreement Award of Contract. |
| - Preparation of tendering Pre-requisites for works. | - Identify and select the Type of Contact. - Prepare the Engineers Estimate. - Process for sanction of administrative approval- Budget provision. - Process for sanction of technical sanction- allocation of funds. - Identify & get formed procurement team. - Download latest bidding documents from PEC web site. - Identify & Prepare tender document observing PEC directions- Instructions to Bidders, Bidding Data, General Conditions of Contract Part-I (GCC), Particular Conditions of Contract Part-II (PCC), Specifications - Special Provisions, Specifications - Technical Provisions, Form of Bid & Appendices to Bid, Bill of Quantities, Form of Bid Security, Form of Agreement, Form of Performance Security/Bond & Mobilization Advance Guarantee/Bond, and Drawings. |
| - Prepare Report on Main Features of Tender Documents. | - Identify the features of tender documents as per PEC directions. - Draft features of Instructions to Bidders & Bidding Data. - Draft features of General Conditions of Contract Part-I (GCC) & Particular Conditions of Contract Part-II (PCC). - Draft features of Specifications - Special Provisions & Specifications - Technical Provisions. - Draft features of Form of Bid & Appendices to Bid- Appendix A (special Stipulation clause conditions of contract, Appendix B (Foreign Currency requirements), Appendix C (Price Adjustment clause 70) Appendix D (Bill of Quantities, Day work schedule, Labour, Day work Material & rates, day work machinery plants), Appendix E (proposed construction schedule), Appendix F (Method of performing work), Appendix G List of equipment, Appendix H (Construction camp & housing facilities), Appendix I (List of Subcontractors), Appendix J (Estimated Progress payment), App K (organisation chart), Appen L (Integrity pact), Insurance requirement. - Draft features of Form of Bid Security, Form of Agreement, and Form of Performance Security/Bond & Mobilization Advance. - Draft features of Guarantee/Bond, and Drawings. |
| - Prepare tender documents for civil works & invitation for tender. | - Prepare draft of Particular Conditions of Contract (PEC) - Prepare draft of Specifications - Special Provisions. - Prepare draft of Specifications - Technical Provisions. - Prepare draft of detailed estimate & Bill of Quantities. - Prepare working drawings. - Attach All Forms of Securities. - Prepare tender notice as per PEC & PPRA rules. - Get published in the print and digital media as per PPRA rules. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define the duration required to submit the performance bond and procedure.

- Enlist the financial institution for the issuance of the performance bond.

- Define insurance and types of insurances required for Construction contracts.

- Define the Program.

- Define tender, contract, tender notice, tender documents, agreement.

- Enlist tender documents- Instructions to Bidders, Bidding Data, General Conditions of Contract Part-I (GCC), Particular Conditions of Contract Part-II (PCC), Specifications - Special Provisions, Specifications - Technical Provisions, Form of Bid & Appendices to Bid, Bill of Quantities, Form of Bid Security, Form of Agreement, Form of Performance Security/Bond & Mobilization Advance Guarantee/Bond, and Drawings.

- Describe Pre-requisite for tendering-administrative approval, technical sanction, Budget provision and allocation of funds

- Describe main features of Tender documents and tender notice.

- Describe methods of Invitation of tenders- by negotiation, selective tenders and public notice.

- Describe Prequalification of Bid, Tender notices - Characteristics, instruction on calling tender.

- Describe Submission of tenders/ bids-instruction to bidders.

- State Earnest money, security deposit. Mobilization advance, secured advance, retention money.

- State methods of departmental execution of works i.e. daily Labour, piece work and day work

- Explain the various contracting systems for construction works i.e. Lump sum contract, item rate contract, Construction Contract, Plant-Design Build Contract, cost plus fee contract, cost plus percentage contract, labour contract, negotiated rate contract, EPC/turn-key contract, Design Build operate transfer Contract (BOT,BOOT) and package contract etc.

- List the merits and limitations of each contracting system

- Distinguish between work order and contract

- Define terms budget provision, administrative approval, Technical sanction and Allocation of funds

- State the pre-requisites for tendering

- State the methods of invitation of tender

- Draft a tender notice

- Prepare tender documents

- Explain the need of earnest money and security deposit

- Lists the steps involved in fixing up the agency through tender system

- Discuss the instruction to bidders/contractor for filling tenders/bids

- Describe the handing over and defect liability period.

- Explain the conditions of contract such as penalty, Arbitration, Time of completions and Extension of time.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepared Program to submit as contractual requirement.

- Prepared flow chart for tendering process

- Prepared tender documents and tender notice.

- Prepared Engineering Cost Estimate.

- Evaluation of Tenders.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |
| 4 | Drawing lab equipment |

- Perform Tender Evaluation & Award of Contract

Overview: This competency standard covers the skills and knowledge required to Collect Tender for civil works, Opening and initial evaluation of tenders, prepare comparative statement, drafts of agreement deeds and procurement order.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Collect Tender for civil works. | - Issue tender documents to Qualified bidders. - Conduct tender briefing meeting. - Collect tenders with coding formalities duly entered on register. |
| - Opening and initial evaluation of tenders. | - Open the tender as per PPRA rules. - Implement Background Factors on opening of tenders- accord weightage to elements of bid eligibility for evaluation tenders. - Implement Steps/ Stages of Bid Evaluation in consistence to Evaluation Guide as per PEC/PPRA rules. - Inspect Annexures & Appendices with the bid. - Short list bidders as per PEC/ PPRA rules in initial evaluation. - Bidder short list, Selection, Award Contract. |
| - Award contract to successful bidder. | - Check the amounts of items of work. - Prepare comparative statement. - Reconciliate bank sureties, and data of appendices. - Pay visit for confirmation of accuracy of bid appendices and forms. - Select the qualified bidder as per criteria defined by PEC. - Issue letter of acceptance, and sign agreement deeds. - Award the contract to the successful bidder. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- State Knowledge of PEC & PPRA rules- standard procedure for evaluation of bids civil works.

- Describe Background Factors on opening of tenders

- Prepare comparative statement and selection of contractor from tenders

- Explain steps and stages of bid evaluation.

- Describe annexures for bid evaluation.

- Define bid opening record and bid validity, scrutiny of tenders, comparative statement, acceptance of tenders, award and commencement of work, possession of site.

- Describe principles of bid evaluation.

- Describe Preliminary examination of bid.

- Describe detailed examination of bid.

- Explain bid evaluation procedure.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepared Comparative statement.

- Prepared evidence Lowest bidder’s declaration.

- Draft of Letter of Acceptance.

- Formation of Contract agreement.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |

- Perform Post-Award  Legal/Contract Requirements and Finance.

Overview: This competency standard covers the skills and knowledge required to post award legal/Contract requirements and Cash flow. Record of measurements and payment on MB of building work, Record of attendance roll, material consumed, acquaintance roll on muster roll, Daily labour report and casual labour report.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Performance bond, Insurance requirements and Program | - Submit Performance bond prior to possession of Site. - Submit the insurance requirements. - Prepare and Submit the program |
| - Prepare record of measurements and payments for execution on contract basis of a building | - Get issued measurement book (MB). - Record project detailed information in MB. - Record bill number in MB. - Record measurements for items of work in the MB. - Record costing of items of work as per agreement in MB. - Make deductions as per agreement. - Incorporate the costing results in bill form. - Submit for auditing passing, and payment. |
| - Prepare record of measurements and payments for execution on daily labor basis for repair works. | - Get issued muster roll (MR). - Record work detailed information in muster roll. - Record category wise name of laborer’s employed. - Record measurements of work performed by labor in the MR. - Record quantity of materials issued & consumed. - Record actual wages of labour fortnightly in MR. - Add arrears if applicable in current acquaintance roll. - Submit for auditing passing, and payment. |
| - Prepare record of permanent advances for works. | - Submit requisition for imprest/ permanent advance. - Record entries on Imprest cash account. - Submit the bills/ vouchers of expenditures. - Get cleared imprest amount. |
| - Prepare record of temporary advances for works. | - Receive the cash on receipt-STR-3A. - Enter on cash book. - Adjust in cash book on disbursement. - Attach the voucher/ acquaintance role. |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define & describe measurement book (MB), SMB, CMB, muster roll, bill, acquaintance roll.

- State the importance of measurement book

- List the rules to be followed in recording measurements in MB.

- Record measurements in M.B and prepare abstract of payment in M.B

- Explain the mode of payment to contractors

- State the types of bills to be used.

- Describe & prepare of bills, running bills, final bills, first & final bill, deductions to be made from bills checking of bills, value engineering, cost accounting (interim payment certificate)

- Define daily labour report, casual labour report,

- Prepare muster roll. daily labour report etc

- Explain terms, Hand receipt, imprest, recoverable payment, competent authority, controlling officer, Disbursing officer, Divisional officer, cogence of work, deposit work, supervision charges, suspense account, market rates, storage rate and charges.

- Describe Mode of payment-bills, vouchers, first and final bill, interim payment, final payment, advance payment, secured advance payment, bill forms, imprest cash account,

- Major expenditure heads-major head, minor head, sub head and detailed head.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Record of measurements and payment on MB of building work.

- Record of attendance roll, material consumed, acquaintance roll on muster roll.

- Daily labour report and casual labour report.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |
| 4 | Computer lab |

- Maintain record of Stores.

Overview: This competency standard covers the skills and knowledge required to prepare record of store (stock) debited to suspense account, prepare record of store directly charged to work, prepare record for transfer of store & prepare receipt record of tools & plants- supplies.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare record of store (stock) debited to suspense account | - Identify stores debited to suspense account-stock. - Record stock account in stock register of stock-Small Stores, building Materials, timber, metal, fuel, paint stores, and house fittings. - Record stock account in stock register of stock- miscellaneous, land and kiln, manufacture, and storage. - Enter receiving of stock on prescribed format- Form PWA-4. - Record entries on cash book of suspense account. |
| - Prepare record of store directly charged to work. | - Identify stores debited to debit to final head of account-Tools & plants, road metals, materials charged to work. - Identify stock articles requiring no prior sanction- materials charged to work. - Identify stock articles requiring prior sanction- tools & plants. - Record sales Account on Form DFR DW-10 |
| - Prepare record for transfer of store. | - Get issued indent book (Form PFR-26). - Record items required for consumption on indent book. - Get approval of authority. - Receive store and record on consumable Stock registers. - Receive tools & plants and record on durable goods Stock register. |
| - Prepare receipt record of tools & plants- supplies | - Record delivery of items-Inward gate pass, Goods Delivery challan - Get inspected store items-Technical Evaluation committee, Goods Inspection Report - Record accepted store items in register-Goods receiving Note, Stock Register. - Get prepared Stock Entry Certificate for store items |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Explain need for store in a project

- State the classification of stores- stock, tools and plants, Road metal and materials charged direct to the work.

- State the classification of the items held in general stock- Sub-Heads: - (i) Small Stores; (ii) Building Materials; (iii) timber (iv) Metal (v) Fuel (vi) Paint Stores (vii) House Fittings (viii) Miscellaneous. (ix) Land and kiln; (x) Manufacture; and (xi) Storage.

- Explain the principles of storing materials and T&P in store

- Prepare the register of store issue and receipt,

- State the need for materials at site account & Road metal account.

- Describe Stock-sub-heads of stock receipts and issue of stock, stock account, Register of stock receipts and issues, shortages and surpluses of stock, monthly stock account.

- Explain the verification procedures of stores

- Explain the procedure of taking delivery for stores

- Explain the principles of storing materials, Location of T & P protection of stores, store room record, bin card, ordering procedure of store.

- Explain procedure for Indenting of materials-instruction for preparation of indents, specifications, and supply procedures in works departments.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Record of store (stock) debited to suspense account

- Record of store directly charged to work.

- Record documents prepared for transfer of store.

- Record documents receipt record of tools & plants- supplies

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |

- Perform Variation Orders, Claims and Dispute Adjudication Board

Overview: This competency standard covers the skills and knowledge required to prepare Variation order, prepare Claim document, hiring of Dispute adjudication board, formation of Dispute adjudication board agreements.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Preparation of Variation order | - Identify the Need of Change in Scope of work - Notify in time to Contractor about the change and extent. - Maintain the record and approval of Change order. |
| - Preparation of Claims | - Identify the entitlement of Claims. - Notify for Claim within approved time. - Submit the claim with supporting |
| - Payment of Claims. | - Validate the claim within specified time. - Assessment for the prolongation of the time - Assessment for Payment. |
| - Dispute Adjudication board | - Identify the need of Dispute Adjudication board - Prepare the hiring Procedure of DAB as the PEC/PPRA Rules. - Prepare the Draft of Dispute adjudication agreement |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define the Scope of work, variation, change order, State the need of change order.

- State the process of Change order as per PEC/PPRA preparation and approval.

- State the prolongation of Time and Cost.

- Define the Claim.

- State the process of Claim preparation as per PEC/PPRA

- Enlist the support document of Claim

- Define the Prolongation of time

- Define the prolongation of cost

- State the assessment procedure of claim as per PEC/PPRA rules.

- State Cost weightage of laboure, equipment and Material

- State the Price adjustment formula to validate the variation in prices as per PEC/PPRA rules.

- Define the Dispute.

- State the dispute avoidance techniques.

- Define the Adjudication board

- Define amicable settlements and arbitration.

- State the process to hire the DAB as per PEC/PPRA rules.

- State the Dispute adjudication board agreement, term and Conditions.

- State the procedure of dispute resolution by the DAB.

- State the expiry of DAB.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Prepared process flow chart of variation order.

- Prepared process flow chart of Claim preparation.

- Prepared process flow chart of Claim Substantiation.

- Prepared flow diagram of Dispute adjudication board process techniques as per PEC/PPRA rules.

Instruments & Consumables

| S No. | Description (Instruments) |
| --- | --- |
| 1 | Calculator |
| 2 | Ruler |
| 3 | Pencil |
| 4 | Drawing Lab equipment |

  - Sanitary Engineering

    - Design sanitary sewers

Overview: This competency standard covers the skills and knowledge required to interpret Separate sanitary sewer systems are designed to transport sewage alone. Sanitary sewers are distinguished from combined sewers, which combine sewage with storm water runoff in one pipe. Sanitary sewer systems are beneficial because they avoid combined sewer overflows.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Evaluate sanitary sewer | P1. Identify sanitary sewer P2. Calculate quantity of sewage P3. Identify population P4. Identify rate of water supply P5. Check temperature. P6. Apply and compare by different formulas P7. Decide pumping station (If required) P8. Check results |
| CU-2. Perform Preliminary Investigations to design sanitary sewer | P1. Identify Area P2. Obtain pertinent maps P3. Identify structures and utilities P4. Determine groundwater conditions P5. Show Gradient for sewer P6. Determine characteristics/subsurface of soil in which sewers are to be constructed |
| CU-3. Design Hydraulic Equation for sewer | P1. Identify Manning equation P2. Identify Manning “n” value (not less than 0.013) P3. Suggest type of construction P4. Suggest length of sewer pipe P5. Suggest Gradient for sewer P6. Identify Manholes distances or connections from buildings |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard.

This includes the knowledge of:

K1.  Use graphical methods to solve hydrological problems to design for sewer.

K2.  Describe and explain the essential features for sewerage system.

K3.  Describe essential features of installations for the sanitary sewers.

K4.  Explain the “SELF CLEANING VELOCITY” for sewage

K5. Explain demand of water per capita rate and calculate quantity of sewage

K6. Explain variation in swage flow

K7. Describe optimizing quality of sewage

K8. Explain network for sewers

K9. Explain safety precautions for laying sewers in plain & hilly area

K10. Explain manholes c/c distance for different sewers.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare layout of sewers scheme

- Preparation plan to laying of sewers according to area and standards

- Apply formula to design sewers

- Identify Manning value for sewers.

- Check construction specification for sewers for residential and commercial areas.

- Apply variation for sewage flow

- Apply safety precautions

- Apply man hole distance and provide gradient in sewers

TOOLS AND EQUIPMENT’S

- Drawing sheet

- Calculator

- Thermometer

- Drawing instruments

- Pressure testing kits

- Umbrella with stand

- Spirit level

- PPEs

    - Design storm water sewers

Overview: This competency standard covers the skills and knowledge required to storm sewer system and its design to carry rainfall runoff and other drainage. It is not designed to carry sewage or accept hazardous wastes. The runoff is carried in underground pipes or open ditches and discharges untreated into local streams, rivers and other surface water bodies.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Perform Basic Design Considerations for Storm sewer | P1. Identify run off / quantity of flow P2. Check catchment Area with characteristics P3. Suggest Sewer pipe materials P4. Find out Minimum pipe sizes P5. Apply Minimum and maximum velocities for sewage P6. Identify gradient for sewer P7. Evaluation of alternative alignments or designs P8. Select appropriate sewer appurtenances |
| CU-2. Interpret Sewer Construction | P1. Identify Sewers Material (Rigid or Flexible) P2. Check soil condition P3. Check load for sewer P4. Perform alignment P6. Carry out Joints of sewers P7. Perform Back filling |

Knowledge & Understanding.

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

k1.Explain the purpose and application of storm sewer

K2 Knowledge of catchment area with its characteristics

K3. Explain design procedure for storm sewers

K4- Describe working of storm sewers and manhole.

K5.  Explain different type of pipes used as sewers

K6. Describe different pipe jointing methods.

K7. Describe safety procedure for joining pipes

K8.  Explain concrete & Cast iron difference

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Define Joints, Pipes and its types.

- Draw sketch of different pipe joints.

- Design a sewers scheme

- Calculate Run off

- Plan safety procedure during construction of sewers

- Plan the steps to joining of sewers for different materials

- Adopt safety precautions while construction of sewers.

- Apply formulas to design of sewers

TOOLS AND EQUIPMENT’S

- Drawing sheet

- Calculator

- Thermometer

- Drawing instruments

- Pressure testing kits,

- Umbrella with stand

- Spirit level

- PPEs

- Sewers for different materials

    - Layout of sewers

Overview: his competency standard covers the skills and knowledge required to design the layout for sewers and open drains. Surface drainage involves the removal of excess water from the surface of the soil. This is done by removing low spots where water accumulates by land forming. Sewers layout is to be done by excavating ditches, laying and joining of pipes on an entire designed area.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Interpret Layout of Sewers | P1. Identify Sewerage scheme P2. Spread & fix sheet P3. Apply scale P4. Draw sewer scheme showing components P5. Suggest gradient P6. Suggest specifications for sewers |
| CU-2. Perform Layout for storm water sewers | P1. Identify storm sewer P2. Check catchment area with characteristics P3. Calculate run off P4. Check temperature. P5. Fix drawing sheet and select scale P6. Show pumping station (If required) P7. Draw sewer scheme showing components |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1-Describe Layout plans

K2- Explain Marking out of sewers.

K3- Explain procedure to draw layout plans.

K4. Describe design procedure for sewerage system

K5. Explain safety precaution for task

K6. Describe fixing of pump during installation of sewers

K7. Explain PPEs

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Mount pipe for sewers

- Install pump for sewerage system properly

- Design the sewers scheme

- Execute sewers scheme plan

- Maintain connection from house to manholes

- Maintain self-cleaning velocity of sewage

TOOLS AND EQUIPMENT’S

- Spirit level

- PPEs

- Drawing sheet

- Drawing instruments

- Thermometer

- Drawing Board

- Compass

- Measuring Tape

- Pegs

- Arrows

- Pump for pumping station (if Required)

    - Prepare sketches of sewer appurtenance

Overview: This competency standard covers the skills and knowledge required for basics of water Clarifiers and settling tanks built with mechanical means for continuous removal of solids being deposited by sedimentation. A clarifier is generally used to remove solid particulates or suspended solids from liquid.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Develop sketches for sewer appurtenances | P1. Identify sewer appurtenances P2. Fix Drawing sheet on board P3. Select scale P4. Use safety precautions for drawing P5. Draw sewer appurtenances P6. Identify Specifications for sewer appurtenances - P7. Recognize material used in construction |
| CU-2. develop sketch for Man Hole | P1. Identify man hole P2. Fix Drawing sheet & select scale P3. Select material, size & shape for manhole P4. Locate position & c/c distance for manhole P5. Suggest specification for Manhole |
| CU-3. Plan sketch for clean out | P1. Identify clean out P2. Fix Drawing sheet & select scale P3. Select material, size & shape for clean out P4. Locate position for clean out P5. Suggest specification |
| CU-4. Plan sketch for inlet | P1. Identify inlet P2. Fix Drawing sheet & select scale P3. Select material, size & shape for clean out P4. Locate position for inlet P5. Suggest specification |
| CU-5. Plan sketch for catch basin | P1. Identify catch basin P2. Fix Drawing sheet & select scale P3. Select material, size & shape for catch basin P4. Locate position for catch basin P5. Suggest specification |
| CU-6. Plan sketch for Flushing Tanks | P1. Identify flushing tank P2. Fix Drawing sheet & select scale P3. Select material, size & shape for flushing tank P4. Locate position for flushing tank P5. Suggest specification |
| CU-7. Plan sketch for Grease & oil Traps | P1. Identify Grease & Oil Traps P2. Fix Drawing sheet & select scale P3. Select material, size & shape for traps P4. Locate position for traps P5. Suggest specification |
| CU-8. Plan sketch for storm regulator | P1. Identify storm regulator P2. Fix Drawing sheet & select scale P3. Select material, size & shape for storm regulator P4. Locate position for storm water regulator P5. Suggest specification |
| CU-9. Plan sketch for Inverted syphon | P1. Identify Inverted syphon P2. Fix Drawing sheet & select scale P3. Select material, size & shape for inverted syphon P4. Locate position for traps P5. Suggest specification |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Define sewer appurtenances and its process

K2- Describe the working of different sewer appurtenances

K3- Explain Types of regulators.

K4- Describe applications stages for different sewer appurtenances

K5- Knowledge of repair and maintenance for sewer appurtenances

K6- Knowledge of Market requirements of domestic and commercial sewer appurtenances

K7. Explain working of lamp holes

K8. Explain working of drop man holes.

K9. Differentiate between manhole & drop manholes.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Differentiate lamp hole & drop manhole

- Installation for different sewer appurtenances

- Plan sewer appurtenances

- Plan stages for sewer appurtenances

- Plan different method used for plan sewer appurtenances

- Indicate different sewer appurtenances

- Identify components for different sewer appurtenances

TOOLS AND EQUIPMENT’S

Drawing sheet

Drawing instruments

Pencils

Eraser

Compass

Sprit level

Calculator

Umbrella (Optional)

PPEs

Protector

- Construct Sewers

Overview: This competency standard covers the skills and knowledge required to prepare and developed sewers pipes from buildings to one or more levels of larger underground trunk mains, which transport the sewage to sewage treatment Plant. Vertical pipes, usually made of precast concrete and cast iron called soil stack / vent pipes which are connect the mains to the sewers system.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Plan and prepare for work | P1. Identify work place P2. Measure safety and other regulatory requirements P3. Interpret and confirm layout plan P4. Mark out excavation P5. Select tools and equipment P6. Use PPEs P7. Perform final quality inspection |
| CU-2. Interpret Plan for sewer construction | P1. Check for Safety Hazards P2. Perform excavation P3. Install trench support P4. Select material for construction P5. Perform bedding P6. Lay pipes and joints P7. Check hydraulic load P8. Perform Hydraulic test P9. Back filling and compaction |
| CU-3 Interpret Plan for soil stack pipe | P1. Check for Safety Hazards P2. Perform aligning and clamping P3. Select material P4. Perform joining and fixing P5. Check hydraulic load P6. Perform hydraulic test |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of Safety requirements for installation of sewers

K2- Knowledge of sewer joints with manholes

K3- Explain different stages for sewer construction

K4- Explain method to lay the sewer

K5. Explain change of sewer line in case of breakage

K6. Describe safety measures to lay sewer pipes

K7. Explain PPEs with its importance

K8. Explain soil stack pipes with its working

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform safety requirements while laying of sewers

- Prepare plan for installation of sewers with its components

- Performing repair and maintenance for sewers

- Preform back filling of earth on sewer

- Identify sewer and sewage

- Identify working of sewer lines

- Use of PPEs

- Set soil stack pipes

TOOLS AND EQUIPMENT’S

- Compass

- Sprit level

- Calculator

- Umbrella (Optional)

- PPEs

- Trench digging tools

- Trench sides

- Chain pulley

- Small crane

- Excavator

- Clamps

- Joints for pipes

    - Maintain Sewers

Overview: This competency standard covers the skills and knowledge required to prepare for maintenance of sewers and manholes for long running its working.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Interpret plan for maintain sewer | P1. Identify sewer to maintain P2. Investigate problem P3. Clean out clogged drain P4. Perform remedy P5. Perform water pressure |
| CU-2. Interpret plan to maintain man hole | P1. Identify man hole to maintain P2. Investigate problem P3. Clean out clogged or suction sewage P4. Perform flushing P5. Perform test to working performance |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of maintenance of sewers or soil stack pipes

K2- Explain Uses of tools and equipment to clean and repair sewer pipes

K3. Explain different system for cleaning of sewers

K4. Explain drain opener using procedure.

K5- Knowledge of joining techniques the pipe to manholes

K6- knowledge of levelling and leakage repairing of sewers in system

K7. Explain type of drain openers and their precautions while using

K8. Explain PPEs

K9. Explain hydraulic pressure and self-cleaning velocity

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Plan to maintain a sewer pipes

- Plan site selection for sewer scheme

- Demonstrate the installation of maintenance machinery

- Demonstrate pipe maintenance system requirements

- Plan to maintain sewer appurtenances

- Plan distribution of pipe in residential scheme

- Plan hydraulic model with its working

TOOLS AND EQUIPMENT’S

- Drain opener

- Drawing / lay out for sewers

- Compass

- Sprit level

- Calculator

- Umbrella (Optional)

- PPEs

- Drain suction machine

- Flushing machine with water

- Flushing pipes

- Pipe joints

- Nut & bolts

- Flanges

    - Install Sewage Pumps

Overview: This competency standard covers the skills and knowledge required to prepare for Installation of sewage / Sump pumps. They are automatic pumps designed basically to clean water. They are used for sump basin drainage or in emergency situations. The most common application is for basement drainage to prevent residential flooding. Sewage pumps are used when the water being pumped may contain solids up to 2” in diameter.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Interpret plan sewage pump (Existing scheme) | P1. Identify sewage to pumping P2. Investigate problem P3. Install pump (Fixed or Mobile) P4. Switch on with power P5. Perform pumping |
| CU-2. Interpret plan sewage pump (New scheme) | P1. Identify pump P2. Prepare Drawing with dimension P3. Construct dry & wet well P4. Install pump P5. Switched with power P6. Perform test for lines P7. Perform pumping |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of maintenance of sewage pumping

K2- Explain Uses of tools and equipment to pumping the sewage

K3. Explain different type of pumps use for sewage pumping

K4. Explain working of centrifugal pump for sewage pumping

K5- Knowledge of joining techniques the pipe to pump

K6- Explain wet well and dry well

K7. Explain construction procedure for dry well and wet well

K8. Explain PPEs

K9. Explain hydraulic pressure and self-cleaning velocity

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Plan to maintain a sewage pumps

- Plan site selection for sewage pumping

- Demonstrate the installation of sewage pumps

- Demonstrate pump maintenance system requirements

- Plan to maintain sewage pumps

- Plan well pipes measurements and directions

- Plan hydraulic model with its working

TOOLS AND EQUIPMENT’S

- lay out plan for pumps

- Compass

- Sprit level

- Calculator

- Umbrella (Optional)

- PPEs

- Drawing Sheets

- Drawings equipment

    - Produce sketches of sewage treatment plant

Overview: This competency standard covers the skills and knowledge required to prepare for Sewage treatment process of removing contaminants from municipal wastewater, containing mainly household sewage and industrial wastewater. Physical, chemical, and biological processes are used to remove contaminants and produce treated wastewater (or treated effluent) that is safe enough for release into the environment. A by-product of sewage treatment is a semi-solid waste or slurry, called sewage sludge. The sludge has to undergo further treatment before being suitable for disposal or application to land.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Interpret plan sewage treatment plan | P1. Identify sewage treatment plant P2. Draw parts for treatment plant P3. Identify Screens in chamber P4. Identify grit chamber P5. Identify settling tank P6. Identify sludge digestion tank P7. Identify trickling filters P8. Identify sludge drying beds P9. Apply chlorination |
| CU-2. Interpret plan sewage treatment procedure | P1. Identify treatment plant P2. Prepare Drawing with dimension P3. Draw parts of treatment plant P4. Identify Influent passage P5. Identify primary treatment P6. Identify secondary treatment P7. Identify tertiary treatment P8. Check effluent |
| CU-3. Interpret plan sewage treatment process | P1. Identify treatment plant P2. Indicate Biological treatment P3. Identify Chemical treatment P4. Indicate Physical treatment P5. Check effluent |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of sewage treatment plant with its working

K2- Explain Uses of tools and equipment at treatment plant

K3. Explain different type of pumps use for sewage treatment plant

K4. Explain working of centrifugal pump for sewage pumping

K5- Knowledge of drying beds and its design techniques at plant

K6- Explain different parts of plant

K7. Explain construction procedure for sewage treatment plant

K8. Explain PPEs

K9. Explain hydraulic pressure and self-cleaning velocity

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Plan to maintain a sewage treatment plant

- Plan site selection for sewage treatment plant

- Demonstrate the installation of sewage treatment plant components

- Demonstrate pump maintenance system requirements at plant

- Plan to maintain sewage treatment plant

- Plan well pipes measurements and directions from plant and toward plant

- Plan hydraulic model with its working

TOOLS AND EQUIPMENT’S

- Spirit level

- PPEs

- Drawing sheet

- Drawing instruments

- Thermometer

- Drawing Board

- Compass

- Measuring Tape

- Pegs

- Arrows

- Pumping station plan (if required)

- Scissor

    - Dispose sewage

Overview: This competency standard covers the skills and knowledge required to prepare for Sewage disposal system in which sewage is transported through cities and inhabited areas to sewage treatment plants, where it is then treated to remove contaminants to produce environmentally-safe and waste disposed into river OR used for agriculture purposes.

| Competency Units | Performance Criteria |
| --- | --- |
| CU-1. Interpret plan for sewage disposal into river | P1. Identify sewage for disposal P2. Investigate quantity of sewage P3. Identify influent P4. Identify effluent P5. Perform pumping into drains P6. Dispose into river |
| CU-2. Interpret plan for sewage disposal into ground | P1. Identify sewage for disposal P2. Investigate quantity of sewage P3. Identify influent P4. Calculate quantity of effluent P5. Perform pumping into drains or conduits P6. Excavate well P7. Dispose into ground |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

K1- Knowledge of dispose of sewage into river, canals and dump into ground

K2- Explain Uses of tools and equipment to dispose of sewage at plant

K3. Explain different system for dispose of sewage

K4. Explain the reason to disposal of sewage

K5- Knowledge for influent and effluent

K6- knowledge of levelling the effluent in accordance physically fit to remove of sewage

K7. Explain type of drains constructed for effluent

K8. Explain PPEs

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Plan to maintain sewage disposal

- Plan site selection for sewage disposal

- Demonstrate the installation of disposal point for effluent

- Demonstrate pipe and drain maintenance for effluent

- Plan to maintain disposal works

TOOLS AND EQUIPMENT’S

- Spirit level

- PPEs

- Drawing sheet

- Drawing instruments

- Thermometer

- Drawing Board

- Compass

- Measuring Tape

- Pegs

- Arrows

- Pumping station plan (if required)

- Scissor

  - Engineering Mechanics

    - Design Homogeneous Beam

Overview: This competency standard covers the skills and knowledge required to design the homogeneous beam by simple bending equation and draw the bending and shear stress distribution for symmetrical sections of beams.

| Competency Units | Performance Criteria |
| --- | --- |
| - Design the homogeneous beam by simple bending equation | - Extract the given data - Evaluate maximum bending moment - Compute moment of inertia about N.A - Compute distance of extreme fiber from N.A - Apply bending equation - Evaluate cross section of beam |
| - Draw the bending and shear stress distribution for symmetrical sections of beams | - Extract the given data - Evaluate maximum bending moment - Compute distance between base of section to the Compute moment of inertia about N.A - Compute distance of extreme fiber from N.A - Evaluate bending stresses by bending equation |
| - Draw Mohr’s circle and find principal stresses | - Draw major and minor principal stresses find mid-point - From mid-point draw Mohr’s circle |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Explain the types of stresses in beams (Bending & Shear stresses).

- State the assumptions made in theory of simple bending.

- State and explain bending equation.

- Explain Bending stress distribution across rectangular section.

- Solve problems on theory of simple bending.

- State formula for shear stress and shear stress distribution across rectangular, circular & I-sections of beam.

- Solve problems on shear stress.

- Define Bi-axial stresses

- Define principal stresses

- Equation of normal and tangential stresses

- Preparation of Mohr’s circle graphically

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Design of homogeneous beam by simple bending equation

- Draw  bending and shear stress distribution for symmetrical sections of beams

Tools and Equipment

- Calculator

- Paper

- Pencil

- Eraser

    - Determine Deflection of Beams

Overview: This competency standard covers the skills and knowledge required to solve the problem of deflection of beams, To verify that the deflection is proportional to the cube of span and verify that the deflection is proportional to the load by drawing a graph and solve problems on deflection of beams.

| Competency Units | Performance Criteria |
| --- | --- |
| - Verify that deflection is proportional to the cube of span | P1. Identify equipment P2. Set apparatus P3. Apply load on the midpoint of beam P4. Record initial reading of vernier scale P5. Increase load P6. Record reading of vernier scale P7. Repeat the procedure for 6 readings P8. Compute deflection P9. Repeat the procedure by changing the span P10. Verify that the deflection is proportional to the cube of span |
| - Verify that the deflection is proportional to the load by drawing a graph | P1. Plot a graph between load and deflection P2. Verify that the deflection is proportional to the load by drawing a graph |
| CU3. Solve problems on deflection of beams | P1. Enlist the given data P2. Identify the type of beam P3. Identify the loading conditions P4. Compute maximum slope and deflection |

Knowledge & Understanding

The candidate must be able to develop skills and understanding to solve the problem on principal stresses and maximum shear stress, draw Mohr’s circle for principal stresses, verify that the deflection is proportional to the cube of span and verify that the deflection is proportional to the load by drawing a graph and solve problems on deflection of beams and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define deflection of beam and state its significance.

- Name various methods of deflection calculation i.e.  moment  area  method,

- Double integration method, Machauly’s method and unit load method.

- State maximum deflection in different types of beams.

- State formulae for calculation of maximum deflection in cantilever & simply supported beam or following loading conditions.

- For cantilever beam

- Point load at free end

- Uniformly distributed  loads on full span

- Uniformly distributed loads on part of span from fixed end.

- Combination of above loading.

- For simply supported beam

- Point load on mid span

- Uniformly distributed  loads on full span

- Combination of above loading.

K6       Solve problem of beam deflection of moment area method for above beams a load conditions

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Determine deflection of cantilever beams.

- Determine deflection of simply supported beams.

- Calculate stiffness of beams

    - Determine load carrying capacity of columns

Overview: This competency standard covers the skills and knowledge required to evaluate buckling load for column by Euler's formula and evaluate buckling load for column by Rankin’s formula.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Evaluate buckling load for column by Euler's formula | P1. Enlist the given data P2. Identify the end conditions P3. Compute moment of inertia P4. Compute effective length P5. Evaluate critical load P6. Evaluate safe load |
| CU2. Evaluate buckling load for column by Rankin’s formula | P1. Enlist the given data P2. Identify the end conditions P3. Compute moment of inertia P4. Compute cross sectional area P5. Evaluate critical load P6. Evaluate safe load |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define the terms: column, strut, long column, short column, axial and eccentric loading

- State failure patterns of short and long columns.

- Define the terms: buckling load, crushing load, safe load, F.O.S, slenderness ratio, radius of gyration, fatigue, effective length, etc.

- State four end conditions for the calculation of affective length of column.

- State Euler's formula & Rankin's formula for calculating ultimate load.

- Practice of numerical problems based on Euler’s and Rankin’s formulae.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Design the column for a given ultimate load by using Euler's formula & Rankin's formula.

- Calculate the load carrying capacity of column under given end condition.

- Calculate crushing strength of different steel sections

Tools and Equipment

1.	Calculator

2.	Paper

3.	Pencil

4.	Eraser Tools and Equipment

    - Evaluate Efficiency of Joints-riveted and welded

Overview: This competency standard covers the skills and knowledge required to explain different types of riveted joint, failure methods, strength and efficiency of riveted lap and butt joints, welded joints and its types, calculate strength and dimensions of fillet welds, compression of riveted and welded joints.

| Competency Units | Performance Criteria |
| --- | --- |
| - Analyze and sketch single riveted lap joint | - Calculate shearing strength of rivet - Calculate bearing strength of rivet. - Calculate tearing strength of plate. - Determine the strength of plate. - Calculate efficiency. - Draw the sketch and label it. |
| - Design double riveted double cover butt-joint for 100 KN Load | - Calculate pitch of rivets - Calculate bearing strength of rivet. - Determine the strength of plate. - Calculate No of rivets required - Draw the sketch and label it |
| - Analyze and sketch single riveted single cover butt-joint | - Calculate shearing strength of rivet - Calculate bearing strength of rivet. - Calculate tearing strength of plate. - Determine the strength of plate. - Calculate efficiency. - Draw the sketch and label it. |
| CU4. Calculate the load carrying capacity of welded lap joint. | - Check for the limitations on the weld geometry - Design strength of the weld - Tension strength of the member |
| CU5. Design welded lap joint for 100 KN Load | - Assume material properties - Design the tension member - Design the welded connection - Layout of Connection - Fracture strength of the member - Design the gusset plate |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define terms: Pitch, back pitch, margin, edge distance, nominal diameter of rivets, and gross diameter of rivets.

- Explain the different types of riveted joints.

- Explain failure strength and efficiency of riveted joints.

- Calculate the strength, efficiency, pitch etc., of riveted joints.

- Define welded joint and compare riveted joints and welded joints

- State different types of welded joints

- Calculate strength & dimensions of fillet welded joints only

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Design single riveted lap joint.

- Design double riveted double cover butt joint.

- Calculate efficiency of riveted joint.

- Calculate the strength of fillet welded joint.

Tools and Equipment

1.         Calculator

2.	Paper

3.	Pencil

4.	Eraser Tools

    - Analyze forces in truss members

Overview: This competency standard covers the skills and knowledge required to calculate forces in members of statically determinate truss by method of joint and method of sections different members of trusses.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Evaluate Forces in members of a given truss by method of joints | - Draw the diagram of truss. - Calculate reactions. - Consider the joint. - Calculate forces of unknown members - Tabulate result - Draw force diagram. |
| CU2. Evaluate Forces in members of a given truss by method of sections | - Draw the diagram of truss. - Calculate reactions - Draw section line - Apply condition of Equilibrium to determine forces - Tabulate result - Draw force diagram. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- State the types of steel structures

- Describe the merits of steel construction

- Describe the demerits of steel construction

- State the types of structural steels

- Describe and sketch the hot rolled structural shapes

- Describe and sketch the cold formed shapes

- Describe and sketch the built-up sections

- Define cladding

- Define truss, state types and parts of steel trusses.

- State methods of truss analysis.

- Determine forces in members of statically determinate truss by method of joints & method of sections.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Calculate forces in statically determinate truss.

- Prepare table of forces.

- Identify nature of forces tension, compression.

    - Determine stability of retaining wall

Overview: This competency standard covers the skills and knowledge required to calculate active and passive earth pressure, stresses at base (toe and heel), application of Rankin’s formula, stress distribution diagram, Apply Checks against stability of retaining walls, solve numerical problems

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Examine the stability of given retaining wall. | - Draw the section of wall. - Calculate weight of wall and its point of action. - Evaluate pressure of retained material - Draw pressure diagram. - Locate point of action of resultant force. - Calculate stresses developed at base. - Apply the check of stability. |
| CU2. Calculate stresses in base of given retaining wall and stress distribution diagram. | - Draw the section of wall. - Calculate weight of wall and its point of action. - Evaluate pressure of retained material - Draw pressure diagram. - Locate point of action of resultant force. - Calculate stresses developed at base. - Draw stress distribution diagram at base. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- State the terms: retaining wall, classification of retaining wall, angle of repose, level & surcharge backing, active and passive earth pressure.

- Explain the pressures on retaining wall and stresses at base (toe and heel) Rankin’s formula and its applications.

- Describe the stress distribution diagram at base of the retaining wall.

- Describe conditions of stability of retaining walls.

K5.   Check and compare the results of stability of retaining walls with standards.

K6.    Numerical problems relating to stresses at base of retaining wall.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

List of Tools, Equipment and Consumable

02: Civil Engineering Drawing

11: Construction II

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Brick Making Machine | 1. | Sand |
| 2. | Brick Molds | 2. | Sand Dust |
| 3. | Hand roller | 3. | cement |
| 4. | Thermometer | 4. | self-tapping screws |
| 5. | Umbrella with stand | 5. | soft sheet nails |
| 6. | PPEs | 6. | Wall board adhesive |
| 7. | Calculator | 7. | Distemper |
| 8. | Stone masonry instruments | 8. | Brick Ballast |
| 9. | Scissor | 9. | Lime |
| 10. | Mason Trowel | 10. | Paint |
| 11. | Pointing Trowel | 11. | Thermophore for Joints 2” & 1” thick |
| 12. | Troweling Blades | 12. | Water Stopper for Concrete (Plastic) |
| 13. | Hammer | 13. | Lime Color (Different) |
| 14. | Hammer Forged steel rectangle head | 14. | Road Metals |
| 15. | Lump hammers | 15. | Chalk |
| 16. | Hammers (bricks, club and scutch) | 16. | Luminous Slip |
| 17. | Sledge hammers | 17. | Stone Crush |
| 18. | Air compressors and hoses | 18. | Lime beds |
| 19. | Bevels | 19. | Pencil, |
| 20. | hand/power saws | 20. | Eraser, |
| 21. | Core cutting saw | 21. | Sharpener, |
| 22. | Jig saws | 22. | Drawing sheet, |
| 23. | Masonry saws | 23. | Acoustic underlay material, adhesives |
| 24. | Wet and dry diamond saws | 24. | Caulking compound, cement mortar (with and without additives) |
| 25. | Marking equipment | 25. | Clouts, cornice adhesive, crack suppression membrane |
| 26. | Measuring tapes and rules, | 26. | Fixings and fasteners |
| 27. | Metallic Tape 100 feet (30m) | 27. | Patching materials, plasterboard nails, pre-mixed and mixed fillers |
| 28. | Steel Tape- Slide Lock, Automatic Returns, Metallic / plastic case, 5-meter, Graduation on both side in feet & meter | 28. |  |
| 29. | Measuring scale, |  |  |
| 30. | Nail guns |  |  |
| 31. | Protractors |  |  |
| 32. | squares (combination/tri) |  |  |
| 33. | steel squares and fences |  |  |
| 34. | string lines |  |  |
| 35. | Line blocks and line pins |  |  |
| 36. | builders’ lines |  |  |
| 37. | static lines |  |  |
| 38. | Compass |  |  |
| 39. | Corner Float and float Blades |  |  |
| 40. | Steel float Set (Small, medium, large) Wooden Handle |  |  |
| 41. | Wooden Float (Small, medium, large) Wooden Handle |  |  |
| 42. | Groove Cutter |  |  |
| 43. | Cement sheet cutters |  |  |
| 44. | Tile cutters |  |  |
| 45. | Edger |  |  |
| 46. | Brooms |  |  |
| 47. | Polishers |  |  |
| 48. | Hand Grinders |  |  |
| 49. | Power grinders |  |  |
| 50. | Vibrator |  |  |
| 51. | Vibrating Rod |  |  |
| 52. | Form work |  |  |
| 53. | Molds |  |  |
| 54. | Workability test apparatus |  |  |
| 55. | Core cutting machine |  |  |
| 56. | Hand Drill Machines with drills |  |  |
| 57. | Power drill machines with drills |  |  |
| 58. | Sheet plate |  |  |
| 59. | Plate bar |  |  |
| 60. | Plate rod |  |  |
| 61. | Adjustable base plates |  |  |
| 62. | Channels |  |  |
| 63. | Forgings area |  |  |
| 64. | Casting platform |  |  |
| 65. | Furnace |  |  |
| 66. | Wheel Barrow: |  |  |
| 67. | Bucket |  |  |
| 68. | Paint Scraper Set |  |  |
| 69. | Potien Filler Knife Set |  |  |
| 70. | Chisel Set (9"-12"-18") |  |  |
| 71. | Plumb Bob |  |  |
| 72. | plumb rules |  |  |
| 73. | Straight Edge |  |  |
| 74. | Shovels with handle |  |  |
| 75. | Kassi (Plies) with handle |  |  |
| 76. | Spirit Level (Aluminum 2 ft. length) |  |  |
| 77. | torpedo levels |  |  |
| 78. | Dumpy Level |  |  |
| 79. | Pick Axe |  |  |
| 80. | Tray (Galvanized Iron, 14 SWG) SET |  |  |
| 81. | Pointing Tray |  |  |
| 82. | Striker for vertical joint (pointing) |  |  |
| 83. | Striker for horizontal joint (pointing) |  |  |
| 84. | Bamboo (10 feet) |  |  |
| 85. | Bamboo (15 feet) |  |  |
| 86. | Battens (5'x3½"x2½") |  |  |
| 87. | Shesham Wood Planks (7'x7"x1½") |  |  |
| 88. | Mortar Pan -GI Sheet (20 SWG) Size, 45 cm dia |  |  |
| 89. | mortar boards |  |  |
| 90. | Adjustable Wrench Set- * Hardened Steel, tempered and chrome plated, * Set include 8" (20cm), 12" (30cm), 18" (45cm) |  |  |
| 91. | Mixing Spoon Set- heavy gauge stainless steel, 150mm, 200mm, and 250mm long, round bottom |  |  |
| 92. | Concrete mixers |  |  |
| 93. | Elevators |  |  |
| 94. | Forklifts |  |  |
| 95. | jointing tools |  |  |
| 96. | Margin or raking tools |  |  |
| 97. | materials hoists |  |  |
| 98. | Cantilevered hoists (materials only with maximum capacity of 500kg) |  |  |
| 99. | Wall Scaffolds |  |  |
| 100. | scaffold belts |  |  |
| 101. | scaffolding planks |  |  |
| 102. | bracket scaffolds (tank and formwork) |  |  |
| 103. | prefabricated scaffolds |  |  |
| 104. | braces |  |  |
| 105. | small petrol or diesel engines and compressors, |  |  |
| 106. | Bolsters |  |  |
| 107. | brick buggies |  |  |
| 108. | brick grabs |  |  |
| 109. | Bends and hitches |  |  |
| 110. | box spanners |  |  |
| 111. | Couplers and accessories |  |  |
| 112. | Fiber ropes |  |  |
| 113. | Gin wheels |  |  |
| 114. | guard rails |  |  |
| 115. | Ledgers |  |  |
| 116. | Mesh guards |  |  |
| 117. | mid rails |  |  |
| 118. | modular and prefabricated components |  |  |
| 119. | Safety nets |  |  |
| 120. | Stairs or ladders |  |  |
| 121. | Standards |  |  |
| 122. | steel and aluminum tubes (pipes) |  |  |
| 123. | transoms |  |  |
| 124. | Wire nips |  |  |
| 125. | Pallet trolleys |  |  |
| 126. | profiles |  |  |
| 127. | Brushes |  |  |
| 128. | Caulking guns |  |  |
| 129. | Electrical leads |  |  |
| 130. | Hose and water sprays |  |  |
| 131. | Nippers |  |  |
| 132. | Pointed grouters |  |  |
| 133. | power screwdrivers |  |  |
| 134. | sanders |  |  |
| 135. | Rags |  |  |
| 136. | rubber mallets |  |  |
| 137. | Sanding blocks |  |  |
| 138. | spacers and wedges |  |  |
| 139. | Spatulas |  |  |
| 140. | sponges, squeegees |  |  |
| 141. | wire brushes, |  |  |
| 142. | Work platforms |  |  |
| 143. | scribes |  |  |

12: Concrete Technology

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Compression Testing Machine | 1. | Cement |
| 2. | Flexure / Tension Machine (cement Mortar Briquette Tensile Testing | 2. | Sand |
| 3. | Electronic Digital Balance (Top-Pan Type) | 3. | Aggregates of sizes |
| 4. | Electronic Digital Precision Balance (Top-Pan Type) |  |  |
| 5. | Top Pan Weighting Balance |  |  |
| 6. | Buoyancy Balance, 6000g x 0.1 g, ASTM C 127 |  |  |
| 7. | Vicat Apparatus |  |  |
| 8. | Lechatlier's Apparatus complete set for soundness |  |  |
| 9. | LE CHATELIER FLASK, ASTM C188; BS 4550 for relative density of cement. |  |  |
| 10. | Sand Equivalent Apparatus ASTM D 2419 |  |  |
| 11. | Digital Stop Watch |  |  |
| 12. | Planetary Mixer, ASTM C 305 |  |  |
| 13. | Desiccators cabinet |  |  |
| 14. | Specific Gravity Test Set |  |  |
| 15. | Set of Sieve |  |  |
| 16. | Sieve shaker |  |  |
| 17. | Non-Distractive Test (Concrete Test Hammer) |  |  |
| 18. | Flakiness Sieve Set |  |  |
| 19. | SPATULA |  |  |
| 20. | Wire Brush for clearing modules |  |  |
| 21. | Trimming Knife |  |  |
| 22. | Graduated Cylinders |  |  |
| 23. | Flakiness Index Gauge |  |  |
| 24. | Elongation index gauge (length gauge) |  |  |
| 25. | Wire Basket |  |  |
| 26. | Tray (Galvanized Iron, 14 SWG) SET |  |  |
| 27. | Pycnometer |  |  |
| 28. | Conical Flask |  |  |
| 29. | Beakers |  |  |
| 30. | Thermometers |  |  |
| 31. | Wash Bottle (Plastic 250 ml capacity) |  |  |
| 32. | Specific Gravity Bottles (25ml ) |  |  |
| 33. | Metallic Scoops |  |  |
| 34. | Mortar & Pestle |  |  |
| 35. | Mixing Spoon Set |  |  |
| 36. | Mixing Bowl |  |  |
| 37. | Rebar Locator Apparatus |  |  |
| 38. | Concrete Drum Mixer (Tilting Type) |  |  |
| 39. | Platform scale |  |  |
| 40. | MOULDS: - cubes 150mm (6") with clamp attached based plate, easily collapsible sides (made of cast iron) |  |  |
| 41. | cubes 100mm (4") with clamp attached based plate, easily collapsible sides (made of steel) |  |  |
| 42. | cylinders 150mm dia X 300mm height (6" dia x 12" height) complete with base plate and locking arrangement, made of Steel |  |  |
| 43. | mortar cubes 50mm (2") made of brass / steel, three gang mould, machined in internal surfaces, easily collapsible |  |  |
| 44. | beams 150 x 150x600mm (6"x6"x24") made of steel |  |  |
| 45. | Set of Spanners for (cubes and cylinder, beam moulds) |  |  |
| 46. | Tamping Rod for cubes/cylinders 16 mm dia 600 mm long ASTM |  |  |
| 47. | Tamping Rod for mould, 25 x 25 x380 mm (BS 1881) |  |  |
| 48. | Concrete cylinder capping complete including: a. two steel retainers for 6" (15cm) dia cylinders, b- Electric melting pot for melting capping compound (with |  |  |
| 49. | 20kg capping compound Tin) |  |  |
| 50. | Vibrating Table |  |  |
| 51. | Poker Vibrator |  |  |
| 52. | Slump Test Apparatus |  |  |
| 53. | Compacting Factor Apparatus |  |  |
| 54. | Mechanical Sieve Shaker |  |  |
| 55. | Wheel Barrow: |  |  |

13: Quantity Surveying

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Calculators | 1. | Printer papers |
| 2. | Computer latest model with Server | 2. | Printer Toner |
| 3. | Computer latest model work stations | 3. | USB |
| 4. | Laptop computer | 4. | Lead Pencils |
| 5. | Net working | 5. | Eraser |
| 6. | UPS 2000 Watt with batteries |  |  |
| 7. | Multimedia Projector |  |  |
| 8. | Scanner for A-3 paper |  |  |
| 9. | Printer LaserJet |  |  |
| 10. | USB Sticks |  |  |
| 11. | Computer Chair (will be added in furniture portion) without arm rest – 5 legs base |  |  |
| 12. | Computer Table (will be added in furniture portion) 2½ x 2 x 2½ |  |  |
| 13. | License software for education Latest Versions: Auto CAD Civil 3D M.S Office Antivirus Microsoft windows |  |  |

|  | 14: Contract Management |  |  |
| --- | --- | --- | --- |
| S# | Tools and Equipment | S# | Consumable Material |
| 1. | Calculator | 1. | Pencil |
| 2. | Ruler | 2. | Eraser |
| 3. | Drawing lab equipment |  |  |

|  | 15: Water Supply and Sanitary Engineering |  |  |
| --- | --- | --- | --- |
| S# | Tools and Equipment | S# | Consumable Material |
| 1 | Water Hardness Test Apparatus: | 1 | Drawing sheet |
| 2 | Turbidity Test Apparatus | 2 | Sewers of different materials |
| 3 | Personal Protective equipment, dresses | 3 | Jointing materials (as required) |
| 4 | Plungers, | 4 | Nut and bolts |
| 5 | Pressure testing kits, | 5 | Flanges |
| 6 | Radiator tools | 6 | Cement |
| 7 | Calculator | 7 | Sand |
| 8 | Thermometer | 8 | Yarn |
| 9 | Drawing instruments | 9 | Lead |
| 10 | Scissor | 10 | Kerosine Oil |
| 11 | Pressure testing kits, |  |  |
| 12 | Umbrella with stand |  |  |
| 13 | Spirit level |  |  |
| 14 | PPEs |  |  |
| 15 | Pegs |  |  |
| 16 | Measuring Tape |  |  |
| 17 | Compass |  |  |
| 18 | Arrows |  |  |
| 19 | Protector |  |  |
| 20 | Trench digging tools |  |  |
| 21 | Trench sides |  |  |
| 22 | Chain pulley |  |  |
| 23 | Small crane |  |  |
| 24 | Excavator |  |  |
| 25 | Clamps |  |  |
| 26 | Drain suction machine |  |  |
| 27 | Flushing machine with water |  |  |
| 28 | Flushing pipes |  |  |

|  | 16: Mechanics of Structures |  |  |
| --- | --- | --- | --- |
| S# | Tools and Equipment | S# | Consumable Material |
| 1. | Calculator | 1. | Graph Paper |
| 2. | Rockwell hardness testing machine with accessories, | 2. | Lead Pencil |
| 3. | Brinell’s hardness tester with accessories | 3. | Rubber |
| 4. | Allen key, | 4. | Specimen metallic plates. |
| 5. | Indenter. | 5. | Steel bars. |
| 6. | Universal testing machine, | 6. | Metallic wires. |
| 7. | Vernier calipers, |  |  |
| 8. | Mild Steel Rod of given dimension |  |  |
| 9. | Steel rule. |  |  |
| 10. | Strain gauge |  |  |
| 11. | Young Modulus apparatus along with accessories |  |  |