National Diploma Level -5 in Civil Technology

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Contents

1.	Introduction	7

2.	Purpose of the Qualification:	7

3.	Overall objectives of training program	8

4.	Entry level of trainees	8

5.	Minimum qualification for teachers	9

6.	Duration of the course:	9

7.	Description and structure of the course	11

8.	Scheme of Studies.	18

9.	Detail of Modules Level wise	19

National Qualification Certificate level 4 site supervisor in Civil Technology	19

9.11 Construction II	19

0732B&CE-131. Prepare subgrade, base, and bedding course for paving	19

0732B&CE-132. Lay paving	23

0732B&CE-133. Perform concrete, tiles and mosaic flooring	27

0732B&CE-134. Perform marble/granite flooring	32

0732B&CE-135. Apply water proofing remedial processes	35

0732B&CE-136. Apply and install sealants	40

0732B&CE-137. Perform water proofing works	43

0732B&CE-138. Apply water proofing tools and equipment	51

0732B&CE-139. Perform water proofing of basements	60

0732B&CE-140. Apply water proofing to internal wet areas	67

0732B&CE-141. Install Physical termite barriers	75

0732B&CE-142. Erect and dismantle slip formwork	82

0732B&CE-143. Install trench support	87

0732B&CE-144. Construct underpinning	90

0732B&CE-145. Carry out reinforced concrete work	95

0732B&CE-146. Work safely on roofs	100

0732B&CE-147. Install roof components	103

0732B&CE-148. Install roof drainage	108

0732B&CE-149. Lay roof tiles	113

0732B&CE-150. Erect roof trusses	117

9.12. Quantity Surveying	120

0732B&CE-151. Produce rough cost estimates of buildings	120

0732B&CE-152.  Evaluate items of work for straight wall, T, L, H, U shaped and circular walls.	123

0732B&CE-153. Produce detailed estimate of a single storey building.	125

0732B&CE-154. Produce Annual/Special repair estimates-Building and Road.	127

0732B&CE-155. Evaluate Earth work for Civil Engineering structures.	130

0732B&CE-156. Produce detailed estimate of Arterial roads	134

0732B&CE-157. Produce material statements.	138

0732B&CE-158. Analyse Rates of different items of work for building.	142

0732B&CE-159. Produce of rough cost estimate of water supply scheme.	149

0732B&CE-160. Produce rough cost estimate of Sewerage scheme.	152

0732B&CE-161. Evaluate value & standard rent of an existing building	157

0732B&CE-162. Produce Detailed Estimate of Culverts.	160

0732B&CE-163. Produce Detailed Estimate of Bridge.	163

9.13 Water Supply	166

0732B&CE-164. Estimate demand for Water Supply	166

0732B&CE-165. Prepare sketches of aqueducts & water pipes	168

0732B&CE-166. Draw sketches of intakes	171

0732B&CE-167. Plan water treatment (Clarification)	172

0732B&CE-168. Plan water treatment (Filtration)	175

0732B&CE-169. Plan water distribution system	177

9.14. Strength of Materials	180

0732B&CE-170. Locate centroid of different sections	180

0732B&CE-171. Find out Moment of Inertia of Different Sections	186

0732B&CE-172. Produce Shear Force and Bending Moment Diagrams	192

0732B&CE-173. Find Hardness of Metals	199

0732B&CE-174. Conduct Tensile Strength Test	202

9.17 Soft Skills	204

0732B&CE175-	Develop workplace policy and procedures for sustainability	204

0732B&CE176-	Manage meetings	207

0732B&CE177-	Manage recruitment selection and induction processes.	210

0732B&CE178-	Manage personal work priorities and professional development	214

0732B&CE179-	Manage workforce planning	217

0732B&CE180-	Undertake project work	221

0732B&CE181-	Identify and communicate trends in career development	225

0732B&CE182-	Apply specialist interpersonal and counseling interview skills.	229

0732B&CE183-	Work safely in an office environment	235

0732B&CE184-	Develop workplace documents	237

0732B&CE185-	Prepare and implement negotiation	240

0732B&CE186-	Maintain professionalism in the workplace	247

0732B&CE187-	Maintain professional development and career professionalism	251

0732B&CE188-	Organize schedules	254

9.16 Construction III	256

0732B&CE-189. Erect and dismantle formwork to suspended slabs, columns, beams and walls	256

0732B&CE-190. Operate elevated platforms	260

0732B&CE-191. Construct, erect and dismantle formwork for stairs and ramps	265

0732B&CE-192. Evaluate materials for multi-storey buildings	273

0732B&CE-193. Apply structural principles to the construction of large, high rise and complex buildings	277

0732B&CE-194. Install fire and smoke containment systems	282

0732B&CE-195. Inform clients about thermal performance of residential buildings	291

0732B&CE-196. Design air conditioning and ventilation system	296

0732B&CE-197. Design acoustic of an auditorium	301

0732B&CE-198. Insulate sound insulation products in building	304

0732B&CE-199. Install ceiling insulation	308

0732B&CE-200. Design an earthquake resistant building	315

0732B&CE-201. Coordinate maintenance and repair of buildings	317

0732B&CE-202. Assess construction faults in buildings	320

0732B&CE-203. Repair and rectify concrete	324

0732B&CE-204. Repair wall and floor tiles	328

0732B&CE-205. Apply building codes and standards to building projects	332

9.17 Concrete Technology	335

0732B&CE-206. Test the Properties of Cement	335

0732B&CE-207. Find Out Strength of Cement	339

0732B&CE-208. Test the Properties of Aggregate	342

0732B&CE-209. Test the Properties of Fresh Concrete	346

0732B&CE-210. Destructive Tests on Hardened Concrete	349

0732B&CE-211. Perform Non-Destructive Tests on Hardened Concrete	354

9.18. Advanced Quantity Surveying	358

0732B&CE-212. Produce Detailed Estimate of Water Tanks.	358

0732B&CE-213. Produce Detailed Estimate of Wells.	364

0732B&CE-214. Produce Detailed Estimate of Steel Structures	369

0732B&CE-215. Produce Detailed Estimate of RCC Framed Structure	373

0732B&CE-216. Produce Detailed Estimate of Building Services.	376

0732B&CE-217. Produce Detailed Estimates Using Computer Software -Excel.	380

0732B&CE-218. Produce Project of Road in AutoCAD Civil 3D software	389

9.19. Construction Management	393

0732B&CE-219. Produce Pre-Qualification Documents & collect expression of interest	393

0732B&CE-220. Set Evaluation Criteria for the assessment	397

0732B&CE-221. Produce Tender Documents & Collect Proposals	399

0732B&CE-222. Perform Tender Evaluation & Award of Contract	403

0732B&CE-223. Perform Post-Award Legal/Contract Requirements and Finance.	405

0732B&CE-224. Maintain record of Stores.	408

0732B&CE-225. Perform Variation Orders, Claims and Dispute Adjudication Board	411

9.20 Sanitary Engineering	414

0732B&CE-226. Design sanitary sewers	414

0732B&CE-227. Design storm water sewers	417

0732B&CE-228. Layout of sewers	419

0732B&CE-229. Prepare sketches of sewer appurtenance	421

0732B&CE-230. Construct Sewers	426

0732B&CE-231. Maintain Sewers	429

0732B&CE-232. Install Sewage Pumps	431

0732B&CE-233. Produce sketches of sewage treatment plant	433

0732B&CE-234. Dispose sewage	435

9.21. Engineering Mechanics	437

0732B&CE-235. Design Homogeneous Beams	437

0732B&CE-236. Determine deflection of beams	443

0732B&CE-237. Determine Load Carrying Capacity of Columns	447

0732B&CE-238. Evaluate Efficiency of Riveted and Welded Joints	450

0732B&CE-239. Analyze Forces in Truss Members	457

0732B&CE-240. Determine Stability of Retaining Wall	461

10.	List of Tools, Equipment and Consumable	469

# Introduction

Civil engineering is considered as the first discipline of the various branches of engineering after military engineering, and includes the designing, planning, construction, and maintenance of the infrastructure. The works include roads, bridges, buildings, dams, canals, water supply and numerous other facilities that affect the life of human beings. Civil engineering is intimately associated with the private and public sectors, including the individual homeowners and international enterprises. It is one of the oldest engineering professions, and ancient engineering achievements due to civil engineering include the pyramids of Egypt and road systems developed by the Romans.

Civil engineering has a significant role in the life of every human being, though one may not truly sense its importance in our daily routine. The function of civil engineering commences with the start of the day when we take a shower, since the water is delivered through a water supply system including a well-designed network of pipes, water treatment plant and other numerous associated services. The network of roads on which we drive while proceeding to school or work, the huge structural bridges we come across and the tall buildings where we work, all have been designed and constructed by civil engineers. Even the benefits of electricity we use are available to us through the contribution of civil engineers who constructed the towers for the transmission lines. In fact, no sphere of life may be identified that does not include the contribution of civil engineering. Thus, the importance of civil engineering may be determined according to its usefulness in our daily life. Therefore, industry expectations for skilled workforce are also dynamic which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for Civil Technology under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representation from the leading Construction, Real States & Builder industry of the country.

# Purpose of the Qualification:

The purpose of this qualifications is to set high professional standards for civil technology sector. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees

- Provide opportunities for recognition of skills attained through non-formal or informal pathways

- Improve the quality and effectiveness of training and assessment for civil technology industry

- Enable the existing workforce to capacitate themselves in new technologies and methods

# Overall objectives of training program

The Civil qualification of level 5 consists of both the theoretical and practical details and having the following Occupations

- Civil Surveyor

- Draftsman

- Quantity Surveyor

- Quantity Surveyor after Draftsman

- Materials Technician

- Construction Quality control Supervisor

- Mason

- Plumber

- Domestic Electrician.

- Site supervisor

# Entry level of trainees

| National Vocational Certificate Level 1 & 2 (Site Assistant in Civil Technology) | Middle |
| --- | --- |
| National Vocational Certificate Level 3 ( Assistant Surveyor in Civil Technology) | Level 1 & 2 |
| National Vocational Certificate Level 4 ( Site Supervisor in Civil Technology) | Level 3 |
| National Diploma in Civil Technology Level 5 | Level 4 |

# Minimum qualification for teachers

- B. Tech in Civil Technology 4 Years

- B.Sc. / B.E. in Civil Engineering 4 Years

- D. A. E. in Civil Technology with 3 Years teaching experience

- Must be able to communicate effectively

Medium of instruction

English, and Urdu.

# Duration of the course:

The proposed curriculum is composed of 306 modules that will be covered in 3600 Learning hours. Duration of the course is proposed to be Three years. The total weightage for technical modules is 3600 hours. A total of 1200 hours have been reserved for allied subjects i.e. Islamic studies, English, Mathematics, Physics and Chemistry.

The details of technical modules are given as under:

Level 1- 2 = 6 months. (Single Semester)

Level - 3 = 6 months. (Single Semester)

Level - 4 = 1 Year. (Two Semesters)

Level - 5 = 1 Year. (Two Semesters)

The overall distribution of contact hours and Credit Hours is given below:

Total.		3600 hours. & 360 Credits

Theory.	976 hours (27.11 %)

Practical.	2624 hours (72.89 %)

The distribution of contact hours and credit hours in each level is given below:

Level 1- 2 = 6 months (16 weeks)

Total.		592 hours. & 59.2 Credits

Theory.	128 hours (22 %)

Practical.	464 hours (78 %)

Level - 3 = 6 months (16 weeks)

Total.		608 hours. & 60.8 Credits

Theory.	128 hours (21 %)

Practical.	480 hours (79 %)

Level - 4 = 1 Year (16 weeks + 16 Weeks)

Total.		1200 hours. & 120 Credits

Theory.	240 hours (20 %)

Practical.	960 hours (80 %)

Level - 5 = 1 Year (16 weeks + 16 Weeks)

Total.		1200 hours. & 120 Credits

Theory.	480 hours (40 %)

Practical.	720 hours (60 %)

# Description and structure of the course

Following is the structure of the course:

(National Vocational Certificate Level 4 Site Supervisor in Civil Technology)Part I

|  | Competency Standard | Category | Level | Theory | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 9.11 Construction Techniques II |  |  | 32 | 128 | 160 | 16 |
| 0732B&CE131 | Prepare subgrade, base, and bedding course for paving | Core | 4 | 3 | 10 | 13 | 1.3 |
| 0732B&CE132 | Lay paving | Core | 4 | 1 | 5 | 6 | 0.6 |
| 0732B&CE133 | Perform concrete, tiles and mosaic flooring | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE134 | Perform marble/granite flooring | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE135 | Apply water proofing remedial processes | Core | 4 | 2 | 5 | 7 | 0.7 |
| 0732B&CE136 | Apply and install sealants | Core | 4 | 1 | 5 | 6 | 0.6 |
| 0732B&CE137 | Perform water proofing works | Core | 4 | 2 | 5 | 7 | 0.7 |
| 0732B&CE138 | Apply water proofing tools and equipment | Core | 4 | 3 | 5 | 8 | 0.8 |
| 0732B&CE139 | Perform water proofing of basements | Core | 4 | 2 | 5 | 7 | 0.7 |
| 0732B&CE140 | Apply water proofing to internal wet areas | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE141 | Install Physical termite barriers | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE142 | Erect and dismantle slip formwork | Core | 4 | 2 | 10 | 12 | 1.2 |
| 0732B&CE143 | Install trench support | Core | 4 | 1 | 7 | 8 | 0.8 |
| 0732B&CE144 | Construct underpinning | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE145 | Carry out reinforced concrete work | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE146 | Work safely on roofs | Generic | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE147 | Install roof components | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE148 | Install roof drainage | Core | 4 | 2 | 7 | 9 | 0.9 |
| 0732B&CE149 | Lay roof tiles | Core | 4 | 1 | 7 | 8 | 0.8 |
| 0732B&CE150 | Erect roof trusses | Core | 4 | 1 | 7 | 8 | 0.8 |
|  | 9.12 Basic Quantity Surveying |  |  | 16 | 176 | 192 | 19.2 |
| 0732B&CE151 | Produce rough cost estimates of buildings | Core | 4 | 1 | 15 | 16 | 1.6 |
| 0732B&CE152 | Evaluate items of work for straight wall, T, L, H, U shaped and circular walls. | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE153 | Produce detailed estimate of a single storey building. | Core | 4 | 1 | 15 | 16 | 1.6 |
| 0732B&CE154 | Produce Annual/special repair estimates-Building and Road. | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE155 | Evaluate Earth work for Civil Engineering structures | Core | 4 | 1 | 18 | 19 | 1.9 |
| 0732B&CE156 | Produce detailed estimate of Arterial roads | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE157 | Produce material statements | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE158 | Analyze Rates of different items of work for building | Core | 4 | 2 | 16 | 18 | 1.8 |
| 0732B&CE159 | Produce of rough cost estimate of water supply scheme. | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE160 | Produce of rough cost estimate of Sewerage scheme. | Core | 4 | 2 | 15 | 17 | 1.7 |
| 0732B&CE161 | Evaluate Value & Standard Rent of Buildings | Core | 4 | 1 | 12 | 13 | 1.3 |
| 0732B&CE162 | Produce Detailed Estimate of Culverts | Core | 4 | 1 | 13 | 14 | 1.4 |
| 0732B&CE163 | Produce Detailed Estimate of Bridges. | Core | 4 | 1 | 12 | 13 | 1.3 |
|  | 9.13 Water Supply |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE164 | Estimate demand for Water Supply | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE165 | Prepare sketches of aqueducts & water pipes | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE166 | Draw sketches of intakes | Core | 4 | 2 | 7 | 9 | 0.9 |
| 0732B&CE167 | Plan water treatment (Clarification) | Core | 4 | 4 | 12 | 16 | 1.6 |
| 0732B&CE168 | Plan water treatment (Filtration) | Core | 4 | 4 | 9 | 13 | 1.3 |
| 0732B&CE169 | Plan water distribution system | Core | 4 | 2 | 12 | 14 | 1.4 |
|  | 9.14 Strength of Materials |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE170 | Locate centroid of different sections | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE171 | Find out moment of inertia of different sections | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE172 | Produce Shear Force and Bending Moment Diagrams | Core | 4 | 4 | 16 | 20 | 2 |
| 0732B&CE173 | Find hardness of metals | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE174 | Conduct Tensile Strength Test | Core | 4 | 3 | 12 | 15 | 1.5 |
|  | 9.15. Soft Skills |  |  | 32 | 64 | 96 | 9.6 |
| 0732B&CE175 | Develop workplace policy and procedures for sustainability | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE176 | Manage meetings | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE177 | Manage recruitment selection and induction processes | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE178 | Manage personal work priorities and professional development | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE179 | Manage workforce planning | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE180 | Undertake project work | Generic | 4 | 3 | 6 | 9 | 0.9 |
| 0732B&CE181 | Identify and communicate trends in career development | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE182 | Apply specialist interpersonal and counseling interview skills | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE183 | Work safely in an office environment | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE184 | Develop workplace documents | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE185 | Prepare and implement negotiation | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE186 | Maintain professionalism in the workplace | Generic | 4 | 2 | 4 | 6 | 0.6 |
| 0732B&CE187 | Maintain professional development and career professionalism | Generic | 4 | 4 | 8 | 12 | 1.2 |
| 0732B&CE188 | Organize schedules | Generic | 4 | 3 | 6 | 9 | 0.9 |

(National Vocational Certificate Level 4 Site Supervisor in Civil Technology)Part II

| ISEC Code | Competency Standard | Category | Level | Theory | Practical | Total | Credit Hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 9.16 Construction Techniques III |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE189 | Erect and dismantle formwork to suspended slabs, columns, beams and walls | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE190 | Operate elevated platforms | Core | 4 | 1 | 7 | 8 | 0.8 |
| 0732B&CE191 | Construct, erect and dismantle formwork for stairs and ramps | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE192 | Evaluate materials for multi-storey buildings | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE193 | Apply structural principles to the construction of large, high rise and complex buildings | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE194 | Install fire and smoke containment systems | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE195 | Inform clients about thermal performance of residential buildings | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE196 | Design air conditioning and ventilation system | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE197 | Design acoustic of an auditorium | Core | 4 | 0.5 | 4 | 4.5 | 0.45 |
| 0732B&CE198 | Insulate sound insulation products in building | Core | 4 | 1 | 4 | 5 | 0.5 |
| 0732B&CE199 | Install ceiling insulation | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE200 | Design an earthquake resistant building | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE201 | Coordinate maintenance and repair of buildings | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE202 | Assess construction faults in buildings | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE203 | Repair and rectify concrete | Core | 4 | 1 | 3 | 4 | 0.4 |
| 0732B&CE204 | Repair wall and floor tiles | Core | 4 | 0.5 | 3 | 3.5 | 0.35 |
| 0732B&CE205 | Apply building codes and standards to building projects | Core | 4 | 1 | 3 | 4 | 0.4 |
|  | 9.17 Concrete Technology |  |  | 32 | 64 | 96 | 9.6 |
| 0732B&CE206 | Test the Properties of Cement | Core | 4 | 6 | 12 | 18 | 1.8 |
| 0732B&CE207 | Find Out Strength of Cement | Core | 4 | 4 | 9 | 13 | 1.3 |
| 0732B&CE208 | Test the Properties of Aggregate | Core | 4 | 6 | 12 | 18 | 1.8 |
| 0732B&CE209 | Test the Properties of Fresh Concrete | Core | 4 | 6 | 10 | 16 | 1.6 |
| 0732B&CE210 | Destructive Tests on Hardened Concrete | Core | 4 | 6 | 9 | 15 | 1.5 |
| 0732B&CE211 | Perform Non-Destructive Tests on Hardened Concrete | Core | 4 | 4 | 12 | 16 | 1.6 |
|  | 9.18 Advanced Quantity Surveying |  |  | 16 | 144 | 160 | 16 |
| 0732B&CE212 | Produce Detailed Estimate of Water Tanks. | Core | 4 | 2 | 18 | 20 | 2 |
| 0732B&CE213 | Produce Detailed Estimate of Wells. | Core | 4 | 2 | 18 | 20 | 2 |
| 0732B&CE214 | Produce Detailed Estimate of Steel Structures | Core | 4 | 2 | 18 | 20 | 2 |
| 0732B&CE215 | Produce Detailed Estimate of RCC Framed Structure | Core | 4 | 2 | 21 | 23 | 2.3 |
| 0732B&CE216 | Produce Detailed Estimate of Building Services. | Core | 4 | 2 | 12 | 14 | 1.4 |
| 0732B&CE217 | Produce Detailed Estimates Using Computer Software -Excel. | Core | 4 | 3 | 27 | 30 | 3 |
| 0732B&CE218 | Produce Project of Road in AutoCAD Civil 3D software | Core | 4 | 3 | 30 | 33 | 3.3 |
|  | 9.19 Contract Management |  |  | 32 | 64 | 96 | 9.6 |
| 0732B&CE219 | Produce Prequalification documents and collect EOI | Core | 4 | 6 | 8 | 14 | 1.4 |
| 0732B&CE220 | Set Evaluation Criteria for Assessment | Core | 4 | 3 | 3 | 6 | 0.6 |
| 0732B&CE221 | Produce Tender Documents & Collect Proposals | Core | 4 | 6 | 18 | 24 | 2.4 |
| 0732B&CE222 | Perform Tender Evaluation & Award of Contract | Core | 4 | 5 | 17 | 22 | 2.2 |
| 0732B&CE223 | Perform Post Award Legal/ Contract Requirements and Finance | Core | 4 | 5 | 5 | 10 | 1 |
| 0732B&CE224 | Maintain record of Stores. | Core | 4 | 3 | 4 | 7 | 0.7 |
| 0732B&CE225 | Perform Variation orders, claims and Dispute Adjudication Borad | Core | 4 | 4 | 9 | 13 | 1.3 |
|  | 9.20 Sanitary Engineering |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE226 | Design sanitary sewers | Core | 4 | 2 | 9 | 11 | 1.1 |
| 0732B&CE227 | Design storm water sewers | Core | 4 | 1.5 | 7 | 8.5 | 0.85 |
| 0732B&CE228 | Layout of sewers | Core | 4 | 2 | 6 | 8 | 0.8 |
| 0732B&CE229 | Prepare sketches of sewer appurtenance | Core | 4 | 2 | 6 | 8 | 0.8 |
| 0732B&CE230 | Construct Sewers | Core | 4 | 1.5 | 9 | 10.5 | 1.05 |
| 0732B&CE231 | Maintain Sewers | Core | 4 | 1.5 | 6 | 7.5 | 0.75 |
| 0732B&CE232 | Install Sewage Pumps | Core | 4 | 2 | 6 | 8 | 0.8 |
| 0732B&CE233 | Produce sketches of sewage treatment plant | Core | 4 | 1.5 | 9 | 10.5 | 1.05 |
| 0732B&CE234 | Dispose sewage | Core | 4 | 2 | 6 | 8 | 0.8 |
|  | 9.21 Engineering Mechanics |  |  | 16 | 64 | 80 | 8 |
| 0732B&CE235 | Design Homogeneous Beam | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE236 | Determine Deflection of Beams | Core | 4 | 2 | 9 | 11 | 1.1 |
| 0732B&CE237 | Determine load carrying capacity of columns | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE238 | Evaluate Efficiency of Joints-riveted and welded | Core | 4 | 2 | 9 | 11 | 1.1 |
| 0732B&CE239 | Analyze forces in truss members | Core | 4 | 3 | 12 | 15 | 1.5 |
| 0732B&CE240 | Determine stability of retaining wall | Core | 4 | 3 | 10 | 13 | 1.3 |

# Scheme of Studies.

National Vocational Certificate Level 4 Site Supervisor in Civil Technology)Part I

| Code | Name of Subjects | Category | Numbers of Module | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Construction Techniques II | Technical | 20 | 32 | 128 | 160 | 16 | 2 | 8 | 10 |
| 000000000 | Basic Quantity Surveying | Technical | 13 | 16 | 176 | 192 | 19.2 | 1 | 11 | 12 |
| 000000000 | Water Supply | Technical | 06 | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Strength of Materials | Technical | 05 | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Soft Skills | Technical | 14 | 32 | 64 | 96 | 9.6 | 2 | 4 | 6 |
| 00000000 |  | Allied |  |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |  |
| Total |  |  | 58 | 112 | 496 | 608 | 60.8 | 7 | 31 | 38 |

National Vocational Certificate Level 4 Site Supervisor in Civil Technology) Part II

| Code | Name of Subjects | Category | Numbers of Module | Contact Hour |  |  | Credit | Periods per week |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  | Th | Pr | Total |
| 000000000 | Construction Techniques III | Technical | 17 | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 | Concrete Technology | Technical | 06 | 32 | 64 | 96 | 9.6 | 2 | 4 | 6 |
| 000000000 | Advanced Quantity Surveying | Technical | 07 | 16 | 144 | 160 | 16 | 1 | 9 | 10 |
| 000000000 | Contract Management | Technical | 07 | 32 | 64 | 96 | 9.6 | 2 | 4 | 6 |
| 000000000 | Sanitary Engineering | Technical | 09 | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 00000000 | Engineering Mechanics | Technical | 06 | 16 | 64 | 80 | 8 | 1 | 4 | 5 |
| 000000000 |  | Allied |  |  |  |  |  |  |  |  |
| 000000000 |  | Allied |  |  |  |  |  |  |  |  |
| Total |  |  | 52 | 128 | 464 | 592 | 59.2 | 8 | 29 | 37 |
| Grand Total of Level-4 |  |  | 110 | 240 | 960 | 1200 | 120 | 15 | 60 | 75 |

- Detail of Modules Level wise

# National Qualification Certificate level 4 site supervisor in Civil Technology

## 9.11 Construction II

### 0732B&CE-131. Prepare subgrade, base, and bedding course for paving

Objective: This module covers the knowledge and skills required to prepare subgrade, base and bedding course in preparation for laying paving.

Duration: 13.0 Hours						                Theory: 3 Hours				                 Practice: 10 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for work | Trainee will be able to: - Confirm work instructions with supervisor. - Select required tools and equipment, check for serviceability and any faults. - Calculate materials quantity requirements in accordance with specifications. - Obtain Materials needed and check for compliance | - Selection of Tools and equipment - Calculation of materials quantity - Practical Activity - Prepare for work | Theory-1 Hrs Practical-1.5 Hrs Total- 2.5 Hrs | Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Construction Lab |
| - Identify soil | Trainee will be able to: - Identify class of soil used as per soil classification charts. - Determine properties of soil assessed to its class. - Determine sub grade requirements of penetration tests. | - Identification of class of soil - Determination of soil properties - Determination of subgrade requirement of penetration test. - Practical Activity - Identify soil | Theory 0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs | Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Construction Lab |
| - Prepare subgrade | Trainee must be able to: - Identify drainage and other features are within the area to be paved. - Identify drains put in place where required - Identify services in work area - Identify damp proof courses and paving is constructed so that it does not compromise them. - Components are cleaned, stacked and stored for reuse or bundled for removal. | - Identification of drainage of the paved area - Identification of drains in required places - Identification of damp proof courses and paving - Practical Activity - Prepare subgrade | Theory-0.5 Hrs Practical-2.5 Hr Total- 3 Hrs | Personal protective equipment compactors concrete mixer leveling devices rakes screed shovels string lines Wheelbarrows. bedding sand cement concrete crushed rock aggregates | Class Room and Construction Lab |
| - Install base course material | Trainee must be able to: - Calculate quantity of base course materials is based upon the subgrade type and purpose of the paved area. - Distribute material over area, allowing for compaction. - Compact area taking care not to over-compact base materials. | - Calculation of base course material - Distribution of material over the area - Practical Activity - Install base course material | Theory-0. 5 Hrs Practical-2. Hr Total- 2.5 Hrs | Personal protective equipment compactors concrete mixer leveling devices rakes screed shovels string lines Wheelbarrows. bedding sand cement concrete crushed rock aggregates | Class room and Construction Lab |
| - Install bedding course materials | Trainee must be able to: - Select bedding course material - Calculate quantity of layer course materials - Distribute material over the area to be paved within tolerances stipulated by relevant standards. - Handle compacting machinery correctly. - Screed base materials to levels as determined, and set out by string lines or other mechanisms. - Clean the work area. | - Selection of bedding course - Calculation of layer course material - Distribution of material over the paved area - Handling of machinery - Setting out base materials - Cleaning of work area - Practical Activity - Install bedding course materials | Theory-0.50 Hrs Practical-2 Hrs Total- 2.5 Hrs | Personal protective equipment compactors concrete mixer leveling devices rakes screed shovels string lines Wheelbarrows. bedding sand cement concrete crushed rock aggregates | Class room and Construction Lab |

### 0732B&CE-132. Lay paving

Objective: This module covers the knowledge and skills prepare to lay pavers on level and inclined surfaces.

Duration: 6 Hours									Theory: 1.0 Hours				Practice: 5 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan work | Trainee will be able to: - Confirm work instructions with supervisor. - Select tools and equipment are selected as required, check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications. - Obtain and prepare materials needed for compliance | - Select tools and equipment - Check for serviceability and any faults - Calculation of material quantity - Practical Activity - Plan work | Theory-0.25 Hr Practical-1.5 Hrs Total- 1.75 Hr | Eraser Pencil Sharpener Ruler Notepad | Class Room and Construction lab |
| - Set out work area | Trainee will be able to: - Identify location and area of paved area from plans and specifications. - Identify sub-soil and footing types according to standards. - Locate underground services - Set out location and shape of paving area to dimensions from plans and specifications. | - Location and area of paved area from plans and specifications. - Sub-soil and footing types according to standards. - Shape of paving area to dimensions from plans and specifications. - Practical Activity - Set out work area | Theory-0.25 Hrs Practical-2.5 Hrs Total- 2.75 Hrs | Bolsters, brick buggies, buckets, builders' lines, builders’ squares, Concrete mixers Forklifts, Hammers, hoses Line blocks, line pins Masonry saws, mason's squares measuring tapes and rules, mortar boards Pallet trolleys Rakes and brooms, rubber mallets Screed boards, shovels, small petrol or diesel engines, compressors or mixers, spirit levels, straight edges, string lines Trowels Vibrating plates, Wheelbarrows | Class Room and Construction lab |
| - Lay paving | Trainee will be able to: - Excavate area is to required depth, allowing for base and thickness of unit and specified finish level. - Position drainage pipes in sub soil in accordance with plans and specifications. - Mix mortar for masonry paving to specifications and standards. - Spread substrate base material and compact to specifications. - Spread and screed bedding material is spread to designed level and alignment. - Position edge boards to set out and specifications. - Grade paving surface to fall evenly, without ponding, to outlets or surface run-off system. - Determine initial starting line is and lay pavers to line conforming to specified pattern. - Cut paving units and segments and lay to designed pattern and specifications, with joints to specifications and surface finish aligned. - Maintain finished level is across junctions between different finishes. Complete paving installation with joints finished to specifications. - Clean paving surface is on completion to specifications. | - Position of drainage pipes in sub soil - Mixing of mortar for masonry paving - Spreading and compaction of substrate base - Position of edge boards - Determination of initial starting line is and lay pavers to line - Cutting of paving units and segments - Practical Activity - Lay paving | Theory-0.50 Hrs Practical-1.0 Hrs Total- 1.50 Hrs | Bolsters, brick buggies, buckets, builders' lines, builders’ squares, Concrete mixers Forklifts, Hammers, hoses Line blocks, line pins Masonry saws, mason's squares measuring tapes and rules, mortar boards Pallet trolleys Rakes and brooms, rubber mallets Screed boards, shovels, small petrol or diesel engines, compressors or mixers, spirit levels, straight edges, string lines Trowels Vibrating plates, Wheelbarrows | Class Room and Construction lab |

### 0732B&CE-133. Perform concrete, tiles and mosaic flooring

Objective: This module covers the knowledge and  skills prepare for supervising construction works using concrete. It requires candidates to be able to assess concrete materials in their raw and finished states, identify and evaluate the characteristics of different concrete types, identify defects and impurities in concrete and understand the effect of impurities in concrete. It is appropriate for supervisors of concrete constructions.

Duration: 12 Hours								Theory: 2.0Hours				Practice: 10 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare concrete mixture | Trainee will be able to: - Read, and interpret drawing / layout and specification according to the job requirements. - Select materials according to job requirements. - Select and use PPE as per the job requirements. - Select and use required tools and equipment as per the job requirements - Prepare materials as per the job requirement following standard procedures. - Mix materials as per the job requirement following standard procedures. - Transport concrete mix as per the job requirement following standard procedures. | - Interpretation of drawing / layout - Selection of materials - Selection and use of PPE - Type of drains constructed for effluent - Selection and use of required tools - Preparation of materials - Mixing of materials as per the job requirement following standard procedures. - Transportation of concrete mix - Practical Activity - Prepare concrete mixture | Theory-0.5 Hr Practical-2.5 Hrs Total- 3 Hr | Mason hammer Trowel Chisel Measuring tape Try square Mason thread Sprite level Bucket Mortar pan Sponge/form Wooden/steel float Shovel Spade Wire brush Screeds(wooden/steel) Grinder Wooden/steel edge | Class Room and Construction lab |
| - Perform concrete flooring | Trainee will be able to: - Prepare surfaces as per the job requirement following standard procedure - Lay the concrete mixtures as per the job requirement following standard procedure - Compact the concrete mixtures/surfaces following standard procedures. - Plaster the floor surfaces following standard practices - Prepare and apply cement slurry to the surfaces as per the job requirement following standard procedures. - Cure the floor surfaces following standard practices. | - Preparation of surfaces - Compaction of the concrete mixtures/surfaces - Plastering the floor surfaces - Preparation and application of cement slurry to the surfaces - Practical Activity - Perform concrete flooring | Theory-0.5 Hrs Practical-2.5 Hrs Total- 3 Hrs | Mason hammer Trowel Chisel Measuring tape Try square Mason thread Sprite level Bucket Mortar pan Sponge/form Wooden/steel float Shovel Spade Wire brush Screeds(wooden/steel) Grinder Wooden/steel edge | Class Room and Construction lab |
| - Perform tiles flooring | Trainee will be able to: - Prepare surfaces as per the job requirement following standard procedures. - Prepare tiles as per the job requirement following standard procedures. - Plaster the floor surfaces as per the job requirement following standard procedures. - Prepare and apply cement slurry as per the job requirement following standard procedures. - Lay floor tiles as per the job requirement following standard procedures. - Cure the floor surfaces following standard practices. - Finish the floor surfaces as per the job requirement following standard procedures. | - Preparation of surfaces - Preparation of tiles as per the job requirement - Floor surface plastering - Preparation and application of cement slurry as per the job requirement - Laying of floor tiles - Practical Activity - Perform tiles flooring | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Mason hammer Trowel Chisel Measuring tape Try square Mason thread Sprite level Bucket Mortar pan Sponge/form Wooden/steel float Shovel Spade Wire brush Screeds(wooden/steel) Grinder Wooden/steel edge | Class Room and Construction lab |
| - Perform mosaic flooring | Trainee will be able to: - Prepare surfaces as per the job requirement following standard procedure. - Place the stripes as per the job requirement following standard practices. - Pour the concrete mixtures as per the job requirement following standard procedure. - Compact the concrete mixtures/surfaces of following standard procedures. - Prepare mosaic mix as per the job requirement following standard practices. - Pour and compact mosaic mix as per the job requirement following standard procedures. - Finish the floor surfaces as per the job requirement following standard procedures. | - Preparation of surfaces - Placing of the stripes - Pouring of the concrete mixtures - Compaction of the concrete - Preparation of mosaic mix - Pouring and compaction of mosaic mix - Practical Activity - Perform mosaic flooring | Theory-0.5 Hrs Practical-02 Hrs Total- 2.5 Hrs | Mason hammer Trowel Chisel Measuring tape Try square Mason thread Sprite level Bucket Mortar pan Sponge/form Wooden/steel float Shovel Spade Wire brush Screeds(wooden/steel) Grinder Wooden/steel edge | Class Room and Construction lab |

### 0732B&CE-134. Perform marble/granite flooring

Objective: This module covers the knowledge and skills concrete Mixture and Lay marbles/granite

Duration: 5 Hours								Theory: 1 Hours				Practice: 4 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare concrete mixture | Trainee will be able to: - Read, and interpret drawing / layout and Specification according to the job requirements. - Select materials according to job requirements. - Select and use PPE as per the job requirements. - Select and use required tools and equipment as per job requirements - Prepare materials as per the job requirement following standard procedures. - Mix materials as per the job requirement - Transport concrete mix as per the job requirement following standard procedures. | - Interpretation of drawing / layout - Selection of materials - Selection and use of PPE - Type of drains constructed for effluent - Selection and use of required tools - Preparation of materials - Mixing of materials as per the job requirement following standard procedures. - Transportation of concrete mix - Practical Activity - Prepare concrete mixture | Theory-0.5 Hr Practical-2 Hrs Total- 2.5 Hr | Straight edge Plumb bob Sprite level Grinding tools Trowel Pans shovels Molding tools Cutter Float Pencil Eraser Drawing Layout sharpener | Class Room and Construction lab |
| - Lay marbles/ granite | - Trainee will be able to: - Prepare surfaces as per the job requirement following standard procedure - Prepare marble/granite slabs as per the Standard procedure. - Plaster the floor surfaces as per the standard - Prepare and apply cement slurry as per the job requirement standard procedure. - Lay marble/granite tiles as per the job requirement following standard procedure. - Finish the floor surfaces as per the job requirement following standard procedures. | - Preparation of surfaces - Compaction of the concrete mixtures/surfaces - Plastering the floor surfaces - Preparation and application of cement slurry to the surfaces - Estimation and costing. - Curing procedures - Economic use of materials - Grinding and molding procedures - Practical Activity - Perform concrete flooring | Theory-0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs | Straight edge Plumb bob Sprite level Grinding tools Trowel Pans shovels Molding tools Cutter Float Pencil Eraser Drawing Layout Sharpener | Class Room and Construction lab |

### 0732B&CE-135. Apply water proofing remedial processes

Objective: This module covers the knowledge and  skills prepare to apply remedial waterproofing processes to external and below ground level wet areas, using injection epoxy, cement crystallisation or hydrostatic coating methods. It includes identification of the waterproofing system to be used, its preparation and its application

Duration: 7 Hours									Theory: 2 Hours				Practice: 5 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. | - Construction systems and waterproofing considerations - General construction terminology - Job safety analysis (JSA) and safe work method statements - Materials storage and environmentally friendly waste management - Identification and implementation of signage and barricade - Calculation of materials quantity - Practical Activity - Plan and prepare | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | angle grinders chisels electric drills and screwdrivers hammers impact drills measuring tapes and rules mixing equipment pressure injection equipment, including: cartridge applications compressors hoses pumps vacuum pumps spirit levels Straight edges. | Class Room and Construction lab |
| - Identify - waterproofing system. | - Trainee will be able to: - Identify area to be waterproofed from a technical report or diagnosed damp fault area and inspected for defects and soundness in accordance with job and manufacturer specifications. - Inspect area of structure for waterproofing surface application for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyze and select appropriate remedial waterproofing systems and products in accordance with job and manufacturer specifications - Check range of waterproofing materials for product suitability, conformity to specification and compatibility with surface material, preparation and waterproofing installation technique. - Select type of waterproofing material is identified in accordance with type of substrate, job specification, state of structure and job safety requirements. | - plans, drawings and specifications - plant, tools and equipment types, characteristics, uses and limitations - principles and considerations of water exclusion - processes for the calculation of material requirements - quality requirements - remedial waterproofing materials, processes and testing techniques - Workplace and equipment safety requirements. - Practical Activity - Identify waterproofing system. | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | angle grinders chisels electric drills and screwdrivers hammers impact drills measuring tapes and rules mixing equipment pressure injection equipment, including: cartridge applications compressors hoses pumps vacuum pumps spirit levels straight edges. | Class Room and Construction lab |
| - Prepare for waterproofing process. | - Trainee will be able to: - Confirm site to be repaired in accordance with drawings, specifications and manufacturers' specification. - Set out construction/installation site to specified location, structure and dimensions in accordance with drawings and specifications. | - quality requirements - remedial waterproofing materials, processes and testing techniques - Workplace and equipment safety requirements. - Practical Activity - Prepare for waterproofing | Theory-0.75 Hrs Practical-01 Hrs Total- 1.75 Hrs | angle grinders chisels electric drills and screwdrivers hammers impact drills measuring tapes and rules mixing equipment pressure injection equipment, including: cartridge applications compressors hoses pumps vacuum pumps spirit levels straight edges. | Class Room and Construction lab |
| - Apply waterproofing using injection. | - Trainee will be able to: - Determine and measure Injection hole set-out spacing and in accordance with manufacturer recommendations. - Apply materials prepared for injection method application in accordance with manufacturer recommendations. - Prepare and set up Injection equipment for injection process in accordance with manufacturer recommendations. - Test and flush injection system in accordance with manufacturer specifications. - Make damp course water resistant and capped using injection method in accordance with manufacturer recommendations and to specifications. | - Determination and measurement of injection hole set out spacing - Application of materials prepared - preparation and setting up of injection equipment for injection process - testing and flushing of injection system - making of damp course water resistant and capping by injection method - Practical Activity - Perform mosaic flooring | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | angle grinders chisels electric drills and screwdrivers hammers impact drills measuring tapes and rules mixing equipment pressure injection equipment, including: cartridge applications compressors hoses pumps vacuum pumps spirit levels straight edges. | Class Room and Construction lab |

### 0732B&CE-136. Apply and install sealants

Objective: This module covers the knowledge and skills required to apply and install sealants.

Duration: 6 Hours									Theory: 1 Hours				Practice: 5 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply and install sealants | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details, for planning and preparation purposes - Follow safety (OHS) requirements in Accordance with safety plans and policies. - Identify and implement signage and barricade requirements - Select plant, tools and equipment to carry out tasks consistent with job requirements, check for serviceability, and any faults - Sealant material quantity requirements are calculated in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, safely handle and locate materials appropriate to the work application | - Safe materials handling techniques and requirements - Types of sealants used in buildings - Performance of sealants used in buildings - Identification of signage and barricade requirements - Practical Activity - Apply and install sealants | Theory-0.25 Hrs Practical-1.5 Hrs Total- 1.75 Hrs | Sealants Safety Helmets Gloves Goggles Mask Applicators | Class Room and Construction Lab |
| - Prepare surface to receive sealants. | - Trainee will be able to: - Clean surface free of contaminants such as oil, grease, dust or moisture. - Surface is prepared by sanding and/or cleaning in accordance with preparation specifications. | - Effects of Contaminants on Sealants - Preparation Specifications - Practical Activity - Prepare surface to receive sealants. | Theory-0.50 Hrs Practical-2 Hrs Total- 2.5 Hrs | Sealants Safety Helmets Gloves Goggles Mask Applicators | Class Room and Construction Lab |
| - Apply sealant. | - Trainee must be able to: - Apply sealant materials to manufacturer recommendations and specifications. - Take care to ensure no air is trapped within applied sealant | - Handling of hazardous materials relevant to sealant application work - Understanding of manufacturer recommendations and specifications - Types and use of hand tools and equipment relevant to sealant application work - Practical Activity - Apply sealant | Theory-0.25 Hrs Practical-1.5 Hrs Total- 1.75 Hrs | Sealants Safety Helmets Gloves Goggles Mask Applicators | Class Room and Construction Lab |

### 0732B&CE-137. Perform water proofing works

Objective: This module covers the knowledge and  skills required to safely and effectively use tools and equipment used in waterproofing. It includes identification, selection and use of hand and power tools, plant and equipment used in masonry work.

Duration: 7 Hours									Theory: 2 Hours				Practice: 5 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for work. | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. | - Learning of work instructions and operational details from relevant information for planning and preparation purposes. - Identification & implementation of signage and barricade requirements. - Application and calculation of material quantity in accordance with plans, specifications and quality requirements. - Identification of environmental requirements for project. - Practical Activity - Preparation for work | Theory-0.50 Hrs Practical-0.75 Hrs Total- 1.25 Hrs | Personal protective equipment | Class Room and Construction Lab |
| - Identify waterproofing system. | - Trainee will be able to: - Identify basement, water tank area to be waterproofed from job drawings and specifications. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyze and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Check range of waterproofing materials for product suitability; conformity to specification; and compatibility with surface material, preparation and waterproofing installation technique. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements | - Description of applications, limitations and method of operation and maintenance of hand and power tools, plant and equipment applicable to waterproofing tasks. - Practical Activity - Identifying waterproofing system. | Theory-0.5 Hrs Practical-0.75 Hrs Total- 1.25 Hrs | Material Water Apparatus Water Tank Waterproofing materials Caulking Gun | Class Room and Construction Lab |
| - Prepare water proofing installation. | - Trainee must be able to: - Check basement, tank and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required to be in place and secure. - Check rebates for baths and basins for compliance with standards. | - Steps for preparation of water proofing installation - Understanding of different items in accordance with Specifications, Standards and manufacturer recommendations. - Description of equipment applicable to waterproofing tasks - Practical Activity - Preparation of water proofing installation. | Theory-.0.25 Hrs Practical-0.5 Hrs Total- 0.75 Hrs | Material Water Tools Angle grinders Brooms, Brushes Buckets Caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and Construction Lab |
| - Prepare substrate | - Trainee must be able to: - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure to manufacturers' specification, where applicable. | - Steps for the preparation of Substrate in accordance with Standards and manufacturer Specifications. - Techniques for Substrate preparation - Learning of Standards and manufacturer Specifications. - Practical Activity - Preparation of Substrate | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Material Water Tools Angle grinders Brooms, Brushes Buckets Caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and Construction Lab |
| - Identify and select plant and equipment | - Trainee must be able to: - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required in accordance with manufacturer specifications. - Cure waterproofing membrane in accordance with manufacturers' specification and workplace requirements. - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements and sign-off and handover of work is carried out in accordance with workplace requirements. | - Identification and uses of equipment - Application of different materials and their using methods in consistent with manufacturers' specification, workplace requirements and good building practice. - Undertaking of Final Inspection and handing over of work in accordance with certifying authority and workplace requirement. - Practical Activity - Identify and select plant and equipment | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | angle grinders brooms brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammer heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges vacuum cleaners. | Class Room and Construction Lab |
| - Clean up | - Trainee must be able to: - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, and codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. | - Clearing of work space according to codes of practice and job specification - Reuse, recycle and disposal of materials - Maintenance of tools and equipment - Practical Activity - Cleaning up | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Vacuum cleaners Brooms Brushes Buckets | Class Room and Construction Lab |

### 0732B&CE-138. Apply water proofing tools and equipment

Objective: This module covers the knowledge and  skills required to safely and effectively use tools and equipment used in waterproofing. It includes identification, selection and use of hand and power tools, plant and equipment used in masonry work.

Duration: 8 Hours									Theory: 3 Hours				Practice: 5 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for work. | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. | - Learning of work instructions and operational details from relevant information for planning and preparation purposes. - Identification & implementation of signage and barricade requirements. - Application and calculation of material quantity in accordance with plans, specifications and quality requirements. - Identification of environmental requirements for project. - Practical Activity - Preparation for work. | Theory-0.25 Hrs Practical-0.75 Hrs Total- 1.0 Hrs | Personal protective equipment | Class Room and Construction Lab |
| - Identify hand and power tools. | - Trainee will be able to: - Identify type and function of hand and power tools to be used in the waterproofing work. - Methods of operation of hand and power tools are identified from specifications, standards and manufacturers' instructions. - Specific OHS requirements for specific hand and power tools are identified and applied. - Personal protective equipment (PPE) required for operation of the tools is identified in accordance with regulatory and workplace requirements. | - Identification of Types and functions of Hand and Power Tools - Methods of operation of Hand and Power Tools - Requirement for Personal protective equipment (PPE) and their identification according to requirement | Theory-0.25 Hrs Practical-0.25 Hrs Total- 0.5 Hrs | angle grinders brooms brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammer heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges vacuum cleaners. | Class Room and Construction Lab |
| - Select Tools for work | - Trainee must be able to: - Select tools and equipment consistent with job requirements. - Check tools, including leads and hoses, for tags, serviceability and report safety and any faults to supervisor. - Check power tools guards, guides and controls and maintained in accordance with manufacturer recommendations. - Check equipment to hold or support material during operation and inspect for faults. - Complete pre-operational checks, including lubricants, hydraulic fluid and water, in accordance with manufacturer recommendations | - Checking and selection of tools - Pre-operational checks including lubricants, hydraulic fluid and Water - Practical Activity - Selection of tools for work | Theory-0.5Hrs Practical-0.75Hrs Total- 1.25Hrs | angle grinders brooms brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammer heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges vacuum cleaners. | Class Room and Construction Lab |
| - Use Tools | - Trainee must be able to - Connect power and compressed air supply to work area to the area of work in accordance with regulatory and workplace requirements and codes of practice. - Observe start-up and shut-down procedures. - Use tools safely and effectively according to manufacturer recommendations and regulatory requirements. - Switch off tools safely and locate when not in use. | - Observance of procedures for Start-up and shut-down - Proper usage of Tools according to manufacturer recommendations - Practical Activity - Use Tools | Theory-0.50 Hrs Practical-1 Hrs Total- 1.50 Hrs | angle grinders brooms brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammer heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges vacuum cleaners. | Class Room and Construction Lab |
| - Identify and select plant and equipment | - Trainee must be able to - Identify function and limitations of waterproofing hand and power tools, plant and equipment used for waterproofing systems and waterproofing tasks. - Identify method of operation of plant and equipment from specifications, standards and manufacturers' instructions. - Identify and apply OHS requirements for specific plant and equipment, including requirements for guarding, guiding and controls. - Identify PPE required for the operation of plant and equipment in accordance with regulatory and workplace requirements. - Items of plant and equipment are selected consistent with hazard minimization and needs of the job. - Check plant and equipment for safety, and report faults to supervisor in accordance with workplace procedures. - Recognize and adhere to OHS requirements for operating and using plant and equipment | - Identification and uses of equipment - Application of different materials and their using methods in consistent with manufacturers' specification, workplace requirements and good building practice. - Undertaking of Final Inspection and handing over of work in accordance with certifying authority and workplace requirement. | Theory-0.50 Hrs Practical-1 Hrs Total- 1.50 Hrs | angle grinders brooms brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammer heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges vacuum cleaners. | Class Room and Construction Lab |
| - Use plant and equipment | - Trainee must be able to - Observe start-up and shut-down procedures - Use plant and equipment safely and effectively according to manufacturer recommendations and regulatory requirements. - Switch off plant and equipment safely and locate when not in use. | - Procedure of operating plants. | Theory-0.50Hrs Practical-1Hrs Total-1.50 Hrs | angle grinders brooms brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammer heat welders,hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges vacuum cleaners. |  |
| - Clean up | - Trainee must be able to - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. | - Clearing of work space according to codes of practice and job specification - Reuse, recycle and disposal of materials - Maintenance of tools and equipment | Theory-0.50 Hrs Practical-0.25Hrs Total- 0.75 Hrs | Vacuum cleaners Brooms Brushes Buckets | Class Room and Construction Lab |

### 0732B&CE-139. Perform water proofing of basements

Objective: This module covers the knowledge and skills required to identify of the waterproofing system to be used, prepare water proofing system and perform water proofing system in basements.

Duration: 7 Hours								Theory: 2 Hours				Practice: 5 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare. | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Select plant, tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. | - Learning of work instructions and operational details from relevant information for planning and preparation purposes. - Identification & implementation of signage and barricade requirements. - Application and calculation of material quantity in accordance with plans, specifications and quality requirements. - Identification of environmental requirements for project. - Practical Activity - Preparation and planning for work. | Theory-0.5 Hrs Practical-1.0 Hrs Total-1.5 Hrs | Personal protective equipment | Class Room and workshop |
| - Identify water proofing system. | - Trainee will be able to: - Identify basement area to be waterproofed from job drawings and specifications. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyse and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Check range of waterproofing materials for product suitability; conformity to specification; and compatibility with surface material, preparation and waterproofing installation technique. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions | - Description of applications, limitations and method of operation and maintenance of hand and power tools, plant and equipment applicable to waterproofing tasks. - Practical Activity - Identifying waterproofing system. | Theory-0.5 Hrs Practical-0.50 Hrs Total- 1 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and workshop |
| - Prepare for water proofing installation | - Trainee must be able to: - Check basement area and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required to be in place and secure. - Check rebates for baths and basins for compliance with standards. | - Learning of characteristics and applications of waterproofing materials and adhesives - Understanding of drawings and specifications - Description of plant, tools and equipment types, characteristics, uses and limitations - Practical Activity - Preparation of Water Proofing Installation | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges Vacuum cleaners. | Class Room and workshop |
| - Apply water proofing to basement. | - Trainee must be able to - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure to manufacturers' specification, where applicable. - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required in accordance with manufacturer specifications. - Cure waterproofing membrane in accordance with manufacturers' specification and workplace requirements. - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements and sign-off and handover of work is carried out in accordance with workplace requirements. | - Preparation of Surfaces to be waterproofed - Installation of different items - Description of Internal waterproofing materials, processes and techniques - Principles and considerations of water exclusion - Practical Activity - Application of Water Proofing to Basement | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and Construction Lab |
| - Clean up. | - Trainee must be able to - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. | - Clearing of work space according to codes of practice and job specification - Reuse, recycle and disposal of materials - Maintenance of tools and equipment - Practical Activity - Clean up | Theory-0.10 Hrs Practical-1 Hrs Total- 1.10 Hrs | Vacuum cleaners Brooms Brushes Buckets | Class Room and Construction Lab |

### 0732B&CE-140. Apply water proofing to internal wet areas

Objective: This module covers the knowledge and  skills required to identify of the waterproofing system to be used, prepare water proofing system and apply water proofing system.

Duration: 12 Hours									Theory: 2 Hours				Practice: 10 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare. | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Select plant, tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. | - Learning of work instructions and operational details from relevant information for planning and preparation purposes. - Identification & implementation of signage and barricade requirements. - Application and calculation of material quantity in accordance with plans, specifications and quality requirements. - Identification of environmental requirements for project. - Practical Activity - Preparation and planning for work. | Theory-0.5Hrs Practical-2.5 Hrs Total- 3 Hrs | Personal protective equipment | Class Room and workshop |
| - Identify water proofing system. | - Trainee will be able to: - Identify internal area to be waterproofed from job drawings and specifications. - Inspect area of structure to be waterproofed for defects and soundness in accordance with job and manufacturer specifications. - Identify, analyse and select appropriate waterproofing systems and products for water exclusion in accordance with job and manufacturer specifications, and with material safety data sheet (MSDS) directions. - Check range of waterproofing materials for product suitability; conformity to specification; and compatibility with surface material, preparation and waterproofing installation technique. - Determine termination detailing. - Identify type of waterproofing material in accordance with job specification, state of structure, and job safety requirements with MSDS directions | - Read and interpret plans, drawings and specifications - Description of MSDS - Characteristics and applications of waterproofing materials and adhesives - Practical Activity - Identifying waterproofing system. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and workshop |
| - Prepare for water proofing installation | - Trainee must be able to: - Check internal wet area and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Install corner flashing in accordance with manufacturer recommendations. - Check points of connection, termination detailing and over flashings as required to be in place and secure. - Check rebates for baths and basins for compliance with standards. | - Learning of characteristics and applications of waterproofing materials and adhesives - Understanding of drawings and specifications - Termination and flashing principals - Practical Activity - Preparation of Water Proofing Installation | Theory0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and Construction Lab |
| - Prepare Substrate | - Trainee must be able to - Correct defects and make good in accordance with manufacturer specifications, to bring substrate to a smooth and uniform finish. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings and belling out around taps. - Install water stops and hobs in required location in compliance with standards and good building practice. - Perform priming coat on prepared surface of structure to manufacturers' specification, where applicable. | - Steps for the preparation of Substrate in accordance with Standards and manufacturer Specifications. - Techniques for Substrate preparation - Learning of Standards and manufacturer Specifications. - Practical Activity - Preparation of Substrate | Theory-0.3 Hrs Practical-2 Hrs Total- 2.3 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and Construction Lab |
| - Apply water proofing. | - Trainee must be able to - Apply waterproofing membrane to primed surface of structure to correct thickness and in accordance with manufacturers' job specification. - Apply appropriate bond breakers and fillets as required in accordance with manufacturer specifications. - Cure waterproofing membrane in accordance with manufacturers' specification and workplace requirements. - Conduct flood testing of installation if required. - Protect waterproofing system and materials using methods and materials consistent with manufacturers' specification, workplace requirements and good building practice. - Under take final inspection of site in accordance with certifying authority's requirements and sign-off and handover of work is carried out in accordance with workplace requirements. | - Application of Water Proofing membrane its curing and bond breakers according to manufacturer requirement - Characteristics of waterproofing materials and adhesives - Practical Activity - Apply Water Proofing | Theory-0.1 Hrs Practical-2 Hrs Total- 2.1 Hrs | angle grinders brooms, brushes buckets caulking guns chisels, including cold chisels cutting blades electric drills and screwdrivers fans floor scrapers hammers heat welders, hot air welders, lights measuring tapes and rules moisture meters nylon rollers pressure rollers fusion rollers scissors seam probes solvent applicators spirit levels straight edges | Class Room and Construction Lab |
| - Clean up. | - Trainee must be able to - Clear work area and dispose of, reuse or recycle materials in accordance with legislation, regulations, codes of practice and job specification. - Clean, check, maintain and store plant, tools and equipment in accordance with manufacturer recommendations and standard work practices. | - Clearing of work space according to codes of practice and job specification - Reuse, recycle and disposal of materials - Maintenance of tools and equipment - Practical Activity - Clean up | Theory-0.1 Hrs Practical-1 Hrs Total- 1.1 Hrs | Vacuum cleaners Brooms Brushes Buckets | Class Room and Construction Lab |

### 0732B&CE-141. Install Physical termite barriers

Objective: This module covers the knowledge and skills required to install physical termite barriers, including barriers that combine physical and chemical characteristics. The unit requires the ability to assess techniques and methods of construction, as well as techniques required to prevent termites gaining concealed access to a completed construction. It requires a thorough understanding of client requirements, and the application of company information in order to perform the task. The selection of appropriate equipment, materials and methods is essential for performing the task safely and efficiently.

Duration: 12 Hours									Theory: 02 Hours				Practice: 10 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan for construction process | Trainee will be able to: - Identify installation requirements for termite barrier from work order, drawings and supervisor’s instructions. - Review work site plan and select installation specification to prevent concealed termite access according to work order and legislative, occupational health and safety (OHS) and company requirements. - Advise client of installation procedure according to work order and company requirements. - Recognize and adhere to quality assurance requirements according to company requirements. - Select and locate materials in readiness for installation according to manufacturer specifications and OHS and company requirements. - Select equipment and tools consistent with installation requirements, check serviceability, and report faults to appropriate persons according to manufacturer specifications and OHS and company requirements. | - Description of legislation, regulations, codes of practice and industry advisory standards that apply to the installation of physical termite barriers, including: -OHS legislation, relevant Australian standards and relevant license requirements - Practical Activity - Planning for Construction Process | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | Personal protective equipment for construction industry | Class Room and Construction Lab |
| LU2. Access and assess site. | - Trainee will be able to: - Access work site according to client and company requirements. - Review installation method according to work order and company requirements, and clarify issues with appropriate persons. - Check previous trades work for possible effect on proposed installation of termite barrier according to company requirements. - Assess work site for access and safety issues according to legislative, OHS and company requirements. | - Work Site access, Safety issues and installation method review and clarification of issues according to client, work order and company requirements. - Effects on proposed installation - Practical Activity - Access and assess site | Theory-0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs |  | Class Room and Construction Lab |
| LU3. Prepare site for installation | - Trainee must be able to: - Identify hazards and control risks at the work site according to company, legislative, OHS and public health and safety requirements. - Determine usage pattern of work site to ensure safety of personnel and efficient use of equipment and tools. - Identify factors affecting completion of work order and advise appropriate persons promptly. | - Description of construction methods and materials, such as: - concrete slabs, footings and wall frame materials - Determination of hazardous substances in the workplace - Identification of factors affecting completion of work order - Practical Activity - Preparation of site for installation | Theory-0.5 Hrs Practical-2.5 Hrs Total- 3 Hrs | Adhesive applicators Angle grinders Bolsters Brushes and brooms Drills: power rechargeable Generators Hammers Hoses Knives Measuring tapes or rules Power leads Rollers Safety switch equipment Screwdrivers Sheet metal or utility cutters or snips Shovels. | Class Room and Construction Lab |
| LU4. Prepare equipment | - Trainee must be able to - Select suitable personal protective equipment (PPE) and use according to manufacturer specifications and legislative, OHS and company requirements. - Select equipment and tools and check operational effectiveness according to manufacturer specifications and legislative, OHS and company requirements. - Set up equipment and tools according to manufacturer specifications and legislative, OHS and company requirements. - Adjust equipment and tools according to manufacturer specifications to suit operator’s requirements. | - Knowledge of Product, including manufacturer specifications for equipment and products being used - Installation techniques of equipment - Checking of operational effectiveness of equipment and tools - Practical Activity - Preparation of Equipment | Theory-0.23 Hrs Practical-2 Hrs Total- 2.3 Hrs |  | Class Room and Construction Lab |
| LU5. Install physical barrier | - Trainee must be able to - Install termite barrier to concealed termite access points according to work order, manufacturer specifications and company requirements. - Check installation of termite barrier according to company requirements. - Conduct work using safe operating practices according to manufacturer specifications and environmental, legislative, OHS and company requirements. | - Description of subterranean termite ecology as related to termite barrier installation - Explanation of work order specifications - Practical Activity - Installation of Physical Barrier | Theory-0.1 Hrs Practical-1 Hrs Total- 1.1 Hrs | Adhesive applicators Angle grinders Bolsters Drills: power rechargeable Generators Hammers Hoses Knives Measuring tapes or rules Power leads Rollers Safety switch equipment Screwdrivers Sheet metal or utility cutters or snips Shovels. | Class Room and Construction Lab |
| LU6. Restore work site and complete documentation | - Clean equipment, tools and PPE according to manufacturer specifications and environmental, OHS and company requirements. - Check equipment, tools and PPE safely and record required maintenance according to manufacturer specifications and OHS and company requirements. - Store cleaned equipment, tools and PPE according to company requirements. - Dispose of collected waste according to work order, manufacturer specifications and environmental, legislative, OHS and company requirements. - Update client records regulatory and complete company documentation and distribute according to legislative and company requirements. | - Cleaning and checking of tools, PPE and equipment according to manufacturer specifications and OHS and company requirements. - Storage of cleaned tools and equipment - Disposal of waste - Update of records and documentation - Practical Activity - Restore work site and complete documentation | Theory-0.1 Hrs Practical-1 Hrs Total- 1.1 Hrs | Brushes Brooms | Class Room and Construction Lab |

### 0732B&CE-142. Erect and dismantle slip formwork

Objective: This module covers the knowledge and skills required to plan and prepare, set out formwork, assemble core form system, locate and install penetrations conduct slip system and clean up.

Duration: 12 Hours									Theory: 02 Hours				Practice: 10 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements. - Select plant, tools and equipment to carry out tasks in consistent with job requirements, check for serviceability, and rectify or report any faults prior to commencement. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, and safely handle materials appropriate to the work application, including required fire resistance rating, ready for use. - Identify environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations. | - Explanation of job safety analysis (JSA) and safe work method statements - Stating material safety data sheets (MSDS) - Describing plant, tools and equipment types, characteristics, uses and limitation - Practical Activity - Plan and Prepare | Theory-0.5 Hrs Practical-2.5 Hrs Total- 3 Hrs | Personal protective equipment for construction industry. | Class Room and workshop |
| LU2. Set out formwork. | - Trainee will be able to: - Locate set out points and lines according to engineer's drawings, survey datum points and site plan for formwork erection. - Locate slip form formwork positioning to predetermine set out. | - Read, Interpret plans, specifications and drawings - Practical Activity - Set out formwork | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | Air Compressors and Hoses Chisels Hammers Levelling Equipment Measuring Tapes and Rules Nail Bags Pneumatic Wrenches Power Drills Power Leads Proprietary Slip Form Formwork Spanners Spirit Levels. | Class Room and Construction Lab |
| LU3. Assemble core form system. | - Trainee must be able to: - Erect and fix internal prefabricated system wall form shutters into location according to engineer's drawings. - Fit system to concrete nib walls to heights consistent with engineer's requirements. - Install shear key feet to manufacturer specifications. - Fit platforms and assembly into core to manufacturer specifications. - Fit structural steel system grid work and hydraulic hose lines to manufacturer specifications. - Suspend wall form shutters and fit & complete system cladding and platforms to manufacturer specifications and engineer's requirements. | - Learning construction terminology - Formwork materials and techniques - Understanding common formwork faults, problems and suitable rectifications - Practical Activity - Assemble core form system. | Theory-0.5Hrs Practical-1.5 Hrs Total-2 Hrs | Air Compressors and Hoses Chisels Hammers Levelling Equipment Measuring Tapes and Rules Nail Bags Pneumatic Wrenches Power Drills Power Leads Proprietary Slip Form Formwork Spanners Spirit Levels. | Class Room and Construction Lab |
| LU4. Locate and install penetrations. | - Trainee must be able to - Set out locations and dimensions of penetrations in accordance with designated tolerance from engineering drawings. - Construct penetrations, block-outs and cast-in services where required to engineering drawings. - Install penetrations to requirements of engineering drawings. | - Techniques used for the installation and location of Penetrations according to requirements of Engineering Drawing - Practical Activity - Locate and install Penetrations | Theory-0.3 Hrs Practical-1.5 Hrs Total- 1.8 Hrs | Hammers Levelling Equipment Measuring Tapes and Rules Nail Bags Pneumatic Wrenches Power Drills Power Leads | Class Room and Construction Lab |
| LU5. Conduct slip system. | - Trainee must be able to - Erect and fix external prefabricated system wall shutters to engineers and manufacturer specifications. - Loosen and strip shutters according to manufacturer's and OHS requirements. - Communicate with rigger to activate electrical/ hydraulic jacking of the system to the new position. - Install trailing platforms to engineer's specifications. - Dismantle formwork in accordance with manufacturer and engineer's specifications. | - Learning quality requirements for slip form formwork - Activation of Hydraulic/electrical Jacking system - Dismantling of formwork according to manufacturer and engineer's specifications. - Practical Activity - Conduct slip system | Theory-0.1 Hrs Practical-1.5 Hrs Total- 1.6 Hrs | Proprietary Slip Form Formwork Pneumatic wrenches Spanners Spirit Levels. | Class Room and Construction Lab |
| LU6. Clean up | - Clear work area and dispose of or recycle materials in accordance with project environmental management plan - Clean, check, maintain and store plant, tools and equipment | - Description of workplace and equipment safety requirements. - Disposal and recycling of materials - Maintenance and checking of tools and equipment - Practical Activity: Clean up | Theory-0.1 Hrs Practical-1.5 Hrs Total- 1.6 Hrs |  | Class Room and Construction Lab |

### 0732B&CE-143. Install trench support

Objective: This module covers the knowledge and  skills required to install trench and excavation support on a new or existing site.

Duration: 08 Hours									Theory: 1 Hours				Practice: 07 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for installing trench support | Trainee will be able to: - Access, interpret and apply trench support documentation, and ensure the work activity is compliant - Obtain, read, interpret, clarify and confirm work requirements - Identify and address potential risks, hazards and environmental issues, and implement control measures - Select and wear personal protective equipment appropriate for work activities - Identify, obtain and implement traffic signage requirements - Select, and check for faults, equipment and/or attachments for work activities - Obtain and interpret emergency procedures, and be prepared for fire/accident/emergency | - Explanation of Shoring - Learning types & components of shoring - Identifying potential risks, hazards and environmental issues, and implementation of control measures - Practical Activity - Plan and prepare for installing trench support | Theory-0.25 Hrs Practical-2.0Hrs Total- 2.25 Hrs | Personal protective equipment for construction industry. | Class Room and Construction Lab |
| LU2. Install trench shoring | - Trainee will be able to: - Communicate with plant operator and ensure the excavation of trenches complies with site plan, line and depth - Determine and prepare shoring method - Set out positioning of shoring - Position/erect shoring within the trench - Secure shoring in position and ensure structural conformity with regulations - Clean out excavation - Locate ladders for safe access and egress | - Interpret Plans, specifications and drawings - Shoring Method used - Excavation techniques - Practical Activity - Install Trench Shoring | Theory-0.25 Hrs Practical-2.0 Hrs Total- 2.25 Hrs | Battens, Props, Planks for Shoring Sheet Piling Trench Shields Timber Sets | Class Room and Construction Lab |
| LU3. Remove trench shoring | - Trainee must be able to: - Release jacking mechanisms and remove ladders - Check shoring and prepare it for lifting from the trench - Remove shoring from trench and store it | - Techniques used for releasing shoring - Storage of shoring from Trench - Practical Activity - Remove trench shoring | Theory-0.25 Hrs Practical-1.5 Hrs Total- 1.75 Hrs | Battens, Props, Planks for Shoring Sheet Piling Trench Shields Timber Sets | Class Room and workshop |
| LU4. Conduct housekeeping activities | - Trainee must be able to - Clear work area and dispose of or recycle materials - Clean and maintain condition of equipment, ensure suitability for use, and address/report issues - Manage/report hazards, and maintain a safe working environment - Process written records | - Workplace and equipment safety requirements. - Processing of written records - Practical Activity - Conduct housekeeping activities | Theory-0.25 Hrs Practical-1.5 Hrs Total- 1.75 Hrs | Broom Brushes | Class Room and Construction Lab |

### 0732B&CE-144. Construct underpinning

Objective: This module covers the knowledge and  skills required to includes planning and preparing, setting out and preparing sections, excavating sections, constructing underpinnings, and cleaning up. Licensing, legislative, regulatory and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Relevant information must be sourced prior to application of the unit.

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare | Trainee will be able to: - Access, interpret and apply compliance documentation relevant to the work activity - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details to the allotted task - Obtain and confirm safety requirements from the site safety plan and organizational policies and procedures, and apply to the allotted task - Identify, obtain and implement signage requirements from the project traffic management plan - Select tools and equipment to carry out tasks consistent with the requirements of the job, check for serviceability and rectify or report any faults - Identify environmental protection requirements from the project environmental management plan, and confirm and apply to the allotted task | - Foundation work understanding - Underpinning techniques - Construction principles for underpinning - Soil, sand, rock, clay, shale, gravel and silt types and characteristics - Practical Activity - Plan and Prepare | Theory-0.2 Hrs Practical-1.0 Hrs Total- 1.2 Hrs | Compressors Fittings and Hoses Pneumatic Picks and Jack Hammers Pumps Winches Sheet Piling Trench Shields Timber Sets | Class Room and Construction Lab |
| LU2. Set out and prepare sections | - Trainee will be able to: - Identify and record underpinning requirements for adjoining properties and roadways from site drawings and surveys of the surrounding construction - Identify and implement sections and sequence of excavations from the planned schedule for underpinning - Check existing shoring system for soundness and conformation to specifications and design requirements - Set out sections for excavation to underpinning specifications and schedule - Identify and protect areas for excavation and surrounding working space requirements to provide a safe working area - Erect barricades and signage, where required, in accordance with the site safety plan - Position plant and equipment for excavations | - Operational, maintenance and basic diagnostic procedures - Equipment types, characteristics, technical capabilities and limitations - Processes for interpreting engineering drawings - Practical Activity - Set out and prepare Sections | Theory-0.2 Hrs Practical-1.0 Hrs Total- 1.2 Hrs | Compressors Fittings and Hoses Pneumatic Picks and Jack Hammers Pumps Winches Sheet Piling Trench Shields Timber Sets | Class Room and Construction Lab |
| LU3. Excavate sections | - Trainee must be able to: - Excavate designated sections to the designed depth of footings - Install trench and excavation support in accordance with soil characteristics, safety considerations and the job safety analysis | - Site isolation and traffic control responsibilities and authorities - Materials safety data sheets and materials handling methods - Practical Activity - Excavate Sections | Theory-0.2 Hrs Practical-0.5 Hrs Total- 0.7 Hrs | Compressors Fittings and Hoses Pneumatic Picks and Jack Hammers Pumps Winches Sheet Piling Trench Shields Timber Sets | Class Room and Construction Lab |
| LU4. Construct underpinning | - Trainee must be able to - Construct underpinning in accordance with job specifications - Backfill excavated sections - Underpin alternate sections in sequence according to underpinning schedule | - Understanding of Job specifications - Underpinning Schedule - Practical Activity - Construct underpinning | Theory-0.2Hrs Practical-0.5 Hrs Total- 0.7 Hrs | Compressors Fittings and Hoses Pneumatic Picks Pumps Winches Sheet Piling Trench Shields Timber Sets | Class Room and Construction Lab |
| LU5. Clean up | - Trainee must be able to - Clear work area and disposed of or recycled materials in accordance with project environmental management plan - Clean, check, maintain and store plant, tools and equipment | - Disposal or Recycling of materials - Maintenance of store plant and tools - site and equipment safety requirements - Practical Activity - Clean Up | Theory-0.2 Hrs Practical-1 Hrs Total- 1.2 Hrs | Broom Brushes | Class Room and Construction Lab |

### 0732B&CE-145. Carry out reinforced concrete work

Objective: This module covers the knowledge and  skills required to plan and prepare work, place and fix reinforcement, carry out concrete placement and clean-up work site area.

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare work | Trainee will be able to: - Recognize Quality Assurance requirements of construction operations and adhered to. - Recognize OH&S requirements for application tasks and workplace environment adhered to. - Identify reinforcement, type of fixing and locations from instructions/reinforcement schedule, job drawings and specifications. - Check formwork/excavation for completion and conformity to receive reinforcement. - Select, fit and use appropriate personal protective equipment correctly. - Select tools and equipment consistent with job requirements - Check delivered reinforcement for correct size type and quantities against reinforcement schedule/details shown in job detail drawings | - Quality Assurance requirements of construction operations - Identifying reinforcement and type of fixing - Plant and equipment requirements - Correct size type and quantities against reinforcement schedule/details - Practical Activity - Plan and Prepare work | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs |  | Class Room and Construction Lab |
| LU2. Place and fix reinforcement | - Trainee will be able to: - Cut and bend reinforcement bars to required set -out and drawing details. - Tie bars to designed configuration from drawings. - Cut reinforcement sheets to required sizes, where applicable. - Attach stiffening rods to panels to instructions as required to facilitate handling processes - Locate bar chairs/spacers to requirements of reinforcement schedule and job drawings. | - Reinforcement schedule - Materials relevant to steel-fixing - Understanding of Drawings and specifications - Appropriate steel-fixing procedures and legislative requirements - Practical Activity - Place and fix reinforcement | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Shovels and Rakes Wooden Floats Steel Floats Bull Floats Immersion Vibrator or Vibrating Table Tarpaulins/Covers Curing Agent Applicator Steam Generator Wheelbarrow Tamping Rods Screed Boards Edging Tool Brooms Bolt Cutters Hacksaw Wire Nippers Tie Wire Spool Measuring Tape/Rule Reinforcement Bender | Class Room and Construction Lab |
| LU3. Carry out concrete placement | - Trainee must be able to: - Provide assistance provide with the undertaking of relevant concrete tests. - Transport concrete correctly and safely with wheelbarrow and discharge into formwork using correct manual handling techniques. - Place concrete to instruction, minimizing spillage. - Compact concrete to specification and instruction using immersion vibrator or other specified method. - Screed concrete to specified levels/grades as per instructions. - Finish concrete to instruction to specified surface finish. - Identify and apply curing process. - Cover concrete surface adequately with appropriate material to support curing process and protect it from damage. | - Formwork for concrete - Transport and correct Handling of Concrete - Techniques used for Concrete Compaction - Screed of Concrete - Concrete finishing Techniques - Practical Activity - Carry out concrete placement | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Shovels and Rakes Wooden Floats Steel Floats Bull Floats Immersion Vibrator or Vibrating Table Tarpaulins/Covers Curing Agent Applicator Steam Generator Wheelbarrow Tamping Rods Screed Boards Edging Tool Brooms Bolt Cutters Hacksaw Wire Nippers Tie Wire Spool Measuring Tape/Rule Reinforcement Bender | Class Room and Construction Lab |
| LU4. Clean-up work site area | - Trainee must be able to - Clear work is by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Workplace and equipment safety requirements - Checking and maintenance of tools and equipment according to requirement - Practical Activity - Clean up work site area | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Shovels and rakes Broom Brushes | Class Room and construction Lab |

### 0732B&CE-146. Work safely on roofs

Objective: This module covers the knowledge and skills required to plan and prepare, prepare for work, perform work on roof and clean-up work site area

Duration: 5 Hours									Theory: 1 Hours				Practice: 4.0 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Select tools and equipment as required, - Check for serviceability and fix/report any faults - Calculate material quantity requirements in accordance with specifications - Obtain materials needed and check for compliance | - Knowledge of material specification - Knowledge of materials, tools and equipment’s. - Practical Activity. - Plan and prepare | Theory-0.25 Hrs Practical-1.0 Hrs Total-1.25 Hrs | Fall protection Ladders Chain blocks, cranes Elevated work platforms Forklifts Hand trolleys, hoists and jacks Rollers Scaffolds Perimeter protection | Class Room and construction lab |
| - Prepare for work | - Trainee will be able to: - Verify suitability of the roof structure to support the roof safety system. - Inspect and install fall protection and perimeter protection equipment for conformance | - Use of fall protection - Use of perimeter protection - Knowledge on roof protection - Practical Activity. - Prepare for work | Theory-0.1 Hrs Practical-1.0 Hrs Total- 1.1 Hrs | Fall protection Ladders Chain blocks, cranes Elevated work platforms Forklifts Hand trolleys, hoists and jacks Rollers Scaffolds | Class Room and construction lab |
| - Perform work on roof | - Trainee must be able to: - Check access from ground to the roofing work area to ensure it is safe and clear of obstructions and hazards. - Secure Roof materials and equipment safely on roof and distribute to eliminate risk of distorting or collapsing the building framework. - Check roof safety system is checked periodically for optimum performance, and correct/report faults | - Knowledge for working safely on roofs - Knowledge of obstructions, hazards and risks. - Practical Activity. - Perform work on roof | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Fall protection Ladders Chain blocks, cranes Elevated work platforms Forklifts Hand trolleys, hoists and jacks Rollers Scaffolds Perimeter protection | Class Room and construction lab |
| - Clean-up work site area | - Trainee must be able to - Clear work is by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity. - Clean-up work site area | Theory-0.4 Hrs Practical-1.0 Hrs Total- 1.4 Hrs | Cleaning instruments | Class Room and construction lab |

### 0732B&CE-147. Install roof components

Objective: This module covers the knowledge and  skills required to install roof components. Site location for work application may be either domestic or commercial and may be a new work site or an existing structure being renovated, extended, restored or maintained.

Duration: 5 Hours									Theory: 1 Hours				Practice: 4.0 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for work | Trainee will be able to: - Obtain plans and specifications - Select and install industrial roof components according to Work health and safety (WHS) and environmental - requirements - Identified and adhere quality assurance requirements to according to workplace requirements. - Plan and sequence tasks in conjunction with others involved in or work. - Select and check tools and equipment, including personal protective equipment for serviceability. - Prepare work area to support efficient selection and installation of industrial roof components. | - Understanding of relevant WHS regulations and fall protection codes and requirements. - Knowledge of relevant statutory requirements related to installing roof components - Understanding of system measurement - Practical Activity - Prepare for work | Theory-0.5 Hrs Practical-1.0 Hrs Total- 1.5 Hrs | Levelling equipment Restricted height scaffolds Measuring equipment Plan | Class Room and Construction Lab |
| - Identify Installation requirements. | - Trainee will be able to: - Identify Industrial roof components from plans and specifications and are compatible with adjacent materials and other relevant information. - Select and check proposed sealant, fixing materials, and roofing and flashing materials for compliance with plans, specifications and relevant standards. - Identify, order and collect Materials according to workplace procedures. - Check materials and equipment for compliance with docket and order form and for acceptable condition, and report faults - Observe sustainability principles and concepts when preparing for and undertaking work process. - Identify location of installation and opening size from plans and manufacturer specifications. - Check location for obstructions that may affect installation | - Identification of types of fasteners, fixings and sealants and their application to the installation of roof components - Collection of material according to workplace - corrosion prevention treatment requirements of cut sheets - electrolysis and problems associated with the use of dissimilar metals - Practical Activity - Identify Installation requirements. | Theory-0.2 Hrs Practical-1.0 Hrs Total- 1.2 Hrs | cranes fall protection equipment hand and power tools ladders levelling equipment lifting and load shifting equipment, including: chain blocks elevated work platforms forklifts hand trolleys hoists and jacks restricted height scaffolds rollers measuring equipment Perimeter guard rails. | Class Room and Construction Lab |
| - Install roof components. | - Trainee must be able to: - Erect industrial component to comply with manufacturer recommendations. - Set out industrial roof component to comply with plans, specifications and site measurements - Install structural supports to comply with plans and specifications. - Prepare openings to comply with plans. - Locate and fix Mullions, frames, baffles, sheeting and louver blades to comply with manufacturer recommendations. - Install flashing and waterproofing to comply with relevant standards, plans, specifications, manufacturer recommendations and regulatory authorities' requirements. - Test installation performance. | - Processes of erecting and installing industrial roof components - Understanding on Capillary action, thermal expansion and fabrication techniques to prevent leaking - Corrosion prevention treatment requirements of cut sheets - Electrolysis and problems associated with the use of dissimilar metals - Practical Activity - Install roof components. | Theory-0.2 Hrs Practical-1.0 Hrs Total- 1.2 Hrs | cranes fall protection equipment hand and power tools ladders levelling equipment lifting and load shifting equipment, including: chain blocks elevated work platforms forklifts hand trolleys hoists and jacks restricted height scaffolds rollers measuring equipment Perimeter guard rails. | Class Room and Construction Lab |
| - Clean-up work site area | - Trainee must be able to - Clear work is by disposing of materials. - Clean, check, maintain and store tools and equipment’s according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.1 Hrs Practical-1.0 Hrs Total- 1.1 Hrs | Cleaning instruments | Class Room and Construction Lab |

### 0732B&CE-148. Install roof drainage

Objective: This module covers the knowledge and  skills required to install roof drainage components and rainwater goods for commercial and residential roof systems

Duration: 09 Hours									Theory: 02 Hours				Practice: 07 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Select tools and equipment as per specifications, - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance | - Selection of tools and equipment’s according to workplace and specification - Calculation for quantity of materials - Practical Activity - Plan and prepare for work | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | Drawing equipment Fall protection equipment Measuring equipment. | Class Room and workshop |
| - Identify installation requirements | - Trainee will be able to: - Identify roof drainage components required for installation from drawings and specifications. - Draw fabrication patterns based on design and drawing of roof drainage. - Calculate quantity, type and sizing of drainage components, rain water materials and accessories required from drawings and specifications. - Install gutter support system to comply with engineering advice for the building. - Mark out materials for fabricating drainage components, as specified in drawings | - Capillary action, thermal expansion and fabrication techniques to prevent leaking installations - Selection and sizing of drainage components - Practical Activity - Identify installation requirements | Theory-0.5 Hrs Practical-02 Hrs Total- 2.5 Hrs | Fall protection equipment Hand and power tools Ladders Lifting and load shifting equipment, including: Chain blocks Cranes Elevated work platforms Forklifts Hand trolleys Hoists and jacks Restricted height scaffolds Rollers Measuring equipment. | Class Room and workshop |
| - Fabricate roof drainage components | - Trainee must be able to: - Determine methods of fabrication, tools and materials requirements based on drawings and job requirement - Fabricate roof drainage components in compliance with drawings and specifications | - Processes of fabricating, jointing and fixing roof drainage components - Types of fasteners, fixings and sealants and their application to the fabrication and installation of roof coverings - Practical Activity - Fabricate roof drainage components | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | Fall protection equipment Hand and power tools Ladders Lifting and load shifting equipment, including: Chain blocks Cranes Elevated work platforms Forklifts Hand trolleys Hoists and jacks Restricted height scaffolds Rollers Measuring equipment. | Class Room and workshop |
| - Set out and install roof drainage components | - Trainee must be able to - Arrange roof drainage components in order of installation and to comply with and site measurements. - Install structural supports and join roof drainage components securely and watertight. - Install flashing and waterproofing to comply with the plans - Test the performance of the roof-drainage system to determine satisfactory installation and remedy any faults or leaks | - Characteristics of various metals and finishes - Corrosion prevention treatment requirements of cut sheets - Electrolysis and problems associated with the use of dissimilar metals - Joining of materials - Practical Activity - Set out and install roof drainage components | Theory-0.3 Hrs Practical-01 Hrs Total- 1.3 Hrs | Fall protection equipment Hand and power tools Ladders Lifting and load shifting equipment, including: Chain blocks Cranes Elevated work platforms Forklifts Hand trolleys Hoists and jacks Restricted height scaffolds Rollers Measuring equipment. | Class Room and workshop |
| - Clean-up work site area | - Trainee must be able to - Clear work is by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.2 Hrs Practical-0.1 Hrs Total- 1.2 Hrs | Cleaning instruments | Class Room and workshop |

### 0732B&CE-149. Lay roof tiles

Objective: This module covers the knowledge and  skills required to Plan and prepare, Prepare roof face, Cut and fix battens, Install tiles and Clean-up work site area.

Duration: 08 Hours									Theory: 01 Hours				Practice: 07 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Select tools and equipment as per requirement. - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance | - Selection of tools and equipment’s for work. - Calculation of material quantity. - Practical Activity - Plan and prepare | Theory-0.2 Hrs Practical-1.5 Hrs Total- 1.7 Hrs | Bedding frames, brooms, buckets Calculators, chalk lines, chisels, concrete mixers Fall safety devices Measuring tapes and rules | Class Room and workshop |
| - Prepare roof face | - Trainee will be able to: - Install fall arrest system to roof perimeter and roof surface and structure and check for stability and safe access - Assemble tile elevator and operate in accordance with site conditions and the manufacturers’ instructions. - Remove existing roofing material without damage to the roof frame - Clean areas already tiled with high-pressure water cleaners to the new installation’s condition. - Obtain required materials and calculate required tiles minimizing quantity by planning efficient cuts at the hip and valley joints. - Set out roof surface to manufacturer recommendations for specified tile. | - Characteristics and applications of roof tiling materials - Setting out roof surface as per manufacturer specification. - Practical Activity - Prepare roof face | Theory-0.2 Hrs Practical-02 Hrs Total- 2.2 Hrs | Air compressors and hoses Elevators Fall safety devices Gutter protectors Hammers, hand saws, high pressure water cleaners Ladders Nail guns Pinchers, power drills, power saws Shovels, squares, string lines Tile cutters, trowels | Class Room and workshop |
| - Cut and fix battens | - Trainee must be able to: - Measure battens, cut and fixe using selected fasteners at specified centres. - Check completed sarking and batten work for correct alignment and fixing | - Knowledge on battens and alignment. - Practical Activity - Cut and fix battens | Theory-0.2 Hrs Practical-1.5 Hrs Total- 1.7 Hrs | Air compressors and hoses Elevators Fall safety devices Gutter protectors Hammers, hand saws, high pressure water cleaners Ladders Nail guns Pinchers, power drills, power saws Shovels, squares, string lines Tile cutters, trowels | Class Room and workshop |
| - Install tiles | - Trainee must be able to - Load tiles onto roof, support and distribute evenly. - Spread, cut, secure and install roof tiles to manufacturer specifications. - Install flashing and waterproofing to comply with the plans and manufacturers’ recommendations. - Bed roof tiles using correct mortar mix, maintaining alignment. - Point roof tiles with mortar to a flush, smooth finish and install to manufacturer specifications | - Roof construction systems and structures and tiling considerations - Roof tiling techniques and procedures - Practical Activity - Install tiles | Theory-0.2 Hrs Practical-01 Hrs Total- 1.2 Hrs | Air compressors and hoses Elevators Fall safety devices Gutter protectors Hammers, hand saws, high pressure water cleaners Ladders Nail guns Pinchers, power drills, power saws Shovels, squares, string lines Tile cutters, trowels | Class Room and workshop |
| - Clean-up work site area | - Trainee must be able to - Clear work is by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.2 Hrs Practical-01 Hrs Total- 1.2 Hrs | Cleaning instruments. | Class Room And Workshop |

### 0732B&CE-150. Erect roof trusses

Objective: This module covers the knowledge and  skills required to Plan and prepare, Locate roof trusses and Clean-up work site area.

Duration: 8 Hours									Theory: 1 Hours				Practice: 7.0 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Select tools and equipment as per requirement. - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance | - Knowledge of tools and equipment’s. - Calculation for material quantity. - Practical Activity - Plan and prepare | Theory-0.3 Hrs Practical-2.5 Hrs Total- 2.8 Hrs | Drawings Marking equipment, measuring tapes and rules | Class Room and Construction Lab |
| - Locate roof trusses | - Trainee will be able to: - Set out location of roof trusses for hip and valley roofs on wall top plates to plan layout and specifications. - Earth steel frames temporarily during erection and connect to permanent earthlings’ system upon completion. - Erect and fix roof trusses including temporary bracing, to set out positions in correct sequence to line at apex and plumb. - Install top chord above wall plate to be constant height above wall plate. - Fix ceiling trimming and creeper rafter member to specifications. - Use bottom chord of truss to provide lateral support for internal walls. - Provide roof bracing through h construction, valley construction, diagonal metal tension or timber bracing or a combination of these, and fixed to specification. - Fix lateral restraints to truss chords in position to manufacturer specifications. | - Plans, specifications and drawings for roof trusses, Roof bevels. - Roof calculations for lengths, quantities and pitch - Roof load transfer - Roof shape and geometry - Roof truss erection and construction techniques - Roof truss materials and installation, including fire control and separation materials - Roof types and truss components - Techniques for lifting and positioning of trusses - Temporary and permanent bracing - Timber types, structural properties and uses, including engineered timber products - Truss set out - Practical Activity - Locate roof trusses | Theory-0.5 Hrs Practical-2.5 Hrs Total- 3 Hrs | Air compressors and hoses Clamps Hammers Nail bags, nail guns Power drills Power leads Power saws Saw stools, scaffolding, screwdrivers, spanners, spirit levels Squares (combination/tri), string lines Welding equipment. | Class Room and Construction Lab |
| - Clean-up work site area | - Trainee must be able to: - Clear work area by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.2 Hrs Practical-02 Hrs Total- 2.2 Hrs | Cleaning Instruments | Class Room and Construction Lab |

## 9.12. Quantity Surveying

### 0732B&CE-151. Produce rough cost estimates of buildings

Objective: This module covers the knowledge and skills required to Prepare Rough Cost by unit rate method, Prepare rough cost by plinth area method, Specify items of work for according to categories of Buildings and Specify items of work in detial for Buildings.

Duration: 16.00 Hours					 	Theory: 1.00	Hours				Practice: 15.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare rough cost estimate by unit rate method. | Trainee will be able to: Read line plan. Calculate number of units. Calculate unit rate from existing building. Compile results of estimate. | Convert the units. Importance of estimates. Data required for preparation of estimates. Types of estimate. Practical Activity Prepare Rough cost Estimate for class room of Primary School for 50 students | Theory-0.25 Hrs Practice-4.0 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare Rough Cost estimate by plinth area method. | Trainee will be able to: Calculate covered area of building Calculate cost per square foot from existing buildings Calculate cost estimate | Formulae for area, perimeters and volumes of various plane and solid geometrical figures. Units of measurements in FPS, MKS and SI. Practical Activity Prepare Rough cost Estimate of C-Class Residences | Theory-0.25 Hrs Practice-3.Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Identify items of work in accordance with categories of Building. | Trainee will be able to: Prepare General specifications for first class building. Prepare General specifications for second class building. Prepare General specifications for third class building. Prepare General specifications for fourth class building. | Specifications and types of specification. General specifications of buildings &Road. Practical Activity Draft General Specifications for First Class, Second class, Third Class buildings & bituminous road. | Theory-0.25 Hrs Practice-4.Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Identify items of work to draft specifications. | Trainee will be able to Identify material, product (size of crush, type of sand,) Draft standards of materials Draft execution of item of work. Draft units of measurement and rate. | Detailed specifications of building materials Detailed specifications of road materials Practical Activity Draft detailed specifications of building materials and road materials | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-152.  Evaluate items of work for straight wall, T, L, H, U shaped and circular walls.

Objective: This module covers the knowledge and skills required to calculate quantities for walls by long & short wall method and calculate quantities for walls by centre line method.

Duration: 13.00 Hours						Theory: 1 Hours				Practice: 12	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Calculate quantities of walls by long & short wall method | Trainee will be able to: Identify the types of wall technical i.e. I-wall, H-Wall, Tee Wall. Implement the principles of I-wall, H-Wall, Tee Wall. Calculate the quantities of items of work for straight wall. Calculate the quantities of items of work for T walls Calculate the quantities of items of work for L walls Calculate the quantities of items of work for H walls. | Terms used in quantity surveying (provisional sum, prime cost, input rates, MRS, CSR, SMM, CESMM, Premium, rebate, contingencies, petty establishment charges, cost, value, bill, FIDIC and BoQs. P.W.D and English method of recording measurements. Items of works for walls. Instructions for quantities of all items of works for straight; D, F, H, T shaped walls by long and short wall method. Practical Activity Calculate the quantities of all items of work for I, H, and T shaped walls by long & short wall method | Theory-0.5 Hrs Practice-6 Hrs Total- 6.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Calculate quantities for walls by center line method | Trainee will be able to: Identify the types of wall technical i.e. I-wall, H-Wall, Tee Wall. Mark the center line in the wall and calculate length of center line. Calculate quantities of items of work for circular walls. Calculate quantities of items of work for U walls. | Centre line method. Instructions for quantities for U shaped walls and circular walls. Practical Activity Calculate the quantities of all items of work for U and O shaped walls by centre line method | Theory-0.5 Hrs Practice-6 Hrs Total- 6.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-153. Produce detailed estimate of a single storey building.

Objective: This module covers the knowledge and skills required to calculate quantities for single storey building, prepare Abstract of Cost for single

Duration: 16.00 Hours						Theory: 1.	Hours				Practice: 15	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Work out quantities for a single room, two roomed quarter and C-type building by Centre Line method | Trainee will be able to: Draw the center lines in plan. Sum up the lengths of center lines. Implement the principle of center line method. Calculate the quantities of items of work for building Implement the principles of deduction for surface rendering. | Items of works for a residential building (only building position except public health and electrification installation). Instructions for quantities of all items of works for a single storey building (building portion only). Practical Activity Calculate quantities of all items of work for a single room, two roomed quarter and C-type building | Theory-0.5 Hrs Practice-7.5 Hrs Total- 8 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Abstract of Cost for a single room, two roomed quarter and C-type building | Trainee will be able to: Draw Abstract of Cost table. Incorporate quantities of all items of work and relevant rates. Calculate the amount of each items of work. Sum up the amounts. Add premium/ contractor’s profit on amounts of relevant rates. Sum up the amounts and add contingencies. Add building Services charges for the building. Add other centage charges for the building. | Bill of quantities Instructions for Abstract of cost with the help of composite schedule of rates. Premiums, Contractors’ profit, contingencies, work charges. Building Services. Practical Activity Prepare abstract of cost for a single room, two roomed quarter and C-type building | Theory-0.5 Hrs Practice-7.5 Hrs Total- 8 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-154. Produce Annual/Special repair estimates-Building and Road.

Objective: This module covers the knowledge and skills required to prepare annual repair and special repair estimates for building, prepare annual repair/ special repair estimates of roads.

Duration: 13.00 Hours						Theory: 1:0	Hours				Practice: 12.00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare Annual repair estimate for Building | Trainee will be able to: Identify the items of work for Annual Repair of building. Calculate quantities of items of work for Annual Repair. Prepare Abstract of Cost for Annual Repair for building | Items of work for annual repair estimate for a building. Instructions for Annual repair estimate for a given building. Practical Activity Produce Annual Repair Estimate for C-Class Building. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Special repair estimate for Building | Trainee will be able to: Identify the items of work for special repair of building. Calculate quantities items of work for special Repair. Prepare Abstract of Cost for Special Repair for building | Items of work for special repair estimate for a building. Instructions for Special repair estimate for a given building. Practical Activity Produce Special Repair Estimate for C-Class Building. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Annual Repair estimate of Roads. | Trainee will be able to: Identify the items of work for Annual Repair of road. Calculate quantities of items of work for Annual Repair. Prepare Abstract of Cost for Annual Repair for road. | Items of work for annual repair estimate for bituminous road. Instructions for Annual repair estimate for bituminous road. Instructions for Annual repair estimate for concrete roads. Practical Activity Produce Annual Repair Estimate for bituminous and concrete roads. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Special Repair estimate of Roads. | Trainee will be able to: Identify the items of work for Annual Repair of building. Calculate quantities of items of work for Annual Repair. Prepare Abstract of Cost for Annual Repair for building | Items of work for annual repair estimate for roads. Instructions for Special repair estimate for bituminous road. Instructions for Special repair estimate for concrete road. Practical Activity Produce Special Repair Estimate for bituminous and concrete roads. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-155. Evaluate Earth work for Civil Engineering structures.

Objective: This module covers the knowledge and skills required to calculate earth work of earthen embankment by given design and data using mean area method, using mid sectional area method, Prismoidal formula Method for road in plane areas, in hilly areas and for irrigation channel.

Duration: 19.00 Hours						Theory: 1.00	Hours				Practice:18.00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Calculate earth work of earthen embankment by given design and data using mean area method. | Trainee will be able to: Draw table for calculation by mean area method. Incorporate the data of NSL, FL and calculate depth of filling. Calculate the x-sectional area at each RD. Calculate mean area and length for this mean area. Calculate the volume of earth work for filling. | Terms used for earthwork. Data required for computation of earth works. (Intermediate point-IMP) Procedure to determine quantity of earthwork and proforma for mean area method Calculation of quantity for earthwork by mean area method. Practical Activity Calculate earthwork for the embankment from given data by mean area method. | Theory-0.16 Hrs Practice-3 Hrs Total- 3.16 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Calculate earth work of earthen embankment by given design and data using mid sectional area method. | Trainee will be able to: Draw table for calculation by Mid Sectional area method. Incorporate the data of NSL, FL, and calculate mean depth of filling. Calculate the mid x-sectional area for consecutive RDs. and length for this mid x-sectional area. Calculate the volume of earth work for filling. | Procedure to determine quantity of earthwork and proforma for mid sectional area method Calculation of quantity for earthwork by mid sectional area method. Practical Activity Calculate earthwork for the embankment from given data by mid sectional area method. | Theory-0.16 Hrs Practice-3 Hrs Total- 3.16 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Calculate earth work of earthen embankment by given design and data using Prismoidal formula Method. | Trainee will be able to: Draw table for calculation by Prismoidal Formula method. Calculate the x-sectional area at each RD. Calculate the mid x-sectional area for consecutive RDs. and length for this mid x-sectional area. Calculate volume by Prismoidal Formula | Procedure to determine quantity of earthwork and proforma for Prismoidal formula method Calculation of quantity for earthwork by Prismoidal formula method. Practical Activity Calculate earthwork for the embankment from given data by Prismoidal formula method. | Theory-0.16 Hrs Practice-3 Hrs Total- 3.16 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Calculate earth work of road in plane areas | Trainee will be able to: Draw table for calculation for the specified method. Incorporate the data of NSL, FL, and calculate depth of filling or and cutting as the case. Calculate the areas and length. Calculate the volume of earth work. | Instructions to determine quantity of earthwork and proforma in cut and fill simultaneously. Calculation of quantity for earthwork in cut and fill simultaneously Practical Activity Calculate earthwork for the road in cut and fill from given data by mean area method. | Theory-0.16 Hrs Practice-3 Hrs Total- 3.16 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Calculate earth work for road in hilly areas. | Trainee will be able to: Draw table for calculation for the specified method. Incorporate the data of NSL, FL, and calculate depth of filling or and cutting as the case. Calculate the areas and length. Calculate the volume of earth work. | Procedure to determine quantity of earthwork in hilly area in cut or fill. Procedure to determine quantity of earthwork in hilly area in cut and fill simultaneously. Practical Activity Calculate earthwork for the road in cut or fill and in cut & fill simultaneously in hilly area from given data by mean area method. | Theory-0.16 Hrs Practice-3 Hrs Total- 3.16 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Calculate earth work for irrigation channel. | Trainee will be able to: Draw table for calculation as per section of channel. Incorporate the data of NSL, FL, and calculate depth of filling or and cutting as the case. Calculate the areas and length. Calculate the volume of earth work. | Procedure to determine quantity of earthwork and proforma by mean area for irrigation channels. Instructions for calculations of quantities for remodelling of irrigations channels. Calculation of quantity of earthwork in cut and fill for irrigation channel for three cases. Calculation of quantities of items of work for remodelling of irrigation channel. Practical Activity Calculate earthwork in cut and fill for irrigation channel for three cases and also for remodelling of channel. | Theory-0.16 Hrs Practice-3 Hrs Total- 3.16 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-156. Produce detailed estimate of Arterial roads

Objective: This module covers the knowledge and skills required to prepare estimate of arterial bituminous road, prepare estimate of concrete road and Plan estimate for special repair of bituminous road.

Duration: 13.00 Hours						Theory: 01.00 Hours				Practice: 12.00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare estimate of arterial bituminous road. | Trainee will be able to: Calculate the quantities of Jungle clearance, clearing & Grubbing and Uprooting of trees as per requirement of site. Calculate area of site for surveying and levelling. Calculate area of permanent land. Calculate the volume of earth work. Calculate area of temporary land. Calculate volume of sub-base and base course of road. Calculate area of surfacing (TST or carpet). Measure items of boundary pillar, km post, ¼ km posts, sign boards. | Bituminous road structure and their specifications. Units and method of measurement of all items of works for a bituminous road Practical Activity Prepare detailed Estimate for bituminous road. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare estimate of concrete road. | Trainee will be able to: Calculate the quantities of Jungle clearance, clearing & Grubbing and Uprooting of trees as per requirement of site. Calculate area of site for surveying and levelling. Calculate area of permanent land. Calculate the volume of earth work. Calculate area of temporary land. Calculate volume of sub-base and concrete of road. Measure quantity of expansion joints. Measure quantity of dowel bars. Measure items of boundary pillar, km post, ¼ km posts, sign boards. | Concrete road structure and their specifications. Units and method of measurement of all items of works for a concrete road Practical Activity Prepare detailed Estimate for cement concrete road. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare estimate of Crete road. | Trainee will be able to: Calculate the quantities of Jungle clearance, clearing & Grubbing and Uprooting of trees as per requirement of site. Calculate area of site for surveying and levelling. Calculate area of permanent land. Calculate the volume of earth work. Calculate area of temporary land. Calculate volume of sub-base and Crete of road. Measure items of boundary pillar, km post, ¼ km posts, sign boards. | Crete way structure and their specifications. Units and method of measurement of all items of works for a Crete way Practical Activity Prepare detailed Estimate for Crete way | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare estimate for special repair of bituminous road. | Trainee will be able to: Take the manual measurements from site. Calculate the volume of dismantling base & sub-base. Calculate volume of sub-base and base course of road. Calculate area of surfacing (TST or carpet). Prepare abstract of cost | Special repair for bituminous road. Units and method of measurement of all items of works for special repair of bituminous road Practical Activity Prepare detailed Estimate for Special Repair bituminous road. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-157. Produce material statements.

Objective: This module covers the knowledge and skills required to Prepare material statements for Brick work in C/S (1:6),Prepare material statements for foundation concrete (1:6:12),. Prepare material statements for RCC work of CC (1:2:4), Prepare material statements for Cement plaster in C/S 1:6), Prepare material statements for DPC 1.5” thick of CC (1:2:4), Prepare material statements for Cement pointing with C/S (1:3), Prepare material statements for whitewashing 3 coats.

Duration: 13 Hours								Theory: 1.00 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare material statements for Brick work in C/S (1:6) | Trainee will be able to: Identify materials required for brick work Evaluate the proportion required for mortar Calculate the number of bricks Calculate proportional quantity of cement and sand Incorporate quantities in schedule of materials table. | Materials Statement. Dry materials required for Brick work in C/S (1:6) Quantity of materials required for Brick work in C/S (1:6) Material statement for Brick work in C/S (1:6). Practical Activity Prepare Material Statement for 375 cft brick work in C/S (1:6) | Theory-0.2 Hrs Practice-2 Hrs Total- 2.2 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare material statements for foundation concrete (1:6:12) | Trainee will be able to: Identify materials required for cement concrete. Convert wet volume of concrete into dry volume Calculate the ratio sum concrete. Calculate proportional quantity of cement, sand and ballasts. | Dry materials required for concrete (1:6:12) Quantity of materials required for concrete (1:6:12) Material statement for concrete (1:6:12) Practical Activity Prepare Material Statement for 175 cft concrete (1:6:12) | Theory-0.2 Hrs Practice-2 Hrs Total- 2.2 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare material statements for RCC work of CC (1:2:4). | Trainee will be able to: Identify materials required for RCC work. Convert wet volume of concrete to dry volume. Calculate proportional quantity of cement, sand, bajri and wood for shuttering. Calculate the quantity of steel bars & binding wire by weight per unit volume. | Dry materials required for RCC work of CC (1:2:4). Quantity of materials required for RCC work of CC (1:2:4). Material statement for RCC work of CC (1:2:4). Practical Activity Prepare Material Statement for 115 cft RCC work of CC (1:2:4). | Theory-0.2 Hrs Practice-2 Hrs Total- 2.2 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare material statements for Cement plaster in C/S 1:6). | Trainee will be able to: Identify materials required for cement plaster Calculate the wet volume and convert it into dry volume. Calculate the ratio sum for plaster. Calculate proportional quantity of cement, and sand. | Dry materials required for Cement plaster in C/S 1:6). Quantity of materials required for Cement plaster in C/S 1:6). Material statement for Cement plaster in C/S 1:6). Practical Activity Prepare Material Statement for 455 sft 0.5 “ thick Cement plaster in C/S 1:6). | Theory-0.1 Hrs Practice-1.75 Hrs Total- 1.85 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare material statements for DPC 1.5” thick of CC (1:2:4) with 2 coats of bitumen. | Trainee will be able to: Identify materials required for DPC work. Calculate the wet volume and convert it into dry volume. Calculate proportional quantity of cement, sand and bajri. Calculate quantity of bitumen and fuel wood. | Dry materials required for DPC 1.5” thick of CC (1:2:4) with 2 coats of bitumen. Quantity of materials required for DPC 1.5” thick of CC (1:2:4) with 2 coats of bitumen. Material statement for DPC 1.5” thick of CC (1:2:4) with 2 coats of bitumen. Practical Activity Prepare Material Statement for 133 sft DPC 1.5” thick of CC (1:2:4) with 2 coats of bitumen. | Theory-0.1 Hrs Practice-2 Hrs Total- 2.1 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare material statements for Cement pointing with C/S (1:3). | Trainee will be able to: Convert the area into volume and into dry volume Calculate the ratio sum for pointing. Calculate proportional quantity of cement, and sand. | Dry materials required for Cement pointing with C/S (1:3). Quantity of materials required for Cement pointing with C/S (1:3). Material statement for Cement pointing with C/S (1:3). Practical Activity Prepare Material Statement for 175 sft Cement pointing deep struck joints with C/S (1:3). | Theory-0.1Hrs Practice-2 Hrs Total- 2.1 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare material statements for whitewashing 3 coats. | Trainee will be able to: Identify materials required for white washing. Implement the quantity of materials required for each coat. Calculate the quantity of lime. Calculate the quantity of rice. | Dry materials required for whitewashing 3 coats Quantity of materials required for whitewashing 3 coats Material statement for whitewashing 3 coats Practical Activity Prepare Material Statement for 205 sft whitewashing 3 coats | Theory-0.1 Hrs Practice-0.5 Hrs Total- 0.6 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-158. Analyse Rates of different items of work for building.

Objective: This module covers the knowledge and skills required to evaluate rates cement concrete of different ratios, Brick work in cement mortar in foundation and plinth and superstructure, dry brick paving, cement plaster of ratios, cement pointing, white washing.

Duration: 18.00 Hours						Theory: 2.00	Hours				Practice: 16.00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare Rate analysis of Cement concrete (1:2:4) | Trainee will be able to: Identify unit of rate, materials, and their ratio of C.C. (1:2:4). Calculate materials and their cost by input rates (MRS) for the concrete (1:2:4). Calculate the labour charges for the concrete (1:2:4). Calculate the carriage charges for sand, cement & bajri. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Purpose of rate analysis. Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, &overhead costs etc Analysis of rates Cement concrete (1:2:4) Practical Activity Analyse Rate for Cement concrete (1:2:4) | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of Cement concrete (1:6:12) | Trainee will be able to: Identify unit of rate, materials, and their ratio of C.C. (1:6:12). Calculate materials and their cost by input rates (MRS) for the concrete (1:6:12). Calculate the labour charges for the concrete (1:6:12). Calculate the carriage charges for sand, cement & ballasts. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, & overhead costs etc Analysis of rates for Cement concrete (1:6:12) Practical Activity Analyse Rate for Cement concrete (1:2:4) | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of Brick work in cement mortar (1:6) in foundation and plinth | Trainee will be able to: Identify unit of rate, materials, and their ratio for brick work in foundations and plinth. Calculate materials and their cost by input rates (MRS) for brick work in foundations and plinth. Calculate the labour charges for the brick work in foundations & plinth. Calculate the carriage charges for sand, cement & bricks. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, & overhead costs etc Analysis of rates for brick work in C/S (1:6) in F & P. Practical Activity Analyse Rate for brick work in C/S (1:6) in F & P. | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of Brick work in cement mortar (1:6) in superstructure. | Trainee will be able to: Identify unit of rate, materials, and their ratio for the brick work in superstructure. Calculate materials and their cost by input rates (MRS) for the brick work in superstructure. Calculate the labour charges for the brick work in superstructure. Calculate the carriage charges for sand, cement & bricks. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, & overhead costs etc Analysis of rates for brick work in C/S (1:6) in superstructure. Practical Activity Analyse Rate for brick work in C/S (1:6) in superstructure. | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of dry brick paving sand grouted on edge. | Trainee will be able to: Identify unit of rate, materials for dry brick paving sand grouted on edge. Calculate materials and their cost by input rates (MRS) for dry brick paving sand grouted on edge. Calculate the labour charges for the brick paving on edge. Calculate the carriage charges for sand and bricks. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, & overhead costs etc Analysis of rates for dry brick paving sand grouted on edge. Practical Activity Analyse Rate for dry brick paving sand grouted on edge. | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of cement plaster with Cement sand (1:6) up to 20 ft height on brick walls. | Trainee will be able to: Identify unit of rate, thickness, ratio, and materials for cement plaster. Calculate materials and their cost by input rates (MRS) for cement plaster. Calculate the labour charges for cement plaster. Calculate the carriage charges for cement & sand. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, &overhead costs etc Analysis of rates for cement plaster with Cement sand (1:6) Practical Activity Analyse Rate for cement plaster with Cement sand (1:6) | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of cement pointing with Cement sand (1:2) upto 20 ft height on brick walls. | Trainee will be able to: Identify unit of rate, type of pointing, ratio and materials for cement pointing. Calculate materials and their cost by input rates (MRS) for cement pointing. Calculate the labour charges for cement pointing. Calculate the carriage charges for cement and sand. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, & overhead costs etc Analysis of rates for cement pointing with C/S (1:2) Practical Activity Analyse Rate for cement pointing with C/S (1:2) | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rate analysis of white washing 3 coats on new plane surface of plaster. | Trainee will be able to: Identify unit of rate, number of coats and materials for white washing. Calculate materials and their cost by input rates (MRS) for white washing. Calculate the labour charges for white washing. Calculate the carriage charges for lime and rice. Add sundries lump sum charges (tools plant, overheads, taxes etc.). Sum up the amounts and add contractor’s profit. Add water charges. | Prerequisites i.e. materials and labour, carriage, out-turn of labour, specifications, &overhead costs etc Analysis of rates for white washing 3 coats Practical Activity Analyse Rate for white washing 3 coats. | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-159. Produce of rough cost estimate of water supply scheme.

Objective: This module covers the knowledge and skills required to prepare rough cost estimate and hydraulic statement for water supply scheme.

Duration:  14.00 Hours						Theory: 2.00	Hours				Practice: 12:00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare Rough cost Estimate of pipe lines | Trainee will be able to: Take out lengths of each diameter pipe. Prepare analysis of rate for pipe line. Calculate amount of pipe line. | Components of water supply scheme. Item of works for pipe line and their measurement units. Procedure for the preparation of rough cost estimate of water supply. Prepare bill of quantities and abstract of cost. Practical Activity Prepare Rough cost Estimate for pipe lines. | Theory-0.5 Hrs Practice-3 Hrs Total- 3.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rough cost Estimate of water tank | Trainee will be able to: Collect population of area. Calculate capacity of tank in gallons. Calculate cost of construction of tank. | Procedure for the preparation of rough cost estimate of water tank Perform costing as per capacity of tank. Practical Activity Prepare Rough cost Estimate for water tank. | Theory-0.5 Hrs Practice-3 Hrs Total- 3.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rough cost Estimate of tube well | Trainee will be able to: Calculate the cost for investigation of source. Calculate the cost for Boring & lowering of pipe. Calculate the cost for pump and pumping machinery. Calculate the cost for pump room. Calculate the cost for external electrification | working out quantities of each item of work for pipe line and pump room, Prepare bill of quantities and abstract of cost. Practical Activity Prepare Rough cost Estimate for tube well. | Theory-0.5 Hrs Practice-3 Hrs Total- 3.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare hydraulic statement for pipe lines. | Trainee will be able to: Note the name of water supply pipe lines and their lengths. Calculate population-based Area to be served for each pipe line (own, other & Total). Calculate the discharge (@ 10 gals/head) required for each pipe line during peak hours (starting from source of water). Propose the dia of pipe, velocity. Calculate head losses in each pipe line. Calculate levels of Ground & Hydraulic line for each pipe line. Calculate Terminal Level Difference. | Define Hydraulic Statement. Draw table of hydraulic Statement. Elements of hydraulic statement. Procedure for the preparation of hydraulic statement. Practical Activity Prepare Hydraulic Statement of Water Supply lines. | Theory-0.5 Hrs Practice-3 Hrs Total- 3.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-160. Produce rough cost estimate of Sewerage scheme.

Objective: This module covers the knowledge and skills required to prepare rough cost estimate and hydraulic statement for sewerage scheme.

Duration: 17.00 Hours						Theory: 2.00	Hours				Practice: 15.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare Rough cost Estimate of sewer lines | Trainee will be able to: Take out lengths of each dia pipe. Prepare analysis of rate for sewer line. Calculate amount of sewer line. | Components of sewerage scheme. Item of works for sewer line and their measurement units. Measurements for sewer lines Bill of quantities and abstract of cost. Practical Activity Prepare Rough cost Estimate for sewer lines. | Theory-1 Hrs Practice-3 Hrs Total- 4 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rough cost Estimate of manhole | Trainee will be able to: Calculate quantities of excavation & foundation concrete for manhole. Calculate the quantities of brick work & RCC work for manhole. Calculate the quantities of flooring concrete & plaster for manhole. Calculate the quantities of iron steps, manhole cover for manhole. Prepare abstract of cost for manholes. | Items of work for a manhole and their measurement units. Measurements for manhole. Bill of quantities and abstract of cost. Practical Activity Prepare Rough cost Estimate for manholes. | Theory-1 Hrs Practice-3 Hrs Total- 4 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Rough cost Estimate of Septic Tank. | Trainee will be able to: Calculate quantities of excavation & foundation concrete for septic tank. Calculate the quantities of brick work & RCC work for septic tank. Calculate the quantities of flooring concrete & plaster for septic tank. Calculate the quantities of iron steps, manhole cover vent pipe, inlet and outlet pipes for septic tank. Prepare abstract of cost for septic tank. | Items of work for septic tank and their measurement units. Measurements for septic tank Bill of quantities and abstract of cost. Practical Activity Prepare Rough cost Estimate for septic tank for 50 users. | Theory-1 Hrs Practice-3 Hrs Total- 4 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare hydraulic statement for sewerage scheme. | Trainee will be able to: Note the name of sewerage pipe lines and their lengths. Calculate population-based Area to be served for each pipe line (own, other & Total). Calculate the Present Population for sewer line on the basis of Projected Population Density, area. Calculate maximum flow for sewer line by considering average daily flow and peak ratio. Calculate the total discharge for sewer line (total=”by adding max. flow, infiltration & storm water allowance”, min “by considering present population, peak ration & infiltration”, and max “by adding industrial waste (self & other) & total discharge”). Calculate the velocity of sewage at full flow by considering dia of sewer and its relevant slope. Calculate the ratio to velocity for min discharge and velocity at min flow by multiplying ratio to velocity for min discharge with velocity at full flow. Calculate the ratio to velocity for max discharge and velocity at max flow by multiplying ratio to velocity for max discharge with velocity at full flow. Calculate the fall in line due to gradient, due to change in dia of pipe, and due to drop in line. Note the ground level & invert level at upper and lower end of line. Calculate the bedding + wall thickness of line according to dia of line. Calculate bedding level for upper & lower ends of line. Calculate depth of cutting for upper & lower ends of line and the average depth of cutting. Calculate the depth of man holes and number of man holes for the line. Calculate the mean depth of man holes for each dia sewer line. | Table of hydraulic Statement. Elements of hydraulic statement. Procedure for the preparation of hydraulic statement. Practical Activity Prepare Hydraulic Statement for small sewerage scheme lines. | Theory-1 Hrs Practice-4 Hrs Total- 5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-161. Evaluate value & standard rent of an existing building

Objective: This module covers the knowledge and skills required to evaluate value & standard rent of an existing building.

Duration: 13.00 Hours						Theory: 1.00	Hours				Practice: 12.00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Calculate present market value of an existing building by standard rent method | Trainee will be able to: Calculate the gross rent from monthly rent. Calculate the gross out goings (taxes, loss, running expenditures, maintenance charge, sinking fund, Insurance). Calculate the net rent. Calculate the capitalised value (Present value). | Purpose of valuation. Technical terms, book value, market value, salvage value, scrap value, sinking fund, year’s purchase, annuity, capitalized value, depreciation and price variation. The depreciation of machinery. The value of a building by rental method. Practical Activity Perform Valuation of building by rental method. | Theory-0.5 Hrs Practice-4 Hrs Total- 4.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Find out standard rent of government buildings. | Trainee will be able to: Calculate the plinth area of building. Calculate plinth area rate considering all factors. Calculate value of building. Calculate the annual rent on construction cost. Calculate the monthly rent. | Depreciation of a building by straight line method, constant percentage method and sinking fund method. The value of a building valuation based on profit and depreciation method. Rent of govt. building. Practical Activity Calculate standard rent for government building. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Find out standard rent of private’s buildings. | Trainee will be able to: Calculate the plinth area of building. Calculate plinth area rate considering all factors. Calculate value of building. Calculate the annual rent on construction cost and for cost of land. Calculate the monthly rent. | Depreciation of a building by straight line method, constant percentage method and sinking fund method. The value of a building valuation based on profit and depreciation method. Rent of private building. Practical Activity Calculate standard rent for private building. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-162. Produce Detailed Estimate of Culverts.

Objective: This module covers the knowledge and skills required to Prepare Estimate of slab and arched Culverts.

Duration: 14.00 Hours						Theory: 1.00	Hours				Practice: 13.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Undertake the measurement based on SMM /CSR for single span RCC slab road culvert. | Trainee will be able to: Calculate the quantities of all items of work for substructure for single span RCC slab culvert. Calculate the quantities of all items of work for superstructure for single span RCC slab culvert. Calculate the quantities of all items of work for road structure for single span RCC slab culvert. | Culvert and its types. Parts of RCC Slab culvert. Items unit of measurement and units of rate. Measurements for slab culvert Practical Activity Measurements for RCC road culvert. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare abstract of cost using MRS/ CSR for single span RCC slab culvert | Trainee will be able to: Incorporate quantities of all items of work and relevant rates Abstract of Quantities table for single span RCC slab culvert. Calculate the amount of each item of work and Sum up the amounts for single span RCC slab culvert. Add premium/ contractor’s profit on amounts of relevant rates for single span RCC slab culvert. | Procedure for preparation of abstract of cost. Practical Activity Abstract of cost for RCC road culvert. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Undertake the measurement based on SMM /CSR two span segmental arch culvert | Trainee will be able to: Calculate the quantities of all items of work for substructure two span segmental arch culvert. Calculate the quantities of all items of work for superstructure two span segmental arch culvert. Calculate the quantities of all items of work for road structure two span segmental arch culvert. | Parts of segmental arch culvert. Items of work for estimation of segmental arch culvert. Items unit of measurement and units of rate. Measurements for segmental arch culvert Practical Activity Measurements for RCC road culvert. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare abstract of cost using MRS/ CSR for two span segmental arch culvert | Trainee will be able to: Incorporate quantities of all items of work and relevant rates in Abstract of Quantities table two span segmental arch culvert. Calculate the amount of each item of work and Sum up the amounts two span segmental arch culvert. Add premium/ contractor’s profit on amounts of relevant rates two span segmental arch culvert. | Procedure for preparation of abstract of cost. Practical Activity Abstract of cost for segmental arch road culvert. | Theory-0.25 Hrs Practice-1 Hrs Total- 1.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-163. Produce Detailed Estimate of Bridge.

Objective: This module covers the knowledge and skills required to prepare detailed estimate of R.C. C. Bridge.

Duration: 13:00 Hours						Theory: 1.00	Hours				Practice: 12:00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Measure quantities of R. C. C. Deck of Bridge with masonary supports, 2 spans, 25 ft each, based on SMM /CSR/MRS. | Trainee will be able to: Draw abstract of quantities table. Calculate quantities of items of work below bed level of bridge. Calculate quantities of items of work above bed level of abutments, wing walls & pier of bridge. Calculate quantities of super structure of bridge. Calculate the quantities for TST Surfacing. Prepare Bill of Quantities. | Technical terms used in bridges. Parts of Bridge (substructure and superstructure) Items of work for RCC Over Head Deck Bridge. Instructions on calculation of quantities of different items of work. Practical Activity Measurements sheets for RCC Bridge. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare bar bending schedule for RCC structures of Bridge. | Trainee will be able to: Calculate number of bars for each structure. Calculate length of bars for each structure. Calculate unit length weight for each dia. of bar. Draw table of bar bending schedule. Insert calculations in the table of schedule of bar. Perform calculations to calculate weight for each type of bar and total weight. | Instructions on preparation of bar bending schedule for bridge. Practical Activity Bar Bending Schedule for RCC Bridge. | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| Prepare Abstract of cost of R. C. C. Bridge | Trainee will be able to: Draw Abstract of cost table. Put quantities of all items of work and relevant rates. Calculate amount of each item of work by incorporation of rates from MRS. Sum up the amounts. Add premium/ contractor’s profit on amounts of relevant rates. Sum up the amounts and add contingencies. Add petty establishment charges. | Instructions on preparation of Abstract of Cost. Practical Activity Abstract of cost for RCC Bridge. | Theory-0.5 Hrs Practice-4 Hrs Total- 4.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

## 9.13 Water Supply

### 0732B&CE-164. Estimate demand for Water Supply

Objective: This module covers the knowledge and skills required to interpret Demand estimation in a water distribution network provides crucial data for monitoring and controlling systems. There is a need to estimate water demand from a limited number of sensor measurements. The demand estimation problem is underdetermined because of the limited sensor data and the implicit relationships between Demands and pressure heads.

Duration: 14 Hours									Theory: 2 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Evaluate demand of water supply | - Trainee will be able to: - Calculate number of people - Identify people habits. - Calculate per capita consumption. - Check temperature. - Identify Losses - Identify quality & quantity of water - Identify rate of water supply | - How graphical methods are used to solve hydrological problems such as hydrographs, flood prediction and extreme events. - Describe and explain the essential features of installations for the abstraction of water for Public consumption. - Define water consumption - Practical Activity - Evaluate demand of water supply | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Calculator Pencil Rubber Sharpen Paper Thermometer | Class Room |
| - Identify Water Layout Standards | - Trainee will be able to: - Calculate quantity of water - Identify number of hydrants - Suggest Spacing between Hydrants - Select supply of water by (gravity / pumping) - Suggest spacing between main line valves - Check flushing and maintenance procedures - Identify Standard Construction Specification | - Describe and explain the essential features of installations for the treatment of water for public Consumption. - Describe and explain the essential features of installations for the distribution of water for Public consumption. - Define valves and its types - Describe hydrants. - Describe gravity and pump supply. - Practical Activity - Identify water layout standards | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Paper Pencil Calculator Rubber and sharpener PPE’s Pipes Valves Pipe repairs, Plungers, Pressure testing kits, Radiator tools Spirit level | Class Room and workshop |
| - Identify Rate of Demand for water | - Trainee must be able to: - Identify Seasonal variation - Calculate daily variation - Identify hourly variation | - Define seasonal variation - Define daily variation - Define hourly variation - Practical Activity - Identify rate of demand for water supply | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | PPE’s Pipes Valves Pipe repairs, Plungers, Pressure testing kits, Spirit level | Class Room and workshop |
| - Optimizing water supply network | - Trainee must be able to - Identify Single-objective optimization - Identify Multi-objective optimization - Identify Sensitivity analysis - Check Operational constraints | - Optimizing water supply network - Explain demand of water for hilly & plain area - Practical Activity - Optimizing water supply network | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | PPE’s Pipes Valves Pipe repairs, Plungers, Pressure testing kits, Radiator tools Spirit level | Class Room and workshop |

### 0732B&CE-165. Prepare sketches of aqueducts & water pipes

Objective: This module covers the knowledge and skills required to prepare an aqueduct / watercourse constructed to carry water from a source to a distribution point far away. In modern engineering, the term aqueduct is used for any system of pipes, ditches, canals, tunnels, and other structures used for this purpose.

Duration: 14 Hours									Theory: 02 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare Sketch for aqueduct | - Trainee will be able to: - Identify aqueduct. - Spread & fix sheet - Apply scale - Draw aqueduct | - Comprehend the purpose and application of aqueduct. - Explain design procedure for aqueduct - Describe working of Aqueduct. - Practical Activity - Prepare sketch of aqueduct | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Drawing sheet Pencil Scale Rubber and Sharpner | Class Room |
| - Assemble G.I pipes | - Trainee will be able to: - Clean pipes surface - Carry out Lubrication on edges - Apply Threading - Equalize gasket - Perform alignment - Join pipes - Perform final quality inspection (Testing) | - Explain G.I pipes and there use in water supply system - Describe jointing methods for G.I pipes - Describe safety procedure for joining G.I pipes - Practical Activity - Assembly of G.I pipes | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Pipes Valves Pipe repairs, Plungers, Pressure testing kits, Radiator tools Spirit level PPEs Threading die Pipe Vice Flanges Pipe cutter Wrench set Scale card Spanner set Clamps Nuts & Bolts Spring Washers | Class Room and workshop |
| - Assemble concrete pipes | - Trainee must be able to: - Clean pipes surface - Carry out watering on edges - Apply sealant - Equalize gasket - Perform alignment - Join pipes - Perform final quality inspection | - Explain concrete pipes and there use in water supply system - Describe jointing methods for concrete pipes - Describe safety procedure for joining concrete pipes - Describe types of concrete pipes - Practical Activity - Assembly of concrete pipes | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Sealant Gasket Pipe repairs, Plungers, Pressure testing kits, Spirit level PPEs Clamps Nuts & Bolts Concrete pipe | Class Room and workshop |
| - Assemble PPRC pipes | - Trainee must be able to - Clean pipes surface - Carry out Heating on edges - Apply sealant - Perform alignment - Join pipes - Perform Test for joints | - Explain PPRC pipes and there use in water supply system - Describe jointing methods for PPRC pipes - Describe safety procedure for joining PPRC pipes. - Practical Activity - Assembly of PPRC pipes | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Radiator tools Spirit level PPEs Threading die Pipe Vice Flanges Pipe cutter Wrench set Spanner set Clamps Nuts & Bolts PPRC pipes | Class Room and workshop |

### 0732B&CE-166. Draw sketches of intakes

Objective: This module covers the knowledge and skills required the Collection and Distribution of Water By providing a structure on the bank of River and Canals. The basic function of intake structure is to help in safely withdrawing water from the source and then to discharge this water in to the withdrawal conduit, through which it reaches the water treatment plant.

Duration: 09	Hours									Theory: 2 Hours				Practice: 7 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw Intake | - Trainee will be able to: - Identify equipment - Fix sheet - Select scale - Draw proposed sketch | - Describe intakes and its type. - Explain Marking out intakes. - Practical Activity - Prepare sketch of intake | Theory-01 Hrs Practical-3.5 Hrs Total- 4.5 Hrs | Drawing sheet Pencil Scale Rubber and sharpener | Class Room |
| - Conduct Design for Intake | - Trainee will be able to: - Select site selection - Check water quality condition - Check place for openings - Construct well upstream - Indicate flow system - Install pump to treatment plant | - Explain Marking out intakes. - Explain procedure to take out water from intakes. - Describe design procedure for intakes - Explain safety precaution for task - Describe fixing of pump method for intake - Explain PPEs - Practical Activity - Conduct design for intake | Theory-01 Hrs Practical-3.5 Hrs Total- 4.5 Hrs | Scale card | Class Room and workshop |

### 0732B&CE-167. Plan water treatment (Clarification)

Objective: This module covers the knowledge and skills required for basics of water clarifiers and settling tanks built with mechanical means for continuous removal of solids being deposited by sedimentation. A clarifier is generally used to remove solid particulates or suspended solids from liquid.

Duration: 16 Hours									Theory: 4 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw water treatment Plan | - Trainee will be able to: - Identify quantity of water - Show Grits removal chamber - Indicate Screens - Identify pumps - Label settling tank - Label filtration stage - Indicate disinfection stage | - Knowledge of Market requirements of domestic and commercial water supply - Define grit removal chamber - Define settling tank - Define filtration - Practical Activity - Draw water treatment plant | Theory-02 Hrs Practical-04 Hrs Total- 06 Hrs | Drawing sheet Drawing instruments Pencils Eraser | Class Room & water treatment plant |
| - Plan Screening for water treatment | - Trainee will be able to: - Identify quantity of water - Identify quality of water. - Indicate Screens operation | - Define water treatment process - Define fundamentals steps for water treatment - Enlist types of water - Describe applications stages for water treatment - Knowledge of repair and maintenance for treatment plant - Explain different type of screens used for treatment of water - Practical Activity - Plan screening for water treatment. | Theory-01 Hrs Practical-04 Hrs Total- 05 Hrs | Umbrella (Optional) PPEs Drawing sheet Drawing instruments Pencils Eraser Calculator | Class Room and treatment plant |
| - Plan Clarifier for water treatment | - Trainee must be able to: - Identify quantity of water - Mark Primary Clarifier. - Mark secondary Clarifier | - Explain filtration process in water treatment - Explain primary clarifier and its working - Explain secondary clarifier and its working - Practical Activity - Plan clarifier for water treatment | Theory-01 Hrs Practical-04 Hrs Total- 05 Hrs | Umbrella (Optional) PPEs Drawing sheet Drawing instruments Pencils Eraser Calculator | Class Room and water treatment plant. |

### 0732B&CE-168. Plan water treatment (Filtration)

Objective: This module covers the knowledge and skills required to prepare for water flows through a filter designed to remove particles in the water. The filters are made of layers of sand and gravel, and in some cases, crushed anthracite. Filtration collects the suspended impurities from water and enhances the effectiveness of disinfection work.

Duration: 13 Hours									Theory: 4 Hours				Practice: 9 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw water filtration process | - Trainee will be able to: - Identify source of water - Calculate quantity of water - Indicate sand beds - Check filtration Rate - Select reducing Factor - Indicate inlet & outlet | - Knowledge of Safety requirements for drinking water after treatment - Knowledge of water treatment process - Explain different stages for water treatment process - Practical Activity - Draw layout of water filtration process | Theory-02 Hrs Practical-03 Hrs Total- 05 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and water filtration unit |
| - Interpret Plan (Slow sand filter at water treatment plant) | - Trainee will be able to: - Identify water treatment plant - Identify sand beds - Identify slow sand filters - Check filter media - Identify sand removal need | - Explain filter media and it types - Explain change of filter media at water treatment plant - Define slow sand filters - Explain working of slow sand filter - Practical Activity - Interpret Plan (Slow sand filter at water treatment plant) | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room water treatment top |
| - Interpret Plan (Pressure Sand Filter) at water treatment plant | - Trainee must be able to: - Identify source of water - Identify sand beds - Identify Rapid / Pressure filters - Check filter media - Identify back wash results - Check associated symptoms | - Describe working of rapid sand filters at water treatment plant - Explain reducing factor - Practical Activity - Interpret Plan (Pressure Sand Filter) at water treatment plant | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and workshop |

### 0732B&CE-169. Plan water distribution system

Objective: This module covers the knowledge and skills required to interpret water distribution system, interpret layout for water distribution network, interpret layout for water Storage Reservoir, interpret storage capacity of Reservoir and Accumulate Hydraulic model

Duration:  14 Hours									Theory: 02 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret water distribution system | - Trainee will be able to: - Identify safety requirements for installation - Identify Gravity system - Identify Pumping system - Identify partly gravity & pumping system | - Explain different system for water supply in housing scheme - Explain different system for water supply Pipe laying network in housing scheme - Define gravity and partly gravity system - Define pumping and partly pumping system - Practical Activity - Interpret water distribution system | Theory-0.25 Hrs Practical-02 Hrs Total- 2.25 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and field |
| - Interpret layout for water distribution network | - Trainee will be able to: - Mark out distribution network points - Identify dead end system - Identify Radial system - Identify Ring System - Identify Grid Iron System | - Define dead end system - Define radial system - Define ring system - Define grid iron system - Practical Activity - Interpret layout for water distribution network | Theory-0.25 Hrs Practical-02 Hrs Total- 2.25 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and field |
| - Interpret layout for water Storage Reservoir | - Trainee must be able to: - Mark out place for reservoir - Identify surface reservoir - Identify elevated reservoir - Monitor difference in working both reservoir - Perform cleaning / repair process for reservoir | - Knowledge of water storage reservoir - Explain Uses of tools and equipment to clean and repair of water reservoir - Explain type of reservoir according to shapes, material and design - Explain reservoir storage parts frequently - Practical Activity - Interpret layout for water Storage Reservoir | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and workshop |
| - Interpret storage capacity of Reservoir | - Trainee must be able to - Identify quantity of water for reservoir - Identify balancing storage - Identify breakdown storage - Calculate Fire demand storage - Identify dead storage | - Explain type of reservoir according to shapes, material and design. - Define fire demand - Define breakdown storage - Define balancing storage - Practical Activity - Interpret storage capacity of Reservoir | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room and reservoir |
| - Accumulate Hydraulic model | - Trainee must be able to - Evaluate methodology of distribution system - Develop pipe networks into sub networks - Recognize Data - Prepare hydraulic model - Analyse Results | - Explain hydraulic model - Differentiate between pipe networks and sub networks - Practical Activity - Accumulate Hydraulic model | Theory-0.5 Hrs Practical-02 Hrs Total- 2.5 Hrs | Drawing sheet Drawing instruments Pencils Eraser Compass Sprit level Calculator Umbrella (Optional) PPEs | Class Room |

## 9.14. Strength of Materials

### 0732B&CE-170. Locate centroid of different sections

Objective: This module covers the knowledge and  skills required  to locate centeroid of regular and irregular shape

Duration: 15 Hours									Theory: 3 Hours				Practice:12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Locate centeroid of a regular shape | Trainee will be able to: Fix the graph paper on the given object of any shape Hang the figure through its hole and plumb bob with nail Draw lines of action of the plumb bob Locate centeroid | Define and explain the terms: Center of gravity, centroid, and first moment of area, reference axes, centroidal axes and symmetrical axes. Describe the methods of finding center of gravity i.e. by geometrical consideration and the method of moments Explain the steps for the calculation of centroid of composite sections Determine position of C. G. for various structural sections i.e. I-section, H-section, T-section, channel section, angle section, Z-section and composite sections by method of moments | Theory-0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs | Calculator Graph Paper Lead Pencil Rubber | Class Room |
| Locate centeriod of symmtrical I section | Trainee will be able to: Draw figure according to given dimensions Join diagonally Mark centroid on the figure | Learning activity: An I-section has the following dimensions in mm units: Bottom flange = 300 × 100 Top flange = 150 × 50 Web = 300 × 50 Determine mathematically the position of center of gravity of the section. Find the centre of gravity of a 100 mm × 150 mm × 30 mm T-section. | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | Calculator Paper pencil | Class Room |
| Locate centeriod of un-Symmitercal sections | Trainee must be able to: Segment the section in to simple geometrical shape rectangles Draw reference axis Calculate area of each section Segment the section in to simple geometrical shape Draw reference axis Find Area of each re rectangles Find centeriodal distances Apply formula to calculate distance ( X’ & Y’) from reference axis. Mark centeroid in section. | Learning activity: Find the centroid of an unequal angle section 100 mm × 80 mm × 20 mm. Find the center of gravity of a channel section 100 mm × 50 mm × 15 mm. | Theory-0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs | Calculator Paper pencil | Class Room |
| Locate centeroid of hollow solid sections cosisting of and a hollow circle | Trainee must be able to Segment the section in to simple geometrical shape Draw reference axis Calculate area of each section Draw reference axis Find Area of each geometrical shape Find centeriodal distances Apply formula to calculate distance ( X’ & Y’) from reference axis. Mark centroid in section. | Learning activity: A uniform lamina shown in figure consists of a rectangle, a circle and a triangle. Determine the centre of gravity of the lamina. All dimensions are in mm. Find the center of gravity of a semicircular section having outer and inner diameters of 200 mm and 160 mm respectively as shown in figure. | Theory-0.5 Hrs Practical-3 Hrs Total- 3.5 Hrs |  | Class Room |
| Locate centeroid of a irregular shape | Trainee must be able to Fix the graph paper on the given object of any shape Hang the figure through its hole and plumb bob with nail Draw lines of action of the plumb bob. Locate centroid | Practice: A semicircle of 90 mm radius is cut out from a trapezium as shown in figure. Find the position of the centre of gravity of the figure. A semicircular area is removed from a trapezium as shown in figure (dimensions in mm) Determine the centroid of the remaining area (shown hatched). A circular hole of 50 mm diameter is cut out from a circular disc of 100 mm diameter as shown in figure. Find the center of gravity of the section from A. | Theory-0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs | Calculator Paper pencil | Class Room |

### 0732B&CE-171. Find out Moment of Inertia of Different Sections

Objective: This module covers the knowledge and  skills required to  calculate moment of inertia of regular shapes, moment of inertia for composite section and calculate polar moment of inertia for circular section

Duration: 15 Hours									Theory: 3 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Find moment of Inertia of given T section 8x4x2cm | Trainee will be able to: Draw figure according to dimensions Segment section into simple rectangles Find centroid of figure Calculate centeriodal distances of areas Apply formula of parallel axis theorem Calculate moment of inertia | Define moment of inertia, second moment of area, polar moment of inertia, radius of gyration and their units State moment of inertia of simple geometrical shapes; rectangle, triangle and circle etc. (their formulae). State perpendicular and parallel axes theorems. Practice: Find the moment of inertia of a hollow rectangular section about its center of gravity if the external dimensions are breadth 60 mm, depth 80 mm and internal dimensions are breadth 30 mm and depth 40 mm respectively. Find the moment of inertia of a rectangular section 60 mm wide and 40 mm deep about its centre of gravity. Find the moment of inertia of a hollow rectangular section about its centre of gravity, if the external dimensions are 40 mm deep and 30 mm wide and internal dimensions are 25 mm deep and 15 mm wide. Find the moment of inertia of a hollow rectangular section about its center of gravity if the external dimensions are breadth 60 mm, depth 80 mm and internal dimensions are breadth 30 mm and depth 40 mm respectively. Find the moment of inertia of a circular section of 20 mm diameter through its centre of gravity. Find the moment of inertia of a triangular section having 50 mm base and 60 mm height about an axis through its centre of gravity and base. Find the moment of inertia of a semicircular section of 30 mm radius about its centre of gravity and parallel to X-X and Y-Y axes | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | Calculator Paper pencil | Class Room |
| Find moment of Interia of given I secion | Trainee will be able to: Draw figure according to dimensions Segment the section into simple rectangles Find centroid of figure Calculate centroidal distances of areas Apply formula of parallel axis theorem Calculate moment of inertia. | Determine moment of inertia of simple and composite sections by applying parallel axes theorem with sketches Practice: Find the moment of inertia of a T-section with flange as 150 mm × 30 mm and web as 150 mm × 30 mm about X-X and Y-Y axes through the centre of gravity of the section. Find the of inertia Find the moment of inertia about centroidal X-X and Y-Y axis of angle section shown. An I-section is made up of three rectangles as shown in figure. Find the moment of inertia of the section about the horizontal axis passing through the centre of gravity of the section. | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | Calculator Paper pencil | Class Room |
| Find Polar moment of Interia of given Circular secion | Trainee must be able to: Draw figure according to dimensions Draw reference axis Apply formula to find Ixx. And Iyy. Calculate Polar Moment of Inertia. | Practice: Find the moment of inertia of a circular section of 20 mm diameter through its centre of gravity. Find the moment of inertia of a triangular section having 50 mm base and 60 mm height about an axis through its centre of gravity and base. Find the moment of inertia of a semicircular section of 30 mm radius about its centre of gravity and parallel to X-X and Y-Y axes. | Theory-0.5 Hrs Practical-3 Hrs Total- 3.5 Hrs | Calculator Paper pencil | Class Room |
| Find moment of Interia of given Hollow section. | Trainee must be able to Draw correct figure according to given dimensions and mark reference axis Calculate area of each section Find Area of each geometrical shape Find centroidal distances Apply formula to calculate distance (X’ & Y’) from reference axis. Mark centroid in section. Apply parallel axis theorem to find Ixx., Iyy. by deducting circular section. | Determine polar moment of inertia for circular section applying perpendicular axes theorem. Practice: Calculate the moment of inertia of a hollow circular section of external and internal diameters 100 mm and 80 mm respectively about an axis passing through its centroid. Figure below shows the cross-section of a cast iron beam. Determine the moments of inertia of the section about horizontal and vertical axes passing through the centroid of the section. Find the moment of inertia of a hollow section shown in figure. about an axis passing through its centre of gravity or parallel X-X axis. | Theory-0.5 Hrs Practical-3 Hrs Total- 3.5 Hrs | Calculator Paper pencil | Class Room |

### 0732B&CE-172. Produce Shear Force and Bending Moment Diagrams

Objective: This module covers the knowledge and  skills required to Produce Shear Force and Bending Moment Diagrams in case of simply supported, cantilever and over hanging beam under point load, uniformly distributed loads and Uniformly Varying loads.

Duration: 20 Hours									Theory: 4 Hours				Practice: 16 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Draw Shear Force and Bending Moment Diagrams of cantilever and simply supported beam having point, UDL at different points. | Trainee will be able to: Draw load diagram according to given Data Compute reactions Compute shear force at different sections of beam Compute bending moment at different sections of beam Draw Shear Force and Bending Moment Diagrams | Define types of beams, supports and loads. State difference between statically determinate and indeterminate structures Calculate reactions for simply supported, overhanging and cantilever beams under various loading conditions (Point loads-U.D. L & Combined loading). Explain shear force & Bending Moment in beams and their significance. Draw shear force and bending moment diagrams of beams (simply supported beam, over hanging beam & cantilever beam). State standard formulas for shear force and bending moments for Simply supported beam subjected to point loads at different positions. Calculate maximum and minimum shear force and bending moment and determine their positions. Explain Point of zero shears, point of contra flexure and their significance and calculations. Cantilever beam subjected to a point load at free end and U.D.L on whole span Shear forces and Bending Moments at various sections of different types of beam, under different loading conditions (Point loads-U.D. L & Combined loadings). Practice: Draw shear force and bending moment diagrams for a cantilever beam of span 1.5 m carrying point loads as shown in figure.ww.cgaspirants.co A cantilever beam AB, 2 m long carries a uniformly distributed load of 1.5 kN/m over a length of 1.6 m from the free end. Draw shear force and bending moment diagrams for the beam. A cantilever beam of 1.5 m span is loaded as shown in figure. Draw the shear force and bending moment diagrams. A simply supported beam AB of span 2.5 m is carrying two-point loads as shown in figure. A simply supported beam of 4 m span is carrying loads as shown in figure. Draw shear force and bending moment diagrams for the beam. A simply supported beam AB, 6 m long is loaded as shown in figure. Construct the shear force and bending moment diagrams for the beam and find the position and value of maximum bending moment.s.com w Draw shear force and bending moment diagrams for a simply supported beam, loaded as shown in figure. Find the position and value of the maximum bending moment that will occur in the beam. A simply supported beam AB, 6 m long is loaded as shown in figure. Draw the shear force and bending moment diagrams for the beam. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Calculator Paper pencil | Class Room |
| Draw Shear Force and Bending Moment Diagrams for overhanging beam under point load and uniformly distributed load and also find point of contra flexure if any | Trainee must be able to: Identify over hanging beam Draw load diagram Compute reactions Compute shear force at different sections of beam Draw shear force diagram Locate the point of Zero shear force Compute bending moment at different sections of beam Locate point of maximum Bending moment at zero Shear force Draw bending moment diagram and locate zero bending moment (point of contra flexure) | An overhanging beam ABC is loaded as shown in figure. Draw the shear force and bending moment diagrams and find the point of contra flexure, if any. A beam ABCD, 4 m long is overhanging by 1 m and carries load as shown in figure. Draw the shear force and bending moment diagrams for the beam and locate the point of contra flexure. Draw the complete shear force diagram for the overhanging beam shown in figure. Hence, determine the position in the central bay, at which the positive bending moment occurs. Find also magnitude of the maximum positive and negative bending moment. A beam 10 m long carries load as shown in figure. Draw shear force and bending moment diagrams for the beam and determine the points of contra flexures, if any. | Theory-1 Hrs Practical-5 Hrs Total- 6 Hrs | Calculator Paper pencil | Class Room |

### 0732B&CE-173. Find Hardness of Metals

Objective: This module covers the knowledge and  skills required to find hardness of different metals i.e. Aluminium, copper, mild steel by using (a) Brnell’s Hardness test (b) Rockwell Hardness test, comparison of Brinell & Rockwell hardness tests and limitations of Brinell’s hardness test

Duration: 15 Hours									Theory: 3 Hours				Practice:12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform hardness test on aluminum by using Rockwell Hardness Tester and find its hardness. | Trainee will be able to: Identify the Rockwell Hardness test apparatus Fix suitable ball or cone indenter Place specimen on the platform. Set position against the indenter Apply the load by loading lever and wait for specified time Remove the load from the specimen with help of loading lever Note reading of pointer on the corresponding scale of the dial gauge. Check Rockwell hardness no. | Define Hardness, Tension, compression, hardness, Toughness, Brittleness, ductility, Resilience, Flexural Explain Rockwall hardness test, limitations of Brinell’s hardness test and compare Brinell & Rockwall hardness tests Practice: Find the hardness of aluminum by using Rockwell hardness tester In a hardness test, a ball of 10mm diameter makes an indenttion of 3.4mm diameter under a load of 3000 Kg, Calculate B.H.N. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Rockwell hardness tester with accessaries | Class Room and workshop |
| Perform hardness test of aluminum by using Brinell’s Hardness Test to find its hardness. | Trainee will be able to: Identify the Brinell’s Hardness test apparatus Fix suitable indenter Place specimen on the anvil plate. Set position against the indenter and apply the load by loading lever Note reading of pointer on the corresponding scale of the dial gauge. Remove the load from the specimen with help of loading lever Tabulate the result in desired format | Define Hardness, Tension, compression, hardness, Toughness, Brittleness, ductility, Resilience, Flexural Explain Brinell`s hardness test, limitations of Brinell’s hardness test Practice: Find the hardness of aluminum by using Brinell’s hardness Tester | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Brinell’s hardness tester with accessaries | Class Room and workshop |

### 0732B&CE-174. Conduct Tensile Strength Test

Objective: This module covers the knowledge and skills required to evaluate relation between stress and strain of a copper wire, evaluate Young's modulus of the material of the wire, determine tensile strength of mild steel and plot a graph between stress and strain of mild steel.

Duration: 15 Hours										Theory: 3 Hours			Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Evaluate relation between stress and strain of a copper wire | Trainee will be able to: Identify the Young's modulus apparatus Measure the diameter d of the piece of wire Set up the apparatus Measure the un-stretched length Continue to increase the load Record the extension Calculate the cross-sectional area Compile the results of stress and strain in tabular form | Define and explain the terms stress, and its types (tensile, compressive and shear) Define and explain strain, its types (linear, lateral and volumetric) and poisson’s ratio. Define and explain Hook’s Law. State Young’s modulus of elasticity, modulus of rigidity and bulk modulus. Practice: Find the relation between stress and strain of a given copper wire with the help of searle’s apparatus (Young’s modulus apparatus) and plot a graph between stress and strain to find out young’s modulus of the material of copper wire. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Young Modulus apparatus along with accessories Vernier calipers, Copper wire Steel rule. Strain gauge Young Modulus apparatus along with accessories | Class Room and workshop |
| Determine tensile strength of mild steel specimen | Trainee must be able to: Identify testing machine Measure original length and diameter of specimen. Fix metal piece into machine. Apply load on work piece Record load on Load against elongation. Take readings till yield point. Measure elongation values Repeat test till fracture occurs. Compile results. | Identify parts and attachments of U.T.M for tensile and compression tests. Also explain the salient points in stress strain curve for ductile material Practice: Determine tensile strength of mild steel specimen and plot and interpolate stress-strain curve. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Tensile testing machine – UTM mild steel specimen either round or flat | Class Room and workshop |

## 9.17 Soft Skills

- Develop workplace policy and procedures for sustainability

Objective: This module covers the knowledge and  skills required to develop and implement a workplace sustainability policy and to modify the policy to suit changed circumstances. It applies to individuals with managerial responsibilities who undertake work developing approaches to create, monitor and improve strategies and policies within workplaces and engage with a range of relevant stakeholders and specialists.

Duration: 6 Hours								Theory: 2 Hours				Practice: 4 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Develop workplace sustainability policy | Trainee will be able to: - Define scope of sustainability policy - Gather information from a range of sources to plan and develop policy - Identify and consult stakeholders as a key component of the policy development process - Include appropriate strategies in policy at all stages of work for minimizing resource use, reducing toxic material and hazardous chemical use and employing life cycle management approaches - Make recommendations for policy options based on likely effectiveness, timeframes and cost - Develop policy that reflects the organization s commitment to sustainability as an integral part of business planning and as a business opportunity - Agree to appropriate methods of implementation, outcomes and performance indicators | - outline the environmental or sustainability legislation, regulations and codes of practice applicable to the organization identify internal and external sources of information and explain how they can be used to plan and develop the organization s sustainability policy Practical activity . | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Communicate workplace sustainability policy | Trainee will be able to: - Promote workplace sustainability policy, including its expected outcome, to key stakeholders - Inform those involved in implementing the policy about expected outcomes, activities to be undertaken and assigned responsibilities | - explain policy development processes and practices practical activity | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Implement workplace sustainability policy. | Trainee will be able to: - Develop and communicate procedures to help implement workplace sustainability policy - Implement strategies for continuous improvement in resource efficiency - Establish and assign responsibility for recording systems to track continuous improvements in sustainability approaches | - outline organizational systems and procedures that relate to sustainability. Practical Activity Prepare Report on Main Features of Tender Documents. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Review workplace sustainability policy implementation | - Review workplace sustainability policy implementation - Investigate successes or otherwise of policy - Monitor records to identify trends that may require remedial action and use to promote continuous improvement of performance - Modify policy and or procedures as required to ensure improvements are made | - outline typical barriers to implementing policies and procedures in an organization and possible strategies to address them Practical Activity Prepare tender documents for civil works & invite tender. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |

- Manage meetings

Objective: This module covers the knowledge and  skills required to manage a range of meetings including overseeing the meeting preparation processes, chairing meetings, organizing the minutes and reporting meeting outcomes. It applies to individuals employed in a range of work environments who are required to organize and manage meetings within their workplace, including conducting or managing administrative tasks in providing agendas and meeting material. They may work as senior administrative staff or may be individuals with responsibility for conducting and chairing meetings in the workplace

Duration: 6 Hours								Theory: 02 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for meetings | - Develop agenda in line with stated meeting purpose - Ensure style and structure of meeting are appropriate to its purpose - Identify meeting participants and notify them in accordance with organizational procedures - Confirm meeting arrangements in accordance with requirements of meeting - Dispatch meeting papers to participants within designated timelines | - outline meeting terminology, structures, arrangements - outline responsibilities of the chairperson and explain group dynamics in relation to managing meetings Practical Activity Arrangement of place for meeting | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Conduct meetings | - Chair meetings in accordance with organizational requirements, agreed conventions for type of meeting and legal and ethical requirements - Conduct meetings to ensure they are focused, time efficient and achieve the required outcomes - Ensure meeting facilitation enables participation, discussion, problem-solving and resolution of issues - Brief minute-taker on method for recording meeting notes in accordance with organizational requirements and conventions for type of meeting | - describe options for meetings including face-to-face, teleconferencing, web-conferencing and using webcams - Practical Activity Opening and initial evaluation of tenders | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Follow up meetings | Trainee must be able to: - Check transcribed meeting notes to ensure they reflect a true and accurate record of the meeting and are formatted in accordance with organizational procedures and meeting conventions - Distribute and store minutes and other follow-up documentation within designated timelines, and according to organizational requirements - Report outcomes of meetings as required, within designated timelines | - identify the relevant organizational procedures and policies regarding meetings, chairing and minutes including identifying organizational formats for minutes and agendas. - Practical Activity - Award contract to successful bidder | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |

- Manage recruitment selection and induction processes.

Objective: This module covers the knowledge and  skills required to manage all aspects of recruitment selection and induction processes in accordance with organizational policies and procedures. It applies to individuals or human resource personnel who take responsibility for managing aspects of selecting new staff and orientating those staff in their new positions. It is not assumed that the individual will be directly involved in the selection processes themselves, although this may well be the case.

Duration: 6 Hours								Theory: 02 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Develop recruitment, selection and induction policies and procedures | - Analyze strategic and operational plans and policies to identify relevant policies and objectives - Develop recruitment, selection and induction policies and procedures and supporting documents - Review options for technology to improve efficiency and effectiveness of recruitment and selection process - Obtain support for policies and procedures from senior managers - Trial forms and documents supporting policies and procedures and make necessary adjustments - Communicate policies and procedures to relevant staff and provide training if required | - describe recruitment and selection methods, including assessment centers - explain the concept of outsourcing | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Recruit and select staff | Trainee will be able to: - Determine future human resource needs in collaboration with relevant managers and sections - Ensure current position descriptors and person specifications for vacancies are used by managers and others involved in recruitment, selection and induction processes - Provide access to training and other forms of support to all persons involved in recruitment and selection process - Ensure advertising of vacant positions complies with organizational policy and legal requirements - Utilize specialists where necessary - Ensure selection procedures are in accordance with organizational policy and legal requirements - Ensure processes for advising applicants of selection outcome are followed - Ensure job offers and contracts of employment are executed promptly, and new appointments are provided with advice about salary, terms and conditions. | - describe the purpose of employee contracts and industrial relations - summarize relevant legislation, regulations, standards and codes of practice that may affect recruitment, selection and induction, Practical Activity Prepare record of measurements and payments for execution on daily labor basis for repair works | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Manage staff induction | Trainee must be able to: - Provide access to training and ongoing support for all persons engaged in staff induction - Check induction processes are followed across the organization - Oversee management of probationary employees and provide them with feedback until their employment is confirmed or terminated - Obtain feedback from participants and relevant managers on extent induction process is meeting its objectives - P5 Make refinements to induction policies and procedures | - explain why terms and conditions of employment are an important aspect of recruitment - explain the relevance of psychometric and skills testing programs to recruitment - Practical Activity Prepare record of permanent advances for works | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |

- Manage personal work priorities and professional development

Objective:  This module covers the knowledge and skills required to create systems and process to organize information and prioritize tasks. It applies to individuals working in managerial positions who have excellent organizational skills. The work ethic of individuals in this role has a significant impact on the work culture and patterns of behavior of others as managers at this level are role models in their work environment.

Duration: 06 Hours								Theory: 02 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Establish personal work goals | - Serve as a positive role model in the workplace through personal work planning - Ensure personal work goals, plans and activities reflect the organization s plans, and own responsibilities and accountabilities - Measure and maintain personal performance in varying work conditions, work contexts and when contingencies occur | - explain principles and techniques involved in the management and organization of: - performance measurement - personal behavior, self-awareness and personality traits identification - a personal development plan - personal goal setting - time - discuss management development opportunities and options for self Practical Activity Prepare record of store (stock) debited to suspense account | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - . Set and meet own work priorities directly charged to work. | - Take initiative to prioritize and facilitate competing demands to achieve personal, team and organizational goals and objectives - Use technology efficiently and effectively to manage work priorities and commitments - Maintain appropriate work-life balance, and ensure stress is effectively managed and health is attended to | - describe methods for achieving a healthy work-life balance - outline organization s policies, plans and procedures Practical Activity Prepare record of store directly charged to work | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Develop and maintain professional competence | Trainee must be able to: - Assess personal knowledge and skills against competency standards to determine development needs, priorities and plans - Seek feedback from employees, clients and colleagues and use this feedback to identify and develop ways to improve competence - Identify, evaluate, select and use development opportunities suitable to personal learning style/s to develop competence - Participate in networks to enhance personal knowledge, skills and work relationships - Identify and develop new skills to achieve and maintain a competitive edge | - explain types of learning style/s and how they relate to the individual - describe types of work methods and practices that can improve personal performance. Practical Activity Prepare record for transfer of store. | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil | Class Room |

- Manage workforce planning

Objective:

This module covers the knowledge and skills required to manage planning in relation to an organization’s workforce including researching requirements, developing objectives and strategies, implementing initiatives and monitoring and evaluating trends. It applies to individuals who are human resource managers or staff members with a role in a policy or planning unit that focuses on workforce planning.

Duration: 06 Hours								Theory: 02 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Research workforce requirements | Trainee must be able to: - Review current data on staff turnover and demographics - Assess factors that may affect workforce supply - Establish the organization’s requirements for a skilled and diverse workforce | - explain current information about external labor supply relevant to the specific industry or skill requirements of the organization Practical Activity Prepare record of store (stock) debited to suspense account | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Develop workforce objectives and strategies | Trainee must be able to: - P1 Review organizational strategy and establish aligned objectives for modification or retention of the workforce - P2 Consider strategies to address unacceptable staff turnover, if required - P3 Define objectives to retain required skilled labor - P4 Define objectives for workforce diversity and cross-cultural management - P5 Define strategies to source skilled labor - P6 Communicate objectives and rationale to relevant stakeholders - P7 Obtain agreement and endorsement for objectives and establish targets - P8 Develop contingency plans to cope with extreme situations | - explain current information about external labor supply relevant to the specific industry or skill requirements of the organization Practical Activity Prepare record of store directly charged to work | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Implement initiatives to support workforce planning objectives | Trainee must be able to: - Implement action to support agreed objectives for recruitment, training, redeployment and redundancy - Develop and implement strategies to assist workforce to deal with organizational change - Develop and implement strategies to assist in meeting the organization’s workforce diversity goals - Implement succession planning system to ensure desirable workers are developed and retained - Implement programs to ensure workplace is an employer of choice | - outline industrial relations relevant to the specific industry Practical Activity Prepare record for transfer of store. | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil | Class Room |
| - Monitor and evaluate workforce trends | Trainee must be able to: - Review workforce plan against patterns in exiting employee and workforce changes - Monitor labor supply trends for areas of over- or under-supply in the external environment - Monitor effects of labor trends on demand for labor - Survey organizational climate to gauge worker satisfaction - Refine objectives and strategies in response to internal and external changes and make recommendations in response to global trends and incidents - Regularly review government policy on labor demand and supply - Evaluate effectiveness of change processes against agreed objectives | - describe labor force analysis and forecasting techniques Practical Activity |  |  |  |

- Undertake project work

Objective: This module covers the knowledge and  skills required to undertake a straightforward project or a section of a larger project. It covers developing a project plan, administering and monitoring the project, finalizing the project and reviewing the project to identify lessons learned for application to future projects. This unit applies to individuals who play a significant role in ensuring a project meets timelines, quality standards, budgetary limits and other requirements set for the project.

Duration: 8 Hours								Theory: 3 Hours				Practice: 6 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Define project | Trainee will be able to: - Access project scope and other relevant documentation - Define project stakeholders - Seek clarification from delegating authority of issues related to project and project parameters - Identify limits of own responsibility and reporting requirements - Clarify relationship of project to other projects and to the organization’s objectives - Determine and access available resources to undertake project | - give examples of project management tools and how they contribute to a project - outline types of documents and other sources of information commonly used in defining the parameters of a project practical activity. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| LU2 Develop project plan | Trainee will be able to: - Develop project plan in line with the project parameters - Identify and access appropriate project management tools - Formulate risk management plan for project, including Work Health and Safety (WHS) - Develop and approve project budget - Consult team members and take their views into account in planning the project - Finalize project plan and gain necessary approvals to commence project according to documented plan | - explain processes for identifying and managing risk in a project practical activity | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Administer and monitor project | Trainee will be able to: - Take action to ensure project team members are clear about their responsibilities and the project requirements - Provide support for project team members, especially with regard to specific needs, to ensure that the quality of the expected outcomes of the project and documented time lines are met - Establish and maintain required recordkeeping systems throughout the project - Implement and monitor plans for managing project finances, resources and quality - Complete and forward project reports as required to stakeholders - Undertake risk management as required to ensure project outcomes are met - Achieve project deliverables | - outline the organization’s mission, goals, objectives and operations and how the project relates to them Practical Activity Prepare Report on Main Features of Tender Documents. | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Finalize project | Trainee will be able to: - Complete financial recordkeeping associated with project and check for accuracy - Ensure transition of staff involved in project to new roles or reassignment to previous roles - Complete project documentation and obtain necessary sign-offs for concluding project | - K5: explain the organization’s procedures and processes that are relevant to managing a project including: - lines of authority and approvals - quality assurance - human resources - budgets and finance - recordkeeping - reporting - Outline the legislative and regulatory context of the organization in relation to project work, including work health and safety (WHS) requirements. Practical Activity Prepare tender documents for civil works & invite tender. | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |

- Identify and communicate trends in career development

Objective: This module covers the knowledge and  skills required to conduct research to identify and communicate career trends. It establishes the need to interact professionally with others in assessing career needs, to effectively assist clients identify competencies they require for a career and employability in a given context. It also examines how to maintain quality of career development services and professional practice. It applies to individuals seeking to identify and communicate trends in career development.

Duration: 6 Hours								Theory: 02 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Research and confirm career trends | Trainee will be able to: - Apply knowledge of changing organizational structures, lifespan of careers and methods of conducting work search, recruitment and selection processes - Analyze changing worker and employer issues, rights and responsibilities in context of changing work practices - Examine importance of quality careers development services - Maintain all research, documentation, sources and references (electronic or physical) to a high degree of currency and relevance - Analyze implications of relevant policy, legislation, professional codes of practice and national standards relating to worker and employer issues - Research changes and trends in theory of career development counseling and practice - Confirm clusters, levels and combinations of transferable employability skills and preferences that may open employment options spanning more than one occupation or career pathway | - explain client care and counseling techniques and processes in the context of career development services - describe diversity and its potential effects on career choices Practical Activity Collect Tender for civil works. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - 2. Assess and confirm ongoing career development needs of target group | Trainee will be able to: - Analyze history and records in assessing needs of target group - Assess success of previous career development services and techniques used for individual or target group - Deploy other means to investigate appropriate care and counseling approaches as required - Maintain privacy and security of all data, research and personal records according to relevant policy, legislation, professional codes of practice and national standards - Establish existing work-life balance requirements, issues and needs | - outline human psychological development and needs in relation to careers development - outline relevant policy, legislation, codes of practice and standards relevant to career development - explain recruitment and selection processes in the context of career development services - Practical Activity Opening and initial evaluation of tenders | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Maintain quality of career development services and professional practice | Trainee will be able to: - Analyze and review relevance of career theories, models, frameworks and research for target group - Incorporate into career development services and professional practice, major changes and trends influencing workplace and career-related options and choices - omply with all relevant policy, legislation, professional codes of practice and national standards that influence delivery of career development services | - describe a range of data gathering and research techniques - explain techniques used to analyze trends. - Practical Activity - Award contract to successful bidder | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil | Class Room |

- Apply specialist interpersonal and counseling interview skills.

Objective: This module covers the knowledge and  skills required to use advanced and specialized communication skills in the client-counselor relationship. This unit applies to individuals whose job role involves working with clients on personal and psychological issues within established policies, procedures and guidelines.

Duration: 6 Hours								Theory: 02 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Communicate effectively | - Identify communication barriers and use strategies to overcome these barriers in the client-counselor relationship - Facilitate the client-counselor relationship through selection and use of micro skills - Integrate the principles of effective communication into work practices - Observe and respond to non-verbal communication cues - Consider and respond to the impacts of different communication techniques on the client-counselor relationship in the context of individual clients - Integrate case note taking with minimum distraction | legal and ethical considerations for communication in counseling practice, and how these are applied in individual practice: - codes of conduct/practice - discrimination - duty of care - human rights - practitioner/client boundaries - privacy, confidentiality and disclosure - rights and responsibilities of workers, employers and clients - work role boundaries responsibilities and limitations of the counselor role - work health and safety principles of person-centered practice key objectives of counseling interviewing stages of a counseling interview potential impacts of using different communication skills and techniques in counseling contexts | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Use specialized counseling interviewing skills | - Select and use communication skills according to the sequence of a counseling interview - Identify points at which specialized counseling interviewing skills are appropriate for inclusion - Use specialized counseling communication techniques based on their impacts and potential to enhance client development and growth - Identify and respond appropriately to strong client emotional reactions | communication techniques and micro-skills including: - attending behaviors active listening, reflection of content feeling, summarizing - questioning skills open, closed, simple and compound questions - client observation skills - noting and reflecting skills - providing client feedback specialized counseling communication techniques, and how they are used, including: - challenging - reframing - focusing components of the communication process including: - encoder - decoder primary factors that impact on the communication process including: - context - participants - rules - messages - channels - noise - feedback communication barriers and resolution strategies, including: - environmental - physical - individual perceptions - cultural issues - language - age issues - disability - , Practical Activity Prepare record of measurements and payments for execution on daily labor basis for repair works | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Evaluate own communication | - Reflect on and evaluate own communication with clients - Recognize the effect of own values and beliefs on communication with clients - Identify and respond to the need for development of own skills and knowledge | observational techniques including: - facial expressions - non-verbal behavior - posture - silence ways in which different people absorb information, including: - visual - auditory - kinesthetic obstacles to the counseling process impacts of trauma and stress on the communication process, including on: - concentration and attention - memory - use of verbal and written language - use of body language - challenging within the counseling session self-evaluation practices, including: - how to recognize own biases - Impact of own values on the counseling relationship. - Practical Activity Prepare record of permanent advances for works | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil | Class Room |

- Work safely in an office environment

Objective:

This module covers the knowledge and skills required to to participate in workplace occupational health and safety (OHS) processes to protect workers own health and safety, and that of others

Duration: 06 Hours								Theory: 02 Hours				Practice:04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - 1. Work safely | - P1 Follow established safety procedures when conducting work | - K1: Explain responsibilities of employers and employees under relevant health and safety regulation Practical Activity Prepare record of store (stock) debited to suspense account | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - 2. Implement workplace safety requirements | - P2 Carry out pre-start systems and equipment checks in accordance with workplace procedures | - K2: describe emergency procedures including procedures for fires, accidents and evacuation Practical Activity Prepare record of store directly charged to work | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - 3. Participate in OHS consultative processes | - P1 Identify designated persons for reporting queries and concerns about safety in the workplace | - K3: outline commonly used hazard signs and safety symbols Practical Activity Prepare record for transfer of store. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Follow safety procedures | - P2 Identify existing and potential hazards in the workplace, report them to designated persons and record them in accordance with workplace procedures | - K3: outline commonly used hazard signs and safety symbols Practical Activity | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |

- Develop workplace documents

Objective:

This module covers the knowledge and skills required to interpret and compose a range of workplace documents from a number of sources. It includes interpret written information for workplace purposes as well as planning, drafting and reviewing a basic document before writing the final version. The focus is on the content and structure of written materials and not on the use of computer technology

Duration: 06 Hours								Theory: 02 Hours				Practice:04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret written information | - Read workplace materials to identify the subject and key information for using or reporting to others. - Read procedural manuals and codes of practice to locate specific information to carry out work functions in accordance with policy and standards. - Read a range of written materials to locate and select required information for summaries, short reports and responses to requests. - Identify the cultural context and prior knowledge required to interpret workplace information and obtain assistance when required. - Determine audience and purpose for the document - Seek assistance with interpretation of complex materials in accordance with organizational procedures. | - Explain the reading and writing procedures at a level to cope with a range of workplace materials - Explain the integration of information from a number of sources in order to generate meaning Practical Activity Prepare record of store (stock) debited to suspense account | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |
| - Develop written materials | - Identify and comply with established requirements for a range of written materials in accordance with organizational procedures and standard templates. - Determine format and structure - Establish key points for inclusion - Identify organizational requirements - Establish method of communication - Establish means of communication | - Describe the ways to write and sequence paragraphs according to the required purpose of written material - Outline the linking ideas in written material through selection and use of words, grammatical structures, headings and punctuation appropriate to the purpose - Elaborate spelling, punctuation and grammar for workplace documents at an experienced level Practical Activity Prepare record of store directly charged to work | Theory-0.4 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Draft document | - Develop draft document to communicate key points - Obtain and include any required additional information - Prepare written information in an accurate, concise and unambiguous manner that meets intended audience and organizational requirements. | - Explain the response to diversity, including gender and disability - Explain the implementation of ergonomic requirements for office work - Explain the environmental policies such as those relating to paper use/wastage/recycling Practical Activity Prepare record for transfer of store. | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |
| - Review document | - Check draft for suitability of tone for audience, purpose, format and communication style - Check draft for readability, grammar, spelling, sentence and paragraph construction and correct any inaccuracies or gaps in content. - Check draft for sequencing and structure - Check draft to ensure it meets organizational requirements - Ensure draft is proofread, where appropriate, by supervisor or colleague | - Describe the preparation of general information and papers according to target audience - Elaborate the ways of proofreading and editing documents to ensure clarity of meaning and conformity to organizational requirements - Describe the problem-solving skills to determine document design and production processes Practical Activity | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |
| - Write final document | - Make and proofread necessary changes - Ensure document is sent to intended recipient within required time frames - File copy of document in accordance with organizational policies and procedures | - Describe the problem-solving skills to determine document design and production processes - Explain the environmental policies such as those relating to paper use/wastage/recycling Practical Activity | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |

- Prepare and implement negotiation

This module covers the knowledge and skills required to prepare for and participate in a process of negotiation.

Duration: 06 Hours								Theory: 02 Hours				Practice:04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for the negotiation | - Identify objectives and preferred outcome of the negotiation and determine minimum acceptable outcome - Understand in relation to what can be offered and what is needed from the other party - Gather information regarding the other party – objectives, - needs, preferences, resources, what they want to achieve - in - order to determine best negotiating points - List and rank the issues to consider concessions that may be made. - Find examples and refine negotiation argument. - Check information to ensure it is correct and up-to-date. - Develop a negotiation plan that includes information about the other party and its interests and a set of responses and strategies to the anticipated tactics. - Prepare an agenda in advance, which includes discussion topics, participants, location and schedule | - Explain organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables. Practical Activity Prepare record of store (stock) debited to suspense account | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |
| - Participate in negotiations | - Analyze all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies - Analyze and determine strategies and priorities on the incident sought from a range of sources - Assess long term objectives against resources and priorities - Apply a range of communication techniques to make and maintain contact with the key people - Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions - Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits - Reassess points of disagreements for common positive - Positions | - Explain organization’s management and accountability systems Practical Activity Prepare record of store directly charged to work | Theory-0.4 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Coordinate support services | - Assess the need for support services in terms of the determined strategies and priorities - Negotiate the resources of support services according to established procedures and availability - Provide information on strategies to support services and maintain the communication - Delegate roles and responsibilities according to expertise and resources | - Describe teamwork principles and strategies Practical Activity Prepare record for transfer of store. | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |
| - Restore order | - Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order - Take action designed to minimize risk and the preserve the safety and security of all involved - Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. - Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. - Complete reports accurately and clearly provided to the appropriate authority promptly - Review, evaluate and analyze the incident and the organizational response to it and report it promptly and accurately. | - Outline the principles of effective communication Practical Activity | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |
| - . Provide leadership direct on and guidance to the work group | - Link between the function of the group and the goals of the organization - Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate - Give opportunities and encouragement to others to develop new and innovative work practices and strategies - Identify conflict and resolve with minimum disruption to work group function - Provide staff with the support and supervision necessary to perform work safely and without risk to health - Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training - Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task | - Outline the guidelines for use of equipment and technology - Explain code of conduct Practical Activity | Theory-0.4 Hrs Practical-1 Hrs Total- 1.4 Hrs | Calculator Ruler Pencil | Class Room |

- Maintain professionalism in the workplace

This module covers the knowledge and skills required to maintain a professional image in the workplace, including behaving ethically, demonstrating motivation, respecting timeframes and maintaining personal appearance.

.

Duration: 06 Hours								Theory: 02 Hours				Practice:04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for the negotiation | - Demonstrate punctuality in meeting, set working hours and times. - Utilize working hours only for working and follow company regulations. - Complete work tasks within deadlines according to order of priority - Supervisors are informed of any potential delays in work times or projects. | - Explain application of good manners and right conduct - Explain basic practices for oral and personal hygiene Practical Activity Prepare record of store (stock) debited to suspense account | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Participate in negotiations | - Clean hair, body and nails regularly. - Wear suitable cloths for the workplace, and respect local and cultural contexts - Meet specific company dress code requirements | - Describe common products used for oral and personal hygiene - Outline the company code of conduct/values Practical Activity Prepare record of store directly charged to work | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Coordinate support services | - Respect personal space of colleagues and clients with reference to local customs and cultural contexts. - Keep sufficient distance from others - Avoid cross transmission of infections (especially through respiration). | - Outline the Company regulations, performance and ethical standards - Explain work responsibilities/job functions Practical Activity Prepare record for transfer of store. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Restore order | - Follow company values/ethics codes of ethics and/or conduct, policies and guidelines. - Use company resources in accordance with company ethical standards. - Conduct personal behavior and relationships in accord with ethical standards and company policies. - Undertake work practices in compliance with company ethical standards, organizational policy and guidelines. - Instruct co-workers on ethical, lawful and reasonable directives. - Share company values/practices with co-workers using appropriate behavior and language. - Report work incidents/situations and/or resolved in accordance with company protocol/guidelines. | - Describe communication skills - State workplace hygiene standards Practical Activity | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |

- Maintain professional development and career professionalism

This module covers the knowledge and skills required to promote own learning career growth and advancement.

Duration: 12 Hours								Theory: 04 Hours				Practice:08 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for the negotiation | - Identify earning needs through evaluation of existing skills and knowledge against job and career progression requirements. - Gather feedback and appraisal is gathered from supervisors, colleagues and clients and used to identify learning needs and skill gaps. - Give advice to relevant personnel regarding identified professional needs. | - Explain all possible learning and development tools: training, mentoring, coaching, networking, seminars, project assignments - Explain education, qualification and certification systems in the country Practical Activity Prepare record of store (stock) debited to suspense account | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil | Class Room |
| - Participate in negotiations | - Sought opportunities are sought for undertaking skill-development activities and are planned in liaison with work group and relevant personnel. - Follow and apply advice on the job coaching/mentoring - Undertake formal training programs where available. - Utilize knowledge and skills gained through professional development activities in the workplace and for career development. - Collect constructive assessment and feedback on work performance from colleagues and supervisor to identify ongoing learning needs and opportunities. | - Describe fundamental rights at work including gender sensitivity - Outline methodology to identify own learning needs and preferred learning style Practical Activity Prepare record of store directly charged to work | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Calculator Ruler Pencil | Class Room |
| - Coordinate support services | - Sought recognitions as evidence of career advancement. - Obtain licenses and/or certifications relevant to job and career - Lay down professional goals and strategies to develop the required skills and knowledge through professional development | - Elaborate methods of obtaining feedback - Explain Range of options for undertaking personal skill development - Describe Workplace policies and procedures Practical Activity Prepare record for transfer of store. | Theory-2 Hrs Practical-4 Hrs Total- 6 Hrs | Calculator Ruler Pencil | Class Room |

- Organize schedules

This module covers the knowledge and skills required to promote own learning career growth and advancement.

Duration: 9 Hours								Theory: 03 Hours				Practice:06 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for the negotiation | - Identify organizational requirements and protocols for diaries and staff planning tools - Identify organizational procedures for different types of appointments - Determine personal requirements for diary and schedule items for individual personnel - Establish appointment priorities and clarify in discussion with individual personnel | - identify the key provisions of relevant legislation, standards and codes that affect aspects of business operations or the achievement of team goals - Describe organizational requirements for managing appointments for personnel within the organization Practical Activity Prepare record of store (stock) debited to suspense account | Theory-1.5 Hrs Practical-3 Hrs Total- 4.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Participate in negotiations | - Identify recurring appointments and deadlines, and schedule these in accordance with individual and organizational requirements - Establish availability of attendees, and schedule new appointments in accordance with required timelines and diary commitments - Negotiate alternative arrangements and confirm when established appointments are changed - Record appointments and manage schedules in accordance with organizational policy and procedures | - summarize the range of appointment systems that could be used - outline important considerations when managing the schedules of others. Practical Activity Prepare record of store directly charged to work | Theory-1.5 Hrs Practical-3 Hrs Total- 4.5 Hrs | Calculator Ruler Pencil | Class Room |

## 9.16 Construction III

### 0732B&CE-189. Erect and dismantle formwork to suspended slabs, columns, beams and walls

Objective: This module covers the knowledge and  skills required to Plan and prepare, erect formwork, Strip formwork and Clean-up work site area

Duration:  05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Select tools and equipment as per requirement. - Check for serviceability and any faults - Calculate material quantity requirements in accordance with specifications - Obtain needed materials and check for compliance | - Knowledge of tools and equipment’s. - Calculation for material quantity. - Plans, specifications and drawings - Practical Activity - Plan and prepare | Theory-0.25Hrs Practical-1.0 Hrs Total- 01.25 Hrs | Chalk lines, Fall safety devices Measuring tapes and rules | Class Room and Construction Lab |
| - Erect formwork | - Trainee will be able to: - Clear work area and prepare surface for safe erection of form work for suspended slabs, piers and shutters. - Set out formwork to requirements of plans and specifications. - Assemble formwork according to plans, specifications and class of surface finish, with support system set to correct height level and line. - Place bracing of formwork according to support plans and specifications to maintain rigidity and stability. - Erect formwork support system sequentially according to initial set out. - Construct formwork shutters form requirements and specified dimensions. - Install Block-outs and cast-in services to specified locations. - Remove debris, sawdust and other waste materials from completed formwork in accordance with waste management policy for the site. - Apply release agent to formwork face to manufacturer specifications where specified. | - Formwork materials and techniques - Hydraulic pressures applied to formwork - Practical Activity - Erect formwork | Theory-0.25Hrs Practical-1.0 Hrs Total- 01.25 Hrs | Air compressors and hoses, automatic levels Chisels Formwork equipment Hammers, hand saws Ladders and scaffolding Marking equipment, measuring tapes and rules Nail bags, nail guns Pinch bars, power drills power grinders, power leads, power saws Saw stools, shovels, spanners spirit levels, squares (combination/tri) Steel squares, string lines | Class Room and Construction Lab |
| - Strip formwork | - Trainee must be able to: - Remove formwork and bracing/strutting support sequentially and safely. - De-nail, clean and store or stack timber components safely for reuse or removal from site. - Clean, oil and store or stack steel components to manufacturer’s maintenance recommendations. - Discard damaged formwork components safely after stripping. | - Purpose, application and properties of commonly used release agents - Removal of formwork and bracing. - Practical Activity - Strip formwork | Theory-0.25Hrs Practical-1.0 Hrs Total- 01.25 Hrs | Air compressors and hoses, automatic levels Chisels Formwork equipment Hammers, hand saws Ladders and scaffolding Marking equipment, measuring tapes and rules Nail bags, nail guns Pinch bars, power drills power grinders, power leads, power saws Saw stools, shovels, spanners spirit levels, squares (combination/tri) Steel squares, string lines | Class Room and Construction Lab |
| - Clean-up work site area | - Trainee must be able to - Clear work by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.25Hrs Practical-1.0 Hrs Total- 01.25 Hrs | Cleaning instruments | Class Room and Construction Lab |

### 0732B&CE-190. Operate elevated platforms

Objective: This module covers the knowledge and skills required to Plan and prepare, Conduct routine checks of Platform, Locate equipment in place for work application, Elevate platform to work location, Lower platform and shut down and Clean-up work site area.

Duration: 08 Hours									Theory: 01 Hours				Practice: 07 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: - Recognize and OH&S requirements associated with operating elevating work platforms and workplace environment - Identify workplace operations plan in accordance with job requirements and surrounding activities and environment - Select appropriate personal protective equipment. - Select equipment consistent with job requirements and check for serviceability - Identify safety hazards and use procedures correctly to minimize risks to self and others. - Select materials in accordance with job drawings and/or from specifications/supervisor’s instructions | - Drawings and specifications - Knowledge of OH&S standards. - Selection of PPE’s - Identification of safety hazards and its risk minimization - Practical Activity - Plan and prepare | Theory-0.16 Hrs Practical-01.25 Hrs Total- 1.41 Hrs | coveralls safety boots hard hat/cap gloves safety glasses/goggles ear plugs/muffs dust masks/respirator | Class Room and Construction Lab |
| - Conduct routine checks of Platform | - Trainee will be able to: - Determine power source where applicable and connect platform equipment to manufacturer's specifications. - Carry out routine pre-operational equipment checks in accordance with checklist from operator's manual. - Switch equipment on, in accordance with start-up procedures and check controls for correct operation and ease of movement. - Check emergency safety devices to instructions from operator's manual. - Check work location for level ground and floor surface to determine stabilizing and safe working area requirements. | - Use of hand and power tools - workplace and equipment safety - requirements relative to EWP’s - a range of EWP's - Practical Activity - Conduct routine checks of Platform | Theory-0.16 Hrs Practical-01.25 Hrs Total- 1.41 Hrs | coveralls safety boots hard hat/cap gloves safety glasses/goggles ear plugs/muffs dust masks/respirator | Class Room and Construction Lab |
| - Locate equipment in place for work application | - Trainee must be able to: - Locate platform in position for work application and engage stabilizers to set equipment base level into place. - Erect barricades and signage to isolate safe working area where applicable. - Place tools, equipment and materials into bucket/platform to job application requirements | - Knowledge to locate the equipment’s - Placing of tools, equipment’s and materials into workplace. - Practical Activity - Locate equipment in place for work application | Theory-0.16 Hrs Practical-01.25 Hrs Total- 1.41 Hrs | coveralls safety boots hard hat/cap gloves safety glasses/goggles ear plugs/muffs dust masks/respirator | Class Room and Construction Lab |
| - Elevate platform to work location | - Trainee must be able to - Operate controls to manufacturer’s recommendations and elevate platform to work position. - Switch power off and engage locking devices to operator's manual. - Carry out work to job specification and safety requirements of operator's manual. | - Knowledge on platform elevation for work. - Practical Activity - Elevate platform to work location | Theory-0.16 Hrs Practical-01.25 Hrs Total- 1.41 Hrs | coveralls safety boots hard hat/cap gloves safety glasses/goggles ear plugs/muffs dust masks/respirator | Class Room and Construction Lab |
| - Lower platform and shut down | - Trainee must be able to - Operate controls to manufacturer's recommendations and lower platform to down position. - Carry out shut down procedures to operator's manual and switch off equipment | - Knowledge on lower platform and shut down - Practical Activity - Lower platform and shut down | Theory-0.16 Hrs Practical-01 Hrs Total- 1.16 Hrs | coveralls safety boots hard hat/cap gloves safety glasses/goggles ear plugs/muffs dust masks/respirator | Class Room and Construction Lab |
| - Clean-up work site area | - Trainee must be able to - Remove and dispose of waste material of safely - Seal and store/stack unused materials - Remove, clean, maintain and store tools and equipment - Disengage stabilizers, store and secure equipment and remove unit from location - Carry out routine post-operational checks in accordance with checklist from operator's manual and report any | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.2 Hrs Practical-01 Hrs Total- 1.2 Hrs | Cleaning instruments | Class Room and Construction Lab |

### 0732B&CE-191. Construct, erect and dismantle formwork for stairs and ramps

Objective: This module covers the knowledge and skills required to Plan and prepare, Set out formwork, Assemble and erect formwork, Strip formwork and Clean up.

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and Prepare | Trainee will be able to: - Obtain, confirm and apply work instructions, including plans, specifications, quality requirements and operational details, from relevant information for planning and preparation purposes. - Follow safety (OHS) requirements in accordance with safety plans and policies. - Identify and implement signage and barricade requirements - Select plant, tools and equipment to carry out tasks consistent with job requirements, check for serviceability, and rectify any faults or report prior to commencement. - Calculate material quantity requirements in accordance with plans, specifications and quality requirements. - Identify, obtain, prepare, handle safely and locate materials appropriate to the work application ready for use. - Identify and apply environmental requirements for project in accordance with environmental plans and statutory and regulatory authority obligations | - Application and requirements for line, level and plumb in construction projects - Construction terminology - Job safety analysis (JSA) and safe work method statements - Plans, specifications and drawings - Practical Activity - Plan and prepare | Theory-0.2 Hrs Practical-1.6 Hrs Total- 1.8 Hrs | marking equipment measuring tapes and rules plan and specification | Class Room and construction lab |
| - Set out formwork | - Trainee will be able to: - Identify design of stairs and/or ramps and method of joining formwork from job drawings and specifications, and check to be in accordance with legislation, regulations and codes of practice. - Determine exit and ground finish levels from plans, specifications and site inspection. - Determine rise, going and pitch of stairs and ramp from plans, specifications, site inspection, rise measurements and requirements of Building Code. - Calculate full size set out of stairs and ramp and make to determine rise, going and pitch of stairs to provide location of landings, stringers, treads and posts where specified. - Determine location of stair, ramp and newels from plans, specifications and pitch of stairs. - Set out location of footings to layout of designed stairs and ramp from plans, specifications - Select and set out materials for formwork, including stringers, to pitch of stairs with rises not exceeding specified space between treads | - application and requirements for line, level and plumb in construction projects - material safety data sheets (MSDS) - plant, tools and equipment types, characteristics, uses and limitation - processes for calculating material requirements - quality requirements for formwork for stairs and ramps - Practical Activity - Set out formwork | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | air compressors and hoses automatic levels chisels explosive power tools grinders hammers hand saws laser levels marking equipment nail bags nail guns optical levelling equipment pinch bars power drills power leads power saws props saw stools scaffolding shovels spanners spirit levels squares (combination/tri) steel squares and bevels string lines | Class Room and construction lab |
| - Assemble and erect formwork | - Trainee must be able to: - Place, fix and brace landing bearers and joists according to plans and specifications, where specified. - Check footings for accuracy to requirements of plans and specifications. - Erect and brace stairs and/or ramp formwork soffit is in accordance with plans and specifications. - Cut square formwork stringers to length and shape in accordance with set out and junction with newel posts, and install and brace. - Screw/bolt metal angle brackets to formwork strings to set out locations of tread support. - Locate and fix formwork strings for stairs and ramps according to plans and specifications. - Set out, cut square material for face of treads length and fix to metal angle bracket according to plans and specifications. - Brace risers at mid-span to prevent deflection under the load of wet concrete. - Erect and brace newels temporarily to plumb position, where specified. - Located and Secured formwork tie bolts to plans and specifications to maintain stair width where specified | - Placing and fixing of bracing - Accuracy of footings. - Understanding erection of formwork for stairs and ramp - Practical Activity - Assemble and erect formwork | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | air compressors and hoses automatic levels chisels explosive power tools grinders hammers hand saws laser levels marking equipment measuring tapes and rules nail bags nail guns optical levelling equipment pinch bars power drills power leads power saws props saw stools scaffolding shovels spanners spirit levels squares (combination/tri) steel squares and bevels string lines | Class Room and construction lab |
| - Strip formwork. | - Trainee must be able to - Remove formwork and bracing/strutting support sequentially and safely. - De-nail, clean and store or stack timber components safely for reuse or removal from site. - Clean, oil and store or stack steel components to manufacturers' maintenance recommendations. - Discard damaged formwork components safely after stripping | - Removal of formwork and bracing. - materials storage and environmentally friendly waste management - Practical Activity - Strip formwork | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | air compressors and hoses automatic levels chisels explosive power tools grinders hammers hand saws laser levels marking equipment measuring tapes and rules nail bags nail guns optical levelling equipment pinch bars scaffolding shovels spanners spirit levels squares (combination/tri) | Class Room and construction lab |
| - Clean up | - Trainee must be able to - Clear work is by disposing of materials (reused or recycled) in accordance to legislation and regulations - Clean, check, maintain and store tools and equipment according to requirement | - Purpose of cleaning of tools, equipment and work place. - Practical Activity - Clean-up work site area | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Cleaning instruments | Class Room and construction lab |

### 0732B&CE-192. Evaluate materials for multi-storey buildings

Objective: This module covers the knowledge and  skills required to assess the nature and performance of concrete for use in Multi-storey buildings, Assess application of concrete used in Multi-storey buildings, Evaluate methods undertaken to repair concrete, Evaluate effects of fire and heat on concrete used in multi-storey buildings and Monitor Environmental impacts of building materials used

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| - Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Assess the nature and performance of concrete for use in multi storey buildings | Trainee will be able to: - Identify and record plastic and hardened concrete properties for building types. - Enlist sources of aggregate and properties of each described. - Describe and record effects of impurities - Conduct manufacture and testing of concrete in accordance with relevant standards. | - application of Building Code and standards - Applications of structural principles in buildings. - Work drawings and specifications. - Practical Activity - Assess the nature and performance of concrete for use in multi storey buildings | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | application of Building Code and standards OHS requirements, legislative codes and practices | Class Room and Field |
| - Assess application of concrete used in Multi-storey buildings | - Trainee will be able to: - Determine selection and distribution methods of concrete - of concrete - Identify reasons following analysis of site access. - Demonstrate and maintain correct distribution and placement methods and effects of compaction on both plastic and hardened concrete - Compare immersion, surface and form vibration - Maintain accurate records relating to the application of concrete - Identify and record types of curing methods and detrimental effects of poor or no curing | - design principles and behaviour of structural members undergoing stress, strain, compression, bending or combined actions - Knowledge on curing and methods of curing. - Practical Activity - Assess application of concrete used in Multi-storey buildings | Theory-0.2 Hrs Practical-1.6 Hrs Total- 1.8 Hrs | application of Building Code and standards OHS requirements, legislative codes and practices | Class Room and Field |
| - Evaluate methods undertaken to repair concrete | - Trainee must be able to: - Identify live and dormant cracks - Describe and record repair methods and causes of cracked concrete and concrete cancer in accordance with organizational procedures. - Diagnose and record faults in concrete in accordance with organizational procedures. | - Identification of live and dormant cracks. - Causes and repair of concrete cracks and concrete cancer. - Practical Activity - Evaluate methods undertaken to repair concrete | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | application of Building Code and standards OHS requirements, legislative codes and practices | Class Room and Field |
| - Evaluate effects of fire and heat on concrete used in multi-storey buildings. | - Trainee must be able to - Test reinforced concrete for effects of fire and heat. - Identify and apply methods of fire protection for concrete elements | - grading process and grade markings used to categorise timber and timber products - types and nature of materials and effect of their performance, including properties and uses of cement and types of hydraulic cement - Practical Activity - Evaluate effects of fire and heat on concrete used in multi-storey buildings. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | application of Building Code and standards OHS requirements, legislative codes and practices | Class Room and Field |
| - Monitor Environmental impacts of building materials used | - Trainee must be able to - Monitor and apply new technologies in concrete for construction of multi-storey buildings in accordance with organizational policies and guidelines. - Identify and apply performance requirements of concrete in fire resistance construction in accordance with acceptable standard construction practices. - Identify cost-effectiveness of using recycled materials in accordance with acceptable standard construction practices. | - OHS requirements, legislative codes and practices - Recycled material according to standard construction practices. - Practical Activity - Monitor Environmental impacts of building materials used | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | application of Building Code and standards OHS requirements, legislative codes and practices | Class Room |

### 0732B&CE-193. Apply structural principles to the construction of large, high rise and complex buildings

Objective: This module covers the knowledge and  skills required to apply structural principles to the construction of large, high rise and complex buildings.

Duration: 05 Hours								Theory: 01 Hours				Practice: 04 Hours

| - Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply structural principles to the planning of the erection or demolition of a structure | Trainee will be able to: - Identify main structural principles that apply to the erection of large, high rise and complex structures - Identify, analyse and apply performance characteristics of the structural elements, including materials identified in the building plan, to the planning of the construction work. - Undertake demolition of existing structures in accordance with legislative and planning requirements and safe work practices. | - applications of structural principles in buildings - identification of performance characteristics of structural elements - Demolition of building structures with legislation. - Practical Activity - Apply structural principles to the planning of the erection or demolition of a structure | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Building plans and layout Building Codes and standards | Class Room and workshop |
| - Coordinate and manage the site assessment and job set-up | - Trainee will be able to: - Put processes in place to analyse stability of soils and capacity of the site to support the construction loads. - Identify requirements for retaining walls in conjunction with related industry professionals and apply to the planning process. - Analyse and apply structural function and requirements for temporary structural elements to the planning process | - Design principles and behaviour of structural members undergoing stress, strain. - Identification requirements for retaining walls. - Analyzing structural function for temporary structural elements. - Practical Activity - Coordinate and manage the site assessment and job set-up | Theory-0.2 Hrs Practical-1.6 Hrs Total- 1.8 Hrs | Building plans and layout Building Codes and standards | Class Room and workshop |
| - Coordinate and manage construction of footing systems | - Trainee must be able to: - Undertake coordination of the set-out of the building in accordance with documented building plans, following the full assessment of the site. - Assess structural performance of the footings specified in the building plan for compliance with relevant codes and accepted industry construction principles. - Lay and check footings, as specified in the building plan, are for compliance with standards and accepted industry construction principles. - Plan, implement and check damp coursing and the provision of termite barriers and other relevant techniques in accordance with codes, standards and industry practice | - Compression, bending or combined actions in footings. - Interpretation and analysis of work drawings and specifications for footings. - Practical Activity - Coordinate and manage construction of footing systems | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Building plans and layout Building Codes and standards | Class Room and workshop |
| - . - Coordinate and manage structural elements of the construction process | - Trainee must be able to - Identify and analyse technical construction principles and performance characteristics of construction materials in the planning of project. - Identify, implement and check processes for construction of all structural elements for compliance with manufacturer specifications and relevant standards and codes. - Identify and implement building plans and relevant standards and codes to ensure appropriate allowances have been made for plumbing, electrical conduits and other services to be installed. | - Building Code and standards - Analyzing technical construction principles in project planning. - Practical Activity - Coordinate and manage structural elements of the construction process | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Building plans and layout Building Codes and standards | Class Room and workshop |
| - Analyse and plan for Structural integrity of buildings. | - Trainee must be able to - Consult relevant industry professional to provide advice regarding the structural integrity of proposed building. - Assess structural requirements and loads of the building design. - Conduct analysis of the effects of force and movements on structural elements. - Conduct analysis of properties and behaviours of structural materials is conducted. - Conduct analysis of section properties of structural elements using standard industry formulas and performance comparisons. - Evaluate performance characteristics of columns using standard industry techniques. - Assess methods used for stress distribution in connections between structural elements - Assess impact of various loads on the building structure - Consider design impact of high-performance structural elements | - Consultation of industrial professionals for structural integrity. - Consideration for design impact of high-performance structural elements. - Practical Activity - Analyse and plan for Structural integrity of buildings. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Building plans and layout Building Codes and standards | Class Room |

### 0732B&CE-194. Install fire and smoke containment systems

Objective: This module covers the knowledge and  skills required to install fire and smoke containment systems

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply rules and regulations to installation operations | Trainee will be able to: - Confirm and apply requirements of relevant rules and regulations to work procedures. - Check compliance requirements and take action according to organisational policies and procedures. | - action to take when a breach of health, safety or other policy occurs - Practical Activity - Apply rules and regulations to installation operations | Theory-0.1 Hrs Practical-0.5 Hrs Total- 0.6 Hrs | Codes, standards for installation | Class Room and construction lab |
| - Prepare for system Installation | - Trainee will be able to: - Obtain work permits are prior to entering customer premises. - Discuss customer requirements and select a suitable fire and smoke containment system according to organisational and customer requirements. - Apply relevant measurement processes to installation site and passive fire and smoke containment system components. - Identify and assemble components, tools, equipment and materials required for installation - Identify and assemble fireproofing or fire-stopping materials required for installation of system | - common technical terminology used in the installation of passive fire and smoke containment systems, including: plumb, level, square and perpendicular - mix ratio, density, wet film thickness, dry film thickness, section factor (Hp/A), exposed surface to mass (ESM) ratio and critical temperature - fire-rated walls, masonry, concrete, plasterboard and shaft wall - fire-rated floors and floor ceiling systems - Practical Activity - Prepare for system Installation | Theory-0.2 Hrs Practical-1.5 Hrs Total- 1.7 Hrs | fabric and timber protection, impregnated or sprayed fire-rated air transfer grilles fire-rated sealants, caulks and putties: acrylic polyurethane silicone fire resistant boards: calcium silicate vermiculite fire resistant mortars and grouts: load bearing non-load bearing fire resistant pillows: intumescent non-intumescent fire stop collars: cast in retrofit wall intumescent paints and coatings (other than those used for fireproofing structural steel) linear gaps seals: impregnated foams | Class Room and construction lab |
| - Prepare fire proofing substrate or fire stopping opening for the system | - Trainee must be able to: - Check structural or penetrated elements for compliance with required smoke resistance or fire resistance level. - Prepare fireproofing substrate or fire stopping opening - Measure and prepare Materials for installation of fireproofing or fire stopping system | - penetration dimensions, i.e. width, height, depth and orientation - ambient and cold smoke, medium smoke and elevated and hot smoke - intumescent products and ablative products - clearance, field of application, fire resistance levels, incipient spread of fire, spread of flame indices, fire test report, assessments and letters of opinion - procedures for determining fire resistance levels and smoke resistance levels - purpose and interpretation of Australian standards and technical documentation relating to passive fire and smoke containment systems - Practical Activity - Prepare fire proofing substrate or fire stopping opening for the system | Theory-0.2 Hrs Practical-0.5 Hrs Total- 0.7 Hrs |  | Class Room and construction lab |
| - Install passive fire and smoke containment system | - Trainee must be able to - Install fireproofing material or fire stopping system according to manufacturers’ installation instructions. - Inspect and test passive fire and smoke containment system for defects and check to ensure that installation is sound and aesthetically pleasing, according to standard testing procedures and acceptable workmanship - Rectify and report impediments according to organisational requirements. | - dangers of incorrect installation of passive fire and smoke containment systems - key features of legislation, and building code requirements relating to: - installing passive fire and smoke containment systems - passive fire and smoke containment - technical terms relating to passive fire and smoke containment system installation - Fireproofing and fire stopping variables, including types, components and fire barrier types - Practical Activity - Install passive fire and smoke containment system | Theory-0.1 Hrs Practical-0.5 Hrs Total- 0.6 Hrs |  | Class Room and construction lab |
| - Label or mark and certify passive fire and smoke containment system | - Trainee must be able to - Assess and label or mark installation according to provisions of relevant standard and manufacturer, Building Code and organisational requirements. - Complete relevant schedule of evidence of compliance set out in relevant standard or logbook is completed according to relevant standard, and organisational and customer requirements | - implications of not applying legislative requirements to job functions - methods of converting imperial units of measurement to metric - organisational requirements for labelling and certifying passive fire and smoke containment system installations - passive fire and smoke containment labelling types - principles of passive fire protection related to overall fire safety and containment systems specific to passive fire and smoke containment systems - Practical Activity - Label or mark and certify passive fire and smoke containment system | Theory-0.2 Hrs Practical-0.5 Hrs Total- 0.7 Hrs | fabric and timber protection, impregnated or sprayed fire-rated air transfer grilles fire-rated sealants, caulks and putties: acrylic polyurethane silicone fire resistant boards: calcium silicate vermiculite fire resistant mortars and grouts: load bearing non-load bearing fire resistant pillows: intumescent non-intumescent fire stop collars: cast in retrofit wall intumescent paints and coatings (other than those used for fireproofing structural steel) linear gaps seals: impregnated foams tapes intumescent gaskets sealants materials into or onto which passive fire and smoke containment products are installed, including: spread of flame structural steel fireproofing and protection UPVC and plumbing penetrations | Class Room and construction lab |
| - Complete installation. | - Trainee must be able to - Left customer premises in a clean and tidy condition on completion of installation functions. - Complete and distribute documentation according to organizational and customer requirements. | - Complete documentation and installation. - Practical Activity - Complete installation. | Theory-0.2 Hrs Practical-0.5 Hrs Total- 0.7 Hrs | fabric and timber protection, impregnated or sprayed fire-rated air transfer grilles fire-rated sealants, caulks and putties: acrylic polyurethane silicone fire resistant boards: calcium silicate | Class Room and construction lab |

### 0732B&CE-195. Inform clients about thermal performance of residential buildings

Objective: This module covers the knowledge and  skills required to inform clients about thermal performance of residential buildings

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Explain thermal performance to clients | Trainee will be able to: - Explain building thermal performance to clients in line with organisational procedures. - Identify impact of building design and materials on thermal performance of building and communicate to clients in line with organisational procedures. - Explain relationship between building thermal performance, heating and cooling, and energy consumption to clients in line with organisational procedures. - Explain main uses of energy in buildings and the proportion attributed to heating and cooling to clients in line with organisational procedures. - Apply correct industry terminology for energy use when communicating with clients. - Apply correct units of measurement when describing power and energy. - Explain environmental and social impacts of energy use to clients in line with organisational procedures | - Identification of building design and materials on thermal performance of building. - Relationship between building thermal performance, heating and cooling, and energy. - Main uses of energy in buildings. - environmental and social impacts of energy use: climate change, energy cost, energy security, global warming, greenhouse gas emissions, operational costs and resource depletion - Practical Activity - Explain thermal performance to clients. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs |  | Class Room |
| - Explain the process of heat transfer in residential buildings to clients | - Trainee will be able to: - Explain heat transfer to clients in line with organisational procedures. - Explain meanings of key terms used to describe heat transfer to clients in line with organisational procedures. - Explain ways in which residential buildings lose and gain heat to clients in line with organizational procedures | - heat transfer in residential buildings: impact on heating and cooling - mechanisms: radiation, convection, conduction, modelling - U and R-values of building materials - R-values of wall constructions - Practical Activity - Explain the process of heat transfer in residential buildings to clients | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs |  | Class Room |
| - Explain factors that impact on thermal comfort to clients. | - Trainee must be able to: - Explain thermal comfort and its use in building thermal performance assessments to clients in line with organisational procedures. - Explain physical factors that influence thermal comfort to clients in line with organisational procedures. - Establish requirements for thermal comfort based on occupant needs and explain to clients in line with organisational requirements | - thermal comfort: definition of thermal comfort, importance - influences on thermal comfort: air movement, humidity, radiation, temperature, models of thermal comfort, requirements for thermal comfort, role of thermal comfort in building thermal performance assessments, thermal sensitivity of individuals - thermal performance: factors that diminish and enhance the thermal performance of buildings, impact of local climatic conditions on building thermal performance principles, relationship between building thermal performance, heating and cooling and energy consumption - Practical Activity - Explain factors that impact on thermal comfort to clients. | Theory-0.2 Hrs Practical-1.6 Hrs Total- 1.8 Hrs |  | Class Room |
| - Explain how climatic conditions influence thermal performance of residential buildings to clients | - Trainee must be able to - Identify major climatic zones and explain their key characteristics relevant to thermal performance assessments - Explain types and uses of climate data used in carrying out thermal performance assessments to clients in line with organisational procedures - Explain impact of local climatic conditions on building thermal performance to clients in line with organisational procedures - Explain ways of improving thermal performance appropriate to the relevant climatic zone to clients in line with organisational procedures | - climatic zones: characteristics of climatic zones - climate data used in thermal performance assessment: diurnal temperature range, humidity, irradiance, maximum and minimum temperature, solar geometry, wind speed and direction and impact of climate on thermal performance of residential buildings - Practical Activity - Explain how climatic conditions influence thermal performance of residential buildings to clients | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs |  | Class Room |
| - Explain principles of passive design to clients. | - Trainee must be able to - Explain principles of passive design to clients in line with organisational requirements. - Explain application of principles of passive design to plan and existing residential buildings to clients in line with client and organisational requirements. - Explain factors that diminish the thermal performance of buildings to clients in line with organisational procedures | - passive building design principles: building envelope, construction materials, construction methods, glazing, house plan ratio, insulation, orientation, thermal mass, ventilation, zoning, sources of information on climate - Practical Activity - Explain principles of passive design to clients. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs |  | Class Room |

### 0732B&CE-196. Design air conditioning and ventilation system

Objective: This module covers the knowledge and  skills required to design air conditioning and ventilation system

Duration: 05 Hours									Theory: 01 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Evaluate design parameters. | Trainee will be able to: - Determine client requirements from plans, specifications and client briefs to determine work scope. - Evaluate user comfort conditions and specific use conditions and calculate psychometric evaluation and heat loads - Evaluate building heat losses. - Specify distribution requirements for air conditioning and ventilation system applications - Evaluate range of air conditioning and ventilation systems in accordance with given applications. - Evaluate mechanical services drawings and interpret. - Evaluate health risks that may arise due to poor maintenance of air conditioning and ventilation systems - Specify minimum performance requirements for several different air conditioning and ventilation systems. - Evaluate manufacturer specifications and technical manuals for suitability for a range of design applications | - standards, manufacturer specifications, Building Code and other applicable codes or standard operating procedures relevant to the sector - compliance with OHS and organisational quality procedures and processes - Practical Activity - Evaluate design parameters. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | standards, manufacturer specifications, Building Code and other applicable codes | Class Room and workshop |
| - Plan system components | - Trainee will be able to: - Plan appropriate zoning of air conditioning and ventilation systems to comply with given specific performance objectives. - Specify air conditioning units for optimum performance with reference to legislation, standards and other relevant documentation. - Specify fan types for a range of applications with reference to legislation, standards and other relevant documentation. - Plan air diversion systems, including registers, to ensure a balanced system with reference to legislation, standards and other relevant documentation. - Plan required ventilation and duct work components and specify locations with reference to legislation, standards and other relevant documentation. - Specify approved materials for air conditioning and ventilation systems are specified. - Complete plans and drawings using standard drawing symbols related to air conditioning and ventilation in accordance with legislation, standards and other relevant documentation. | - Work drawings and specifications. - nature of materials and effect of performance - terminology and definitions used in hydraulic design - Practical Activity - Plan system components | Theory-0.2 Hrs Practical-1.6 Hrs Total- 1.8 Hrs | Work drawings and specifications. | Class Room and workshop |
| - Design and size systems | - Trainee must be able to: - Calculate volume air changes per hour from given floor plans and details. - Specify methods for eliminating health risks from existing or proposed systems with reference to legislation, standards and other relevant documentation. - Design and size range of air conditioning and ventilation systems for given applications. | - air psychometrics and the use of psychometric charts - hazards associated with devices and systems used in the hydraulic sector - heat load calculations - installation methods used in hydraulic systems - Practical Activity - Design and size systems | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Calculator Design specifications. | Class Room and workshop |
| - Test systems. | - Trainee must be able to - Evaluate test procedures for air conditioning and ventilation systems are evaluated. - Conduct tests using appropriate testing equipment, record results and prepare report. - Plan, design and specify adjustments required as a result of testing. | - nature of materials and effect of performance - Testing procedures for air conditioning and ventilation system. - Test conduction using appropriate equipment’s. - Practical Activity - Test systems. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | air pressure gauge air velocity gauge air volume gauge humidity gauge Pitot tubes sound power levels Temperature. | Class Room and workshop |
| - Prepare documentation. | - Trainee must be able to - Develop appropriate checklist, including formulas required to carry out an air balance to a given specification. - Prepare plans for a range of air conditioning and ventilation systems. - Prepare specification for an air conditioning and ventilation system. - Prepare testing and commissioning schedule. - Produce operation and maintenance manual. | - Development of checklist for a given specification. - Preparation of plans for air conditioning and ventilation system. - Practical Activity - Prepare documentation | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs |  | Class Room |

### 0732B&CE-197. Design acoustic of an auditorium

Objective: This module covers the knowledge and skills required to design acoustic of an auditorium

Duration:4.5 Hours								Theory: 0.5 Hours				Practice: 04 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify dimensions of hall for acoustic design | - Trainee will be able to: - Identify site of hall. - Make orientation, layout and structural design to keep noise within specification. - Set floor area and height to get volume of hall as per specification. - Set the floor plan as per use of hall | - Identification of site. - Marking of orientation. - Practical Activity - Identify dimensions of hall for acoustic design | Theory-0.2 Hrs Practical-01.5 Hrs Total- 1.7 Hrs | Drawing tools Drawing sheets | Class Room and construction lab |
| - Design the seating plan | - Trainee will be able to: - Identify the distance of first line as per specified angle. - Set the width of seat and distance between two seats - Set the distance of last line from curtain line. - Set the height of adjacent seats. | - Define terms: sound, pitch, loudness, tone, intensity of sound, reflection of sound, reverberation, line of reverberation, transmission of sound, and absorption of sound. - Factors to be considered in acoustics of building - Practical Activity - Design the seating plan | Theory-0.2 Hrs Practical-01.5 Hrs Total- 1.7 Hrs | Drawing tools Drawing sheets | Class Room and construction lab |
| - Design surfaces of hall | - Trainee must be able to: - Design internal surface of roof false ceiling as per specification. - Design internal surfaces of walls as per specifications. - Set the reverberation as per use of hall according to specifications | - Characteristics of various types of sound absorbing materials - Design and requirements of an auditorium - Principles to be observed in the acoustics design of an auditorium - Practical Activity - Design surfaces of hall | Theory-0.1 Hrs Practical-01 Hrs Total- 1.1 Hrs | Drawing tools Drawing sheets | Class Room and construction lab |

### 0732B&CE-198. Insulate sound insulation products in building

Objective: This module covers the knowledge and skills required to insulate sound insulation products in building

Duration: 5	Hours									Theory: 1 Hours				Practice: 4 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare for installing insulation material. | Trainee will be able to: - Obtain and confirm work instructions and relevant information for planning and preparation purposes. - Undertake risk assessment to identify existing risks and hazards in the work area, including electrical risks and hazards. - Document identified risks and undertake appropriate response according to safety requirements. - Confirm insulating material and insulation requirements in accordance with work specifications. - Identify, fit correctly and use appropriate personal protective equipment (PPE) and clothing according to organisational policies and procedures. - Select tools and equipment appropriate to the requirements of the work, confirm for serviceability, and report for repair or replacement where not serviceable. - Determine associated material and organise ready for use according to quality requirements and work plans and specifications | - Sound insulation - Physical measurement of sound - Use of ray diagram and echo - Common acoustical defects and remedies of conference hall - Acoustic materials - Practical activity: - Plan and prepare for installing insulation material | Theory-0.7 Hrs Practical-1.5 Hr Total- 2.2 Hrs | Related codes and standards | Class Room |
| - Install insulation | - Trainee will be able to: - Measure insulation material accurately - Install insulation using approved processes and handling techniques - Install insulation safely without damage or distortion of the surrounding environment, electrical and other services and in a manner that maximises safety of self and others. | - relationships of 'R' rating with Building Code and standards' requirements and energy ratings - Explain methods of sound insulation of buildings - Recommendations of different types of buildings for good acoustics - Practical activity: - Install insulation | Theory-0.2 Hrs Practical- 1.5Hrs Total- 1.7 Hrs | Pencil Eraser Notebook | Class room and construction lab |
| - Complete installation. | - Trainee will be able to: - Conduct final inspections to ensure installed ceiling insulation conforms to job and manufacturer specifications. - Clean work area and disposed of materials, reused or recycled according to organisational, safety and environmental requirements. - Clean, check, maintain and store tools and equipment according to manufacturer specifications and organisational procedures. - Document and report malfunctions, faults, wear or damage to tools, equipment and site accurately for repair or replacement according to organisational procedures | - Physical measurement of sound - Reverberation of echo - Practical activity - Complete installation, clean the area and make a report. | Theory-0.1 Hrs Practical- 1Hrs Total- 1.1 Hrs | Cleaning tools | Class room and construction lab |

### 0732B&CE-199. Install ceiling insulation

Objective: This module covers the knowledge and skills required to install ceiling insulation

Duration: 4.0 Hours									Theory: 1 Hours				Practice: 3.0 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify legislative, regulatory, and organisational requirements. | Trainee will be able to: - Identify and comply with safety and applicable legislative requirements - Identify and comply with organisational environmental and safety plans and policies according to organisational requirements. - Identify and apply safe work methods and practices according to organisational safety plans and policies. - Identify and apply environmental requirements are according to organisational environmental plans and regulatory requirements. - Identify and carry out emergency response and evacuation procedures when required. | - Understanding of appropriate PPE and its use to reduce injury and electric shock - legislation, regulation and building codes related to ceiling insulation - MSDS, JSA and safe work method statements - organisational requirements and procedures relating to ceiling insulation installation, including requirements for a systematic approach to planning own work - common health and safety risks associated with handling ceiling insulation - common workplace safety hazards and risks, and procedures for reporting these to designated personnel - emergency response and evacuation procedures - environmental requirements, including waste management and recycling - hierarchy of hazard control - Practical activity: - Identify legislative, regulatory, and organisational requirements. | Theory-0.4 Hrs Practical-0.75 Hrs Total- 1.15 Hrs | Related codes and standards | Class Room |
| - Plan and prepare for - installing insulation | - Trainee will be able to: - Obtain and confirm work instructions and relevant information for planning and preparation purposes. - Undertake risk assessment to identify existing risks and hazards in the work area, including electrical risks and hazards. - Document identified risks and undertake appropriate response according to safety requirements. - Confirm ceiling insulating material and insulation requirements in accordance with work specifications. - Identify, fit correctly and use appropriate personal protective equipment (PPE) and clothing according to organisational policies and procedures. - Select tools and equipment appropriate to the requirements of the work, confirm for serviceability, and report for repair or replacement where not serviceable. - Determine associated material and organise ready for use according to quality requirements and work plans and specifications | - Understanding of types, characteristics, uses and limitations of installation tools and equipment - methods for calculating insulation material quantities - relationships of 'R' rating with Building Code and standards' requirements and energy ratings - Practical activity: - Plan and prepare for installing insulation | Theory-0.25 Hrs Practical- 0.75 Total- 1.0 Hrs | Pencil Eraser Notebook | Class room and construction lab |
| - Install ceiling insulation | - Trainee will be able to: - Measure insulation material accurately to minimise waste. - Install insulation using approved processes and handling techniques according to manufacturer specifications and relevant electrical and building regulations - Use dust-suppression procedures to minimise health risk in work area to self and others. - Install insulation safely without damage or distortion of the surrounding environment, electrical and other services and in a manner that maximises safety of self and others. - Identify and report variations and difficulties affecting performance or quality requirements of own work. | - Description of reason for the operating temperature limit of electrical cables - product and process knowledge to identify problems and predict consequences - ceiling insulation material types and quality requirements - effect on cables partially surrounded by thermal insulation and fully surrounded by thermal insulation - common wiring systems used in domestic premises indicating the age of the installation - wiring not likely to be adversely affected by the retrospective installation of thermal insulation - types, characteristics, uses and limitations of installation tools and equipment Practical activity - Install ceiling insulation | Theory-0.25 Hrs Practical- 0.75 Total- 1.0 Hrs | broad knives brooms caulking guns electric screw guns hammers hand saws keyhole saws ladders manual levelling devices measuring tapes and rules nail bags power drills power leads power saws spanners spirit levels T squares taping knives tin snips trestles trowels Non-conductive and insulated tools may include: air compressors and hoses C clamps docking saw and drop saws laser levelling devices masonry drills nail guns pop riveters Saw stools Scaffolding and planks. | Class room and construction lab |
| - Complete installation. | - Trainee will be able to: - Conduct final inspections to ensure installed ceiling insulation conforms to job and manufacturer specifications. - Make notification of work completion to designated personnel according to organisational procedures. - Clean work area and disposed of materials, reused or recycled according to organisational, safety and environmental requirements. - Clean, check, maintain and store tools and equipment according to manufacturer specifications and organisational procedures. - Document and report malfunctions, faults, wear or damage to tools, equipment and site accurately for repair or replacement according to organisational procedures | - appropriate PPE and its use to reduce injury and electric shock - Inspection methods Practical activity - Complete installation, clean the area and make a report. | Theory-0.1 Hrs Practical- 0.75 Total- 0.85 Hrs | Cleaning tools | Class room and construction lab |

### 0732B&CE-200. Design an earthquake resistant building

Objective: This module covers the knowledge and  skills required to design of earthquake resistant building

Duration:  4.0 Hours									Theory: 1 Hours				Practice: 3.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify principles of earthquake resistant buildings | Trainee will be able to: Obtain plans and specifications Identify building configuration like lightness standards, symmetry, projections and size of building Identify enclosed area Design slopes, foundation and ductility | Understanding of State Reid’s elastic theory, theory of plate tectonics, seismic waves, earthquake size local site effects, internal structure of earth, classification of earth quake tsunami Description of different seismic zones Understanding of seismic design parameters Explanation of seismic resistant building architecture Understanding of ductility consideration in earthquake resistant design of building Description of methods and materials of construction Practical activity: Enlist principles of earthquake resistant building | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | Pencil Eraser Notebook | Class Room |
| - Identify seismic strengthening arrangements in building | Trainee will be able to: - Obtain plans and specifications - Identify building material as per specifications - Identify horizontal reinforcement at lintel, plinth, gable and roof level - Identify vertical reinforcement as per specification - Prepare drawing | Understanding of principles to be observed while planning, designing and construction of earthquake resisting buildings Explanation of precautions to be taken in planning, designing and construction of buildings in seismic zones. Practical activity: Identify seismic strengthening arrangements in multi storied building | Theory-0.5 Hrs Practical-1.5 Hrs Total- 2 Hrs | Pencil Eraser Notebook | Class Room |

### 0732B&CE-201. Coordinate maintenance and repair of buildings

Objective: This module covers the knowledge and  skills required to coordinate maintenance and repair of buildings

Duration: 4.0	Hours									Theory: 1 Hours				Practice: 3.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan repair or maintenance operation | Trainee will be able to: Review and confirm repair or maintenance requirements with relevant people according to organisational requirements. Determine and arrange repair or maintenance resource requirements according to work order and budgetary requirements. Identify site access and specific site requirements are identified and make appropriate arrangements according to client, organisational and legislative requirements. Prepare work order and plan contingencies to ensure client and organisational requirements are met in an efficient and effective manner. Recognise and satisfy client and tenant safety and security requirements in provision of services. Establish communication channels and processes and agree with relevant people according to organisational requirements. | Understanding of basic knowledge of property contracts and administrative requirements Understanding of building codes and relevant standards Understanding of OHS issues and requirements Understanding of organisational and professional procedures, ethical practices and business standards Description of quality requirements relevant to the repair and rectification of building faults Practical activity: Plan repair or maintenance operation | Theory-0.3 Hrs Practical-1 Hrs Total- 1.3 Hrs | Pencil Eraser Notebook | Class Room and field |
| - Coordinate repair or maintenance operation. | Trainee will be able to: Repair or maintenance operation is monitored against work schedules to ensure completion occurs within designated timeframes. Factors affecting achievement of scheduled work are identified and required variations to schedules are negotiated and agreed with relevant people. Established communication channels and processes are used to ensure accurate exchange of information throughout operation. Situations requiring specialist advice are identified and assistance is sought as required according to organisational requirements. | Understanding of relevant federal, state or territory legislation and local government policy and procedures Explanation of points of contact with emergency service agencies Occupancy rates and special conditions to be considered with particular services provided to clients and tenants Practical activity: Coordinate repair or maintenance operation. | Theory-0.4 Hrs Practical- 1Hrs Total- 1.4 Hrs | Pencil Eraser Notebook | Class Room and construction lab |
| - Check and record completed operation. | Trainee must be able to: Receive notification of completed repair or maintenance and check against client and organisational requirements. Arrange inspection to confirm repair or maintenance is fully operational and meets performance specifications and industry standards. Verify faults, errors or omissions and determine and arrange prompt remedial action with relevant people according to organisational requirements. Use business equipment and technology to maintain relevant documentation according to applicable OHS, legislative and organisational requirements. | Description of occupancy rates and special conditions to be considered with particular services provided to clients and tenants Description of common hazards to personal and public safety associated with particular types of maintenance work in buildings. PPEs Practical activity: Check and record completed operation. | Theory-0.3Hrs Practical-1Hrs Total- 1.3 Hrs |  | Class Room and field |

### 0732B&CE-202. Assess construction faults in buildings

Objective: This module covers the knowledge and  skills required to assess construction faults in buildings

Duration: 4.0 Hours									Theory: 1.0 Hours				Practice: 3.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify and analyse construction faults on building sites up to three storeys | Trainee will be able to: Collect information relating to the specific building construction problem. Identify construction problem for the type of construction relative to original specifications and building material. Communicate construction faults to appropriate personnel and document in accordance with standard work practices. Use problem solving techniques, identify typical faults and problems and action to rectify is deemed to be in accordance with the Building codes. | Understanding of authorities and powers of a building surveyor Description of materials and techniques for repairing concrete Steps of processes for calculating material requirements Description of quality requirements relevant to the repair and rectification of building faults Practical activity: Identify and analyse construction faults on building sites up to three storeys. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Pencil Eraser Notebook | Class Room and field |
| - Identify construction techniques, methods and materials nominated in relevant legislation in the Building codes and standard | Trainee will be able to: Use building terminology accurately in the communication of issues. Examine working drawings and specifications and identify and evaluate existing or designed construction problems Prepare alternative methods and materials to meet construction aims and objectives to the specification nominated in relevant legislation in the Building codes and standards. Prepare detailed sketches of available alternative methods and materials available to meet the construction aims and objectives to specification. | Understanding of relevant federal, state or territory legislation and local government policy and procedures Explanation of access requirements for people with a disability and the requirements of the Disability Discrimination Act (DDA) with regard to access Practical activity: Identify construction techniques, methods and materials nominated in relevant legislation in the Building codes and standard. | Theory-0.4 Hrs Practical-0.6 Hrs Total- 1.0 Hrs | Pencil Eraser Notebook | Class Room and construction lab |
| - Resolve construction faults in construction techniques and methods. | Trainee must be able to: Evaluate project working drawings and specifications identifying existing or designed construction problems. Prepare report identifying available alternative methods and materials to meet the construction aims and objectives to specification. Prepare detailed sketches of available alternative methods and materials available to meet the construction aims and objectives to specification. | Description of access requirements for people with a disability and the requirements of the Disability Discrimination Act (DDA) with regard to access Terminology, definitions and hazard identification. PPEs Practical activity: Resolve construction faults in construction techniques and methods in lab. | Theory-0.2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs |  | Class Room and field |
| - Resolve construction faults using alternative construction methods. | Trainee must be able to Evaluate suitable methods from available alternative solutions and recommend to resolve the problem in accordance with project aims and objectives. Integrate selected methods into the project in order to resolve the construction problems in accordance with project aims. Carry out evaluation of available alternative forms of construction is carried out in accordance with project aims. | Research methods. Description of nature of materials and effect on building performance Steps to design and construction principles of buildings Practical activity: Resolve construction faults using alternative construction methods in lab. | Theory-0.1 Hrs Practical-0.6 Hrs Total- 0.7 Hrs |  | Class Room and field |
| - Resolve common on-site faults with building materials. | Trainee must be able to Evaluate commonly occurring on-site problems with building materials and their causes. Identify and implement corrective and preventative measures. | Processes for the administration and preparation of documentation Processes for the interpretation of reports, working drawings and specifications Practical activity: Make a report to resolve common on-site faults with building materials | Theory-0.1 Hrs Practical-0.6 Hrs Total- 0.7 Hrs | Computer /notebook Microsoft soft office | Class Room |

### 0732B&CE-203. Repair and rectify concrete

Objective: This module covers the knowledge and  skills required to repair and rectify concrete

Duration: 4.0 Hours									Theory: 1.0 Hours				Practice:3.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and Prepare | Trainee will be able to: Identify, confirm and apply work instructions, work health and safety (WHS) requirements and other information relevant to the work for planning and preparation purposes. Select plant, tools and equipment consistent with job Requirements check for serviceability, and rectify faults and report before work begins. Identify and calculate material quantity requirements according to plans, specifications and quality requirements. Obtain, prepare, handle safely and locate materials appropriate to the work application ready for use. Identify environmental requirements for the project according to environmental plans and regulatory requirements. | Explanation of types, location and use of relevant safety resources and information. Explanation of materials and techniques for repairing concrete processes for calculating material requirements quality requirements relevant to the repair and rectification of concrete Practical activity: Calculate the materials and tools required for repair and rectify concrete in lab. | Theory-0.25 Hrs Practical-0.75 Hrs Total- 1.0 Hrs | Pencil Eraser Notebook | Class Room |
| - Carry out minor repairs | Trainee will be able to: Identify Types of surfaces that may require repair and categorise repair work as major repairs or minor repairs. Repair colour variations by applying a concrete staining agent. Repair effects of dusting by applying an appropriate surface hardener/dust inhibiting agent or removing the weak top layer. Repair damaged or blistered concrete either by grinding or topping. Apply repair mortars and self-levelling floor compounds according to manufacturer specifications. Apply sealers and coloured paints to concrete surfaces according to manufacturer specifications. | Operational, maintenance and basic diagnostic procedures Explanation of different concrete defects Description of types, characteristics, uses and limitations of concreting plant, tools and equipment: general construction terminology Definition of ventilation and purpose Understanding of levelling techniques materials and techniques for repairing concrete signage and barricades definition of sealers description of different types of sealers Practical activity: Carry out minor repairs in lab. | Theory-0.4 Hrs Practical- 1 Hrs Total- 1.4 Hrs | brooms concrete mixers floats grinders hoses polishers rollers screeds shovels trowels, including power trowels water blasters Wheel barrows. | Class Room and construction lab |
| - Repair cracks and other major defects. | Trainee must be able to: Determine and rectify root cause of defect. Prepare concrete and apply flexible epoxy resins to manufacturer specification. Apply toppings to concrete using correct materials and techniques. Apply acid etching and cleaning safely according to manufacturer requirements. | Description of preparation and placement of formwork and reinforcement. Definition of epoxy resins Explanation of acid etching Safety precaution to work at site PPEs Explanation of effect of colourants Practical activity: Repair cracks and other major defects in lab. | Theory-0.25Hrs Practical-0.75 Hrs Total- 1.0 Hrs | Brooms concrete mixers floats grinders hoses polishers rollers screeds shovels trowels, including power trowels water blasters Wheel barrows. | Class Room and construction lab |
| - Perform Clean up. | Trainee must be able to Work area is cleaned and waste disposed of, reused or recycled in accordance with work specifications. Tools plant and equipment are cleaned, checked for faults and maintained and stored in accordance with workplace practices. | Description of procedure of maintaining and cleaning equipment and tools. Practical activity: Clean the area and check tools and equipment | Theory-0.1 Hrs Practical-0.5 Hrs Total- 0.6 Hrs | Cleaning tools | Class Room and construction lab |

### 0732B&CE-204. Repair wall and floor tiles

Objective: This module covers the knowledge and  skills required to repair wall and floor tiles

Duration: 3.5	Hours									Theory: 0.5 Hours				Practice: 3 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare | Trainee will be able to: Identify, confirm and apply work instructions, work health and safety (WHS) requirements and other information relevant to the work for planning and preparation purposes. Select plant, tools and equipment consistent with job Requirements check for serviceability, and rectify faults and report before work begins. Identify and calculate material quantity requirements according to plans, specifications and quality requirements. Obtain, prepare, handle safely and locate materials appropriate to the work application ready for use. Identify environmental requirements for the project according to environmental plans and regulatory requirements. | Understanding of general construction terminology Definition of repair Explanation of repair types Description of types of faults in tile work Practical activity: Plan and prepare in lab. | Theory-0.2 Hrs Practical-1 Hrs Total- 1.2 Hrs | Pencil Notebook Eraser | Class Room |
| - Repair damaged Tile work | Trainee will be able to: Remove damaged or defective tiles avoiding damage to surrounding tiles. Clean old bedding and clear to allow placement of replacement tile. Select replacement tiles and cut where applicable to match existing face, size, colour and pattern. Fit tiles are fit and fix to maintain alignment with joints to uniform spacing. Carry out grouting and clean tile face to specified finish. | material safety data sheets (MSDS) and hazards associated with solvents, adhesives and cement or epoxy-based grouts job safety analysis (JSA) and safe work method statements Process to remove tiles and existing bedding Practical activity: Repair damaged Tile work in lab. | Theory-0.1 Hrs Practical- 1Hrs Total- 1.1 Hrs | Broom brushes buckets caulking guns cement sheet cutters hammers hose and water sprays ladders levelling equipment lump hammers measuring tapes and rules mortar boards nippers pointed grouters power drills power leads rags rubber mallets sanding blocks saws scrapers shovels spacers and wedges spatulas sponges squares squeegees straight edges string lines tile cutters and scribes trowels wet and dry diamond saws wheelbarrows wire brushes wooden floats concrete mixers masonry drill bits power grinders power sander | Class Room and construction lab |
| - Clean-up work site area | Trainee must be able to: Clear work is by disposing of materials (reused or recycled) in accordance to legislation and regulations Clean, check, maintain and store tools and equipment according to requirement. | Materials storage and environmentally friendly waste management Practical activity: Clean-up work site area | Theory-0.2 Hrs Practical-1Hrs Total- 1.2 Hrs | Cleaning tools | Class Room and construction lab |

### 0732B&CE-205. Apply building codes and standards to building projects

Objective: This module covers the knowledge and  skills required to apply brushed, rolled or sprayed paint coatings to different materials to form a protective and decorative finish

Duration: 4.0Hours									Theory: 01 Hours				Practice: 3 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Access and interpret relevant codes and standard requirements | Trainee will be able to: Identify relevant performance requirements from the Building codes that apply to individual projects (described as low rise). Determine requirements of relevant Building codes deemed-to-satisfy (DTS) provisions. Assess and interpret requirements of relevant standards referenced in the Building codes accordingly. | Understanding of Building codes performance hierarchy Understanding relevant legislative and OHS requirements, codes and practices definitions and common technical terms or usage specified under general provisions of building codes relevant LDA and other development authorities’ standards Practical activity: Access and interpret relevant codes and standard requirements lab. | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Different building codes like LDA, and other development authorities’ standards | Class Room |
| - Classify buildings | Trainee will be able to: Determine nature of a building according to its use and arrangement. Apply building codes criteria to determine the defined classification Identify and interpret building codes requirements for multiple classification | Types of working drawings and specifications Practical activity: Prepare work area in lab. | Theory-0.25 Hrs Practical-0.5 Hrs Total- 0.75 Hrs | Different building codes like LDA, and other development authorities’ standards | Class Room |
| - Analyse and apply a range of solutions to a construction problem for compliance with the building codes. | Trainee must be able to: Determine range of criteria that will ensure that construction methods comply with building codes performance requirements. Discuss and propose alternative solutions to a design or construction problem that will comply with building codes requirements in accordance with company policies and procedures. Identify performance-based solutions and document in accordance with Building codes requirements. Analyse and apply assessment methods referenced in the building codes to determine whether a building solution complies with performance requirements or DTS provision of the building codes Identify and complete relevant documentation in accordance with building codes requirements. | Basic design principles and the behaviour of structures under stress, strain, compression, bending or combined actions general nature of materials and the effects of performance Practical activity: Analyse and apply a range of solutions to a construction problem for compliance with the building codes. | Theory-0.25 Hrs Practical-0.5 Hrs Total- 0.75 Hrs | Different building codes like LDA, and other development authorities’ standards, | Class Room |
| - Apply fire protection Requirements. | Identify and apply passive and active fire control elements for low rise building required by the building codes and other legislation Determine level of fire resistance required for the construction of various low-rise buildings. Carry out check of existing buildings for compliance with passive and active fire protection requirements in accordance with building codes requirements. | Fire protection standards Description of Fire control system types Practical activity Apply fire protection Requirements. | Theory-0.25 Hrs Practical-1.0 Hrs Total- 1.25 Hrs | Different building codes like LDA, and other development authorities’ standards | Class room |

## 9.17 Concrete Technology

### 0732B&CE-206. Test the Properties of Cement

Objective: This module covers the skills and knowledge required to check fineness of cement, prepare cement paste of standard consistence, find out Initial setting time, final setting time,  and soundness of cement,

Duration: 18:00 Hours			                  				Theory: 6:00 Hours				Practice: 12:00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Check fineness of cement | - Trainee will be able to: - Take standard weigh of cement sample - Sieve the sample on standard sieve. - Weigh residue retained - Find fineness by formula | - Types of Cement - Properties of Cement - Understanding of OPC. - Practical Activity - Take the sample of any brand of cement from market and check its fineness. | Theory-1Hr Practical-2 Hr Total- 3 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator | Class Room and Laboratory |
| - Prepare cement paste of standard consistence | - Trainee will be able to: - Identify the apparatus - Clean the tools - Weigh cement sample - Prepare cement paste and fill moulds. - Place the mould under Vicat apparatus. - Adjust zero reading - Drop the plunger and note reading till final value - Record the value of consistence | - Knowledge about standard consistence paste. - Practical Activity - Take the sample of any brand of cement from market and prepare standard consistent paste. | Theory-2 Hrs Practical-2 Hrs Total- 4 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Vicat Apparatus Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| - Find out Initial setting time | - Trainee will be able to: - Weigh cement sample - Prepare paste of cement. - Start the stop watch. - Fill the moulds - Put the mould under vicat apparatus. - Drop the needle and note reading till final value is attained. - Record initial setting time. | - Importance of initial setting time. - Role of chemicals in setting process. - Effects on strength due to variance in quantity in cement. - Practical Activity - Take the most popular cement of market and find initial setting time. | Theory-1.0 Hrs Practical-2 Hrs Total- 3 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Vicat Apparatus Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| - Find out final setting time | - Trainee will be able to - Replace the needle with the needle having circular attachment - Note the time when needle leave the impression only. Record final setting time | - Importance of final setting time. - Role of chemicals in setting process. - Practical Activity - Take the most popular cement of market and find final setting time. | Theory-1.0 Hrs Practical-3.0 Hrs Total- 4 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Vicat Apparatus Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| - Find soundness of cement | - Trainee will be able to - Take sample. - Make paste with standard %age of water. - Fill the split cylinder in specified manner. - Measure distance between legs of apparatus after 24 hrs. - Put the sample in water and boil it for 3 hrs. - Find soundness by formula | - Standard procedure to take %age of water - Effects on strength due to variance in quantity in cement. - Practical Activity - Find the soundness of DG cement use in field | Theory-1 Hr Practical-3.0 Hrs Total- 4.0 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Le-chatlier Apparatus. Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |

### 0732B&CE-207. Find Out Strength of Cement

Objective: This module covers the skills and knowledge required to check compressive strength of cement and tensile strength of cement with Briquette apparatus

Duration: 13:00 Hours			                  				Theory: 4:00 Hours				Practice: 9:00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Find compressive strength of cement | - Trainee will be able to: - Measure the cement and sand by weight. - Mix the material thoroughly. - Add specified %age of water - Mix it for specific time. - Fill cube mould in specific manner. - Place the sample in atmosphere for specific time and then dip in fresh water. - Test the samples after 3,7, and 14 days - Record readings. - Plot the graph. | - Understanding about Compression strength of cement. - Practical Activity - Draw the graph and note the behavior against different days on strength. | Theory-2 Hrs Practical-4.5 Hrs Total- 6.5 Hrs | Cement Sand Tools BS-170 Sieve Sieve shaker Briquette apparatus Digital Balance Calculator Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| - Find tensile strength of cement with Briquette test | - Trainee will be able to: - Prepare cement paste with standard quantities. - Fill the moulds for 3 and 7 days. - Perform test on samples. - Record readings. - Plot the graph. | - Understanding about Tensile strength of cement. - Practical Activity - Draw the graph and note the behavior against different days on strength. | Theory-2 Hrs Practical-4.5 Hrs Total- 6.5 Hrs | Cement Sand Tools BS-170 Sieve Sieve shaker Briquette apparatus Digital Balance Calculator Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |

### 0732B&CE-208. Test the Properties of Aggregate

Objective: This module covers the skills and knowledge required to find clay percentage in sand, particle size distribution of fine and coarse aggregates with sieve analysis, bulk density of aggregates, flakiness index of coarse aggregates, Elongation index of coarse aggregates and specific gravity of aggregates

Duration: 18:00 Hours			                  				Theory: 06 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Find out clay percentage in sand. | - Trainee will be able to: - Collect sample of sand. - Prepare the solution in cylinder and add sand. - Take the reading and tabulate the percentage | - Types of clay. - Types of sand - Practical Activity - Find out the clay percentage in sand of your local area. | Theory-1 Hrs Practical-2.0 Hrs Total- 3.0 Hrs | Sand Aggregate Tools Sieve shaker Flakiness index gauge. Elongation index gauge. Specific gravity bottle. Moulds Rod Sieves set | Class Room and Laboratory |
| LU2. Find out particle size distribution of fine and coarse aggregates with sieve analysis | - Trainee will be able to: - Arrange the sieve. - Put sample on sieve and shake it. - Weigh material retained on each sieve. - Draw grading curve with cumulative percentage retained. | - Classification of aggregates according to nature of formation, size and shape - Characteristics of fine and coarse aggregates - Practical Activity - Draw the particle size gradation curve of local aggregate of your area. | Theory-1 Hrs Practical-2.0 Hrs Total- 3.0 Hrs | Sand Aggregate Tools Sieve shaker Flakiness index gauge. Elongation index gauge. Specific gravity bottle. Moulds Rod Sieves set | Class Room and Laboratory |
| LU3. Find out bulk density of aggregates | - Trainee will be able to: - Take the appropriate cylinder. - Put material in cylinder and weigh it. - Apply formula. | - Importance of bulk density of aggregated. - Practical Activity - Find out the bulk density of local aggregate of your area. | Theory-1 Hrs Practical-2.0 Hrs Total- 3.0 Hrs | Sand Aggregate Tools Sieve shaker Flakiness index gauge. Elongation index gauge. Specific gravity bottle. Moulds Rod Sieves set | Class Room and Laboratory |
| LU 4. Find out flakiness index of coarse aggregates | - Trainee will be able to: - Identify the apparatus. - Collect sample and sieve it. - Collect the retained material from two consecutive sieves. - Calculate the index. | - Importance of flakiness index of coarse aggregates - Practical Activity - Find out the flakiness index of local coarse aggregates and its best uses in field | Theory-1 Hrs Practical-2.0 Hrs Total- 3.0 Hrs | Sand Aggregate Tools Sieve shaker Flakiness index gauge. Moulds Rod Sieves set | Class Room and Laboratory |
| LU5. Find out elongation index of coarse aggregates | - Trainee will be able to: - Identify the apparatus - Arrange the apparatus. - Collect sample and sieve it. - Collect the retained material from two consecutive sieves. - Calculate the index. | - Importance of elongation index of coarse aggregates - Practical Activity - Find out the elongation index of local coarse aggregates and its best uses in field | Theory-1 Hrs Practical-2.0 Hrs Total- 3.0 Hrs | Sand Aggregate Tools Sieve shaker Elongation index gauge. Moulds Rod Sieves set | Class Room and Laboratory |
| LU6.Find out of specific gravity of aggregates | - Trainee will be able to: - Collect the required sample and pour it in pycnometer. - Remove the entrapped air. - Perform the weighing procedure. - Oven dry the sample. - Use formula to calculate specific gravity | - Basic concept relates to and Specific gravity - Importance of gradation of aggregated. - Practical Activity - Find out the specific gravity of local aggregates. | Theory-1 Hrs Practical-2.0 Hrs Total- 3.0 Hrs | Sand Aggregate Tools Sieve shaker Specific gravity bottle. Moulds Rod Sieves set | Class Room and Laboratory |

### 0732B&CE-209. Test the Properties of Fresh Concrete

Objective: This competency standard covers the skills and knowledge required to check workability by slump cone, Check workability by compacting factor apparatus, prepare concrete cubes and cylinders vibrated and hand compacted hand mixed and machine mixed and with different water cement ratio.

Duration: 16:00 Hours			                  				Theory: 06:00 Hours				Practice: 10:00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Check workability by slump cone apparatus. | - Trainee will be able to: - Identify the apparatus - Weigh cement, sand, and aggregate according to ratio. - Mix the material properly - Add water for W/C. ratio - 0.4, 0.5, 0.55 and 0.6. - Oil the inner surface of cone - Fill it in 4 layers. - Remove the cone and measured the slump. | - Basic Ingredients of Concrete - Difference between good and bad concrete. - Factor influencing concrete properties - Different factors affecting the workability of concrete. - Values of slumps for various conditions of placements. - Practical Activity - Find out the workability of concrete executing in your local area by using slump cone apparatus. | Theory-3 Hrs Practical-5 Hrs Total- 8 Hrs | Cement Sand Aggregate Tools Concrete Drum Mixer Platform scale Slump Test Apparatus Mechanical Sieve Shaker Wheel Barrow Bucket Straight Edge Shovels with handle Spirit Level Mortar Pan Mixing Spoon Set Weigh balance Straight Edge Metallic Tape | Class Room and Laboratory |
| - Check workability by compacting factor apparatus | - Trainee will be able to: - Identify the apparatus. - Pour the concrete mix in Hooper’s in proper sequence. - Weigh the concrete. - Fill the cylinder in specified layers - Weigh compacted concrete. - Calculate the compacting factor by using formula. | - Basic concept of compacting factor test - Different methods of mix design, transportation of fresh concrete it’s placing and compaction. - Practical Activity - Find out the workability of concrete executing in your local area by using compacting factor apparatus | Theory-3 Hrs Practical-5 Hrs Total- 8 Hrs | Cement Sand Aggregate Tools Concrete Drum Mixer Platform scale Compacting Factor Apparatus Mechanical Sieve Shaker Wheel Barrow Bucket Straight Edge Shovels with handle Spirit Level Mortar Pan Mixing Spoon Set Weigh balance Straight Edge Metallic Tape | Class Room and Laboratory |

### 0732B&CE-210. Destructive Tests on Hardened Concrete

Objective: This module covers the skills and knowledge required to check find out compression strength of concrete using cubes and cylinders, Perform modules of rupture test on standard size beams, Perform Split cylinder test

, Duration: 15:00 Hours			                  				Theory:   06:00 Hours				Practice:   09:00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Calculate compressive strength of concrete (1:2:4) using cubes and cylinders | - Trainee will be able to - Measure the cement and sand by weight. - Mix the material thoroughly. - Add specified %age of water - Fill mould in specific manner. - Place the sample in atmosphere for specific time, then dip in fresh water. - Test the samples after 3,7,14, and 28 days - Record readings. - Plot the graph. | - Compressive strength of concrete - Relation of the compressive strength of Cube and Cylinder, - Non-destructive tests - Practical Activity - Find out the compressive strength of concrete of project executing close to your local area. | Theory-02 Hrs Practical-03 Hrs Total- 05 Hrs | Cement Sand Aggregate Tools Concrete Drum Mixer Platform scale Moulds 4”, 6” Concrete cylinder 6” dia Vibrating Table Wheel Barrow Bucket Straight Edge Shovels with handle Spirit Level Mortar Pan Mixing Spoon Set Weigh balance Straight Edge Metallic Tape Compression testing machine | Class Room and Laboratory |
| - Perform modules of rupture test on standard size beams. | - Trainee will be able to - Prepare the sample of concrete beam as per specification - Place the specimen on loading points. - Apply load at a constant rate. - Measure the cross section of the tested specimen at each end and at center to calculate average depth and height. - Calculate Flexural strength by using formula. | - Flexural strength of concrete - Practical Activity - Find out the flexural strength of concrete by using standard size beam. | Theory-02 Hrs Practical-03 Hrs Total- 05 Hrs | Cement Sand Aggregate Tools Concrete Drum Mixer Platform scale Moulds 4”, 6” Concrete cylinder 6” dia Wheel Barrow Bucket Straight Edge Shovels with handle Spirit Level Mortar Pan Mixing Spoon Set Weigh balance Straight Edge Metallic Tape Compression testing machine | Class Room and Laboratory |
| - Perform Split cylinder test | - Trainee will be able to - Prepare the sample of concrete cylinder as per specifications. - Record the weight and dimensions of sample. - Place the specimen on compression testing machine With ply wood strips above and below. - Apply the continuous load within the range of 0.72 to 1.4 Mpa / Min. - Observed the failure pattern - Record the Flexural strength. | - Tensile strength (split cylinder test), and Flexural strength (Beam test), - Practical Activity - Find out the flexural strength of concrete by using standard size cylinder. | Theory-02 Hrs Practical-03 Hrs Total- 05 Hrs | Cement Sand Aggregate Tools Concrete Drum Mixer Platform scale Moulds 4”, 6” Concrete cylinder 6” dia Wheel Barrow Bucket Straight Edge Shovels with handle Spirit Level Mortar Pan Mixing Spoon Set Weigh balance Straight Edge Metallic Tape Compression testing machine | Class Room and Laboratory |

### 0732B&CE-211. Perform Non-Destructive Tests on Hardened Concrete

0732B&CE-129. Test the Properties of Cement

Objective: This module covers the skills and knowledge required to check fineness of cement, prepare cement paste of standard consistence, find out Initial setting time, final setting time,  and soundness of cement,

Duration:16:00 Hours			                  				Theory: 4:00 Hours				Practice: 12:00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Check fineness of cement | Trainee will be able to: Take standard weigh of cement sample Sieve the sample on standard sieve. Weigh residue retained Find fineness by formula | Types of Cement Properties of Cement Understanding of OPC. Practical Activity Take the sample of any brand of cement from market and check its fineness. | Theory-1Hr Practical-2 Hr Total- 3 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator | Class Room and Laboratory |
| Prepare cement paste of standard consistence | Trainee will be able to: Identify the apparatus Clean the tools Weigh cement sample Prepare cement paste and fill moulds. Place the mould under Vicat apparatus. Adjust zero reading Drop the plunger and note reading till final value Record the value of consistence | Knowledge about standard consistence paste. Practical Activity Take the sample of any brand of cement from market and prepare standard consistent paste. | Theory-1 Hrs Practical-2 Hrs Total- 3 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Vicat Apparatus Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| Find out Initial setting time | Trainee will be able to: Weigh cement sample Prepare paste of cement. Start the stop watch. Fill the moulds Put the mould under vicat apparatus. Drop the needle and note reading till final value is attained. Record initial setting time. | Importance of initial setting time. Role of chemicals in setting process. Effects on strength due to variance in quantity in cement. Practical Activity Take the most popular cement of market and find initial setting time. | Theory-0.5 Hrs Practical-3 Hrs Total- 3.5 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Vicat Apparatus Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| Find out final setting time | Trainee will be able to Replace the needle with the needle having circular attachment Note the time when needle leave the impression only. Record final setting time | Importance of final setting time. Role of chemicals in setting process. Practical Activity Take the most popular cement of market and find final setting time. | Theory-0.5 Hrs Practical-3.0 Hrs Total- 3.5 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Vicat Apparatus Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |
| Find soundness of cement | Trainee will be able to Take sample. Make paste with standard %age of water. Fill the split cylinder in specified manner. Measure distance between legs of apparatus after 24 hrs. Put the sample in water and boil it for 3 hrs. Find soundness by formula | Standard procedure to take %age of water Effects on strength due to variance in quantity in cement. Practical Activity Find the soundness of DG cement use in field | Theory-1 Hr Practical-2.0 Hrs Total- 3.0 Hrs | Cement Tools BS-170 Sieve Sieve shaker Digital Balance Calculator Le-chatlier Apparatus. Moulds Digital Balance Spatula Knife edge Digital Stop Watch | Class Room and Laboratory |

## 9.18. Advanced Quantity Surveying

### 0732B&CE-212. Produce Detailed Estimate of Water Tanks.

Objective: This module covers the knowledge and skills required to prepare rough cost estimate and hydraulic statement for sewerage scheme. Detailed estimate of Rectangular masonary underground & surface tank, Detailed estimate of hexagonal masonary underground & surface tank, Detailed estimate of circular masonary & RCC underground tank and Detailed estimate of Rectangular RCC Over Head Water Reservoir.

Duration: 20.00 Hours							Theory: 2.00	Hours				Practice: 18.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare detailed estimate of masonry rectangular 8’ x 6’ underground water tank. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of brick work & RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Technical terms used in water tanks. - Parts of underground masonry rectangular tank. - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of masonry rectangular 8’ x 6’ underground water tank. | Theory-0.25 Hrs Practice- 2.0 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of masonry hexagonal underground water tank internal side length=5 ft. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of brick work & RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Parts of underground masonry hexagonal tank - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of masonry hexagonal underground water tank | Theory-0.25 Hrs Practice- 2.0 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of masonary circular underground water tank 8 ft dia. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of brick work & RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Parts of underground masonry circular tank. - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of masonry circular underground water tank | Theory-0.25 Hrs Practice- 3.0 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of masonry rectangular surface water tank 4m X 2 m. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of brick work & RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Parts of masonry rectangular surface tank. - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of masonry hexagonal surface water tank | Theory-0.25 Hrs Practice- 3.0 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed Estimate of masonry hexagonal surface water tank internal side length=1.7 m.. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of brick work & RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Parts of masonry hexagonal surface tank. - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of masonry hexagonal surface water tank | Theory-0.25 Hrs Practice- 2.0 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of masonry circular surface water tank 2 m i/d. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of brick work & RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Parts of masonry circular surface tank. - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of masonry circular surface water tank | Theory-0.25 Hrs Practice- 2.0 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of RCC circular water tank 4m i/d. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of RCC work. - Calculate the quantities of flooring concrete & plaster. - Calculate the quantities of iron steps, manhole cover inlet and outlet pipes. - Prepare abstract of cost. | - Parts of RCC circular tank - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of RCC circular water tank | Theory-0.25 Hrs Practice- 2.0 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed Estimate of RCC square Overhead water tank14’ x 14’ x 9’ elevated at 40 ft height. | Trainee will be able to: - Calculate quantities of excavation & foundation concrete. - Calculate the quantities of RCC work for footing. - Calculate the quantities of RCC work for columns, ring beams, landing slabs, base slab, top slab based on MRS. - Calculate the quantities of steel reinforcement & plaster. - Calculate the quantities inlet pipe, wash out pipe, over flow pipe, outlet pipes and valves. - Calculate the quantities of iron steps/ ladder, manhole cover, - Prepare abstract of cost. | - Parts of overhead water reservoir. - Items of work for water tank. - Instructions on calculation of quantities of different items of work. - Instructions on preparation of Abstract of Cost. - Practical Activity - Estimate of RCC square Overhead water tank. | Theory-0.25 Hrs Practice- 2.0 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-213. Produce Detailed Estimate of Wells.

Objective: This module covers the knowledge and skills required to prepare detailed estimates of Persian well and tube well.

Duration: 20.00 Hours						Theory: 2.0	Hours				Practice: 18.00 Hours

| - Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Calculate the quantities based on SMM /CSR for persian well. | Trainee will be able to: - Calculate the quantities of excavation, cutting edge, well curb. - Calculate the quantities of sinking, surcharge weight/ false masonry. - Calculate the quantities of dry masonry, wet masonry & surrounding floor. | - Well, Persian well and tube well. - Parts of Persian well. - Items of work for estimation of Persian well. - Unit of measurement and units of rate for Persian well. - Calculation of quantities. - Practical Activity - Prepare Detailed estimate for 10 ft dia 35 ft deep Persian well. | Theory-0.25Hrs Practice- 2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare abstract of cost using rates from MRS/ CSR for persian well | Trainee will be able to: - Put quantities of all items of work in Abstract of cost table and relevant rates for Persian well. - Calculate the amount of each item of work and Sum up the amounts for Persian well. - Add premium/ contractor’s profit on amounts of relevant rates for Persian well. | - Procedure for preparation of abstract of cost Persian well. - Practical Activity - Prepare Abstract of Cost for Persian well. | Theory-0.25Hrs Practice- 2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Calculate the quantities based on SMM /CSR for subhead No. 1 investigation of source. | Trainee will be able to: - Calculate the quantities of Electric Resistivity Survey. - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. - Prepare Bill of Quantities for investigation of source. | - Different subheads of tube well for estimation. - Items of work with measuring units for investigation of source. - Calculation of quantities. - Practical Activity - Calculation of quantities for investigation of source. | Theory-0.25Hrs Practice- 2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Calculate the quantities based on SMM /CSR for subhead No. 2 Boring & lowering of pipe for tube well. | Trainee will be able to: - Calculate the quantities of Boring, Collection of samples, Built Box and Testing of samples. - Calculate the quantities of bail plug, strainer, blind pipe, shrouding. - Prepare Bill of Quantities for boring. | - Items of work with measuring units for Boring & lowering of pipe. - Calculation of quantities - Practical Activity - Calculation of quantities for Boring & lowering of pipe. | Theory-0.25Hrs Practice- 2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Calculate the quantities based on SMM /CSR for subhead No. 3 pump and pumping machinery for tube well. | Trainee will be able to: - Calculate the quantities of pump/ turbine with gear & motor, chlorination chamber, discharge gauge, chain pulley block. - Calculate the quantities of tool kit, steel tool cabinet, testing & development of tube well. - Prepare Bill of Quantities for pump and pumping machinery. | - Items of work with measuring units for pump and pumping machinery. - Calculation of quantities - Practical Activity - Calculation of quantities for Boring & lowering of pipe. | Theory-0.25Hrs Practice- 2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Calculate the quantities based on SMM /CSR for subhead No. 4 pump room for tube well. | Trainee will be able to: - Draw the centre lines in plan of pump room. - Sum up the lengths of centre lines. - Apply the principle of centre line method. - Calculate the quantities of items of work for building. - Apply the principles of deduction for surface rendering. - Prepare Bill of Quantities for pump room. | - Items of work with measuring units for pump room. - Calculation of quantities - Practical Activity - Calculation of quantities for pump room. | Theory-0.25Hrs Practice- 2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Calculate the quantities for subhead No. 5 external electrification for tube well. | - Trainee will be able to: - Calculate the quantities of electric poles, bared twisted cables, and transformer. - Calculate the quantities of electric energy meter, main switch, starter and internal electrification. - Prepare Bill of Quantities for electrification. | - Items of work with measuring units for external electrification - Calculation of quantities - Practical Activity - Calculation of quantities for external electrification | Theory-0.25Hrs Practice- 3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare abstract of cost using rates from MRS/ CSR for Tube well. | Trainee will be able to: - Put quantities of all items of work in Abstract of cost table and relevant rates. - Calculate the amount of each item of work and Sum up the amounts. - Add premium/ contractor’s profit on amounts of relevant rates for tube well. - Prepare Summary of all the five sub heads of Tube well | - Procedure for preparation of abstract of cost for all subheads and summary of abstract of cost for tube well. - Practical Activity - Preparation of abstract of cost for all subheads and summary of abstract of cost for tube well. | Theory-0.25Hrs Practice- 3 Hrs Total- 3.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-214. Produce Detailed Estimate of Steel Structures

Objective: This module covers the knowledge and skills required to prepare detailed estimate of Steel Trussed Shed and steel plate Girder Bridge.

Duration: 20.00 Hours						Theory: 2.00	Hours				Practice: 18.00	 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure quantities for construction of Steel Trussed Shed 60 ft x 40’. | Trainee will be able to: - Draw the abstract of quantities table for steel trussed shed. - Calculate quantities of Structural Steel for steel trussed shed. - Calculate the quantities for painting for steel trussed shed. - Calculate the quantities for Roofing for steel trussed shed. - Calculate the quantities of Ridging & Gutter for steel trussed shed. - Calculate the quantities for Rain water down pipes & Bottom khurra for steel trussed shed. - Prepare Bill of Quantities for steel trussed shed. | - Truss and parts of Truss. - Trussed shed and parts of Trussed shed. - Procedure for calculating unit weight of iron sections and plates. - Procedure for calculation of items of work of steel trussed shed. Practical Activity - Measure quantities for construction of Steel Trussed Shed | Theory-0.5 Hrs Practice-4.5 Hrs Total- 5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare Abstract of Cost of Steel Trussed Shed 60 ft x 40ft. | Trainee will be able to: - Draw Abstract of cost table for steel trussed shed. - Put quantities of all items of work and relevant rates for steel trussed shed. - Calculate the amount of each items of work for steel trussed shed. - Sum up the amounts for steel trussed shed. - Add premium/ contractor’s profit on amounts of relevant rates for steel trussed shed. - Sum up the amounts and add contingencies for steel trussed shed. - Add building Services charges for the building for steel trussed shed. - Add other centage charges for the building for steel trussed shed. | - Costing of steel roof trussed shed of size 60ft x 40 ft. Practical Activity - Abstract of Cost for Steel Trussed Shed. | Theory-0.5 Hrs Practice-4.5 Hrs Total- 5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Measure quantities for construction of 16 ft Steel Plate Girder Bridge. | Trainee will be able to: - Draw the abstract of quantities table for steel plate Girder Bridge. - Calculate unit length rates of iron sections for steel plate Girder Bridge. - Calculate quantities of Structural Steel for steel plate Girder Bridge. - Calculate the quantities for painting for steel plate Girder Bridge. - Calculate quantities of, plates, sheets, spout for steel plate Girder Bridge. - Prepare Bill of Quantities for steel plate Girder Bridge. | - Steel plate girder and steel plate Girder Bridge. - Parts of steel plate Girder Bridge. - Procedure for estimation of single span plate girder steel bridge 16’ span - Instructions for working out of quantities of different items of work for steel plate Girder Bridge. Practical Activity - Measure quantities for construction of Steel Girder Bridge. | Theory-0.5 Hrs Practice-4.5 Hrs Total- 5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Measure quantities for construction of 16 ft Steel Plate Girder Bridge. | Trainee will be able to: - Draw Abstract of cost table for steel plate Girder Bridge. - Put quantities of all items of work and relevant rates for steel plate Girder Bridge. - Calculate the amount of each items of work for steel plate Girder Bridge. - Sum up the amounts for steel plate Girder Bridge. - Add premium/ contractor’s profit on amounts of relevant rates for steel plate Girder Bridge. - Sum up the amounts and add contingencies for steel plate Girder Bridge. - Add other centage charges for the building for steel plate Girder Bridge. | - Costing of steel plate girder bridge Practical Activity - Abstract of Cost for steel plate girder bridge | Theory-0.5 Hrs Practice-4.5 Hrs Total- 5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-215. Produce Detailed Estimate of RCC Framed Structure

Objective: This module covers the knowledge and skills required to prepare estimate of a small two storeyed R. C. C. frame structure building.

Duration: 23.00 Hours						Theory: 2.00 Hours				Practice: 21.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure quantities of a small two storeyed R. C. C. frame structure building having 2 rooms, 1 kitchen and 1 bath at each floor. | Trainee will be able to: - Draw the abstract of quantities table. - Calculate quantities of RCC concrete for the frame. - Calculate the quantities for Brick work and DPC. - Calculate the quantities for Roofing. - Calculate the quantities for Surface Rendering. - Calculate the quantities for flooring. - Calculate the quantities for Doors & Windows. - Prepare Bill of Quantities. | - Framed Structure building. - Components of framed structure. - Items of work for RCC Framed Structure Buildings along with unit of measurement and unit of rate. - Procedure on Calculation of items of work. Practical Activity - Measurements for RCC Framed Structure Building. | Theory-0.5 Hrs Practice-7 Hrs Total- 7.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare bar bending schedule for RCC structures of small two storeyed R. C. C. frame structure building. | Trainee will be able to: - Calculate number of bars for each structure. - Calculate length of bars for each structure. - Calculate unit length weight for each dia. of bar. - Draw table of bar bending schedule. - Put the calculations in the table of schedule of bar. - Perform calculations to calculate weight for each type of bar and total weight. | - Procedure on Calculation of steel reinforcement - Procedure to prepare schedule of bars for RCC column bases, columns, beams, slabs, lintels and stairs. Practical Activity - Abstract of cost for RCC Framed Structure Building. | Theory-0.5 Hrs Practice-7 Hrs Total- 7.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare Abstract of cost of small two storeyed R. C. C. frame structure building | Trainee will be able to: - Draw Abstract of cost table. - Put quantities of all items of work and relevant rates. - Calculate the amount of each items of work. - Sum up the amounts. - Add premium/ contractor’s profit on amounts of relevant rates. - Sum up the amounts and add contingencies. - Add building Services charges for the building. - Add other centage charges for the building. | - Procedure to prepare of Abstract of Cost. Practical Activity - Bar Bending Schedule for RCC Framed Structure Building. | Theory-1.0 Hrs Practice-7 Hrs Total- 8.0 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-216. Produce Detailed Estimate of Building Services.

Objective: This module covers the knowledge and skills required to prepare detailed estimate of Water supply installations, sanitary installation, Electrification, Telephone and cable and Gas installations.

Duration: 14.00 Hours						Theory: 2.00	Hours				Practice: 12.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare detailed estimate of water supply installations in C class building. | Trainee will be able to: - Calculate quantities of pipes. - Calculate the quantities of valves, cocks & showers. - Calculate the quantities of mixers, taps, and water filter system. - Calculate the quantities of tank & taps. - Prepare abstract of cost. | - Building services. - Types of building services- Water supply installations, Sanitary installation, Electrification, Telephone and cable and Gas installations. - Items of work with measuring unit for Water supply installations. - Instructions regarding preparation of detailed estimate for Water supply installations. Practical Activity - Preparation of Detailed Estimate for Water Supply installations. | Theory-0.5 Hrs Practice-2 Hrs Total- 2.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of sanitary installations in C class building. | Trainee will be able to: - Calculate quantities of sewer pipes. - Calculate the quantities of W.C., Basin, Urinal, Tub. - Calculate the quantities of Sink, Toilet paper holder, towel rail, soap dish, shelf, gulley trap & vent pipe. - Calculate the quantities of tooth brush stand. - Prepare abstract of cost. | - Items of work with measuring unit for sanitary installations. - Instructions regarding preparation of detailed estimate for sanitary installations. Practical Activity - Preparation of Detailed Estimate for sanitary installations. | Theory-0.5 Hrs Practice-3 Hrs Total- 3.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of internal electrification installations in C class building. | Trainee will be able to: - Calculate quantities of cables & wires, conduits, duct.. - Calculate the quantities of switches, sockets, plugs, bulb holders, ceiling rose, boards, & main switch. - Calculate the quantities of Circuit breaker, voltmeter, hooks, fans, fancy lights, water tight set, energy meter. - Calculate the quantities of panel box, indicator. - Prepare abstract of cost. | - Items of work with measuring unit for Electrification. - Instructions regarding preparation of detailed estimate for Electrification. Practical Activity - Preparation of Detailed Estimate for Electrification. | Theory-0.5 Hrs Practice-3 Hrs Total- 3.5 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of gas installations in C class building. | Trainee will be able to: - Calculate quantities of pipes. - Calculate the quantities of valves, gas meter. - Calculate the quantities of burner, geezer, heater - Prepare abstract of cost. | - Items of work with measuring unit for Gas installations. - Instructions regarding preparation of detailed estimate for Gas installations. Practical Activity - Preparation of Detailed Estimate for Gas installations. | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |
| - Prepare detailed estimate of telephone & cable installations in C class building. | Trainee will be able to: - Calculate quantities of cables & wires, for telephone & cable. - Calculate the quantities of sockets, plugs. - Calculate the quantities of amplifier. - Calculate the quantities of conduits, duct. - Prepare abstract of cost for telephone & cable. | - Items of work with measuring unit for Telephone and cable. - Procedure for preparation of detailed estimate for Telephone and cable Practical Activity - Preparation of Detailed Estimate for Telephone and cable installations. | Theory-0.25 Hrs Practice-2 Hrs Total- 2.25 Hrs | Lead Pencil Paper Eraser Rules | Class Room |

### 0732B&CE-217. Produce Detailed Estimates Using Computer Software -Excel.

Objective: This module covers the knowledge and  skills required to Prepare Estimate using EXCEL software of framed structure building, detailed estimate for rectangular masonry underground water tank, detailed estimate for Segmental arch masonry bridge, detailed estimate for Building Services, detailed estimate for Tube well and Persian well, hydraulic statement of water supply and sewerage schemes, Earthwork calculations, Bituminous Road, materials statement and Rate analysis of brick work.

Duration: 30.00 Hours						Theory: 3 Hours				Practice: 27 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare detailed estimate for framed structure class room in MS EXCEL | Trainee will be able to: - Load the EXCEL and prepare abstract of quantities table. - Type the measurements in number, length, breadth & height for each item of work for framed structure class room. - Type relevant formula for area, volume and other elements. - Type the formula for quantities and format the measurements & quantities. - Take out totals and net totals of quantities. - Prepare schedule of bars for columns, beams, slabs and lintels. - Prepare abstract of quantities table. - Put quantity of each item of work and type relevant rates from the MRS/ CSR. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. | - Instructions regarding use of MS EXCEL software. - State the operators & functions along with their purpose. - Describe syntax of formula in geometry and mensuration. - Explain how to give formation to the measurements and quantities. - State how to give references of cells in the same sheet, amongst sheets and amongst files. - Prepare detailed estimate for framed structure building in MS EXCEL. Practical Activity - Prepare detailed estimate of framed structure class room in MS EXCEL | Theory-1 Hrs Practice-4 Hrs Total- 5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Prepare detailed estimate for rectangular masonary underground water tank in MS EXCEL. | Trainee will be able to: - Load the EXCEL and prepare abstract of quantities table. - Type the measurements in number, length, breadth & height for each item of work for rectangular masonary underground water tank. - Type relevant formula for area, volume and other elements. - Type the formula for quantities and format the measurements & quantities. - Take out totals and net totals of quantities. - Prepare schedule of bars for, slab. - Prepare abstract of quantities table. - Put quantity of each item of work and type relevant rates from the MRS/ CSR. | - Prepare detailed estimate for water tanks in MS EXCEL. Practical Activity - Prepare detailed estimate of framed structure class room in MS EXCEL | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipments | Class Room and Computer Lab |
| - Prepare detailed estimate for Segmental arch masonary bridge in MS EXCEL. | Trainee will be able to: - Load the EXCEL and prepare abstract of quantities table. - Type the measurements in number, length, breadth & height for each item of work for Segmental arch masonary bridge. - Type relevant formula for area, volume and other elements. - Type the formula for quantities and format the measurements & quantities. - Take out totals and net totals of quantities. - Prepare abstract of quantities table. - Put quantity of each item of work and type relevant rates from the MRS/ CSR. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. | - Prepare detailed estimate for Bridge in MS EXCEL. Practical Activity - Prepare detailed estimate of framed structure class room in MS EXCEL | Theory-0.5 Hrs Practice-4 Hrs Total- 4.5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipments | Class Room and Computer Lab |
| - Prepare detailed estimate for Building Services in MS EXCEL. | Trainee will be able to: - Detailed Estimate of Water supply installations for C class building. - Detailed Estimate of Sanitary installation for C class building. - Detailed Estimate of Electrification for C class building. - Detailed Estimate of Telephone and cable for C class building. - Detailed Estimate of Gas installations for C class building. | - Prepare detailed estimate for Building Services in MS EXCEL. Practical Activity - Prepare detailed estimate of framed structure class room in MS EXCEL | Theory-0.5 Hrs Practice-4 Hrs Total- 4.5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipments | Class Room and Computer Lab |
| - Prepare detailed estimate for Tube well and Persian well in MS EXCEL. | Trainee will be able to: - Type the measurements of subheads 1 to 5 for tube well and Persian well and type formula for quantities. - Put quantity of each item of work and type relevant rates from the MRS/ CSR in abstract of quantities. - Calculate the amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. | - Prepare detailed estimate for Tube well and Persian well in MS EXCEL. Practical Activity - Prepare detailed estimate of framed structure class room in MS EXCEL | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipments | Class Room and Computer Lab |
| - Prepare hydraulic statement of water supply and sewerage schemes in MS EXCEL | Trainee will be able to: - Hydraulic statement of water supply in MS EXCEL - Sr.#. Name of line (1-2), Length of Line (Rft), Area to be served(Own Area, Other Area, Total Area), Density of Population @34 persons, Discharge @ 8 gal/head/ hour for 9 hours, Peak Demand @ 2.25 times, Proposed dia of Pipe, - Velocity ft'/sec, Loss of head (1000 ft), Total loss of head in line, Ground Level (Upper Lower), Hydraulic Level (Upper, Lower), Terminal - Hydraulic statement of sewerage schemes in MS EXCEL - Sr.#, Name of line (1-2), Length of Line (Rft), Area (Own), Acre, Other Area, Total Area, - Density of Population, Total Line at line(6*7), Domestic Sewage Flow, Peak Factor, Peak Flow=9*10, Storm Water Flow= 50% of peak flow (11/2), Total Discharge =(11+12), Proposed size of Pipe, Capacity of Sewage pipe 9" =1.1 cusec, 12"=1.96 cusec, Slope as per size of pipe + natural slope available at site, Velocity when running full 2.5'/sec, Q max. or Q full (13/15), V max. or V full =(18/x-area of pipe or Q max/ x-area of pipe, Velocity at max (17*19), Fall due to gradient (length/ slope), Fall due to change of size 9"/12", Total fall (21+22), Ground Level upper, Ground Level lower, Invert Level upper, Invert Level lower, Thickness of wall bedding, Bed Level upper, Bed Level lower, Depth of cutting upper, Depth of cutting lower, Mean depth, No. of Manholes (size of pipe), Name of Line, Length of pipe, Size of Pipe, Remarks. | - Prepare hydraulic statement of water supply and sewerage schemes in MS EXCEL. Practical Activity - Prepare detailed estimate of framed structure class room in MS EXCEL | Theory-0.25 Hrs Practice-4 Hrs Total- 4.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Earthwork calculations, Bituminous Road, materials statement and Rate analysis of brick work in MS EXCEL. | Trainee will be able to: - Type the heading of table for earthwork, enter values and type formula for quantities. - Prepare abstract of quantities for bituminous road, enter values and type formula for quantities. - Type the heading of table for materials statement, calculate materials by typing formula for amounts. - Type the heading of table for rate analysis, calculate materials charges, labour charges, carriage charges and sundries for brick work. Sum up and ad contractor’s profit by typing formula for amounts. | - Earthwork calculations, Bituminous Road, materials statement and Rate analysis, in MS EXCEL. Practical Activity - Calculate Earthwork calculations, prepare detailed estimate of Bituminous Road, prepare materials statement and Rate analysis of brick work in MS EXCEL. | Theory-0.25 Hrs Practice-3 Hrs Total- 3.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |

### 0732B&CE-218. Produce Project of Road in AutoCAD Civil 3D software

Objective: This module covers the knowledge and skills required to design a road project in AutoCAD Civil 3D, quantity takeoff and produce drawings.

Duration: 33.00 Hours						Theory: 3.00	Hours				Practice: 30.00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Import Survey data from excel file *.csv | Trainee will be able to: - Create new dwg file in desired units-feet or meters. - Save excel file in *.csv file format - Create formats for data import. - Import *.csv file in CAD file. | - Loading and unloading of AutoCAD Civil 3D. - Interface and Workspaces of AutoCAD Civil 3D, - Tool space, panorama, Templates, Settings, and Styles - AutoCAD Civil 3D Projects, Sharing Data, Using Data Shortcuts for Project Management - Creation and editing parcels and print parcel reports - Creation of points and point groups and work with survey figures Practical Activity Import Survey data from excel file *.csv for road. | Theory- 0.5Hrs Practice- 4 Hrs Total- 4.5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Perform Surface modeling | Trainee will be able to: - Create parcels - edit parcels - Print parcel reports - Create points and point groups and work with survey figures - Create, surfaces - edit, surfaces - view, surfaces - analyze surfaces | - Creation and editing , viewing, and analysing surfaces Practical Activity Performance for creation of surface for road. | Theory- 0.5Hrs Practice- 4 Hrs Total- 4.5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Perform Alignment | Trainee will be able to: - Create horizontal and vertical alignments - Edit horizontal and vertical alignments - Create data shortcuts | - Creation and editing of alignments Practical Activity Performance for creation of alignment | Theory- 0.25Hrs Practice- 4 Hrs Total- 4.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Create sites, profiles, and cross-sections | Trainee will be able to: - Create sites - Create profiles - Create cross-sections | - Creation of data shortcuts - Creation of sites, profiles, and cross-sections Practical Activity Performance for creation of sites, profiles, and cross-sections | Theory- 0.5Hrs Practice- 4 Hrs Total- 4.5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Create assemblies, corridors, intersections and Grading solutions | Trainee will be able to: - Create assemblies, - Create corridors, - Create intersections - Create Grading solutions | - Creation of assemblies, corridors, and intersections - Creation of grading solutions Practical Activity Performance for creation of assemblies, corridors, intersections and Grading solutions for road. | Theory- 0.5Hrs Practice- 4 Hrs Total- 4.5 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Create gravity fed and pressure pipe networks | Trainee will be able to: - Create gravity fed pipe networks - Create pressure pipe networks | - Creation of gravity fed and pressure pipe networks Practical Activity Performance for creation of gravity fed and pressure pipe networks for road. | Theory- 0.25Hrs Practice- 4 Hrs Total- 4.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Perform quantity take off and volume calculations | Trainee will be able to: - Perform quantity take off - Perform volume calculations | - Procedure for quantity take off and volume calculations Practical Activity Performance for quantity take off and volume calculations for road. | Theory- 0.25Hrs Practice- 3 Hrs Total- 3.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |
| - Use plan production tools to create plan and profile sheets | Trainee will be able to: - Create plan and profile sheets by use of plan production tools. - Create plan and profile sheets by use of plan production tools. | - Procedure for plan production tools to create plan and profile sheets - Steps in designing a project in AutoCAD Civil 3D. Practical Activity Create plan and profile sheets for road. | Theory- 0.25Hrs Practice- 3 Hrs Total- 3.25 Hrs | Printing paper USB Printer cartridge Apparatus Computer Lab Equipment | Class Room and Computer Lab |

## 9.19. Construction Management

### 0732B&CE-219. Produce Pre-Qualification Documents & collect expression of interest

Objective: This Module covers the skills and knowledge required to prepare flow chart for pre-qualification process, prepare pre-qualification documents, notice for expression of intrest and evaluation criteria to pre-qualify the Contractor/Consultant/Vendor

Duration: 14 Hours								Theory: 06 Hours				Practice: 08 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare flow chart for Prequalification process as per PEC specifications. | Trainee will be able to: - Identify Qualification criteria to comply with the specific requirements. - Get Sanction from the authorities pertaining to Qualification criteria. - Identify Prequalification process for Civil works. - Prepare Flow chart- Form Procurement Team, Develop Evaluation Criteria to qualify, Issue Notice for the EOI, Evaluation of applicants, Data attachments, Applicant short list, Selection, Completion of the process and record keeping. | - Define Contractor, Consultant and Vendor, Procurement, Contract, types of Contract. - Establish type of Contract. - Define Prequalification, Types of prequalification. - Enlist steps of pre-qualification process and Documents, forms, evaluation forms. - Define Notice of invitation (EOI). Practical Activity - Preparation Process flow diagram of prequalification. | Theory-01 Hrs Practical-02 Hrs Total- 03 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Preparation of Pre-Qualification Document as per PEC Specification. | Trainee will be able to: - Process for sanction of administrative approval- Budget provision - Process for technical sanction- allocation of funds. - Identify & get formed procurement team. - Download latest Pre-Qualification documents from PEC web site. - Identify & Prepare Pre-qualification document observing PEC directions. Instructions to applicant, Qualification Criteria, Annexures. | - Describe Pre-requisite for prequalification administrative approval, technical sanction, Budget provision and allocation of funds to carry out the whole process. - State the Procurement Team formation. - Define financial capabilities and technical capabilities. - Define instruction to applicant. Practical Activity - Prepare Pre-Qualification document Procedure diagram as per PEC/PPRA Specifications | Theory-01 Hrs Practical-02 Hrs Total- 03 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| Prepare Standared proceedure and Features of Pre-qualification Document. | Trainee will be able to: - Identify the standard procedure and features of Pre-Qualification document as per PEC directions. - Draft features of Instructions to Applicant. - Draft features of technical and financial capability assessment of applicants. - Draft features to assess the capability of joint venture - Draft features of evaluation criteria | - Understanding the forms of Technical and Financial capability as per the PCE/PPRA. - Define the Technical features in the forms of prequalification. - Define the assessment criteria and procedure of assessment. - Define Joint venture and the features to assess the capabilities of Joint venture. Practical Activity - Preparation of Marking procedure to assess the Financial and technical capabilities of Applicant. | Theory-02 Hrs Practical-02 Hrs Total- 04 Hrs | Calculator Ruler Pencil | Class Room |
| Prepare Per-Qualification document for works & invite to applicants. | Trainee will be able to: - Prepare Draft of Qualification Criteria. - Prepare Draft of General information of applicant - Prepare Draft to assess General experience of the Applicant. - Prepare Draft to assess Personnel Capabilities of the Applicant. - Prepare Draft to assess Equipment Capabilities of the Applicant. - Prepare Draft to assess financial position of the Applicant. - Prepare the Features and draft to assess the Joint venture. - Prepare (EOI) notice as per PEC & PPRA rules. - Get published in the print and digital media as per PPRA rules. | - Define the procedure to advertise the notice of invitation of prequalification. - Enlist the pre-requisite attachment along with Notice of EOI Practical Activity - Prepare the drafts and fill up the requirements pertaining to technical and financial capabilities. - Prepare the Notice of Invitation | Theory-02 Hrs Practical-02 Hrs Total- 04 Hrs |  |  |

### 0732B&CE-220. Set Evaluation Criteria for the assessment

Objective: This module covers the skills and knowledge required to Collect (EOI) for civil works, Opening and initial evaluation of Applicants, prepare comparative statement, Shortlisting of applicants to meet the requirements

Duration: 06 Hours								Theory: 03 Hours				Practice: 03 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Collect Expression of Interest for civil works | Trainee will be able to: - Issue Pre-Qualification documents to the applicants. - Conduct Meeting to understand scope of work. - Collect the EOI of the applicants with duly coding formalities and entered on register. | - State to keep the records and codifying the responses for the future activity reference. Practical Activity - Prepare the record register to enter the record of responses and Coding. | Theory-01 Hrs Practical-01 Hrs Total- 02 Hrs | Calculator Ruler Pencil | Class Room |
| - Opening and Perform evaluation | Trainee will be able to: - Open the Applications as per PEC/PPRA rules. - Perform the evaluation assessment as per the approved criteria for the particular works. - Prepare evaluation report. - Short list Applicants as per PEC/ PPRA rules. - Prepare List of Qualified Applicants. - Prepare report to get approval by authorities. | - Explain Knowledge of PEC & PPRA rules- standard procedure for evaluation of technical and Financial aspects. - Describe Background Factors influenced on evaluation process and conflict of interest. - Describe annexures and principles for evaluation. - Define the Capability assessment of Joint venture. - Prepare comparative statement and selection of successful applicants - Explain the procedure to declare the successful applicants. Practical Activity Prepare the marking/evaluation pertaining to technical and financial capabilities and comparison report of the applicants. | Theory-02 Hrs Practical-02 Hrs Total- 04 Hrs | Calculator Ruler Pencil | Class Room |

### 0732B&CE-221. Produce Tender Documents & Collect Proposals

Objective: This module covers the knowledge and  skills required to prepare flow chart for tendering process, prepare tender documents, tender notice and collect proposals.

Duration: 24 Hours								Theory: 6 Hours				Practice: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare flow chart for tendering process as per PEC specifications. | Trainee will be able to: - Identify tendering pre-requisites for works. - Identify tender processing for works. - Prepare Flow chart- Form Procurement Team, - Develop Tender & Evaluation Criteria, Pre-qualify (PQQ) long-list, Issue Tender, Tender Briefing meeting, Initial evaluation, Bidder short list, Presentations visits, Selection, Award Contract. | - Define contract, tender notice and tender. - Enlist tender documents- Instructions to Bidders, Bidding Data, General Conditions of Contract Part-I (GCC), Particular Conditions of Contract Part-II (PCC), Specifications - Special Provisions, Specifications - Technical Provisions, Form of Bid & Appendices to Bid, Bill of Quantities, Form of Bid Security, Form of Agreement, Form of Performance Security/Bond & Mobilization Advance Guarantee/Bond, and Drawings. Practical Activity Prepare flow chart for tendering process as per PEC specifications | Theory-01 Hrs Practical-04 Hrs Total- 05 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Preparation of tendering Pre-requisites for works. | Trainee will be able to: - Process for sanction of administrative approval- Budget provision - Process for sanction of technical sanction- allocation of funds. - Identify & get formed procurement team. - Download latest bidding documents from PEC web site. - Identify & Prepare tender document observing PEC directions- Instructions to Bidders, Bidding Data, General Conditions of Contract Part-I (GCC), Particular Conditions of Contract Part-II (PCC), Specifications - Special Provisions, Specifications - Technical Provisions, Form of Bid & Appendices to Bid, Bill of Quantities, Form of Bid Security, Form of Agreement, Form of Performance Security/Bond & Mobilization Advance Guarantee/Bond, and Drawings. | - Describe Pre-requisite for tendering-administrative approval, technical sanction, Budget provision and allocation of funds - Describe Prequalification of Bid, Tender notices - Characteristics, instruction on calling tender. - State Earnest money, security deposit. Mobilization advance, secured advance, retention money. - State the pre-requisites for tendering - Explain the need of earnest money and security deposit Practical Activity Preparation of tendering Pre-requisites for works. | Theory-02 Hrs Practical-04 Hrs Total- 06 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Prepare Report on Main Features of Tender Documents. | Trainee must be able to: - Identify the features of tender documents as per PEC directions. - Draft features of Instructions to Bidders & Bidding Data. - Draft features of General Conditions of Contract Part-I (GCC) & Particular Conditions of Contract Part-II (PCC). - Draft features of Specifications - Special Provisions & Specifications - Technical Provisions. - Draft features of Form of Bid & Appendices to Bid- Appendix A (special Stipulation clause conditions of contract, Appendix B (Foreign Currency requirements), Appendix C (Price Adjustment clause 70) Appendix D (Bill of Quantities, Day work schedule, Labour, Day work Material & rates, day work machinery plants), Appendix E (proposed construction schedule), Appendix F (Method of performing work), Appendix G List of equipment, Appendix H (Construction camp & housing facilities), Appendix I (List of Subcontractors), Appendix J (Estimated Progress payment), Appendix K (organisation chart), Appendix L (Integrity pact). - Draft features of Form of Bid Security, Form of Agreement, and Form of Performance Security/Bond & Mobilization Advance. - Draft features of Guarantee/Bond, and Drawings | - Describe main features of Tender documents and tender notice. - Distinguish between work order and contract - Define terms budget provision, administrative approval, Technical sanction and Allocation of funds - List the merits and limitations of each contracting system. Practical Activity Prepare Report on Main Features of Tender Documents. | Theory-02 Hrs Practical-04 Hrs Total- 06 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |
| - Prepare tender documents for civil works & invite tender. | - Trainee must be able to: - Prepare draft of Particular Conditions of Contract (PEC) - Prepare draft of Specifications - Special Provisions. - Prepare draft of Specifications - Technical Provisions. - Prepare draft of detailed estimate & Bill of Quantities. - Prepare working drawings. - Prepare tender notice as per PEC & PPRA rules. - Get published in the print and digital media as per PPRA rules | - Prepare tender documents - Discuss the instruction to bidders/contractor for filling tenders/bids - Explain the conditions of contract such as penalty, Arbitration, Time of completions and Extension of time - Draft a tender notice - Prepare tender documents Practical Activity Prepare tender documents for civil works & invite tender. | Theory-01 Hrs Practical-06 Hrs Total- 07 Hrs | Calculator Ruler Pencil Drawing lab equipment | Class Room |

### 0732B&CE-222. Perform Tender Evaluation & Award of Contract

Objective: This module covers the knowledge and  skills required to Collect Tender for civil works, Opening and initial evaluation of tenders, prepare comparative statement, drafts of agreement deeds and procurement order.

Duration: 22 Hours								Theory: 05 Hours				Practice: 17 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Collect Tender for civil works. | Trainee will be able to: - Issue tender documents to bidders. - Conduct tender briefing meeting. - Collect tenders with code formalities duly entered on register | - Knowledge of PEC & PPRA rules- standard procedure for evaluation of bids civil works Practical Activity Collect Tender for civil works. | Theory-01 Hrs Practical-05 Hrs Total- 06 Hrs | Calculator Ruler Pencil | Class Room |
| - Opening and initial evaluation of tenders | Trainee will be able to: - Open the tender as per PPRA rules. - Implement Background Factors on opening of tenders- accord weightage to elements of bid eligibility for evaluation tenders. - Implement Steps/ Stages of Bid Evaluation in consistence to Evaluation Guide - Inspect Annexures & Appendices with the bid. - Short list bidders as per PEC/ PPRA rules in initial evaluation. - Bidder short list, Presentations visits, Selection, Award Contract. | - Describe Background Factors on opening of tenders - Prepare comparative statement and selection of contractor from tenders Practical Activity Opening and initial evaluation of tenders | Theory-02 Hrs Practical-06 Hrs Total- 08 Hrs | Calculator Ruler Pencil | Class Room |
| - Award contract to successful bidder | Trainee must be able to: - Check the amounts of items of work. - Prepare comparative statement. - Reconciliation bank sureties, and data of appendices. Pay visit for confirmation of accuracy of bid appendices and forms. - Select the qualified bidder as per criteria defined by PEC. - Issue letter of acceptance, and sign agreement deeds. - Award the contract to the successful bidder. | - Explain steps and stages of bid evaluation. - Describe annexures for bid evaluation. - Define bid opening record and bid validity, scrutiny of tenders, comparative statement, and acceptance of tenders, award and commencement of work, possession of site. - Describe principles of bid evaluation. - Describe Preliminary examination of bid. - Describe detailed examination of bid. - Explain bid evaluation procedure. Practical Activity Award contract to successful bidder | Theory-02 Hrs Practical-06 Hrs Total- 08 Hrs | Calculator Ruler Pencil | Class Room |

### 0732B&CE-223. Perform Post-Award Legal/Contract Requirements and Finance.

Objective: This Module covers the skills and knowledge required to post award legal/Contract requirements and cash flow. Record of measurements and payment on MB of building work, Record of attendance roll, material consumed, acquaintance roll on muster roll, Daily labour report and casual labour report

Duration: 10 Hours								Theory: 05 Hours				Practice: 05 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Performance bond, Insurance requirements and Program | Trainee will be able to: - Submit Performance bond prior to possession of Site. - Submit the insurance requirements. - Prepare and Submit the program | - Define the duration required to submit the performance bond and procedure. - Enlist the financial institution for the issuance of the performance bond. - Define insurance and types of insurances required for Construction contracts. - Define the Program. Practical Activity Prepare the activity plan and Schedule of activities. Prepare Gantt chart. | Theory-01 Hrs Practical-01 Hrs Total- 02 Hrs |  |  |
| - Prepare record of measurements and payments for execution on contract basis of a building | Trainee will be able to: - Get issued measurement book (MB). - Record project detailed information in MB. - Record bill number in MB. - Record measurements for items of work in the MB. - Record costing of items of work as per agreement in MB. - Make deductions as per agreement. - Incorporate the costing results in bill form. - Submit for auditing passing, and payment. | - Define & describe measurement book (MB), SMB, CMB, muster roll, bill, acquaintance roll. - State the importance of measurement book - List the rules to be followed in recording measurements in MB. - Record measurements in M.B and prepare abstract of payment in M.B - Explain the mode of payment to contractors Practical Activity Prepare record of measurements and payments for execution on contract basis of a building | Theory-01 Hrs Practical-01 Hrs Total- 02 Hrs | Calculator Ruler Pencil | Class Room |
| - Prepare record of measurements and payments for execution on daily labor basis for repair works | Trainee will be able to: - Get issued muster roll (MR). - Record work detailed information in muster roll. - Record category wise name of labors employed. - Record measurements of work performed by labor in the MR. - Record quantity of materials issued & consumed. - Record actual wages of labor fortnightly in MR. - Add arrears if applicable in current acquaintance roll. - Submit for auditing passing, and payment. | - State the types of bills to be used. - Describe & prepare of bills, running bills, final bills, first & final bill, deductions to be made from bills checking of bills, value engineering, cost accounting (interim payment certificate) - Prepare muster roll. daily labor report etc - Define daily labor report, casual labor report, Practical Activity Prepare record of measurements and payments for execution on daily labor basis for repair works | Theory-01 Hrs Practical-01 Hrs Total- 02 Hrs | Calculator Ruler Pencil | Class Room |
| - Prepare record of permanent advances for works | Trainee must be able to: - Submit requisition for impress/ permanent advance. - Record entries on Impress cash account. - Submit the bills/ vouchers of expenditures. - Get cleared impress amount. | - Explain terms, Hand receipt, impress, recoverable payment, competent authority, controlling officer, Disbursing officer, Divisional officer, cogence of work, deposit work, supervision charges, suspense account, market rates, storage rate and charges Practical Activity Prepare record of permanent advances for works | Theory-01 Hrs Practical-1 Hrs Total- 2 Hrs | Calculator Ruler Pencil | Class Room |
| - Prepare record of temporary advances for works. | Trainee must be able to: - Receive the cash on receipt-STR-3A. - Enter on cash book. - Adjust in cash book on disbursement. - Attach the voucher/ acquaintance role. | - Describe Mode of payment-bills, vouchers, first and final bill, interim payment, final payment, advance payment, secured advance payment, bill forms, imprest cash account, - Major expenditure heads-major head, minor head, sub head and detailed head. - Practical Activity - Prepare record of temporary advances for works. | Theory-01 Hrs Practical-1 Hrs Total- 2 Hrs | Calculator Ruler Pencil | Class Room |

### 0732B&CE-224. Maintain record of Stores.

Objective: This module covers the knowledge and  skills required to prepare record of store (stock) debited to suspense account, prepare record of store directly charged to work, prepare record for transfer of store & prepare receipt record of tools & plants- supplies.

Duration: 07 Hours								Theory: 03 Hours				Practice: 04 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare record of store (stock) debited to suspense account | Trainee will be able to: - Identify stores debited to suspense account-stock. - Record stock account in stock register of stock-Small Stores, building Materials, timber, metal, fuel, paint stores, and house fittings. - Record stock account in stock register of stock- miscellaneous, land and kiln, manufacture, and storage. - Enter receiving of stock on prescribed format- Form PWA-4. - Record entries on cash book of suspense account. | - Explain need for store in a project - State the classification of stores- stock, tools and plants, Road metal and materials charged direct to the work. - State the classification of the items held in general stock- Sub-Heads: - (i) Small Stores; (ii) Building Materials; (iii) timber (iv) Metal (v) Fuel (vi) Paint Stores (vii) House Fittings (viii) Miscellaneous. (ix) Land and kiln; (x) Manufacture; and (xi) Storage. Practical Activity Prepare record of store (stock) debited to suspense account | Theory-01 Hrs Practical-01 Hrs Total- 02 Hrs | Calculator Ruler Pencil | Class Room |
| - Prepare record of store directly charged to work. | Trainee will be able to: - Identify stores debited to debit to final head of account-Tools & plants, road metals, materials charged to work. - Identify stock articles requiring no prior sanction- materials charged to work. - Identify stock articles requiring prior sanction- tools & plants. - Record sales Account on Form DFR DW-10 | - Explain the principles of storing materials and T&P in store - Prepare the register of store issue and receipt - State the need for materials at site account & Road metal account. Practical Activity Prepare record of store directly charged to work | Theory-01 Hrs Practical-01 Hrs Total- 02 Hrs | Calculator Ruler Pencil | Class Room |
| - Prepare record for transfer of store. | Trainee must be able to: - Get issued indent book (Form PFR-26). - Record items required for consumption on indent book. - Get approval of authority. - Receive store and record on consumable Stock registers. - Receive tools & plants and record on durable goods Stock register. | - Describe Stock-sub-heads of stock receipts and issue of stock, stock account, Register of stock receipts and issues, shortages and surpluses of stock, monthly stock account. - Explain the verification procedures of stores - Explain the procedure of taking delivery for stores Practical Activity Prepare record for transfer of store. | Theory-0.5 Hrs Practical-01 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |
| - Prepare receipt record of tools & plants- supplies | Trainee must be able to: - Record delivery of items-Inward gate pass, Goods Delivery challan - Get inspected store items-Technical Evaluation committee, Goods Inspection Report - Record accepted store items in register-Goods receiving Note, Stock Register. - Get prepared Stock Entry Certificate for store items | - Explain the principles of storing materials, Location of T & P protection of stores, store room record, bin card, ordering procedure of store. - Explain procedure for Indenting of materials-instruction for preparation of indents, specifications, and supply procedures in works departments. Practical Activity Prepare receipt record of tools & plants- supplies | Theory-01 Hrs Practical-0.5 Hrs Total- 1.5 Hrs | Calculator Ruler Pencil | Class Room |

### 0732B&CE-225. Perform Variation Orders, Claims and Dispute Adjudication Board

Objective: This module covers the knowledge and  skills required to prepare record of store (stock) debited to suspense account, prepare record of store directly charged to work, prepare record for transfer of store & prepare receipt record of tools & plants- supplies.

Duration: 13 Hours								Theory: 04 Hours				Practice: 09 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Preparation of Variation order | Trainee must be able to: - Identify the Need of Change in Scope of work - Notify in time to Contractor about the change and extent. - Maintain the record and approval of Change order. | - Define the Scope of work, variation, change order, State the need of change order. - State the process of Change order as per PEC/PPRA preparation and approval. Practical Activity Prepare process flow chart of variation order. | Theory-01 Hrs Practical-02 Hrs Total- 03 Hrs | Calculator Ruler Pencil | Class Room |
| - Preparation of Claims | Trainee must be able to: - Identify the entitlement of Claims. - Notify for Claim within approved time. - Submit the claim with supporting | - Define the Claim. - State the process of Claim preparation as per PEC/PPRA - Enlist the support document of Claim Practical Activity Prepare process flow chart of Claim preparation. | Theory-01 Hrs Practical-02 Hrs Total- 03 Hrs | Calculator Ruler Pencil | Class Room |
| - Payment of Claims. | Trainee must be able to: - Validate the claim within specified time. - Assessment for the prolongation of the time - Assessment for Payment. | - Define the Prolongation of time - Define the prolongation of cost - State the assessment procedure of claim as per PEC/PPRA rules. - State Cost weightage of laboure, equipment and Material - State the Price adjustment formula to validate the variation in prices as per PEC/PPRA rules. Practical Activity Prepare process flow chart of Claim Substantiation. | Theory-01 Hrs Practical-02 Hrs Total- 03 Hrs | Calculator Ruler Pencil | Class Room |
| - Dispute Adjudication board | Trainee must be able to: - Identify the need of Dispute Adjudication board - Prepare the hiring Procedure of DAB as the PEC/PPRA Rules. - Prepare the Draft of Dispute adjudication agreement | - Define the Dispute. - State the dispute avoidance techniques. - Define the Adjudication board - Define amicable settlements and arbitration. - State the process to hire the DAB as per PEC/PPRA rules. - State the Dispute adjudication board agreement, term and Conditions. - State the procedure of dispute resolution by the DAB. - State the expiry of DAB. Practical Activity Prepare flow diagram of Dispute adjudication board process techniques as per PEC/PPRA rules. | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs |  |  |

## 9.20 Sanitary Engineering

### 0732B&CE-226. Design sanitary sewers

Objective: This module covers the knowledge and  skills required to interpret separate sanitary sewer systems are designed to transport sewage alone. Sanitary sewers are distinguished from combined sewers, which combine sewage with storm water runoff in one pipe. Sanitary sewer systems are beneficial because they avoid combined sewer overflows.

Duration: 11 Hours									Theory: 02 Hours				Practice: 09 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Evaluate sanitary sewer | - Trainee will be able to: - Identify sanitary sewer - Calculate quantity of sewage - Identify population - Identify rate of water supply - Check temperature. - Apply and compare by different formulas - Decide pumping station (If required) - Check results | - Different types of sewers - Formulas to calculate flow of sewage - Capacity of pumping stations - Graphical methods to solve hydrological problems to design for sewer. - Essential features for sewerage system. - Essential features of installations for the sanitary sewers. - Practical Activity - Evaluate sanitary sewer | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Eraser Pencil Sharpener Scale Notepad Charts Calculator Computer Pressure testing kits Pressure | Class Room and Environmental lab |
| - Perform Preliminary Investigations to design sanitary sewer | - Trainee will be able to: - Identify Area - Obtain pertinent maps - Identify structures and utilities - Determine groundwater conditions - Show Gradient for sewer - Determine characteristics/ subsurface of soil in which sewers are to be constructed | - Information of laying of sewers - Self-Cleaning Velocity for sewage - Network for sewers - Safety precautions for laying sewers in plain & hilly area - Practical Activity - Perform Preliminary Investigations to design sanitary sewer | Theory-0.5 Hrs Practical-03 Hrs Total- 03.5 Hrs | Eraser Pencil Sharpener Scale Calculator Notepad Spirit level Personal Protective equipment | Class Room and Environmental lab |
| - Design Hydraulic Equation for sewer | - Trainee must be able to: - Identify Manning equation - Identify Manning “n” value (not less than 0.013) - Suggest type of construction - Suggest length of sewer pipe - Suggest Gradient for sewer - Identify Manholes distances or connections from buildings | - Calculation of velocity in sewers - Demand of water per capita rate and calculate quantity of sewage - Variation in sewage flow - Optimizing quality of sewage - Man holes c/c distance for different sewers. - Practical Activity - Design Hydraulic Equation for sewer | Theory-0.5 Hrs Practical-03Hr Total- 3.5 Hrs | Eraser Pencil Sharpener Scale Notepad Charts Calculator Computer Spirit level Personal Protective equipment | Class Room and Environmental lab |

### 0732B&CE-227. Design storm water sewers

Objective: This module covers the knowledge and  skills required to storm sewer system and its design to carry rainfall runoff and other drainage. It is not designed to carry sewage or accept hazardous wastes. The runoff is carried in underground pipes or open ditches and discharges untreated into local streams, rivers and other surface water bodies.

Duration: 8.5 Hours									Theory: 1.5 Hours				Practice: 07 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Basic Design Considerations for Storm sewer | Trainee will be able to: - Identify run off / quantity of flow - Check catchment Area with characteristics - Suggest Sewer pipe materials - Find out Minimum pipe sizes - Apply Minimum and maximum velocities for sewage - Identify gradient for sewer - Evaluate of alternative alignments or designs - Select appropriate sewer appurtenances | - Comprehend the purpose and application of storm sewer - Knowledge of catchment area with its characteristics - Joins, Pipes and its types. - Draw sketch of different pipe joints. - Design a sewers scheme - Calculate Run off - Plan safety procedure during construction of sewers Practical Activity - Perform Basic Design Considerations for Storm sewer | Theory-01 Hr Practical-04 Hrs Total- 05 Hr | Eraser Pencil Sharpener Scale Notepad Charts Calculator Computer Spirit level Personal Protective equipment Joints | Class Room and Environmental Lab |
| - Interpret Sewer Construction pollution | Trainee will be able to: - Identify Sewers Material (Rigid or Flexible) - Check soil condition - Check load for sewer - Perform alignment - Carry out Joints of sewers - Perform Back filling | - Describe working of storm sewers and manhole. - Explain different type of pipes used as sewers - Describe different pipe jointing methods. - Describe safety procedure for joining pipes - Explain concrete & Cast-iron difference - Plan the steps to joining of sewers for different materials - Adopt safety precautions while construction of sewers. - Apply formulas to design of sewers Practical Activity - Interpret Sewer Construction pollution | Theory-0.5 Hrs Practical-03 Hrs Total- 3.5 Hrs | Eraser Pencil Sharpener Scale Notepad Charts Calculator Computer Spirit level Personal Protective equipment Joints | Class Room and Environmental lab |

### 0732B&CE-228. Layout of sewers

Objective: This module covers the knowledge and  skills required to design the layout for sewers and open drains. Surface drainage involves the removal of excess water from the surface of the soil. This is done by removing low spots where water accumulates by land forming. Sewers layout is to be done by excavating ditches, laying and joining of pipes on an entire designed area.

Duration:  08 Hours									Theory: 02 Hours				Practice: 06 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret Layout of Sewers | Trainee will be able to: Identify Sewerage scheme Spread & fix sheet Apply scale Draw sewer scheme showing components Suggest gradient Suggest specifications for sewers | Layout plans Marking out of sewers. Procedure to draw layout plans. Practical Activity Interpret Layout of Sewers | Theory-01 Hr Practical-03 Hrs Total- 04 Hr | Spirit level Personal Protective Equipment Drawing sheet Drawing instruments Drawing Boars Compass Measuring Tape Pegs | Class Room and Environmental lab |
| - Perform Layout for storm water sewers | Trainee will be able to: Collect the standards of developed countries Collect standards of Pakistan Compare the sound level values for different zones | Design procedure for sewerage system Safety precaution for task Fixing of pump during installation of sewers Practical Activity Perform Layout for storm water sewers | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Spirit level Personal Protective Equipment Drawing sheet Drawing instruments Drawing Boars Compass Measuring Tape Pegs Arrows | Class Room and Environmental lab |

### 0732B&CE-229. Prepare sketches of sewer appurtenance

Objective: This module covers the knowledge and  skills required for basics of water Clarifiers and settling tanks built with mechanical means for continuous removal of solids being deposited by sedimentation. A clarifier is generally used to remove solid particulates or suspended solids from liquid.

Duration:  08	Hours									Theory: 02 Hours				Practice: 06 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Develop sketches for sewer appurtenances | Trainee will be able to: Identify sewer appurtenances Fix Drawing sheet on board Select scale Use safety precautions for drawing Draw sewer appurtenances Identify Specifications for sewer appurtenances Recognize material used in construction | Definition of sewer appurtenances and its process Working of different sewer appurtenances Practical Activity Develop sketches for sewer appurtenances | Theory-0..2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Eraser Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental Lab |
| - Develop sketch for Man Hole | Trainee will be able to: Identify man hole Fix Drawing sheet & select scale Select material, size & shape for manhole Locate position & c/c distance for manhole Suggest specification for Manhole | Working of lamp holes Working of drop man holes. Difference between manhole & drop manholes Practical Activity Develop sketch for Man Hole | Theory-0..2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Eraser Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental Lab |
| - Plan sketch for clean out | Trainee must be able to: Identify clean out Fix Drawing sheet & select scale Select material, size & shape for clean out Locate position for clean out Suggest specification | Information of material and position of clean outs Practical Activity Plan sketch for clean out | Theory-0..2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Eraser Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental Lab |
| - Plan sketch for inlet | Trainee must be able to Identify inlet Fix Drawing sheet & select scale Select material, size & shape for inlet Locate position for inlet Suggest specification | Information of material and position of inlet Practical Activity Plan sketch for inlet | Theory-0..2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Eraser Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental lab |
| - Plan sketch for catch basin | Trainee must be able to Identify catch basin Fix Drawing sheet & select scale Select material, size & shape for catch basin Locate position for catch basin Suggest specification | Information of material and position of catch basin Practical Activity Plan sketch for catch basin | Theory-0..2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Eraser Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room Environmental lab |
| - Plan sketch for Flushing Tanks | Trainee must be able to Identify flushing tank Fix Drawing sheet & select scale Select material, size & shape for flushing tank Locate position for flushing tank Suggest specification | Information of material and position of Flushing Tanks Practical Activity Plan sketch for Flushing Tanks | Theory-0..2 Hrs Practical-0.6 Hrs Total- 0.8 Hrs | Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental lab |
| - Plan sketch for Grease & oil Traps | Trainee must be able to Identify Grease & Oil Traps Fix Drawing sheet & select scale Select material, size & shape for traps Locate position for traps Suggest specification | Information of material and position of Grease & oil Traps Practical Activity Plan sketch for Grease & oil Traps | Theory-0..3 Hrs Practical-0.8 Hrs Total- 1.1 Hrs | Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental lab |
| - Plan sketch for storm regulator | Trainee must be able to Identify storm regulator Fix Drawing sheet & select scale Select material, size & shape for storm regulator Locate position for storm water regulator Suggest specification | Information of material and position of storm regulator Practical Activity Plan sketch for storm regulator | Theory-0..3 Hrs Practical-0.8 Hrs Total- 1.1 Hrs | Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental lab |
| - Plan sketch for Inverted syphon | Trainee must be able to Identify Inverted syphon Fix Drawing sheet & select scale Select material, size & shape for inverted syphon Locate position for traps Suggest specification | Information of material and position of storm regulator Practical Activity Plan sketch for Inverted syphon | Theory-0..3 Hrs Practical-0.7 Hrs Total- 1.0 Hrs | Pencil Sharpener Scale Notepad Drawing sheet Drawing Board Calculator Drawing instruments | Class Room and Environmental lab |

### 0732B&CE-230. Construct Sewers

Objective: This module covers the knowledge and  skills required to prepare and developed sewers pipes from buildings to one or more levels of larger underground trunk mains, which transport the sewage to sewage treatment Plant. Vertical pipes, usually made of precast concrete and cast iron called soil stack / vent pipes which are connect the mains to the sewers system.

Duration: 10.5 Hours									Theory: 1.5 Hours				Practice: 09 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and prepare for work | Trainee will be able to: - Identify work place - Measure safety and other regulatory requirements - Interpret and confirm layout plan - Mark out excavation - Select tools and equipment - Use PPEs - Perform final quality inspection | - Different stages for sewer construction Practical Activity - Plan and prepare for work | Theory-0.5 Hr Practical-03 Hrs Total- 3.5 Hr | Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |
| - Interpret Plan for sewer construction | - Trainee will be able to: - Check for Safety Hazards - Perform excavation - Install trench support - Select material for construction - Perform bedding - Lay pipes and joints - Check hydraulic load - Perform pipe test - Back filling and compaction | - Safety requirements for installation of sewers - Knowledge of sewer joints with manholes - Change of sewer line in case of breakage - Practical Activity - Interpret Plan for sewer construction | Theory-0.5 Hr Practical-03 Hrs Total- 3.5 Hr | Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |
| - Interpret Plan for soil stack pipe | - Trainee must be able to: - Check for Safety Hazards - Perform aligning and clamping - Select material - Perform joining and fixing - Check hydraulic load - Perform pipe test | - Information of the soil stack pipes with its working - Safety measures to lay sewer pipes - Practical Activity - Interpret Plan for soil stack pipe | Theory-0.5 Hr Practical-03 Hrs Total- 3.5 Hr | Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |

### 0732B&CE-231. Maintain Sewers

Objective: This module covers the knowledge and  skills required to prepare prepare for maintenance of sewers and manholes for long running its working.

Duration: 7.5 Hours									Theory: 1.5 Hours				Practice: 06 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret plan to maintain sewer | - Trainee will be able to: - Identify sewer to maintain - Investigate problem - Clean out clogged drain - Perform remedy - Perform water pressure | - Knowledge of maintenance of sewers or soil stack pipes - Explain Uses of tools and equipment to clean and repair sewer pipes - Explain different system for cleaning of sewers - Explain drain opener using procedure - Practical Activity - Interpret plan for maintain sewer | Theory-0.75 Hr Practical-03 Hrs Total- 3.75 Hr | Layout of sewers Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |
| - Interpret plan to maintain man hole | - Trainee will be able to: - Identify man hole to maintain - Investigate problem - Clean out clogged or suction sewage - Perform flushing - Perform test to working performance | - Knowledge of joining techniques the pipe to manholes - Knowledge of leveling and leakage repairing of sewers in system - Type of drain openers and their precautions while using - Hydraulic pressure and self-cleaning velocity - Practical Activity - Interpret plan to maintain man hole | Theory-0.75 Hr Practical-03 Hrs Total- 3.75 Hr | Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |

### 0732B&CE-232. Install Sewage Pumps

Objective: This module covers the knowledge and  skills prepare for Installation of sewage / Sump pumps. They are automatic pumps designed basically to clean water. They are used for sump basin drainage or in emergency situations. The most common application is for basement drainage to prevent residential flooding. Sewage pumps are used when the water being pumped may contain solids up to 2” in diameter.

Duration: 08 Hours									Theory: 02 Hours				Practice: 06 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret plan sewage pump (Existing scheme) | - Trainee will be able to: - Identify sewage to pumping - Investigate problem - Install pump (Fixed or Mobile) - Switch on with power - Perform pumping | - Knowledge of maintenance of sewage pumping - Uses of tools and equipment to pumping the sewage - Different type of pumps uses for sewage pumping - Working of centrifugal pump for sewage pumping - Practical Activity - Interpret plan sewage pump (Existing scheme) | Theory-1 Hr Practical-03 Hrs Total- 4 Hr | Layout plan for pumps Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |
| - Interpret plan sewage pump (New scheme) | - Trainee will be able to: - Identify pump - Prepare Drawing with dimension - Construct dry & wet well - Install pump - Switched with power - Perform test for lines - Perform pumping | - Knowledge of joining techniques the pipe to pump - Wet well and dry well - Construction procedure for dry well and wet well - Practical Activity - Interpret plan sewage pump (New scheme) | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Layout plan for pumps Compass Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad Calculator | Class Room and Environmental Lab |

### 0732B&CE-233. Produce sketches of sewage treatment plant

Objective: This module covers the knowledge and  skills prepare for Sewage treatment process of removing contaminants from municipal wastewater, containing mainly household sewage and industrial wastewater. Physical, chemical, and biological processes are used to remove contaminants and produce treated wastewater (or treated effluent) that is safe enough for release into the environment. A by-product of sewage treatment is a semi-solid waste or slurry, called sewage sludge. The sludge has to undergo further treatment before being suitable for disposal or application to land.

Duration: 10.5 Hours									Theory: 1.5 Hours				Practice: 09 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret plan sewage treatment plan | - Trainee will be able to: - Identify sewage treatment plant - Draw parts for treatment plant - Identify Screens - Identify grit chamber - Identify settling tank - Identify sludge digestion tank - Identify trickling filters - Identify sludge drying beds - Apply chlorination | - Knowledge of different parts of treatment plant - Working of treatment plant - Practical Activity - Interpret plan sewage pump (Existing scheme) | Theory-0.5 Hr Practical-03 Hrs Total- 3.5 Hr | Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad | Class Room and Environmental Lab |
| - Interpret plan sewage treatment procedure | - Trainee will be able to: - Identify treatment plant - Prepare Drawing with dimension - Draw parts of treatment plant - Identify Influent passage - Identify primary treatment - Identify secondary treatment - Identify tertiary treatment - Check effluent | - Drawing of parts of treatment plant - Working of treatment procedures - Practical Activity - Interpret plan sewage treatment procedure | Theory-0.5 Hr Practical-03 Hrs Total- 3.5 Hr | Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad | Class Room and Environmental Lab |
| - Interpret plan sewage treatment process | - Trainee will be able to: - Identify treatment plant - Indicate Biological treatment - Identify Chemical treatment - Indicate Physical treatment - Check effluent | - Knowledge and working of treatment plant processes - Practical Activity - Interpret plan sewage treatment process | Theory-0.5 Hr Practical-03 Hrs Total- 3.5 Hr | Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad | Class Room and Environmental Lab |

### 0732B&CE-234. Dispose sewage

Objective: This module covers the knowledge and  skills prepare for Sewage disposal system in which sewage is transported through cities and inhabited areas to sewage treatment plants, where it is then treated to remove contaminants to produce environmentally-safe and waste disposed into river or used for agriculture purposes

Duration: 08 Hours									Theory: 02 Hours				Practice: 06 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret plan for sewage disposal into river | - Trainee will be able to: - Identify sewage for disposal - Investigate quantity of sewage - Identify influent - Identify effluent - Perform pumping into drains - Dispose into river | - Knowledge of dispose of sewage into river, canals - Knowledge for influent and effluent - Knowledge of leveling the effluent in accordance physically fit to remove of sewage - Type of drains constructed for effluent - Practical Activity - Interpret plan for sewage disposal into river | Theory-1 Hr Practical-03 Hrs Total- 4 Hr | Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad | Class Room and Environmental Lab |
| - Interpret plan for sewage disposal into ground | - Trainee will be able to: - Identify sewage for disposal - Investigate quantity of sewage - Identify influent - Calculate quantity of effluent - Perform pumping into drains or conduits - Excavate well - Dispose of sewage into ground | - Knowledge of dispose of sewage into ground - Knowledge of dispose of sewage into river, canals and dump into ground - Uses of tools and equipment to dispose of sewage at plant - Different system for dispose of sewage - Reason to disposal of sewage - Practical Activity - Interpret plan for sewage disposal into ground | Theory-01 Hrs Practical-03 Hrs Total- 04 Hrs | Drawing sheet Drawing instruments Drawing Boards Compass Eraser Pencil Sharpener Ruler Notepad | Class Room and Environmental Lab |

## 9.21. Engineering Mechanics

### 0732B&CE-235. Design Homogeneous Beams

Objective: This module covers the knowledge and  skills required to design the homogeneous beam by simple bending equation and drawing the bending and shear stress distribution for symmetrical sections of beams.

Duration: 15 Hours									Theory: 03 Hours				Practice: 12 Hours

| - Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Design the homogeneous beam by simple bending equation | Trainee will be able to: - Extract the given data - Evaluate maximum bending moment - Compute moment of inertia about N.A - Compute distance of extreme fiber from N.A - Apply bending equation - Evaluate cross section of beam | - Explain the types of stresses in beams (Bending & Shear stresses). - State the assumptions made in theory of simple bending. - State and explain bending equation. Practice: - A rectangular beam 60 mm wide and 150 mm deep is simply supported over a span of 6 m. If the beam is subjected to central point load of 12 KN, find the maximum bending stress induced in the beam section. - A rectangular beam 300 mm deep is simply supported over a span of 4 meters. What uniformly distributed load the beam may carry, if the bending stress is not to exceed 120 MPa. Take I = 225 × 106 mm4. - A beam 3 m long has rectangular section of 80 mm width and 120 mm depth. If the beam is carrying a uniformly distributed load of 10 KN/m, find the maximum bending stress developed in the beam. - A rectangular beam 200 mm deep is simply supported over a beam of span 2 m. Find the uniformly distributed load, the beam can carry if the bending stress is not to exceed 30 MPa. Take I for the beam as 8 × 106 mm4. - A rectangular beam, simply supported over a span of 4 m, is carrying a uniformly distributed load of 50 KN/m. Find the dimensions of the beam, if depth of the beam section is 2.5 times its width. Take maximum bending stress in the beam section as 60 MPa. | Theory-1 Hrs Practical-4 Hrs Total- 5 Hrs | Calculator Paper Pencil Eraser | Class Room |
| - Draw the bending and shear stress distribution for symmetrical sections of beams | - Trainee will be able to: - Extract the given data - Evaluate maximum bending moment - Compute moment of inertia about N.A - Compute distance of extreme fiber from N.A - Evaluate bending stresses by bending equation | - Explain Bending stress distribution across rectangular section. - State formula for shear stress and shear stress distribution across rectangular, circular & I-sections of beam. - Practice: - An I-section beam 350 mm × 200 mm has a web thickness of 12.5 mm and a flange thickness of 25 mm. It carries a shearing force of 200 KN at a section. Sketch the shear stress distribution across the section. - A T-shaped cross-section of a beam shown in figure below is subjected to a vertical shear force of 100 KN. Calculate the shear stress at important points and draw shear stress distribution diagram. Moment of inertia about the horizontal neutral axis is mm4. - An I-section beam consists of two flanges 150 mm × 20 mm and a web of 310 mm × 10 mm. Find the magnitude of maximum shear stress when it is subjected to a shear force of 40 kN and draw the shear stress distribution diagram over the depth of the section. - A T-section beam with 100 mm × 15 mm flange and 150 × 15 mm web is subjected to a shear force of 10 kN at a section. Draw the variation of shear stress across the depth of the beam and obtain the value of maximum shear stress at the section. | Theory-1 Hrs Practical-4 Hrs Total- 5 Hrs | Calculator Paper Pencil Eraser | Class Room |
| - Draw Mohr’s circle and find principal stresses | - Trainee will be able to: - Draw major and minor principal stresses find mid-point - From mid-point draw Mohr’s circle | - Define Bi-axial stresses - Define principal stresses - Equation of normal and tangential stresses - Preparation of Mohr’s circle graphically - Practice: - A point in a strained material is subjected to two mutually perpendicular tensile stresses of 200 MPa and 100 MPa. Determine the intensities of normal, shear and resultant stresses on a plane inclined at 30° with the axis of minor tensile stress. - The stresses at point of a machine component are 150 MPa and 50 MPa both tensile. Find the intensities of normal, shear and resultant stresses on a plane inclined at an angle of 55° with the axis of major tensile stress. Also find the magnitude of the maximum shear stress in the component. - The stresses at a point in a component are 100 MPa (tensile) and 50 MPa (compressive). Determine the magnitude of the normal and shear stresses on a plane inclined at an angle of 25° with tensile stress. Also determine the direction of the resultant stress and the magnitude of the maximum intensity of shear stress. - The stresses at a point of a machine component are 150 MPa and 50 MPa both tensile. Find the intensities of normal, shear and resultant stresses on a plane inclined at an angle of 55° with the axis of major tensile stress with the help of Mohr’s circle. Also find the magnitude of the maximum shear stresses in the component. - The stresses at a point in a component are 100 MPa (tensile) and 50 MPa (compressive). Determine the magnitude of the normal and shear stresses on a plane inclined at an angle of 25° with tensile stress by drawing Mohr’s circle. Also determine the direction of the resultant stress and the magnitude of the maximum intensity of shear stress. | Theory-1 Hrs Practical-4 Hrs Total- 5 Hrs | Calculator Paper pencil | Class Room |

### 0732B&CE-236. Determine deflection of beams

Objective: This module covers the knowledge and  skills required to solve the problem of deflection of beams and to verify that the deflection is proportional to the cube of span and verify that the deflection is proportional to the load by drawing a graph and solve problems on deflection of beams.

Duration: 11 Hours									Theory: 2 Hours				Practice: 9 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Verify that deflection is proportional to the cube of span | Trainee will be able to: Identify equipment Set apparatus Apply load on the midpoint of beam Record initial reading of Vernier scale Increase load Record reading of Vernier scale Repeat the procedure for 6 readings Compute deflection and verify that the deflection is proportional to the cube of span | Define deflection of beam and state its significance. Name various methods of deflection calculation i.e. moment area method, double integration method, Macaulay’s method and unit load method, etc. State maximum deflection in different types of beams. State formulae for calculation of maximum deflection in cantilever & simply supported beam for following loading conditions. a. For cantilever beam. Point load at free and. U.D.L on full span. U.D.L covering a part of span from fixed end combination of above loads b. For simply supported beam. Point load at mid span. U.D.L on whole span. Combination of above loads. Practice: A simply supported beam of span 3 m is subjected to a central load of 10 kN. Find the maximum slope and deflection of the beam. Take I = 12 × 106 mm4 and E = 200 GPa. A wooden beam 140 mm wide and 240 mm deep has a span of 4 m. Determine the load that can be placed at its centre to cause the beam a deflection of 10 mm. Take E as 6 GPa. A cantilever beam 120 mm wide and 150 mm deep carries a uniformly distributed load of 10 kN/m over its entire length of 2.4 meters. Find the slope and deflection of the beam at its free end. Take E = 180 GPa. A cantilever beam 1.8 m long is subjected to a uniformly distributed load of 5 kN/m over its whole span. Find the slope and deflection of the beam at its free end, if its flexural rigidity is 6.4 × 1012 N-mm2. A cantilever 2.4 m long carries a point load of 37.5 kN at its free end. Find the slope and deflection under the load. Take flexural rigidity for the beam section as 20 × 1012 N-mm2. A cantilever beam 100 mm wide and 180 mm deep is projecting 2 m from a wall. Calculate the uniformly distributed load, which the beam should carry, if the deflection of the free end should not exceed 3.5 mm. Take E as 200 GPa. A cantilever 2.5 m long is loaded with a uniformly distributed load of 10 kN/m over a length of 1.5 m from the fixed end. Determine the slope and deflection at the free end of the cantilever. Take flexural rigidity of the beam as 1.9 × 1012 N-mm2. | Theory-1 Hrs Practical-4.5 Hrs Total- 5.5 Hrs | Deflection of beam apparatus Pan Weights Beams of different cross sections and materials (Wooden and steel) | Class Room and workshop |
| Verify that the deflection is proportional to the load by drawing a graph | Trainee will be able to: Plot a graph between load and deflection Verify that the deflection is proportional to the load by drawing a graph | Practice: Show by means of deflection of beam apparatus that the deflection is proportional to the cube of span Draw a graph and also show that the deflection is proportional to the load. | Theory-1 Hrs Practical-4.5 Hrs Total- 5.5 Hrs | Calculator Paper pencil | Class Room and workshop |

### 0732B&CE-237. Determine Load Carrying Capacity of Columns

Objective: This module covers the knowledge and  skills required to evaluate buckling load for column by Euler's formula and evaluate buckling load for column by Rankin’s formula.

Duration: 15 Hours									Theory: 3 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Evaluate buckling load for column by Euler's formula | Trainee will be able to: Identify the end conditions Compute moment of inertia Compute effective length Evaluate critical load Evaluate safe load | Define the terms: column, strut, long column, short column, axial and eccentric loading State failure patterns of short and long columns. Define the terms: buckling load, crushing load, safe load, F.O.S, slenderness ratio, radius of gyration, fatigue, effective length, etc. State four end conditions for the calculation of affective length of column. State and explain Euler’s formula for calculating ultimate load. Practice: A steel rod 5 m long and of 40 mm diameter is used as a column, with on end fixed and the other free. Determine the crippling load by Euler’s formula. Take E as 200 GPa. A hollow alloy tube 4 m long with external and internal diameters of 40 mm and 25 mm respectively was found to extend 4.8 mm under a tensile load of 60 kN. Find the buckling load for the tube with both ends pinned. Also find the safe load on the tube, taking a factor of safety as 5. An I section joist 400 mm × 200 mm × 20 mm and 6 m long is used as a strut with both ends fixed. What is Euler’s crippling load for the column? Take Young’s modulus for the joist as 200 GPa. A T-section 150 mm × 120 mm × 20 mm is used as a strut of 4 m long with hinged at its both ends. Calculate the crippling load, if Young’s modulus for the material be 200 GPa. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Calculator Paper Pencil Eraser | Class Room |
| Evaluate buckling load for column by Rankin’s formula | Trainee will be able to: Identify the end conditions Compute moment of inertia Compute cross sectional area Evaluate critical load Evaluate safe load | State and explain Rankin’s formula for calculating ultimate load. Practice: Find euler’s crippling load for a hollow cylindrical steel column of 38 mm external diameter and 2.5 mm thick. Take length of the column as 2.3 m and hinged at its both ends. Take E = 205 GPa. Also determine crippling load by Rankine’s formula using constants as 335 MPa and 1/7500 A hollow column of 200 mm external diameter and 160 mm internal diameter is used as a column of 4.5m length. Calculate the Rankine’s crippling load when the column is fixed at both ends. Take allowable stress as 350 MPa and Rankine’s constant as 1/1600. A hollow cast iron 5 m long column with both ends fixed is required for support a load of 1000 KN. If the external diameter of the column is 250 mm, find its thickness. Take working stress as 80 MPa and Rankine’s constant as 1/1600. Find the ratio of crippling loads by Euler’s and Rankine’s formulae for a hollow strut of 40 mm external diameter and 30 mm internal diameter pinned at both ends. Take yield stress as 300 MPa, modulus of elasticity as 200 GPa and Rankine’s constant as 1/7500. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Calculator Paper Pencil Eraser | Class Room |

### 0732B&CE-238. Evaluate Efficiency of Riveted and Welded Joints

Objective: This module covers the knowledge and  skills required to explain different types of riveted joint, failure methods, strength and efficiency of riveted lap and butt joints, welded joints and its types, calculate strength and dimensions of fillet welds, compression of riveted and welded joints.

Duration: 11 Hours									Theory:  2 Hours				Practice: 9 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Analyze and sketch single riveted lap joint | Trainee will be able to: Calculate shearing strength of rivet Calculate bearing strength of rivet. Calculate tearing strength of plate. Determine the strength of plate. Calculate efficiency. Draw the sketch and label it. | Define terms: Pitch, lap, back pitch, margin, edge distance, gauge distance, nominal diameter of rivets, and gross diameter of rivets. Explain the different types of riveted joints. Failure of riveted joints Efficiency of riveted joints Design of riveted joints Practice: A single riveted lap joint is made in 12 mm thick plates with 22 mm diameter rivets. Determine the strength of the rivet, if the pitch of the rivets is 60 mm. Take allowable stresses in shearing as 60 MPa, in bearing as 150 MPa and in tearing as 80 MPa respectively. Find the suitable pitch for single riveted lap joints for plates 1 cm thick each, if safe working stress in tension in plates and crushing and shearing of the rivet materials are respectively 150 MN/m2, 212.5 MN/m2, and 94.5 MN/m2. A single riveted lap joint is made in 10 mm thick plates with 20 mm diameter rivets. Determine the strength and efficiency of the joint, if pitch of the rivets is 50 mm. Take Shearing stress = 60 MPa, Bearing Stress = 150 MPa and Tensile stress = 80 MPa. | Theory-0.25 Hrs Practical-2 Hrs Total- 2.25 Hrs | Calculator Paper Pencil Eraser | Class Room and workshop |
| Design double riveted double cover butt-joint | Trainee will be able to: Calculate pitch of rivets Calculate bearing strength of rivet. Determine the strength of plate. Calculate No of rivets required Draw the sketch and label it | Practice: A double riveted double cover butt joint is made in 20 mm thick plates with 25 mm diameter rivets and 100 mm pitch. The permissible stresses are; Shear stress = 80 MPa; Crushing stress = 160 MPa and Tensile stress= 100 MPa. Find the pull per pitch length of the joint and efficiency of the joint. A double riveted double cover butt joint is proved in 12 mm thick plates with 22 mm diameter rivets and 75 mm pitch. Find the strength and efficiency of the joint, if the given stresses are: Shearing stress = 60 MPa, Bearing Stress = 160 MPa and Tensile stress = 100 MPa. Design a double riveted double cover butt joint to connect two plates 15 mm thick with 23 mm diameter rivets. Take Shearing stress = 95 MPa, Bearing Stress = 120 MPa and Tensile stress = 190 MPa efficiency of the joint. | Theory-0.25 Hrs Practical-3 Hrs Total- 3.25 Hrs | Calculator Paper Pencil Eraser | Class Room and workshop |
| Analyze and sketch single riveted double cover butt-joint | Trainee must be able to Calculate the diameter of rivet Calculate pitch of rivet Calculate shearing strength of rivet. Calculate bearing strength of rivet. Calculate tearing strength of plate. Determine the strength of plate. Calculate efficiency. Draw the sketch and label it. | Practice: A single riveted double cover butt joint is to be provided in a structure for connecting two plates of 12 mm thickness. Design the joints and find its efficiency. Take permissible stresses in shearing as 75 MPa, in crushing as 175 MPa and in tearing as 100 MPa respectively. | Theory-0.5 Hrs Practical-1 Hrs Total- 1.5 Hrs | Calculator Paper Pencil Eraser | Class Room and workshop |
| Calculate the load carrying capacity of welded lap joint. | Trainee must be able to Check for the limitations on the weld geometry Design strength of the weld Calculate tension strength of the member | Define welded joint State different types of welded joints Compare riveted joints and welded joints Define the following technical terms: Legs of the weld, Size of the fillet weld, Throat thickness, Effective length of the weld, Side fillet weld, End fillet weld Calculate strength & dimensions of fillet welded joints Practice: A tie bar is welded to a plate as shown in figure below. Find the strength of the weld. Take size of the fillet as 6 mm and working stress of the fillet weld as 100 MPa. A tie bar is welded to a gusset plate by two side welds of 120 mm length and an end fillet weld of 100 mm length. Find the safe load, which the tie bar can carry, if size of the weld is 7 mm. Take working stress of the weld as 100 MPa. A welded lap joint is provided to connect two tie bars 150 mm × 10 mm as shown in figure. The working stress in the tie bar is 120 MPa. Investigate the design, if the size of the fillet is 12 mm. Take the working stress in the end fillet as 100 MPa and that in the diagonal fillet as 70 MPa. | Theory-0.5 Hrs Practical-1 Hrs Total-1.5 Hrs | Calculator Paper Pencil Eraser | Class Room and workshop |
| Design welded lap joint | Trainee must be able to Assume material properties Design the tension member Design the welded connection Layout of Connection | Practice: A tie bar (A) = 120 mm × 10 mm, welded to another tie bar (B) = 120 mm × 15 mm, is subjected to a load of 120 KN as shown in figure. Determine the sizes of the end fillets, such that the stresses in both the fillets are the same. Take allowable stresses in the weld as 100 MPa. A tie bar 100 mm × 10 mm thick, carrying a load of 144 KN weld is to be connected to another plate with 6 mm fillet weld on all the four sides as shown in figure. Find the necessary overlap of the joint, if allowable stresses in the end fillet and side fillet are 110 MPa and 80 MPa respectively. A tie bar 100 mm × 10 mm is connected to another by fillet welds as shown in figure. Find the size of the weld, if the permissible stress in the weld is 100 MPa. | Theory-0.5 Hrs Practical-2 Hrs Total- 2.5 Hrs | Calculator Paper Pencil Eraser | Class Room |

### 0732B&CE-239. Analyze Forces in Truss Members

Objective: This module covers the knowledge and  skills required to understand  theoretical fundamental concepts of Steel structures and calculate forces in members of statically determinate steel truss by method of joint and method of sections of different members of trusses.

Duration:  15	Hours									Theory: 3 Hours				Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Evaluate Forces in members of a given truss by method of joints | Trainee will be able to: Draw the diagram of truss. Calculate reactions. Consider the appropriate joint. Calculate forces of unknown members Tabulate result Draw force diagram. | State the types of steel structures Describe the merits of steel construction Describe the demerits of steel construction State the types of structural steels Describe and sketch the hot rolled structural shapes Describe and sketch the cold formed shapes Describe and sketch the built-up sections Define cladding Define truss, state types and parts of steel trusses. State and explain method of truss analysis i.e. method of joints. Determine forces in members of statically determinate truss by method of joints & method of sections. Practice: The truss ABC shown in figure has a span of 5 meters. It is carrying a load of 10 KN at its apex. Find the forces in the members AB, AC and BC. Figure below shows a framed structure of 5 m span. The structure carries vertical loads as shown in the figure. Find the forces in the members of the structure and tabulate the results. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Calculator Graph Paper Lead Pencil Rubber | Class Room |
| Evaluate Forces in members of a given truss by method of sections | Trainee will be able to: Draw the diagram of truss. Calculate reactions Draw section line Apply condition of Equilibrium to determine forces Tabulate result Draw force diagram. | State and explain method of truss analysis i.e. method of sections. Determine forces in members of statically determinate truss by method of sections. Practice: Figure below shows a Warren girder consisting of seven members each of 3 m length freely supported at its end points. The girder is loaded at B and C as shown. Find the forces in all the members of the girder, indicating whether the force is compressive or tensile. A truss of span 10 meters is loaded as shown in figure. Find the reactions and forces in the members of the truss. | Theory-1.5 Hrs Practical-6 Hrs Total- 7.5 Hrs | Calculator Graph Paper Lead Pencil Rubber | Class Room |

### 0732B&CE-240. Determine Stability of Retaining Wall

Objective: This module covers the knowledge and skills required to calculate active and passive earth pressure, stresses at base (toe and heel), application of Rankin’s formula, stress distribution diagram, application of checks against stability of retaining walls, and be able to solve related numerical problems.

Duration: 13 Hours									Theory: 3 Hours				Practice: 10 Hours

| Learning Unit | - Learning Outcomes | - Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Check the stability of given retaining wall. | - Trainee will be able to: - Draw the section of wall. - Calculate weight of wall and its point of action. - Evaluate pressure of retained material - Draw pressure diagram. - Locate point of action of resultant force. - Calculate stresses developed at base. - Apply the checks of stability. | - State the terms: retaining wall, classification of retaining wall, angle of repose, level & surcharge backing, active and passive earth pressure. - Explain the pressures on retaining wall and stresses at base (toe and heel) by Rankine’s formula and its applications. - Describe the stress distribution diagram at base of the retaining wall. - Describe conditions of stability of retaining walls. - Check and compare the results of stability of retaining walls with standards in numerical problems. - Practice: - A concrete dam of rectangular section 15 m high and 6 m wide contains water up to a height of 13 m. Find - Total pressure per meter length of the dam, - Point, where the resultant cuts the base and - Maximum and minimum intensities of stress at the base. Assume weight of water and concrete as 10 and 25 KN/m3 respectively. - A concrete dam of trapezoidal section having water on vertical face is 16 m high. The base of the dam is 8 m wide and top 3 m wide. Find - Resultant thrust on the base per meter length of the dam, - Point, where the resultant thrust cuts the base and - Intensities of maximum and minimum stresses across the base. Take weight of the concrete as 25 KN/m3 and the water level coinciding with the top of the dam. - A masonry wall 5 meters high and 1.8-meter-wide is containing water up to a height of 4 meters. If the coefficient of friction between the wall and the soil is 0.6, check the stability of the wall. Take weight of the masonry and water as 22 KN/m3 and 9.81 KN/m3. - A trapezoidal masonry dam having 3 m top width, 8 m bottom width and 12 m high is retaining water. Check the stability of the dam, when it is retaining water to a height of 11 m. The masonry weighs 20 KN/m3 and coefficient of friction between the dam masonry and soil is 0.6. Take the allowable compressive stress as 400 KN/m2. | Theory-1.5 Hrs Practical-5 Hrs Total- 6.5 Hrs | Calculator Graph Paper Lead Pencil Rubber | Class Room |
| - Calculate stresses at the base of given retaining wall and draw stress distribution diagram. | - Trainee will be able to: - Draw the section of wall. - Calculate weight of wall and its point of action. - Evaluate pressure of retained material - Draw pressure diagram. - Locate point of action of resultant force. - Calculate stresses developed at base. - Draw stress distribution diagram at base. | - Describe the stress distribution diagram at base of the retaining wall. - Practice: - A masonry trapezoidal dam 4 m high, 1 m wide at its top and 3 m wide at its bottom retains water on its vertical face. Determine the maximum and minimum stresses at the base, - when the reservoir is full and - When the reservoir is empty. Take weight of water as 10 KN/m3 and that of masonry as 24 KN/m3. - An earthen dam of trapezoidal section is 10 m high. It has top width of 1 m and bottom width 7 m. The face exposed to water has a slope of 1 horizontal to 10 verticals. Calculate the maximum and minimum stresses on the base, when the water level coincides with the top of the dam. Take weight of the masonry as 20 KN/m3 and that of water as 10 KN/m3. - Find the resultant lateral pressure and the distance of the point of application from the bottom in the case of retaining wall as shown in figure. Take weight of upper soil as 20 KN/m3 and φ = 30° and weight of lower soil as 24 KN/m3 and φ = 30° - A masonry retaining wall of trapezoidal section with a vertical face on the earth side is 1 m wide at the top, 3 m wide at the bottom and 6 m high. It retains sand over the entire height with an angle of surcharge of 20°. Determine the distribution of pressure at the base of the wall. The sand weighs 18 KN/m3 and has an angle of repose of 30°. The masonry weighs 24 KN/m3 | Theory-1.5 Hrs Practical-5 Hrs Total- 6.5 Hrs | Calculator Graph Paper Lead Pencil Rubber | Class Room |

- List of Tools, Equipment and Consumable

1: Construction II

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Brick Making Machine | 1. | Sand |
| 2. | Brick Molds | 2. | Sand Dust |
| 3. | Hand roller | 3. | cement |
| 4. | Thermometer | 4. | self-tapping screws |
| 5. | Umbrella with stand | 5. | soft sheet nails |
| 6. | PPEs | 6. | Wall board adhesive |
| 7. | Calculator | 7. | Distemper |
| 8. | Stone masonry instruments | 8. | Brick Ballast |
| 9. | Scissor | 9. | Lime |
| 10. | Mason Trowel | 10. | Paint |
| 11. | Pointing Trowel | 11. | Thermophore for Joints 2” & 1” thick |
| 12. | Troweling Blades | 12. | Water Stopper for Concrete (Plastic) |
| 13. | Hammer | 13. | Lime Color (Different) |
| 14. | Hammer Forged steel rectangle head | 14. | Road Metals |
| 15. | Lump hammers | 15. | Chalk |
| 16. | Hammers (bricks, club and scutch) | 16. | Luminous Slip |
| 17. | Sledge hammers | 17. | Stone Crush |
| 18. | Air compressors and hoses | 18. | Lime beds |
| 19. | Bevels | 19. | Pencil, |
| 20. | hand/power saws | 20. | Eraser, |
| 21. | Core cutting saw | 21. | Sharpener, |
| 22. | Jig saws | 22. | Drawing sheet, |
| 23. | Masonry saws | 23. | Acoustic underlay material, adhesives |
| 24. | Wet and dry diamond saws | 24. | Caulking compound, cement mortar (with and without additives) |
| 25. | Marking equipment | 25. | Clouts, cornice adhesive, crack suppression membrane |
| 26. | Measuring tapes and rules, | 26. | Fixings and fasteners |
| 27. | Metallic Tape 100 feet (30m) | 27. | Patching materials, plasterboard nails, pre-mixed and mixed fillers |
| 28. | Steel Tape- Slide Lock, Automatic Returns, Metallic / plastic case, 5-meter, Graduation on both side in feet & meter | 28. |  |
| 29. | Measuring scale, |  |  |
| 30. | Nail guns |  |  |
| 31. | Protractors |  |  |
| 32. | squares (combination/tri) |  |  |
| 33. | steel squares and fences |  |  |
| 34. | string lines |  |  |
| 35. | Line blocks and line pins |  |  |
| 36. | builders’ lines |  |  |
| 37. | static lines |  |  |
| 38. | Compass |  |  |
| 39. | Corner Float and float Blades |  |  |
| 40. | Steel float Set (Small, medium, large) Wooden Handle |  |  |
| 41. | Wooden Float (Small, medium, large) Wooden Handle |  |  |
| 42. | Groove Cutter |  |  |
| 43. | Cement sheet cutters |  |  |
| 44. | Tile cutters |  |  |
| 45. | Edger |  |  |
| 46. | Brooms |  |  |
| 47. | Polishers |  |  |
| 48. | Hand Grinders |  |  |
| 49. | Power grinders |  |  |
| 50. | Vibrator |  |  |
| 51. | Vibrating Rod |  |  |
| 52. | Form work |  |  |
| 53. | Molds |  |  |
| 54. | Workability test apparatus |  |  |
| 55. | Core cutting machine |  |  |
| 56. | Hand Drill Machines with drills |  |  |
| 57. | Power drill machines with drills |  |  |
| 58. | Sheet plate |  |  |
| 59. | Plate bar |  |  |
| 60. | Plate rod |  |  |
| 61. | Adjustable base plates |  |  |
| 62. | Channels |  |  |
| 63. | Forgings area |  |  |
| 64. | Casting platform |  |  |
| 65. | Furnace |  |  |
| 66. | Wheel Barrow: |  |  |
| 67. | Bucket |  |  |
| 68. | Paint Scraper Set |  |  |
| 69. | Potien Filler Knife Set |  |  |
| 70. | Chisel Set (9"-12"-18") |  |  |
| 71. | Plumb Bob |  |  |
| 72. | plumb rules |  |  |
| 73. | Straight Edge |  |  |
| 74. | Shovels with handle |  |  |
| 75. | Kassi (Plies) with handle |  |  |
| 76. | Spirit Level (Aluminum 2 ft. length) |  |  |
| 77. | torpedo levels |  |  |
| 78. | Dumpy Level |  |  |
| 79. | Pick Axe |  |  |
| 80. | Tray (Galvanized Iron, 14 SWG) SET |  |  |
| 81. | Pointing Tray |  |  |
| 82. | Striker for vertical joint (pointing) |  |  |
| 83. | Striker for horizontal joint (pointing) |  |  |
| 84. | Bamboo (10 feet) |  |  |
| 85. | Bamboo (15 feet) |  |  |
| 86. | Battens (5'x3½"x2½") |  |  |
| 87. | Shesham Wood Planks (7'x7"x1½") |  |  |
| 88. | Mortar Pan -GI Sheet (20 SWG) Size, 45 cm dia |  |  |
| 89. | mortar boards |  |  |
| 90. | Adjustable Wrench Set- * Hardened Steel, tempered and chrome plated, * Set include 8" (20cm), 12" (30cm), 18" (45cm) |  |  |
| 91. | Mixing Spoon Set- heavy gauge stainless steel, 150mm, 200mm, and 250mm long, round bottom |  |  |
| 92. | Concrete mixers |  |  |
| 93. | Elevators |  |  |
| 94. | Forklifts |  |  |
| 95. | jointing tools |  |  |
| 96. | Margin or raking tools |  |  |
| 97. | materials hoists |  |  |
| 98. | Cantilevered hoists (materials only with maximum capacity of 500kg) |  |  |
| 99. | Wall Scaffolds |  |  |
| 100. | scaffold belts |  |  |
| 101. | scaffolding planks |  |  |
| 102. | bracket scaffolds (tank and formwork) |  |  |
| 103. | prefabricated scaffolds |  |  |
| 104. | braces |  |  |
| 105. | small petrol or diesel engines and compressors, |  |  |
| 106. | Bolsters |  |  |
| 107. | brick buggies |  |  |
| 108. | brick grabs |  |  |
| 109. | Bends and hitches |  |  |
| 110. | box spanners |  |  |
| 111. | Couplers and accessories |  |  |
| 112. | Fiber ropes |  |  |
| 113. | Gin wheels |  |  |
| 114. | guard rails |  |  |
| 115. | Ledgers |  |  |
| 116. | Mesh guards |  |  |
| 117. | mid rails |  |  |
| 118. | modular and prefabricated components |  |  |
| 119. | Safety nets |  |  |
| 120. | Stairs or ladders |  |  |
| 121. | Standards |  |  |
| 122. | steel and aluminum tubes (pipes) |  |  |
| 123. | transoms |  |  |
| 124. | Wire nips |  |  |
| 125. | Pallet trolleys |  |  |
| 126. | profiles |  |  |
| 127. | Brushes |  |  |
| 128. | Caulking guns |  |  |
| 129. | Electrical leads |  |  |
| 130. | Hose and water sprays |  |  |
| 131. | Nippers |  |  |
| 132. | Pointed grouters |  |  |
| 133. | power screwdrivers |  |  |
| 134. | sanders |  |  |
| 135. | Rags |  |  |
| 136. | rubber mallets |  |  |
| 137. | Sanding blocks |  |  |
| 138. | spacers and wedges |  |  |
| 139. | Spatulas |  |  |
| 140. | sponges, squeegees |  |  |
| 141. | wire brushes, |  |  |
| 142. | Work platforms |  |  |
| 143. | scribes |  |  |

2: Concrete Technology

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Compression Testing Machine | 1. | Cement |
| 2. | Flexure / Tension Machine (cement Mortar Briquette Tensile Testing | 2. | Sand |
| 3. | Electronic Digital Balance (Top-Pan Type) | 3. | Aggregates of sizes |
| 4. | Electronic Digital Precision Balance (Top-Pan Type) |  |  |
| 5. | Top Pan Weighting Balance |  |  |
| 6. | Buoyancy Balance, 6000g x 0.1 g, ASTM C 127 |  |  |
| 7. | Vicat Apparatus |  |  |
| 8. | Lechatlier's Apparatus complete set for soundness |  |  |
| 9. | LE CHATELIER FLASK, ASTM C188; BS 4550 for relative density of cement. |  |  |
| 10. | Sand Equivalent Apparatus ASTM D 2419 |  |  |
| 11. | Digital Stop Watch |  |  |
| 12. | Planetary Mixer, ASTM C 305 |  |  |
| 13. | Desiccators cabinet |  |  |
| 14. | Specific Gravity Test Set |  |  |
| 15. | Set of Sieve |  |  |
| 16. | Sieve shaker |  |  |
| 17. | Non-Distractive Test (Concrete Test Hammer) |  |  |
| 18. | Flakiness Sieve Set |  |  |
| 19. | SPATULA |  |  |
| 20. | Wire Brush for clearing modules |  |  |
| 21. | Trimming Knife |  |  |
| 22. | Graduated Cylinders |  |  |
| 23. | Flakiness Index Gauge |  |  |
| 24. | Elongation index gauge (length gauge) |  |  |
| 25. | Wire Basket |  |  |
| 26. | Tray (Galvanized Iron, 14 SWG) SET |  |  |
| 27. | Pycnometer |  |  |
| 28. | Conical Flask |  |  |
| 29. | Beakers |  |  |
| 30. | Thermometers |  |  |
| 31. | Wash Bottle (Plastic 250 ml capacity) |  |  |
| 32. | Specific Gravity Bottles (25ml ) |  |  |
| 33. | Metallic Scoops |  |  |
| 34. | Mortar & Pestle |  |  |
| 35. | Mixing Spoon Set |  |  |
| 36. | Mixing Bowl |  |  |
| 37. | Rebar Locator Apparatus |  |  |
| 38. | Concrete Drum Mixer (Tilting Type) |  |  |
| 39. | Platform scale |  |  |
| 40. | MOULDS: - cubes 150mm (6") with clamp attached based plate, easily collapsible sides (made of cast iron) |  |  |
| 41. | cubes 100mm (4") with clamp attached based plate, easily collapsible sides (made of steel) |  |  |
| 42. | cylinders 150mm dia X 300mm height (6" dia x 12" height) complete with base plate and locking arrangement, made of Steel |  |  |
| 43. | mortar cubes 50mm (2") made of brass / steel, three gang mould, machined in internal surfaces, easily collapsible |  |  |
| 44. | beams 150 x 150x600mm (6"x6"x24") made of steel |  |  |
| 45. | Set of Spanners for (cubes and cylinder, beam moulds) |  |  |
| 46. | Tamping Rod for cubes/cylinders 16 mm dia 600 mm long ASTM |  |  |
| 47. | Tamping Rod for mould, 25 x 25 x380 mm (BS 1881) |  |  |
| 48. | Concrete cylinder capping complete including: a. two steel retainers for 6" (15cm) dia cylinders, b- Electric melting pot for melting capping compound (with |  |  |
| 49. | 20kg capping compound Tin) |  |  |
| 50. | Vibrating Table |  |  |
| 51. | Poker Vibrator |  |  |
| 52. | Slump Test Apparatus |  |  |
| 53. | Compacting Factor Apparatus |  |  |
| 54. | Mechanical Sieve Shaker |  |  |
| 55. | Wheel Barrow: |  |  |

3: Quantity Surveying

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Calculators | 1. | Printer papers |
| 2. | Computer latest model with Server | 2. | Printer Toner |
| 3. | Computer latest model work stations | 3. | USB |
| 4. | Laptop computer | 4. | Lead Pencils |
| 5. | Net working | 5. | Eraser |
| 6. | UPS 2000 Watt with batteries |  |  |
| 7. | Multimedia Projector |  |  |
| 8. | Scanner for A-3 paper |  |  |
| 9. | Printer LaserJet |  |  |
| 10. | USB Sticks |  |  |
| 11. | Computer Chair (will be added in furniture portion) without arm rest – 5 legs base |  |  |
| 12. | Computer Table (will be added in furniture portion) 2½ x 2 x 2½ |  |  |
| 13. | License software for education Latest Versions: Auto CAD Civil 3D M.S Office Antivirus Microsoft windows |  |  |

|  | 1: Contract Management |  |  |
| --- | --- | --- | --- |
| S# | Tools and Equipment | S# | Consumable Material |
| 1. | Calculator | 1. | Pencil |
| 2. | Ruler | 2. | Eraser |
| 3. | Drawing lab equipment |  |  |

5: Water Supply and Sanitary Engineering

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1 | Water Hardness Test Apparatus: | 1 | Drawing sheet |
| 2 | Turbidity Test Apparatus | 2 | Sewers of different materials |
| 3 | Personal Protective equipment, dresses | 3 | Jointing materials (as required) |
| 4 | Plungers, | 4 | Nut and bolts |
| 5 | Pressure testing kits, | 5 | Flanges |
| 6 | Radiator tools | 6 | Cement |
| 7 | Calculator | 7 | Sand |
| 8 | Thermometer | 8 | Yarn |
| 9 | Drawing instruments | 9 | Lead |
| 10 | Scissor | 10 | Kerosine Oil |
| 11 | Pressure testing kits, |  |  |
| 12 | Umbrella with stand |  |  |
| 13 | Spirit level |  |  |
| 14 | PPEs |  |  |
| 15 | Pegs |  |  |
| 16 | Measuring Tape |  |  |
| 17 | Compass |  |  |
| 18 | Arrows |  |  |
| 19 | Protector |  |  |
| 20 | Trench digging tools |  |  |
| 21 | Trench sides |  |  |
| 22 | Chain pulley |  |  |
| 23 | Small crane |  |  |
| 24 | Excavator |  |  |
| 25 | Clamps |  |  |
| 26 | Drain suction machine |  |  |
| 27 | Flushing machine with water |  |  |
| 28 | Flushing pipes |  |  |

6: Mechanics of Structures

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1. | Calculator | 1. | Graph Paper |
| 2. | Rockwell hardness testing machine with accessories, | 2. | Lead Pencil |
| 3. | Brinell’s hardness tester with accessories | 3. | Rubber |
| 4. | Allen key, | 4. | Specimen metallic plates. |
| 5. | Indenter. | 5. | Steel bars. |
| 6. | Universal testing machine, | 6. | Metallic wires. |
| 7. | Vernier calipers, |  |  |
| 8. | Mild Steel Rod of given dimension |  |  |
| 9. | Steel rule. |  |  |
| 10. | Strain gauge |  |  |
| 11. | Young Modulus apparatus along with accessories |  |  |

7: Soft Skills

| S# | Tools and Equipment | S# | Consumable Material |
| --- | --- | --- | --- |
| 1 | Calculator | 1. | Pencil |
| 2 | Ruler | 2. | Eraser |
| 3 | Drawing lab equipment |  |  |

Members of Curriculum Development Committee

The following members participated in the Curriculum development Committee:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Engr. Azhar Iqbal Shad | Chief Instructor (Civil) | GCT Raiwnd Road, LHR |
| 2 | Mr. Imtiaz Ahmed Awan | Sr. Instructor (Civil) | GCT Rasul (Mandi Bahauddin) |
| 3 | Mr. Muhammad Amjad Rafique | Sr. Instructor (Civil) | GCT Rasul (Mandi Bahauddin) |
| 4 | Engr. Zuneera Ashfaq | Assistant Director | PITAC Lahore |
| 5 | Engr. Mohsin Jahanzeb | Instructor (Civil) | GSTC, Faisalabad |
| 6 | Engr. Norheen Amina | Consultant | Allied Engineering Services Lahore |
| 7 | Engr. Hira Ishtiaq | Consultant. | Allied Engineering Services Lahore |
| 8 | Engr. Habiba Mohsin | Design Engineer | JERS Engineering Consultants Lahore |
| 9 | Engr. Rana Haroon Mujahid | Deputy Director | C&W Department Govt. of Punjab |
| 10 | Engr. Arsalan Hameed Khan | Assistant Manager (Project) | Planning & Project department Lahore Waste Management Company. |
| 11 | Mr. Syed Fayyaz Mustafa Naqvi | Junior Instructor | GSTC Faisalabad |
| 12 | Engr. Inayat-ur-Rehman | DACUM, Facilitator | Peshawar |
| 13 | Mr. Muhammad Ishaq | Director HR | NAVTTC, Islamabad |