Instruction Sheet for the Candidate

| Qualification | Construction Machinery Level-5 ( Power Generators (GEN-SET)) |
| --- | --- |
| Competency Standard | Analyze Operation of Control Panel |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): CU1. Perform Operation of module CU2. Inspect module CU3. Troubleshoot of module |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Perform Operation of module - Perform starting/auto starting/stopping of module - Check voltage, frequency, amperes, rpm, temperature, oil pressure, hour meters, load, error codes of module - Check fuse, relay, timer, sensors of module Inspect module - inspect starting/auto starting/stopping of module - inspect voltage, frequency, amperes, rpm, temperature, oil pressure, hour meters, load, error codes of module - inspect fuse, relay, timer, sensors of module Troubleshoot of module - Check Start/Stop of Module. - Check Power Supply to module. - Check the module for Fault Indication. - Enter password to access setting of module or connect laptop to module for parameter setting/Programming. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Construction Machinery Level-5 (Power Generators (GEN-SET)) |
| Competency Standard | Analyze Operation of Control Panel |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform Operation of module - Inspect module - Troubleshoot of module |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform starting/auto starting/stopping of module |  |  |
| - Check voltage, frequency, amperes, rpm, temperature, oil pressure, hour meters, load, error codes of module |  |  |
| - Check fuse, relay, timer, sensors of module |  |  |
| - inspect starting/auto starting/stopping of module |  |  |
| - inspect voltage, frequency, amperes, rpm, temperature, oil pressure, hour meters, load, error codes of module |  |  |
| - inspect fuse, relay, timer, sensors of module |  |  |
| - Check Start/Stop of Module. |  |  |
| - Check Power Supply to module. |  |  |
| - Check the module for Fault Indication. |  |  |
| - Enter password to access setting of module or connect laptop to module for parameter setting/Programming. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Construction Machinery Level-5 (Power Generators (GEN-SET)) |
| --- | --- |
| Competency Standard | Analyze Operation of Control Panel |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform Operation of module - Inspect module - Troubleshoot of module |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform starting/auto starting/stopping of module |  |  |  |  |  |
|  | Check voltage, frequency, amperes, rpm, temperature, oil pressure, hour meters, load, error codes of module |  |  |  |  |  |
|  | Check fuse, relay, timer, sensors of module |  |  |  |  |  |
|  | inspect starting/auto starting/stopping of module |  |  |  |  |  |
|  | inspect voltage, frequency, amperes, rpm, temperature, oil pressure, hour meters, load, error codes of module |  |  |  |  |  |
|  | inspect fuse, relay, timer, sensors of module |  |  |  |  |  |
|  | Check Start/Stop of Module. |  |  |  |  |  |
|  | Check Power Supply to module. |  |  |  |  |  |
|  | Check the module for Fault Indication. |  |  |  |  |  |
|  | Enter password to access setting of module or connect laptop to module for parameter setting/Programming. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Construction Machinery Level-5 (Power Generators (GEN-SET)) |
| --- | --- |
| Competency Standard | Analyze Operation of Control Panel |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to read the Fault Code? |  |  |
|  | How to perform task on Module? |  |  |
|  | How to check the faulty Module and establish connection of module with Laptop? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________