Instruction Sheet for the Candidate

| Qualification | Construction Machinery Level-5 ( Power Generators (GEN-SET)) |
| --- | --- |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): CU1. Perform Daily maintenance of Engine CU2. Perform 250 operating hour maintenance of Engine CU3. Perform 500 Hour maintenance of engine. CU4. Perform 1000 Hour maintenance of engine. CU5. Carry out Alternator preventive maintenance CU6. Decommission, Dismantle and disposal of material. |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Perform Daily maintenance of Engine - Drain water from fuel filter. - Check fuel level. - Empty air filter evacuator valve. - Check engine oil level. - Check Coolant Level. - Check electrolyte level of Battery. - Check for fault indication (If any). - Check on abnormal noise. - Check obstruction on crankcase breather. Perform 250 operating hour maintenance of Engine - Change Engine Oil. - Change Oil Filter. - Check hoses & Pipes for any leakage/damage. - Inspect/Adjust fan/alternator belt. - Check Indicator Air Filter (Clean Filter if necessary). Perform 500 Hour maintenance of engine. - Change fuel filter (primary/secondary) - Change air filter primary. - Test earth leak relay. - Check emergency stop - Clean radiator - Check hoses, pipes & clamps (replace if necessary) - Check electrolyte level & battery terminal - Analyze coolant - Drain/clean fuel tank water & sediment. Perform 1000 Hour maintenance of engine. - Replace air filter safety. - Replace fan/alternator belt - Check electrical system cables for wear - Check/Test glow plugs - Check torque on critical bolt connection - Check rubber flexible - Adjust engine inlet/outlet valve - Check engine protective devices - Check fuel injectors - Check starting motor - Check turbocharger - Check water pump - Inspect charging alternator Carry out Alternator preventive maintenance - Inspect the alternator winding conditions and carry out general cleaning - Inspect cable connections between the alternator and circuit breaker - Measure alternator insulation resistance (After 1000 operating hour) Decommission, Dismantle and disposal of material. - Consult your local Dealer and local regulations regarding the disposal of materials on your generator set - Contact with companies specializing in recycling of iron, steel and copper from gen set - Perform special treatment for some components such as electrical cable, electronic accessories and plastics as per standard - Consult a specialist company regarding the removal of other components like gaskets and seals of gen set etc. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Construction Machinery Level-5 (Power Generators (GEN-SET)) |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform Daily maintenance of Engine - Perform 250 operating hour maintenance of Engine - Perform 500 Hour maintenance of engine. - Perform 1000 Hour maintenance of engine. - Carry out Alternator preventive maintenance - Decommission, Dismantle and disposal of material. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check fuel level. |  |  |
| - Empty air filter evacuator valve. |  |  |
| - Check engine oil level. |  |  |
| - Check electrolyte level of Battery. |  |  |
| - Check for fault indication (If any). |  |  |
| - Check on abnormal noise. |  |  |
| - Check obstruction on crankcase breather. |  |  |
| - Change Engine Oil. |  |  |
| - Change Oil Filter. |  |  |
| - Check hoses & Pipes for any leakage/damage. |  |  |
| - Inspect/Adjust fan/alternator belt. |  |  |
| - Check Indicator Air Filter (Clean Filter if necessary). |  |  |
| - Change fuel filter (primary/secondary) |  |  |
| - Change air filter primary. |  |  |
| - Test earth leak relay. |  |  |
| - Check emergency stop |  |  |
| - Clean radiator |  |  |
| - Analyze coolant |  |  |
| - Drain/clean fuel tank water & sediment. |  |  |
| - Replace air filter safety. |  |  |
| - Replace fan/alternator belt |  |  |
| - Check electrical system cables for wear |  |  |
| - Check/Test glow plugs |  |  |
| - Check torque on critical bolt connection |  |  |
| - Check rubber flexible |  |  |
| - Adjust engine inlet/outlet valve |  |  |
| - Check engine protective devices |  |  |
| - Check fuel injectors |  |  |
| - Check starting motor |  |  |
| - Check turbocharger |  |  |
| - Check water pump |  |  |
| - Inspect charging alternator |  |  |
| - Inspect the alternator winding conditions and carry out general cleaning |  |  |
| - Inspect cable connections between the alternator and circuit breaker |  |  |
| - Measure alternator insulation resistance (After 1000 operating hour) |  |  |
| - Perform special treatment for some components such as electrical cable, electronic accessories and plastics as per standard. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Construction Machinery Level-5 (Power Generators (GEN-SET)) |
| --- | --- |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform Daily maintenance of Engine - Perform 250 operating hour maintenance of Engine - Perform 500 Hour maintenance of engine. - Perform 1000 Hour maintenance of engine. - Carry out Alternator preventive maintenance - Decommission, Dismantle and disposal of material. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check fuel level. |  |  |  |  |  |
|  | Empty air filter evacuator valve. |  |  |  |  |  |
|  | Check engine oil level. |  |  |  |  |  |
|  | Check electrolyte level of Battery. |  |  |  |  |  |
|  | Check for fault indication (If any). |  |  |  |  |  |
|  | Check on abnormal noise. |  |  |  |  |  |
|  | Check obstruction on crankcase breather. |  |  |  |  |  |
|  | Change Engine Oil. |  |  |  |  |  |
|  | Change Oil Filter. |  |  |  |  |  |
|  | Check hoses & Pipes for any leakage/damage. |  |  |  |  |  |
|  | Inspect/Adjust fan/alternator belt. |  |  |  |  |  |
|  | Check Indicator Air Filter (Clean Filter if necessary). |  |  |  |  |  |
|  | Change fuel filter (primary/secondary) |  |  |  |  |  |
|  | Change air filter primary. |  |  |  |  |  |
|  | Test earth leak relay. |  |  |  |  |  |
|  | Check emergency stop |  |  |  |  |  |
|  | Clean radiator |  |  |  |  |  |
|  | Analyze coolant |  |  |  |  |  |
|  | Drain/clean fuel tank water & sediment. |  |  |  |  |  |
|  | Replace air filter safety. |  |  |  |  |  |
|  | Replace fan/alternator belt |  |  |  |  |  |
|  | Check electrical system cables for wear |  |  |  |  |  |
|  | Check/Test glow plugs |  |  |  |  |  |
|  | Check torque on critical bolt connection |  |  |  |  |  |
|  | Check rubber flexible |  |  |  |  |  |
|  | Adjust engine inlet/outlet valve |  |  |  |  |  |
|  | Check engine protective devices |  |  |  |  |  |
|  | Check fuel injectors |  |  |  |  |  |
|  | Check starting motor |  |  |  |  |  |
|  | Check turbocharger |  |  |  |  |  |
|  | Check water pump |  |  |  |  |  |
|  | Inspect charging alternator |  |  |  |  |  |
|  | Inspect the alternator winding conditions and carry out general cleaning |  |  |  |  |  |
|  | Inspect cable connections between the alternator and circuit breaker |  |  |  |  |  |
|  | Measure alternator insulation resistance (After 1000 operating hour) |  |  |  |  |  |
|  | Perform special treatment for some components such as electrical cable, electronic accessories and plastics as per standard. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Construction Machinery Level-5 (Power Generators (GEN-SET)) |
| --- | --- |
| Competency Standard | Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | how to measure the insulation resistance of alternator? |  |  |
|  | Describe instrument panel gauges and meters? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________