Instruction Sheet for the Candidate

| Qualification | Construction Machinery (Power Generators (GEN-SET) Level-5 |
| --- | --- |
| Competency Standard | - Perform Preventive Maintenance - Analyze Parts of Generators. - Analyze Main Alternator. - Analyze Operation of Control Panel. - Carry out Trouble Shooting Guide. |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Carry out Power Generator preventive maintenance. - Trouble Shoot Gen-Set for Sudden Shutdown. |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Carry out Power Generator preventive maintenance. - Arrange proper tools for performing task. - Adopt Health and Safety Measures. - Check emergency stop. - Change Engine Oil. - Change Oil Filter. - Check fuel injectors. - Check hoses & Pipes for any leakage/damage. - Check electrolyte level & battery terminal. - Check electrical system cables for wear. - Check torque on critical bolt connection. - Adjust engine inlet/outlet valve. - Check/Test glow plugs. - Check starting motor. - Check Vibration Damper. - Test earth leak relay. - Check engine protective devices. - Inspect the alternator winding conditions and carry out general cleaning. - Inspect cable connections between the alternator and circuit breaker. - Measure alternator insulation resistance. Trouble Shoot Gen-Set for Sudden Shutdown. - Check there are no shutdown events active - Check coolant level in the radiator. - Check the radiator - Check Thermostat - Check Water Pump - Check fuse of radiator fan - Check electrical supply of radiator fan - Check the module is in “auto“ mode - Fuse on AVR broken. - AVR broken. - Rotating rectifier (Diode Bridge) defect. - Adjust voltage on AVR. - Check alternator speed. - AVR defect. - Alternator windings damaged - Check LED’s on AVR. - Check nominal power with load requirements. - Power problem on engine. - Alternator windings - Unbalanced load. - Nonlinear load, harmonics. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Construction Machinery ( Power Generators (GEN-SET)) Level-5 |
| Competency Standard | - Perform Preventive Maintenance - Analyze Parts of Generators. - Analyze Main Alternator. - Analyze Operation of Control Panel. - Carry out Trouble Shooting Guide. |
| Purpose of Assessment | Summative Assessment |
| Assessment Task | - Carry out Power Generator preventive maintenance. - Trouble Shoot Gen-Set for Sudden Shutdown. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Arrange proper tools for performing task. |  |  |
| - Adopt Health and Safety Measures. |  |  |
| - Check emergency stop. |  |  |
| - Change Engine Oil. |  |  |
| - Change Oil Filter. |  |  |
| - Check fuel injectors. |  |  |
| - Check hoses & Pipes for any leakage/damage. |  |  |
| - Check electrolyte level & battery terminal. |  |  |
| - Check electrical system cables for wear. |  |  |
| - Check torque on critical bolt connection. |  |  |
| - Adjust engine inlet/outlet valve. |  |  |
| - Check/Test glow plugs. |  |  |
| - Check starting motor. |  |  |
| - Check Vibration Damper. |  |  |
| - Test earth leak relay. |  |  |
| - Check engine protective devices. |  |  |
| - Inspect the alternator winding conditions and carry out general cleaning. |  |  |
| - Inspect cable connections between the alternator and circuit breaker. |  |  |
| - Measure alternator insulation resistance. |  |  |
| - Check there are no shutdown events active |  |  |
| - Check coolant level in the radiator. |  |  |
| - Check the radiator |  |  |
| - Check Thermostat |  |  |
| - Check Water Pump |  |  |
| - Check fuse of radiator fan |  |  |
| - Check electrical supply of radiator fan |  |  |
| - Check the module is in “auto“ mode |  |  |
| - Fuse on AVR broken. |  |  |
| - AVR broken. |  |  |
| - Rotating rectifier (Diode Bridge) defect. |  |  |
| - Adjust voltage on AVR. |  |  |
| - Check alternator speed. |  |  |
| - AVR defect. |  |  |
| - Alternator windings damaged |  |  |
| - Check LED’s on AVR. |  |  |
| - Check nominal power with load requirements. |  |  |
| - Power problem on engine. |  |  |
| - Alternator windings |  |  |
| - Unbalanced load. |  |  |
| - Nonlinear load, harmonics. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Construction Machinery ( Power Generators (GEN-SET)) Level-5 |
| --- | --- |
| Competency Standard | - Perform Preventive Maintenance - Analyze Parts of Generators. - Analyze Main Alternator. - Analyze Operation of Control Panel. - Carry out Trouble Shooting Guide. |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Carry out Power Generator preventive maintenance. - Trouble Shoot Gen-Set for Sudden Shutdown. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Arrange proper tools for performing task. |  |  |  |  |  |
|  | Adopt Health and Safety Measures. |  |  |  |  |  |
|  | Check emergency stop. |  |  |  |  |  |
|  | Change Engine Oil. |  |  |  |  |  |
|  | Replace air filter safety. |  |  |  |  |  |
|  | Change Oil Filter. |  |  |  |  |  |
|  | Change fuel filter (primary/secondary). |  |  |  |  |  |
|  | Check fuel injectors. |  |  |  |  |  |
|  | Check hoses & Pipes for any leakage/damage. |  |  |  |  |  |
|  | Clean radiator. |  |  |  |  |  |
|  | Check water pump. |  |  |  |  |  |
|  | Check electrolyte level & battery terminal. |  |  |  |  |  |
|  | Check electrical system cables for wear. |  |  |  |  |  |
|  | Check torque on critical bolt connection. |  |  |  |  |  |
|  | Adjust engine inlet/outlet valve. |  |  |  |  |  |
|  | Replace fan/alternator belt. |  |  |  |  |  |
|  | Check/Test glow plugs. |  |  |  |  |  |
|  | Check starting motor. |  |  |  |  |  |
|  | Check Vibration Damper. |  |  |  |  |  |
|  | Test earth leak relay. |  |  |  |  |  |
|  | Check engine protective devices. |  |  |  |  |  |
|  | Inspect the alternator winding conditions and carry out general cleaning. |  |  |  |  |  |
|  | Inspect cable connections between the alternator and circuit breaker. |  |  |  |  |  |
|  | Measure alternator insulation resistance. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Construction Machinery ( Power Generators (GEN-SET)) Level-5 |
| --- | --- |
| Competency Standard | - Perform Preventive Maintenance - Analyze Parts of Generators. - Analyze Main Alternator. - Analyze Operation of Control Panel. - Carry out Trouble Shooting Guide. |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to measure the insulation resistance of alternator? |  |  |
|  | Describe instrument panel gauges and meters? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________