Instruction Sheet for the Candidate

| Qualification | Basic Electrical Wiring (Single Phase) |
| --- | --- |
| Competency Standard | Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Install kitchen circuit - Install Drawing room circuit - Install Sleeping room circuit - Install Sleeping room circuit - Install hall wiring. - Install impulse switch. - Install Bell indicator circuit. - Install timer/time switch circuit. - Make fluorescent tube circuit and install. - Perform Domestic Electrical Work |
| Minimum Evidence Required | - Install kitchen circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install Drawing room circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install Sleeping room circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install Sleeping room circuit - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install hall wiring. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install impulse switch. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install Bell indicator circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Install timer/time switch circuit. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Make fluorescent tube circuit and install. - Draw wiring diagram of single pole switch circuit. - Draw Current path diagram of single pole switch circuit. - Draw layout diagram of single pole switch circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply - Perform Domestic Electrical Work - Install wire for grounding - Perform pre Installation module based Tests. - Install conduits or Trunks in the building as per drawing - Install electrical wiring, as per drawing and standard. - Install main box and distribution box. - Install Electric Breakers in main box, as per load for safety measures - Install the appliances used in electric work as per drawing - Install emergency light system in main box, as per standard color scheme - Install Main Distribution Board. - Test the Installation and obtain Test Certificate. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Basic Electrical Wiring (Single Phase) |
| Competency Standard | Perform Testing of Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Install kitchen circuit 2. Install Drawing room circuit 3. Install Sleeping room circuit 4. Install Sleeping room circuit 5. Install hall wiring. 6. Install impulse switch. 7. Install Bell indicator circuit. 8. Install timer/time switch circuit. 9. Make fluorescent tube circuit and install. 10. Perform Domestic Electrical Work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Draw wiring diagram of single pole switch circuit. |  |  |
| - Draw Current path diagram of single pole switch circuit. |  |  |
| - Draw layout diagram of single pole switch circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Install wire for grounding |  |  |
| - Perform pre Installation module based Tests. |  |  |
| - Install conduits or Trunks in the building as per drawing |  |  |
| - Install electrical wiring, as per drawing and standard. |  |  |
| - Install main box and distribution box. |  |  |
| - Install Electric Breakers in main box, as per load for safety measures |  |  |
| - Install the appliances used in electric work as per drawing |  |  |
| - Install emergency light system in main box, as per standard color scheme |  |  |
| - Install Main Distribution Board. |  |  |
| - Test the Installation and obtain Test Certificate. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Basic Electrical Wiring (Single Phase) |
| --- | --- |
| Competency Standard | Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install kitchen circuit |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | - Install Drawing room circuit |  |  |  |  |
|  |  | - Install Sleeping room circuit |  |  |  |  |
|  |  | - Install Sleeping room circuit |  |  |  |  |
|  |  | - Install hall wiring. |  |  |  |  |
|  |  | - Install impulse switch. |  |  |  |  |
|  |  | - Install Bell indicator circuit. |  |  |  |  |
|  |  | - Install timer/time switch circuit. |  |  |  |  |
|  |  | - Make fluorescent tube circuit and install. |  |  |  |  |
|  |  | - Perform Domestic Electrical Work |  |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Drew wiring diagram of single pole switch circuit. |  |  |  |  |  |
|  | Drew Current path diagram of single pole switch circuit. |  |  |  |  |  |
|  | Drew layout diagram of single pole switch circuit. |  |  |  |  |  |
|  | Marked on working board according to layout diagram. |  |  |  |  |  |
|  | Installed accessories according to layout diagram. |  |  |  |  |  |
|  | Laid wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Make connections according to wiring diagram. |  |  |  |  |  |
|  | Checked the circuit before connect the main supply. |  |  |  |  |  |
|  | Maked connection with main supply. |  |  |  |  |  |
|  | Check the function of circuit after connect the main supply |  |  |  |  |  |
|  | Installed wire for grounding |  |  |  |  |  |
|  | Performed pre Installation module based Tests. |  |  |  |  |  |
|  | Install conduits or Trunks in the building as per drawing |  |  |  |  |  |
|  | Installed electrical wiring, as per drawing and standard. |  |  |  |  |  |
|  | Installed main box and distribution box. |  |  |  |  |  |
|  | Installed Electric Breakers in main box, as per load for safety measures |  |  |  |  |  |
|  | Installed the appliances used in electric work as per drawing |  |  |  |  |  |
|  | Installed emergency light system in main box, as per standard color scheme |  |  |  |  |  |
|  | Installed Main Distribution Board. |  |  |  |  |  |
|  | Tested the Installation and obtain Test Certificate. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Basic Electrical Wiring (Single Phase) |
| --- | --- |
| Competency Standard | Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define parallel circuit. |  |  |
|  | Define power plug. |  |  |
|  | Explain the function of exhaust. |  |  |
|  | Explain the function of AC and Heater |  |  |
|  | Define current, voltage, power and resistance. |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________