Assessors Judgment Guide

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify parts and connection of Energy meter(Single/3-phase) - Identify different types of PF meter, its parts and connect it in circuit. - Identify MDI meter parts and use it on line - Measure insulation resistance by Meager |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the Energy meter(Single/3-phase) |  |  |  |  |  |
|  | Differentiate between driving, moving, braking and recording system |  |  |  |  |  |
|  | Identify aluminum disc, series and shunt electromagnet, copper shading ring, magnetic brake, pressure and current coil, permanent magnet and cyclometer |  |  |  |  |  |
|  | Connect Single Phase Energy meter in a load circuit |  |  |  |  |  |
|  | Connect 3phase Energy meter in a load circuit |  |  |  |  |  |
|  | Take the measurements and record. |  |  |  |  |  |
|  | Identify the PF meters (Electrodynamometer type/ Moving Iron type) |  |  |  |  |  |
|  | Differentiate between pressure coil and current coil |  |  |  |  |  |
|  | Identify inductive and resistive part of pressure coil in electrodynamometer type PF meter |  |  |  |  |  |
|  | Connect Single phase PF meter in a load circuit |  |  |  |  |  |
|  | Connect 3phase PF meter in a load circuit |  |  |  |  |  |
|  | Take the measurements and record. |  |  |  |  |  |
|  | Identify the parts of MDI meter |  |  |  |  |  |
|  | Select the MDI meter according to load. |  |  |  |  |  |
|  | Identify the connections and insert it on line as per procedure |  |  |  |  |  |
|  | Note down the reading and interpret it. |  |  |  |  |  |
|  | Isolate the unit under test |  |  |  |  |  |
|  | Connect the meager with cable of unknown insulation resistance as per standard |  |  |  |  |  |
|  | Hand crank the meager to generate voltage |  |  |  |  |  |
|  | Analyze the reading and note it down. |  |  |  |  |  |
|  | Interpret the measurements |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Draw single phase/3 phase energy meter connection diagram |  |  |
|  | Describe single phase/3 phase energy meter theory and phase diagram |  |  |
|  | Explain single phase/3 phase energy meter specifications |  |  |
|  | Explain the types of PF meters and its working principles. |  |  |
|  | Describe Power factor and conditions of leading and lagging power factor |  |  |
|  | Explain the resistive, capacitive and inductive load. |  |  |
|  | Explain phase angle and conditions in which voltage/current leads/lags |  |  |
|  | Differentiate between Apparent, True and Reactive power. |  |  |
|  | Describe formulas for calculation of PF while having resistive, capacitive, inductive and mixed loads. |  |  |
|  | Explain the construction of MDI meter |  |  |
|  | Explain working principle of MDI meter |  |  |
|  | Explain Apparent, true and reactive power |  |  |
|  | Explain the construction of meager |  |  |
|  | Explain the working principle of meager |  |  |
|  | Describe the standard insulation resistances for different systems |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature __________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Electrical Instruments and Calibration |
| Competency Standards | Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre |
| Assessment Task | - Identify parts and connection of Energy meter(Single/3-phase) |
|  | - Identify different types of PF meter, its parts and connect it in circuit. |
|  | - Identify MDI meter parts and use it on line |
|  | - Measure insulation resistance by Meager |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the Energy meter(Single/3-phase) |  |  |
| - Differentiate between driving, moving, braking and recording system |  |  |
| - Identify aluminum disc, series and shunt electromagnet, copper shading ring, magnetic brake, pressure and current coil, permanent magnet and cyclometer |  |  |
| - Connect Single Phase Energy meter in a load circuit |  |  |
| - Connect 3phase Energy meter in a load circuit |  |  |
| - Take the measurements and record. |  |  |
| - Identify the PF meters (Electrodynamometer type/ Moving Iron type) |  |  |
| - Differentiate between pressure coil and current coil |  |  |
| - Identify inductive and resistive part of pressure coil in electrodynamometer type PF meter |  |  |
| - Connect Single phase PF meter in a load circuit |  |  |
| - Connect 3phase PF meter in a load circuit |  |  |
| - Take the measurements and record. |  |  |
| - Identify the parts of MDI meter |  |  |
| - Select the MDI meter according to load. |  |  |
| - Identify the connections and insert it on line as per procedure |  |  |
| - Note down the reading and interpret it. |  |  |
| - Isolate the unit under test |  |  |
| - Connect the meager with cable of unknown insulation resistance as per standard |  |  |
| - Hand crank the meager to generate voltage |  |  |
| - Analyze the reading and note it down. |  |  |
| - Interpret the measurements |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name__________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Identify parts and connection of Energy meter(Single/3-phase) - Identify different types of PF meter, its parts and connect it in circuit. - Identify MDI meter parts and use it on line - Measure insulation resistance by Meager |
| Time: 4 hours | During a practical assessment, under observation by an assessor, you are required to - Identify parts and connection of Energy meter(Single/3-phase) - Identify the Energy meter(Single/3-phase) - Differentiate between driving, moving, braking and recording system - Identify aluminum disc, series and shunt electromagnet, copper shading ring, magnetic brake, pressure and current coil, permanent magnet and cyclometer - Connect Single Phase Energy meter in a load circuit - Connect 3phase Energy meter in a load circuit - Take the measurements and record. - Identify different types of PF meter, its parts and connect it in circuit. - Identify the PF meters (Electrodynamometer type/ Moving Iron type) - Differentiate between pressure coil and current coil - Identify inductive and resistive part of pressure coil in electrodynamometer type PF meter - Connect Single phase PF meter in a load circuit - Connect 3phase PF meter in a load circuit - Take the measurements and record. - Identify MDI meter parts and use it on line - Identify the parts of MDI meter - Select the MDI meter according to load. - Identify the connections and insert it on line as per procedure - Note down the reading and interpret it. - Measure insulation resistance by Meager - Isolate the unit under test - Connect the meager with cable of unknown insulation resistance as per standard - Hand crank the meager to generate voltage - Analyze the reading and note it down. - Interpret the measurements |
| Minimum Evidence Required |  |