Assessors Judgment Guide

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure Capacitance by RCL Meter - Measure Inductance by RCL Meter - Dismantle and assemble the moving iron and permanent magnet type instrument |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select Capacitance function on RCL Meter. |  |  |  |  |  |
|  | Short the test probes and zero the RCL meter |  |  |  |  |  |
|  | Connect probes across unknown capacitance |  |  |  |  |  |
|  | Read the value on display and record it. |  |  |  |  |  |
|  | Select Inductance function on RCL Meter. |  |  |  |  |  |
|  | Short the test probes and zero the RCL meter |  |  |  |  |  |
|  | Connect probes across unknown inductance |  |  |  |  |  |
|  | Read the value on display and record it. |  |  |  |  |  |
|  | Determine the instrument type (attraction/ repulsion/permanent magnet type) |  |  |  |  |  |
|  | Perform isolation of Instruments (if applicable) |  |  |  |  |  |
|  | Establish a method for disassembling activity as per SOP. |  |  |  |  |  |
|  | Use standard tools described in user manual |  |  |  |  |  |
|  | Apply disassembling techniques |  |  |  |  |  |
|  | Organize the tag-identification of the parts/components/wires of instruments. |  |  |  |  |  |
|  | Draw sketches of removable parts (coil, needle, scale, moving iron, balance and control weight, scale, air damping chamber, permanent magnet etc.) |  |  |  |  |  |
|  | Determine the quality of service required for performing the task. |  |  |  |  |  |
|  | Check for the proper operation/ functionality |  |  |  |  |  |
|  | Apply assembling techniques. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the operational procedure of RCL Meter. |  |  |
|  | Differentiate between resistance, capacitance, inductance and impedance. |  |  |
|  | Explain the purpose of zeroing the RCL Meter? |  |  |
|  | Explain law of electro magnetism. |  |  |
|  | Describe the instrument’s functional parameter. |  |  |
|  | Explain the various parts and components of the instrument. |  |  |
|  | Explain Tagging techniques of connections |  |  |
|  | Describe assembling & disassembling technique |  |  |
|  | List down the tools required for dismantling moving iron and permanent magnet type instrument |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature __________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Electrical Instruments and Calibration |
| Competency Standards | Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments |
| Assessment Task | - Measure Capacitance by RCL Meter |
|  | - Measure Inductance by RCL Meter |
|  | - Dismantle and assemble the moving iron and permanent magnet type instrument |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select Capacitance function on RCL Meter. |  |  |
| - Short the test probes and zero the RCL meter |  |  |
| - Connect probes across unknown capacitance |  |  |
| - Read the value on display and record it. |  |  |
| - Select Inductance function on RCL Meter. |  |  |
| - Short the test probes and zero the RCL meter |  |  |
| - Connect probes across unknown inductance |  |  |
| - Read the value on display and record it. |  |  |
| - Determine the instrument type (attraction/ repulsion/permanent magnet type) |  |  |
| - Perform isolation of Instruments (if applicable) |  |  |
| - Establish a method for disassembling activity as per SOP. |  |  |
| - Use standard tools described in user manual |  |  |
| - Apply disassembling techniques |  |  |
| - Organize the tag-identification of the parts/components/wires of instruments. |  |  |
| - Draw sketches of removable parts (coil, needle, scale, moving iron, balance and control weight, scale, air damping chamber, permanent magnet etc.) |  |  |
| - Determine the quality of service required for performing the task. |  |  |
| - Check for the proper operation/ functionality |  |  |
| - Apply assembling techniques. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name__________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Measure Capacitance by RCL Meter - Measure Inductance by RCL Meter - Dismantle and assemble the moving iron and permanent magnet type instrument |
| Time: 2.5 hours | During a practical assessment, under observation by an assessor, you are required to - Measure Capacitance by RCL Meter - Select Capacitance function on RCL Meter. - Short the test probes and zero the RCL meter - Connect probes across unknown capacitance - Read the value on display and record it. - Measure Inductance by RCL Meter - Select Inductance function on RCL Meter. - Short the test probes and zero the RCL meter - Connect probes across unknown inductance - Read the value on display and record it. - Dismantle and assemble the moving iron and permanent magnet type instrument - Determine the instrument type (attraction/ repulsion/permanent magnet type) - Perform isolation of Instruments (if applicable) - Establish a method for disassembling activity as per SOP. - Use standard tools described in user manual - Apply disassembling techniques - Organize the tag-identification of the parts/components/wires of instruments. - Draw sketches of removable parts (coil, needle, scale, moving iron, balance and control weight, scale, air damping chamber, permanent magnet etc.) - Determine the quality of service required for performing the task. - Check for the proper operation/ functionality - Apply assembling techniques. |
| Minimum Evidence Required |  |