Assessors Judgment Guide

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Measure Voltage, Frequency, Capacitance & Inductance by CRO |
| Candidate Details | Name:_______ _______________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure voltage using CRO - Measure frequency using CRO - Measure capacitance using CRO - Measure inductance using CRO |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Shut off the internal horizontal sweep generator |  |  |  |  | S. No 1 to 5 or 6 to 10 May be adopted to carry out voltage measurement. |
|  | Calibrate the CRO against known voltage and adjust the vertical gain. |  |  |  |  |  |
|  | Keep the vertical gain unchanged, apply the unknown voltage to be measured, to the vertical input terminals of the oscilloscope |  |  |  |  |  |
|  | Measure the length of the vertical line obtained |  |  |  |  |  |
|  | Calculate the voltage and record the result. |  |  |  |  |  |
|  | Set the trigger button to auto. |  |  |  |  |  |
|  | Adjust the Vertical and horizontal controls to get sine wave clear and stable image. |  |  |  |  |  |
|  | Now take measurements along the center vertical line which has the smallest divisions. |  |  |  |  |  |
|  | Take Reading of the voltage signal by vertical control. |  |  |  |  |  |
|  | Record the reading. |  |  |  |  |  |
|  | Identify the inputs of CRO for frequency (vertical /horizontal) |  |  |  |  |  |
|  | Adjust various controls as per input frequency. |  |  |  |  |  |
|  | Apply frequency input and read the pattern obtained. |  |  |  |  |  |
|  | Interpret the pattern obtained to calculate frequency. |  |  |  |  |  |
|  | Record the result. |  |  |  |  |  |
|  | Connect 1kohm resistor in series with standard capacitor |  |  |  |  |  |
|  | Set the function generator to output a 1.9 V amplitude, 100 Hz sine wave. |  |  |  |  |  |
|  | Set the voltage and frequency. |  |  |  |  |  |
|  | Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. |  |  |  |  |  |
|  | Connect probes of oscilloscope across capacitor. |  |  |  |  |  |
|  | Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. |  |  |  |  |  |
|  | Calculate the impedance and capacitance from available data. |  |  |  |  |  |
|  | Record the result. |  |  |  |  |  |
|  | Connect 1kohm resistor in series with standard capacitor |  |  |  |  |  |
|  | Set the function generator to output a 1.9 V amplitude, 10kHz sine wave. |  |  |  |  |  |
|  | Set the voltage and frequency. |  |  |  |  |  |
|  | Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. |  |  |  |  |  |
|  | Connect probes of oscilloscope across inductor. |  |  |  |  |  |
|  | Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. |  |  |  |  |  |
|  | Calculate the impedance and inductance from available data. |  |  |  |  |  |
|  | Record the result. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Measure Voltage, Frequency, Capacitance & Inductance by CRO |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain the control knobs for electrical /electronic signals. |  |  |
|  | Explain the instrument measurement principle from time and amplitude screen. |  |  |
|  | Describe the instrument’s functional range. |  |  |
|  | Explain Testing techniques of circuit. |  |  |
|  | Describe reading and measuring techniques for the circuit through oscilloscope/function generator. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature __________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Electrical Instruments and Calibration |
| Competency Standards | Measure Voltage, Frequency, Capacitance & Inductance by CRO |
| Assessment Task | - Measure voltage using CRO |
|  | - Measure frequency using CRO |
|  | - Measure capacitance using CRO |
|  | - Measure inductance using CRO |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Shut off the internal horizontal sweep generator |  |  |
| - Calibrate the CRO against known voltage and adjust the vertical gain. |  |  |
| - Keep the vertical gain unchanged, apply the unknown voltage to be measured, to the vertical input terminals of the oscilloscope |  |  |
| - Measure the length of the vertical line obtained |  |  |
| - Calculate the voltage and record the result. |  |  |
| - Set the trigger button to auto. |  |  |
| - Adjust the Vertical and horizontal controls to get sine wave clear and stable image. |  |  |
| - Now take measurements along the center vertical line which has the smallest divisions. |  |  |
| - Take Reading of the voltage signal by vertical control. |  |  |
| - Record the reading. |  |  |
| - Identify the inputs of CRO for frequency (vertical /horizontal) |  |  |
| - Adjust various controls as per input frequency. |  |  |
| - Apply frequency input and read the pattern obtained. |  |  |
| - Interpret the pattern obtained to calculate frequency. |  |  |
| - Record the result. |  |  |
| - Connect 1kohm resistor in series with standard capacitor |  |  |
| - Set the function generator to output a 1.9 V amplitude, 100 Hz sine wave. |  |  |
| - Set the voltage and frequency. |  |  |
| - Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. |  |  |
| - Connect probes of oscilloscope across capacitor. |  |  |
| - Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. |  |  |
| - Calculate the impedance and capacitance from available data. |  |  |
| - Record the result. |  |  |
| - Connect 1kohm resistor in series with standard capacitor |  |  |
| - Set the function generator to output a 1.9 V amplitude, 10kHz sine wave. |  |  |
| - Set the voltage and frequency. |  |  |
| - Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. |  |  |
| - Connect probes of oscilloscope across inductor. |  |  |
| - Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. |  |  |
| - Calculate the impedance and inductance from available data. |  |  |
| - Record the result. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Electrical Instruments and Calibration |
| --- | --- |
| Competency Standard(s) | Measure Voltage, Frequency, Capacitance & Inductance by CRO |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name__________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Measure voltage using CRO - Measure frequency using CRO - Measure capacitance using CRO - Measure inductance using CRO |
| Time: 2 hours | During a practical assessment, under observation by an assessor, you are required to - Measure voltage using CRO - Shut off the internal horizontal sweep generator - Calibrate the CRO against known voltage and adjust the vertical gain. - Keep the vertical gain unchanged, apply the unknown voltage to be measured, to the vertical input terminals of the oscilloscope - Measure the length of the vertical line obtained - Calculate the voltage and record the result. OR - Set the trigger button to auto. - Adjust the Vertical and horizontal controls to get sine wave clear and stable image. - Now take measurements along the center vertical line which has the smallest divisions. - Take Reading of the voltage signal by vertical control. - Record the reading. - Measure frequency using CRO - Identify the inputs of CRO for frequency (vertical /horizontal) - Adjust various controls as per input frequency. - Apply frequency input and read the pattern obtained. - Interpret the pattern obtained to calculate frequency. - Record the result. - Measure capacitance using CRO - Connect 1kohm resistor in series with standard capacitor - Set the function generator to output a 1.9 V amplitude, 100 Hz sine wave. - Set the voltage and frequency. - Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. - Connect probes of oscilloscope across capacitor. - Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. - Calculate the impedance and capacitance from available data. - Record the result. - Measure inductance using CRO - Connect 1kohm resistor in series with standard inductor - Set the function generator to output a 1.9 V amplitude, 10kHz sine wave. - Set the voltage and frequency. - Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. - Connect probes of oscilloscope across inductor. - Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. - Calculate the impedance and inductance from available data. - Record the result. |
| Minimum Evidence Required |  |