Instruction Sheet for the Candidate

| Qualification | National Qualification Automation & Process Control (Level 5) Basic Electrical Wiring (Single Phase) (Level 2) |
| --- | --- |
| Competency Standard | - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase Wiring - Carryout single phase wiring connection - Install Simple Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Repair/ Maintenance of Electrical Installations in Single Phase - Repair/ Maintenance and Service of Home Appliance - Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Prepare Distribution Board for single Phase - Make series/test lamp circuit. - Perform PLC wiring - Diagnose fault and repair electric iron |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Prepare Distribution Board for single Phase 1. Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. 2. Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. 3. Select outgoing Miniature Circuit Breaker (MCB) according to load 4. Provide space for future MCB 5. Select Voltmeter, ampere meter and indicator according to load and phases. 6. Select wire according to load and for wiring in Distribution Board (DB). 7. Make neutral common for all load 8. Connect accessories according to the circuit diagram Make series/test lamp circuit. - Draw wiring diagram of series circuit. - Draw Current path diagram of series circuit. - Draw layout diagram of series circuit. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply Perform PLC wiring - Identify and understand the polarity and position of each input and Output - Upon identifying Input and output attach the PLC to DIN rail system - Laying out the industry standard terminal blocks around the PLC and make sure safety standards meet. - Wring a circuit breaker using safety standards - Wire the PLC using its respective diagram and make sure all AC and Or DC inputs and outputs are energized properly. - Tag the wire by use wire numbering. Diagnose fault and repair electric iron - Dismantle the electric Iron for internal tests/servicing/repairs according to manufacturer’s instructions - Check the continuity of wire/switch/protective device by using specified test - Inspect visual defects such as, loose connection, short circuit, insulation and temperatures. - Check the thermostats by using specified test instruments to detect defects. - Diagnose the faulty area - Clean the parts of the iron with specified cleaning material - Repair/replace the faulty parts of iron as per diagnosed fault. - Re assembled the iron and check iron in test bench as per standard. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Qualification Automation & Process Control (Level 5) Basic Electrical Wiring (Single Phase) (Level 2) |
| Competency Standard | - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase Wiring - Carryout single phase wiring connection - Install Simple Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Repair/ Maintenance of Electrical Installations in Single Phase - Repair/ Maintenance and Service of Home Appliance - Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | summative Assessment |
| Assessment Task | - Prepare Distribution Board for single Phase - Make series/test lamp circuit. - Perform PLC wiring - Diagnose fault and repair electric iron |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| 1. Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. |  |  |
| 2. Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. |  |  |
| 3. Select outgoing Miniature Circuit Breaker (MCB) according to load |  |  |
| 4. Provide space for future MCB |  |  |
| 5. Select Voltmeter, ampere meter and indicator according to load and phases. |  |  |
| 6. Select wire according to load and for wiring in Distribution Board (DB). |  |  |
| 7. Make neutral common for all load |  |  |
| 8. Connect accessories according to the circuit diagram |  |  |
| - Draw wiring diagram of series circuit. |  |  |
| - Draw Current path diagram of series circuit. |  |  |
| - Draw layout diagram of series circuit. |  |  |
| - Mark on working board according to layout diagram. |  |  |
| - Install accessories according to layout diagram. |  |  |
| - Lay wires in duct/pipe according to layout diagram. |  |  |
| - Make connections according to wiring diagram. |  |  |
| - Check the circuit before connect the main supply. |  |  |
| - Make connection with main supply. |  |  |
| - Check the function of circuit after connect the main supply |  |  |
| - Identify and understand the polarity and position of each input and Output |  |  |
| - Upon identifying Input and output attach the PLC to DIN rail system |  |  |
| - Laying out the industry standard terminal blocks around the PLC and make sure safety standards meet. |  |  |
| - Wring a circuit breaker using safety standards |  |  |
| - Wire the PLC using its respective diagram and make sure all AC and Or DC inputs and outputs are energized properly. |  |  |
| - Tag the wire by use wire numbering. |  |  |
| - Dismantle the electric Iron for internal tests/servicing/repairs according to manufacturer’s instructions |  |  |
| - Check the continuity of wire/switch/protective device by using specified test |  |  |
| - Inspect visual defects such as, loose connection, short circuit, insulation and temperatures. |  |  |
| - Check the thermostats by using specified test instruments to detect defects. |  |  |
| - Diagnose the faulty area |  |  |
| - Clean the parts of the iron with specified cleaning material |  |  |
| - Repair/replace the faulty parts of iron as per diagnosed fault. |  |  |
| - Re assembled the iron and check iron in test bench as per standard. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Qualification Automation & Process Control (Level 5) Basic Electrical Wiring (Single Phase) (Level 2) |
| --- | --- |
| Competency Standard | - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase Wiring - Carryout single phase wiring connection - Install Simple Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Repair/ Maintenance of Electrical Installations in Single Phase - Repair/ Maintenance and Service of Home Appliance - Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare Distribution Board for single Phase - Make series/test lamp circuit. - Perform PLC wiring - Diagnose fault and repair electric iron |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. |  |  |  |  |  |
|  | Selected Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. |  |  |  |  |  |
|  | Selected outgoing Miniature Circuit Breaker (MCB) according to load |  |  |  |  |  |
|  | Provided space for future MCB |  |  |  |  |  |
|  | Selected Voltmeter, ampere meter and indicator according to load and phases. |  |  |  |  |  |
|  | Selected wire according to load and for wiring in Distribution Board (DB). |  |  |  |  |  |
|  | Made neutral common for all load |  |  |  |  |  |
|  | Connected accessories according to the circuit diagram |  |  |  |  |  |
|  | Drew wiring diagram of series circuit. |  |  |  |  |  |
|  | Drew Current path diagram of series circuit. |  |  |  |  |  |
|  | Drew layout diagram of series circuit. |  |  |  |  |  |
|  | Marked on working board according to layout diagram. |  |  |  |  |  |
|  | Installed accessories according to layout diagram. |  |  |  |  |  |
|  | Laid wires in duct/pipe according to layout diagram. |  |  |  |  |  |
|  | Made connections according to wiring diagram. |  |  |  |  |  |
|  | Checked the circuit before connect the main supply. |  |  |  |  |  |
|  | Made connection with main supply. |  |  |  |  |  |
|  | Checked the function of circuit after connect the main supply |  |  |  |  |  |
|  | Identified and understand the polarity and position of each input and Output |  |  |  |  |  |
|  | Upon identifying Input and output attached the PLC to DIN rail system |  |  |  |  |  |
|  | Laying out the industry standard terminal blocks around the PLC and made sure safety standards meet. |  |  |  |  |  |
|  | Wired a circuit breaker using safety standards |  |  |  |  |  |
|  | Wired the PLC using its respective diagram and made sure all AC and Or DC inputs and outputs are energized properly. |  |  |  |  |  |
|  | Tagged the wire by use wire numbering. |  |  |  |  |  |
|  | Dismantled the electric Iron for internal tests/servicing/repairs according to manufacturer’s instructions |  |  |  |  |  |
|  | Checked the continuity of wire/switch/protective device by using specified test |  |  |  |  |  |
|  | Inspected visual defects such as, loose connection, short circuit, insulation and temperatures. |  |  |  |  |  |
|  | Checked the thermostats by using specified test instruments to detect defects. |  |  |  |  |  |
|  | Diagnosed the faulty area |  |  |  |  |  |
|  | Cleaned the parts of the iron with specified cleaning material |  |  |  |  |  |
|  | Repaired/replaced the faulty parts of iron as per diagnosed fault. |  |  |  |  |  |
|  | Re-assembled the iron and checked iron in test bench as per standard. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Qualification Automation & Process Control (Level 5) Basic Electrical Wiring (Single Phase) (Level 2) |
| --- | --- |
| Competency Standard | - Maintain Tools & Equipment for Single Phase Wiring - Make Cable/Wire Joints for Single Phase Wiring - Prepare and Install Distribution Boards for Single Phase Wiring - Carryout single phase wiring connection - Install Simple Single Phase Electrical Wiring - Perform Testing of Electrical Wiring - Repair/ Maintenance of Electrical Installations in Single Phase - Repair/ Maintenance and Service of Home Appliance - Install Single Phase Complex Electrical Wiring |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Differentiate between Fuse and Circuit breaker |  |  |  |
|  | RCCB are used for over load protection electrical wiring systems. |  |  |  |
|  | - TRUE - FALSE |  |  |  |
|  | Two way switch is cannot use in bedroom |  |  |  |
|  | - TRUE - FALSE |  |  |  |
|  | Megger is used to measure |  |  |  |
|  | a) voltage b) current c) resistance d) capacitance |  |  |  |
|  | Define function of compressor in air-conditioner |  |  |  |
|  | Circuit Breakers are placed in neutral wire |  |  |  |
|  | - TRUE - FALSE |  |  |  |
|  | Ammeter is installed in Parallel with the Loads. |  |  |  |
|  | - TRUE - FALSE |  |  |  |
|  | In Single phase AC motor direction of rotation can be changed with the help of capacitor |  |  |  |
|  | - TRUE - FALSE |  |  |  |
|  | Red, Blue, yellow colors are used for Phase (Live wire) |  |  |  |
|  | - TRUE - FALSE |  |  |  |
|  | Explain the function of distribution box |  |  |  |
| Feedback to the Candidate |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |