Instruction Sheet for the Candidate

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | - Make Cable/Wire Joints for Three Phase - Prepare and Install Distribution Boards for Three Phase - Install Three Phase Electrical Wiring - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Diagnose Electrical Fault in Generator - Repair/ Maintain Electrical Installations of Three Phase |
| Purpose of Assessment | Summative assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet th is standard, you are required to complete the following within 05Hrs. Time frame (for practical demonstration & assessment): |
| Time: 05Hrs. | During a practical assessment, under observation by an assessor, you are required to PREPARE, INSTALL AND TEST A 3 PHASE COMPLEX ELECTRICAL DISTRIBUTION BOARD…. - CONNECT TO 3 PHASE INPUT (WAPDA), 3PHASE GENERATOR THROUGH CHANGE OVER SWITCH. - CONNECT TO 3 PHASE DOMESTIC WIRING LOAD BY CONTROLLING THE ON/OFF OF MOTOR THROUGH MAGNETIC CONTACTORS. |
| Minimum Evidence Required | Draw Basic Drawings. Arrange Tools and Equipment as per job requirement. Adjust zero error of tools and equipment Insulate Tools and Equipment Arrange Installing accessories. Select distribution board as per size. Install accessories on distribution board Carryout connection with input (WAPDA) Carryout connection with input (GENARATOR) Test the board. Carryout connection with load Diagnose the fault if any Repair the fault if any. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Complex electrical wiring ( three phase) |
| Competency Standard | - Make Cable/Wire Joints for Three Phase - Prepare and Install Distribution Boards for Three Phase - Install Three Phase Electrical Wiring - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Diagnose Electrical Fault in Generator - Repair/ Maintain Electrical Installations of Three Phase |
| Purpose of Assessment |  |
| Assessment Task | PREPARE, INSTALL AND TEST A 3 PHASE COMPLEX ELECTRICAL DISTRIBUTION BOARD AND. 1) CONNECT TO 3 PHASE INPUT (WAPDA), 3PHASE GENERATOR THROUGH CHANGE OVER SWITCH. 2) CONNECT TO 3 PHASE DOMESTIC WIRING AND USE MAGNATIC CONTACTOR FOR THE CONTROLLING OF 3 PHASE MOTOR. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Draw Basic Drawings |  |  |
| Arrange Tools and Equipment as per job requirement. |  |  |
| Adjust zero error of tools and equipment |  |  |
| Insulate Tools and Equipment |  |  |
| Arrange Installing accessories. |  |  |
| Select distribution board as per size. |  |  |
| Install accessories on distribution board |  |  |
| Carryout connection with input (WAPDA) |  |  |
| Carryout connection with input (GENARATOR) |  |  |
| Test the board. |  |  |
| Carryout connection with load |  |  |
| Diagnose the fault if any |  |  |
| Repair the fault if any. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | - Make Cable/Wire Joints for Three Phase - Prepare and Install Distribution Boards for Three Phase - Install Three Phase Electrical Wiring - Install Three Phase Complex Electrical Wiring - Perform Testing of Electrical Wiring - Diagnose Electrical Fault in Generator - Repair/ Maintain Electrical Installations of Three Phase |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | PREPARE, INSTALL AND TEST A 3 PHASE COMPLEX ELECTRICAL DISTRIBUTION BOARD AND. 1) CONNECT TO 3 PHASE INPUT (WAPDA), 3PHASE GENERATOR THROUGH CHANGE OVER SWITCH. 2) CONNECT TO 3 PHASE DOMESTIC WIRING AND USE MAGNATIC CONTACTOR FOR THE CONTROLLING OF 3 PHASE MOTOR. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Drew Basic Drawings. |  |  |  |  |  |
|  | Arranged Tools and Equipment as per job requirement. |  |  |  |  |  |
|  | Adjusted zero error of tools and equipment |  |  |  |  |  |
|  | Insulated Tools and Equipment |  |  |  |  |  |
|  | Arranged Installing accessories. |  |  |  |  |  |
|  | Selected distribution board as per size. |  |  |  |  |  |
|  | Installed accessories on distribution board |  |  |  |  |  |
|  | Carried out connection with input (WAPDA) |  |  |  |  |  |
|  | Carried out connection with input (GENARATOR) |  |  |  |  |  |
|  | Test the board. |  |  |  |  |  |
|  | Carryout connection with load |  |  |  |  |  |
|  | Diagnosed the fault if any |  |  |  |  |  |
|  | Repaired the fault if any. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Diagnose Electrical Fault in Generator |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | List names of Cable/Wire Joints for Three Phase |  |  |
|  | Describe types of testing of electrical wiring. |  |  |
|  | Describe DC alternator |  |  |
|  | Enlist types of Relays. |  |  |
|  | List types of electric circuit breaker. |  |  |
|  | Define star/delta circuit. |  |  |
|  | Write Uses of On/Off Cam Switch circuit. |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________