National Vocational Certificate Level 3 in Electrical Technology

(Electric Lab Technician)

Competency Standards (CS) Document

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

Introduction	4

Purpose of the Qualification	5

Common Courses with respective levels	6

Levelling of Core Competencies of the Qualification along with the occupations	7

Packaging of Occupations	9

Mapping of the Qualifications	10

Date of Validation	11

Date of Review	11

Codes of Qualifications	11

Members of Qualifications Development Committee	12

Members of Qualification Validation Committee	13

Entry Requirements	13

Detail of Competency Standards	14

0713E&E1 Install Computer Operating Systems and Hardware	14

0713E&E2-Operate Word-Processing Applications	17

0713E&E3 Operate Spreadsheet Applications	20

0713E&E4 Operate Presentation Packages	23

0713E&E5-Perform Writing and Editing Tasks	26

0713E&E6 Perform Computer Operations	29

0713E&E7 Use Computer Applications	32

0713E&E8 Create User Documentation	36

0713E&E9 Create Technical Documentation	38

0713E&E10 Create Basic Databases	41

0713E&E11 Operate Digital Media Technology	43

0713E&E12 Use Social Media Tools for Collaboration and Engagement	45

0713E&E13 Use Digital Devices	47

0713E&E14 Operate Measuring Instruments	50

0713E&E15 Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.	53

0713E&E16 Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence	57

0713E&E17 Operate Oscilloscope	63

0713E&E18 Implement Electromagnet to See Various Effects & Verify Faradays Law.	66

0713E&E19 Verify Law of Combination of Capacitor & Determine Break Down Voltage of Capacitor.	70

0713E&E20 Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension	72

0713E&E21 Measure Temperature, Earth Resistance, Light Intensity	74

0713E&E22 Measure the Resistance and High DC Current by Using Shunt.	77

0713E&E23 Measure Voltage, Frequency, Capacitance &Inductance by CRO	79

0713E&E24 Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments.	82

0713E&E25 Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre.	85

0713E&E26 Calibrate Electrical Equipment	88

# Introduction

The Technical and Vocational is a profession that is increasingly getting attention in Pakistan, not only among the youth seeking to enter the industry but also among adults who wish to polish their skills to develop a career out of it. Scope and demand of Electrical engineers, supervisors, operator, and technician is very high in Pakistan due to fast growing economic zone like CPEC. There are more job opportunities for electrical technician and supervisors in Pakistan than any other field of engineering. Pakistan is still facing energy crises, for need for more power houses, renewable energy sources is being felt which will definitely result in more demand of electrical engineers.

CBT based level 1-5 course in Electrical Technology with updated concepts, not only allows students to equip with growing Industrial trends but will be beneficial in capturing the job market across the globe. The course is divided into sub fields like electronics, computer engineering, power engineering, telecommunications, control systems and microelectronics in respective levels. Many of these sub disciplines overlap with other engineering branches, spanning a huge number of specializations such as hardware engineering, power electronics, avionics, mechatronics and nanotechnology.

Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector, “Reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.”

“Power sector reform should be a top priority, as few other reforms could yield economic gains of a similar magnitude so quickly, based on findings from this report,” says Fan Zhang, Senior Economist at the World Bank. “If well designed, these reforms will directly benefit the poor by increasing access, improving reliability, and reducing cost and pollution.”

# Purpose of the Qualification

Based upon this demand of industry these competency‐based qualifications for Electrical Technology are developed under National Vocational Qualification Framework (Level 1 to 5). The qualifications mainly cover competencies along with related knowledge and professional attitude which is essential for getting a job or self-employed.

The qualifications are also in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF). This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Competency Standards could be used as a referral document for the development of curricula to be used by training institutions.

The purpose of the training is to provide the basic skills to the trainees in the field of Electrical and convert it into value added product which is acceptable by International market reducing the line losses and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

# Common Courses with respective levels

LEVEL 3

LEVEL 2

LEVEL 4

LEVEL 5

# Levelling of Core Competencies of the Qualification along with the occupations

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 3 |  |  |  |  |  |  |  |
| Install Computer Operating Systems And Hardware | Digital Skills | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Word-Processing Applications |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Spreadsheet Applications |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Presentation Packages |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Perform Writing And Editing Tasks |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Perform Computer Operations |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Use Computer Applications |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Create User Documentation |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Create Technical Documentation |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Create Basic Databases |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Operate Digital Media Technology |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Use Social Media Tools For Collaboration And Engagement |  | Level 3 | Generic | 3 | 18 | 21 | 2.1 |
| Use Digital Devices |  | Level 3 | Generic | 6 | 18 | 24 | 2.4 |
| Operate Measuring Instruments. | Electrical Lab Technician | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Operate Oscilloscope |  | Level 3 | Technical | 6 | 21 | 27 | 2.7 |
| Implement Electromagnet to See Various Effects & Verify Faradays Laws. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension | Calibration Technician | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Temperature, Earth Resistance, Light Intensity |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure the Resistance, Measure High Dc Current by Using Shunt. |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Measure Voltage, Frequency, Capacitance & Inductance by CRO |  | Level 3 | Technical | 6 | 21 | 27 | 2.7 |
| Measure Capacitance and Inductance by RLC Meter, Dismantle and Assemble the Instruments |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Identify The Parts and Connection of Energy Meter(Single/3-Phase), Factor(Pf) Meter, MDI Meter, Megger |  | Level 3 | Technical | 6 | 18 | 24 | 2.4 |
| Calibrate Electrical Equipment’s |  | Level 3 | Technical | 6 | 24 | 30 | 3 |
| Total |  |  |  | 120 | 480 | 600 | 60 |
| Percentage |  |  |  | 20 | 80 |  |  |

# Packaging of Occupations

The National Vocational Qualifications have been packaged as detailed below:

Level 3

(Electric Lab Technician, Calibration Technician)

Electrical Lab Technician (Major)

- Operate Measuring Instruments.

- Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

- Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

- Operate Oscilloscope

- Implement Electromagnet to See Various Effects & Verify Faradays Laws.

- Verify Law of Combination of Capacitor and Determine Break down voltage of Capacitor.

Calibration Technician

- Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension

- Measure Temperature, Earth Resistance, Light Intensity

- Measure the Resistance, Measure High Dc Current by Using Shunt.

- Measure Voltage, Frequency, Capacitance & Inductance by CRO

- Measure Capacitance and Inductance by RLC Meter, Dismantle and Assemble the Instruments

- Identify The Parts and Connection of Energy Meter(Single/3-Phase), Factor(Pf) Meter, MDI Meter, Megger

- Calibrate Electrical Equipment

# Mapping of the Qualifications

AC DC Machines…

Power Electronics…..

Analog Electronics

Digital Electronics

Wiring

Soft Skills

Digital Skills

Entrepreneurship

Microcontrollers

Analog Electronics

Digital Electronics

Process Variable Measurements….

# Date of Validation

The level 5 of National DAE qualification on Electrical has been validated by the Qualifications Validation Committee (QVC) members on 23-25 May, 2019 and will remain valid for ten years i.e 25 May, 2029

# Date of Review

The level 5 of National DAE qualification on Electrical has been validated by the Qualifications Validation Committee (QVC) members on 23-25 May, 2019 and shall be reviewed after three years i.e. 26 May, 2022

# Codes of Qualifications

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| ISCED Classification for Electrical Technology level 5 |  |
| --- | --- |
| Code | Description |
| 0713E&E(1) | National Vocational Certificate Level 1 in Electrical Technology |
| 0713E&E(2) | National Vocational Certificate Level 2 in Electrical Technology |
| 0713E&E(3) | National Vocational Certificate Level 3 in Electrical Technology |
| 0713E&E(4) | National Vocational Certificate Level 4 in Electrical Technology |
| 0713E&E(5) | National Vocational Diploma Level 5 in Electrical Technology |

# Members of Qualifications Development Committee

The following members participated in the qualification development of this qualification:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Aijaz Ahmed Zia | Design & Application Engineer | INTECH Process Automation. Lahore |
| 2 | Amir Amin | HOD Electrical, Research Associate LUMS | City Polytechnic |
| 3 | Muhammad Faheem Anjum | Chief Instructor Electrical | P-TEVTA |
| 4 | Muhammad Asad | Instructor Electrical | P-TEVTA |
| 5 | Tahreem Javeed | Lab Engineer | The University of Lahore |
| 6 | Huma Naeem | Research Associate | COMSATS Lahore |
| 7 | Engr.Inayat Ur Rehman | DACUM Facilitator | KPK-TEVTA |
| 8 | Muhammad Yasir | NAVTTC Coordinator | NAVTTC HQ Islamabad |

# Members of Qualification Validation Committee

The following members participated in the qualifications validation of this qualification:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Israr Ahmaad | DD Academia | KP-TEVTA |
| 2 | Muhammad Yasir | NAVTTC Coordinator | NAVTTC HQ Islamabad |
| 3 | Sayeda Fatima Iqbal | System Analyst | PBTE Lahore |
| 4 | Danish Khan | Calibration Engineer | NPSL(PCSIR) Islamabad |
| 5 | Ghulam Rasool Maka | Vice Principal | S TEVTA |
| 6 | Muhammad Mehboob butt | Associate Professor | P TEVTA |
| 7 | Inayat Ur Rehman | EX Professor/ Ex-Director Academics | KP-TEVTA |
| 8 | Muhammad Asad | Instructor Electrical | P-TEVTA |

# Entry Requirements

The entry level for National Vocational Certificate Level 3 in Electrical Technology is:

- A person having National Vocational Certificate Level 1&2 in Electrical Technology

# Detail of Competency Standards

### 0713E&E1 Install Computer Operating Systems and Hardware

Overview:

This unit describes the performance outcomes, skills and knowledge required to select, configure and use computer operating systems and basic computer hardware.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Identify operating system and hardware components | - Determine ICT organizational requirements and specifications - Identify and select operating system - Identify appropriate external hardware components - Identify internal hardware components |
| - Install and configure operating system and application software with hardware components | - Install and configure operating system to meet organizational requirements - Identify the functions associated with the operating system and associated boot process - Configure power-management settings to minimize power consumption as an environmentally sustainable measure - Use both the graphical user interface and the command line interface to perform basic tasks - Install or upgrade application software onto the operating system and hardware configuration - Determine the relationship between an application program, the operating system and hardware - Identify general differences between the different computer platforms and their respective operating systems |
| - 3. Optimize operating system and hardware components | - Optimize operating system using included tools or third-party utilities - Customize the graphical user interface - Use techniques unique to the command line interface - Set up and configure external hardware components and check functionality - Install drivers as appropriate and check functionality |

Knowledge and understanding

- Basic knowledge of current industry-accepted operating system, hardware and software products

- Compatibility of an operating system, in respect to other versions

- Function of single-user and multi-user operating systems

- Interoperability between operating systems

- OHS principles and responsibilities, including ergonomic principles to avoid injury associated with using computer systems.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

A person who demonstrates competency in this unit must be able to provide evidence of the ability to select, configure and use computer operating systems and basic computer hardware. The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other circumstances and environments.

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Use an operating system in a variety of scenarios and across functions, including:

  - scheduling, loading, initiating, and supervising the execution of programs

  - allocating storage

  - initiating and controlling input and output operations

  - handling errors

- Identify and install suitable hardware components

- Install and upgrade application software.

### 0713E&E2-Operate Word-Processing Applications

Overview:

This unit describes the skills and knowledge required to operate word- processing applications and perform basic operations, including creating and formatting documents, creating tables and printing labels. It applies to individuals in the workplace using fundamental knowledge of word-processing under direct supervision or with limited responsibility.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - 1. Create documents | - Open word-processing application, create document and add data according to information requirements - Use document templates as required - Use simple formatting tools when creating the document - Save document to directory |
| - Customize basic settings to meet page layout conventions | - Adjust page layout to meet information requirements - Open and view different toolbars - Change font format to suit document purpose - Change alignment and line spacing according to document information requirements - Modify margins to suit the document purpose - Open and switch between several documents |
| - Format documents | - Use formatting features and styles as required - Highlight and copy text from another area in the document or from another active document - insert headers and footers to incorporate necessary data - have document in another file format - have and close document to a storage device |
| - Create tables | - Insert standard table into document - Change cells to meet information requirements - Insert and delete columns and rows as necessary - Use formatting tools according to style requirements |
| - Add images | - Insert appropriate images into document and customize as necessary - Position and resize images to meet document formatting needs |
| - Print documents | - Preview document in print preview mode - Select basic print settings - Print document or part of document from printer |

Knowledge and understanding

- describe formatting styles and their effect on formatting, readability and appearance of documents

- identify organizational requirements for ergonomics, including work periods and breaks

- select organizational style guide to use

- Outline purpose, use and function of word-processing software.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- follow organizational ergonomic work health and safety (WHS) requirements and practices

- create, open and retrieve documents using customized basic settings

- format documents by creating tables and adding text, objects and images

- Save and prints documents.

### 0713E&E3 Operate Spreadsheet Applications

Overview:

This unit describes the skills and knowledge required to operate word- processing applications and perform basic operations, including creating and formatting documents, creating tables and printing labels. It applies to individuals in the workplace using fundamental knowledge of word-processing under direct supervision or with limited responsibility.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Create presentations | - Open presentation package and create a simple design for a presentation according to organizational requirements - Open blank presentation and add text and graphics - Apply existing styles within a presentation - Use presentation template and slides to create a presentation - Use various tools to improve the look of the presentation - Save presentation to the appropriate storage device and folder |
| - Customize basic settings | - Adjust display to meet user requirements - Open and view different toolbars to view options - Ensure font settings are appropriate for the presentation purpose - View multiple slides at once |
| - Format presentations | - Use and incorporate organizational charts and bulleted lists, and modify as required - Add objects and manipulate to meet presentation purposes - Import objects and modify for presentation purposes - Modify slide layout, including text and colors, to meet presentation requirements - Use formatting tools as required within the presentation - Duplicate slides within and across a presentation - Reorder sequence of slides and delete slides for presentation purposes - Save presentation in another format - Save to storage device and close presentation |
| - Add slide show effects | - Incorporate pre-set animation and multimedia effects into presentation as required to enhance the presentation - Add slide transition effects to presentation to ensure smooth progression through the presentation - Test presentation for overall effect - Use onscreen navigation tools to start and stop slide show or move between different slides as required |
| - Print presentation and notes | - Select appropriate print format for presentation - Select preferred slide orientation - Add notes and slide numbers - Preview slides and run spell check before presentation - Print selected slides and submit presentation to appropriate person for feedback |

Knowledge and understanding

- list basic technical terminology to read help files and prompts

- outline the different types of:

- formal and informal presentations

- audience

- explain the effect of design and formatting on the readability and usability of presentations

- outline presentation pitfalls

- Identify suitable presentation effects for different audiences.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- create, format and prepare presentations for distribution and display

- customize basic settings

- Add slide show effects.

### 0713E&E4 Operate Presentation Packages

Overview:

This unit describes the skills and knowledge required to operate word- processing applications and perform basic operations, including creating and formatting documents, creating tables and printing labels. It applies to individuals in the workplace using fundamental knowledge of word-processing under direct supervision or with limited responsibility.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Create spreadsheets | - Open the spreadsheet application, create spreadsheet files and enter numbers, text and symbols into cells according to information requirements - Enter simple formulas and functions using cell referencing when required - Correct formulas when error messages occur - Use a range of common tools during spreadsheet development - Edit columns and rows within the spreadsheet - Use the auto-fill function to increment data where required - Save the spreadsheet to a folder on a storage device |
| - Customize basic settings | - Adjust page layout to meet user requirements or special needs - Open and view different toolbars - Change font settings so they are appropriate for the document purpose - Change alignment options and line spacing according to spreadsheet formatting features - Format cell to display different styles as required - Modify margin sizes to suit the purpose of the spreadsheets - View multiple spreadsheets concurrently |
| - Format spreadsheet | - Use formatting features as required - Copy selected formatting features from another cell in the spreadsheet or from another active spreadsheet - Use formatting tools as required within the spreadsheet - Align information in a selected cell as required - Insert headers and footers using formatting features - Save spreadsheet as another file type - Save to storage device and close spreadsheet |
| - Incorporate object and chart in spreadsheet | - Import an object into an active spreadsheet - Manipulate imported object by using formatting features - Create a chart using selected data in the spreadsheet - Display selected data in a different chart - Modify chart using formatting features |
| - Print spreadsheet | - Preview spreadsheet in print preview mode - Select basic printer options - Print spreadsheet or selected part of spreadsheet - Submit the spreadsheet to appropriate person for approval or feedback |

Knowledge and understanding

- list basic technical terminology related to reading help files and prompts

- explain the effect of formatting and appearance on the readability and usability of spreadsheets

- outline log-in procedures relating to accessing a personal computer (PC)

- describe the purpose, use and function of spreadsheet applications

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- create spreadsheets

- customize basic settings

- format spreadsheets

- create basic formulas

- insert objects and charts in spreadsheets

- Save and print spreadsheets.

### 0713E&E5-Perform Writing and Editing Tasks

Overview:

This unit describes the skills and knowledge required to apply the conventions of plain English to writing and editing tasks of different forms. It also includes editing and proofreading techniques. It applies to individuals in various writing contexts who write and edit texts using appropriate language, style, grammar, spelling, and standard conventions for editing and proofreading.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Apply clear and appropriate language and style to writing and editing tasks | - Use safe work practices including addressing ergonomic requirements when undertaking writing tasks - Use clear, concise and plain English in writing and editing tasks - Apply appropriate paragraph structure to written material to ensure clarity of meaning and ease of reading - Make clear and logical connections between sentences, paragraphs and sections - Determine and incorporate the language and style of the audience |
| - Apply the appropriate voice, tone and tense | - Determine appropriate voice, tone and tense of the written materials according to audience requirements - Maintain consistent voice, tone and tense throughout written material |
| - Apply appropriate grammar, spelling and punctuation | - Apply appropriate grammar conventions to a range of written contexts including use of numbers, quotations, and tables - Apply appropriate spelling and punctuation conventions in writing and editing tasks. |
| - Perform editing and proofreading tasks to meet requirements | - Edit written material to ensure clear meaning through language and paragraphs, consistent voice, tone and tense - Copyedit written material by checking grammar, spelling and punctuation using standard editing conventions - Proofreading using style guides and by monitoring written material for errors |

Knowledge and understanding

- main features of clear, concise and plain English language for written material

- grammar, punctuation and spelling conventions that meet the task requirements

- editing conventions used in substantive editing and copyediting of written material

- basic software used to write and collect feedback

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- write and edit at least one written material (2500-4000 words) and edit another material written by another author (2500-4000 words), of different forms (e.g. blog, journal, book) that demonstrate use of:

  - clear and concise language

  - clear and logical paragraph structures

  - appropriate voice, tone, tense and language

  - plain English grammar, spelling and punctuation

  - accepted grammar conventions for a range of written contexts including use of numbers, quotation and tables

  - standard editing conventions

- complete editing and proofreading tasks using handwritten and digital methods

- accurately follow a style guide where required

Follow relevant health and safety practices for writing tasks

### 0713E&E6 Perform Computer Operations

Overview:

This unit covers the knowledge, skills and attitudes and values needed to perform computer operations which include inputting, accessing, producing and transferring data using the appropriate hardware and software.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Plan and prepare for task to be undertaken | - Requirements of task are determined as per standard - operating procedures - Appropriate hardware and software is selected according to task assigned and required outcome - Task is planned to ensure |
| - Input data into computer | - Data are entered into the computer using appropriate program/application in accordance with company procedures - Accuracy of information is checked and information is saved in accordance with standard operating procedures - Inputted data are stored in storage media according to requirements - Work is performed within ergonomic guidelines |
| - Access information using computer | - Correct program/application is selected based on job requirements - Program/application containing the information required is accessed according to company procedures - Desktop icons are correctly selected, opened and - closed for navigation purposes - Keyboard techniques are carried out in line with OH &S requirements for safe use of keyboards |
| - Produce/output data using computer system | - Entered data are processed using appropriate software commands - Data are printed out as required using computer hardware/peripheral devices in accordance with standard operating procedures - Files and data are transferred between compatible - systems using computer software, hardware/ peripheral - devices in accordance with standard operating - procedures |
| - Maintain computer equipment and systems | - Systems for cleaning, minor maintenance and replacement of consumables are implemented - Procedures for ensuring security of data, including regular back-ups and virus checks are implemented in accordance with standard operating procedures - Basic file maintenance procedures are implemented in line with the standard operating procedures |

Knowledge and understanding

- Basic ergonomics of keyboard and computer use

- Main types of computers and basic features of different operating systems

- Main parts of a computer

- Storage devices and basic categories of memory

- Relevant types of software

- General security

- Viruses

- OH & S principles and responsibilities

- Calculating computer capacity

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Selected and used hardware components correctly and according to the task requirement

- Identified and explain the functions of both hardware and software used, their general features and capabilities

- Produced accurate and complete data in accordance with the requirements

- Used appropriate devices and procedures to transfer files/data accurately

- Maintained computer system

### 0713E&E7 Use Computer Applications

Overview:

This unit describes the performance outcomes, skills and knowledge required to identify, select and operate three commercial software packages, including a word-processing, a spreadsheet and presentation application package.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Use appropriate OHS office work practices | - Use safe work practices to ensure ergonomic, work organization, energy and resource conservation requirements are addressed - Use wrist rests and document holders where appropriate - Use monitor anti-glare and radiation reduction screens where appropriate |
| - Install and remove software | - Select software to be installed - Follow installation instructions - Delete unrequired software |
| - Use appropriate word-processing software | - Select word-processing software appropriate to perform activity - Identify document purpose, audience and presentation requirements, and clarify with personnel as required - Identify organizational requirements for text-based business documents and design document structure and layout to ensure consistency of style and image - Match document requirements with software functions to provide efficient production of documents - Use technical functions, other data and formatting to finalize documents - Ensure the naming and storing of documents in appropriate directories or folders and the printing of documents to the required specifications |
| - Use appropriate spreadsheet software | - Select spreadsheet software appropriate to perform activity - Identify document purpose, audience and presentation requirements, and clarify with personnel as required - Enter simple formulas and functions using cell referencing where required - Customize spreadsheet settings and format documents to meet requirements - Ensure the naming and storing of documents in appropriate directories or folders and the printing of documents to the required specifications |
| - Use appropriate presentation software | - Select software application package appropriate to perform activity - Identify purpose, audience and presentation requirements, and clarify with personnel as required - Use technical functions, other data and formatting to finalize documents - Ensure documents are named and stored in appropriate directories or folders and printed to required specifications - Make a presentation |

Knowledge and understanding

- Application software packages used by the organization

- Basic technical terminology related to reading help files and responding to system help prompts

- Basic knowledge of system usage

- Current business practices related to using software to prepare reports

- Features and functions of commercial computing packages

- Import and export software functions

- Linking documents

- OHS principles and responsibilities for ergonomics, such as work periods and breaks

- Purpose, use and functions of applications

- Use of input and output devices

- Functions and uses of word processing, spreadsheet and presentation software

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Evidence of the ability to:

- Produce workplace documents using a minimum of three different software application packages

- Open, amend and save files and documents according to organizational requirements

- Use OHS principles and responsibilities for ergonomics, such as work periods and breaks

- Use help manuals and online help.

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Use an operating system in a variety of scenarios and across functions, including:

  - scheduling, loading, initiating, and supervising the execution of programs

  - allocating storage

  - initiating and controlling input and output operations

  - handling errors

- Identify and install suitable hardware components

- Install and upgrade application software.

### 0713E&E8 Create User Documentation

Overview:

This unit describes the performance outcomes, skills and knowledge required to create user documentation that is clear to the target audience and easy to navigate.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Determine documentation standards and requirements | - Determine documentation requirements - Investigate documentation and industry standards for requirements and determine appropriate application to user documentation - Design documentation templates using appropriate software and obtain approval from appropriate person |
| - Produce user documentation | - Conduct a review of the subject system, program, network or application in order to understand its functionality - Gather existing technical, design or user specifications and supporting documentation - Create user documentation based on template to record the operation of the subject system, program, network or application |
| - Review and obtain sign-off | - Submit user documentation to target audience for review - Gather and analyze feedback - Make changes to user documentation - Submit user documentation to appropriate person for approval |

Knowledge and understanding

- Content features, including clarity and readability

- Document design, web design and usability

- Functions and features of templates and style guides

- Instructional design principles

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to create user documentation that:

- Meets business requirements

- Caters for a diverse readership

- Is clear to the target audience

- Is easy to navigate.

### 0713E&E9 Create Technical Documentation

Overview:

This unit describes the performance outcomes, skills and knowledge required to create technical documentation that is clear to the target audience and easy to navigate.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Identify and analyze documentation requirements and client needs | - Consult with client to identify documentation requirements - Interpret and evaluate documentation requirements and confirm details with client - Investigate industry and documentation standards for requirements - Define and document the scope of work to be produced - Consult with client to validate and confirm the scope of work |
| - Design documentation | - Identify information requirements with reference to layout and document structure - Create document templates and style guides consistent with information requirements - Conduct a review of the system in order to understand its functionality - Extract content that meets information requirements according to copyright restrictions - Develop the structure of the technical documentation giving focus to the flow of information, style, tone and content format - Validate the technical documentation structure with the client |
| - Develop documentation | - Write technical documentation based on the template and scope of work using the information gathered - Translate technical terminology into plain English where appropriate - Apply content format and style according to documentation standards and templates |
| - Evaluate and edit documentation | - Submit technical documentation to appropriate person for review Gather and analyze feedback - Incorporate alterations into the technical documentation - Edit the technical documentation for technical and grammatical accuracy |
| - Prepare documentation for publication | - Check that the completed technical documentation meets client requirements and scope of work - Submit the technical documentation to appropriate person for approval - Prepare the technical documentation for publication and distribution using appropriate channels |

Knowledge and understanding

- Content features, such as clarity and readability

- Document design, web design and usability

- Functions and features of templates and style guides

- Instructional design principles

- Organizational policies, procedures and standards that cover document design.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Establish customer needs

- Design and develop technical documentation, such as system, procedures, training material and user guides, incorporating appropriate standards

- Update document with client feedback

- Prepare documentation for publication.

### 0713E&E10 Create Basic Databases

Overview:

This unit describes the skills and knowledge required to design, develop and test a database in order to meet a specification. It applies to individuals who may be either database, or web designers, required to create a simple database to store information for an online application, using a simple entity relational database.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Analyze the requirements for the database | - Determine the information that the database is required to hold - Develop a written requirement report for the functionality of the database - Complete the documentation, and submit it to the appropriate person for approval |
| - Use data modeling to design the database to suit requirements | - Design an entity-relationship (ER) diagram to model the relationships between the entities and the attributes that the database will hold - Develop primary and foreign keys to link the entities - Develop a data dictionary - Complete the documentation, and submit it to the appropriate person for approval |
| - Create a database on a web or database server | - Use the appropriate language on a web or database server to create one or more databases - Use the appropriate language on a web or database server to create tables - Populate the database fields |
| - Test the database and debug | - Test the database on the web or database server - Ensure that the information represented matches the requirements |

Knowledge and understanding

- outline the principles of open platforms, including browsers and databases

- list the processes associated with the creation of entities, attributes, and I populating fields, using both software solutions and script- based input

- describe data-modeling techniques to design a database

- outline the steps in database design, modeling and implementation

- describe the internet operation related to web servers and clients

- identify the naming conventions appropriate to database design

- identify security restrictions on servers, incorporating some theoretical concepts

- Describe best practice communication, and accessibility, for audiences with special needs.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- research client requirements for a database solution

- design a database that meets client requirements

- create a database on a web hosting service or server to meet client requirements by a due date

- Test and debug the database.

### 0713E&E11 Operate Digital Media Technology

Overview:

This unit describes the performance outcomes, skills and knowledge required to identify, select and use a digital media package and supporting technologies.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Use appropriate OHS office work practices | - Use safe work practices to ensure ergonomic, work organization, energy and resource conservation requirements are addressed - Use wrist rests and document holders where appropriate - Use monitor anti-glare and radiation reduction screens where appropriate |
| - Identify and select appropriate digital media package | - identify the basic requirements of a design brief, including user environment - Research and review suitable available digital media packages - Select an appropriate digital media package to meet design brief requirements |
| - Use digital media package | - Procure or create suitable data to meet requirements of the brief - Manipulate data using digital media package tools - Ensure naming and storing of documents in appropriate file format in directories or folders |
| - Review digital media design | - Evaluate design for creative, dramatic and technical quality, file size, and suitability to meet the brief - Test and run any incorporated graphics, video or sound as part of a digital media presentation and present designs in the appropriate format - Review final product against design brief |

Knowledge and understanding

- Basic principles of visual design

- Functions and features of digital media packages and technologies

- Graphic design and stylistic language conventions

- OHS principles and responsibilities for ergonomics, such as work periods and breaks

- Principles of digital imaging and file formats, video and sound file formats, file management and transfer systems

- Vendor product directions in digital media hardware and software

- Visualization and interpreting creative information, scripts (text) and images

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence of the ability to:

- Identify basic requirements of a design brief

- Use digital media package to meet organizational requirements

- Use OHS principles and responsibilities for ergonomics, such as work periods and breaks

- Use help manuals and online help when appropriate

- Use digital media technologies to support design brief requirements.

### 0713E&E12 Use Social Media Tools for Collaboration and Engagement

Overview:

This unit describes the performance outcomes, skills and knowledge required to establish a social networking presence using social media tools and applications. The unit specifically identifies the requirement to review, compare and use different types of social networking tools and applications.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Describe different types of social media tools and applications | - Explain characteristics of the term social media - Identify different types of social-media tools and applications - Illustrate some of the issues associated with the use of social media tools and applications |
| - Compare different types of social media tools and applications | - Select one social media type for review - Review most popular tools and applications within that social media type - Itemize benefits across a range of the most popular tools and applications - Select most appropriate social media tool or application |
| - Set up and use popular social media tools and applications | - Identify social media tools and applications for possible implementation - Initiate preferred social media tools and applications for use - Establish social media interface using text and file content - nitiate social networking interaction - Test and evaluate tools and applications for ease of use - Present findings |

Knowledge and understanding

- Basic technical terminology in relation to social networking and social media applications and tools

- Basic knowledge of uploading images, text files, pdf files, audio files, video files and link associated files

- Features and functions of social media applications

- Import and export software functions

- Linking documents

- OHS principles and responsibilities for ergonomics, including work periods and breaks

- Tagging to facilitate collaborative folksonomy

- Social media applications and procedures for connecting to social networking sites

- Use of input and output devices

- Use of RSS feeds to connect a social network.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- Establish customer needs

- Design and develop technical documentation, such as system, procedures, training material and user guides, incorporating appropriate standards

- Update document with client feedback

- Prepare documentation for publication.

### 0713E&E13 Use Digital Devices

Overview:

This unit describes the skills and knowledge required to use a range of digital devices, such as a digital camera, video camera, or personal digital assistant (PDA) device. It applies to individuals who require entry level information and communications technology (ICT) knowledge and literacy skills to support their work in a home office or small office environment.

| Unit of Competency | Performance Criteria |
| --- | --- |
| - Prepare to use the digital device | - Review the instruction manual and ensure identified components are available - Identify the physical components of the digital device - Turn on and follow access procedures to activate the digital device - Alter the digital device settings to best suit intended use - 1Configure power management settings where appropriate to minimize power consumption, as an environmentally sustainable measure |
| - Set up and use the digital device | - Identify and set the basic operating, security and menu settings - Navigate and manipulate the screen environment - Customize screen icons and access to applications where applicable - Use the digital device, and save and edit output where applicable - Identify more advanced features available and use as required |
| - Access and use basic connectivity devices | - Connect to external digital devices, such as computer devices or storage devices, to retrieve, copy, move and save information - Check physical connectivity of computer devices or storage devices to ensure operation and performance - Connect to a printer either through a computer device or directly, and use printer settings and print data - Access audio-visual devices to view and play a multimedia file |
| - Shut down digital device | - Save current work and back up important data - Close open programs on the digital device and any computer device or storage device - Shut down digital devices, according to manufacturer instructions |

Knowledge and understanding

- outline the capabilities and connectivity requirements of relevant:

  - audio-visual devices

  - peripheral devices

  - storage devices

- list basic security functions

- explain basic software operation and associated applications

- explain digital device functions

- Explain digital device settings.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Performance requirements

This competency is to be assessed using standard and authorized work practices, safety requirements and environmental constraints. Demonstrated evidence is required of the ability to:

- turn on a digital device

- use the menu features and navigate a graphical user interface

- use device features to perform tasks

### 0713E&E14 Operate Measuring Instruments

Overview: This competency standard covers the skills and knowledge required to operate ampere meter, voltmeter, ohm meter and Digital Multimeter.

| Competency Units | Performance Criteria |
| --- | --- |
| - Operate Ampere meter. | - Identify the Ampere meter amongst other measuring instruments. - Make a parallel circuit with three different resistors on breadboard - Adjust proper range of ampere meter as per load. - Connect ampere meter in series to each resistor to measure the current. - Turn on the supply and note the reading of current against each resistor. |
| - Operate Volt meter. | - Identify the Voltmeter amongst other measuring instruments. - Make a series circuit with three different resistors on bread board. - Adjust proper range of Volt meter as per load. - Connect volt meter in circuit - Take the reading. |
| - Operate ohm meter. | - Identify the Ohm meter amongst other measuring instruments. - Adjust proper range of ohm meter as per resistance value. - Connect ohm meter to resistor in circuit. - Take the reading. |
| - Operate DMM | - Identify the DMM amongst other measuring instruments - Perform beep(continuity) test by pointing the knob towards alarm sign and connecting the probes together - Adjust the selection knob for voltage, current and resistance - Measure values with DMM for above three competency units. |

Knowledge & Understanding

- Define current and its unit.

- Describe series circuit.

- Enlist the name of various meters

- Describe purpose of ampere meter

- Describe how ampere meter is connected in the circuit.

- Define voltage and its unit.

- Describe parallel circuit.

- Describe purpose of volt meter

- Describe how voltmeter is connected in the circuit.

- Define resistance and its unit

- Describe purpose of ohm meter

- Describe the use of DMM.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Voltmeters |
| 2 | Ammeter |
| 3 | Ohmmeters |
| 4 | Digital Multimeter(DMM) |
| 5 | Resistors of different values. |
| 6 | Small pieces of copper wire. |
| 7 | Resistors |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Turn on the supply and note the reading of current against each resistor

### 0713E&E15 Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits.

Overview:

This competency standard covers the skills and knowledge required to Make series circuit and measure voltage and verify KVL, make parallel circuit and measure current and verify KCL, verify resistance of a resistor, Find unknown value of ohms law

| Competency Units | Performance Criteria |
| --- | --- |
| - Make series circuit and measure voltage and verify KVL | - Construct series circuit with different resistors on bread board and give supply voltage. - Measure the voltage across each resistor. - Note the value of voltage against each resistor. - Sum up the voltage of each resistor and verify KVL(Kirchhoff’s Voltage Law) is it equal to applied voltage. |
| - Make parallel circuit and measure current and verify KCL | - Construct parallel circuit with different resistors on bread board. - Measure the current across each resistor as well as total current. - Note the value of current against each resistor. - Sum up the reading of ampere meters and verify,(Kirchhoff’s Current Law) is it equal to the total current of circuit. |
| - Verify resistance of a resistor | - Select the resistor of different values. - Determine the value of resistor using color code. - Connect ohm meter across the resistor. - Note reading form ohm meter. - Compare both reading. |
| - Find unknown value of ohms law | - Construct the complex circuit using different resistors. - Find I, V with proper meter and determine R using ohms law - Find I, R with proper meter and determine V using ohm law - Find R, V with proper meter and determine I using ohm law |
| CU5. Measure resistance of Rheostat | - Take sliding Rheostat of 17 Ω and Ohmmeter. (0 to 20 or more than 17 Ω) which is available. - Check ohm’s meter(analogue) for zero error - Adjust zero with shortning the ohmmeter leads. - Take reading of rheostat when slide is full placed at end,(whole resistance of rheostat)with the ohmmeter like digram shown above. - Record the result - Repeat these reading when sliding exact in half of rheostat, and note this reading. |
| CU6. Measure resistance of voltmeter | - Take Voltmeter of 15, 30 V (D.C) or any range . - Adjust zero error with shortning the ohmmeter leads. - Record the reading. |
| CU7. Measure resistance of incandescent lamp. | - Adjust zero error with shortning the ohmmeter leads. - Connect the ohmmeter with its terminal and note its resistance - Measure the resistance of an incandescent lamp( 40 W)., - Repeat this method for 60 & 100 W lamp |

Knowledge & Understanding

- Describe characteristics of series circuit

- Describe the use of volt meter

- Describe characteristics of parallel circuit

- Describe the use of ampere meter

- Describe color code and its use.

- Describe the purpose of ohm meter

- Describe how current, voltage and resistor interact with one another

- Describe the purpose of ohm meter

- State Kirchhoff’s first law.

- State Kirchhoff’s second law

- What is reheostat?

- Why we used rheostat?

- State law of resistance?

- State law of resistance?

- What is internal resistance of voltmeter

- State Ohms Law

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Voltmeters |
| 2 | Ammeter |
| 3 | Ohmmeters |
| 4 | Multi meters. |
| 5 | Resistors of different values. |
| 6 | DC battery |
| 7 | Small pieces of copper wire. |
| 8 | Rheostat |
| 9 | Voltmeters |
| 10 | Ohmmeters |
| 11 | Incandescent lamp of different watts. |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Adjust zero with shortening the ohmmeter leads.

### 0713E&E16 Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence

Overview:

This competency standard covers the skills and knowledge required to Measure single phase power using Volt-Ampere meter method, watt meter & Measure consumed energy with Energy meter

| Competency Units | Performance Criteria |
| --- | --- |
| - Measure single phase power using Volt-Ampere meter method | - Select a proper load to calculate the power and give supply to it. - Measure the voltage and current by using voltmeter and ampere meter. - Find power using power formula. |
| - Measure single power using watt meter | - Select a proper load to calculate the power and connect watt meter with it. - Give supply and measure the reading of power. |
| - Measure 3 phase power with watt meter | - Connect current coil of watt meter in series to any phase and one terminal of balance load. - Connect voltage coil of watt meter to that phase and neutral - Give 3-phase supply to load and take reading. - Multiply the reading of watt meter with 3 to get the total power of load. |
| - Measure power with two-watt meters | - Connect current coil of 1st watt meter in series to 1st phase and load. - Connect voltage coil of 1st watt meter to 1st phase and 3rd phase. - Connect current coil of 2nd watt meter in series to 2nd phase and load. - Connect voltage coil of 2nd watt meter to 2nd phase and 3rd phase. - Give supply and take the readings of both watt meter - Calculate the total power of load by adding the reading of both watt meter. |
| - Measure power with three-watt meters | - Connect current coil of 1st watt meter in series to 1st phase and load. - Connect voltage coil of 1st watt meter to 1st phase and neutral. - Connect current coil of 2nd watt meter in series to 2nd phase and load. - Connect voltage coil of 2nd watt meter to 2nd phase and 3rd phase. - Give the supply and take the readings of both watt meter - Calculate the total power of load by adding the reading of both watt meters. |
| - Measure consumed energy with Energy meter | - Connect phase line of AC supply to the left side terminal of energy meter. - Connect neutral line of AC supply to the next input terminal of energy meter. - Connect any AC load to the output terminals of energy meter. - Give supply and take reading of energy in terms of unit after few minutes form display. |
| - Measure power factor with voltmeter, ampere meter and watt meter | - Connect voltmeter & ampere meter with inductive load (Motor) - Connect watt meter with the load also. - Give AC supply and take the readings of volt, ampere and watt meter. - Utilize the above readings and calculate power factor using power formula P=VI |
| - Measure power factor with power factor meter | - Connect current coil of power factor meter in series to the load. - Voltage coil of power factor meter in parallel to the load. - Give supply and note the value of power factor form power factor meter. |
| - Improve power factor & measure it with power factor meter | - Connect ampere meter as well as current coil of power factor meter in series with load - Connect voltage coil of power factor meter in parallel to the load. - Connect a capacitor bank parallel to load. - Select the small value capacitor with the help of selector switch and give supply and note the value of power factor form power factor meter and current reading form ampere meter. - Now select the higher value of capacitor frorm capacitor bank with the help of selector switch and note its effect on power factor and load current. |
| - Determine phase sequence with phase sequence meter. | - Connect three phase supply with safety switch. - Connect all three leads of phase sequence meter with safety switch. - Push the button, and observe the direction of small induction motor, which is built-in in equipment. - Check the rotation of motor disc for correct phase sequence. - Check the rotation of motor disc for incorrect phase sequence. |

Knowledge & Understanding

- What is the formula of D.C power?

- How can we measure power of any circuit directly with any meter?

- What is difference between electrical and mechanical power?

- What is C.C (current coil)?

- What is P.C (potential coil)?

- What is three phase system?

- What is wattmeter?

- What is balanced load?

- What is the relationship between the individual wattmeter readings and the total three phase power?

- Why we used three wattmeter methods to measure three phase load?

- What are advantages of three wattmeter method?

- How can we connect three-watt meter for measurement of power in delta connection?

- What is difference between power & Energy?

- What is B.O.T?

- What is Revolutions of Disk of energymeter?

- What is CC & PC?

- What is loading Rheostat?

- What is power factor?

- What are the reasons of power factor lagging?

- How can we improve power factor of an A.C inductive circuit?

- Wattmeter is used for measurement of…….?

- What is C.C & P.C of Wattmeter?

- What is leading power factor?

- How can we improve power factor of an A.C inductive circuit with capacitor?

- What is inductive load?

- What will be the effect of improved power factor on load

- Current?

- What is phase sequence?

- Why we indicate each phase by red yellow blue?

- If the phase sequence of three phase motor is not correct, then what will happen with motor?

- Logically explain why on wrong sequence motor will not work?

- Why we use lamps as phase indicator?

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Voltmeter. |
| 2 | Ammeter |
| 3 | Wattmeter. |
| 4 | Connecting Leads. |
| 5 | Power Supply. |
| 6 | Screw Driver & Plier. |
| 7 | Single Phase Load or 100 watt lamp. |
| 8 | Single phase Energy Meter with connecting leads. |
| 9 | Rheostat load 2 Kw. 220/230 volts A.C. |
| 10 | Ammeter & Voltmeter |
| 11 | Single phase inductive load. Any available load at your lab (up to 100 watt) |
| 12 | Power Supply with switch & fuse protection (0 -220 V.ac). Single phase. |
| 13 | Voltmeter. 0-300 volts. |
| 14 | Capacitor bank |
| 15 | Single phase power factor meter |
| 16 | Connecting leads. As required. |
| 17 | Wattmeter. 0-10 A / 600 V |
| 18 | Three phase supply source. |
| 19 | Safety switch |
| 20 | Phase sequence meter |
| 21 | Ammeter. 0 to 5 A. |
| 22 | Wattmeter. 0-500 watt |
| 23 | Change over switch |
| 24 | Three phase supply |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Give supply and take reading of energy in terms of unit after few minutes form display

### 0713E&E17 Operate Oscilloscope

Overview:

This competency standard covers the skills and knowledge required to Measure AC voltage, current, frequency, time period with oscilloscope, RMS value and average value of AC signal with oscilloscope

| Competency Units | Performance Criteria |
| --- | --- |
| - Measure AC voltage with oscilloscope | - Select a proper volt/division and give AC voltage to oscilloscope. - Read number of divisions between the +ve and -ve peaks of the signal. - Apply the formula to calculate the actual amplitude of AC voltage. |
| - Measure current with oscilloscope | - Select the proper load to measure the current. - Connect the low value of resistance in series with the load. - Connect the oscilloscope across low value of resistor and measure the voltage. - Apply ohms law by using value of low value of resistor and voltage across it and find out current. |
| - Measure frequency of AC signal with oscilloscope | - Select a proper time/division and give AC voltage to oscilloscope. - Calculate number of divisions between the one AC cycles of the AC signal. - Apply the formula to calculate the actual frequency of AC voltage. |
| - Measure time period of AC signal with oscilloscope | - Select a proper time/division and give AC voltage to oscilloscope. - Calculate number of divisions between the one AC cycles of the signal. - Apply the formula to calculate the actual frequency of AC voltage |
| - Measure RMS value of AC signal with oscilloscope | - Select a proper volt/division and give AC voltage to oscilloscope. - Record number of divisions between the +ve and -ve peaks of the signal. - Apply the formula to calculate Vp-p of AC voltage. - Calculate peak value form Vp-p - Calculate rams value form peak voltage of AC |
| - Measure average value of AC signal with oscilloscope | - Select a proper volt/division and give AC voltage to oscilloscope. - Record number of divisions between the +ve and -ve peaks of the signal. - Apply the formula to calculate Vp-p of AC voltage. - Calculate peak value form Vp-p - Calculate average value form peak voltage of AC. |

Knowledge & Understanding

- What are different controls of an oscilloscope?

- Describe volt/division control.

- Describe time/division control

- What is trigger?

- What is channel?

- Define frequency.

- Define time period

- Define RMS value of ac signal.

- Define average value of ac signal.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Cathode-ray oscilloscope |
| 2 | Multimeter |
| 3 | Oscillator/signal generator |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measure average value of AC signal with oscilloscope

### 0713E&E18 Implement Electromagnet to See Various Effects & Verify Faradays Law.

Overview:

This competency standard covers the skills and knowledge required to Implement Electromagnet, Implement circuit to determine the effect on current carrying conductor in magnetic field, Determine the effect on conductor by varying the current with the help of rheostat, plot magnetic lines of forces of bar magnet, Verify Faradays law by moving magnet in side coil, Verify Faradays law by moving coil near the magnet field, Verify EMF through induction.

| Competency Units | Performance Criteria |
| --- | --- |
| - Implement Electromagnet | - Take iron nail (approximately 3 inches in length) as iron core and make 30 to 40 turns of thin coated copper wire to form a coil. - Connect dry cell battery with coil wound on the iron nail. - Bring iron nail near the iron pieces and tell the observation |
| - Implement circuit to determine the effect on current carrying conductor in magnetic field. | - Take copper rod (5cm in length) and connect wires across it. - Connect the copper rod through rheostat with DC supply. - Place current carrying copper rod inside the horse shoe magnet. |
| - Determine the effect on conductor by varying the current with the help of rheostat. | - Reduce the rheostat resistance - Record the effect on copper rod. - Increase the rheostat resistance - Record the effect on copper rod. |
| - Plot magnetic lines of forces of bar magnet. | - Place a bar magnet on paper and outline its boundary with the help of lead pencil. - Place a compass needle at one side the magnet. - Mark points on paper where the compass needle stop. - Repeat the same procedure till compass reach at the other end of magnet. - Change the position of compass needle near the magnetic pole and repeat the procedure for P3 to P4. |
| - Verify Faradays law by moving magnet in side coil. | - Construct a coil with hollow iron cylinder (approximately 3 inches in length 1.5 inch in diameter.) and make 150 to 200 turns on it. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow and record the effect on reading of Galvanometer. - Hold the magnet inside the coil and do not move, now record the effect on reading of Galvanometer. |
| - Verify Faradays law by moving coil near the magnet field. | - Construct a coil with hollow iron cylinder (approximately 3 inches in length 1.5 inch in diameter.) and make 150 to 200 turns on it. - Connect Galvanometer with coil. - Fix permanent magnet and move the coil fast and slow on it and record the effect on reading of Galvanometer. - Hold the coil near the magnetic field do not move, now record the effect on reading of Galvanometer. |
| - Verify EMF through induction. | - Take step down transformer and connect its secondary with a Galvanometer and primary winding with a DC battery through a rheostat. - variate Continuously the rheostat and observe the reading on the Galvanometer |

Knowledge & Understanding

- What is magnet and magnetism?

- What is electromagnet?

- What is function of iron core

- How we can make strong magnet?

- How can we find the movement of current caring conductor which is placed in magnetic field?

- What is Fleming’s left-hand rule?

- Define magnetic lines of force.

- Define magnetic field.

- How magnetic lines of force travel with respect to each other

- What is first law of Michal Faraday?

- What is second law of Faraday?

- How can we find the direction of induced EMF?

- What is the role of magnetic strength in Faraday’s Law?

- What is the role of conductor’s length or turns in Faraday’s Law?

- What is Lenz’s Law?

- What is induction?

- What is Faraday’s first law of Electro-Magnetic Induction?

- What is meaning of coupled coils?

- Why EMF induced in 2nd coil, when voltage is applied to 1st coil?

- What is mutual induction?

- What is core?

Tools and Equipment.

| SN | Tools |
| --- | --- |
| 1 | Iron nail as core |
| 2 | Thin coated copper wire |
| 3 | Rheostat |
| 4 | Current carrying conductor |
| 5 | Horse shoe magnet. |
| 6 | Dry cell battery |
| 7 | Magnet. |
| 8 | Connecting leads. |
| 9 | Transformer |
| 10 | Compass needle |
| 11 | Coil |
| 12 | Bar Magnet |
| 13 | Paper |
| 14 | Lead pencil. |
| 15 | Galvanometer |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Take step down transformer and connect its secondary with a Galvanometer and primary winding with a DC battery through a rheostat.

### 0713E&E19 Verify Law of Combination of Capacitor & Determine Break Down Voltage of Capacitor.

Overview:

This competency standard covers the skills and knowledge required to Implement a series circuit of capacitors, implement a parallel circuit of capacitors, and determine the breakdown voltage of low voltage capacitor.

| Competency Units | Performance Criteria |
| --- | --- |
| - Implement a series circuit of capacitors. | - Assemble a series circuit of capacitors with 3 different values. - Connect the battery and apply 10 voltages to the combination of capacitors - Measure the voltage across each capacitor connected in series - Add the voltage of each capacitor and verify is it equal to applied voltage. - Find the charge on each capacitor. |
| - Implement a parallel circuit of capacitors. | - Assemble a parallel circuit of capacitors with 3 different values. - Connect the battery and apply 10 voltages to the combination of capacitors. - Find the charge on each capacitor. - Verify the net charge on the capacitor. |
| - Determine the breakdown voltage of low voltage capacitor | - Take a capacitor of 6.3 rated volts. - Connect it across a 0-30 volts D.C variable supply - Increase the voltage of variable supply from zero to rated 6.3v, and then higher than the rated. - Observe carefully the voltmeter reading. - Note the voltage level (critical) at which the capacitor burns and . |

Knowledge & Understanding

- What is breakdown of capacitors?

- What is dielectric?

- What is breakdown voltage of capacitors?

- What factor can affect the life of a capacitor?

- What is charging of capacitor?

- How can we discharge capacitors before touching them to avoid electric current?

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Capacitors, 4.7 μF |
| 2 | Capacitors, 10, 100 & 8.2 μF. |
| 3 | Voltmeter |
| 4 | D.C. power supply unit |
| 5 | Bridging plugs |
| 6 | Connecting leads |
| 7 | Multimeter. (With option of Capacitance measurement). |
| 8 | Variable D.C powers supply 0-30 Voltas. |
| 9 | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) |
| 10 | D.C Analog or Preferably Digital voltmeter Range 0-50V. |
| 11 | L.E.D (3 to 9 V) Optional. |
| 12 | Connecting Leads |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Determine the breakdown voltage of low voltage capacitor

### 0713E&E20 Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension

Overview:

This competency standard covers the skills and knowledge required to measure current with Galvanometer and Voltage with Galvanometer and make multiplier for galvanometer range extension.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Measure current with Galvanometer | - Select tools and equipment. - Make connections as per standard - Measure current with galvanometer - Show the results on galvanometer - Obtain readings and interpret the results. |
| CU2. Measure voltage with Galvanometer | - Select tools and equipment. - Make connections as per standard - Measure current with galvanometer - Show the results on galvanometer - Obtain readings and interpret the results. |
| CU3. Make multiplier for Galvanometer range extension | - Select tools and equipment. - Connect a large multiplier resistance in series with the galvanometer - Calculate the range of voltmeter - Insert different multiplier resistances for different ranges. - Measure voltage with galvanometer - Obtain readings and interpret the results. |

Knowledge & Understanding

- Explain different types of electrical measuring instruments

- Define absolute and secondary instruments.

- Operating principle of tangent galvanometer.

- Define various effects used as forces in electrical instruments

- Define the physical parameter due to various forces (thermal, magnetic and electromagnetic

- electrostatic, induction effects)

- Explain indicating, integrating and recording instruments.

- Explain the methods of Damping forces(Air friction, Fluid friction, Eddy current) in instruments

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Galvanometer |
| 2 | Connecting cables |
| 3 | Test Bench |
| 4 | Resistance decade box |
| 5 | DC Power supply |
| 6 | Plier |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

### 0713E&E21 Measure Temperature, Earth Resistance, Light Intensity

Overview:

This competency standard covers the skills and knowledge required to Measure temperature with thermocouple by voltage method,measure the Earth resistance by using earth resistance tester, measure light intensity with lux meter.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Measure temperature with thermocouple by voltage method | - Pick K-type thermocouple - Put the Sensor tip in temperature source. - Connect the Multimeter on the other end of thermocouple. - Apply temperature by source and measure the voltage generated on multi meter - Record the readings. - Compare the measured value of voltage against temperature with ITS-90 table for K-typeTC. |
| CU2. Measure the earth resistance by using earth resistance tester | P1. Short P1 and C1 terminals on the instrument (four terminal tester) and connected to the earth electrode under test P2. Drive C2 reference rod into the earth straight-out as far from the electrode under test as possible. P3.Potential reference P2 is then driven into the earth, at a set number of points, roughly on a straight line between C1 and C2. P4. Resistance readings are logged for each P2 point P5. Plot Measurements on a curve of resistance vs. distance. P6. Correct earth resistance is read from the curve for the distance that is roughly 62% of the total distance between C1 and C2. P7. Report the result. |
| CU3.Measure the light intensity with lux meter | - Locate three or more points at same height apart from each other. - Turn on the Lux meter and let it stabilize. - Take reading on each selected point. - Calculate the average of measurements and report the result. |

Knowledge & Understanding

- Describe different types of thermocouple, construction and temperature ranges.

- Explain the working principle of thermocouple

- Explain different shapes of thermocouples and its colors.

- Describe the industrial application of thermocouple and its advantages.

- Differentiate between thermocouple and thermistor.

- Explain thermoelectric voltage

- Define working principle of thermistor.

- Define types of thermistor

- Define the use of thermistor for current control.

- Describe different methods of earth resistance testing

- Explain the procedure for selection of test points and safety considerations.

- Define the operating procedure of earth resistance tester

- Describe light and its intensity

- Explain the working principle of lux meter.

- Explain the standard ranges of light intensity for different environments

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Multimeter |
| 2 | Oven (Temperature source) |
| 3 | Earth resistance tester |
| 4 | Connecting cables |
| 5 | Lux meter |
| 6 | Electrodes |
| 7 | Light source |
| 8 | Test probes |
| 9 | Thermocouples |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

### 0713E&E22 Measure the Resistance and High DC Current by Using Shunt.

Overview:

This competency standard covers the skills and knowledge required to Measure the resistance by using wheat stone bridge, Measure the resistance by ohm meter, Measure the resistance by AVO meter and Measure high DC current by using shuntmeasure resistance with wheat stone bridge, ohmmeter and AVO meter and measure high DC current by using shunt.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Measure the resistance by using wheat stone bridge | - Select the unknown resistor Rx - Connect it in a bridge circuit. - Balance the wheat stone bridge circuit - Calculate unknown resistance Rx. - Record the result. |
| CU2. Measure the resistance by ohm meter | - Select the unknown resistor Rx - Connect the probes of ohmmeter across resistor. - Read the value from the display |
| CU3. Measure the resistance by AVO meter | - Select the unknown resistor Rx - Move the knob of AVO meter and set it on ohm. - Connect the probes of ohmmeter across resistor. - Read the value from the display |
| CU4. Measure high DC current by using shunt | - Select the appropriate shunt - Connect it in parallel with the Ammeter within a circuit. - Apply high current and find voltage drop against shunt. - Measure the reading and interpret result - Record the result. |

Knowledge & Understanding

- Describe and draw the wheat stone bridge circuit

- Working principle of Wheat Stone Bridge circuit

- Working principle of ohmmeter

- Working of AVO meter

- Describe the working principle of ammeter and shunt.

- Define the effects of multiplier and shunt resistances.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Power supply |
| 2 | Shunts |
| 3 | Test probes |
| 4 | Multimeter |
| 5 | Load |
| 6 | Test bench |
| 7 | AVO meter |
| 8 | Power supply |
| 9 | Resistors |
| 10 | Wheat stone bridge circuit |
| 11 | Multimeter |
| 12 | Ohmmeter |
| 13 | Test probes |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

### 0713E&E23 Measure Voltage, Frequency, Capacitance &Inductance by CRO

Overview:

This competency standard covers the skills and knowledge required toMeasure voltage using CRO, Measure frequency using CRO, Measure capacitance using CRO and Measure inductance using CRO.measure voltage, frequency, capacitance & inductance using CRO (Cathode Ray Oscilloscope).

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Measure voltage using CRO | P1. Shut off the internal horizontal sweep generator P2. Calibrate the CRO against known voltage and adjust the vertical gain. P3. Keep the vertical gain unchanged, apply the unknown voltage to be measured, to the vertical input terminals of the oscilloscope P4. Measure the length of the vertical line obtained P5. Calculate the voltage and record the result. OR P1. Set the trigger button to auto. P2. Adjust the Vertical and horizontal controls to get sine wave clear and stable image. P3. Now take measurements along the center vertical line which has the smallest divisions. P4. Take Reading of the voltage signal by vertical control. P5. Record the reading. |
| CU2. Measure frequency using CRO | P1. Identify the inputs of CRO for frequency (vertical /horizontal) P2. Adjust various controls as per input frequency. P3. Apply frequency input and read the pattern obtained. P4. Interpret the pattern obtained to calculate frequency. P5. Record the result. |
| CU3. Measure capacitance using CRO | P1. Connect 1kohm resistor in series with standard capacitor P2. Set the function generator to output a 1.9 V amplitude, 100 Hz sine wave. P3. Set the voltage and frequency. P4. Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. P5. Connect probes of oscilloscope across capacitor. P6. Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. P7. Calculate the impedance and capacitance from available data. P8. Record the result. |
| CU4. Measure inductance using CRO | P1. Connect 1kohm resistor in series with standard capacitor P2. Set the function generator to output a 1.9 V amplitude, 10kHz sine wave. P3. Set the voltage and frequency. P4. Adjust the vertical scale setting of the oscilloscope to use as much of the display as possible to improve the accuracy of voltage measurements. P5. Connect probes of oscilloscope across inductor. P6. Set the oscilloscope to measure the channel 1 frequency, phase between channel 2 and channel 1, channel 1 amplitude, and channel 2 amplitude. P7. Calculate the impedance and inductance from available data. P8. Record the result. |

Knowledge & Understanding

- Explain the control knobs for electrical /electronic signals.

- Explain the instrument measurement principle from time and amplitude screen.

- Describe the instrument’s functional range.

- Explain Testing techniques of circuit.

- Describe reading and measuring techniques for the circuit through oscilloscope/function generator.

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | 10 kohm resistor |
| 2 | Voltage probes |
| 3 | Power supply |
| 4 | Standard Inductor |
| 5 | Function generator |
| 6 | Standard capacitor |
| 7 | 100 Ohm resistor |
| 8 | Test bench |
| 9 | Oscilloscope |
|  | Multimeter |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

### 0713E&E24 Measure Capacitance and Inductance by RCL Meter, Dismantle and Assemble the Instruments.

Overview:

This competency standard covers the skills and knowledge required to.Measure Capacitance by RCL Meter, Measure Inductance by RCL Meter and Dismantle and assemble the moving iron and permanent magnet type instrumentmeasure capacitance & inductance, dismantle and assemble the instruments.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Measure Capacitance by RCL Meter | P1. Select Capacitance function on RCL Meter. P2. Short the test probes and zero the RCL meter P3. Connect probes across unknown capacitance P4. Read the value on display and record it. |
| CU2. Measure Inductance by RCL Meter | P1. Select Inductance function on RCL Meter. P2. Short the test probes and zero the RCL meter P3. Connect probes across unknown inductance P4. Read the value on display and record it. |
| CU3. Dismantle and assemble the moving iron and permanent magnet type instrument | - Determine the instrument type (attraction/ repulsion/permanent magnet type) - Perform isolation of Instruments (if applicable) - Establish a method for disassembling activity as per SOP. - Use standard tools described in user manual - Apply disassembling techniques - Organize the tag-identification of the parts/components/wires of instruments. - Draw sketches of removable parts (coil, needle, scale, moving iron, balance and control weight, scale, air damping chamber, permanent magnet etc.) - Determine the quality of service required for performing the task. - Check for the proper operation/ functionality - Apply assembling techniques. |

Knowledge & Understanding

- Describe the operational procedure of RCL Meter.

- Differentiate between resistance, capacitance, inductance and impedance.

- Explain Electrical symbols.

- Explain law of electro magnetism.

- Describe the instrument’s functional parameter.

- Explain the various parts and components of the instrument.

- Explain Tagging techniques of connections

- Describe assembling & disassembling technique

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Power supply |
| 2 | RCL Meter |
| 3 | Capacitor |
| 4 | Inductor Electrical test bench |
| 5 | Power source (AC/DC) |
| 6 | Multimeter |
| 7 | Test probes |
| 8 | Magnetic/ compass |
| 9 | Tweeze |
|  | Static hand gloves |
|  | Screw drivers |
|  | Wire Cutter |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

### 0713E&E25 Identify the Parts and Connection of Energy Meter (Single/3-Phase), Factor(PF) Meter, MDI Meter, Meagre.

Overview:

This competency standard covers the skills and knowledge required to identify parts of Energy meter, identify different types of PF meter, its parts and connect it in circuit,identify and implement MDI meter and measure insulation resistance by Meagre

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify parts and connection of Energy meter(Single/3-phase) | - Identify the Energy meter(Single/3-phase) - Differentiate between driving, moving, braking and recording system - Identify aluminum disc, series and shunt electromagnet, copper shading ring, magnetic brake, pressure and current coil, permanent magnet and cyclometer - Connect Single Phase Energy meter in a load circuit - Connect 3phase Energy meter in a load circuit - Take the measurements and record. |
| CU2. Identify different types of PF meter, its parts and connect it in circuit. | - Identify the PF meters (Electrodynamometer type/ Moving Iron type) - Differentiate between pressure coil and current coil - Identify inductive and resistive part of pressure coil in electrodynamometer type PF meter - Connect Single phase PF meter in a load circuit - Connect 3phase PF meter in a load circuit - Take the measurements and record. |
| CU3. Identify MDI meter parts and use it on line | - Identify the parts of MDI meter - Select the MDI meter according to load. - Identify the connections and insert it on line as per procedure - Note down the reading and interpret it. |
| CU4. Measure insulation resistance by Meager | - Isolate the unit under test - Connect the meager with cable of unknown insulation resistance as per standard - Hand crank the meager to generate voltage - Analyze the reading and note it down. - Interpret the measurements |

Knowledge & Understanding

- Explain the types of Energy meters and its working principles.

- Draw single phase/3 phase energy meter connection diagram

- Describe single phase/3 phase energy meter theory and phase diagram

- Explain single phase/3 phase energy meter specifications

- Explain the types of PF meters and its working principles.

- Describe Power factor and conditions of leading and lagging power factor

- Explain the resistive, capacitive and inductive load.

- Explain phase angle and conditions in which voltage/current leads/lags

- Differentiate between Apparent, True and Reactive power.

- Describe formulas for calculation of PF while having resistive, capacitive, inductive and mixed loads.

- Explain the construction of MDI meter

- Explain working principle of MDI meter

- Explain Apparent, true and reactive power

- Explain the construction of meager

- Explain the working principle of meager

- Describe the standard insulation resistances for different systems

Tools and Equipment

| SN | Tools |
| --- | --- |
| 1 | Wattmeter |
| 2 | Multimeter |
| 3 | Nose plier |
| 4 | Wire Cutter |
| 5 | Tweezers |
| 6 | Electrical test bench |
| 7 | Power source Single/3-phase |
| 8 | Single/3-phase Load circuit |
| 9 | Test probes |
| 10 | Precision screw driver set |
| 11 | Static hand gloves |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

### 0713E&E26 Calibrate Electrical Equipment

Overview: This competency standard covers the skills and knowledge required to calibrate ammeter, voltmeter, ohmmeter, multimeter, capacitor, inductor and 2-wire/4-wire resistor by direct comparison method.

| Competency Units | Performance Criteria |
| --- | --- |
| - Perform Pre-Calibration activity | - Perform functional and physical check of under test equipment/UUT (Unit Under Test) - Prepare equipment receipt with specifications and allot unique code. - Keep the equipment in controlled environment for thermal stabilization as per its manual. - Turn ON the equipment for warm-up as per equipment manual - Record the under test equipment specifications, environmental condition of laboratory. |
| - Calibrate Ammeter | - Select the Reference/Standard Current Source and connecting cable on the basis of under test ammeter range. - Connect the under test ammeter with Reference/Standard Current Source at current terminals. - Select calibration points on under test ammeter such that it may cover the whole range. - Perform zeroing on under test (if zero function available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying current - Apply the Reference current and record the value displayed on the under test ammeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending(zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the current source and remove the connecting cables. |
| - Calibrate Voltmeter | - Select the Reference/Standard Voltage Source. - Connect the under test voltmeter with Reference/Standard Voltage Source at voltage terminals. - Select calibration points on under test voltmeter such that it may cover the whole range. - Perform zeroing on under test (if zero function available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying voltage - Apply the Reference voltage and record the value displayed on the under test voltmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending(zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the voltage source and remove the connecting cables. |
| - Calibrate Ohmmeter | - Select the Reference/Standard Resistance Source(Fixed/Discrete). - Connect the under test ohmmeter with Reference/Standard Resistance Source at resistance terminals. - Select calibration points on under test ohmmeter such that it may cover the whole range. - Check zero error by shortening the probes and perform zeroing on under test (if zero function/adjustment available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying resistance - Apply the Reference resistance and record the value displayed on the under test ohmmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending(zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the resistance source and remove the connecting cables. |
| - Calibrate multimeter | - Select the Reference/Standard according to the multimeter specifications. - Connect the under test multimeter with Reference/Standard as per selected parameter. - Select parameter(Voltage AC/DC, Current AC/DC, Resistance, Capacitance) on both Reference and under test equipment one by one. - Check zero error for each parameter and nullify (if zero function/adjustment available) otherwise record zero error. - Verify the connections are as per connection diagram in the equipment manual before applying Reference value for each parameter - Apply the Reference value of each parameter and record the value displayed on the under test multimeter and Reference. - Take at least three set of measurement on each calibration point. - Take values in ascending(zero to maximum) order then descending(max to zero) order and again ascending order. - Stop the Standard Reference and remove the connecting cables. |
| - Calibrate 2-terminal/4-terminal Resistor (Direct method) | - Select the Resistance function on Reference/Standard RCL Meter - Short the connecting probes of RCL meter and zero the meter. - Connect the probes of RCL meter with the 2-terminal resistor/Current terminals(C1,C2) of 4-terminal resistor - Verify the connections are as per connection diagram. - Note the value marked on resistor and record the value displayed on the Reference RCL meter. - Take at least three set of measurement. - Remove the connecting probes of RCL meter |
| - Calibrate 2-terminal/4-terminal Resistor (Indirect method) | - Connect the probes of Current Source with the 2-terminal resistor/Current terminals(C1,C2) of 4-terminal resistor - Select rated current to be applied to UUT and measure the corresponding value of voltage drop at the voltage terminals. - Put the applied values of current and measured value of voltage drop in Ohm’s Law i.e. (V = I x R) and calculate the corresponding resistance. - Take at least three set of measurement. - Remove the connecting probes of Current Source |
| - Calibrate Standard Capacitor | - Select the Capacitance function on Reference/Standard RCL Meter - Short the connecting probes of RCL meter and zero the meter. - Connect the probes of RCL meter with Capacitor terminals - Verify the connections are as per connection diagram. - Note the value marked on Capacitor and record the value displayed on the Reference RCL meter. - Take at least three set of measurement. - Remove the connecting probes of RCL meter |
| - Calibrate Standard Inductor | - Select the Inductance function on Reference/Standard RCL Meter - Short the connecting probes of RCL meter and zero the meter. - Connect the probes of RCL meter with Inductor terminals - Verify the connections are as per connection diagram. - Note the value marked on Inductor and record the value displayed on the Reference RCL meter. - Take at least three set of measurement. - Remove the connecting probes of RCL meter |
| - Prepare calibration report | - Prepare data sheet by filling in the details of equipment under test and reference equipment to be used. - Identify and mention the procedure details and traceability statement. - Calculate the average, error, standard deviation and type-A uncertainty from the measured values. - Identify and add B-type uncertainties from the factors affecting measurement - Calculate the Combined and expanded uncertainty from type A and B uncertainties - Report the final result which includes nominal value, measured value and expanded uncertainty. |

Knowledge & Understanding

- Explain Calibration and technical procedure for the calibration of ammeter, voltmeter, ohmmeter, multimeter, inductor, capacitor and resistor.

- Differentiate between Reference Standard and (Unit Under Test)UUT.

- Explain resolution, standard deviation, uncertainty.

- Explain difference between precision and accuracy

- Differentiate between fixed and discrete resistor

- Explain calculation method of error off error and uncertainty budget

- What is the coverage factor

Tools and Equipment

| SN | Tools |
| --- | --- |
|  | Ammeter |
|  | Voltmeter |
|  | Ohmmeter |
|  | Multimeter |
|  | Capacitor |
|  | Inductor |
|  | 2-wire Resistor |
|  | 4-wire Resistor |
|  | Connecting Cables and Connectors |
|  | Reference Standard Current Source |