National Vocational Diploma Level 5 in Electrical Technology

(Electrical Supervisor)

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

1. 	Introduction	6

1.1.	Purpose of the Training Program:	7

1.2.	Overall Objectives of Training Program	8

1.3.	Competencies to be gained after Completion of Course	9

1.4.	Entry Level of Trainees	10

1.5.	Minimum Qualification for Teachers	10

1.6.	Medium of Instruction	10

1.7.	Duration of the Course:	11

1.8.	Description and structure of the course	12

1.9.	Overview of the Curriculum for Electrical Technology (Level 1-5)	17

1.10.	Detail of Modules.	53

Computer Applications for Electrical Technology	53

1.10.1.	Develop and Analyze Electrical Circuit with MULTISIM	53

1.10.2.	Develop and Analyze Electrical circuit with PSPICE software	63

1.10.3.	Carry out Electrical Planning and Estimation in Computer	72

1.10.4.	Carry out Industrial Automation and PLC Installation	78

1.10.5.	Verify Basic Laws of Electrical Machines	84

1.10.6.	Analyze an Alternator	88

1.10.7.	Analyze Single Phase Motors.	92

1.10.8.	Analyze Special Purpose Motors.	94

1.10.9.	Analyze Three Phase Motors.	96

1.10.10.	Repairs/Maintenance and Service of AC Electric Motors and Generators	105

1.10.11.	Identify Basic Electronics Components	109

1.10.12.	Design a Rectifier using Diode	113

1.10.13.	Carry out Diode Application	115

1.10.14.	Implement Bipolar Junction Transistor (BJT) in Different Applications	116

1.10.15.	Implement Field Effect Transistor (FET) in Different Applications	121

1.10.16.	Implement Thyristor Family in Various Application	125

1.10.17.	Application of Operational Amplifier	127

1.10.18.	Verify Truth Table of Digital Gates	131

1.10.19.	Construct & Verify Combinational Logic Circuit	137

1.10.20.	Construct and Verify Function of Flip Flops	147

1.10.21.	Use 555 IC as Multivibrator	156

1.10.22.	Construct Shift Registers and Counters with The Help of Flip Flops	160

1.10.23.	Implement Diode and Thyristor in Power Control Application	163

1.10.24.	Implement Single Phase and Three Phase Inverter	170

1.10.25.	Control Speed of DC/AC Motors.	173

1.10.26.	Program PLC using Ladder Logic	182

1.10.27.	Carry out Industrial Automation and PLC Installation	186

1.10.28.	Install PLC Software and Simulator	204

1.10.29.	Design and Test the PLC	208

1.10.30.	Installation, Commissioning and Maintenance of PLC.	213

Telecom Operator	218

1.10.31.	Identify the Parts of Analog & Digital Telephone Set & Verify their Function	218

1.10.32.	Carry Out Modulation, Demodulation, Multiplexing, De Multiplexing of Information Signal	223

1.10.33.	Install Cord Less Telephone, PABX & Satellite Dish System.	233

1.10.34.	Maintain Lead Acid Batteries and Implement Their Series Parallel Combination	247

Power Plant Operator	252

1.10.35.	Operate Hydro Power Plant	252

1.10.36.	Operate Thermal Power Plant	259

1.10.37.	Operate Diesel Power Plant	270

1.10.38.	Operate Nuclear Power Plant	277

1.10.39.	Design a Solar Power Plant	283

1.10.40.	Operate Solar Power Plant	289

1.10.41.	Operate Wind Power Plant	296

1.10.42.	Utilize Electrical Energy in Building	303

1.10.43.	Calculate Tariffs and Economics	307

Sr. Lineman	311

1.10.44.	Carryout Transmission of Electrical Power	311

1.10.45.	Carryout Distribution of Electrical Power	315

1.10.46.	Carryout Protection of Distribution and Transmission System	321

Green Skill	327

1.10.47.	Utilize Natural Energy in Building	327

List of Personal Protective Equipment	331

Complete List of Tools, Equipment, Machines and Consumables	332

# 1. 	Introduction

The Technical and Vocational is a profession that is increasingly getting attention in Pakistan, not only among the youth seeking to enter the industry but also among adults who wish to polish their skills to develop a career out of it. Scope and demand of Electrical engineers, supervisors, operator, and technician is very high in Pakistan due to fast growing economic zone like CPEC. There are more job opportunities for electrical technician and supervisors in Pakistan than any other field of engineering. Pakistan is still facing energy crises, for need for more power houses, renewable energy sources is being felt which will definitely result in more demand of electrical engineers.

CBT based level 5 course in Electrical Technology with updated concepts, not only allows students to equip with growing Industrial trends but will be beneficial in capturing the job market across the globe. The course is divided into sub fields like electronics, computer engineering, power engineering, telecommunications, control systems, and microelectronics. Many of these sub disciplines overlap with other engineering branches, spanning a huge number of specializations such as hardware engineering, power electronics, avionics, Electrical and nanotechnology.

Pakistan can boost economic growth and job creation by overcoming inefficiencies in its power sector, Reforms that address these distortions can make better use of existing facilities. These need to focus on eliminating waste, promoting the shift towards cleaner energy and attracting private investments.”

“Power sector reform should be a top priority, as few other reforms could yield economic gains of a similar magnitude so quickly, based on findings from this report, and says Fan Zhang, Senior Economist at the World Bank. If well designed, these reforms will directly benefit the poor by increasing access, improving reliability, and reducing cost and pollution.”

## Purpose of the Training Program:

The purpose of the training is to set the high professional standards for the Electrical technological sector. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees

- Provide opportunities for recognition of the skills attained through formal or informal pathways

- Improve the quality and effectiveness of the training and assessment for Electrical Technological sector

- Enabling / helping / facilitating the existing workforce to indulge themselves in new technologies and methods.

Based upon this demand of industry, these competency‐based qualifications for Electrical Technology are developed under National Vocational Qualification Framework (Level 1 to 5). The qualifications mainly cover competencies along with related knowledge and professional attitude which is essential for getting a job or self-employed.

The qualifications are also in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF). This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Vocational & Technical Training Commission (NAVTTC) has approved the Qualification Development Committee (QDC) for Textile Chefs Technology.The QDC consists experts from the relevant industries from different geographical locations across Pakistan and academicians who were consulted during the development process to ensure input and ownership of all the stakeholders. The National Modules could be used as a referral document for the development of curricula to be used by training institutions.

The purpose of the training is to provide skilled manpower to improve the quality of value added products of industrial sector. This training will provide the basic skills to the trainees in the field of Electrical and convert it into value added product which is acceptable by International market reducing the line losses and fit-in a skilled graduate into National Vocational Qualification Framework for his / her vertical career progression and qualification equivalencies at par with acceptable international standards.

## Overall Objectives of Training Program

The Electrical qualifications of level 5 consists of both the theoretical and practical details and having the following Occupations:

- Motor Winding Supervisor

- Electronics Technician

- Industrial Supervisor

- Telecom Operator (Power)

- Power Plant Operator

- Sr. Lineman

## Competencies to be gained after Completion of Course

Detail of the modules included in qualification are given below:

Computer Applications for Electrical Technology

- Perform Basic Mathematics Calculations in C++

- Perform Basic Circuit Analysis Calculations in C++

- Perform Electrical Analysis in C++

- Develop and Analyze Electrical Circuit with Multisim

- Develop and Analyze Electrical Circuit with PSPICE Software

- Carry Out in Computer Electrical Planning and Estimation

- Carry out Industrial Automation and PLC Installation

Motor Winding Supervisor

- Verify Basic Laws of Electrical Machines

- Analyze an Alternator.

- Analyze Single Phase Motors

- Analyze Special Purpose Motors

- Analyze Three Phase Motors

- Repair/ Maintenance and Service of Ac Electric Motors and Generators.

Electronics Technician

- Identify Basic Electronics Components

- Design A Rectifier Using Diode

- Carry Out Diode Application

- Implement Bipolar Junction Transistor (BJTs) In Different Applications

- Implement Field Effect Transistor (FETs) In Different Application

- Implement (Uni-Junction Transistor, Silicon Control Rectifier, DIAC and TRIAC) In Various Application.

- Design Operation Amplifier.

- Verify Truth Tables of Digital Gates.

- Construct & Verify Combinational Logic Circuit.

- Construct and Verify Function of Flip Flops.

- Use 555 IC as Multi-vibrator.

- Construct Shift Registers and Counters Used Flip Flops

Industrial Supervisor

- Implement Diode and Thyristor in Power Control Application.

- Implement Single Phase and Three Phase Inverter

- Control Speed of Dc/Ac Motors.

- Program PLC using Ladder Logic.

- Carry out Industrial Automation and PLC Installation

- Install PLC Software and Simulator

- Design and Test the PLC

- Installation, Commissioning and Maintenance of PLC.

Telecom Operator (Power)

- Identify The Parts of Analog & Digital Telephone Set & Verify Their Function

- Demonstrate Modulation, Demodulation, Multiplexing & Demulti-plexing.

- Install Cord Less Telephone, PABX & Satellite Dish System.

- Install Power Supply

- Maintain Lead Acid Batteries and Implement Their Series Parallel Combination.

Power Plant Operator

- Operate Hydro Power Plant

- Operate Thermal Power Plant

- Operate Diesel Power Plant

- Operate Nuclear Power Plant

- Design A Solar Power Plant

- Operate Solar Power Plant

- Operate Wind Power Plant

- Calculate Tariffs and Economics

- Utilize Electrical Energy in Building

- Utilize Natural Energy in Building

Sr. Lineman

- Carryout Transmission of Electrical Power

- Carryout Distribution of Power System.

- Carryout Protection of Distribution and Transmission System

Digital Skills

- Install Computer Operating Systems And Hardware

- Operate Word-Processing Applications

- Operate Spreadsheet Applications

- Operate Presentation Packages

- Perform  Writing And Editing Tasks

- Perform Computer Operations

- Use Computer Applications

- Create User Documentation

- Create Technical Documentation

- Create Basic Databases

- Operate Digital Media Technology

- Use Social Media Tools For Collaboration And Engagement

- E-Commerce

- Use Digital Devices

Entrepreneurship

- Investigate Microbusiness Opportunities

- Develop A Micro Business Proposal

- Develop A marketing Plan

- Develop And Review A Business Plan

- Organize Finances For The Micro Business

- Manage Human Resources

- Market Products And Services

- Monitor And Review Business Performance

- Negotiate For Resolving Business Issues\

- Manage Personal Finances

- Coordinate A Work Team

- Lead Small Teams

Green Skills

- Utilize Natural Energy in Building

## Entry Level of Trainees

The entry level for National Vocational Diploma Level 5 in Electrical Technology is:

- A person having National Vocational Certificate Level 4 in Electrical Technology

## Minimum Qualification for Teachers

- B.Sc. / B.E. in Electrical Engineering.

- 4 Years B. Tech in Electrical Technology with 3 Years teaching experience.

- D. A. E. in Electrical Technology with 7 Years teaching experience

- Must be able to communicate effectively

## Medium of Instruction

English, and Urdu.

## Duration of the Course:

The proposed curriculum is composed of 60 modules (Technical & Generic) that will be covered in 600 Contact hours. Duration of the course is proposed to be one year.

Level- 5 = 1200 months.

The distribution of contact hours is given below:

Total.		1200 hours.

Theory: 	471 hours (39.3%)

Practical.	729 hours (60.7%)

## Description and structure of the course

Following is the structure of the course:

| Competency Standards | Occupation | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| Level 5 |  |  |  |  |  |  |  |
| Develop and Analyze Electrical Circuit with Multisim | Computer Applications for Electrical Technology | Level 5 | Technical | 9 | 12 | 21 | 2.1 |
| Develop and Analyze Electrical Circuit with PSPICE Software |  | Level 5 | Technical | 9 | 12 | 21 | 2.1 |
| Carry Out in Computer Electrical Planning and Estimation |  | Level 5 | Technical | 9 | 12 | 21 | 2.1 |
| Carry out Industrial Automation and PLC Installation |  | Level 5 | Technical | 9 | 12 | 21 | 2.1 |
| Verify Basic Laws of Electrical Machines | Motor Winding Supervisor | Level 4 | Technical | 9 | 12 | 21 | 2.1 |
| Analyze an Alternator. |  | Level 4 | Technical | 9 | 12 | 21 | 2.1 |
| Analyze Single Phase Motors |  | Level 4 | Technical | 9 | 12 | 21 | 2.1 |
| Analyze Special Purpose Motors |  | Level 4 | Technical | 9 | 12 | 21 | 2.1 |
| Analyze Three Phase Motors |  | Level 4 | Technical | 9 | 12 | 21 | 2.1 |
| Repair/ Maintenance and Service of Ac Electric Motors and Generators. |  | Level 4 | Technical | 7 | 12 | 19 | 1.9 |
| Identify Basic Electronics Components | Electronics Technician | Level 3 | Technical | 9 | 9 | 18 | 1.8 |
| Design a Rectifier using Diode |  | Level 4 | Technical | 9 | 9 | 18 | 1.8 |
| Carry out Diode types and their Applications |  | Level 3 | Technical | 9 | 9 | 18 | 1.8 |
| Implement Bipolar Junction Transistor (BJT) in Different Applications |  | Level 3 | Technical | 9 | 9 | 18 | 1.8 |
| Implement Field Effect Transistor (FET) in Different Applications |  | Level 3 | Technical | 9 | 9 | 18 | 1.8 |
| Implement Thyristor Family in Various Application |  | Level 3 | Technical | 9 | 9 | 18 | 1.8 |
| Design Operation Amplifier |  | Level 4 | Technical | 9 | 9 | 18 | 1.8 |
| Verify Truth Tables of Digital Gates. |  | Level 3 | Technical | 9 | 12 | 21 | 2.1 |
| Construct & Verify Combinational Logic Circuit. |  | Level 4 | Technical | 9 | 15 | 24 | 2.4 |
| Construct and Verify Function of Flip Flops. |  | Level 4 | Technical | 9 | 18 | 27 | 2.7 |
| Use 555 IC as Multi-vibrator. |  | Level 4 | Technical | 9 | 18 | 27 | 2.7 |
| Construct Shift Registers and Counters Used Flip Flops |  | Level 4 | Technical | 9 | 18 | 27 | 2.7 |
| Implement Diode and Thyristor in Power Control Application. | Industrial Supervisor | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
| Implement Single Phase and Three Phase Inverter |  | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
| Control Speed of Dc/Ac Motors. |  | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
| Program PLC using Ladder Logic. |  | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
| Carry out Industrial Automation and PLC Installation |  | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
| Install PLC Software and Simulator |  | Level 5 | Technical | 6 | 12 | 18 | 1.8 |
| Design and Test the PLC |  | Level 5 | Technical | 9 | 21 | 30 | 3 |
| Installation, Commissioning and Maintenance of PLC. |  | Level 5 | Technical | 9 | 18 | 27 | 2.7 |
| Identify The Parts of Analog & Digital Telephone Set & Verify Their Function | Telecom Operator (Power) | Level 5 | Technical | 6 | 9 | 15 | 1.5 |
| Demonstrate Modulation, Demodulation, Multiplexing & Demulti-plexing. |  | Level 5 | Technical | 6 | 12 | 18 | 1.8 |
| Install Cord Less Telephone, PABX & Satellite Dish System. |  | Level 5 | Technical | 6 | 9 | 15 | 1.5 |
| Install Power Supply |  | Level 5 | Technical | 6 | 12 | 18 | 1.8 |
| Maintain Lead Acid Batteries and Implement Their Series Parallel Combination. |  | Level 5 | Technical | 6 | 6 | 12 | 1.2 |
| Operate Hydro Power Plant | Power Plant Operator | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Operate Thermal Power Plant |  | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Operate Diesel Power Plant |  | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Operate Nuclear Power Plant |  | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Design A Solar Power Plant |  | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Operate Solar Power Plant |  | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Operate Wind Power Plant |  | Level 5 | Technical | 8 | 15 | 23 | 2.3 |
| Calculate Tariffs and Economics |  | Level 5 | Technical | 8 | 12 | 20 | 2 |
| Utilize Electrical Energy in Building |  | Level 5 | Technical | 8 | 12 | 20 | 2 |
| Carryout Transmission of Electrical Power | Sr. Lineman | Level 5 | Technical | 8 | 9 | 17 | 1.7 |
| Carryout Distribution of Power System. |  | Level 5 | Technical | 8 | 9 | 17 | 1.7 |
| Carryout Protection of Distribution and Transmission System |  | Level 5 | Technical | 8 | 9 | 17 | 1.7 |
| Investigate Microbusiness Opportunities | Entrepreneurship | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Develop A Micro Business Proposal |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Develop A marketing Plan |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Develop And Review A Business Plan |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Organize Finances For The Micro Business |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Manage Human Resources |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Market Products And Services |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Monitor And Review Business Performance |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Negotiate For Resolving Business Issues |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Manage Personal Finances |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Coordinate A Work Team |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Lead Small Teams |  | Level 5 | Generic | 6 | 9 | 15 | 1.5 |
| Utilize Natural Energy in Building | Green Skill | Level 5 | Technical | 8 | 12 | 20 | 2 |
| Total |  |  |  | 471 | 729 | 1200 | 120 |
| Percentage |  |  |  | 39.3 | 60.7 |  |  |

## Overview of the Curriculum for Electrical Technology (Level 1-5)

| Module Title and Aim | Learning Units |  | Th Days/hours | Workplace Days/hours | Timeframe of modules |
| --- | --- | --- | --- | --- | --- |
| Module 3.1.1 Maintain Occupational Health and Safety | - Ensure the use of personal protective equipment (PPE). - Maintain First-aid Box - Maintain Fire Extinguisher. - Ensure Safeguard of Machines. - Adopt company policies and procedures. - Attain health & safety training. - Prepare for emergencies. - Respond to emergencies |  |  |  |  |
| Module 3.1.2 Adopt Safety Regulation, Labour Protection Laws, Environmental Protection Laws at Workplace | - Implement International Safety Standards in your work environment. - Implement National Safety Standards in your work environment - Implement International and National Labor Protection Laws - Implement National and International Environmental protection laws. - Prepare for emergencies. - Respond to emergencies. - Adopt company policies and procedures. |  |  |  |  |
| Module 3.2.1 Maintain Tools & Equipment for Single Phase Wiring | - Arrange Tools and Equipment - Maintain Tool Box - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment |  |  |  |  |
| Module 3.2.2 Make Cable/Wire Joints for Single Phase Wiring | - Make Cross/Twist joint - Make Straight/Married joint - Make T-Joint - Make Rat-tail joint - Make Britannia joint |  |  |  |  |
| Module 3.2.3 Prepare and Install Distribution Boards for Single Phase Wiring. | - Prepare estimate for wiring material. - Prepare Distribution Board - Install Distribution Board and wiring |  |  |  |  |
| Module 3.2.4 Carryout Basic Electrical Installation for Single Phase | - Perform Basic Electrical wiring - Conduct wiring Test - Lay Cables - Perform single-phase Connection - Perform three phase Connection |  |  |  |  |
| Module 3.2.5 Install Simple Single Phase Electrical Wiring | - Make single pole switch circuit - Make single pole switch socket circuit. - Make two-way switch circuit - Make series/ test lamp circuit - Make intermediate switch circuit. - Make of Tunnel circuit |  |  |  |  |
| Module 3.2.6 Install Single Phase Complex Electrical Wiring | - Design/Develop and Install Kitchen wiring - Install Drawing room circuit - Install Sleeping room circuit - Install hall wiring. - Install impulse switch - Install Bell indicator circuit. - Install timer/time switch circuit - Make fluorescent tube circuit and install - Perform Domestic Electrical Work |  |  |  |  |
| Module 3.2.7 Perform Testing of Electrical Wiring | - Perform Open Circuit Test - Perform Short Circuit Test - Perform Continuity/Loop Test - Perform Visual Test - Perform Insulation Test - Perform Polarity Test - Perform Earth Resistance Test - Perform Earth leakage Test. |  |  |  |  |
| Module 3.2.8 Repair/ Maintenance of Electrical Installations in Single Phase | - Analyze Fault in Electrical Installations - Troubleshoot electrical equipment’s - Carry out Preventive Maintenance |  |  |  |  |
| Module 3.2.9 Repair/ Maintenance and Service of Home Appliance | - Diagnose fault and repair electric iron - Repair/ maintenance of Pedestal Fan and Ceiling Fan. - Repair/ maintenance of Juicer and grinder - Repair/ maintenance Refrigerator /Air conditioner - Repair/ maintenance of sandwich maker/toaster - Repair/ maintenance of washing machine/dryer |  |  |  |  |
| Module 3.4.1 Operate Measuring Instruments | - Operate Ampere meter. - Operate Volt meter. - Operate Ohm meter |  |  |  |  |
| Module 3.4.2 Verify Ohm’s Law & Kirchhoff’s Law by Implementing Series/Parallel Circuits | - Make series circuit and measure voltage and verify KVL. - Make parallel circuit and measure current and verify KCL - Verify resistance of resistors - Verify Ohm’s Law - Measure resistance of Rheostat - . Measure resistance by using Multimeter - . Measure resistance of incandescent lamp |  |  |  |  |
| Module 3.4.3 Measure Electrical Power, Energy, Power Factor & Determine Phase Sequence |  | - Measure power using Multimeter method - Measure power using Multimeter method - Measure single phase AC Power - Measure three phase AC Power. - Measure consumed energy with Energy meter - Measure power factor with voltmeter, ampere meter and watt meter - Measure power factor with power factor - Improve power factor & measure it with power factor meter - Determine phase sequence with phase sequence meter. |  |  |  |
| Module 3.4.4 Operate Oscilloscope |  | - Measure AC voltage with oscilloscope. - Measure current with oscilloscope - Measure frequency of AC signal with oscilloscope - Measure time period of AC signal with oscilloscope - Measure RMS value of AC signal with oscilloscope - Measure average value of AC signal with oscilloscope |  |  |  |
| Module 3.4.5 Implement Electromagnet to See Various Effects & Verify Faradays Law |  | - Implement Electromagnet - Implement circuit to determine the effect on current carrying conductor in magnetic field - Determine the effect on conductor by varying the current with the help of rheostat. - Plot magnetic lines of forces of bar magnet - Verify Faradays law by moving magnet in side coil. - Verify Faraday’s law by moving coil near the magnet field - Verify EMF through induction. |  |  |  |
| Module 3.4.6 Verify law of Combination of Capacitors & Determine Break Down Voltage of Capacitor |  | - Implement a series circuit of capacitors - Implement a parallel circuit of capacitors - Determine the breakdown voltage of low voltage capacitor |  |  |  |
| Module 3.5.1 Perform Cleaning, Oiling and Centering the Job |  | - Perform Cleaning and Oiling of the Lathe Machine - Perform Centering the Job By Tool Method - Perform Centering The Job Held In a Four Jaw Chuck Of Face Plate |  |  |  |
| Module 3.5.2 Perform Facing, Straight Turning, Center Drilling |  | - Perform Facing - Perform Straight Turning - Perform Center Drilling |  |  |  |
| Module 3.5.3 Perform Drilling, Step Turning, Knurling and Boring a Straight Hole on lathe |  | - Perform Drilling On Lathe - Perform Step Turning - Perform Knurling - Perform Boring a Straight Hole |  |  |  |
| Module 3.5.4 Perform Step or Counter Boring, Reaming, Tool Grinding, Taper Turning and Cutting Metric Threads. |  | - Perform Step Or Counter Boring - Perform Reaming - Perform Tool Grinding - Perform Taper Turning By Compound Rest Method - Perform Cutting Metric Threads On Lathe Machine |  |  |  |
| Module 3.5.5 Perform Basic Metal Work |  | - Develop Name Plate manually - Carryout Sawing - Prepration of Inside Calliper - Prepration of Bottle Opener - Prepration of Dovetail Joint - Prepration of small size Tri Square - Produce internal Threads in Work Piece - Prepration of Funnel - Prepration of Drawer Handle - Produce Pipe Threads - Prepare a spanner of (small size) |  |  |  |
| Module 3.5.6 Perform Wood Work |  | - Planning and Squaring to dimensions - Sawing Exercise - Making Mortise and Tendon Joint - Making Dado Joint - Making Cross-lap Joint - Making holes of different Diameters in Wood - Nailing and Wood Screwing Process - Making Middle Half Cross lap joint - Making Dovetail Joint |  |  |  |
| Module 3.5.7 Perform Oxy Acetylene Welding |  | - Make flame for gas welding carburizing flam, Neutral flam, oxidizing flam - Make Pool - Make Bead - Make Edge Joint - Make Open square butt joint (M.S Flat 3mm OR 5mm Thickness) - Make ‘V’ Groove butt joint ( Flat Position) - Make Corner joint - Make Open square brazing Butt joint(M.S Flat 5mm thick |  |  |  |
| Module 3.5.8 Perform Arc Welding |  | - Make Arc - Make Bead - Make Open Square Butt Joint (MS Flat 5 mm Thick) - Make V Groove Butt Joint - Make Lap Joint - Make Corner Joint Flat Position - Make Corner Joint Vertical Position - Make Spot Welding Practice (0.5 mm MS Sheet) - Make Seam Welding Practice (0.5 mm MS Sheet) |  |  |  |
| Module 3.6.1 Maintain Tools & Equipment for Three Phase |  | - Arrange Tools and Equipment - Maintain Tool Box - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment |  |  |  |
| Module 3.6.2 Make Cable/Wire Joints for Three Phase |  | - Make Cross/Twist joint - Make Straight/Married joint - Make T- Joint - Make Rat tail joint - Make Britannia joint |  |  |  |
| Module 3.6.3 Prepare and Install Distribution Boards for Three Phase |  | - Prepare estimate for wiring material - Prepare Distribution Board - Install Distribution Board and wiring |  |  |  |
| Module 3.6.4 Install Three Phase Electrical Wiring |  | - Make and Install 3 phase motor connection ON/OFF by CAM Switch - Make and Install 3 phase motor connection reversing by CAM Switch - Make and Install 3 phase motor connection ON/OFF by Magnetic Contactor - Perform Electrical Work in Commercial Area. |  |  |  |
| Module 3.6.5 Install Three Phase Complex Electrical Wiring |  | - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor. - Make and Install 3 phase motor connection Reverse/ forward by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor. - Make and Install 3 phase motor connection Star/Delta (Manual) by Magnetic contactor with indicator. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor. - Make and Install 3 phase motor connection Star/Delta (Auto) by Magnetic contactor with indicator - Make and Install 3 phase motor connection 2 speed by Magnetic contactor - Make and Install 3 phase motor connection 2 speed by Magnetic contactor with indicator |  |  |  |
| Module 3.6.6 Perform Testing of Electrical Wiring |  | - Perform Earth leakage Test - Perform Open Circuit Test - Perform Short Circuit Test - Perform Continuity/Loop Test - Perform Visual Test - Perform Insulation Test - Perform Polarity Test - Perform Earth Resistance Test - Perform Murray Loop Test - Perform BLAVIER & Earth Loop Test |  |  |  |
| Module 3.6.7 Diagnose Electrical Fault in Generator |  | - Inspect and service Ignition system. - Inspect and service alternator - Inspect and service display panel - Inspect and service governor /Actuator System - Inspect and service charging system - Inspect and service warning system - Inspect and repair wiring |  |  |  |
| Module 3.6.8 Repair/ Maintenance of Electrical Installations for Three Phase |  | - Analyze Fault in Electrical Installations |  |  |  |
| Module 3.6.9 Carry Out Manual Electrical Planning and Estimation |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work. - Plan and estimate industrial electric work. |  |  |  |
| Module 3.6.10 Measure Current, Voltage and Make Multiplier for Galvanometer Range Extension |  | - Measure current with Galvanometer - Measure voltage with Galvanometer - Make multiplier for Galvanometer range extension |  |  |  |
| Module 3.6.11 Measure Temperature, Earth Resistance, Light Intensity |  | - Measure temperature with thermocouple by voltage method - Measure the earth resistance by using earth resistance tester - Measure the light intensity with lux meter |  |  |  |
| Module 3.6.12 Measure the Resistance, Measure High Dc Current by Using Shunt. |  | - Measure the resistance by using wheat stone bridge - Measure the resistance by ohm meter - Measure the resistance by AVO meter - Measure high DC current by using shunt |  |  |  |
| Module 3.6.13 Measure Voltage, Frequency, Capacitance & Inductance by CRO |  | - Measure voltage using CRO - Measure frequency using CRO - Measure capacitance using CRO - Measure inductance using CRO |  |  |  |
| Module 3.6.14 Measure Capacitance and Inductance by RLC Meter, Dismantle and Assemble the Instruments |  | - Measure Capacitance by RCL Meter - Measure Inductance by RCL Meter - Dismantle and assemble the moving iron and permanent magnet type instrument |  |  |  |
| Module 3.6.15 Identify The Parts and Connection of Energy Meter(Single/3-Phase), Factor(Pf) Meter, MDI Meter, Maggar |  | - Identify parts and connection of Energy meter(Single/3-phase) - Identify different types of PF meter, its parts and connect it in circuit. - Identify MDI meter parts and use it on line - Measure insulation resistance by Meager |  |  |  |
| Module 3.6.16 Calibrate Electrical Equipment’s |  | - Perform Pre-Calibration activity - Calibrate Ammeter - Calibrate Voltmeter - Calibrate Ohmmeter - Calibrate multimeter - Calibrate 2-terminal/4-terminal Resistor (Direct method) - Calibrate 2-terminal/4-terminal Resistor (Indirect method) - Calibrate Standard Capacitor - Calibrate Standard Inductor - Prepare calibration report |  |  |  |
| Module 3.7.1 Select Computer Specification and Work with Windows |  | - Identify computer requirements and assemble procedures - Make a set of requirements for a personal computer - Work on windows Environment and Install the required operating System with Device drivers |  |  |  |
| Module 3.7.2 Process Data with MS Office |  | - Use MS OFFICE (MS-WORD) - Use MS OFFICE (MS-EXCEL) - Use MS- OFFICE (MS-POWER POINT) |  |  |  |
| Module 3.7.3 Carryout Basic Programming |  | - Make a program to perform arithmetic operations - Make a program in C++ to preparing logical operation - Make a program to sort a string of numbers. |  |  |  |
| Module 3.7.4 Perform Internet Browsing |  | - Draw pin diagram of electronic IC using of search engine - Browse data sheets and symbols - Browse manuals |  |  |  |
| Module 3.7.5 The Different Engineering Curves Used in Various Mechanisms |  | - Construct inscribe and circumscribe figures. - Construct a pentagon, Hexagon and Octagon by circumscribe method. - Construct a pentagon, Hexagon and Octagon by inscribe method - Construct a Tangents of circles (Inside &Outside) when the centre of the given circle is known and when the circle of centre is not known. - Construct an Ellipse by Concentric Circle Method, Rectangle Method, and Oblong Method, Arcs of Circle Method, Rhombus Method and Basic Locus Method. - Construct a parabola curve by Rectangle Method, Method of Tangents( Triangle Method) and Basic Locus Method - Construct a hyperbola curve. - Construct a Archimedean Spiral curve - Construct a involutes curve of square rectangle hexagon and circle. - Construct of cycloid, epicycloids, and hypocycloid |  |  |  |
| Module 3.7.6 Perform Multi-View Drawings |  | - Sketch Orthographic projection 1st angle - Sketch Orthographic projection 3rd angle. - Sketch Oblique Drawing - Construct multi view drawing of Simple Bearing. - Construct multi view drawing of Open Bearing - Sketch prism - Sketch cone - Draw pyramid |  |  |  |
| Module 3.7.7 Draw Production Drawing |  | - .Draw the assembly drawing of Boiler Stop Valve - Draw the views of Connecting Rod in detail and assembly drawing - Draw the assembly drawing of Screw Jack - Draw the assembly of Tail Stock in full section showing its parts |  |  |  |
| Module 3.7.8 Design and Simulate the Electronic Circuit by Using Computer Aided Design (CAD) Software |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work. - Plan and estimate industrial electric work |  |  |  |
| Module 3.8.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field - Verify Faraday’s law using relative motion of coil and magnet - Verify Faraday’s Law using simple loop generator - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.8.2 Analyze DC Generators |  | - Calculate different terms used in armature winding of DC machines. - Develop Single Layer Lap Winding - Develop Double Layer Wave Winding. - Measure the resistance of field winding, armature winding and terminal polarity - Identify DC shunt generator - Identify DC series generator - Identify DC compound generator |  |  |  |
| Module 3.8.3 Perform Tests on DC Generators |  | - Plot the Open circuit characteristics of a Separately excited D.C generator - . Plot the Open circuit characteristics of a D.C shunt generator - Plot the load characteristics of D.C shunt generator - Plot the load characteristics of D.C series generator. - Plot the load characteristics of D.C compound generator for under, flat and over compounding - Perform parallel operation of two DC shunt generators - . Determine copper, iron & friction losses of shunt generator by actual loading |  |  |  |
| Module 3.8.4 Analyze DC Motor |  | - Identify DC shunt motor - Identify DC series motor - Identify DC compound motor |  |  |  |
| Module 3.8.5 Perform Tests on DC Motors |  | - Plot the load characteristics of D.C shunt motor - Plot the load characteristics of D.C series motor - Plot the load characteristics of D.C compound motor - Control the speed of DC series motor - Control the speed of DC shunt motor - Start DC shunts motor with 3 point starter. - Identify the effect of back EMF in DC motor - Calculate Brake Horse Power (BHP) of motor by Brake test. - Calculate efficiency of the motor by Swinburne Test - Perform Regenerative / Hopkinson/ Back to back Test |  |  |  |
| Module 3.8.6 Repair/Maintenance and servicing of DC Motors and DC Generator |  | - Diagnose Fault in DC Motor - Carry out Service / Repair in Electric Motor - Carry out Preventive Service/ Maintenance of Generators - Diagnose and Repair Electric Generator |  |  |  |
| Module 3.9.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil And magnet. - Verify Faraday’s Law using simple loop generator - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.9.2 Operate Single Phase Transformer |  | - Identify types of transformer - Measure transformation ratio of single phase transformer - Make transformer winding - Determine voltage regulation of single phase transformer with different loads. - Perform parallel operation of single phase transformer. |  |  |  |
| Module 3.9.3 Perform Tests on Single Phase Transformer |  | - Perform polarity test of single phase transformer - Perform Open circuit test of transformer - Perform Short circuit Test of Transformer - Calculate efficiency of transformer by direct method - Calculate efficiency of transformer by Back to Back test. |  |  |  |
| Module 3.9.4 Operate Auto Transformer |  | - Identify the connection of auto transformer - Calculate Voltage ratio of Auto Transformer - Calculate Current ratio of Auto Transformer |  |  |  |
| Module 3.9.5 Perform Tests on Auto Transformer |  | - Perform open circuit Test of auto transformer - Perform short circuit test of auto transformer - Calculate efficiency of auto transformer. |  |  |  |
| Module 3.9.6 Operate Three Phase Transformer |  | - Make Three Phase Transformer Winding. - Perform Star to Star Connection Of Three Phase Transformer - Perform Star To Delta Connection Of Three Phase Transformer - Perform Delta to Delta Connection Of Three Phase Transformer - Perform Delta to Star Connection Of Three Phase Transformer - Connect Two Single Phase Transformers In Open Delta. - Perform Parallel operation of 3 phase transformers |  |  |  |
| Module 3.9.7 Identify Vector Group of Three Phase Transformer |  | - Connect 3-phase transformers as per given vector group Yyo and Yy6 - Connect 3-phase transformers as per given vector group Ddo and Dd6 - Connect 3-phase transformers as per given vector group Yd11 and Yd1 |  |  |  |
| Module 3.9.8 Repair/ Maintenance and Service of Transformer |  | - Diagnose Fault in transformer - Carry out Service/Repair of Transformer - Carry out Preventive Service/ Maintenance of transformer |  |  |  |
| Module 3.11.1 Perform Pre-Electroplating Activities. |  | - Perform Disassembly and Stripping - Perform Mechanical Cleaning - Perform Chemical Cleaning |  |  |  |
| Module 3.11.2 Perform Electroplating |  | - Ensure safety at workshop - Select appropriate chemical solution - Prepare chemical solutions - Perform plating of Zinc, Cadmium, Tin, Silver, Gold and Brass |  |  |  |
| Module 3.11.3 Perform Post-Electroplating Activities and Tests. |  | - Carry Out Quenching/ Cooling Of The Metal. - Carry Out Visual Inspection And Physical Examination Of The Electroplated Part. - Perform adhesion tests by various methods - Perform thickness and corrosion resistance test |  |  |  |
| Module 3.11.4 Plan an Electroplating Shop |  | - Prepare a layout for the electroplating workshop - Setup pre-Electroplating workstation - Setup Electroplating workshop - Setup post-Electroplating workstation - Prepare an Estimate for Finance and Budgeting |  |  |  |
| Module 3.12.1 Perform Basic Mathematics Calculations in C++ |  | - Generate Addition Program - Generate Subtraction Program - Generate Multiplication Program - Generate Division Program - Generate Program For Power Calculations - Generate Program For Roots Calculations - Generate Program For Exponential Calculations - Generate Trigonometric Function Program - Generate Inverse Trigonometric Function Program - Generate The Program And Calculate Impedance In Polar - Generate The Program And Calculate Impedance In Rectangular - Generate Rectangular To Polar Form Conversion program - Generate Polar Form To Rectangular Form program |  |  |  |
| Module 3.12.2 Perform Basic Circuit Analysis in C++ |  | - Generate Series Circuit Function Program - Generate Parallel Circuit Function Program |  |  |  |
| Module 3.12.3 Perform Electrical Analysis in C++ |  | - Calculate A.C Powers Solution Program - Solve Active Component Function Program - Solve Reactive Component Of Function Program - Generate Program For Improvement Of Power Factor |  |  |  |
| Module 3.12.4 Develop and Analyze Electrical Circuit with MULTISM |  | - Identify computer software component - Install and operate MULTISM - Idenitify toolbox and libraries - Develop RC circuit - Develop RLC circuit - construct active filter - construct passive filter - Construct Amplifier frequency response - Construct half wave rectifier - Construct full wave rectifier |  |  |  |
| Module 3.12.5 Develop and Analyze Electrical circuit with PSPICE software |  | - Install and operate PSPICE - Develop filters - Develop rectifier - Construct CE Amplifier - construct CS Amplifier - construct CC amplifier - Design WEIN Bridge Oscillator |  |  |  |
| Module 3.12.6 Carry out Electrical Planning and Estimation in Computer |  | - Analyze customer requirement and specification - Plan and estimate domestic electric work - Plan and estimate commercial electric work - Plan and estimate industrial electric work |  |  |  |
| Module 3.12.7 Carry out Industrial Automation and PLC Installation |  | - Install PLC software and Simulator - Program a PLC using simulator - Analyze user requirements and specification |  |  |  |
| Module 3.13.1 Verify Basic Laws of Electrical Machines |  | - Verify Faraday’s law by moving permanent magnet inside the coil. - Verify Faraday’s law by moving coil near the magnet field. - Verify Faraday’s law using relative motion of coil and magnet - Verify Faraday’s Law using simple loop generator. - Verify Torque induce in a current carrying loop - Verify Mutual induction |  |  |  |
| Module 3.13.2 Analyze an Alternator |  | - Measure the stator winding resistance with DC test. - Perform no load test - Perform short circuit test. - Measure the efficiency of an alternator. - Measure the effect of field current on terminal voltage. - Measure the effect of speed changes on alternator frequency and active power. - Perform parallel operation of Alternators. |  |  |  |
| Module 3.13.3 Analyze Single Phase Motors. |  | - Operate split phase single phase AC motor. - Operate capacitor start and Capacitor run single phase AC motor. - Operate shaded pole single phase motor. |  |  |  |
| Module 3.13.4 Analyze Special Purpose Motors. |  | - Operate and speed control of AC series motor. - Operate miniature (reluctance and hysteresis) single phase AC motors. - Construct and operate stepper motor. - Construct, Operate and develop control circuit of servo motor |  |  |  |
| Module 3.13.5 Analyze Three Phase Motors. |  | - Identify and operate 3 phase Squirrel cage motor - Verify rotating magnetic field - Measure the starting and running current of three phase induction motor. - Draw torque slip curve of three phase induction motor - Determine the slip of 3 phase induction motor by stroboscope - Start, 3 phase Induction motor with direct on line. - Start, 3 phase Induction motor with Auto transformer starter. - Start, 3 phase Induction motor with Star Delta starter. - Make connection to reverse the direction of induction motor. - Determine the efficiency of three phase induction motor - Control the speed of three phase induction motor by changing primary voltage - Control the speed of three phase induction motor by rotor resistance control method - Operate two motors in cascade - Start the synchronous motor using external prime mover. - Identify the effect of field current on three phase synchronous motor. |  |  |  |
| Module 3.13.6 Repairs/Maintenance and Service of AC Electric Motors and Generators |  | - Diagnose Fault in Electric Motor - Carry out Service/Repair in Electric Motor - Carry out Preventive Service/ Maintenance of Generators - Diagnose and Repair Electric Generator |  |  |  |
| Module 3.14.1 Identify Basic Electronics Components |  | - Identify Various Diodes - Identify Resistors in circuit - Identify Capacitor in circuit - Identify Inductor in circuit - Identify transistor and its types |  |  |  |
| Module 3.14.2 Design a Rectifier using Diode |  | - Identify The parameter of Diode and Draw the characteristic curve of Diode - Design half wave and Full Wave Rectifier (two diode rectifier - Design Full Wave Bridge rectifier |  |  |  |
| Module 3.14.3 Carry out Diode Application |  | - Make voltage regulator using Zener diode - Make Seven Segment Using Light Emitting Diode |  |  |  |
| Module 3.14.4 Implement Bipolar Junction Transistor (BJT) in Different Applications |  | - Perform the Biasing of Transistors - Implement Transistor as an amplifier using CB configuration - Implement Transistor as an amplifier using CC Configuration - Implement Transistor as an amplifier using CE Configuration. - Implement BJT as a switch. - Design the circuit of Class A Power Amplifier |  |  |  |
| Module 3.14.5 Implement Field Effect Transistor (FET) in Different Applications |  | - Perform the Biasing of FET - Implement MOSFET as a switch. - Draw the VI characteristics curves for FETs - Design the circuit of Common Drain (CD) Amplifier - Design the circuit of Common Gate (CG) amplifier. - Construct a Low voltage transistor based regulated power supply |  |  |  |
| Module 3.14.5 Implement Thyristor Family in Various Application |  | - Implement the SCR in electronic circuits as switch - Implement the UJT in electronic circuits as switch - Construct the dimmer circuit using Diac &Triac |  |  |  |
| Module 3.14.6 Application of Operational Amplifier |  | - Construct a Non-inverting amplifier using operational amplifier - Construct an Inverting amplifier using operational amplifier - Construct a differentiator circuit using operational amplifier - Construct a integrator circuit using operational amplifier - Construct a Comparator circuit using operational amplifier |  |  |  |
| Module 3.14.7 Verify Truth Table of Digital Gates |  | - Verify the truth table of AND gate - Verify the truth table of OR gate - Verify the truth table of NOT gate - Verify the truth table of NAND gate - Verify the truth table of NOR gate - Verify the truth table of XOR gate - Verify the truth table of XNOR gate |  |  |  |
| Module 3.14.8 Construct & Verify Combinational Logic Circuit |  | - Apply Karnaugh mapping & Boolean algebra to simplify logic expressions - Construct & verify the truth table of Half adder - Construct & verify the truth table of Full adder - Construct & verify the truth table of Half Subtraction - Construct & verify the truth table of Full Subtraction - Verify Decoder - Operate seven segment display with seven segment decoder - Verify Encoder - Verify multiplexer and DE- multiplexer |  |  |  |
| Module 3.14.9 Construct and Verify Function of Flip Flops |  | - Construct and verify the truth table of RS latch using NAND gate - Construct and verify the truth table of clocked RS latch using NAND gate - Verify function of D flip flop. - Verify function of JK/T flip flop |  |  |  |
| Module 3.14.10 Use 555 IC as Multivibrator |  | - Construct 555 IC as Astable Multivibrator - Construct 555 IC as Mono-stable Multivibrator - Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction |  |  |  |
| Module 3.14.11 Construct Shift Registers and Counters with The Help of Flip Flops |  | - Construct a 4 bit shift register by Using Flip Flops - Construct a4-bit binary counter Using Flip Flops - Construct 4-bitsynchronous Counter with D flip-Flops Troubleshoot - different combinational logic circuits. |  |  |  |
| Module 3.15.1 Implement Diode and Thyristor in Power Control Application |  | - Build forward bias circuit of diode and observe its behavior - Build reverse bias circuit of diode and observe its behavior - Use SCR to build Phase control rectifier - Build force commutated circuit for SCR - Build full wave converter and observe natural commutation |  |  |  |
| Module 3.15.2 Implement Single Phase and Three Phase Inverter |  | - Construct single phase half bridge inverter and observe its output - Construct single phase full bridge inverter and observe its output - Construct three phase bridge inverter and observe its output |  |  |  |
| Module 3.15.3 Control Speed of DC/AC Motors |  | - Implement armature control method to control the speed of DC motor with 3 phase control bridge Rectifier - Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier - Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier. - Implement AC to AC converter to control the speed of 3 phase AC motor. - Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal. - Implement synchros’s to transmit torque |  |  |  |
| Module 3.15.4 Program PLC using Ladder Logic |  | - Install PLC software and Simulator - Program a PLC using simulator |  |  |  |
| Module 3.15.5 Carry out Industrial Automation and PLC Installation |  | - Analyze user requirements and specifications for PLC installation - Prepare work plan for PLC Installation - Design and program PLC - Test the PLC - Ensure quality and productivity standards - Installation and Commissioning - Carry out maintenance of PLC |  |  |  |
| Module 3.15.6 Install PLC Software and Simulator |  | - Install PLC software and Simulator - Program a PLC using simulator - Analyze user requirements and specifications |  |  |  |
| Module 3.15.7 Design and Test the PLC |  | - Prepare work plan - Design and program PLC - Test the PLC |  |  |  |
| Module 3.15.8 Installation, Commissioning and Maintenance of PLC. |  | - Ensure quality and productivity standards - Installation and Commissioning - Carry out maintenance of PLC |  |  |  |
| Module 3.16.1 Identify the Parts of Analog & Digital Telephone Set & Verify their Function |  | - Dismantle and identify the parts of analog telephone set - Dismantle and identify the parts of digital telephone set - Demonstrate the operation of Telephone buzzer - Perform the operation of Transmitter & receiver - Identify the parts of rotary dial & verify its function - Identify the parts of digital dial& verify its function. |  |  |  |
| Module 3.16.2 Carry Out Modulation, Demodulation, Multiplexing, De Multiplexing of Information Signal |  | - Perform Amplitude Modulation of Information Signal - Perform Demodulation of Modulated AM Signal - Calculate band width and modulation index - Perform Frequency Modulation of Information Signal - Perform Demodulation of Modulated FM Signal - Perform Pulse Code Modulation (PCM) of an analog signal - Perform Time Division Multiplexing (TDM) and De-multiplexing - Perform Frequency Division Multiplexing and De-multiplexing |  |  |  |
| Module 3.16.3 Install Cord Less Telephone, PABX & Satellite Dish System. |  | - Install cord less telephone system - Install and Configure of Private Automatic Branch Exchange(PABX) - Install Home satellite dish system |  |  |  |
| Module 3.16.4 Install Power Supply |  | - Construct full wave rectifier/Bridge Rectifier - Construct filtered power supply - Construct Zener diode regulated power supply - Installation and Commissioning of Telecom Rectifier /UPS system - Installation of Valve Regulated Lead Acid Battery (VRLA) / Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery - Perform Maintenance Of Valve regulated lead Acid Battery |  |  |  |
| Module 3.16.6 Maintain Lead Acid Batteries and Implement Their Series Parallel Combination |  | - Construct series combination of batteries - Construct Parallel combination of batteries - Prepare Electrolyte for battery - Check specific gravity of Electrolyte - Determine internal resistance of cell - Charge the battery with the help of Charger |  |  |  |
| Module 3.17.1 Operate Hydro Power Plant |  | - Inspect Hydropower Plant equipment - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.2 Operate Thermal Power Plant |  | - Carry out General Inspection of the Thermal power plant - Operate steam power plant - Inspect and Monitor Boiler Operation. - Inspect and Operate Ash handling plant - Inspect and Operate Coal Handling plant - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.3 Operate Diesel Power Plant |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities - Generate Report |  |  |  |
| Module 3.17.4 Operate Nuclear Power Plant |  | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report. |  |  |  |
| Module 3.17.5 Design a Solar Power Plant |  | - Ensure Personal safety - Calculate load for solar PV system design - Plan for installation of solar panel - Install the solar panel frame - Install the solar panel - Perform testing |  |  |  |
| Module 3.17.6 Operate Solar Power Plant |  | - Carry out General Inspection of the power plant - Operate solar plant equipment. - Respond to equipment - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.7 Operate Wind Power Plant |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |
| Module 3.17.8 Utilize Electrical Energy in Building |  | - Specify the requirements and characteristics of electrical heating systems. - Specify the requirements and characteristics of lighting system - Specify the requirements and characteristics of ventilation and air-conditioning systems |  |  |  |
| Module 3.17.9 Utilize Natural Energy in Building |  | - Design Natural lightning system - Design Natural Cooling and ventilation system - Design Natural heating system |  |  |  |
| Module 3.17.10 Calculate Tariffs and Economics |  | - Calculate Tariff for Hydro Power Plant - Calculate Tariff for Solar Power Plant - Calculate Tariff for Thermal Power Plant - Comparative Analysis |  |  |  |
| Module 3.18.1 Carryout Transmission of Electrical Power |  | - Select the Conductor for Transmission line - Sort different effects on transmission lines during conduction. - Select the right insulator from different types according to the requirement - Make Foundation and Erect poles and towers. - Perform stringing work and sag of Transmission lines - Install lightning arrester in a transmission system as per requirement |  |  |  |
| Module 3.18.2 Carryout Distribution of Electrical Power |  | - Select the Conductor for Distribution of power - Improve the Power factor - Select the correct insulator from different types according to the requirement - Make Foundation and Erect poles and structures - Supervise construction of Trenches ,Cable try and select appropriate cable - Perform stringing work and sag of distribution lines - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. - Install the equipment for grounding of Substation/Transmission lines - Select and justify the use of reactor in a system - Install Lightning Arrester in a Distribution system as per requirement |  |  |  |
| Module 3.18.3 Carryout Protection of Distribution and Transmission System |  | - Categorize and rectify the symmetrical and asymmetrical faults - Install Circuit breaker in a distribution system (Substation/Grid station) - Install an isolator at grid station/sub station - Install appropriate relays for the protection of power system - Carry out Bus Bar protection - Carry out time graded protection of feeder - Install a fuse in a circuit (Transformer and Distribution panels) - Supervise Protection of power transformer - Carryout protection arrangement for alternator |  |  |  |

## Detail of Modules.

## Computer Applications for Electrical Technology

### Develop and Analyze Electrical Circuit with MULTISIM

Objective: This module covers the knowledge and  skills required toidentify computer software components Install and operate MULTISM. Idenitify toolbox and libraries. Develop RC circuit and Develop RLC circuit identify computer requirements and assemble procedures and Use of computer software MULTISM for developing/analyzing electrical networks.

Duration: 21 Hours			Theory: 9 Hours				Practice: 12 Hours 			Credit Hours: 2.1 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Identify computer software component | Trainee will be able to: - Classify the software components of Computer. - Install the necessary plug-ins - Install computer software’s as for requirement. | - Definition of Basic purpose of computer - Description of basic software components of computer. - Description of Input and Output devices - Description of basic hardware configuration required for software Practical Activity: Install any application software | Total 2.5 Hrs. Th. 0.5 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| Install and operate MULTISM | Trainee will be able to: - Open the MULTISM Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Simulating circuit. - Transfer to PCB layout. - Routing the board. - Analyze result by changing components | - Description of basic hardware configuration required for software. - Understanding of circuit diagram functions. - Understanding Of electrical components. - Description of basic input and output screen of software. - Description of basic issues/problems related to software Practical Activity: Design a 555 timer circuit by using MULTISM | Total 2.5 Hrs. Th. 0.5 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| - Idenitify toolbox and libraries | Trainee must be able to: - Open the MULTISM Screen and its menu. - Select component of circuit diagrams. - Study electric component simples. - Study wiring - Study tool box - Study PCB layout. - Study routing the board | Understanding & knowledge of toolbox and libraries. Practical activity Open toolbox library and search various components | Total 2 Hrs. Th. 1 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| Develop RC circuit | Trainee must be able to - Open the MULTISM screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout. - Analyze results for AC and DC. | understanding of MULTISM function for RC circuit Practical Activity: Design RC circuit by using MULTISM | Total 2 Hrs. Th. 1 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| Develop RLC circuit | Trainee must be able to - Open the MULTISM screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout Analyze results for AC and DC. | understanding of MULTISM function for RLC circuit Practical Activity: Design RLC circuit by using MULTISM | Total 2 Hrs. Th. 1 Hr. Practical 1Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room |
| construct active filter | Trainee must be able to - Open the MULTISM screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout. - Analyze results follow pass and band pass filter. | understanding of MULTISM function for active filter circuit Practical Activity: Design Active Filter circuit by using MULTISM | Total 2 Hrs. Th. 1 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows DVDs, 6, 10 etc. |  |
| construct passive filter | Trainee must be able to - Open the Multiscreen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout .analyze results for low, high, band and all pass. | understanding of MULTISM function for Passive Filter circuit Practical Activity: Design Passive filter circuit by using MULTISM | Total 2 Hrs. Th. 1 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| Construct Amplifier frequency response | Trainee must be able to - Open the MULTISM and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout Analyze frequency response. | understanding of MULTISM function for Amplifier frequency response circuit Practical Activity: Design Amplifier frequency response circuit by using MULTISM | Total 2 Hrs. Th. 1 Hr. Practical 1 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| - Construct half wave rectifier | Trainee must be able to - Open the MULTISM screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout analyze results | understanding of MULTISM function for Half wave rectifier circuit Practical Activity: Design Half wave rectifier circuit by using MULTISM | Total 2.5 Hrs. Th. 1 Hr. Practical 1.5 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |
| - Construct full wave rectifier | Trainee must be able to - Open the MULTISM screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Transfer to PCB layout. - Analyze results. | understanding of MULTISM function for Full Wave Rectifier circuit Practical Activity: Design Full Wave Rectifier circuit by using MULTISM | Total 2.5 Hrs. Th. 1 Hr. Practical 1.5 Hr. | - Relevant Software Disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and windows Dvds,6, 10 etc. | Class Room and workshop |

### Develop and Analyze Electrical circuit with PSPICE software

Objective: This module covers the knowledge and  skills required to Install and operate PSPICE Develop filters and Develop Rectifier Identify computer requirements and assemble procedures and Use of computer software PSPICE for developing/analysing electrical networks.

Duration: 21 Hours			Theory: 9 Hours				Practice: 12 Hours			Credit Hours: 2.1 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install and operate PSPICE | Trainee will be able to: - Install the PSPICE from setup - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze result by changing components | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity Perform the installation procedure of PSPICE & also operate it. | Total 3 Hrs. Th. 1.5 Hrs. Practical 1.5 Hrs. | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS,6, 10 etc. | Class Room and workshop |
| - Develop filters | Trainee will be able to: - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze result for low pass filter and high pass filter. | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity - Construct filter by using PSPICE & operate it as well | Total 3 Hrs. Th. 1.5 Hrs. Practical 1.5 Hrs. | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS,6,10 etc. | Class Room and workshop |
| - Develop rectifier | Trainee must be able to: - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze result for half and full rectifier | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity - Construct Rectifier by using PSPICE & operate it as well | Total 3 Hrs. Th. 1.5 Hrs. Practical 1.5 Hrs. | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS, 6, 10 etc. | Class Room and workshop |
| - Construct CE Amplifier | Trainee must be able to - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze frequency response for CE Amplifier | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity - Construct CE Amplifier by using PSPICE & operate it as well | Total 3 Hrs. Th. 1.5 Hrs. Practical 1.5 Hrs. . | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS, 6, 10 etc. | Class Room and workshop |
| - construct CS amplifier | Trainee must be able to - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze frequency response for CS amplifier | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity - Construct CS Amplifier by using PSPICE & operate it as well | Total 3 Hrs. Th. 1 Hrs. Practical 2 Hrs. | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS,6, 10 etc. | Class Room |
| - construct CC amplifier | Trainee must be able to - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze frequency response for CC amplifier | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity - Construct CC Amplifier by using PSPICE & operate it as well | Total 3 Hrs. Th. 1 Hrs. Practical 2 Hrs. | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS,6, 10 etc. |  |
| - Design WEIN Bridge Oscillator | Trainee must be able to - Open the PSPICE Screen and its menu. - Select component of circuit diagrams. - Insert electric component. - Wiring schematic. - Save file and Analysis setup. - AC sweep to change frequency. - Analyze the result at oscillator | - Description of basic input and output devices and their function, basic issues/problems related to electric circuit, basic hardware configuration required for software. - Understanding of circuit diagram functions, electrical components Practical Activity - Construct WEIN bridge oscillator by using PSPICE &operate it as well | Total 3 Hrs. Th. 1 Hrs. Practical 2 Hrs. | - Relevant software disks - Internet - Presentation manuals - Multimedia screen - Multimedia - Printer - Power cables - Hardware equipment - Monitor - Keyboard - CPU - Presentation manuals - Handouts hardware - Equipment - Tool kits and window DVDS, 6, 10 etc. | Class Room |

### Carry out Electrical Planning and Estimation in Computer

Objective: This module covers the knowledge and  skills required toAnalyze customer requirement and specification, Plan and estimate domestic electric work, Plan and estimate commercial   electric work and Plan and estimate industrial electric work.

Duration: 21 	Hours			Theory: 9 Hours				Practice: 12 Hours 			Credit Hours: 2.1 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Analyze customer requirement and specification | Trainee will be able to: - Draw the general value chain of the end user. - Highlight the various stages and set of activities in the value chain drawing - Enlist the electrical appliances/materials required in electrical development process - Identify critical stages in the development - Identify the safety aspect required in the critical stages of the development - Enlist the possible energy efficient appliance/devices and global trends in electrical works - Analyse the client requirement at broad level. - Generate a report of various stages of electrical works. - Proposed appliance/materials as per global trends and clarify the technical specification. | - Definition of the term ‘value chain’ of industry - Description of the standard of electrical components. Understanding and knowledge of equipment properties. Understanding and knowledge of input and output of tool of electronic. - Description of the rules and regulation of work - Description of standard of electrical components Practical activity: Analyze the customer requirement and generate a report on appliance used for development process | Total 5 Hrs. Th. 2 Hrs. Practical 3 Hrs. | - Site visit - Reference Material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets, goggles, gloves, rubber, Shoes, etc. | Class Room and workshop |
| - Plan and estimate domestic electric work | Trainee will be able to: - Plan the client requirement at broad level from the proposal. - Plan the electrical appliances/materials / used in different stages of the electrical development process - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for lighting and appliances - Plan a main and sub distribution board. - Ensure safety system. | - Human machine interface concept, Standard operating procedure (SOP) of the organization for control panel development process. - Preparation of a General arrangement drawing - Understanding of IEC standards Practical Activity: - Plan and develop main and sub distribution board with its material estimated cost at domestic level | Total 5 Hrs. Th. 2 Hrs. Practical 3 Hrs. | - Site visit - Reference Material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets, goggles, gloves, rubber, Shoes, etc. | Class Room and workshop |
| - Plan and estimate commercial electric work. | Trainee must be able to: - Analyze the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan a main and sub distribution board. - Ensure safety measures in development process. - Enlist the material required. | Standard of electrical components. - Understanding and knowledge of equipment properties. - Understanding and knowledge of input and output of tool of electronic. - Rules and regulation of work. - Understanding and knowledge of Electrical Specifications component used Practical Activity: Plan and develop main and sub distribution board with its material estimated cost at commercial level | Total 5 Hrs. Th. 2 Hrs. Practical 3 Hrs. | - Site visit - Reference Material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets, goggles, gloves, rubber, Shoes etc. | Class Room and workshop |
| - Plan and estimate industrial electric work. | Trainee must be able to - Analyze the client requirement at broad level from the proposal. - Plan the electrical equipment /appliances/materials / used in different stages of the commercial electrical work - Plan and estimate electrical wiring - Estimate Installation and Material Cost - Estimate Power consumption for centralize lighting, heating, cooling system and other appliances. - Plan 3-phase line for heavy loads - Plan a separate control panel box for heavy machinery. - Plan a main and sub distribution board. - Design a safety system for protection of machinery and labor. - Assign color scheme for safety measures | Standard of electrical components. - Understanding and knowledge of equipment properties. - Understanding and Knowledge of input and output of tool of electronic. - Rules and regulation of work. Practical Activity: Plan and develop main and sub distribution board with its material estimated cost at industrial level | Total 6 Hrs. Th. 3 Hrs. Practical 3 Hrs. | - Site visit - Reference Material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets, goggles, gloves, rubber, shoes ,etc. | Class Room and workshop |

### Carry out Industrial Automation and PLC Installation

Objective: This module covers the knowledge and  skills required to able to get basic knowledge and competence to install PLC software and Simulator, Program a PLC using simulator and analyse user requirements and specifications.

Duration: 21 Hours			Theory: 9 Hours				Practice: 12 Hours			Credit Hours: 2.1 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install PLC software and Simulator | Trainee will be able to: - Install the PLC Programming - Software as per PLC manufacturer such as rest Logic 5000 and rest links classic etc. - Select the best and most frequently used Simulator for programming - Select the module - Input the generic value as per universal settings (check from internet/helped) - Start The Simulator. - Open PLC programming software | - Description of major components ,advantages & applications of PLC - Recognition of types of input and output signals Practical activity: Perform the procedure of installation of PLC software and simulator | Total 7 Hrs. Th. 3 Hrs. Practical 4 Hrs. | - Site visit - Reference material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets gloves, Rubber, shoes etc - PLC software - Helping manual - Simulator - User guide - Simulator - Page - Pen | Class Room and workshop |
| - Program a PLC using simulator | Trainee will be able to: - Open the programming software as per PLC manufacturer - Ensure that the Simulator is connected and is in ON condition - Create a basic ladder logic program for ON/OFF of a bulb using Examine ON and Examine OFF switch - Create a basic ladder logic program for Simple Start/Stop Ladder Logic Relay - Create a basic ladder logic program for Single Push Button On/Off Ladder Logic - Create a basic ladder logic program for with On Delay Timer - Create a basic ladder logic program for with Off Delay Timer - Create a basic ladder logic program for Traffic signal lights - Create a basic ladder logic program for Elevator Control. | - Concept of Piping and instrumentation diagram/drawing (P&ID) - List down the PLC, DCS programming software , SCADA, HMI development software - Knowledge of Relevant documents and documentation procedures - Concept of Ladder Logic with examine ON and examine OFF switch - Function of ladder logic to create basic programs, push button, types of Timers. - working of traffic light & working of an elevator Practical Activity - Construct a basic ladder logic program for Elevator Control using simulator. | Total 7 Hrs. Th. 3 Hrs. Practical 4 Hrs. | - Site visit - Reference material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets gloves, Rubber, shoes etc. - PLC software - Helping manual - Simulator - User guide - Simulator - Page - pen | Class Room and workshop |
| - Analyze user requirements and specification | Trainee must be able to: - Draw the general value chain of the end user industry - Highlight the set of activities that a firm operating in a specific industry performs in the value chain drawing - Enlist the equipment/gauges/sensors/actuators/transducers used in different stages of the process - Identify critical stages in the process - Identify the safety aspect required in the critical stages of the process - Analyse the possible automation in the existing processes and global trends in automation - Analyse the client requirement at broad level from the proposal - Generate a report of various industrial processes involved in industry - Collect the required specification of the equipment (if already prepared by the user) and clarify the technical specification. | - Understanding of term ‘value chain’ of industry, human machine interface (HMI) - Standard operating procedure (SOP) of the organization for control panel development process. - preparation of General arrangement drawing, IEC standards Practical activity: Analyze the customer requirement and generate a report on appliance used for development process | Total 7 Hrs. Th. 3 Hrs. Practical 4 Hrs. | - Site visit - Reference material - Clipboard - Calculation sheet - Calculator - Psychometric charts and tables - Protective gear such as helmets gloves, Rubber, shoes etc - PLC software - Helping manual - Simulator - User guide - Simulator - Page - pen | Class Room and workshop |

### Verify Basic Laws of Electrical Machines

Objective: This module covers the knowledge and  skills required to verify Faraday’s law by moving permanent magnet inside the coil, verify Faraday’s law by moving coil near the magnet field, verify Faraday’s law using relative motion of coil and magnet, verify Faraday’s Law using simple loop generator, verify Torque induce in a current carrying loop and verify Mutual induction.

Duration:  21 Hours			Theory: 9 Hours				Practice: 12 Hours			Cr. Hour: 2.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Verify Faraday’s law by moving permanent magnet inside the coil. | Trainee will be able to: - Construct a coil. - Connect Galvanometer with coil. - Move permanent magnet inside the coil fast and slow. - Record the effect of movement of magnet on reading of Galvanometer. - Hold the magnet inside the coil and do not move. - Record the effect on reading of Galvanometer again. | - Faraday’s laws of Electro-Magnetic Induction - Methods used to find the direction of induced EMF - Demonstration - Practicing | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. | Coil Galvanometer. Connecting leads. Magnet. | Class Room and workshop |
| - Verify Faraday’s law by moving coil near the magnet field. | Trainee will be able to: - Construct a coil. - Connect Galvanometer with coil. - Fix permanent magnet and move the coil fast and slow on it. - Record the effect of movement of coil on reading of Galvanometer. - Hold the coil near the magnetic field and do not move. - Record the effect on reading of Galvanometer. | - Role of magnetic strength in Faraday’s Law - Role of conductor’s length or turns in Faraday’s Law - Demonstration - Practicing | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. | Coil Galvanometer. Connecting leads. Magnet. | Class Room and workshop |
| - Verify Faraday’s law using relative motion of coil and magnet. | Trainee must be able to: - Construct a coil. - Connect Galvanometer with coil. - Make relative motion of coil and magnet. - Record the effect of movement on reading of Galvanometer. | - Induction (Self & Mutual) - Relative motion of coil and magnet - Demonstration - Practicing | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. | Coil Galvanometer. Connecting leads. Magnet. | Class Room and workshop |
| - Verify Faraday’s Law using simple loop generator. | Trainee must be able to: - Identify single loop generator and its parts. - Select field winding. - Connect Galvanometer with single loop coil. - Rotate the single loop coil of generator in the field - Measure the voltage induces in loop generator. - Record the effect of movement on reading of Galvanometer. | - Single loop generator - Effect of loop movement on galvanometer reading - Demonstration - Practicing | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. | Loop Galvanometer. Voltmeter Connecting leads. coil DC source | Class Room and workshop |
| - Verify Torque induce in a current carrying loop | Trainee must be able to: - Construct a coil. - Apply DC voltage to this coil. - Place a current carrying loop in this coil. - Check the direction of force to verify the torque produce. | - Torque (Starting & running) - Force produced on current carrying conductor - Demonstration - Practicing | Th-1.5 Hrs. Pr-2 Hrs. Total- 3.5 Hrs. | Coil Voltmeter Connecting leads. DC source Loop | Class Room and workshop |
| - Verify Mutual induction | Trainee must be able to: - Construct 2 coils on two different legs of single core. - Apply AC voltage to the any one coil. - Check the volts induce in other coil by voltmeter. | - Core - Role of coupled coils - EMF induced in 2nd coil, when voltage is applied to 1st coil - Machine working on the principle of mutual induction - Demonstration - Practicing | Th-1.5 Hrs. Pr-2 Hrs. Total- 3.5 Hrs. | Coils Voltmeter core Connecting leads. AC source | Class Room and workshop |

### Analyze an Alternator

Objective: This module covers the knowledge and  skills required to measure the stator winding resistance with DC test, perform no load test, perform short circuit test, measure the efficiency of an alternator, measure the effect of field current on terminal voltage, measure the effect of speed changes on alternator frequency and active power and perform parallel operation of Alternators.

Duration: 21 Hours				Theory: 9 Hours				Practice: 12 Hours 			Cr. Hour 2.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Measure the stator winding resistance with DC test. | Trainee will be able to: - Connect DC Ampere meter in series with armature. - Apply DC voltage to any one of the other two phases. - Measure current and voltage. - Measure the resistance per phase by ohm’s law. | - Connecting DC source with three phase stator - Calculation of the resistance of winding by using meter reading. - Demonstration - Practicing | Th-1 Hrs. Pr-1.5 Hrs. Total- 2.5 Hrs. | Alternator. Ampere meter. Voltmeter. DC source. Resistive load. Connecting wires. | Class Room and workshop |
| - Perform no load test. | Trainee will be able to: - Make connection according to diagram. - Run the alternator with prime mover to its rated speed. - Supply the field current to make the terminal voltage to its rated value. - Measure Iron losses from watt meter. | - Losses found with no load test - Definition of iron loss - Demonstration - Practicing | Th-1 Hrs. Pr-1.5 Hrs. Total- 2.5 Hrs . | Alternator. Ampere meter. Voltmeter. Wattmeter. Frequency meter. DC source. Connecting wires. | Class Room and workshop |
| - Perform short circuit test. | Trainee must be able to: - Make connection according to diagram. - Run the alternator with prime mover to its rated speed. - Supply the field current to make the terminal voltage 10 to 15% to its rated value. - Measure the copper loss from the watt meter. | - Losses found with short circuit test - Definition of copper loss - Effect of load current on copper loss - Demonstration - Practicing | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs . | Alternator. Ampere meter. Voltmeter. Wattmeter. DC source. Resistive load. Connecting wires. | Class Room and workshop |
| - Measure the efficiency of an alternator. | Trainee must be able to: - Perform no load test to measure Iron losses. - Perform short circuit test to measure copper losses. - Apply formula to find efficiency. | - Measurement of output power of alternator - Constant losses of alternator - Variable losses of alternator - Calculation of efficiency of alternator using formula | Th-1 Hrs. Pr-1.5 Hrs. Total- 2.5 Hrs . | Alternator. Ampere meter. Voltmeter. Wattmeter. DC source. Resistive load. Connecting wires. | Class Room and workshop |
| - Measure the effect of field current on terminal voltage. | Trainee must be able to: - Run the alternator with prime mover to its rated speed. - Regulate the field current from zero to high value to make the terminal voltage to its rated value - Note values of field current and respective terminal voltage - Draw no load curve between field current and terminal voltage. | - Effect of field current on terminal voltage of alternator. - Effect of rheostat resistance on terminal voltage of alternator. - Core saturation - Construction of no load curve / graph between field current and armature voltage & its characteristics - Demonstration - Practicing | Th-1.5 Hrs. Pr-1.5 Hrs. Total- 3 Hrs | Alternator. Ampere meter. Voltmeter. Wattmeter. Frequency meter. DC source. Resistive load. Connecting wires. Tachometer | Class Room and workshop |
| - Measure the effect of speed changes on alternator frequency and active power. | Trainee must be able to: - Run the alternator with prime mover to its rated speed. - Supply the field current to make the terminal voltage to its rated value. - Apply electrical load on alternator. - Measure the effects of load on alternator speed and frequency. - Regulate the prime mover speed from lower to its rated value. - Measure the effect of this change on alternator speed and frequency. | - Frequency of alternator - Effect of speed change on alternator frequency - Power, (Active, reactive & apparent) - Effect of load change on alternator speed & frequency | Th-1.5 Hrs. Pr-2 Hrs. Total- 3.5 Hrs. | Alternator. Ampere meter. Voltmeter. Wattmeter. Frequency meter. DC source. Resistive load. Connecting wires. Tachometer | Class Room and workshop |
| - Perform parallel operation of Alternators. | - Run the incoming alternator to its rated speed. - Supply the field current to make the terminal voltage to its rated value. - Use synchronous scope to synchronize alternator’s frequency and phase angle. - Check the phase sequence with dark lamp method. - Check the voltage of bus bar and incoming machine with volt meter. - Switch on the breaker after completing parallel operation. | - Method used to change the RPM of the alternator - Conditions of paralleling of alternators - Necessity of connecting alternators in parallel. - Working of synchronous scope. - Phase sequence - Phase angle - Demonstration - Practicing | Th-2 Hrs. Pr-2 Hrs. Total- 4 Hrs. | Alternator. Ampere meter. Voltmeter. Wattmeter. Frequency meter. DC source. Resistive load. Connecting wires. Tachometer Synchronous scope Synchronizing panel |  |

### Analyze Single Phase Motors.

Objective: This module covers the knowledge and  skills required to operate split phase single phase AC motor, operate capacitor start and Capacitor run single phase AC motor and operate shaded pole single phase motor.

Duration: 21 Hours			Theory: 9 Hours				Practice: 12 Hours 				Cr. Hour 2.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Operate split phase single phase AC motor. | Trainee will be able to: - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Measure RPM and direction of rotation. - Disconnect the auxiliary winding from centrifugal switch. - Check the effect of this change. | - Definition of starting winding - Definition of running winding - Production of rotating magnetic field in single phase motor. - Splitting of single phase - Necessity of connecting capacitor with starting winding. - Roll of centrifugal switch. - Effect of capacitor on starting torque. - Construction & working of split phase motor. - Demonstration - Practicing | Th-3 Hrs. Pr-4 Hrs. Total- 7 Hrs. | Single phase induction motor. Tachometer. Centrifugal switch. Connecting wires. | Class Room and workshop |
| - Operate capacitor start and Capacitor run single phase AC motor. | Trainee will be able to: - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Measure the RPM. - Remove the starting capacitor with centrifugal switch. - Measure the RPM again. - Check the effect of starting capacitor on motor torque. | - Definition of capacitor start AC motor - Definition of capacitor run AC motor - Effects of capacitor on motor torque. - Demonstration - Practicing | Th-3 Hrs. Pr-4 Hrs. Total- 7 Hrs . | Single phase induction motor. Tachometer. Centrifugal switch. Connecting wires. | Class Room and workshop |
| - Operate shaded pole single phase motor. | Trainee will be able to: - Make connections according to circuit diagram. - Apply rated voltage to the stator. - Change the applied voltage to measure the effect on motor speed. | - Definition of shaded pole - Production of rotating magnetic field in shaded pole motor. - Construction & working of shaded pole motor. - Demonstration - Practicing | Th-3 Hrs. Pr-4 Hrs. Total- 7 Hrs . | Single phase Shaded pole motor. Tachometer. Connecting wires. |  |

### Analyze Special Purpose Motors.

Objective: This module covers the knowledge and  skills required to operate and speed control of AC series motor, operate miniature (reluctance and hysteresis) single phase AC motors, construct and operate stepper motor and construct and operate and develop control circuit with the help of servo motor.

Duration: 21 Hours			Theory: 9 Hours				Practice: 12 Hours				Cr. Hour 2.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Operate and speed control of AC series motor. | Trainee will be able to: - Connect the armature and field winding in series. - Apply rated voltage to the motor. - Measure the effect on motor speed by change in applied voltage. | - Construction, uses & working of AC series motor - Effect of applied voltage on speed of the motor - Demonstration - Practicing | Th-1.5 Hrs. Pr-3 Hrs. Total- 4.5 Hrs. | AC series motor. Tachometer. Connecting wires. | Class Room and workshop |
| - Operate miniature (reluctance and hysteresis) single phase AC motors. | Trainee will be able to: - Connect the stator of motor with single phase supply. - Apply mechanical load by hand - Measure the effect of load change on motor speed. - Draw torque speed curves. | - Construction, uses & working of reluctance motor - Construction, uses & working of hysteresis motor - Effect of load change on motor speed - Drawing of torque speed curve | Th-1.5 Hrs. Pr-3 Hrs. Total- 4.5 Hrs. | Reluctance motor. Hysteresis motor. Tachometer. Connecting wires. |  |
| - Construct and operate stepper motor. | Trainee will be able to: - Connect the stator of the motor with control circuit. - Adjust the control voltage of control unit. - Measure the RPM. - Readjust the control voltage of control unit. - Measure the RPM again. - Make comparison between Control voltage and RPM. | - Construction & working of stepper motor - Role of control unit for stepper motor - Effects of control voltage on motor speed - Uses of stepper motors - Demonstration - Practicing | Th-3 Hrs. Pr-3 Hrs. Total- 6 Hrs. | Stepper motor. Control unit. Tachometer. Connecting wires. |  |
| - Construct, Operate and develop control circuit of servo motor. | Trainee will be able to: - Pair the servo motor with some encoder to provide position and speed feedback. - Compare the measured position to external input to the controller. - Check the effect of feedback on motor position. | - Construction, uses & working of servo motor - Role of controller - Importance of encoder - Demonstration - Practicing | Th-3 Hrs. Pr-3 Hrs. Total- 6 Hrs. | Servo motor. Control circuit. |  |

### Analyze Three Phase Motors.

Objective: This module covers the knowledge and  skills required to identify and operate 3 phase Squirrel cage motor, verify rotating magnetic field , measure the starting and running current of three phase induction motor, draw torque slip curve of three phase induction motor, determine the slip of 3 phase induction motor by stroboscope, start 3 phase Induction motor with direct on line, start 3 phase Induction motor with Auto transformer starter, start 3 phase Induction motor with Star Delta starter, make connection to reverse the direction of induction motor, determine the efficiency of three phase induction motor, control the speed of three phase induction motor by changing primary voltage, control the speed of three phase induction motor by rotor resistance control method, operate two motors in cascade, start the synchronous motor using external prime mover and identify the effect of field current on three phase synchronous motor.

Duration:  21 Hours			Theory: 9 Hours				Practice: 12 Hours 				Cr. Hour 2.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify and operate 3 phase Squirrel cage motor. | Trainee will be able to: - Identify and select 3 phase squirrel cage motor. - Make connection as per diagram. - Connect the supply and interpret the result. | - Types of 3 phase motors - Definition of SCI motor - Construction & working of SCI motor - Star / Delta connection - Demonstration - Practicing | Th-0.5 Hrs. Pr-1 Hrs. Total- 1.5 Hrs. | 3 Phase SCI motor. Tachometer. Connecting wires. | Class Room and workshop |
| - Verify rotating magnetic field | Trainee will be able to: - Connect the three terminals of stator winding with each other and with ground. - Apply three phase supply to the other terminals. - Place a compass between the stator and note the direction of rotating magnetic field. - Change the two phases with each other. - Note the direction of rotating magnetic field. | - Production of rotating magnetic field in 3 phase motor - Technique to verify production of rotating magnetic field - Effect of changing phase sequence on direction of rotating magnetic field - Demonstration - Practicing | Th-0.5 Hrs . Pr-1 Hrs . Total-1.5Hrs. | Magnetic needle. Stator of 3 phase SCI motor. 3 phase supply. Connecting wires. |  |
| - Measure the starting and running current of three phase induction motor. | Trainee will be able to: - Connect the stator winding in star. - Connect an ammeter in series with stator. - Note the ammeter reading at instant of just starting. - Note the reading of ammeter at running condition. | - Starting current - Running current - Method of measuring starting Current - Technique of using lock button of clamp on meter - Demonstration - Practicing | Th-0.5 Hrs . Pr-1 Hrs . Total-1.5 Hrs. | 3 phase SCI motor 3 phase starter 3 phase supply Tong tester Ammeter |  |
| - Draw torque slip curve of three phase induction motor | Trainee will be able to: - Connect three phase induction motor with electro dynamo meter with Belt. - Start the motor and run at rated speed - Measure the RPM. - Change the torque with electro dynamo meter and note the speed - Calculate slip with given values of speed. - Draw graph between slip and torque. | - Technique of using of tachometer (Mechanical & electronic) - Technique of using electro dynamo meter apparatus - Calculation of slip - Drawing graph between slip & torque | Th-0.5 Hrs . Pr-1.5 Hrs . Total- 2 Hrs. | 3 phase SCI motor 3 phase starter 3 phase supply Tachometer Electro dynamometer apparatus |  |
| - Determine the slip of 3 phase induction motor by stroboscope | Trainee will be able to: - Connect the stator of three phase induction motor in star - Apply single phase AC supply to the stroboscope. - Mark dot on motor shaft with marker. - Apply three phase supply to the motor - Note the RPM of the motor with the help of stroboscope. - Calculate slip. | - Stroboscope construction and operation - Technique of measuring speed with stroboscope - Calculation of slip | Th-0.5 Hrs . Pr-1.5 Hrs . Total- 2 Hrs. | 3 phase SCI motor 3 phase starter 3 phase supply Tachometer Stroboscope |  |
| - Start, 3 phase Induction motor with direct on line. | Trainee will be able to: - Draw line diagram of direct-on 3-phase motor Starter. - Identify and select 3 phase Induction motor. - Make Connection of motor with DOL as per diagram. - Switch on the 3 phase breaker and interpret the result. | - Construction & working of 3 phase direct on line starter - Draw connection diagram - Connection technique of DOL starter with 3 phase motor - Demonstration of connection - Practicing | Th-0.5 Hrs . Pr-1.5 Hrs . Total- 2 Hrs. | 3 phase SCI motor 3 phase DOL starter 3 phase supply Tachometer |  |
| - Start, 3 phase Induction motor with Auto transformer starter. | Trainee will be able to: - Connect power circuit with the help of diagram. - Connect control circuit with the help of diagram. - Apply rated voltage to the motor. - Gradually reduce the taping of auto transformer with the help of control circuit. | - Construction & working of 3 phase Auto transformer starter - Draw connection diagram - Connection technique of Auto Transformer starter with 3 phase motor - Demonstration of connection - Practicing | Th-0.5 Hrs . Pr-1.5 Hrs . Total- 2 Hrs. | 3 phase SCI motor 3 phase Auto Transformer starter 3 phase supply Tachometer |  |
| - Start, 3 phase Induction motor with Star Delta starter. | Trainee will be able to: - Draw line diagram of a starter-delta starter. - Identify and select 3 phase Induction motor. - Make Connection of motor with star delta starter as per diagram. - Switch On the 3 phase breaker and interpret the result. | - Construction & working of 3 phase star delta starter - Draw connection diagram - Connection technique of star delta starter with 3 phase motor - Demonstration of connection - Practicing | Th-0.5 Hrs . Pr-1.5 Hrs . Total-2Hrs. | 3 phase SCI motor 3 phase Star Delta starter 3 phase supply Tachometer |  |
| - Make connection to reverse the direction of induction motor. | Trainee will be able to: - Draw line diagram to reverse the direction of induction motor - Identify and select 3 phase Induction motor. - Make Connection of motor through 3 pole 2 way switch as per diagram. - Move the handle of 3 Pole 2 Way switch from off position to position 1. - Move the handle of 3 Pole 2 Way switch from Position 1 to off position and wait for stopping of motor - Move the handle of 3Pole 2 way switch from off position to position 2 and interpret the result. | - Draw connection diagram of motor direction reversal using 3 pole two way switch - Working of 3 pole 2 way switch used for reversing 3 phase motor direction - Connection technique of 3 pole 2 way switch used for reversing 3 phase motor direction - Demonstration of using 3 pole 2 way switch for reversing 3 phase motor direction - Practicing | Th-0.5 Hrs . Pr-1.5 Hrs . Total- 2 Hrs. | 3 phase SCI motor 3 phase starter 3 pole 2 way switch 3 phase supply Tachometer |  |
| - Determine the efficiency of three phase induction motor | Trainee will be able to: - Connect wattmeter, voltmeter and ammeter with the stator of three phase induction motor. - Run the motor at rated speed. - Measure the reading of wattmeter and voltmeter. - Stop the motor - Couple three phase induction motor and electro dynamo meter with belt. - Run the motor. - Supply single phase supply to the dynamo meter. - Adjust the supply of electro dynamo meter so that the maximum current passes through the motor. - Read the meters reading. - Calculate the efficiency of the motor by using these reading. | - Draw connection diagram - Demonstrate operation - Record readings - Calculation of efficiency | Th-0.5 Hrs . Pr-1.5 Hrs . Total:2 Hrs | 3 phase SCI motor 3 phase DOL starter 3 phase supply Tachometer Wattmeter Ammeter Voltmeter Electro dynamometer apparatus Single phase supply |  |
| - Control the speed of three phase induction motor by changing primary voltage | Trainee will be able to: - Connect the stator of the motor in star connection. - Insert rheostat in series with stator of the motor. - Set the rheostat resistance to its max value. - Run the motor - Change rheostat resistance and note the effect of speed changes. | - Methods of induction motor speed control - Effect of rheostat in stator - Draw connection diagram - Demonstrate the starting operation - Practicing | Th-0.5 Hrs . Pr-1.5 Hrs . Total-2 Hrs. | 3 phase SCI motor 3 phase DOL starter 3 phase variable supply Tachometer |  |
| Control the speed of three phase induction motor by rotor resistance control method | Trainee will be able to: - Select wound rotor induction motor. - Connect the stator of motor in star connection. - Connect a star connected starter with motor rotor. - Set rotor resistance to its max value. - Run the motor. - Change the rotor resistance and note the effect of speed change. | - Starting method of wound rotor induction motor - Effect of rotor resistance - Draw connection diagram - Demonstrate the starting operation - Practicing | Th-0.5 Hrs . Pr-1.5 Hrs . Total-2 Hrs. | 3 phase wound rotor motor 3 phase DOL starter 3 phase supply 3 phase rheostat Tachometer |  |
| - Operate two motors in cascade | Trainee will be able to: - Select two wound rotor induction motor. - Couple shaft of the both motors. - Connect the stator of motor 2 with the rotor of motor 1. - Connect the motor 2 rotor in star connection. - Apply three phase voltage to the stator of motor 1. - Control the speed of both motors by changing the rotor resistance of motor 2. | - Techniques of motors coupling - Working of cascade method of speed control - Draw circuit diagram of cascade method - Demonstrate method - Practicing | Th-1 Hrs . Pr-1.5 Hrs . Total-2 Hrs. | 3 phase wound rotor motors with coupled shafts 3 phase DOL starter 3 phase rheostat 3 phase supply Tachometer |  |
| - Start the synchronous motor using external prime mover. | Trainee will be able to: - Couple the shaft of the synchronous motor with external prime mover (DC Shunt motor) - Connect the stator winding of synchronous motor in star connection. - Apply rated voltage to the stator. - Run the prime mover, which results in locking of rotor with stator magnetic field | - Construction & working of Synchronous motor - Starting methods of synchronous motor - Prime mover - Demonstration - Practicing | Th-1 Hrs . Pr-1.5 Hrs . Total-2.5 Hrs. | 3 phase Synchronous motor coupled with DC Shunt motor DC motor starter DC supply 3 phase supply synchronizing panel Tachometer |  |
| - Identify the effect of field current on three phase synchronous motor. | Trainee will be Able To: - Apply rated voltage to stator. - Excite the field winding. - Change the field winding voltage and measure the effect on Armature current. - Draw the V curve between Armature Current and Field current. | - Effect of field excitation in synchronous motor - Effect of changing field winding voltage - Measuring technique of field and armature current of synchronous motor - Draw V curve | Th-1 Hrs . Pr-1.5 Hrs. Total-2.5Hrs. | 3 phase Synchronous motor coupled with DC Shunt motor DC motor starter DC supply 3 phase supply synchronizing panel Tachometer Variable field resistance Ammeter |  |

### Repairs/Maintenance and Service of AC Electric Motors and Generators

Objective: This module covers the knowledge and  skills required to Diagnose Fault in Electric Motor, carry out Service/Repair in Electric Motor, carry out Preventive Service/ Maintenance of Generators and Diagnose and Repair Electric Generator carry out repair and maintenance of AC motors and generators in accordance with the manufacturer’s instructions. The underpinning knowledge regarding repair and maintenance of electrical motor & generators will be sufficient to provide the basis for your work.

Duration:  19 Hours			Theory: 7 Hours				Practice: 12 Hours				Cr. Hour 1.9

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Diagnose Fault in Electric Motor | Trainee will be able to: - Identify the type of electric motor from data / name plate or manual and motor ratting. - Check the tripping of protective device using specified test instruments, while the motor is running with power supply connected with suitable control and protective device, the difficulty in starting/low RPM/ unusual noises/ excessive heat/ grounded winding etc. - Perform dismantling of three-phase motor - Inspect visual mechanical defect such as, loose or tight bearings, bent shaft, noisy running. - Check the motor by using specified test instruments to detect electrical defects such as loose/or burnt electrical connections, burnt windings, low insulation resistance. - Perform test to locate short circuit, circuit break, earth fault, wiring fault, bearing fault. | - Importance of name plate of motor - Definition of fault and enlist main types of faults (mechanical & electrical) of motors - Causes of faults - Importance of role of protective devices - Types of protective devices used in motor protection - Dismantling technique of motor - Importance of visual inspection in detecting of faults - Motor tests used for detection of faults - Demonstrate test to locate short circuit, circuit break, earth fault, wiring fault, bearing fault. - Practicing | Th-1 Hrs. Pr-3 Hrs. Total- 4 Hrs. | Faulty motor. Tool box Rust cleaning Agents Protective devices panel. Connecting wires AVO meter Fault analyzer. | Class Room and workshop |
| - Carry out Service/Repair in Electric Motor | Trainee will be able To: - Clean the parts of the motor with specified cleaning agents/tools & material - Repair the motor as per diagnosed mechanical faults - Check the windings insulation resistance with insulation tester - Rewind the motor as per requirement - Check the insulation resistance of repaired motor as per standard - Assemble the electric motor after performing internal tests/servicing/repairs according to manufacturer’s instructions - Carry out the No load and load tests as per standard practices | - Importance of using of cleaning agents / tools & materials - Method of checking mechanical faults - Methods of checking insulation resistance of motor winding - Importance of checking insulation resistance after repair - Technique of re- assemble process - Importance and method of no load and load test after repair. - Demonstration - Practicing | Th-2 Hrs. Pr-3 Hrs. Total- 5 Hrs. | Faulty motor. Tool box Rust cleaning Agents Protective devices panel. Connecting wires Megger AVO meter Fault analyzer. |  |
| - Carry out Preventive Service/ Maintenance of Generators | Trainee will be able To: - Carry out routine maintenance of the generator as specified in the manufacturer’s manual - Check out the switch, timer, relay, protective device and wire connection - Update the maintenance/service records | - Definition of maintenance (Preventive & Corrective) - Routine maintenance of generators - Importance of updating the maintenance record - Demonstration - Practicing | Th-2 Hrs. Pr-3 Hrs. Total- 5 Hrs. | Faulty generator. Tool box Rust cleaning Agents Protective devices panel. AVO meter Fault analyzer. |  |
| - Diagnose and Repair Electric Generator | Trainee will be able To: - Check Load regulator of the generator and its control circuit. - Check control circuit of the auxiliary generator. - Check control circuit of the battery unit - Check circuit breaker and relay. - Dismantle the electric Generator for internal tests/servicing/repairs according to manufacturer’s instructions - Clean the parts of the generator with specified cleaning agents/tools & material - Find out the root cause of fault according to the signs of fault by applying the working principles of control equipment of generators: Speed controller, Magnetic field control circuit and equipment of the generator. - Repair the fault after finding out the faulty equipment or component - Check the windings insulation resistance with insulation tester as per standard - Repair / rewind the generator winding as per diagnosed fault. - Assemble the generator after performing internal tests/servicing/repairs according to manufacturer’s instructions - Carry out the No load and load tests as per standard practices | - Role of load regulator of generator - Method of checking load regulator - Definition of auxiliary and main generator - Method of checking control circuit of battery unit - Method of dismantling of generator for internal test / service / repair - Importance of using cleaning agents / tools & material for cleaning parts of generator - Importance of determining the root cause of faults - Method of checking insulation resistance of winding - Method and procedure of rewinding of generator winding - Method and process of re assembling of generator - Importance and method of no load and load test after repair of generator - Demonstration - Practicing | Th-2 Hrs. Pr-3 Hrs. Total-5 Hrs. | Faulty generator. Tool box Rust cleaning Agents Protective devices panel. AVO meter Fault analyzer. |  |

### Identify Basic Electronics Components

Overview: This module covers the skills and knowledge required to Identify Various Diodes, Resistors, Capacitors and Inductor in the circuit. After this module the candidate will be able to identify variety of basic electronic components and their usage in industry.

Duration:  18 Hours			Theory: 9 Hours				Practical: 9 Hours				Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify Various Diodes | Trainee would be able to - Identify the types of Diodes - Identify the polarities of diode. - Check the voltage across the diode in forward and reverse Biased | - Define diode. - Identify its various types, polarities approximations. - Explain various diode testing methods. Classify the diodes w.r.t application. - Define Multimeter and its different types. - Explain the uses of multimeter. - Explain the working and types of power Supply unit. - Explain the data sheets. - Explain diode applications. Practical Activity: Test the diode to identify its polarity and operation as per data sheet specification. | Total 02 Hrs. Th. 01 Hrs. Practical: 01 Hrs. | - Digital Multimeter - Power supply - Diode - Resistor - Bread board - Data sheets | Class Room and Workshop |
| - Identify Resistors in circuit | Trainee would be able to - Identify Resistor & its types - Recognize numeric coding & colour coding of resistor - Design series & Parallel circuit of Resistor - Use formulas for Series & parallel circuit of resistors | - Define Resistor & its types with respect to rating, tolerance and power. - Explain the colour coding reading technique. - Explain series & Parallel circuit. Practical Activity: Design R2R ladder network using various resistors. | Total 04 Hrs. Th. 2Hrs. Practical: 02 Hrs. | - Digital Multimeter - Power supply - Resistor - Bread board - Data sheets | Class Room and Workshop |
| - Identify Capacitor in circuit | Trainee would be able to - Identify Capacitor & its types - Recognize polarity & rating of Capacitor - Design Parallel and series circuit of Capacitor - Use formulas for Series & parallel circuit of Capacitor. | - Define Capacitor & its types with respect to rating, polarity and value. - Explain the capacitor codes to determine its value. - Explain series & Parallel circuit of capacitor. Practical Activity: Design a 6 volt battery using capacitors. | Total 04 Hrs. Th. 02Hrs. Practical: 02 Hrs. | - Digital Multimeter - Power supply - Resistor - Capacitor - Bread board - Data sheets | Class Room and Workshop |
| - Identify Inductor in circuit | Trainee would be able to - Identify an Inductor - Recognize Coding & Rating of Inductor - Use formulas for Series & Parallel circuit of Inductor - Analyze Circuit of Inductor | - Define Inductor & its types with respect to rating and value. - Explain the Inductor codes to determine its value. - Explain different applications of inductor. Practical Activity: Develop a frequency acceptor circuit using RLC combination. | Total 04 Hrs. Th. 02Hrs. Practical: 02 Hrs. | - Digital Multimeter - Power supply - Inductor - Bread board - Data sheets | Class Room and Workshop |
| - Identify transistor and its types | Trainee would be able to - Identify types of transistors - Analyze switching functions of transistor - Analyze transistors circuit | - Define transistor and its types with respect to application and design. - Describe transistor operation modes. - Explain V-I characteristic curve of transistor. Practical Activity: Test the transistor to verify its polarity and voltage current characteristics. | Total 04 Hrs. Th. 02 Hrs. Practical: 02Hrs. | - Multimeter - Power supply - Resistor - Transistors - Bread board - Data sheets | Class Room and Workshop |

### Design a Rectifier using Diode

Overview: This module covers the skills and knowledge required to the parameter of Diode and characteristic curve of Diode, designing of Full Wave Rectifier (two diode rectifiers) and designing of Full Wave Rectifier using Diode Bridge. This module will help the candidate in construction of Diode rectifier and its uses in industry.

Duration: 18 Hours			Theory: 9 Hours				Practical: 9 Hours				Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify The parameter of Diode and Draw the characteristic curve of Diode | - Trainee would be able to - Identify the Diodes and their terminal (Anode and Cathode) with the Help of Datasheet - Measure different parameters (Current, Voltage, and power rating) of Diode using digital multimeter - Implement the Diode in forward and Revers Configuration - Perform the forward and reveres biases operation - Monitor the Output waveform on oscilloscope - Draw the characteristic curves in forward and reverse Biased - Generate the Lab report | - Define the basic of diodes, & their applications in circuits - Define Diode Forward Biase / Reverse Biase operation. - Explain the diode configurations and its operation. - Explain the waveform of diode biasing behavior. Practical Activity: Test the forward bias and reverse bias operation using oscilloscope. | Total 6 Hrs. Th. 03 Hrs. Practical: 03 Hrs. | - Oscilloscope - Diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire stripper | Class Room and Workshop |
| - Design half wave and Full Wave Rectifier (two diode rectifier | Trainee would be able to - Select Full Wave and half wave Rectifier components - Draw circuit Diagram of half wave Rectifier - Draw circuit Diagram of Full Wave Rectifier - Observe the Input and Output wave form on oscilloscope and multimeter - Calculate the ripple Factor - Measure output voltage using proper formulas | - Define the rectifier. - Explain various circuit components used in half wave and full wave rectifier circuit. - Differentiate half wave and full wave rectifier circuit. Practical Activity: Develop a clipper circuit and observe its output waveform on oscilloscope | Total 6 Hrs. Th. 03 Hrs. Practical: 03 Hrs. | - Oscilloscope Diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire stripper | Class Room and Workshop |
| - Design Full Wave Bridge rectifier | Trainee would be able to - Select Full Wave Rectifier components - Draw circuit Diagram of Full Wave Rectifier - Observe the Input and Output wave form on oscilloscope - Calculate the ripple Factor - Measure output voltage | - Explain full wave bridge rectifier circuit - Explain the components of full wave bridge rectifier. - Explain waveform for full wave bridge rectifier Practical Activity: Develop a full wave bridge rectifier using 4 diodes. Display the output on oscilloscope. | Total 6 Hrs. Th. 03 Hrs. Practical: 03 Hrs. | - Oscilloscope Diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire stripper | Class Room and Workshop |

### Carry out Diode Application

Overview: This module covers the skills and knowledge required to make voltage regulator using Zener diode and make Seven Segment Using Light Emitting Diode. After completing this module, the student will be able to design a voltage regulator circuit using a Zener diode to maintain a constant DC output voltage across the load in spite of variations in the input voltage or changes in the load current.

Duration: 18 Hours			Theory: 9 Hours				Practical: 9 Hours			Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Make voltage regulator using Zener diode | Trainee would be able to - Draw the voltage Regulator circuit - Select the Zener diode and components as per requirement for voltage regulator - Placed the components on bread board for voltage regulator circuits. - Measure Input and outputs of the voltage regulator - Verify the required output - Generate the output report | - Define the term regulator. - Explain the characteristics and working of a zener regulator. - Discuss the reverse breakdown voltage. - Discuss the application of zener diodes with examples. - Define the output waveform of the zener voltage regulator. Practical Activity: Develop a circuit using zener diode to regulate the voltage at 6.8VDC. | Total 9 Hrs. Th. 4.5 Hrs. Practical: 4.5 Hrs. | - Oscilloscope - Zener diode - Resistor - Variable DC power supply - Connecting wire - Breadboard - Light Emitting diode - Multimeter | Class Room and Workshop |
| - Make Seven Segment Using Light Emitting Diode | Trainee would be able to - Draw the Seven Segment Display Circuit - Select required components for seven segment display - Placed the components for Seven Segment Display Circuit - Perform basic operations of Seven Segment Display and Verify the required output - Generate the output report | Describe the 7 segment display circuit. Discuss the driver circuit of seven segment. Discuss the control circuit associated with hardware. Explain uses of 7 segment display circuit Practical Activity: Design a display board using seven segment, displaying the word “ELECTRONICS” | Total 9 Hrs. Th. 4.5 Hrs. Practical: 4.5 Hrs. | - Oscilloscope - Resistor - Variable DC power supply - Soldering iron - Connecting wire - Breadboard - Light Emitting diodes - Digital Multimeter | Class Room and Workshop |

### Implement Bipolar Junction Transistor (BJT) in Different Applications

Overview: This module covers the skills and knowledge required to perform the Biasing of Transistors, Implement Transistor as an amplifier using CB Configuration, Implement Transistor as an amplifier using CC Configuration, Implement Transistor as an amplifier using CE Configuration, BJT as a switch, Design the circuit of Class A Power Amplifier and Implement After completion of this module the student will be able to regulate the current or voltage flow and implement a switch for electronic signals.

Duration:  18 Hours			Theory: 9 Hours				Practical: 9 Hours				Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform the Biasing of Transistors | Trainee would be able to - Identify the Transistor & its types. - Identify the base collector & Emitter of transistors - Perform the standard Biasing of PNP & NPN Transistor. | - Define the transistor construction, its type & identification. - Introduce various transistor biasing methods. - Describe transistor operation. - Explain the purpose of transistor biasing. - Explain transistor operating regions. Practical Activity: Record the output current for forward biased and reverse biased regions of the transistors. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - Transistor - Resistor - Variable DC power supply, Multimeter - Connecting wire - Breadboard - Light Emitting diode | Class Room and Workshop |
| - Implement Transistor as an amplifier using CB Configuration. | Trainee would be able to - Draw the Circuit of CB configuration of transistor - Select the components for CB configurations. - Place the components on breadboard for CB amplifier - Calculate the gain of transistor in CB mode - Draw VI characteristics curve for CB | - Define the term amplifier. - Explain the types of amplifier. - Explain CB amplifier configuration. - Explain the gain variation in amplifiers. - Discuss the Q point factor in amplifiers. - Explain VI characteristic curve for CB configuration Practical Activity: Develop a common base amplifier to verify the parameters. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs.. | - Oscilloscope - Transistor - Resistor - Variable DC power supply, Multimeter - Connecting wire - Breadboard - Light Emitting diode | Class Room and Workshop |
| - Implement Transistor as an amplifier using CC Configuration. | Trainee would be able to - Draw the Circuit of CC configuration of transistor - Select the components for CC configurations. - Place the components on breadboard for CC amplifier - Calculate the gain of transistor in CC modes. - Draw VI characteristics curve for CC | - Define the term amplifier. - Explain the types of amplifier. - Explain CC amplifier configuration. - Describe the gain variation in amplifiers. - Explain the Q point factor in amplifiers. - Explain VI characteristic curve for CC configuration. Practical Activity: Develop a common collector amplifier to verify the parameters. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |
| - Implement Transistor as an amplifier using CE Configuration. | Trainee would be able to: - Draw the Circuit of CE configuration of transistor - Select the components for CE configurations. - Place the components on breadboard for CE amplifier - Calculate the gain of transistor in CE modes. - Draw VI characteristics curve for CE | - Explain CE amplifier configuration. - Describe the gain variation in amplifiers. - Explain the Q point factor in amplifiers. - Explain VI characteristic curve for CE configuration Practical Activity: Develop a common emitter amplifier to verify the parameters. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs.. | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |
| - Implement BJT as a switch. | Trainee would be able to: - Draw the Circuit of transistor in switching configuration. - Select the components for switching circuits - Place the components on breadboard. - Operate an LED using transistor as a switch - Measure the output and generate the report | - Define the switch. - Explain the type of transistor used as switch. - Discuss the gain variation in BJT amplifier. - Discuss the Q point factor in BJT amplifiers. - Discuss the importance of Active and Cutoff regions operation in switching. Practical Activity: Develop a BJT transistor based controlled relay as switch. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |
| - Design the circuit of Class A Power Amplifier | Trainee would be able to: - Identify the Class of a Power Amplifier - Select the component for Class A Power Amplifier - Implement the circuit of PNP OR NPN transistor in Class A Power Amplifier Configuration - Analyze the different parameter of Class A Power Amplifier - Monitor the Output waveform on oscilloscope - Draw the characteristic curves of Class A Power Amplifier - Calculate the Voltage gain and Power Gain of Class A Power Amplifier - Generate the Lab report | - Define the term Power Amplifier - Explain Class A power amplifier and its configuration in detail. - Describe voltage gain and power gain variation in amplifier. - Explain the Q point factor in amplifier. - Describe Characteristic curve of class A Power amplifier. - Explain amplifier stability. Practical Activity: Find the gain of a class A amplifier using small signal AC input using oscilloscope. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs.. | - Oscilloscope - Transistor - Resistor - Variable DC power supply, - Multimeter - Connecting wire - Breadboard - Light emitting diode | Class Room and Workshop |

### Implement Field Effect Transistor (FET) in Different Applications

Overview: This module covers the skills and knowledge required to perform the Biasing of FET, Implement MOSFET as a switch, Draw the VI characteristics curves for FETs, Design the circuit of Common Drain (CD) Amplifier, Design the circuit of Common Gate (CG) Amplifier. After completion of this module the student will be able to implement the FET (Field Effect Transistor) to control the current flow through the device.

Duration:  18 Hours				Theory: 9 Hours			Practical: 9 Hours				Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform the Biasing of FET | Trainee would be able to: - Identify the FET & its types. - Identify the Drain, Gate & Source terminal of FET - Perform the standard Biasing of MOSFET (N-channel, P-channel) - Measure the Gate-Source voltage (Vgs) & Threshold Voltage | - Define the FET transistor construction, its type & identification w.r.t design. - Introduce various FET transistor biasing methods. - Describe FET transistor operation. - Explain the purpose of FET transistor biasing. - Define the datasheet reading method for FET. - Define transistor operating regions. - Describe gate-source voltage - Explain threshold voltage Practical Activity: Design a voltage controlled FET amplifier and observe the I/O waveform using oscilloscope. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - FET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Implement MOSFET as a switch. | Trainee would be able to: - Draw the Circuit of MOSFET in switching configuration. - Select the components for switching circuits - Place the components on breadboard - Operate an LED using MOSFET as a switch - Measure the output and generate the report | - Define the term transistor switching. - Define the term MOSFET. - Explain the MOSFET switch. Practical Activity: Design a relay using MOSFET and record its output. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Draw the VI characteristics curves for FETs | Trainee would be able to: - Construct an amplifier circuit using FET - Apply Vds &Vgs - Measure the drain current - Draw VI characteristic curves | - Define the term amplifier - Explain the basics of V I characteristic of MOSFET. - Describe the drain current Practical Activity: Design a circuit to analyze FET V I characteristic using oscilloscope. | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs.. | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Design the circuit of Common Drain (CD) Amplifier | Trainee would be able to: - Identify the FET and there terminal (gate, drain and Sources) whit the Help of Datasheet - Select the components for Common Drain (CD) amplifier - Implement the circuit of Common Drain (CD) amplifier - Analyse the different parameter of Common Drain (CD) amplifier - Monitor the Output waveform on oscilloscope - Draw the characteristic curves of Common Drain (CD) amplifier - Generate the Lab report | - Describe FET transistor operation. - Explain the purpose of FET transistor biasing. - Explain common drain (CD) configuration of FET - Discuss transistor operating regions and configuration. - Explain characteristic curve for CD amplifier Practical Activity: Design a voltage controlled FET amplifier in common gain configuration, and observe the I/O waveform using oscilloscope | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - Design the circuit of Common Gate (CG) amplifier | Trainee would be able to: - Identify the FET and there terminal (gate, drain and Sources) whit the Help of Datasheet - Select the components for Common Gate (CG) amplifier - Implement the circuit of Common Gate (CG) amplifier - Analyze the different parameter of Common Gate (CG) amplifier - Monitor the Output waveform on oscilloscope - Draw the characteristic curves of Common Gate (CG) amplifier - Generate the Lab report | - Describe FET transistor operation. - Explain the purpose of FET transistor biasing. - Define the datasheet reading method for FET. - Discuss transistor operating regions and configuration. Practical Activity: Design a voltage controlled FET amplifier and observe the I/O waveform using oscilloscope | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Oscilloscope - MOSFET Transistor - Resistor - Variable DC power supply - Connecting wire - Breadboard - Multimeter - Wire cutter - Wire Stripper | Class Room and Workshop |
| - . Construct a Low voltage transistor based regulated power supply | - Draw the Schematic diagram of power supply - Select the components for power supply - Install the power supply circuit. - Connect the circuit with DC supply. - Vary the input voltage and note down the effects on output. |  | Total 03 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. |  |  |

### Implement Thyristor Family in Various Application

Overview: This module covers the skills and knowledge required to, Implement the SCR in electronic circuits as switch, Implement the UJT in electronic circuits as switch and Construct the dimmer circuit using DIAC & TRIAC. After the completion of this standard the candidate will be able to use Uni junction Transistor (UJT), Silicon-controlled rectifier (SCR) in power Control Application.

Duration:  18 Hours			Theory: 9 Hours			Practical: 9 Hours			Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Implement the SCR in electronic circuits as switch | Trainee would be able to: - Identify the SCR terminals - Draw the circuit of switch using SCR. - Select the components for SCR switching circuits. - Construct the SCR switching circuit. - Apply the trigger Pulse and Check out the desired outputs | - Define SCR. - Explain SCR and its switching operation. - Explain the Thyristor unidirectional operation. - Explain usage of data sheet. - Discuss the 3 phase circuit applications of SCRs. Practical Activity: Design speed control circuit for a motor using SCR. | Total 6 Hrs. Th. 03 Hrs. Practical: 03 Hrs. | - Oscilloscope - UJT, - SCR - Variable DC power supply, - Multimeter - wire - Breadboard or trainer - Connecting wire - Wire Stripper - Wire Cutter | Class Room and Workshop |
| - Implement the UJT in electronic circuits as switch | Trainee would be able to: - Identify the UJT terminal - Draw the circuit of switch using UJT. - Select the components for the relaxation oscillator circuits - Construct the relaxation oscillator circuits using UJT - Measure the input and output voltage - Generate the lab report. | - Define term SCR. - Explain the UJT operation and working modes. - Differentiate UJT with SCR. - Explain usage of data sheet. - Explain working operation of relaxation oscillator circuit. Practical Activity: Design a light intensity controller using UJT | Total 6 Hrs. Th. 03 Hrs. Practical: 03 Hrs. | - Oscilloscope - UJT, - SCR - Variable DC power supply, - Multimeter - wire - Breadboard or trainer - Connecting wire - Wire Stripper - Wire Cutter | Class Room and Workshop |
| - Construct the dimmer circuit using Diac &Triac | Trainee would be able to: - Identify the terminals of Diac & Triac. - Draw the dimmer circuit using Diac & Triac. - Select the components for the dimmer circuit. - Construct the dimmer circuits. - Control the load using dimmer - Generate the lab report | - Explain the DIAC and TRIAC. - Explain data sheet usage. - Discuss the control circuits applications of DIAC and TRIAC - Explain dimmer circuit. Practical Activity: - Design chopper circuit using TRIAC. - Design furnace heat control circuit using diac. | Total 6 Hrs. Th. 03 Hrs. Practical: 03 Hrs. | - Oscilloscope - DIAC - TRIAC - Variable DC power supply, - Multimeter - wire - Breadboard or trainer - Connecting wire - Wire Stripper - Wire Cutter | Class Room and Workshop |

### Application of Operational Amplifier

Overview: This module covers the skills and knowledge required to construct a Non-inverting amplifier, an Inverting amplifier, differentiator and comparator circuit using operational amplifier.

Duration:  18 Hours				Theory: 9 Hours			Practical: 9 Hours			Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct a Non-inverting amplifier using operational amplifier | Trainee would be able to: - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. - Draw the Schematic diagram of non-Inverting Op-Amp. - Select the components for Non-Inverting Op-Amp. - Implement Non-Inverting Op-Amp circuit. - Perform the operations of Non-Inverting Op-Amp circuit. - Measure the output voltage & gain. - Generate the Output report. | - Define term operational amplifier (OP-AMP). - Explain working construction & identification w.r.t design. - Explain pin configuration of OP-AMP. - Explain the mode of operation of Operational amplifier. - Describe Non-inverting amplifier with applications - Explain usage of data sheet of (OP-AMP) Practical Activity: Design a circuit using operational amplifier with non-inverting configuration to analyze it’s output signal behavior. Use an oscilloscope to read the waveform. | Total 02 Hrs. Th. 01 Hrs. Practical: 01 Hrs. | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct an Inverting amplifier using operational amplifier | Trainee would be able to: - Identify the Operational amplifier terminals (Inverting, Non-inverting Inputs & Outputs) with the Help of Datasheet - Identify different parameters (Current, Voltage, and power rating) of Op-Amp using datasheet. - Draw the Schematic diagram of Inverting Op-Amp. - Select the components for Inverting Op-Amp. - Implement Inverting Op-Amp circuit. - Perform the operations of Inverting Op-Amp circuit. - Measure the output voltage & gain - Generate the Output report. | - Define term operational amplifier (OP-AMP). - Explain working construction & identification w.r.t design. - Explain pin configuration of OP-AMP. - Explain the mode of operation of Operational amplifier. - Describe Inverting amplifier with applications - Explain usage of data sheet of (OP-AMP) Practical Activity: Design a circuit using operational amplifier with inverting input to analyze its output signal using an oscilloscope for signal analysis. | Total 04 Hrs. Th. 02 Hrs. Practical: 02 Hrs. | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct a differentiator circuit using operational amplifier | Trainee would be able to: - Draw the Schematic diagram of differentiator circuit using Op-Amp. - Select the components for differentiator circuit. - Implement differentiator circuit. - Perform the operations of differentiator circuit. - Measure the output waveform - Draw the characteristic curves of differentiator circuit. - Generate the Output report | - Explain the operation of differentiator circuit. - Describe differentiator circuit with applications - Explain usage of data sheet of (OP-AMP) - Explain characteristic curve for differentiator circuit Practical Activity: Design a differentiator circuit using operational amplifier. Use an oscilloscope for signal analysis. | Total 04 Hrs. Th. 02 Hrs. Practical: 02 Hrs. | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct a integrator circuit using operational amplifier | Trainee would be able to: - Draw the Schematic diagram of integrator circuit using Op-Amp. - Select the components for integrator circuit. - Implement integrator circuit. - Perform the operations of integrator circuit. - Measure the output waveform - Draw the characteristic curves of integrator circuit. - Generate the Output report | - Explain the operation of Integrator circuit. - Describe integrator circuit with applications - Explain usage of data sheet of (OP-AMP) - Explain characteristic curve for integrator circuit Practical Activity: Use an oscilloscope for signal analysis, design a voltage integrator using operational amplifier. | Total 04 Hrs. Th. 02 Hrs. Practical: 02 Hrs. | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |
| - Construct a Comparator circuit using operational amplifier | Trainee would be able to: - Draw the Schematic diagram of Comparator circuit using Op-Amp. - Select the components for Comparator circuit. - Implement Comparator circuit. - Perform the operations of Comparator circuit. - Check the output for different input conditions. | - Explain the operation of Comparator circuit. - Describe Comparator circuit with applications - Explain usage of data sheet of (OP-AMP) - Explain the implementation procedure of comparator circuit. Practical Activity: Use an oscilloscope for signal analysis, design an voltage integrator using operational amplifier. | Total 04 Hrs. Th. 02 Hrs. Practical: 02 Hrs. | - Functions Generator - Multimeter - Digital Oscilloscope - Capacitors - Resistors - Op-Amp - DC Power supply - Breadboard - Connecting leads | Class Room and Workshop |

### Verify Truth Table of Digital Gates

Overview:

This module covers the skills and knowledge required to Verify the truth table of AND gate, Verify the truth table of OR gate, Verify the truth table of NOT gate, Verify the truth table of NAND gate, Verify the truth table of NOR gate, Verify the truth table of XOR gate and Verify the truth table of XNOR gate Verify the truth table of AND gate, OR gate, NOT gate, NAND gate, NOR gate, XOR gate and XNOR gate

Duration: 21 Hours			Theory: 9 Hours				Practical: 12 Hours				Credit Hours: 2.1

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Verify the truth table of AND gate | - Identify the symbol of logic gate, IC & logic function. - Place (AND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Study logic gates AND and its pin configuration. - Explain logic function of AND operation. - Explain the function of IC, Vcc and ground pin. | Total 3 Hrs. Th. 1 Hrs. Practical: 02 Hrs. | - Bread board - DC supply (5 V) - LED - Connecting leads - AND gate (7408 2-input Quad) | Class Room and Workshop |
| - Verify the truth table of OR gate | - Identify the symbol of logic gate, IC & logic function. - Place (OR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Study logic gates OR and its pin configuration. - Explain logic function of OR operation. - Explain the function of IC, Vcc and ground pin | Total 3 Hrs. Th. 1 Hrs. Practical: 02 Hrs. | - Bread board - DC supply (5 V) - LED - Connecting leads - OR gate (7432 2-input Quad) | Class Room and Workshop |
| - Verify the truth table of NOT gate | - Identify the symbol of logic gate, IC & logic function. - Place (NOT gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Study logic gates NOT and its pin configuration. - Explain logic function of NOT operation. - Explain the function of IC, Vcc and ground pin | Total 3 Hrs. Th. 1 Hrs. Practical: 02 Hrs. | - Bread board - DC supply (5 V) - LED - Connecting leads - NOT gate (7404 Hex) | Class Room and Workshop |
| - Verify the truth table of NAND gate | - Identify the symbol of logic gate, IC & logic function. - Place (NAND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Study logic gates NAND and its pin configuration. - Explain logic function of NAND operation. - Explain the function of IC, Vcc and ground pin | Total 3 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs. | - Bread board - DC supply (5 V) - LED - Connecting leads - NAND gate (7400 2-input Quad) | Class Room and Workshop |
| - Verify the truth table of NOR gate | - Identify the symbol of logic gate, IC & logic function. - Place (NOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Study logic gates NOR and its pin configuration. - Explain logic function of NOR operation. - Explain the function of IC, Vcc and ground pin | Total 3 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs | - Bread board - DC supply (5 V) - LED - Connecting leads - NOR gate (7402 2-input Quad) - X-OR gate (7486 2-input Quad) | Class Room and Workshop |
| - Verify the truth table of XOR gate | - Identify the symbol of logic gate, IC & logic function. - Place (XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Study logic gates XOR and its pin configuration. - Explain logic function of XOR operation. - Explain the function of IC, Vcc and ground pin | Total 3 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs |  | Class Room and Workshop |
| - Verify the truth table of XNOR gate | - Identify the symbol of logic gate, IC & logic function. - Place (NOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics ant input pins. - Record & verify the output result against each given input. | - Define Universal gate and enlist its types. - Define Universal gate and enlist its types. - Study logic gates NOR and its pin configuration. - Explain logic function of NOR operation. - Explain the function of IC, Vcc and ground pin | Total 3 Hrs. Th. 1.5 Hrs. Practical: 1.5 Hrs | - Bread board - DC supply (5 V) - LED - Connecting leads - X-NOR gate (74266 2-input Quad) - X-OR gate (7486 2-input Quad) | Class Room and Workshop |

### Construct & Verify Combinational Logic Circuit

Objective: This module covers the knowledge and  skills required to apply Karnaugh mapping & Boolean algebra to simplify logic expressions, Construct & verify the truth table of Half adder, Construct & verify the truth table of Full adder, Construct & verify the truth table of Half Subtraction,   Operate seven segment display with seven segment decoder, Construct & verify the truth table of Full Subtraction, Verify Encoder, Verify Encoder and Verify multiplexer and DE- multiplexer Construct & verify the truth table of Half adder, full adder and Half Subtraction.

Duration:  24 Hours			Theory: 09 Hours			Practice: 15 Hours                   Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply Karnaugh mapping & Boolean algebra to simplify logic expressions | Trainee will be able to: - Identify the SOP & POS - Apply Boolean algebra & Karnaugh mapping to simplify SOP & POS. - Construct logic circuits with simplified SOP & POS. | - Karnaugh map - Boolean algebra Practical Activity Apply Karnaugh mapping & Boolean algebra to simplify logic expressions | Total 2.5 Hrs. Theory: 1 Hrs. Practical: 1.5 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Construct & verify the truth table of Half adder | Trainee will be able to: - Place (AND gate IC) & (XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input - Design, Construct, and test a half-adder circuit using one XOR gate and two NAND gates. | - Half adder. Practical Activity Construct & verify the truth table of Half adder. | Total 2.5 Hrs. Theory: 1 Hrs. . Practical: 1.5 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Construct & verify the truth table of Full adder | Trainee must be able to: - Place (AND gate IC) & (XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input - Design, Construct, and test a full-adder circuit using two ICS, &7486 and &7400. | - Full adder Practical Activity Construct & verify the truth table of Full adder | Total 2.5 Hrs. Theory: 1 Hrs. . Practical: 1.5 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Construct & verify the truth table of Half Subtraction | Trainee must be able to: - Place (AND, NOT&XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input | - Half Subtraction Practical Activity Construct & verify the truth table of Half subtraction | Total 2.5 Hrs. Theory: 1 Hrs. . Practical: 1.5 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - Connecting leads - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Construct & verify the truth table of Full Subtraction | Trainee must be able to: - Place (AND, NOT&XOR gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input. | - Full Subtraction Practical Activity Construct & verify the truth table of Full Subtraction | Total 2.5 Hrs. Theory: 1 Hrs. . Practical: 1.5 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - Connecting leads - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Verify Decoder | Trainee must be able to: - Place (Decoder IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input. | - Decoder Practical Activity Verify Decoder | Total 2.5 Hrs. Theory: 1 Hrs. . Practical: 1.5 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Operate seven segment display with seven segment decoder. | Trainee must be able to: - Insert (7 segment decoder IC) and 7 segment display on bread board. - Identify the input, output, Vcc and ground pin. - Connect segment display with seven segment decoder input output pins. - Record & verify the output result against each given input. | - seven segment decoder. Practical Activity Operate seven segment display with seven segment decoder. | Total 3 Hrs. Theory: 1 Hrs. . Practical: 2 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Verify Encoder | Trainee must be able to: - Place (Encoder IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LED to the output pin of IC and apply different logics at input pins. - Record & verify the output result against each given input. | - Encoder Practical Activity Verify Encoder | Total 03 Hrs. Theory: 01Hrs. Practical: 2 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |
| - Verify multiplexer and DE- multiplexer | Trainee must be able to: - Implement following function with multiplexer F(ABC)=∑ (0,2,3,4,5,6): - Implement 4-to-1 mux and one 2-to-1 mux. - Implement 1-to-4 dmux using 1-to-2 dmux. | - multiplexer and DE- multiplexer Practical Activity Verify multiplexer and DE- multiplexer | Total 03 Hrs. Theory: 01Hrs. Practical: 02 Hrs | - LED - Connecting leads - Bread board - Resistances (1K ohm) - DC supply (5 V) - Mux KL-33006 block e - Seven segment display - 74LS47 IC - Mux KL-33006 block | Class Room and workshop |

### Construct and Verify Function of Flip Flops

Objective: This module covers the knowledge and  skills required to construct and verify the truth table of RS latch using NAND gate, Construct and verify the truth table of clocked RS latch using NAND gate, verify function of D flip flop, verify function of JK/T flip flop construct and verify the truth table of RS latch using NAND gate, clocked RS latch using NAND gate, D flip flop and JK flip flop.

Duration:  27 Hours			Theory: 09 Hours			Practice: 18 Hours                   Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct and verify the truth table of RS latch using NAND gate | Trainee will be able to: - Place (NAND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - verify the truth table of RS latch using NAND gate Practical Activity Construct RS latch using NAND gate | Total 6.5 Hrs. Theory: 02Hrs. Practical: 4.5 Hrs | - AND gate (7408 2-input Quad) - OR gate (7432 2-input Quad) - NOT gate (7404 Hex) - NAND gate (7400 2-input Quad) - NOR gate (7402 2-input Quad) - X-OR gate (7486 2-input Quad) - X-NOR gate (74266 2-input Quad) - Digital clock - DC supply (5 V) - LED - Connecting leads - Bread board - JK Flip Flop (74112 Dual | Class Room and workshop |
| - Construct and verify the truth table of clocked RS latch using NAND gat | Trainee will be able to: - Place (NAND gate IC) on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - verify the truth table of clocked RS latch using NAND gat Practical Activity Construct clocked RS latch using NAND gat | Total 6.5 Hrs. Theory: 02Hrs. Practical: 4.5 Hrs | - AND gate (7408 2-input Quad) - OR gate (7432 2-input Quad) - NOT gate (7404 Hex) - NAND gate (7400 2-input Quad) - NOR gate (7402 2-input Quad) - X-OR gate (7486 2-input Quad) - X-NOR gate (74266 2-input Quad) - Digital clock - DC supply (5 V) - LED - Connecting leads - Bread board - JK Flip Flop (74112 Dual | Class Room and workshop |
| - Verify function of D flip flop. | Trainee must be able to: - Insert (D flip flop) IC on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs\ Scope to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - Verify function of D flip flop. Practical Activity construct D flip flop. | Total 07 Hrs. Theory: 02.5Hrs. Practical: 4.5 Hrs | - AND gate (7408 2-input Quad) - OR gate (7432 2-input Quad) - NOT gate (7404 Hex) - NAND gate (7400 2-input Quad) - NOR gate (7402 2-input Quad) - X-OR gate (7486 2-input Quad) - X-NOR gate (74266 2-input Quad) - Digital clock - DC supply (5 V) - LED - Connecting leads - Bread board - JK Flip Flop (74112 Dual | Class Room and workshop |
| - Verify function of JK/T flip flop | Trainee must be able to: - Insert 74112 (JK flip flop) IC on bread board. - Identify the input, output, Vcc and ground pin. - Connect LEDs\ Scope to outputs pins. - Apply different logic inputs to Record & verify the output result against each given input. | - JK/T flip flop Practical Activity Verify function of JK/T flip flop | Total 07 Hrs. Theory: 02.5Hrs. Practical: 4.5 Hrs | - AND gate (7408 2-input Quad) - OR gate (7432 2-input Quad) - NOT gate (7404 Hex) - NAND gate (7400 2-input Quad) - NOR gate (7402 2-input Quad) - X-OR gate (7486 2-input Quad) - X-NOR gate (74266 2-input Quad) - Digital clock - DC supply (5 V) - LED - Connecting leads - Bread board - JK Flip Flop (74112 Dual | Class Room and workshop |

### Use 555 IC as Multivibrator

Objective: This module covers the knowledge and  skills required to construct 555 IC as Actable Multivibrator, Construct 555 IC as Mono-stable Multivibrator, and Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction. Construct 555 IC as Actable, nonstable & beatable Multivibrator and observe their outputs.

Duration:  27 Hours			Theory: 09 Hours			Practice: 18 Hours                   Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct 555 IC as Astable Multivibrator | Trainee will be able to: - Draw circuit diagram for Astable Multivibrator - Place 555 IC on bread board/trainer - Make connection as per diagram. - Apply voltage to circuit. - Recod the output signal wave shape from oscilloscope. | - 555 IC as Astable Multivibrator Practical Activity Construct 555 IC as Astable Multivibrator | Total 09 Hrs. Theory: 03Hrs. Practical: 06 Hrs | - DC supply (5 V - Connecting leads - 555 Timer IC - Capacitor 0.1µF - Resistors 10 KΩ - dual trace Oscilloscope 0-20MHZ - Capacitor 0.01µF - Bread board | Class Room and workshop |
| - Construct 555 IC as Mono-stable Multivibrator | Trainee will be able to: - Draw circuit diagram for Mono-stable Multivibrator - Place 555 IC on bread board/trainer. - Make connection as per diagram. - Apply voltage to circuit and give triggering pulse at input pin. - Recode the output signal wave shape from oscilloscope. | - 555 IC as Mono-stable Multivibrator Practical Activity Construct 555 IC as Mono-stable Multivibrator | Total 09 Hrs. Theory: 03Hrs. Practical: 06 Hrs | - DC supply (5 V - Connecting leads - 555 Timer IC - Capacitor 0.1µF - Resistors 10 KΩ - dual trace Oscilloscope 0-20MHZ - Capacitor 0.01µF - Bread board | Class Room and workshop |
| - Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction | Trainee must be able to: - Draw circuit diagram for Bi-stable Multivibrator - Place 555 IC on bread board/trainer. - Make connection as per diagram. - Apply voltage to circuit and give triggering pulse at input pin. - Recod the output signal wave shape from oscilloscope. | - 555 IC as Bi-stable Multivibrator Practical Activity Construct 555 IC as Bi-stable Multivibrator and verify its set and reset conduction | Total 09 Hrs. Theory: 03Hrs. Practical: 06 Hrs | - DC supply (5 V - Connecting leads - 555 Timer IC - Capacitor 0.1µF - Resistors 10 KΩ - dual trace Oscilloscope 0-20MHZ - Capacitor 0.01µF - Bread board | Class Room and workshop |

### Construct Shift Registers and Counters with The Help of Flip Flops

Objective: This module covers the knowledge and  skills required to construct a 4-bit shift register by Using Flip Flops, construct a 4-bit binary counter Using Flip Flops, Construct 4-bit synchronous Counter with D flip-Flops and Repair & Troubleshoot combinational logic circuits

Duration:  27 Hours			Theory: 09 Hours			Practice: 18 Hours                   Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct a 4 bit shift register by Using Flip Flops | Trainee will be able to: - Draw circuit diagram 4-bit register. - Make connection of D-Flip Flop as per diagram to construct 4-bit shift register. - Apply data at the input of register and give clock pulse - Recod the output according to the input. | - 4 bit shift register Using Flip Flops Practical Activity Construct a 4 bit shift register by Using Flip Flops | Total 6.5 Hrs. Theory: 02Hrs. Practical: 4.5 Hrs | - Software Simulator and IDE’s. - DLD trainer - Multimeter - IC’s and Components - Logic tester | Class Room and workshop |
| - Construct a4-bit binary counter Using Flip Flops | Trainee will be able to: - Draw circuit diagram counter. - Make connection of JK-Flip Flop as per diagram to construct 4-bit binary counter. - Connect LEDs to the outputs pins. - Apply the clock pulse and record the output. | - 4-bit binary counter Using Flip Flops Practical Activity Construct a 4-bit binary counter Using Flip Flops | Total 6.5 Hrs. Theory: 02Hrs. Practical: 4.5 Hrs | - Software Simulator and IDE’s. - DLD trainer - Multimeter - IC’s and Components - Logic tester | Class Room and workshop |
| - Construct 4-bitsynchronous Counter with D flip-Flops | Trainee must be able to: - Draw circuit diagram synchronous counter. - Make connection of JK-Flip Flop as per diagram to construct 4-bit synchronous counter. - Connect LEDs to the output pins. - Apply the clock pulse and record the output. | - 4-bitsynchronous Counter with D flip-Flops Practical Activity Construct 4-bitsynchronous Counter with D flip-Flops | Total 6.5 Hrs. Theory: 02 Hrs. Practical: 4.5 Hrs | - Software Simulator and IDE’s. - DLD trainer - Multimeter - IC’s and Components - Logic tester | Class Room and workshop |
| - Troubleshoot different combinational logic circuits. | Trainee must be able to: - Identify faults in different combinational logic circuits IC’s. - Find the faults. - Troubleshoot the faults. | - Troubleshooting of combinational logic circuits. Practical Activity Troubleshoot different combinational logic circuits. | Total 7.5 Hrs. Theory: 03Hrs. Practical: 4.5 Hrs | - Software Simulator and IDE’s. - DLD trainer - Multimeter - IC’s and Components - Logic tester | Class Room and workshop |

### Implement Diode and Thyristor in Power Control Application

Objective: This module covers the knowledge and  skills required to Build forward bias circuit of diode and observe its behavior, Build reverse bias circuit of diode and observe its behavior, Use SCR to build Phase control rectifier, Build force commutated circuit for SCR and Build full wave converter and observe natural commutation. Build forward bias and reverse bias circuit of diode and observe its behavior

Duration: 27 Hours				Theory: 9 Hours			Practical: 18 Hours			Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Build forward bias circuit of diode and observe its behavior | Trainee will be able to: - Draw forward bias circuit diagram of diode. - Make connection as per diagram. - Connect voltmeter parallel to diode and ampere meter in series - Turn on the supply and take readings of ampere meter as well as voltmeter. - Note the behavior of diode | - Types of diode - Schottky diodes - Power diodes - General purpose diode - Usage of Diode - Forward Bias - Diode symbol - Diode voltage-current (V-I) characteristic of a diode forward-bias a diode - Diode I-V equation - Peak and average value of voltage wave - Center tapped transformer Practical Activity - Perform the bias of diode - average value of the half-wave rectified | Th-1 Hrs. Pr-3 Hrs. Total-4Hrs. | - Schottky diodes - Power diodes - General purpose diode - Resistor of 1to100 K ohms - Voltmeter - Ampere meter - DC\AC supply - Connecting leads - Center tapped transformer - Bread Board | Class Room and workshop |
| - Build reverse bias circuit of diode and observe its behavior | - Draw reverse bias circuit diagram of diode. - Make connection as per diagram. - Connect voltmeter parallel to diode and ampere meter in series - Turn on the supply and take readings of ampere meter as well as voltmeter. - Note the behavior of diode. | - Types of diode - Schottky diodes - Power diodes - General purpose diode - Usage of Diode - Forward Bias - Diode symbol - Diode voltage-current (V-I) characteristic of a diode How to forward-bias a diode - Diode I-V equation - Peak and average value of voltage wave Practical Activity - Perform the bias of diode - Average value of the half-wave rectified - The Complete Diode Model - Half-wave rectifiers - Full-wave rectifiers | Th-2 Hrs. Pr-3 Hrs. Total-5 Hrs. | - Schottky diodes - Power diodes - General purpose diode - Resistor of 1to100 K ohms - Voltmeter - Ampere meter - DC\AC supply - Connecting leads - Center tapped transformer - Bread Board - Oscilloscope - Potentiometer 500 o | Class Room and workshop |
| - Use SCR to build Phase control rectifier. | - Draw circuit diagram of phase control rectifier. - Make connection as per diagram. - Switch on the power supply. - Vary the value of potentiometer to set the trigger level for the SCR - Recode the output signal wave shape from oscilloscope. | - Types and application of Thyristor. - Operation of Phase Controlled Rectifier - Reverse blocking mode– - Silicon Controlled Switch (SCS) - Define Triac - Define Silicon Controlled Rectifier (SCR) - Define Junction Potential - Define SCR - Describe the operation of SCR - Define phase control rectifier - Define triggering of SCR - Describe the use of SCR - Define VAK - Describe the use of force commutation Practical Activity - light dimmer - AC controller by using Snubbers circuit - small motor controls - electric fan speed controls, - Controlling of small domestic AC power appliances | Th-2 Hrs. Pr-4 Hrs. Total-6Hrs. | - All types Thyristors - Resistor of 1-100 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Center tapped transformer - Bread Board - Connecting leads - Oscilloscope Dual - Potentiometer 500 o - Inductor 2mH - SCR | Class Room and workshop |
| - Build force commutated circuit for SCR | Trainee must be able to - Draw circuit diagram of force commutation circuit for SCR. - Make connection as per diagram. - Switch on the power supply and apply triggering pulse at the gate of SCR. - Connect oscilloscope across the load resistor and record the output wave shape | - commutation and its types - Class A: Self commutated by a resonating load - Class B: Self commutated by an LC circuit - Class C: Cor L-C switched by another load carrying SCR - Class D: C or L-C switched by an auxiliary SCR - Class E: An external pulse source for commutation - Class F: AC line commutation - Natural commutation. - Force commutation - Name the methods of force commutation. - Use of force commutation Practical Activity Build force commutated circuit for SCR | Th-2 Hrs. Pr-4 Hrs. Total-6 Hrs. | - All types Thyristors - Resistor of 1-100 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Center tapped transformer - Bread Board - Connecting leads - Oscilloscope Dual - Potentiometer 500 o - Inductor 2mH - SCR - Capacitor | Class Room and workshop |
| - Build full wave converter and observe natural commutation | Trainee must be able to - Draw circuit diagram of full wave converter. - Make connection as per diagram. - Switch on the power supply and apply triggering pulse at the gate of SCR. - Connect oscilloscope across the load resistor and record the output wave shape . | - Silicon Controlled Switch (SCS) - Triac - Silicon Controlled Rectifier (SCR) - Junction potential - SCR - operation of SCR - Phase control rectifier - Triggering of SCR - Describe the use of SCR VAK - commutation and its types - Natural commutation. - Force commutation - Name the methods of force commutation. - Describe the use of force commutation Practical Activity Build full wave converter and observe natural commutation | Th-2 Hrs. Pr-4 Hrs. Total-6 Hrs. | - All types Thyristors - Resistor of 1-100 K ohms - Volt meter - Ampere meter - DC supply - Connecting leads - Power supply - Center tapped transformer - Bread Board - Connecting leads - Oscilloscope Dual - Potentiometer 500 o - Inductor 2mH - SCR - Capacitor | Class Room and workshop |

### Implement Single Phase and Three Phase Inverter

Objective: This module covers the knowledge and  skills required to Construct single phase half bridge inverter and observe its output, construct single phase full bridge inverter and observe its output and Construct three phase bridge inverter and observe its output Construct single phase half bridge inverter, single phase full bridge, three phase bridge inverter and observe their outputs.

Duration: 27 Hours			 Theory: 9 Hours			Practical: 18 Hours 				Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct single phase half bridge inverter and observe its output | Trainee will be able to: - Draw circuit diagram of single-phase half bridge inverter. - Make connection as per diagram. - Apply triggering pulses to circuit with the help of signal generator. - Connect oscilloscope across the load resistor and record the output wave shape | - Inverter - Enlist different types of inverter - Half bridge inverter - Full bridge inverter - 3 phase bridge inverter - The use of function generator. - Use of controller IC Practical Activity oscilloscope across the load resistor and record the output wave shape | Th-3 Hrs. Pr-6Hrs. Total-9 Hrs. | - Power MOSFET IRF 840 - Power Diode 1N4007 - DC Source 12V - Resistor 10K - Function Generator - IC 7404 - Controller IC - Oscilloscope - Connecting leads | Class Room and workshop |
| - Construct single phase full bridge inverter and observe its output | Trainee must be able to: - Draw circuit diagram of single-phase full bridge inverter. - Make connection as per diagram. - Apply triggering pulses to circuit with the help of signal generator. - Connect oscilloscope across the load resistor and record the output wave shape | - Define Inverter - Enlist different types of inverter - Define half bridge inverter - Define Full bridge inverter - Define 3 phase bridge inverter - Describe the use of function generator. - Define use of controller IC Practical Activity Full bridge inverter and observe its output | Th-3 Hrs. Pr-6Hrs. Total-9 Hrs . | - Power MOSFET IRF 840 - Power Diode 1N4007 - DC Source 12V - Resistor 10K - Function Generator - IC 7404 - Controller IC - Oscilloscope - Connecting leads | Class Room and workshop |
| - Construct three phase bridge inverter and observe its output | Trainee must be able to: - Draw circuit diagram of three-phase bridge inverter. - Make connection as per diagram. - Apply output of controller IC to the gates of MOSFET’s for triggering pulses. - Connect oscilloscope across the load resistor and record the output wave shape | - Define Inverter - Enlist different types of inverter - Define half bridge inverter - Define Full bridge inverter - Define 3 phase bridge inverter - Describe the use of function generator. - Define use of controller IC Practical Activity Construct three phase bridge inverter and observe its output | Th-3 Hrs. Pr-6Hrs. Total-9 Hrs . | - Power MOSFET IRF 840 - Power Diode 1N4007 - DC Source 12V - Resistor 10K - Function Generator - IC 7404 - Controller IC - OscilloscopeConnecting leads | Class Room and workshop |

### Control Speed of DC/AC Motors.

Objective: This module covers the knowledge and  skills required to Implement armature control method to control the speed of DC motor with 3 phase control bridge rectifier and Bridge rectifier, Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier and control Bridge rectifier, Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier, Implement AC to AC converter to control the speed of 3 phase AC motor, Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal and Implement synch’s to transmit torque Implement armature control method, field control method & both armature and field control methods to control the speed of DC motor with 3 phase control bridge rectifier and Bridge rectifier and implement AC to AC converter to control the speed of 3 phase AC motor.

Duration: 27 Hours			Theory: 9 Hours			Practical: 18 Hours			Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Implement armature control method to control the speed of DC motor with 3 phase control bridge Rectifier. | - Draw circuit diagram of armature control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor. | - DC motor - Parts of DC motor - Methods to control the speed of DC motor. - Armature control method. - Field control method. - Range of firing angle of SCR’s - Use of controller IC. - AC to AC conversion - Cycle-converter. - Types of cycle-converter - Single phase cycle-converter. - Three phase cycle-converter. - Synchs. - Synchrony generator or TX and synchrony receiver or Rx Practical Activity Control the speed of DC motor with 3 phase control bridge rectifier. | Th-1.5 Hrs. Pr-3Hrs. Total-4.5Hrs. | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Supply - Power supply - Connecting leads - CRO - Firing Circuit - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Connecting leads - Three phase supply | Class Room and workshop |
| - Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier | Trainee must be able to: - Draw circuit diagram of field control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor. | - DC motor - Parts of DC motor - Methods to control the speed of DC motor. - Armature control method. - Field control method. - Range of firing angle of SCR’s - Use of controller IC. - AC to AC conversion - Cycle-converter. - Types of cycle-converter - Single phase cycle-converter. - Three phase cycle-converter. - Synchs. - Synchrony generator or TX and synchrony receiver or Rx Practical Activity Control the speed of DC motor with 3 phase bridge rectifier | Th-1.5 Hrs. Pr-3Hrs. Total-4.5Hrs.. | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Supply - Power supply - Connecting leads - CRO - Firing Circuit - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Connecting leads - Three phase supply | Class Room and workshop |
| - Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier. | Trainee must be able to: - Draw circuit diagram of field control & armature control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor. | - DC motor - Parts of DC motor - Methods to control the speed of DC motor. - Armature control method. - Field control method. - Range of firing angle of SCR’s - Use of controller IC. - AC to AC conversion - Cycle-converter. - Types of cycle-converter - Single phase cycle-converter. - Three phase cycle-converter. - Synchs. - Synchrony generator or TX and synchrony receiver or Rx Practical Activity Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier | Th-1.5 Hrs. Pr-3Hrs. Total-4.5Hrs. | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Supply - Power supply - Connecting leads - CRO - Firing Circuit - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Connecting leads - Three phase supply | Class Room and workshop |
| - Implement AC to AC converter to control the speed of 3 phase AC motor. | Trainee must be able to: - Draw circuit diagram of AC to AC converter to control the speed of AC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of AC motor. | - DC motor - Parts of DC motor - Methods to control the speed of DC motor. - Armature control method. - Field control method. - Range of firing angle of SCR’s - Use of controller IC. - AC to AC conversion - Cycle-converter. - Types of cycle-converter - Single phase cycle-converter. - Three phase cycle-converter. - Synchs. - Synchrony generator or TX and synchrony receiver or Rx Practical Activity AC to AC converter to control the speed of 3 phase AC motor. | Th-1.5 Hrs. Pr-3Hrs. Total-4.5Hrs. | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Supply - Power supply - Connecting leads - CRO - Firing Circuit - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Connecting leads - Three phase supply | Class Room and workshop |
| - Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal. | Trainee must be able to: - Draw circuit diagram of single phase cycle-converter to produce variable frequency AC signal. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Apply Triggering to SCR’s 1 & 3 for 1st 25 cycles to get positive half cycle and apply triggering for remaining 25 half cycle to SCR’s 2 & 4 to get the negative half cycle with controller IC. - Connect the oscilloscope across the load and record the output | - DC motor - Parts of DC motor - Methods to control the speed of DC motor. - Armature control method. - Field control method. - Range of firing angle of SCR’s - Use of controller IC. - AC to AC conversion - Cycle-converter. - Types of cycle-converter - Single phase cycle-converter. - Three phase cycle-converter. - Synchs. - Synchrony generator or TX and synchrony receiver or Rx Practical Activity single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal. | Th-1.5 Hrs. Pr-3Hrs. Total-4.5Hrs.. | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Supply - Power supply - Connecting leads - CRO - Firing Circuit - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Connecting leads - Three phase supply | Class Room |
| - Implement synchros’s to transmit torque | Trainee must be able to: - Place synchrony transmitter and synchrony receiver at two different places. - With help of cord establish connection between corresponding terminal of TX& Rx i.e. S1 to S1, S2 to S2 and S3 to S3 respectively. - Give single phase AC supply to the rotor of both TX and Rx. - Rotate the rotor of TX in step to 30 degrees and observe the new position of rotor of Rx. - Enter the input angular position & output angular position in the table. | - DC motor - Parts of DC motor - Methods to control the speed of DC motor. - Armature control method. - Field control method. - Range of firing angle of SCR’s - Use of controller IC. - AC to AC conversion - Cycle-converter. - Types of cycle-converter - Single phase cycle-converter. - Three phase cycle-converter. - Synchs. - Synchrony generator or TX and synchrony receiver or Rx Practical Activity Observe synchros’s to transmit torque | Th-1.5 Hrs. Pr-3Hrs. Total-4.5Hrs.. | - Multimeter - Connecting leads - Synchrony Transmitter & Receiver - Supply - Power supply - Connecting leads - CRO - Firing Circuit - SCR’s - Power Electronics Trainer Kit - Power Diode 1N4007 - Controller IC - DC Motor - AC motor - Connecting leads - Three phase supply |  |

### Program PLC using Ladder Logic

Objective: This module covers the knowledge and  skills required to Install PLC software and Simulator and Program apply using simulator. After this module, the trainee will be able to get basic knowledge and competence to program and understand ladder logic.

Duration: 27 Hours				Theory: 9 Hours			 Practical: 18 Hours			 Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install PLC software and Simulator | Trainee will be able to: - Install the PLC Programming - Software as per PLC manufacturer such as PRs Logic 5000 and PRs links classic etc. - Select the best and most frequently used Simulator for programming - Select the module - Input the generic value as per universal settings (check from internet/helped) - Start The Simulator. - Open PLC programming software | - Advantages of the PLC - Major components and the applications of PLC. - Types of input and output signals. - Define Piping and instrumentation diagram/drawing (P&ID) - List down the PLC, DCS programming software - List Down the SCADA, HMI development software - Knowledge of Relevant documents and documentation procedures Practical Activity Install PLC software and Simulator and write the program Relay control circuit for a three-phase motor. | Th-4.5 Hrs. Pr-9Hrs. Total-13.5 Hrs. | - PLC Software - Helping Manual - Simulator - User guide - Page - Pen | Class Room and workshop |
| - Program a PLC using simulator | Trainee must be able to: - Open the programming software as per PLC manufacturer - Ensure that the Simulator is connected and is in ON condition - Create a basic ladder logic program for ON/OFF of a bulb using Examine ON and Examine OFF switch - Create a basic ladder logic program for Simple Start/Stop Ladder Logic Relay - Create a basic ladder logic program for Single Push Button On/Off Ladder Logic - Create a basic ladder logic program for with On Delay Timer | - Describe the - Describe the types of input and output signals. - Define Piping and instrumentation diagram/drawing (P&ID) - List down the PLC, DCS programming software - List Down the SCADA, HMI development software - Knowledge of Relevant documents and documentation procedures - Define Ladder Logic - The Examine ON and Examine OFF switch - use ladder logic to create basic programs? - What is push button? - Define the types of Timers. - What is the working of traffic light? - the working of an elevator. Practical Activity Traffic Light control using Ladder Logic Diagram | Th-4.5 Hrs. Pr-9Hrs. Total-13.5 Hrs. | - PLC Software - Helping Manual - Simulator - User guide - Page - Pen | Class Room and workshop |

### Carry out Industrial Automation and PLC Installation

Objective: This module covers the knowledge and  skills required to Analyse user requirements and specification, prepare work plan, Design and program PLC, Test the PLC, ensure quality and productivity standards, Installation and Commissioning and Carry out maintenance of PLC. After this competency the candidate will be able to design, develop, install and maintain the automation and control system needed for Automation and Control.

Duration: 27Hours				Theory: 9Hours			Practical: 18Hours			Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Analyze user requirements and specifications for PLC installation | Trainee will be able to: - Draw the general value chain of the end user industry. - Highlight the set of activities that a firm operating in a specific industry performs in the value chain drawing - Enlist the equipment/gauges/sensors/actuators/transducers used in different stages of the process - Identify critical stages in the process - Identify the safety aspect required in the critical stages of the process - Analyze the possible automation in the existing processes and global trends in automation - Analyze the client requirement at broad level from the proposal - Generate a report of various industrial processes involved in industry - Collect the required specification of the equipment (if already prepared by the user) and clarify the technical specification. | - The term ‘value chain’ of industry. - Human machine interface (HMI) - Standard operating procedure (SOP) of the organization for control panel development process. - Prepare a General arrangement drawing - IEC standards - Knowledge of Relevant documents and documentation procedures used in the process - The Safety aspects to be inbuilt - The advantages of the PLC - Describe the major components and - Applications of PLC. - Types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - DCS programming software - Knowledge of Relevant documents and documentation procedures used in the process - The safety norms in handling electrical/electronic components - Describe the Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers Practical Activity Collect the required specification of the equipment (if already prepared by the user) and clarify the technical specification | Th-1Hrs. Pr-3 Hrs. Total-4 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - Data loggers - International Safety Standards - Protective gear such as helmets, goggles - Charts and Tables - Calculator - Calculation Sheet - Clipboard - Reference Material | Class Room and workshop |
| - Prepare work plan for PLC Installation | Trainee will be able to: - Suggest globally practiced and accepted automation systems if the user is not aware of the technical specifications - List down the sub systems that are involved in the process - List down sensors and actuators requirement. - Collect information on process logic - Collect information for operator station screens - Decide on whether the system can be developed as per the user requirement - Support the project manager in calculating the time required for each stage to ensure completion of project - Assist in preparing the work plan with deliverables and timelines - Explain the expected output to the user - Calculate the number of days needed for commissioning of the panel at site - Summarize the user requirement. | - To prepare a General arrangement drawing - IEC standards - Knowledge of Relevant documents and documentation procedures used in the process - Formula for Electrical load calculations - Explain the Piping and instrumentation diagram/drawing (P&ID) - The Safety aspects to be inbuilt - The control system as per the process requirement - The advantages of the PLC - The major components and Describe the applications of PLC. - Types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - Prepare wiring diagram - Knowledge of Relevant documents and documentation procedures used in the process - What are the safety norms in handling electrical/electronic components? - various tools used during the installation process | Th-1 Hrs. Pr-2.5 Hrs. Total-3.5 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - MultiMate - Data loggers - Electronic Hygrometer - Tachometer - Anemometer - Site Visit - Budget Sheet - International Safety Standards - Reference - Flashlight - Tool box - Calculator |  |
| - Design and program PLC | Trainee must be able to: - Develop PLC application as per user requirement by following the standard operating procedure (SOP) of the organization - Apply approved engineering concepts, processes and principles in developing the PLC application - Install organization approved software (system and application software) to develop the system - Identify the requirement of indications, switchgears and accessories - Develop the control circuit drawing - Prepare wiring plans - Integrate the main process system with the sub-systems as per the user requirement (e.g., using communication protocol) - Ensure that safety aspect of the process is captured in the design plan - Program PLC as per FDF - Program SCADA Application - PLC-SCADA Communication - Create backup copies of all designs developed for control panel and store in a secure location - Prepare a product manual and store them for future references | - Prepare a arrangement drawing - Knowledge of Relevant documents and documentation procedures used in the process - Formula for Electrical load calculations - Explain the Piping and instrumentation diagram/drawing (P&ID) - The Safety aspects to be inbuilt - The control system as per the process requirement - The advantages of the PLC - The major components and - The applications of PLC. - The types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - To prepare wiring diagram - DCS programming software - List Down the SCADA, HMI development software - Relevant documents and documentation procedures used in the process - Emulator(Simulator) Panel - Describe the Safety aspects to be inbuilt in the control panel system as per the process requirement - Define Relevant regulations, standards and codes of practice and their implications on the panel - Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers etc. - various tools used during the installation process Practical Activity Prepare a product manual and store them for future references | Th-1 Hrs. Pr-2.5 Hrs. Total-3.5 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - MultiMate - Data loggers - Electronic Hygrometer - Tachometer - Anemometer - Site Visit - Budget Sheet - International Safety Standards - Protective gear such as helmets, goggles - Electronic Pressure Gauge - Power Supply - Simulating software(Emulator) - Connecting Cables - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Reference Material - Sensors/Transducers - Anemometer - Tachometer - Electronic Hygrometer - Protective gear such as helmets, goggles, gloves - rubber shoes, etc. - Flashlight - Tool box - Calculator | Class Room and workshop |
| - Test the PLC | Trainee must be able to: - Locate field devices and their interface to PLC - Test the system in off line mode using simulator - Test the gauges independently - for integration of main system with the sub-systems (if applicable) - Verify that the system conforms with all the user specifications during testing - Rework if there are any issues found and fix them - Send the test report for review to the customer - Perform Factory Acceptance Test (FAT) - Perform site acceptance test plan | - Knowledge of Relevant documents and documentation procedures used in the process - formula for Electrical load calculations - The Piping and instrumentation diagram/drawing (P&ID) - The Safety aspects to be inbuilt - The control system as per the process requirement. - Piping and instrumentation diagram/drawing (P&ID) - Testing process and parameters involved in the testing - The use of Emulator(Simulator) Panel? - Troubleshoot frequently occurring errors. - The Safety aspects to be inbuilt in the control panel system as per the process requirement Practical Activity Testing PLC output according to Program | Th-1.5 Hrs. Pr-2.5 Hrs. Total-4 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - MultiMate - Data loggers - Electronic Hygrometer - Tachometer - Anemometer - Site Visit - Budget Sheet - International Safety Standards - Protective gear such as helmets, goggles - Electronic Pressure Gauge - Power Supply - Simulating software(Emulator) - Connecting Cables - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Reference Material - Sensors/Transducers - Anemometer - Tachometer - Electronic Hygrometer - Protective gear such as helmets, goggles, gloves - rubber shoes, etc. - Flashlight - Tool box - Calculator | Class Room and workshop |
| - Ensure quality and productivity standards | Trainee must be able to: - Ensure timely delivery of the control panel design as per agreed timeline - Ensure that Total Hours cost and man hours spent is as per the budget planned - Ensure compliance with relevant regulations, standards and codes of practices - Ensure compliance of the application with manufacturing requirements and process capabilities analysis of the organization - Ensure that the design conforms with normal safety standards - Develop reliable panels so that the system does not fail during the usage | - The Standard operating procedure (SOP) of the organization for control panel development process. - The types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - To prepare wiring diagram - DCS programming software - List Down the SCADA, HMI development software - The Testing process and parameters involved in the testing - Use of Emulator (Simulator) Panel - Troubleshoot frequently occurring errors. - Safety aspects to be inbuilt in the control panel system as per the process requirement - Relevant regulations, standards and codes of practice and their implications on the - panel - The safety norms in handling electrical/electronic components? - The various tools used during the installation process - Troubleshoot Frequently occurring errors, causes and preventive measures - Repairing/replacement of various components in a PLC - Safety precautions while working in an electronic assembly unit Practical Activity Ensure quality and productivity standards | Th-1.5 Hrs. Pr-2.5 Hrs. Total-4 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - MultiMate - Data loggers - Electronic Hygrometer - Tachometer - Anemometer - Site Visit - Budget Sheet - International Safety Standards - Protective gear such as helmets, goggles - Electronic Pressure Gauge - Power Supply - Simulating software(Emulator) - Connecting Cables - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Reference Material - Sensors/Transducers - Anemometer - Tachometer - Electronic Hygrometer - Protective gear such as helmets, goggles, gloves - rubber shoes, etc. - Flashlight - Tool box - Calculator | Class Room and workshop |
| - Installation and Commissioning | Trainee must be able to: - Check availability of panel and tools required for installation - Check the internal panel wiring and ensure that it is in accordance with the design drawing - Carry out insulation check of internal panel wiring and devices within the panel - Check if batteries and chargers have been assembled in accordance with the manufacturers recommended procedures - Identify the conductors size and capacity for installation - Ensure that the panel is positioned as prescribed, following safety norms - Make connections to socket outlets, switches and protective conductors - Perform settings as per customer requirements on the equipment in each of the panels - Test all control system interlocks - Check each digital control point by comparing the command at the control panel and status of the device that it controls - Ensure that fuses, switches and other protective devices are labelled correctly - Follow the grounding and earthling procedures while commissioning - Put danger and warning notices, (if necessary) - Test continuity, insulation resistance, functions of all devices, etc., after completion of installation | - The Testing process and parameters involved in the testing - Use of Emulator (Simulator) Panel - Troubleshoot frequently occurring errors. - Safety aspects to be inbuilt in the control panel system as per the process requirement - Relevant regulations, standards and codes of practice and their implications on the - panel - The safety norms in handling electrical/electronic components? - The Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers etc. - The various tools used during the installation process - Troubleshoot Frequently occurring errors, causes and preventive measures - Repairing/replacement of various components in a PLC - Safety precautions while working in an electronic assembly unit Practical Activity Installation and Commissioning | Th-1.5 Hrs. Pr-2.5 Hrs. Total-4 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - MultiMate - Data loggers - Electronic Hygrometer - Tachometer - Anemometer - Site Visit - Budget Sheet - International Safety Standards - Protective gear such as helmets, goggles - Electronic Pressure Gauge - Power Supply - Simulating software(Emulator) - Connecting Cables - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Reference Material - Sensors/Transducers - Anemometer - Tachometer - Electronic Hygrometer - Protective gear such as helmets, goggles, gloves - rubber shoes, etc. - Flashlight - Tool box - Calculator | Class Room |
| - Carry out maintenance of PLC | Trainee must be able to: - Select and use required tools and equipment as per the job requirement - Identify the faults as per the LED indications on module - Identify different signal modules (DI, DO, AI, AO) and take necessary action as per job requirement - Identify & Check the terminals inside IO panels and take necessary action as per the job requirement - Check & test the condition of input power supply to IO panel, input/output power of SMPS and take necessary action as per job requirement - Check the conditions of breakers and fuses and take necessary action as per the job requirement | - IEC standards - Knowledge of Relevant documents and documentation procedures used in the process - Formula for Electrical load calculations - The advantages of the PLC - The major components and Describe the applications of PLC. - The types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - The Testing process and parameters involved in the testing - Use of Emulator (Simulator) Panel - Troubleshoot frequently occurring errors. - The safety norms in handling electrical/electronic components? - The Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers etc. - The various tools used during the installation process - Troubleshoot Frequently occurring errors, causes and preventive measures - Repairing/replacement of various components in a PLC - Safety precautions while working in an electronic assembly unit Practical Activity Ensure quality and productivity standards | Th-1.5 Hrs. Pr-2.5 Hrs. Total-4 Hrs. | - Psychometrics Chart, Tables, and Other References - Charts - Psychometrics Chart, Tables, and Other References - Clipboard - MultiMate - Data loggers - Electronic Hygrometer - Tachometer - Anemometer - Site Visit - Budget Sheet - International Safety Standards - Protective gear such as helmets, goggles - Electronic Pressure Gauge - Power Supply - Simulating software(Emulator) - Connecting Cables - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Reference Material - Sensors/Transducers - Anemometer - Tachometer - Electronic Hygrometer - Protective gear such as helmets, goggles, gloves - rubber shoes, etc. - Flashlight - Toolbox - Calculator |  |

### Install PLC Software and Simulator

Objective: This module covers the knowledge and  skills required to install PLC software and Simulator, Program a PLC using simulator and analyse user requirements and specifications.

Duration: 18 Hours			Theory: 6Hours			Practical: 12 Hours				Credit Hours: 1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install PLC software and Simulator | Trainee will be able to: - Install the PLC Programming - Software as per PLC manufacturer such as Rs Logic 5000 and Rs links classic etc. - Select the best and most frequently used Simulator for programming - Select the module - Input the generic value as per universal settings (check from internet/helped) - Start The Simulator. - Open PLC programming software | - Simulator - Differentiate between simulator and emulator - Advantages of the PLC - Define HMI working. - Define communication Protocol - The major components and the applications of PLC. - The types of input and output signals. Practical Activity Install PLC programming software along with HMI editor | Th-2 Hrs. Pr-4 Hrs. Total-6 Hrs. | - PLC CPU - PLC Software and hardware - Helping Manual - User guide - Simulator - HMI software and hardware - Communication modules - PC - PLC programming cable. - Pen - Reference Material - Helping Manual - User guide - Simulator - Page | Class Room and workshop |
| - Program a PLC using simulator | Trainee must be able to: - Open the programming software as per PLC manufacturer - Ensure that the Simulator is connected and is in ON condition - Create a basic ladder logic program for ON/OFF of a bulb using Examine ON and Examine OFF switch - Create a basic ladder logic program for Simple Start/Stop Ladder Logic Relay - Create a basic ladder logic program for Single Push Button On/Off Ladder Logic - Create a basic ladder logic program for with On Delay Timer - Create a basic ladder logic program for with Off Delay Timer - Create a basic ladder logic program for Traffic signal lights - Create a basic ladder logic program for Elevator Control. | - Define NO and NC in Ladder logic. - Define relay operation in PLC. - Differentiate between momentary switch and toggle switch. - Define different types of timer and its operation. - Define different types of counter operation. Practical Activity Create a basic ladder logic program for Elevator Control Develop a PLC logic for Motor Direction and jog control circuit | Th-2 Hrs. Pr-4 Hrs. Total-6 Hrs.. | - PLC CPU - PLC Software and hardware - Helping Manual - User guide - Simulator - HMI software and hardware - Communication modules - PC - PLC programming cable. | Class Room and workshop |
| - Analyze user requirements and specifications | Trainee must be able to: - Draw the general value chain of the end user industry - Highlight the set of activities that a firm operating in a specific industry performs in the value chain drawing - Enlist the equipment/gauges/sensors/actuators/transducers used in different stages of the process - Identify critical stages in the process - Identify the safety aspect required in the critical stages of the process - Analyze the possible automation in the existing processes and global trends in automation - Analyze the client requirement at broad level from the proposal - Generate a report of various industrial processes involved in industry - Collect the required specification of the equipment (if already prepared by the user) and clarify the technical specification. | - Define the method of analyzing the customer requirements. Practical Activity - Test user requirements and specifications - Develop and report for analyzing the user requirements for acquiring PLC based automation system | Th-2 Hrs. Pr-4 Hrs. Total-6 Hrs. | - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc - HMI software and hardware - Communication modules - PC - PLC programming cable. | Class Room and workshop |

### Design and Test the PLC

Objective: This module covers the knowledge and  skills required to Build forward bias circuit of diode and observe its behavior, Build reverse bias circuit of diode and observe its behavior, Use SCR to build Phase control rectifier, Build force commutated circuit for SCR and Build full wave converter and observe natural commutation. Build forward bias and reverse bias circuit of diode and observe its behavior

Duration: 30Hours			Theory: 9Hours			Practical: 21 Hours				Credit Hours: 3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare work plan | Trainee will be able to: - Suggest globally practiced and accepted automation systems if the user is not aware of the technical specifications - List down the sub systems that are involved in the process - List down sensors and actuators requirement. - Collect information on process logic - Collect information for operator station screens - Decide on whether the system can be developed as per the user requirement - Support the project manager in calculating the time required for each stage to ensure completion of project - Assist in preparing the work plan with deliverables and timelines - Explain the expected output to the user - Calculate the number of days needed for commissioning of the panel at site - Summarize the user requirement. | - Knowledge of Relevant documents and documentation procedures used in the process - Formula for Electrical load calculations - The Piping and instrumentation diagram/drawing (P&ID) - Safety aspects to be inbuilt in the control system as per the process requirement - Advantages of the PLC - major components and applications of PLC. - Types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - Wiring diagram - List down the PLC, DCS programming software - List Down the SCADA, HMI development software - Relevant documents and documentation procedures used in the process Practical Activity Prepare work plan | Th-3 Hrs. Pr-7 Hrs. Total-10 Hrs. | - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Site Visit - Pen - Reference Material - Helping Manual - User guide - Simulator - Page - Reference Material - Psychometric Charts and Tables - Calculator - Clipboard - Protective gear such as helmets, goggles, gloves, rubber shoes etc. - Calculation Sheet | Class Room and workshop |
| - Design and program PLC | Trainee must be able to: - Develop PLC application as per user requirement by following the standard operating procedure (SOP) of the organization - Apply approved engineering concepts, processes and principles in developing the PLC application - Install organization approved software (system and application software) to develop the system - Identify the requirement of indications, switchgears and accessories - Develop the control circuit drawing - Prepare wiring plans - Integrate the main process system with the sub-systems as per the user requirement (e.g., using communication protocol) - Ensure that safety aspect of the process is captured in the design plan - P9. Program PLC as per FDF - Program SCADA Application - PLC-SCADA Communication - P12. Create backup copies of all designs developed for control panel and store in a secure location - Prepare a product manual and store them for future references | - Advantages of the PLC - Major components and applications of PLC. - Types of input and output signals. - Piping and instrumentation diagram/drawing (P&ID) - Wiring diagram - List down the PLC, DCS programming software - List Down the SCADA, HMI development software - Relevant documents and documentation procedures used in the process - Testing process and parameters involved in the testing - use of Emulator(Simulator) - Relevant regulations, standards and codes of practice and their implications on the panel - Practical Activity - Prepare a product manual and store them for future references | Th-3 Hrs. Pr-7 Hrs. Total-10 Hrs.. | - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Site Visit - Pen - Reference Material - Helping Manual - User guide - Simulator - Page - Reference Material - Psychometric Charts and Tables - Calculator - Clipboard - Protective gear such as helmets, goggles, gloves, rubber shoes etc. - Calculation Sheet | Class Room and workshop |
| - Test the PLC | Trainee must be able to: - Locate field devices and their interface to PLC - Test the system in off line mode using simulator - Test the gauges independently for integration of main system with the sub-systems (if applicable) - Verify that the system conforms with all the user specifications during testing - Rework if there are any issues found and fix them - Send the test report for review to the customer - Perform Factory Acceptance Test (FAT) - Perform site acceptance test plan | - Wiring diagram - List down the PLC, DCS programming software - List Down the SCADA, HMI development software - Relevant documents and documentation procedures used in the process - Testing process and parameters involved in the testing - use of Emulator (Simulator) - Relevant regulations, standards and codes of practice and their implications on the panel - Practical Activity Practical Activity - Factory Acceptance Test (FAT) Perform site acceptance test plan | Th-3 Hrs. Pr-7 Hrs. Total-10 Hrs.. | - PLC Software - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. - Psychometric Charts and Tables - Calculator - Calculation Sheet - Clipboard - Site Visit - Pen - Reference Material - Helping Manual - User guide - Simulator - Page - Reference Material - Psychometric Charts and Tables - Calculator - Clipboard - Protective gear such as helmets, goggles, gloves, rubber shoes etc. - Calculation Sheet | Class Room and workshop |

### Installation, Commissioning and Maintenance of PLC.

Objective: This module covers the knowledge and  skills required to Build forward bias circuit of diode and observe its behavior, Build reverse bias circuit of diode and observe its behavior, Use SCR to build Phase control rectifier, Build force commutated circuit for SCR and Build full wave converter and observe natural commutation. Build forward bias and reverse bias circuit of diode and observe its behavior

Duration: 27Hours			Theory: 9Hours				Practical: 18Hours			Credit Hours: 2.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Ensure quality and productivity standards | Trainee will be able to: - Ensure timely delivery of the control panel design as per agreed timeline - Ensure that total cost and man hours spent is as per the budget planned - Ensure compliance with relevant regulations, standards and codes of practices - Ensure compliance of the application with manufacturing requirements and process capabilities analysis of the organization - Ensure that the design conforms with normal safety standards - Develop reliable panels so that the system does not fail during the usage | - The Safety aspects to be inbuilt in the control panel system as per the process requirement - IEC standards - Relevant regulations, standards and codes of practice and their implications on the panel - The safety norms in handling electrical/electronic components - Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers etc. - Various tools used during the installation process Practical Activity Test bench design of System. | Th-3 Hrs. Pr-6 Hrs. Total- 9 Hrs. | - Charts - Psychometrics Chart, Tables, and Other References - Anemometer - Tachometer - Data logger - Electronic Hygrometer - MultiMate - Electronic Pressure Gauge - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. - International Safety Standards - Calculator - Clipboard - Flashlight - Tool box - Budget She - Psychometrics Chart, Tables, and Other References - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. | Class Room and workshop |
| - Installation and Commissioning | Trainee must be able to: - Check availability of panel and tools required for installation - Check the internal panel wiring and ensure that it is in accordance with the design drawing - Carry out insulation check of internal panel wiring and devices within the panel - Check if batteries and chargers have been assembled in accordance with the manufacturers recommended procedures - Identify the conductors size and capacity for installation - Ensure that the panel is positioned as prescribed, following safety norms - Make connections to socket outlets, switches and protective conductors - Perform settings as per customer requirements on the equipment in each of the panels - Test all control system interlocks - Check each digital control point by comparing the command at the control panel and status of the device that it controls - Ensure that fuses, switches and other protective devices are labelled correctly - Follow the grounding and earthling procedures while commissioning - Put danger and warning notices, (if necessary) - Test continuity, insulation resistance, functions of all devices, etc., after completion of installation | - The Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers etc. - The various tools used during the installation process - Troubleshoot Frequently occurring errors, causes and preventive measures - The procedure followed for repairing/ replacement of various components in a PLC - control system interlocks - fuses, switches and other protective devices are labelled correctly - continuity insulation resistance, functions of all devices, etc., after completion of installation Practical Activity Continuity test, insulation resistance, functions of all devices, etc., after completion of installation | Th-3 Hrs. Pr-6 Hrs. Total-9Hrs. | - Anemometer - Tachometer - Data logger - Electronic Hygrometer - MultiMate - Electronic Pressure Gauge - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. - International Safety Standards - Calculator - Clipboard - Flashlight - Tool box - Budget She - Psychometrics Chart, Tables, and Other References - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. | Class Room and workshop |
| - Carry out maintenance of PLC | Trainee must be able to: - Select and use required tools and equipment as per the job requirement - Identify the faults as per the LED indications on module - Identify different signal modules (DI, DO, AI, AO) and take necessary action as per job requirement - Identify & Check the terminals inside IO panels and take necessary action as per the job requirement - Check & test the condition of input power supply to IO panel, input/output power of SMPS and take necessary action as per job requirement - Check the conditions of breakers and fuses and take necessary action as per the job requirement | - Describe the Safety aspects to be inbuilt in the control panel system as per the process requirement - IEC standards - Relevant regulations, standards and codes of practice and their implications on the panel - Safety norms in handling electrical/electronic components - the Operation of PLCs, relays, contactors, circuit breakers, solenoids, actuators, controllers etc. - The various tools used during the installation process - Troubleshoot Frequently occurring errors, causes and preventive measures - Describe the procedure followed for repairing/replacement of various components in a PLC Practical Activity Test the conditions of breakers and fuses and take necessary action to verify and troubleshoot. | Th-3 Hrs. Pr-6 Hrs. Total- 9 Hrs. | - Charts - Psychometrics Chart, Tables, and Other References - Anemometer - Tachometer - Data logger - Electronic Hygrometer - MultiMate - Electronic Pressure Gauge - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. - International Safety Standards - Calculator - Clipboard - Flashlight - Tool box - Budget She - Psychometrics Chart, Tables, and Other References - Protective gear such as helmets, goggles, gloves, rubber shoes, etc. | Class Room and workshop |

## Telecom Operator

### Identify the Parts of Analog & Digital Telephone Set & Verify their Function

Objective: This module covers the knowledge and  skills required to Dismantle and identify the parts of automatic telephone set, Dismantle and identify the parts of digital telephone set, Demonstrate the operation of Telephone buzzer, Perform the operation of Transmitter & receiver, Identify the parts of rotary dial & verify its function and Identify the parts of digital dial& verify its function.

Duration: 15 Hours				Theory: 6 Hours			Practice: 9 Hours				Cr.Hour: 1.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Dismantle and identify the parts of analog telephone set | Trainee will be able to: - Select the Analog telephone set and establish a method for disassembling activity as per SOP. - Use standard tools described in user manual - Apply disassembling techniques - Organize the tag-identification of the parts/components/wires of telephone set. - Identify the parts (magneto bell, dial, antiskid tone circuit, transmitter, receiver, cradle switch etc.) - Check for the proper operation/ functionality - Apply assembling techniques. | - Types of telephone set. - Parts of a telephone set and their functions. - Disassembling & Assembling techniques. Practical Activity Dismantle the analog telephone set and identify its different parts. | Th-1 Hrs. Pr-1.5 Hrs. Total-2.5 Hrs. | - Analog telephone set - Screw drivers - tweezers - Nose plier - Test bench - Power source (AC/DC - Multimeter - Wire Cutter - Test probes | Class Room and workshop |
| - Dismantle and identify the parts of digital telephone set | Trainee must be able to: - Select the digital telephone set and establish a method for disassembling activity as per SOP. - Use standard tools described in user manual - Apply disassembling techniques - Organize the tag-identification of the parts/components/wires of telephone set. - Identify the parts (telephone buzzer, dial, Dial IC, speech IC transmitter, receiver, bridge rectifier, cradle switch etc.) - Check for the proper operation/ functionality - Apply assembling techniques. | - Types of telephone set. - Parts of a telephone set and their functions. - Disassembling & Assembling techniques. Practical Activity Dismantle the Digital telephone set and identify its different parts | Th-1 Hrs. Pr-1.5 Hrs. Total-2.5 Hrs.. | - Digital telephone set - Screw drivers - tweezers - Nose plier - Electrical test bench - Power source (AC/DC - Multimeter - Wire Cutter - Test probes | Class Room and workshop |
| - Demonstrate the operation of Telephone buzzer | Trainee must be able to: - Connect the telephone set to telephone line. - Dial the telephone No. which is connected to line, form any mobile/telephone. - Hear the ringing tone in mobile/telephone and note what happen in telephone set connected to line. | - Difference between dial tone, ringing tone, busy tone. - Difference between buzzer and magneto bell. - Function of telephone buzzer. Practical Activity Connect the telephone set with telephone line & make a telephone call to observe the sound of buzzer from telephone set. | Th-1 Hrs. Pr-1.5 Hrs. Total-2.5 Hrs.. | - Two Digital telephone set - Telephone connection - Screw drivers | Class Room and workshop |
| - . Perform the operation of Transmitter & receiver | Trainee must be able to: - Connect the telephone set to telephone line. - Dial the telephone No. which is connected to line, form any mobile/telephone. - On hearing ringing bell, pic up hand set and speak on the lower portion of hand set (transmitter). - On replying form other side note the effect from upper portion of hand set (receiver). | - Difference between dial tone, ringing tone, busy tone. - Difference between transmitter and receiver. - Function of telephone transmitter and receiver. Practical Activity Connect the telephone set with telephone line & make a telephone call. On receiving the buzzer pic-up hand set and perform conversation through the telephone set. Analyze the behavior of transmitter and receiver. | Th-1 Hrs. Pr-1.5 Hrs. Total-2.5 Hrs.. | - Two Telephone set - Telephone connection - Screw drivers | Class Room and workshop |
| - Identify the parts of rotary dial & verify its function | Trainee must be able to: - Select analog telephone set. - Identify the dial plate of dialer. - Identify the dial hole on dial plate. - Identify the finger stop. - Dial any number from rotary dial - Note the sound of pulsed on receiver and count them and compare them to dial number | - Types of dialing. - Difference between rotary and DTMF dialing. - Parts of a rotary dial and their function - Timing diagram of rotary dial. Practical Activity Connect the analog telephone set with telephone line, pic-up hand set and dial any number form rotary dial. Observe the sound of pulses and compare it with dial number. | Th-1 Hrs. Pr-1.5 Hrs. Total-2.5 Hrs.. | - Two Analog telephone set - Telephone connection - Screw drivers | Class Room |
| - Identify the parts of digital dial& verify its function. | Trainee must be able to: - Select digital telephone set. - Identify Key pad dialer on the telephone set. - Press different numbers from key pad dialer. - Note and compare the difference of sound effect in receiver against each dial number | - Types of dialing. - Difference between rotary and DTMF / keypad dialing. - Parts of a keypad dial. - Frequency spectrum and their range used for DTMF Key pad / dialing. Practical Activity Connect the Digital telephone set with telephone line, pic-up hand set and press all numbers of key pad. Observe and analyze the difference of tone sound in receiver against each pressed number. | Th-1 Hrs. Pr-1.5 Hrs. Total-2.5 Hrs.. | - Digital telephone set - Telephone connection - Screw drivers |  |

### Carry Out Modulation, Demodulation, Multiplexing, De Multiplexing of Information Signal

Objective: This module covers the knowledge and  skills required to Build forward bias circuit of diode and observe its behavior, Build reverse bias circuit of diode and observe its behavior, Use SCR to build Phase control rectifier, Build force commutated circuit for SCR and Build full wave converter and observe natural commutation. Build forward bias and reverse bias circuit of diode and observe its behavior

Duration 18 Hours			Theory: 6 Hours				Practice 12 Hours 			Cr.Hour:1.8 Hr.

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Amplitude Modulation of Information Signal | Trainee will be able to: - Calibrate CRO. - Generate Low Frequency Message signal and observe on channel 1 of CRO. - Apply the Message and Carrier signals to the AM Modulator Section of the AM Trainer. - Connect the output of the modulator to channel 2 of CRO and observe the signal | - Calibration of CRO. - Particular Signal generation with the help of signal generator. - Working Principle of AM Modulator - Difference between Low frequency / information signal, High frequency /carrier and modulated signal Practical Activity Connect the apparatus as per specification. Give low and high frequency signal to AM modulator and analyze the output of modulator on CRO. | Th-0.5 Hrs. Pr-1.5 Hrs. Total-2Hrs. | - Amplitude Modulation / demodulation Trainer - Jumpers - Signal generator - Oscilloscope with probes - 220V power supply | Class Room and workshop |
| - Perform Demodulation of Modulated AM Signal | Trainee must be able to: - Calibrate CRO. - Generate AM Modulated signal and observe on channel 1 of CRO. - Apply the Modulated signal to the AM De-Modulator Section of the AM De-Modulation Trainer. - Connect the output of the de-modulator to channel 2 of CRO and observe the signal. - Compare the Message signal to the Demodulated signal. | - Calibration of CRO. - Working Principle of AM de-modulator - Difference between modulated and demodulated signal - Types of demodulator - Type of filter used in demodulator. Practical Activity Connect the apparatus as per specification. Give the AM modulated signal to de-modulator and observe low frequency signal with the help of CRO. | Th-0.5 Hrs. Pr-1.5 Hrs. Total-2 Hrs. | - Amplitude Modulation / demodulation Trainer - Jumpers - Signal generator - Oscilloscope with probes - 220V power supply | Class Room and workshop |
| - Calculate band width and modulation index | Trainee must be able to: - Calibrate CRO. - Measure the frequency and voltage of Low frequency and carrier frequency signal with oscilloscope. Calculate modulation by formula - Calculate bandwidth by formula Where as | - Calibration of CRO. - Difference between bandwidth, USB “Upper side band” & LSB “Lower side band - modulation index Practical Activity Measure the voltage and frequency of modulating and carrier signal. Compute modulation index and bandwidth using above measured values. | Th-1 Hrs. Pr-1.5 Hrs . Total-2.5 Hrs.. | - Oscilloscope with probes - Oscilloscope with probes - Frequency Modulation Trainer - FM Demodulation Trainers - Jumpers - FM Trainer - AM Trainer - Signal generator - Oscilloscope with probes - AM Demodulation Trainers - Jumpers | Class Room and workshop |
| - Perform Frequency Modulation of Information Signal | Trainee must be able to: - Calibrate CRO. - Generate Low Frequency Message signal and observe on channel 1 of CRO. - Apply the Message and Carrier signals to the FM Modulator Section of the FM Trainer. - Connect the output of the modulator to channel 2 of CRO and observe the signal | - Calibration of CRO. - Particular Signal generation with the help of signal generator. - Working Principle of FM Modulator - Difference between Low frequency / information signal, High frequency /carrier and modulated signal Practical Activity Connect the apparatus as per specification. Give low frequency signal to FM modulator and analyze the output of modulator on CRO. | Th-1 Hrs. Pr-1.5 Hrs . Total-2.5 Hrs. | - Oscilloscope with probes - Oscilloscope with probes - Frequency Modulation Trainer - FM Demodulation Trainers - Jumpers - FM Trainer - AM Trainer - Signal generator - Oscilloscope with probes - AM Demodulation Trainers - Jumpers | Class Room and workshop |
| - Perform Demodulation of Modulated FM Signal | Trainee must be able to: - Calibrate CRO. - Generate FM Modulated signal and observe on channel 1 of CRO. - Apply the Modulated and Carrier signals to the FM De-Modulator Section of the FM De-Modulation Trainer. - Connect the output of the de-modulator to channel 2 of CRO and observe the signal. - Compare the Message signal to the Demodulated signal | - Calibration of CRO. - Working Principle of FM de-modulator - Difference between modulated and demodulated signal - Types of FM demodulator - Type of filter used in demodulator. Practical Activity Connect the apparatus as per specification. Give the FM modulated signal to de-modulator and observe low frequency signal with the help of CRO. | Th-1 Hrs. Pr-1.5 Hrs . Total-2.5 Hrs.. | - Oscilloscope with probes - Oscilloscope with probes - Frequency Modulation Trainer - FM Demodulation Trainers - Jumpers - FM Trainer - AM Trainer - Signal generator - Oscilloscope with probes - AM Demodulation Trainers - Jumpers | Class Room |
| - Perform Pulse Code Modulation (PCM) of an analog signal | Trainee must be able to: - Generate Sine wave signal and observe on channel 1 of CRO. - Apply the generated signal and Clock signal to the PCM Modulator using jumpers. - Observe the output on channel 2 of CRO and also note the pattern of blinking of output LEDs. | - Calibration of CRO. - Particular Signal generation with the help of signal generator. - Working Principle of PCM - Different stages involved in PCM. - Difference between sampling, quantization, encoding, decoding, - Difference between repeater and regenerator Practical Activity Connect the apparatus as per specification. Give the low frequency signal to PCM trainer and observe the signal at its different stages. Finally compare input and output signal of PCM trainer on oscilloscope. | Th-1 Hrs. Pr-1.5 Hrs . Total-2.5 Hrs.. | - Oscilloscope with probes - Oscilloscope with probes - Frequency Modulation Trainer - FM Demodulation Trainers - Jumpers - FM Trainer - AM Trainer - Signal generator - Oscilloscope with probes - AM Demodulation Trainers - Jumpers |  |
| - Perform Time Division Multiplexing (TDM) and De-multiplexing | Trainee will be able to: - Generate multiple low frequency signals. - Apply the signals to TDM Multiplexer. - Observe the multiplexed output on channel 1 of CRO. - Apply to multiplexed output to the De-multiplexer. - Observe output for first message signal on channel 1 of CRO and compare the output signal with the relative Message signal by observing it on channel 2 of CRO - Repeat the step 5 for all the DE multiplexed signals one by one | - Calibration of CRO. - Difference between TDM multiplexing and de-multiplexing. - Working Principle of multiplexer & De-multiplexer. Practical Activity Connect the apparatus as per specification. Generate multiple low frequency form trainer and give it to input of multiplexer. Get the output of multiplexer and give to the demultiplexer state and analyze the output signals form the demultiplexer. | Th-1 Hrs. Pr-1.5 Hrs . Total-2.5 Hrs. | - Oscilloscope with probes - Oscilloscope with probes - Frequency Modulation Trainer - FM Demodulation Trainers - Jumpers - FM Trainer - AM Trainer - Signal generator - Oscilloscope with probes - AM Demodulation Trainers - Jumpers |  |
| - Perform Frequency Division Multiplexing and De-multiplexing | Trainee will be able to: - Generate multiple message signals. - Generate multiple carrier signals of different frequencies. - Apply each of the message and carrier signal pairs to their respective Balanced Modulators. - Combine the modulated signals using Adder and observe this FDM Multiplexed output on Channel 1 of CRO. - Apply the multiplexed signal to respective Band-Pass filters for each DE multiplexer section (or user). - Apply the output of each Filter to their respective Demodulators. - Observe the demodulated and hence FDM DE multiplexed signals for each user and compare them to their respective Transmitted signals by viewing both on CRO at the same time | - Calibration of CRO. - Difference between FDM multiplexing and de-multiplexing. - Working Principle of FM multiplexer & De-multiplexer. - Difference between modulator and demodulator Practical Activity Connect the apparatus as per specification. Generate multiple low frequency signal form trainer and give it to input of frequency division multiplexer. Get the output of frequency division multiplexer and give to the demultiplexer state and analyze the output signals form the demultiplexer. | Th-1 Hrs. Pr-1.5 Hrs . Total-2.5 Hrs. | - Oscilloscope with probes - Oscilloscope with probes - Frequency Modulation Trainer - FM Demodulation Trainers - Jumpers - FM Trainer - AM Trainer - Signal generator - Oscilloscope with probes - AM Demodulation Trainers - Jumpers |  |

### Install Cord Less Telephone, PABX & Satellite Dish System.

Objective: This module covers the knowledge and  skills required to Install cord less telephone system, Install and Configure of Private Automatic Branch Exchange (PABX) and Install Home satellite dish system.

Duration 15 Hours			Theory 6 Hours				Practice 9 Hours			Cr. Hour: 1.5 Hr.

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install cord less telephone system | Trainee will be able to: - Chose proper location to install the base station - Connect the phone line to the base the base station of cord less telephone. - Connect the supply to the base station. - Pic-up the Mobile unit from cordless telephone and make a call to ensure the working functionality | - Purpose of cordless telephone. - Function and operating procedure of cordless telephone. - User manual understanding. Practical Activity Take cord less telephone, connect it with telephone line, connect it with power supply and check the functionality by making a telephone call on any telephone number. | Th-2 Hrs. Pr-3 Hrs. Total-5 Hrs. | - Cordless telephone - Telephone wire - Supply - Installation kit. - Telephone Sets - PBX - Coaxial cable. - Dish antenna - Dish receiver - RJ-11 Connectors - Knife Installation kit - 2-Pair Cable - Crimping Tool - TV receiver | Class Room and workshop |
| - Install and Configure of Private Automatic Branch Exchange(PABX | Trainee must be able to: - Lay 2-Pair Telephone drop wire around the premises. - Plug the telephone cord into your PBX console in an input that says, "Telephone Line." - Connect the other end into a wall jack. This allows your PBX system to send and receive phone calls. - Insert the PBX plug into the console. Plug the other end into the wall outlet. Wait for your PBX system to light up. This lets you know that you have properly installed the system. - Pick up the receiver to place a call. Dial the extension or phone number you would like to reach. Wait for the caller to answer on the other end. - Wait for the system to ring and light up, which means you have an incoming call. Pick up the receiver and answer the call. You can also press "Intercom" or "Hands Free" to answer the call | - Installation of RJ-11 Connectors on cable. - Installation of cables for PABX as per specifications. - Function and operating procedure of PABX - User manual understanding. Practical Activity Install PABX exchange as per manual instruction. Give power supply to PABX and check its functionality by making telephone call form any attached telephone set to it. | Th-2 Hrs. Pr-3 Hrs. Total-5 Hrs . | - Cordless telephone - Telephone wire - Supply - Installation kit. - Telephone Sets - PBX - Coaxial cable. - Dish antenna - Dish receiver - RJ-11 Connectors - Knife Installation kit - 2-Pair Cable - Crimping Tool - TV receiver | Class Room and workshop |
| - Install Home satellite dish system | Trainee must be able to: - Perform dish assembly as per SOP - Perform dish installation on roof top as per SOP. - Route coaxial cable and connect dish receiver to dish antenna. - Connect dish receiver output to TV receiver input. - Turn on the supply of both receivers, enter the frequency of required channel. - Adjust the antenna with the help of satellite locator chart till required channel is observed on TV screen | - Installation procedure of Dish as per SOP. - Function and operating procedure of Dish receiver - User manual understanding. Practical Activity Install satellite dish system as per manual instruction. Give power supply to Dish receiver and check its functionality by tuning any channel form dish receiver. | Th-2 Hrs. Pr-3 Hrs. Total-5 Hrs | - Cordless telephone - Telephone wire - Supply - Installation kit. - Telephone Sets - PBX - Coaxial cable. - Dish antenna - Dish receiver - RJ-11 Connectors - Knife Installation kit - 2-Pair Cable - Crimping Tool - TV receiver | Class Room and workshop |

3.16.4.	Install Power Supply

Objective: This module covers the knowledge and  skills required to Construct full wave rectifier/Bridge Rectifier, Construct filtered power supply, Construct Zener diode regulated power supply, Installation and Commissioning of Telecom Rectifier /UPS system, Installation of Valve Regulated Lead Acid Battery (VRLA) / Sealed Lead Acid Batteries (SLA) for Telecom Equipment, conduct different Tests of VRLA/SLA Battery and Perform Maintenance of Valve regulated lead Acid Battery

Duration 18 Hours			Theory 6 Hours				Practice 12 Hours 			Cr.Hour: 1.8 Hr.

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct full wave rectifier/Bridge Rectifier | Trainee will be able to: - Identify the Diodes and center tape Transformers, Resistors. - Draw the Circuit Diagram of Full wave rectifiers - Connect the components according to the diagram - Apply AC Input. - Check output with oscilloscope - Check Output with Multi Meter. - Draw out put wave form, note and observe the results | - Rectification and its types. - Difference between full wave bridge and about Center tape transformers. - Input and output waves of a rectifier circuit. - Use of multimeter Practical Activity Make a full-wave bridge & center-tapped rectifier. Connect the circuit with supply and observe its input and output with the help of CRO. | Th-0.5 Hrs. Pr-1 Hrs. Total- 1.5 Hrs. | - Box end wrench, insulated - Electrical tool kit. - Multi Meter - Impedance Meter - Rubber gloves. - Battery lifting equipment (handles) and fork lift to lift pallets of batteries. - Box end wrench, insulated. - Torque wrench calibrated in inch-pounds, insulated. - Socket wrench, insulated. - Diodes - Transformers - Power Supply - Trainer - Digital Oscilloscope - Multi meter - Connecting wire - Zener Diodes - Power Supply - Diodes - Resistors - Transformer - Complete Electrical Toolkit - Toolkit of spanners and wrenches - Digital voltmeter. - RCL Meter | Class Room and Workshop |
| - Construct filtered power supply | Trainee must be able to: - Check the Diodes and Transformers, Resistors, capacitors. - Draw the Circuit Diagram of filtered power Supplies. - Connect the components according to the diagram. - Apply AC Input. - Check output with oscilloscope. - Check Output with Multi Meter. - Draw out put wave form, note and observe the results | - Understanding of filters and its types. - Stages of filtered power supply. - Function of each stages in filtered supply. - Difference between Ripple and Ripple factor. Practical Activity Construct a filter power supply and Connect it with supply. Observe the input and output with the help of CRO and compare the difference. | Th-0.5 Hrs. Pr-1 Hrs. Total- 1.5 Hrs. |  | Class Room and workshop |
| - Construct Zener diode regulated power supply | Trainee must be able to: - Check and identify Zener Diodes, Diodes and Transformers, Resistors, capacitors. - Draw the Circuit Diagram of Zener Diode regulated power Supply. - Connect the components according to the diagram. - Apply AC Input. - Check output with oscilloscope - Check Output with Multi Meter | - Difference between simple diode and Zener diode. - Characteristics of Zener diode. - Difference between Zener break down avalanche break down - Types of regulation. - Difference between line and load regulation. Practical Activity Construct Zener diode regulated power supply. Change the input voltage and observe the effect in output voltage. Does they will change or not. | Th-1 Hrs. Pr-2 Hrs. Total- 3Hrs. |  | Class Room and workshop |
| - Installation and Commissioning of Telecom Rectifier /UPS system | Trainee must be able to: - Installation of Rectifier/ UPS Cabinet as per Design. - Connect AC supply with Rectifiers from main distribution board (MDB). - Connect surge protection device (SPD) with rectifiers. - Connect with DC as per requirement. - Perform rectifier system commissioning. - Perform boost charging setting of batteries. - Perform AC over voltage setting. - Perform AC under voltage setting. - Perform DC under voltage setting | - Difference between on-line and off-line UPS. - Function of each stage in UPS. - Types of batteries used in UPS. - User manual understanding Practical Activity Install UPS system and connect load with it verify its operation. | Th-1 Hrs. Pr-2Hrs. Total- 3 Hrs. |  | Class Room and workshop |
| - Installation of Valve Regulated Lead Acid Battery (VRLA) / Sealed Lead Acid Batteries (SLA) for Telecom Equipment | Trainee must be able to: - Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. - Install 3 tier rack for batteries. - Locating/Fixed the Batteries on the Racks - Prepare Battery Terminals. - Prepare and install the Inter tier, inter row and Inter Rack Connections. - Connect the Charger with Batteries | - Difference between cell and battery. - Types of batteries - Difference between VRLS and SLA batteries. - Need the use of series and parallel combination of batteries. - Specific gravity. - Hydrometer and its application. Practical Activity Place 4 batteries on and connect them in series and measure the voltage. Again connect them in parallel and measure the voltage. Record the difference in voltage for above two connections. | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. |  | Class Room |
| - Conduct different Tests of VRLA/SLA Battery | Trainee must be able to: - Perform High rate momentary load test. - Measurements of resistance/ conductance/impedance of battery. - Conduct Performance test of battery | - Procedure to measure the internal resistance of a battery or cell. - Difference between high rate momentary load test, resistance test and performance test of a battery. - Knowledge about ambient temperature, ventilation, float voltage, terminal corrosion, negative terminal temperature, battery resistance. Practical Activity Conduct High rate momentary load test on the battery and record the result. | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. |  | workshop |
| - Perform Maintenance Of Valve regulated lead Acid Battery | Trainee must be able to: - Measure and record overall float voltage measured at the battery terminals. - Measure and record charge output current and voltage. - Measure and record ambient temperature of battery room or cabinet - Check condition of ventilation and monitoring equipment. - Visual inspection of cell/unit integrity for evidence of corrosion at terminals, connections, racks, or cabinets and area around batteries accessibilities - Check for excessive jar/cover distortion Measure and record DC float current (per string) using equipment - Measure and record cell/unit internal ohmic values. - Measure and record temperature of the negative terminal of each cell/unit of battery. - Measure and record voltage of each cell/unit Measure and record cell to cell and terminal connection detail resistance of entire battery. - Measure and record AC ripple current and/or voltage imposed on the battery |  | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. |  | workshop |

### Maintain Lead Acid Batteries and Implement Their Series Parallel Combination

Objective: This module covers the knowledge and  skills required to construct series combination of batteries, Construct Parallel combination of batteries, Prepare Electrolyte for battery, check specific gravity of Electrolyte, determine internal resistance of cell, and Charge the battery with the help Charger

Duration 18 Hours			Theory 6 Hours				Practice 12 Hours				Cr. Hour: 1.8 Hr.

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Construct series combination of batteries | Trainee will be able to: - Select the specific quantity cells. - Connect them in series with proper polarity. - Measure the voltage of series combined cell. - Increase the number of cells and note the voltage. - Interpret the effect | - Purpose to combine the batteries in series or parallel - Way to connect the cells in series and parallel Practical Activity Connect 4 batteries in series and measure the voltage | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs. | - Connecting leads - Battery Charger - Ammeter - Battery - Voltmeter - Switch - Resistance - Ammeter - Cells - Container - Battery - Hydrometer - Water - Wooden/glass rod - Change over switch - Volt meter. - H2SO4 - Connecting leads. | workshop |
| - Construct Parallel combination of batteries | Trainee must be able to: - Select the specific quantity cells. - Connect them in parallel with proper polarity. - Measure the voltage of parallel combined cell. - Increase the number of cells and note the voltage. - Interpret the effect | - Purpose to combine the batteries in parallel - Way to connect the cells in parallel Practical Activity Connect 4 batteries in parallel and measure the voltage | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs . |  | workshop |
| - Prepare Electrolyte for battery | Trainee must be able to: - Select the proper container & and use proper safety equipment to prepare electrolyte - Pour H2SO4 in the container as per specification. - Put the water as per specification into the container and slowly - Mix the mixture with wooden/glass rod so that two solutions mix completely | - Preparation of Electrolyte of a specific gravity. - Hydrometer and its use. - Specific gravity and its value for lead acid battery? Practical Activity Prepare the electrolyte of specific gravity for lead acid battery | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs . | . | Workshop |
| - Check specific gravity of Electrolyte | Trainee must be able to: - Open the vent plug of battery - Fill the hydrometer with electrolyte - Keep the hydrometer vertical and take reading form hydrometer | - Method to use a hydrometer. - Reading measurement from hydrometer. Practical Activity Use hydrometer and check the specific gravity of electrolyte of the lead acid battery. | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs . |  | workshop |
| - Determine internal resistance of cell | Trainee must be able to: - Adjust the apparatus as per diagram. - Turn the switch off and take the reading of voltmeter and note its value as “E”. - Turn on the switch and again take the reading of voltmeter and note its value as “V”. - Note the reading of ammeter as well. - Use above measured values and find out internal resistance using appropriate formula | - Difference between “E” and “V” of cell? - Use of ampere meter and voltmeter. Practical Activity Arrange the apparatus to measure the internal resistance of the battery. | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs . |  | workshop |
| - . Charge the battery with the help of Charger | Trainee must be able to: - Set proper voltage and current setting of charger. - Connect the battery at the output terminal of charger. - Turn on the supply and note the current reading of ammeter from charger. - Remain connect the battery with charger till the ammeter show minimum or zero reading. - Disconnect the battery and check its specific gravity with hydrometer | - Different Methods to charge a battery. - Differentiate between constant current, constant voltage, trickle and random charging. Practical Activity Set the proper voltage and current range of battery charger and then connect the battery to charger. Record the current reading at the start and after its full charging. | Th-1 Hrs. Pr-2 Hrs. Total- 3 Hrs |  |  |

## Power Plant Operator

### Operate Hydro Power Plant

Objective: This module covers the knowledge and  skills required to Inspect Hydropower Plant equipment, operate plant equipment, respond to equipment emergencies and alarms, and perform maintenance activities and Generate Report. Operate and monitor plant generating equipment and take appropriate actions to ensure safe, efficient and reliable operation of the Hydropower plant.

Duration: 23 Hours			Theory: 8 Hours				Practice: 15 Hours		Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Inspect Hydropower Plant equipment | Trainee will be able to: - Adopt health and safety measures, as per standards. - Identify Generator, Turbine and other Auxiliary equipment. - Identify Control Panel. - Identify measurement Gauges (Rpm meter, Pressure Gauges, Temperature Gauges and flow valves). - Monitor readings of gauges and meters regularly - Perform calibration check for scale accuracy. - Carryout Generator inspection including its bearing and lubrication. - Ensure that all sensors operate correctly. - Ensure that all controller functions correctly. - Carryout Turbine functional checks and bearing lubrication inspection. - Perform Gearbox bearing inspection and analyze oil condition. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. | - Understanding of block diagram of Hydropower Plant. - Basic Knowledge of personal and industrial safety standards - Understanding of parts of hydro power plant (Generator, Turbine and other Auxiliary equipment - Understanding about Control Panel. - Understanding of Control Gauges, Pressure Gauges, Temperature Gauges and Electric Meters and their various measuring units - Understanding and monitoring of meters and their various measuring units - calibration check for scale accuracy. - Inspection of bearing and lubrication of generator - Checking and ensuring the operation of all sensors. - Checking and ensuring the operation of all controllers - understanding Turbine and Gearbox. - Performance of Gearbox bearing inspection and analyze oil condition - Examination of sounds, smells and vibrations of equipment. - Preparation a visit report about Hydropower Plant equipment. Practical Activity Inspection of components and generation of report. | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Visit to Hydropower Plant - Notepad and pen - Safety helmet, gloves, goggles and shoes - Visit Report | Class Room and workshop |
| - Operate plant equipment. | Trainee will be able to: - Follow safety measures, as per standards. - Performs pre start Inspections. - Turn on Power switch of the equipment safely. - Conduct post startup inspection. - Turn OFF Power switch of the equipment safely. - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. | - Understand the Knowledge of personal and industrial safety standards - Pre start Inspections technique - Switching procedure of the equipment - high voltage switching and use of hot sticks substation components, and circuit breakers. - Preparation a visit report about Operation of plant equipment Practical Activity - Observe plant equipment and operation - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Notepad and pen - Safety helmet, gloves, goggles and shoes - Visit Report | Class Room and workshop |
| - Respond to equipment emergencies and alarms. | Trainee must be able to - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. | - Purpose of safety alarms and Switches - Operation of all type of indication lights (on, off, fault, overload or emergency) - purpose of fire extinguisher and emergency exist and its use. - Procedure followed in emergency to shut down power - Removal of fault Practical Activity Observe alarm and operate emergency equipment | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Tool Box - Emergency Switch - Fire Extinguisher - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Perform maintenance activities. | Trainee must be able to - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault by carrying out various tests. - Carryout Electrical inspection and testing. - Perform Sensor replacement and calibration - Perform Controller optimization / reprogramming. - Carryout Internal (endoscopic) inspections of turbines and gearboxes - Carryout Hydraulic accumulator testing and recharging. - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. | - Basic Knowledge of personal and industrial safety standards - Knowledge of the operation and service/maintenance manuals. - Describe the procedure of testing the equipment. - Maintenance procedure - Maintenance techniques of different equipments/ Machinery - Maintenance areas. - basic tools used for repairing. - Methods to generate the maintenance activity report Practical Activity - Perform maintenance - Generation of report | Total 07 Hrs. Th. 01Hrs. Practical: 06 Hrs. | - Specific maintenance checklist sheet, - Tool Box - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Generate Report | Trainee must be able to - Follow safety measures, as per standards. - Generate Hydro system performance and operational review. - Prepare Visit Report as per technical specifications of the plants | - Technical specification of plant - Knowledge of personal and industrial safety standards - Report writing Techniques Practical Activity Prepared a report | Total 01 Hrs. Th. 00 Hrs. Practical: 01 Hrs. | - Stationery instruments - Report sheet as per specifications | Class Room |

### Operate Thermal Power Plant

Objective: This module covers the knowledge and  skills required to General Inspection of the Thermal power plant, Operate Steam Turbine, Inspect and Monitor Boiler Operation, Inspect and Operate Ash handling plant, Inspect and Operate Coal Handling plant, Respond to equipment emergencies and alarms, Perform maintenance activities and Generate Report  operate and monitor plant generating equipment and take appropriate actions to ensure safe, efficient and reliable operation of the Thermal Power Plant.

Duration:  23	Hours		Theory: 8 Hours			Practice: 15  Hours				Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Carry out General Inspection of the Thermal power plant | Trainee will be able to: - Adopt health and safety measures, as per standards. - Identify boiler, turbine, alternator or generator, condenser and feed pump and other auxiliary equipment. - Recognize different major areas in thermal power plant. Boiler, Turbine, Ash handling, and Coal Handling - Identify Control Panel. - Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). - Monitor readings of gauges and meters regularly - Check the scale accuracy of meters. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. | - Schematics block diagram of thermal Power Plant. - Basic Knowledge of personal and industrial safety standards - Understanding the construction and working of boiler, turbine, alternator or generator, condenser and feed pump and other auxiliary equipment. - Explanation of Control panel, Control Gauges, Pressure Gauges, Temperature Gauges and Electric Meters and their various measuring units - Symbols used in a power plant. - Measurement of readings - Preparation a visit report of the Thermal power plant Practical Activity - Carry out General Inspection of the Thermal power plant - Generation of report | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Visit to thermal Plant - Notepad and pen - Safety helmet, gloves, goggles and shoes - Inspection Report | Class Room and workshop |
| - Operate steam power plant | Trainee will be able to: - Implement the Controls for identified hazards and potential hazards in work area consistent with appropriate standards - Confirm the Availability of quality steam from upstream provider - Perform Pre-operational safety checks of steam turbine - Perform Start-up checks upon ancillary plant - Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks - Monitor Steam turbine according to required procedures, including performing of operational checks and fault finding - Follow energy isolation procedures - Routine shutdown of steam turbine is performed according to operational and manufacturer s requirements and procedures, including performing shutdown checks - Generate a report of switching operations and loads on generators, electrical lines and transformers. | - Pre start Inspections. - Switching procedure of the equipment. - High voltage switching and use of hot sticks substation components, and circuit breakers. - Understanding the different indication on control panel before and during operation of a thermal power plant - Start up technique of plant - Shut down technique of plant - Measurement of parameters of plant from all measuring instruments - Understand the Performance of plant and its equipment - Preparation a report of switching operations and loads on generators, electrical lines and transformers. Practical Activity - Check the operation of steam power plant - Carry out General Inspection of the Thermal power plant - Generation of report | Total 04 Hrs. Th. 01Hrs. Practical: 03 Hrs. | - Notepad and pen - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Inspect and Monitor Boiler Operation. | Trainee must be able to - Follow safety measures, as per standards. - Check production requirements at start of shift and plan to carry out daily work activities following workplace health and safety and standard operating procedures (SOP) - Confirm operational status by inspection and routine observation - Adjust boiler controls to maintain operation within specifications - Monitor and record temperature controller display - Monitor and maintain steam pressure and steam distribution systems to meet production requirements - Complete routine preventative maintenance in line with maintenance schedules | - Occupational Health and Safety standards regarding monitoring and operation of boiler - Pre start Inspections - Boiler Operation techniques. - Inspection and routine observation - Monitoring and Maintaining of steam pressure in steam distribution system - Routine preventative maintenance in line with maintenance schedules Practical Activity Check and monitor the operation of a boiler | Total 04 Hrs. Th. 01Hrs. Practical: 03 Hrs. | - Inspection sheet and pen - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Inspect and Operate Ash handling plant. | Trainee must be able to - Follow safety measures, as per standards. - Monitor vacuum levels, vacuum leakage, checking of hopper (empty, partially full, full) and clearing of choked. - Start and stop pumps, line up discharge lines, change over pumps - Operate pumps for series and parallel operations - Operate ash evacuation vacuum pumps - Operate dry ash loading plant for dust collection. - Handle operations of bottom ash handling equipment such as scrapper - Ensure smooth working of conveyor, clinker grinder, their line-up and change over identifying normal defects etc. - Continuously monitor and inspect ash handling equipment before and during operations | - Basic Knowledge of personal and industrial safety standards - Ash Handling Plant. - understanding of the operation and service/maintenance manuals. - Operations carried out in an ash handling plant - Different inspection methods in an ash handling plant. - Report of Ash handling plant inspection and operation Practical Activity - Check the operation of ash handling plant - Inspection of ash handling plant - Carry out General Inspection of the Thermal power plant - Generation of report | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Specific Inspection sheet, Notepad and pen - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Inspect and Operate Coal Handling plant | Trainee must be able to - Follow safety measures, as per standards. - Operate the safety equipment/instruments installed in the unloading plant - Manage coal handling plant right from arrival of wagon, unloading and transportation to appropriate locations. - Ensure proper electrical operations of equipment such as conveyors, crushers, dozers and loaders - Operate coal sampler - Ensure removal of unwanted particulates from coal | - Coal Handling Plant. - Inspection of different components in a Coal handling plant. - Knowledge of personal and industrial safety standards regarding Coal Handling plant - Generate the report of Inspection and Operation of Coal Handling plant Practical Activity - Check the operation of coal handling plant - Inspection coal handling plant - Carry out General Inspection of the Thermal power plant - Generation of report | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Specific Inspection sheet, Notepad and pen - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Respond to equipment emergencies and alarms. | Trainee must be able to - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. | - Indication regarding operation of a coal power plant - Safety and power diagrams of a coal handling plant - Switching procedure of the equipment - Operation of different safety measures like circuit and emergency equipments - Knowledge of high voltage switching and use of hot sticks substation components, and circuit breakers. Practical Activity - Respond to equipment emergencies and alarms - Operate first aid equipment - Use emergency euipment | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | - Different safety measure instruments like fire extinguisher, emergency exit. - safety switches like Circuit Breakers, relays | Class Room and workshop |
| - Perform maintenance activities. | Trainee must be able to - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault. - Identify correct tool for repairing. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. | - Basic Knowledge of personal and industrial safety standards - Understanding of operation and service/maintenance manuals. - Procedure of testing the equipment. - Maintenance procedure. - Maintenance areas. - Tools used for repairing. - Generate the report Practical Activity - Perform maintenance - Generation of report | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | - Specific maintenance checklist sheet, Notepad and pen - Tool Box - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Generate Report | Trainee must be able to - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants | - Technical specification of plant - Knowledge of personal and industrial safety standards - Report writing Techniques Practical Activity Generate Report | Total 01 Hrs. Th. 01Hrs. Practical: 00 Hrs. | - Stationery instruments - Report sheet as per specifications | Class Room |

### Operate Diesel Power Plant

Objective: This module covers the knowledge and  skills required to inspect plant equipment, operate plant equipment, respond to equipment emergencies and alarms, and perform maintenance activities and Generate Report. Operate and monitor plant generating equipment and take appropriate actions to ensure safe, efficient and reliable operation of the Diesel power plant

Duration:  23	Hours				Theory: 8 Hours			Practice: 15 Hours		Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Inspect plant equipment. | Trainee will be able to: - Adopt health and safety measures, as per standards. - Identify Generator, Boiler, and Turbine and other Auxiliary equipment. - Identify Control Panel. - Identify measurement Gauges (Pressure Gauges, Temperature Gauges and flow valves). - Ensure that the fuel oil system is activated - Monitor and maintain the pre heating and pressure as per requirement. - Ensure that the lube oil system is activated and is operational. - Make sure that the pre lube pump has been in operation for at least 15 min’s. - Activate the engine air system is activated. - Ensure that the charge air system and exhaust gas system are activated - Monitor and maintain the temperature of the cooling system. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. | - Schematics block diagram of diesel Power Plant. - Basic Knowledge of personal and industrial safety standards - Understanding of Control Gauges, Pressure Gauges, Temperature Gauges and Electric Meters and their various measuring units - Symbols used in a power plant. - Switching procedure of the equipment. - Preparation of inspection report. Practical Activity - Inspect plant equipment. - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Visit to diesel Plant - Notepad and pen - Safety helmet, gloves, goggles and shoes - Inspection Report | Class Room and workshop |
| - Operate plant equipment. | Trainee will be able to: - Follow safety measures, as per standards. - Ensure all the responsibilities related to start and stop of the plant. - Communicate with relevant authority for regulating power evacuation to the grid. - Co-ordinate with local 220kv /110 kv substations for load monitoring. - Monitor plant parameters and take corrective action. - Ensure data logging and operational schedules. - Assist the HOD in maintaining the all relevant documents - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. - Start and stop the equipment as per the instruction of control room. - Monitor the parameters periodically and observe gauges and leakages. | - Pre start Inspections. - Switching procedure of the equipment. - High voltage switching and use of hot sticks substation components, and circuit breakers. - Different indication on control panel before and during operation of a Diesel plant - Load management system and preparation of load management log sheet - Different co-ordination techniques within Department and with other departments - Plant analysis techniques for operation and observation - Report Generation Practical Activity - Check the operation of plant equipment. - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Different log sheets like load management and load analyze - Safety helmet, gloves, goggles and shoes - Communicate devices i.e land line and wireless networks | Class Room and workshop |
| - Respond to equipment emergencies and alarms. | Trainee must be able to - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. | - Different indication regarding operation of power plant - Control, safety and power diagrams of a coal handling plant - Switching procedure of the equipment - Understanding of high voltage switching and use of hot sticks substation components, and circuit breakers. - Operation of safety measures Practical Activity - Respond to equipment emergencies and alarms - Use first aid equipment - Use emergency equipmenr | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Different safety measure instruments like fire extinguisher, emergency exit. - safety switches like Circuit Breakers, relays - tool kit - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Perform maintenance activities.. | Trainee must be able to - Follow safety measures, as per standards - Carryout scheduled operational/ maintenance activities as per the instruction - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault. - Identify correct tool for repairing. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. | - Basic Knowledge of personal and industrial safety standards - Maintenance types and procedure. - Maintenance areas. - Identification of fault and its nature. - Basic tools used for repairing and use proper tool for a specific work. - Tools selection for working - Communication skills and techniques - Preparing log sheets - Generating reports Practical Activity - Perform maintenance activity. - Generation of report | Total 07 Hrs. Th. 01Hrs. Practical: 06 Hrs. | - Specific maintenance sheet, notepad and pen - Safety helmet, gloves, goggles and shoes - Tool Box | Class Room and workshop |
| - Generate Report | Trainee must be able to - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants | - Knowledge of personal and industrial safety standards - Describe the technical specification of plant - Report Writing and its techniques Practical Activity Generate report | Total 01 Hrs. Th. 01Hrs. Practical: 00 Hrs. | - Stationery instruments - Report sheet as per specifications | Class Room |

### Operate Nuclear Power Plant

Objective: This module covers the knowledge and  skills required to operate and monitor plant generating equipment and take appropriate actions to ensure safe, efficient and reliable operation of the Nuclear Power Plant

Duration: 23	Hours			Theory: 8 Hours			Practice: 15 Hours			Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Carry out General Inspection of the equipment in Nuclear Power Plant | Trainee will be able to: - Adopt health and safety measures, as per standards. - Identify Nuclear reactor, Steam turbine, Generator, Cooling system, Safety valves, Main condenser, Feed water pump, Emergency power supply - Recognize different major areas in nuclear power plant(Reactor vessels, Turbine/Generator, fuel waste handling, Cooling tower) - Identify Control Panel. - Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). - Monitor readings of gauges and meters regularly - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. | - Nuclear Power Plant. - Schematic block diagram - Parts of Nuclear Power Plant - Pre start Inspections. - Basic Knowledge of personal and industrial safety standards - Control Gauges, Pressure Gauges, Temperature Gauges and Electric Meters and their various measuring units - Symbols used in a power plant. - Switching procedure of the equipment. - Generating Inspection report Practical Activity - Inspect the equipment of nuclear power plant - Generation of report | Total 08 Hrs. Th. 02Hrs. Practical: 06 Hrs. | - Visit to Nuclear Power Plant - General inspection chart, Notepad and pen - Safety helmet, gloves, goggles and shoes - Inspection Report card | Class Room and workshop |
| - Operate Nuclear Reactor. | Trainee will be able to: - Ensure the continuous supply of the fuel in Control reactor - Confirm the Availability of quality steam from upstream provider - Perform Pre-operational safety checks of steam turbine - Perform Start-up checks upon ancillary plant - Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks - Monitor the equipment according to required procedures, including performing of operational checks and fault finding - Generate a report of switching operations and loads on generators, electrical lines and transformers. | - Fuels used in Nuclear power plant and its half-life. - Fuel availability and storage - Pre start Inspections. - High voltage switching and use of hot sticks substation components, and circuit breakers. - Switching procedure of the equipment. - Working operation of nuclear power plant - Waste handling, cooling tower. - Understanding of Indication on control panel of thermal power plant - personal and industrial safety standards - Report generation Practical Activity - Check the operation of nuclear power plant - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Different log sheets like Power generation and analysis. - Safety helmet, gloves, goggles and shoes - Operational manuals. - Communicate devices i.e land line and wireless networks | Class Room and workshop |
| - Inspect and Monitor Water Cooling System in Nuclear Power Plant | Trainee must be able to - Follow safety measures, as per standards. - Confirm operational status by inspection and routine observation - Monitor and record temperature/pressure controller display - Monitor and maintain steam pressure and steam distribution systems to meet production requirements - Ensure proper cooling operation. - Complete routine preventative maintenance in line with maintenance schedules | - personal and industrial safety standards - monitoring and measurement the readings of measuring instruments and knowledge about their units - operational and observation chart to analyze and record the operation of the plant. - Indication of Nucleal power plant on control panels. - Basic tools used for repairing and use proper tool for a specific work. - Tools selection for working - Routine preventative maintenance in line with maintenance schedules Practical Activity - Perform maintenance - Inspect and Monitor Water Cooling System in Nuclear Power Plant | Total 04 Hrs. Th. 01 Hrs. Practical: 03 Hrs. | - Different safety measure instruments like fire extinguisher, emergency exit. - Different monitoring, maintenance and observation charts. - safety switches like Circuit Breakers, relays - tool kit - Safety helmet, gloves, goggles and shoes | Class Room and workshop |
| - Inspect Emergency power supply | Trainee must be able to - Follow safety measures, as per standards. - Inspect the Emergency transformers and generators - Ensure at least two distinct sources of offsite power for redundancy - Generate a report of backup emergency supply. | - personal and industrial safety standards - Emergency power supply and its types - Inspection methods of emergency power supply - High voltage switching and use of hot sticks substation components, - Report preparation regarding inspection of emergency power supply Practical Activity - Inspect Emergency power supply - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Specific maintenance sheet, notepad and pen - Safety helmet, gloves, goggles and shoes - Tool Box | Class Room and workshop |
| - Generate Report | Trainee must be able to - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants specifications of the plants | - Knowledge of personal and industrial safety standards - Describe the technical specification of plant - Report writing skills and techniques Practical Activity Generate report | Total 01 Hrs. Th. 01Hrs. Practical: 00 Hrs. | - Stationery instruments - Report sheet as per specifications | Class Room |

### Design a Solar Power Plant

Objective:This module covers the knowledge and  skills required to Ensure Personal safety, calculate load for solar PV system design, Plan for installation of solar panel, Install the solar panel, Install the solar panel, perform testing and Diagnose and remove the fault. Carry out electrical operations, including installation and commissioning of off-grid solar PV systems. In addition, they will be able to: Plan and prepare for installation; mount a photovoltaic array on a roof; install and commission solar photovoltaic array; carry out maintenance on off-grid solar PV system; and complete work.

Duration:  23	Hours			Theory: 8 Hours			Practice: 15 Hours			Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Ensure Personal safety | Trainee will be able to: - Arrange PPEs as per requirements - Wear proper PPE as per nature of job - Store PPEs at appropriate place after use - Ensure availability of first aid box | - Preparation of PPE list - Wear Personal Protective Equipment (PPE) - Storage of PPE - Use of firs aid box - Basic knowledge of AC/DC operations Practical Activity - Wear Personal Protective Equipment (PPE) - Operate first aid box - Store Personal Protective Equipment | Total 04 Hrs. Th. 01Hrs. Practical: 03 Hrs. | - Complete PPE set - Firs aid box - Note pad and pen | Class Room and workshop |
| - Calculate load for solar PV system design | Trainee will be able to: - Enlist the No. of appliances to be operated - Calculate the PV system load - Record the PV system load. | - Preparation list of load accessories - Load calculation - Preparation of record flow chart to sum up the total load Practical Activity - Calculate load for solar PV system design - Generation of report and record chart | Total 02 Hrs. Th. 02Hrs. Practical: 00 Hrs. | - Different log sheets like Power generation and analysis. - Safety helmet, gloves, | Class Room and workshop |
| - Plan for installation of solar panel | Trainee must be able to - Identify and obtain safety and other regulatory requirements for installation - Choose suitable location for the PV array and other components - Obtain tools, equipment and testing devices - Specify installation requirements for all system components to ensure correct operation, long life, safety and ease of Maintenance | - Safety requirements; Specifications; Hazard identification - Understanding suitable places to install the accessories of solar energy system - Tools for installation - Series and parallel circuit setup; Cable sizing; Forward and reverse diodes Practical Activity Plan for installation of solar panel | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - tool box - Arrange the PPE - Required instruments for testing - Calculator - Blank paper | Class Room and workshop |
| Install the solar panel - frame | Trainee must be able to - Interpret and confirm installation in terms of roof construction and suitable mounting methods - Choose appropriate array frame for the roof type and determine and set correct tilt angle adjustments - Ensure the frame is properly fitted, eliminating vibration in the frame - Place flashing and other waterproofing measures. | - Selection the type of frame - Install the frame structure for solar modules as per given drawing - Mounting methods of modules - Mounting of modules on frame - Checking of fitted structure Practical Activity - Install and fix the solar panel frame - Check the fitted structure | Total 04 Hrs. Th. 01Hrs. Practical: 03 Hrs. | - Steel frame - Tool box - Drawing of frame that how to install - Safety helmet, gloves, goggles and shoes - First Aid box | Class Room and workshop |
| - Install the solar panel | Trainee must be able to - Install system components in suitable location - Connect PV panels and electrical components and minimize cable route length to minimize power loss - Perform Earthling - Make connections of wires - Confirm installation | - Selection of suitable place for installation of components - Selection of cable roots - Making arrays - Fixing methods and waterproofing measure - Installation requirements - Earthling of system Practical Activity - Install the solar panel on frame along - Connect earthing system with installed structure | Total 04 Hrs. Th. 01Hrs. Practical: 03 Hrs. | - Safety helmet, gloves, goggles and shoes - Drawings required for installation - Tool box - Personal Protective Equipment (PPE) - First Aid box | Class Room and workshop |
| - Perform testing | Trainee must be able to - Test and adjust component and/or parts - Confirm operation of PV system - Check the voltage and current at receiver end. | - Basic knowledge of AC/DC operations - Performance of tests to check system - Operation of system and measuring the different output values with instruments Practical Activity Perform testing of components of solar energy system | Total 04 Hrs. Th. 01Hrs. Practical: 03 Hrs. | - Personal Protective Equipment (PPE) - Tool box - Safety helmet, gloves, goggles and shoes - Measuring instruments - First Aid box - Multi-meter - Amp meter - Insulation tester of solar voltaic | Class Room and workshop |

### Operate Solar Power Plant

Objective: This module covers the knowledge and  skills required to Carry out General Inspection of the power plant, Operate Solar plant equipment, respond to equipment emergencies and alarms, perform maintenance activities and Generate Report. Operate and monitor plant generating equipment and take appropriate actions to ensure safe, efficient and reliable operation of the Solar Power Plant.

Duration: 23	Hours			Theory: 8 Hours			Practice: 15 Hours			Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Carry out General Inspection of the power plant | Trainee will be able to: - Adopt health and safety measures, as per standards. - Identify PV Cells, Inverter Batteries, Circuits and other Auxiliary equipment. - Ensure the PV cells are clean and placed at a maximum absorption position. - Identify Control and Switching Panel. - Identify voltage meter, load indicator, battery gravity indicator, charging/discharging meter. - Monitor readings of indicator gauges and meters regularly - Perform calibration check for scale accuracy. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures | - Basic Knowledge of personal and industrial safety standards. - Types Solar Power Plant. - Block diagrams of Solar Power Plant. - Identification and working of parts of solar power plant - Cleaning methods of solar power system - Cleaning of components solar power system - pre start Inspections. - Purpose of safety alarms and Switches - Visual testing and observation of solar system - Report writing Practical Activity - Carry out General Inspection of the power plant - Identify the equipment/ machinery installed in a solar energy system - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Complete PPE set - Note pad and pen | Class Room and workshop |
| - Operate Solar plant equipment. | Trainee will be able to: - Follow safety measures, as per standards. - Perform switching as per requirement - Carry out shifting of the load according to the load management requirement at the time of peak load and base load. - Switch to alternative source during unfavorable weather conditions. - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. | - Basic Knowledge of personal and industrial safety standards. - Switching procedure of system - Load shifting method in case of normal and abnormal conditions - Understanding the indication of the system under normal and abnormal condition of the system - Unfavorable weather conditions - Report generation about switching operations and loads on generators, electrical lines and transformers. Practical Activity - Operate Solar plant equipment. - Perform Load shifting - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Different log sheets. - Complete PPE set - Note pad and pen - Complete installed system of solar energy - Different instruments as per requirement i.e multi meter, volt meter, insulation tester and ammeter | Class Room and workshop |
| - Respond to equipment | Trainee must be able to - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. | - Emergency alarms and switches - Method to turn of power. - Understanding about indication of fault - Response to alarm in emergency. - Observation and record the Reading from different instruments - working of safety instruments like fire extinguisher and emergency exit Practical Activity - Respond to equipment emergencies and alarms - Use safety equipments | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - tool box - Required instruments for testing - wear Personal Protective Equipment (PPE) - fire extinguisher | Class Room and workshop |
| - Perform maintenance activities. | Trainee must be able to - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault. - Check the charging and gravity level of the battery - Ensure there is no breakage in the circuit. - Ensure that the PV cells are clean. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. | - Safety measures, as per standards - Faults and the reason of fault accurse in system - Testing of system components malfunction in accordance with company policies - Describe the visual testing of system about any breakage - cleaning of cells - Method to clean the cells with water and dusting cloths - Basic tools used for repairing. - Maintenance areas. - Procedure of maintenance the equipment. - Procedure of testing the equipment. - Describe the testing of equipment after repairing. - Report Generation Practical Activity - Perform maintenance activity - Perform testing after maintenance. - Generation of report | Total 07 Hrs. Th. 01Hrs. Practical: 06 Hrs. | - Safety helmet, gloves, goggles and shoes - Batteries - Gravity tester - Dusting clothes - Tool Box - Note pad, papers and pen - Testing instruments | Class Room and workshop |
| - Generate Report | Trainee must be able to - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants | - Describe the technical specification of plant - Knowledge of personal and industrial safety standards - Report writing skills and techniques Practical Activity Generate report | Total 01 Hrs. Th. 01Hrs. Practical: 00 Hrs. | - Stationery instruments - Report sheet as per specifications | Class Room |

### Operate Wind Power Plant

Objective: This module covers the knowledge and  skills required to inspect plant equipment, operate plant equipment, respond to equipment emergencies and alarms, perform maintenance activities and Generate Report. Operate and monitor plant generating equipment and take appropriate actions to ensure safe, efficient and reliable operation of the Wind power plant.

Duration:  23	Hours			Theory: 8 Hours			Practice: 15 Hours			Credit Hours: 2.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Inspect plant equipment. | Trainee will be able to: - Adopt health and safety measures, as per standards. - Identify Generator, Turbine, Blades, Gearbox, transformer, transmission lines and other Auxiliary equipment. - Identify the type of Generator. - Monitor the speed of turbine at regular intervals. - Identify Control Panel and remote monitoring system. - Monitor readings of gauges and meters regularly - Perform calibration check for scale accuracy. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. | - Define Wind Power Plant. - Parts and their working of wind power plant - schematics diagrams and symbols used in a power plant. - Basic Knowledge of personal and industrial safety standards - Monitoring of the speed of turbine - Visual testing i.e appearance, operation, sound and vibration of plant equipments. - Report writing during any problem or malfunction of the system. Practical Activity - Preparation of schematic diagrams - Inspect plant equipment. - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Complete PPE set - Note pad and pen | Class Room and workshop |
| - Operate plant equipment. | Trainee will be able to: - Follow safety measures, as per standards. - Perform switching as per requirement - Carry out shifting of the load according to the load management requirement at the time of peak load and base load. - Switch to alternative source during unfavorable weather conditions. - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. | - Knowledge of personal and industrial safety standards - Switching procedure of load - load shifting method in case of normal and abnormal conditions and also peak and off-peak situations - Understanding the indication of the system under normal and abnormal condition of the system - Unfavorable weather conditions - High voltage switching and use of hot sticks substation components, and circuit breakers. - Report writing about switching operations and loads on generators, electrical lines and transformers. Practical Activity - Check the operation of plant equipment. - Perform load shifting - Generation of report | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Different log sheets. - Complete PPE set - Note pad and pen - Complete installed system of wind power - Notepad & pen | Class Room and workshop |
| - Respond to equipment emergencies and alarms. | Trainee must be able to - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit | - Purpose of safety alarms and Switches - Understanding the indication of the system under normal and abnormal condition of the system - Procedure followed in emergency to shut down power and save life - Corrective measures - Working of safety instruments like fire extinguisher and emergency exit Practical Activity - Respond to equipment emergencies and alarms - Use safety equipments | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - tool box - Required instruments for testing - wear Personal Protective Equipment (PPE) - fire extinguisher - Emergency Switch | Class Room and workshop |
| - Perform maintenance activities. | Trainee must be able to - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Inspect the wind turbine periodically. - Monitor through SCADA and trace the fault. - Check and remove Operational errors (such as yaw error, pitching errors, excessive vibrations etc.) - Check and remove human based error - Carry out Routine checkups - Carry out Periodic Maintenance - Perform higher voltage equipment maintenance. - Determine the nature of the fault. - Identify correct tool for repairing. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. | - Basic Knowledge of personal and industrial safety standards - Testing of system components malfunction in accordance with company policies - Basic tools used for repairing. - Maintenance areas - Routine checkups - Types of maintenance - Procedure of maintenance. - Visual testing of system about any breakage, remove human based error - Knowledge of high voltage switching and use of hot sticks substation components, - Use of proper tools. - Testing of equipment. - Preparation of a log sheet of maintenance Practical Activity - Perform maintenance activity - Test equipment after maintenance. - Generation of report | Total 07 Hrs. Th. 01Hrs. Practical: 07 Hrs. | - Safety helmet, gloves, goggles and shoes - Tool Box - Note pad, papers and pen - Testing instruments | Class Room and workshop |
| - Generate Report | Trainee must be able to - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants | - Describe the technical specification of plant - Knowledge of personal and industrial safety standards - Report writing skills and techniques Practical Activity Generate report | Total 01 Hrs. Th. 01Hrs. Practical: 00 Hrs. | - Stationery instruments - Report sheet as per specifications | Class Room |

### Utilize Electrical Energy in Building

Objective: This module covers the knowledge and  skills required to specify the requirements and characteristics of electrical heating systems specify the requirements and characteristics of lighting systems and specifies the requirements and characteristics of ventilation and air-conditioning systems. Gain knowledge and develop competence related to the specification of services required for the utilization of electrical energy in buildings. The unit provides candidates with the opportunity to understand the concepts of heating, lighting, ventilation and air-conditioning systems and to develop the skills necessary to solve and design problems on these systems.

Duration:  20	Hours			Theory: 8 Hours			Practice: 12  Hours			Credit Hours: 2.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Specify the requirements and characteristics of electrical heating systems. | Trainee will be able to: - Calculate specific heat capacity. - Calculate conduction heat loss through building - Calculate radiation heat loss through building - Choose the appliance with the ratings based on calculations | - Heat transfer - conduction, convection and radiation - Calculation specific heat capacity. - calculation of loss through conduction, convection and radiation - Selection of appliance as per rating Practical Activity - Prepare list of Specified requirements and characteristics of electrical heating systems - Calculate specific heat capacity - Calculate the losses of radiation heat loss through building, conduction heat loss through building. - Selection of appliances with the ratings based | Total 07 Hrs. Th. 03Hrs. Practical: 04 Hrs. | - Complete PPE set - Calculator - Note pad and pen | Class Room and workshop |
| - Specify the requirements and characteristics of lighting systems. | Trainee will be able to: - Calculate room index. - Calculate maintenance factor - Calculate Utilization Factor - Calculate space to height ratio - Select the quantity of illumination sources and their power accordingly. | - Room index, maintenance factor, Utilization Factor, space to height ratio and their calculations - Selection and calculation of illumination system - different wiring systems Practical Activity - Calculations about room index, maintenance factor, Utilization Factor, space to height ratio - Calculation and select the quantity of illumination sources and their power accordingly. | Total 07 Hrs. Th. 03Hrs. Practical: 04 Hrs. | - Calculator - Calculation Sheet - Notepad & Pen - Wiring | Class Room and workshop |
| - Specify the requirements and characteristics of ventilation and air-conditioning systems | Trainee must be able to - Determine thermal comfort level, using psychometric charts - Calculate heat loss through building - Identify the type of ventilation system (Natural or Mechanical) - Select ventilation and air-conditioning system according to given specifications | - Thermal Comfort level, Reading psychometric chart - Heat losses in buildings - Natural and mechanical ventilation systems - Differentiation between ventilation and air-conditioning - Define Humidifiers and de-humidifiers - Selection of ventilation and air-conditioning system according to given specifications Practical Activity - Specify the requirements and characteristics of ventilation and air-conditioning systems - Write the types ventilation and air-conditioning system and explain. - Selection of ventilation and air-conditioning system | Total 06 Hrs. Th. 02Hrs. Practical: 04 Hrs. | - Psychometric chart - Calculator - Calculation Sheet - Owner manual of the appliance | Class Room and workshop |

### Calculate Tariffs and Economics

Objective: This module covers the knowledge and  skills required to Calculate Tariff for Hyde Power Plant, Calculate Tariff for Solar Power Plant, Calculate Tariff for Thermal Power Plant and Comparative Analysis. After this module, the trainee will be able to gain knowledge required to calculate tariffs of various power plants, their economy and merits/demerits.

Duration: 20	Hours				Theory: 8 Hours			Practice: 12 Hours		Credit Hours: 2.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Calculate Tariff for Hydro Power Plant | Trainee will be able to: - Determine factors influencing cost (Types of Load, Maximum demand, the power factor of the load as per Go tariff regulation). - Check the latest Tariff (per unit cost), imposed by regulatory authority - Calculate per unit cost of hydro power plant. | - Factors influencing cost (Types of Load, Maximum demand, the power factor of the load as per Go tariff regulation) - Calculation about per unit cost of hydro power plant. Practical Activity Calculate Tariff for Hydro Power Plant | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Notepad & Pen - Calculator - White sheets - Reference books | Class Room |
| - Calculate Tariff for Solar Power Plant | Trainee will be able to: - Determine the efficiency of PV cell - Calculate the per unit cost of Generation (neglecting losses) | - Factors effecting efficiency of PV Cell - Formula for finding per unit cost - Calculate per unit cost - Calculation of Tariff for Solar Power Plant Practical Activity Calculate Tariff for Solar Power Plant | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Notepad & Pen - Calculator - White sheets - Reference books | Class Room |
| - Calculate Tariff for Thermal Power Plant | Trainee must be able to - Calculate the running cost of the plant - Calculate the operational cost of the plant - Calculate the per unit cost of Generation | - Calculation about running cost of the plant - Calculation about operational cost of the plant - Per unit cost - Calculation of per unit cost Practical Activity Calculate Tariff for Thermal Power Plant | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Notepad & Pen - Calculator - White sheets - Reference books | Class Room |
| LU4. Comparative Analysis | Trainee must be able to - Compare the efficiency of Hydel, Solar and Thermal Power Plant - Compare the minimum and maximum generation capacity of Hydro, Solar and Thermal Power Plant - Compare the per unit generation cost of Hydel, Solar and Thermal Power Plant - Analyze sustainable and environment-friendly power generation system. | - comparative analysis of efficiency of Hydel, Solar and Thermal Power Plant - Minimum and maximum generation capacity of Hydro, Solar and Thermal Power Plant - Per unit generation cost of Hydel, Thermal and solar power plant. - sustainable and environment-friendly power generation system. Practical Activity Prepared a sheet of Comparative Analysis of power plants. | Total 05 Hrs. Th. 02Hrs. Practical: 03 Hrs. | - Notepad & Pen - Calculator - White sheets - Reference books | Class Room and workshop |

## Sr. Lineman

### Carryout Transmission of Electrical Power

Objective: This module covers the knowledge and  skills required to select the conductor for transmission line, sort different effects on Transmission lines during conduction, select the right insulator from different types according to the requirement, make foundation and erect poles and towers, perform stringing work and sag of transmission lines, install lightning arrester in a transmission system as per requirement.

Duration: 17 Hours			Theory: 8 Hours				Practice: 9 Hours			Credit Hours: 1.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Select the Conductor for Transmission line. | Trainee will be able to: - Select the appropriate voltage level for transmission. - Select the conductor in accordance with current (A) value. | - Current carrying capacity of different conductors used in transmission line. - Selection of conductor for transmission line. Practical Activity Select the Conductor for Transmission line. | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Conductors. | Class Room and workshop |
| - Sort different effects on transmission lines during conduction. | Trainee will be able to: - Verify Ferranti effect, Skin effect and corona effect. - Apply method to correct losses. | - Definition of Ferranti effect. - Definition of Skin effect. - Definition of corona effect. - Methods to improve transmission line losses. Practical Activity Sort different effects on transmission lines during conduction. | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | Transmission system | Class Room and workshop |
| - Select the right insulator from different types according to the requirement. | Trainee must be able to: - Select appropriate insulator according to utility. - Separate healthy, punctured and broken disk. - Calculate number of disks according to voltage level of transmission lines. | - Types of insulators used in transmission line. - Physical inspection of insulators. - Calculation of number of disks according to voltage level of transmission lines. Practical Activity Select the right insulator from different types according to the requirement. | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | Insulators. | Class Room and workshop |
| - Make Foundation and Erect poles and towers. | Trainee must be able to - Select the foundation type according to the nature of soil. - Select the foundation type according to ground clearance and circuit requirement. - Supervise foundation and erection of tower. | - Type of foundation for tower. - Selection of foundation. - Foundation and erection of tower Practical Activity Make Foundation and Erect poles and towers | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | Chain block Safety material Theodolite Torque Dipole Poles Crane | Class Room and workshop |
| - Perform stringing work and sag of Transmission lines | Trainee must be able to - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL. - Ensure to remove effects of wind and ice on Transmission Line. - Adjust sag according to present temperature. | - Calculation of Sag - Effect of weather condition on sag Practical Activity Perform stringing work and sag of Transmission lines | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | Transmission system. | Class Room and workshop |
| - Install lightning arrester in a transmission system as per requirement | Trainee must be able to - Select appropriate Lightening Arrestors for Substation/Grid station with respect to the current. - Install the lightning arrestor. - Carryout connections for grounding. | - Definition of Lightning arrester. - Selection of lightning arrester. - Installation of lightning arrestor. Practical Activity Install lightning arrester in a transmission system as per requirement | Total 03 Hrs. Th. 01Hrs. Practical: 02 Hrs. | Transmission system. Lightning Arrester. | Class Room and workshop |

### Carryout Distribution of Electrical Power

Objective: This module covers the knowledge and  skills required to select he conductor for distribution of power, Improve the Power factor, Separate the correct insulator from different types according to the requirement, Make Foundation and Erect poles and structures, Supervise construction of Trenches Cable try and select appropriate cable, Perform stringing work and sag of distribution lines, Measure performance of distribution lines and take steps to improve Primary and secondary distribution, Install the equipment for  grounding  of Substation/Transmission lines, Select and justify the use of reactor in a system, Install Lightning Arrester in a Distribution system as per requirement, Install Lightning Arrester in a Distribution system as per requirement.

Duration: 17 Hours			Theory: 8 Hours				Practice: 9 Hours			Credit Hours: 1.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Select the Conductor for Distribution of power. | Trainee will be able to: - Select the appropriate voltage level for Distribution. - Select the conductor in accordance with current (A) value. | - Current carrying capacity of different conductors used in distribution line. - Selection of conductor for distribution line. Practical Activity Select the Conductor for Distribution of power. | Total 01 Hrs. Th. 0.5Hrs. Practical: 0.5 Hrs. | Conductors. | Class Room and workshop |
| - Improve the Power factor | Trainee will be able to: - Check the power factor. - Measure the difference between apparent power and real power. - Apply the appropriate method to improve power factor. | - Definition of apparent power and real power. - Definition of power Factor - Methods of power factor improvement. Practical Activity Improve the Power factor | Total 01 Hrs. Th. 0.5Hrs. Practical: 0.5 Hrs. | Distribution system. Power factor improvement panel. | Class Room and workshop |
| - Select the correct insulator from different types according to the requirement | Trainee will be able to: - Select appropriate insulator according to utility. - Separate healthy, broken and punctured disk. - Calculate number of disks according to voltage level of distribution lines | - Types of insulators used in distribution line. - Physical inspection of insulators. - Calculation of number of disks according to voltage level of distribution lines. Practical Activity Select the correct insulator from different types according to the requirement | Total 1.5 Hrs. Th. 0.5Hrs. Practical: 01 Hrs. | Insulators. | Class Room and workshop |
| - Make Foundation and Erect poles and structures | Trainee will be able to: - Select foundation type according to the nature of soil. - Select the type according to ground clearance and circuit requirement. - Supervise foundation and erection of poles. | - Type of foundation for poles. - Selection of foundation. - Foundation and erection of poles Practical Activity Make Foundation and Erect poles and structures | Total 1.5 Hrs. Th. 0.5Hrs. Practical: 01 Hrs. | Chain block Safety material Theodolite Torque Dipole Poles Crane | Class Room and workshop |
| - Supervise construction of Trenches ,Cable try and select appropriate cable | Trainee will be able to: - Choose the right cable among belted, screamed and pressure cable - Select and supervise appropriate trench among direct laying and draw solid system - Select appropriate Cable tray | - Type of cable used in distribution system. - Definition of Cable tray and trenches. - Trenches standards Practical Activity Supervise construction of Trenches ,Cable try and select appropriate cable | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Underground distribution system.. | Class Room and workshop |
| - Perform stringing work and sag of distribution lines | Trainee will be able to: - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL - Calculate effect of wind and ice on Distribution Line - Adjust sag according to current temperature | - Calculation of Sag - Effect of weather condition on sag Practical Activity Perform stringing work and sag of distribution lines | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Distribution system. | Class Room and workshop |
| - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. | Trainee will be able to: - Calculate the power losses. - Calculate voltage drops on a reaction of line. - Identify different methods to regulate the voltage and minimize the losses. | - Definition of voltage drop, voltage regulation and power loses in a distribution system - Calculation of voltage drop and power losses in distribution line. - Different methods to regulate the voltage and minimize the losses. Practical Activity Measure performance of distribution lines and take steps to improve Primary and secondary distribution. | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Distribution system. | Class Room and workshop |
| - Install the equipment for grounding of Substation/Transmission lines | Trainee will be able to: - Carryout different types of grounding (Resistance, Reactance, solid) - Supervise the grounding in accordance with WAPDA Standards - Select appropriate copper conductor depending on the capacity of grid - Carry out the jointing of copper conductor - Test the resistance of ground using megger meter. | - Types of grounding. - Selection of conductor for grounding. - Jointing of copper conductor - Testing of ground resistance with megger meter. Practical Activity Install the equipment for grounding of Substation/Transmission lines | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Earthling equipment | Class Room and workshop |
| - Select and justify the use of reactor in a system | Trainee will be able to: - Select the appropriate reactor among the generator reactor, feeder reactor, bas bar reactor depending on the short circuit current in a system - Carryout the appropriate location for installation of reactor | - Types and working principal of reactors. - Selection of reactors for appropriate location. Practical Activity Select and justify the use of reactor in a system | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Reactors | Class Room and workshop |
| - Install Lightning Arrester in a Distribution system as per requirement | Trainee will be able to: - Select appropriate LA for Substation/Grid station with respect to the current - Carryout connection of lighting arrester. | - Types of lightning arrester. - Connection of lightning arrester. Practical Activity Install Lightning Arrester in a Distribution system as per requirement | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Lightning arrester | Class Room and workshop |

### Carryout Protection of Distribution and Transmission System

Objective: This module covers the knowledge and  skills required to Categorize and rectify the symmetrical and asymmetrical faults, Install Circuit breaker in a distribution system (Substation/Grid station), Install an isolator at grid station/substation, install appropriate relays for the protection of power system, Carry out Bus Bar protection, Carry out time graded protection of feeder, Install a fuse in a circuit (Transformer and Distribution panels), Supervise Protection of power transformer, Carryout protection arrangement for alternator.

Duration:  17 Hours			Theory: 8 Hours				Practice: 9 Hours			Credit Hours: 1.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Categorize and rectify the symmetrical and asymmetrical faults | Trainee will be able to: - Identify different type of faults on power system and categorize them in symmetrical and asymmetrical. - Carryout remedial measure to rectify the faults - Plan to avoid faults in future | - Identification of faults in power system. - Remedial measure to rectify the faults - Future planning to avoid the fault in power system.. Practical Activity Categorize and rectify the symmetrical and asymmetrical faults | Total 1.5 Hrs. Th. 0.5Hrs. Practical: 01 Hrs. | Power system | Class Room and workshop |
| - Install Circuit breaker in a distribution system (Substation/Grid station) | Trainee will be able to: - Select appropriate C.B for a substation or grid station among oil, gas, air, vacuum circuit breaker. - Purpose required of C.B for a grid station/ substation. - Carryout connection of breaker. | - Types of circuit breaker used in distribution system. - Installation of circuit breakers in distribution system. Practical Activity Install Circuit breaker in a distribution system (Substation/Grid station) | Total 1.5 Hrs. Th. 0.5Hrs. Practical: 01 Hrs. | Circuit breakers. Distribution system. | Class Room and workshop |
| - Install an isolator at grid station/sub station. | Trainee will be able to: - Select an appropriate type of isolator - Supervise connections according to the arrangement of an isolator - Trace the appropriate position of an isolator from single line diagram | - Selection of appropriate isolator in power system. - Connection of isolator at grid station. Practical Activity Install an isolator at grid station/sub station | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Insulators. | Class Room and workshop |
| - Install appropriate relays for the protection of power system. | Trainee will be able to: - Make selection of requisite proportion among different relays available - Make connection of respective relays (Current relay, distance relay, impedance relay etc.) | - Types of relays. - Working principal of different type of relays. - connection of respective relays Practical Activity Install appropriate relays for the protection of power system. | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Chain block Safety material Theodolite Torque Dipole Poles Crane | Class Room and workshop |
| - Carry out Bus Bar protection | - Supervise arrangement for frame leakage protection. - Supervise arrangement for circuiting current protection | - Arrangement for frame leakage protection. - Arrangement for circuiting current protection Practical Activity Carry out Bus Bar protection | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Underground distribution system.. | Class Room and workshop |
| - Carry out time graded protection of feeder | Trainee will be able to: - Make settings for time graded protections. - Make a system to isolate smaller part on a feeder when fault arise - Ensure to minimize the losses arising due to the fault by biasing appropriate section of timing and isolation type. | - Concept of time graded protection. - Isolation of smaller part on a feeder when fault arise - losses reduction due to the fault by biasing appropriate section of timing and isolation type. Practical Activity Carry out time graded protection of feeder | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Distribution system. | Class Room and workshop |
| - Install a fuse in a circuit (Transformer and Distribution panels) | Trainee will be able to: - Calculate the current carrying capacity of fuse. - Select the fuse. - Install fuse according to rating for 25KVA, 50KVA, 100KVA… Transformer - Carryout fuse arrangement for housing building after load. | - Type of fuses used in power system. - Selection of fuse - calculation of the current carrying capacity of fuse Practical Activity Install a fuse in a circuit (Transformer and Distribution panels) | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Fuses. Distribution system. | Class Room and workshop |
| - Supervise Protection of power transformer | Trainee will be able to: - Carry out protection of power transformer. | - Need of transformer protection. - Method of transformer protection. Practical Activity Supervise Protection of power transformer | Total 02 Hrs. Th. 01Hrs. Practical: 01 Hrs. | Power transformer. Protection Equipment. | Class Room and workshop |
| - Carryout protection arrangement for alternator | Trainee will be able to: - Carry out protection against stator faults in alternator. - Select appropriate rating of protection equipment and their proper settings for the protection of alternator. | - Need of alternator protection. - Method of alternator protection. Practical Activity Carryout protection arrangement for alternator | Total 02 Hrs. Th. 01Hrs. Practical 01 Hrs. | Alternator. Protection equipment. | Class Room and workshop |

## Green Skill

### Utilize Natural Energy in Building

Objective: This module covers the knowledge and  skills required to Design Natural lightning system, Design Natural Cooling and ventilation system and Design Natural heating system after this module, the trainee will be able to develop knowledge and competence to utilize natural energy in efficient way for lighting, heating and cooling system. The unit provides candidates with the opportunity to create an eco-friendly building that not only benefits the consumer but helps in balancing the load on the national grid during power crises

Duration:  20	Hours			Theory: 8 Hours			Practice: 12 Hours			Credit Hours: 2.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Design Natural lightning system. | Trainee will be able to: - Determine the direction of Sunrise and Sunset. - Choose the color scheme of the interior - Select the quality of glass for windows - Design a Sun tunnel (skylight) - Calculate the size of skylight for ceilings. - Select the reflectors wisely. | - Define Geo-Thermal Energy - Sunrise and Sunset. - Interior color scheme - Phenomenon of Skylight - Designing of Sun Tunnel (skylight) - Calculation about size of skylight for ceilings. - Reflectors and their types - Selection of reflectors. - Heat conduction and radiation properties of different colors. - Knowledge of using earth compass - Reflective window coatings Practical Activity Design Natural lightning system | Total 07 Hrs. Th. 03Hrs. Practical: 04 Hrs. | - Compass - Color templates - Calculator - Notepad & Pen - White pages - Different glass reflectors | Class Room and workshop |
| - Design Natural Cooling and ventilation system | Trainee will be able to: - Determine the direction of Air - Select the type of paint used for external walls and roof. - Identify the type of coating used for tilting glass of window. - Select the type of shades required to block heat - Locate the position for natural vent based on the phenomenon of conduction and convection - Identify the location for construction of water tanks - Determine the excessive heat producing sources - Select energy efficient devices for heating, lighting, cooling and home appliances. - Choose the Sun vent according to requirement of the premises. - Choose the cooling system from variety of Solar Powered Inverter AC/heating system. | - Direction of Air and check the direction. - Different types of paints - Properties of paints with respect to its heat conduction - selection of cooling system from variety of Solar Powered Inverter and heating system - Types of shades (indoor and outdoor) - Select the type of shades required to block heat - Use of Reflective glass window - Type of coating used for tilting glass of window. - Excessive heat producing sources - Selection of energy efficient devices for heating, lighting, cooling and home appliances Practical Activity Design Natural Cooling and ventilation system | Total 07 Hrs. Th. 03Hrs. Practical: 04 Hrs. | - Different types of paints - Reflected glass - Anemometer with wind vane - Solar Power Inverter AC - Solar power Heating system - Different LED lights - Different incandescent lamps | Class Room and workshop |
| - Design Natural heating system | Trainee must be able to - Select the type of solar cell(heating) - Choose the angle of placing solar cell. - Identify the location for installation of solar tank. - Design a solar heating system. - Identify the location for Boiler. - Make suitable connections based on drawings. - Identify the place for blocking air inside room(airtight) | - Natural heat sources. - type of solar cell (heating) - Selecting the type of solar cell (heating) - Drawing of the solar heating system. - Terms Solar Energy, Geothermal energy, biomass, fossil fuels. - ‘Greenhouse’ effect. - Designing of a solar heating system - Connecting a solar heating system as per drawing Practical Activity Design Natural heating system | Total 06 Hrs. Th. 02Hrs. Practical: 04 Hrs. | - Greenhouse - Solar tank - Solar heating system with boiler | Class Room and workshop |

# List of Personal Protective Equipment

(FOR A CLASS OF 25 STUDENTS)

| Name of Trade |  | Electrical Technology Diploma Level 5 |  |
| --- | --- | --- | --- |
| Duration of Course |  | 36 Months |  |
| Sr. # |  | Description |  | Quantity |
| 1. |  | Safety gloves, |  | 30 |
| 2. |  | Appropriate safety glasses, |  | 30 |
| 3. |  | Breathing apparatus, |  | 30 |
| 4. |  | Fire extinguishers, |  | 30 |
| 5. |  | Fire blankets, |  | 30 |
| 6. |  | Respirators, masks, |  | 30 |
| 7. |  | Fire hoses, |  | 04 |
| 8. |  | First aid kits, stretchers and other related tools and gear |  | 10 |

# Complete List of Tools, Equipment, Machines and Consumables

Tools

| S# | Description | Quantity |
| --- | --- | --- |
|  | Wire Stripper. | 25 |
|  | Plier. | 25 |
|  | Long Nose Plier. | 25 |
|  | Insulation Remover. | 25 |
|  | Combination Plier. | 25 |
|  | Cutter Plier | 25 |
|  | Insulation Remover | 25 |
|  | Electrician Tool Kit. | 25 |
|  | Bearing Puller | 25 |
|  | Bench Vice. | 25 |
|  | Spanner. | 25 |
|  | Philips Screw Drivers Set | 25 |
|  | Winding Tools | 25 |
|  | Safety Tools. | 25 |
|  | Set Of Screw Drivers | 25 |
|  | Set Of Nose Pliers | 25 |
|  | Combination Plier Set | 25 |
|  | Cutter Plier | 25 |
|  | Lathe Cutting Tool | 25 |
|  | Steel Foot Rule | 25 |
|  | Center Drill Bit | 25 |
|  | Hand Sheet Cutter | 25 |
|  | Tool Post Key | 25 |
|  | Drill Chuck | 25 |
|  | Flat File | 25 |
|  | Drills Of Required Dia | 25 |
|  | Right Hand Side Facing Tool | 25 |
|  | Right Hand Turing Tool | 25 |
|  | Knurling Tool | 25 |
|  | Parting Tool | 25 |
|  | Boring Bar | 25 |
|  | Steel Rule | 25 |
|  | Drill Chuck | 25 |
|  | Flat File | 25 |
|  | Drills Bits Of Required Dia | 25 |
|  | Reamer Dia 12 Mm | 25 |
|  | Wood Saws | 25 |
|  | Wood Jackplane | 25 |
|  | Wood Marking Tools | 25 |
|  | Die Set | 25 |
|  | Pipe Vice | 25 |
|  | Pipe Cutter | 25 |
|  | Electrode Holder | 25 |
|  | Tap & Die Set | 25 |
|  | Thread Gauge | 25 |
|  | Tri-Square | 25 |
|  | Grinding Gauge | 25 |
|  | Work Bench | 25 |
|  | Bench Vice | 25 |
|  | Hammer | 25 |
|  | Tri-Square | 25 |
|  | Hand Hacksaw | 25 |
|  | Scriber | 25 |
|  | Flat File | 25 |
|  | Tool Bit | 25 |
|  | Wheel Dresser | 25 |
|  | Dead Center | 25 |
|  | Surface Gauge | 25 |
|  | Angle Gauge | 25 |
|  | Threads Gauge | 25 |
|  | Number/Alphabet Punch | 25 |
|  | MS Flats | 25 |
|  | Chipping Hammer | 25 |
|  | Wire Brush | 25 |
|  | Face Shield | 25 |
|  | Electrode Holder | 25 |
|  | Electrical Measuring Tools | 25 |
|  | Wire Stripper | 25 |
|  | Wire Gauge | 25 |
|  | Drawing Tools | 25 |
|  | Drawing Board | 25 |
|  | Electrical Wiring Accessories | 25 |
|  | Tool Cleaning Kit | 25 |
|  | Tri-Square | 25 |
|  | Set Square | 25 |
|  | Temples | 25 |
|  | Geometry | 25 |
|  | Chain Block | 25 |
|  | Crimping Tool | 25 |
|  | Knife Installation Kit | 25 |
|  | Knife. | 25 |
|  | Pre Electroplating Tools. | 25 |
|  | Cleaning Solvents | 25 |
|  | Re-Electroplating Tools. | 25 |
|  | Tweezers | 25 |
|  | Test Bench | 25 |
|  | Test Probes | 25 |
|  | Wrenches | 25 |
|  | Box End Wrench Insulated. | 25 |
|  | Socket Wrench, Insulated. | 25 |
|  | Torque Wrench Calibrated In Inch-Pounds, Insulated. | 25 |
|  | Rubber Hammer. | 25 |
|  | Phase Tester. | 25 |
|  | Neon Tester | 25 |
|  | Allen Key Set | 25 |

Equipment

| S# | Description | Quantity |
| --- | --- | --- |
|  | Soldering Iron | 25 |
|  | PCB Kits | 25 |
|  | Analog Multimeter | 25 |
|  | Digital Multimeter | 25 |
|  | Wattmeter | 25 |
|  | Voltmeter | 25 |
|  | Ammeter | 25 |
|  | Megger | 10 |
|  | AVO Meter. | 25 |
|  | Multimeter | 25 |
|  | Galvanized Wire. | 200 Mtr. |
|  | RPM Meter. | 10 |
|  | Phase Sequence Meter | 25 |
|  | Clamp Meter | 25 |
|  | Continuity Tester | 25 |
|  | AC/DC Supply Source | 10 |
|  | Protection Equipment. | 25 |
|  | Variable Power Supply | 10 |
|  | Power Factor Meter | 15 |
|  | Transformer. | 25 |
|  | Timer/Time Relay. | 50 |
|  | Compressor. | 25 |
|  | D.C. Power Supply Unit. | 10 |
|  | Multimeter. (With Option Of Capacitance Measurement). | 25 |
|  | Rheostat. | 25 |
|  | Horse Shoe Magnet. | 25 |
|  | D.C Analog Or Preferably Digital Voltmeter Range 0-50V. | 25 |
|  | Variable D.C Powers Supply 0-30 Voltas. | 15 |
|  | Galvanometer | 25 |
|  | Three Phase Load (3 Phase Motor) | 25 |
|  | Coil | 25 |
|  | Breadboard. | 25 |
|  | Compass Needle | 25 |
|  | Bar Magnet | 25 |
|  | Magnet. | 25 |
|  | Outside Caliper. | 25 |
|  | FM & AM Trainer | 10 |
|  | FM & AM Demodulation Trainers | 10 |
|  | RLC Meter | 25 |
|  | Theodolite | 25 |
|  | Power Factor Meter | 25 |
|  | Insulators For Transmission | 100 Mtr. |
|  | Poles | 15 |
|  | Lightning Arrestor | 10 |
|  | Earthing Loop | 10 |
|  | Impedance Meter | 25 |
|  | Flashlight | 10 |
|  | Electrical & Electronics Trainer For Experiments | 10 |
|  | Center Drill | 10 |
|  | Vernier Caliper | 25 |
|  | Power Cables | 25 |
|  | Multimedia | 2 |
|  | MS Office | 2 |
|  | Plotter | 1 |
|  | Drafting Table | 25 |
|  | Magnetic Compass | 25 |
|  | Armature Core | 25 |
|  | Armature Coils | 25 |
|  | Cammutator | 25 |
|  | Armature | 25 |
|  | Carbon Brush | 25 |
|  | Carbon Brush Holder | 25 |
|  | Rocker | 10 |
|  | Variable Load | 15 |
|  | Dynamometer | 10 |
|  | Tachometer | 15 |
|  | Variable DC Supply | 10 |
|  | 3 Point Starter | 15 |
|  | Brake Test Equipment | 10 |
|  | 4 Point DC Starter | 10 |
|  | Phase Angle Meter. | 15 |
|  | Thermometer | 25 |
|  | Frequency Meter | 20 |
|  | OHM Meter | 20 |
|  | Connecting Wires | 25 |
|  | Cam Switch. | 75 |
|  | Magnetic Contactors | 100 |
|  | Star/Delta Starter | 25 |
|  | Micro Meter Screw Gauge | 25 |
|  | Oil Sensor For Generator | 15 |
|  | Temperature Sensor For Generator | 15 |
|  | Fuel Sensor For Generator | 15 |
|  | Display Panel Of Generator | 10 |
|  | Earth Tester | 10 |
|  | Filler Gauge | 15 |
|  | Battery | 5 |
|  | Drawing Board/Table | 25 |
|  | Keyboard | 25 |
|  | Mouse | 25 |
|  | Dvds, Cds Etc. | 10 |
|  | Relevant Software Disks | 10 |
|  | 3 Phase Starter | 15 |
|  | Electro Dynamometer Apparatus | 20 |
|  | Stroboscope | 25 |
|  | 3 Phase DOL Starter | 25 |
|  | 3 Phase Auto Transformer Starter | 25 |
|  | 3 Phase Rheostat | 25 |
|  | 3 Phase Supply Synchronizing Panel | 25 |
|  | DC Motor Starter | 25 |
|  | Variable Field Resistance | 25 |
|  | Potentiometer 500 O | 15 |
|  | Power Electronics Trainer Kit | 10 |
|  | Electronic Hygrometer | 10 |
|  | Anemometer | 10 |
|  | Electronic Pressure Gauge | 10 |
|  | Simulating Software(Emulator) | 15 |
|  | Sensors/Transducers | 25 |
|  | Analog Telephone Set | 10 |
|  | Digital Telephone Set | 10 |
|  | Amplitude Modulation / Demodulation Trainer | 05 |
|  | Frequency Modulation Trainer | 05 |
|  | FM Demodulation Trainers | 05 |

Machines

| S# | Description | Quantity |
| --- | --- | --- |
|  | Soldering Iron | 25 |
|  | Washing Machine | 10 |
|  | Dryer. | 10 |
|  | Juicer. | 10 |
|  | Grinder. | 10 |
|  | Sandwich Maker. | 10 |
|  | Toaster | 10 |
|  | Refrigerator. | 5 |
|  | Air Conditioner. | 5 |
|  | Exhaust Fan | 10 |
|  | Fan | 15 |
|  | AC/DC Supply Source | 5 |
|  | D.C. Power Supply Unit. | 5 |
|  | Variable Power Supply | 5 |
|  | Transformer. | 15 |
|  | Single Phase Transformers. | 2 |
|  | Three Phase Transformer. | 2 |
|  | Auto- Transformer | 2 |
|  | Center Tapped Transformer | 5 |
|  | Cathode-Ray Oscilloscope. | 3 |
|  | Oscillator/Signal Generator. | 10 |
|  | Function Generator. | 15 |
|  | Drill Machine With Different Drill Bits. | 5 |
|  | Pedestal Grinder | 2 |
|  | Spot Welding Machine (0.5 Mm MS Sheets) | 2 |
|  | Seam Welding Machine (0.5 Mm MS Sheet) | 2 |
|  | Welding Transformer Or Welding Rectifier | 2 |
|  | TIG/MIG Welding Plant | 2 |
|  | Flash Back Arrester | 2 |
|  | Spark Lighter | 2 |
|  | Back Fire Arrester, | 2 |
|  | Center Drill Machine | 5 |
|  | Grinding Machine | 5 |
|  | Shearing Machine | 5 |
|  | Lathe Machine | 5 |
|  | Universal Milling Machine | 5 |
|  | CNC Lathe Machine | 2 |
|  | CNC Milling Machine | 2 |
|  | Surface Grinder Machine | 5 |
|  | Computer | 25 |
|  | Printer. | 2 |
|  | Photo Copier | 1 |
|  | Scanner | 2 |
|  | Plotter | 1 |
|  | 3 Phase Motor | 2 |
|  | Universal Motor | 2 |
|  | DC Motors | 2 |
|  | 3 Phase Motor 2 Speed | 2 |
|  | Single Phase Induction Motor | 2 |
|  | Stepper Motor | 2 |
|  | 2 DC Machine Mechanically Coupled | 2 |
|  | Rewinding Machine | 2 |
|  | Single Phase Shaded Pole Motor | 2 |
|  | 3 Phase Special Purpose Motor | 2 |
|  | 3 Phase Wound Rotor Motors With Coupled Shafts | 2 |
|  | 3 Phase Synchronous Motor Coupled With DC Shunt Motor | 2 |
|  | Diesel Generator | 2 |
|  | Petrol Generator | 2 |
|  | Alternator | 2 |
|  | Simple Loop Generator | 10 |
|  | Variable DC Supply | 10 |
|  | Synchrony Transmitter & Receiver | 2 |
|  | Analog Telephone Set | 5 |
|  | Digital Telephone Set | 5 |
|  | Cordless Telephone | 5 |
|  | Signal Generator | 5 |
|  | Dish Receiver | 2 |
|  | Dish Antenna | 2 |
|  | TV Receiver | 2 |
|  | PBX | 2 |
|  | Crane | 1 |
|  | Flashlight | 5 |

Consumable

| S# | Description | Quantity |
| --- | --- | --- |
|  | Cables. | As required according to Practical |
|  | Wires. | As required according to Practical |
|  | Solder Wire. | As required according to Practical |
|  | Soldering Paste | As required according to Practical |
|  | PCB | As required according to Practical |
|  | Socket Of All Types | As required according to Practical |
|  | Switches Of All Types | As required according to Practical |
|  | Distribution Board (DB) | As required according to Practical |
|  | Miniature Circuit Breaker (MCB) | As required according to Practical |
|  | Molded Case Circuit Breaker (MCCB) | As required according to Practical |
|  | Residual Current Device (RCD) | As required according to Practical |
|  | Earth Leakage Circuit Breaker (ELCB) | As required according to Practical |
|  | Earth Plate. | As required according to Practical |
|  | PVC Pipe/Duct. | As required according to Practical |
|  | PVC Clamp. | As required according to Practical |
|  | Wooden/PVC Board. | As required according to Practical |
|  | PVC Wire According To Load | As required according to Practical |
|  | Screw | As required according to Practical |
|  | Single Pole And Two Pole Switch. | As required according to Practical |
|  | Bulb Holder | As required according to Practical |
|  | Bulb | As required according to Practical |
|  | Test Indicator | As required according to Practical |
|  | Capacitor. | As required according to Practical |
|  | Bearing | As required according to Practical |
|  | Duct Rod. | As required according to Practical |
|  | Gloves. | As required according to Practical |
|  | Wire. | As required according to Practical |
|  | Gas | As required according to Practical |
|  | Circuit Boards | As required according to Practical |
|  | Tube Light. | As required according to Practical |
|  | Tube Patti. | As required according to Practical |
|  | Chock. | As required according to Practical |
|  | Starter. | As required according to Practical |
|  | Sleeves | As required according to Practical |
|  | Series Board | As required according to Practical |
|  | Impulse Switch | As required according to Practical |
|  | Power Plug. | As required according to Practical |
|  | Three Pin Socket. | As required according to Practical |
|  | Three Pin Switch | As required according to Practical |
|  | Bell | As required according to Practical |
|  | Bell Button | As required according to Practical |
|  | Iron Nail As Core. | As required according to Practical |
|  | Thin Coated Copper Wire. | As required according to Practical |
|  | Current Carrying Conductor. | As required according to Practical |
|  | Capacitors Of Different Ratings | As required according to Practical |
|  | Bridging Plugs. | As required according to Practical |
|  | Connecting Leads. | As required according to Practical |
|  | Dry Cell Battery. | As required according to Practical |
|  | Capacitor (Sanyo Operated Volts 6.3 V, SE 30) | As required according to Practical |
|  | Resistor Of Different Ratings. | As required according to Practical |
|  | L.E.D (3 To 9 V) Optional. | As required according to Practical |
|  | Incandescent Lamp Of Different Watts. | As required according to Practical |
|  | Small Pieces Of Copper Wire. | As required according to Practical |
|  | Cotton Cloth | As required according to Practical |
|  | Lubricants | As required according to Practical |
|  | Brush | As required according to Practical |
|  | M.S Round Bar | As required according to Practical |
|  | Oxygen Cylinder, | As required according to Practical |
|  | Acetylene Gas Cylinder, | As required according to Practical |
|  | Rubber House Pipe, | As required according to Practical |
|  | Extension Leads | As required according to Practical |
|  | Electrode | As required according to Practical |
|  | Drawing Sheet, | As required according to Practical |
|  | Insulation Tape | As required according to Practical |
|  | Cables | As required according to Practical |
|  | Spark Plugs. | As required according to Practical |
|  | HT Leads | As required according to Practical |
|  | Graph And Drawing Sheet | As required according to Practical |
|  | Clutch Pencil | As required according to Practical |
|  | Calculation Sheet | As required according to Practical |
|  | Calculator | As required according to Practical |
|  | Psychometric Charts And Tables | As required according to Practical |
|  | Rust Removing Agents | As required according to Practical |
|  | Thermometer | As required according to Practical |
|  | MATLAB Software | As required according to Practical |
|  | P-Spice Software | As required according to Practical |
|  | PLC Software | As required according to Practical |
|  | Safety Signs | As required according to Practical |
|  | Hand Gloves. | As required according to Practical |
|  | Alkalis | As required according to Practical |
|  | Antidotes | As required according to Practical |
|  | Acids | As required according to Practical |
|  | Electroplate Solution. | As required according to Practical |
|  | Laboratory Dress | As required according to Practical |
|  | Cyanides | As required according to Practical |
|  | Hand Gloves | As required according to Practical |
|  | Brass Solution For Cyanide. | As required according to Practical |
|  | Different Colors For Plating | As required according to Practical |
|  | Electrodes. | As required according to Practical |
|  | Different Inductors | As required according to Practical |
|  | Different AC & DC Capacitors | As required according to Practical |
|  | Different Metals | As required according to Practical |
|  | 2 Pole Single Way Switch | As required according to Practical |
|  | 2 Pole 2 Way Switch | As required according to Practical |
|  | Transformer Oil | As required according to Practical |
|  | Transformer Oil Testing Set | As required according to Practical |
|  | Buffer | As required according to Practical |
|  | Electroplates | As required according to Practical |
|  | Centrifugal Switch | As required according to Practical |
|  | 3 Pole 2 Way Switch | As required according to Practical |
|  | Diode | As required according to Practical |
|  | Transistors | As required according to Practical |
|  | Bread Board | As required according to Practical |
|  | Data Sheets | As required according to Practical |
|  | Zener Diode | As required according to Practical |
|  | FET Transistor | As required according to Practical |
|  | MOSFET Transistor | As required according to Practical |
|  | UJT & BJT | As required according to Practical |
|  | SCR | As required according to Practical |
|  | Thyristor | As required according to Practical |
|  | DIAC | As required according to Practical |
|  | TRIAC | As required according to Practical |
|  | Op-Amplifier | As required according to Practical |
|  | AND Gate (7408 2-Input Quad) | As required according to Practical |
|  | OR Gate (7432 2-Input Quad) | As required according to Practical |
|  | NOT Gate (7404 Hex) | As required according to Practical |
|  | NAND Gate (7400 2-Input Quad) | As required according to Practical |
|  | NOR Gate (7402 2-Input Quad) | As required according to Practical |
|  | X-OR Gate (7486 2-Input Quad) | As required according to Practical |
|  | X-NOR Gate (74266 2-Input Quad) | As required according to Practical |
|  | Schottky Diodes | As required according to Practical |
|  | IC 7408 | As required according to Practical |
|  | Power Diodes | As required according to Practical |
|  | General Purpose Diode | As required according to Practical |
|  | Resistor Of 1to100 K Ohms | As required according to Practical |
|  | Power MOSFET IRF 840 | As required according to Practical |
|  | IC 7410 | As required according to Practical |
|  | Power Diode 1N4007 | As required according to Practical |
|  | DC Source 12V | As required according to Practical |
|  | IC 7404 | As required according to Practical |
|  | Controller IC | As required according to Practical |
|  | Firing Circuit | As required according to Practical |
|  | Power Diode 1N4007 | As required according to Practical |
|  | Psychometrics Chart | As required according to Practical |
|  | Data Loggers | As required according to Practical |
|  | HDMI CABLE | As required according to Practical |
|  | HMI Software For PLC | As required according to Practical |
|  | Change Over Switch | As required according to Practical |
|  | Wooden/Glass Rod | As required according to Practical |
|  | H2 SO4 | As required according to Practical |
|  | Different Glass Reflectors | As required according to Practical |
|  | Different Types Of Paints | As required according to Practical |
|  | HT & LT Conductors. | As required according to Practical |
|  | Fuses | As required according to Practical |
|  | RJ-11 Connectors | As required according to Practical |
|  | VGA Cable. | As required according to Practical |
|  | Coaxial Cable. | As required according to Practical |
|  | Nitric Acid | As required according to Practical |
|  | Copper Coated Sheet | As required according to Practical |
|  | DC Capacitors of Different Range. | As required according to Practical |

List of Stationary for 3 Years

| S# | Description | Quantity |
| --- | --- | --- |
|  | Handbooks | 25 |
|  | Design books | 25 |
|  | Pencils | 300 |
|  | Rubber | 300 |
|  | Sharpeners | 300 |
|  | Paper Cutter | 50 |
|  | Seizers | 25 |
|  | Colors | 15 each color (Read, Green, Yellow, Blue, white and Black) |
|  | White charts | 50 Nos. |
|  | Brown sheets | 100 Nos. |
|  | White board markers | 15 Dozen |
|  | Permanent markers | 3 Dozen |
|  | File cover and files | 50 Nos. |
|  | A4 Paper | 150 Ream |

Learning hours in training provider premises,

Training workshop, laboratory and on-the-job workplace