### Assessment Evidence Guide Template & Guidelines for Level 4

### Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Workplace Safety Procedure - Perform measurement of electrical parameters - Interpret distribution network - Demonstrate Power System Fundamentals - Maintain tools and equipment - Install and commission utility services - Install Distribution equipment and supporting structure - Energize PMT (Pole mounted transformer) - Perform Electrical Line Isolation - Install overhead distribution lines - Implement Electrical Network Protection Measures - Perform Planning and estimation - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Disconnect PMT load, connect HT supply in off-load condition, check breaker supply, install HRC fuses in DB, and conduct PMT profiling. |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Disconnect PMT load, connect HT supply in off-load condition, check breaker supply, install HRC fuses in DB, and conduct PMT profiling. - Disconnect PMT Load - Connect HT Supply to PMT in Off load condition - Check supply in circuit breaker - Connect HRC fuses in Distribution Box (DB) - Conduct PMT profiling |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Disconnect PMT load, connect HT supply in off-load condition, check breaker supply, install HRC fuses in DB, and conduct PMT profiling. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Disconnect PMT Load |  |  |
| - Connect HT Supply to PMT in Off load condition |  |  |
| - Check supply in circuit breaker |  |  |
| - Connect HRC fuses in Distribution Box (DB) |  |  |
| - Conduct PMT profiling |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Workplace Safety Procedure - Perform measurement of electrical parameters - Interpret distribution network - Demonstrate Power System Fundamentals - Maintain tools and equipment - Install and commission utility services - Install Distribution equipment and supporting structure - Energize PMT (Pole mounted transformer) - Perform Electrical Line Isolation - Install overhead distribution lines - Implement Electrical Network Protection Measures - Perform Planning and estimation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Disconnect PMT load, connect HT supply in off-load condition, check breaker supply, install HRC fuses in DB, and conduct PMT profiling. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Disconnect PMT Load |  |  |  |  |  |
|  | Connect HT Supply to PMT in Off load condition |  |  |  |  |  |
|  | Check supply in circuit breaker |  |  |  |  |  |
|  | Connect HRC fuses in Distribution Box (DB) |  |  |  |  |  |
|  | Conduct PMT profiling |  |  |  |  |  |
| Competent |  |  |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory |  | Not Satisfactory |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | What must be ensured before a pole-mounted transformer (PMT) is energized? |  |  |  |  |
|  | What document must be completed after a PMT has been energized and checked? |  |  |  |  |
|  | What component is removed to safely isolate a PMT before any work is done? |  |  |  |  |
|  | What does the abbreviation HRC stand for in electrical protection systems? |  |  |  |  |
| 5 | What must be confirmed on a circuit breaker before starting work on a transformer? |  |  |  |  |
| 6 | What supply connection is made to a PMT while it is still in the OFF condition? |  |  |  |  |
| 7 | What must be checked at the circuit breaker after the PMT has been energized? |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________